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1 Structure Data
This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.
1.1 Story Data
Table 1.1 - Story Data
	Name
	Height
mm
	Elevation
mm
	Master Story
	Similar To
	Splice Story

	UPPER ROOF
	4350
	48050
	Yes
	None
	No

	PENTHOUSE
	3470
	43700
	No
	UPPER ROOF
	No

	Story14
	3250
	40230
	No
	UPPER ROOF
	No

	Story13
	2950
	36980
	No
	UPPER ROOF
	No

	Story12
	3050
	34030
	No
	UPPER ROOF
	No

	Story11
	2950
	30980
	No
	UPPER ROOF
	No

	Story10
	3050
	28030
	No
	UPPER ROOF
	No

	Story9
	3250
	24980
	No
	UPPER ROOF
	No

	Story8
	2950
	21730
	No
	UPPER ROOF
	No

	Story7
	2950
	18780
	No
	UPPER ROOF
	No

	Story6
	3050
	15830
	No
	UPPER ROOF
	No

	Story5
	2790
	12780
	No
	UPPER ROOF
	No

	Story4
	2790
	9990
	No
	UPPER ROOF
	No

	Story3
	2950
	7200
	No
	UPPER ROOF
	No

	Story2
	4250
	4250
	No
	UPPER ROOF
	No

	GROUND
	4000
	0
	No
	UPPER ROOF
	No

	PARKING
	0
	-4000
	No
	None
	No



1.2 Mass
Table 1.2 - Mass Source
	Include Elements
	Include Added Mass
	Include Loads
	Lateral Only
	Lump at Stories
	Load Pattern
	Multiplier

	Yes
	Yes
	Yes
	Yes
	Yes
	EQDL
	1

	No
	No
	No
	No
	No
	FACADE
	1



Table 1.3 - Centers of Mass and Rigidity
	Story
	Diaphragm
	Mass X
kg
	Mass Y
kg
	XCM
m
	YCM
m
	Cumulative X
kg
	Cumulative Y
kg
	XCCM
m
	YCCM
m
	XCR
m
	YCR
m

	UPPER ROOF
	D2
	70425.82
	70425.82
	49.6172
	14.8436
	70425.82
	70425.82
	49.6172
	14.8436
	49.4888
	15.8515

	PENTHOUSE
	D2
	507497.29
	507497.29
	50.3458
	14.4312
	577923.11
	577923.11
	50.257
	14.4814
	48.436
	14.2185

	Story14
	D2
	660678.7
	660678.7
	50.6061
	14.0976
	1238601.81
	1238601.81
	50.4432
	14.2767
	47.5983
	13.9349

	Story13
	D2
	639387.8
	639387.8
	50.2985
	13.949
	1877989.61
	1877989.61
	50.3939
	14.1651
	46.4486
	13.7981

	Story12
	D2
	792441.99
	792441.99
	46.7002
	13.5498
	2670431.6
	2670431.6
	49.2978
	13.9825
	45.2049
	14.0778

	Story11
	D2
	843343.93
	843343.93
	47.0455
	13.6414
	3513775.53
	3513775.53
	48.7573
	13.9007
	43.2455
	14.2841

	Story10
	D2
	1010045.04
	1010045.04
	49.2602
	13.786
	4523820.57
	4523820.57
	48.8695
	13.8751
	41.3915
	14.9688

	Story9
	D2
	1271464.37
	1271464.37
	43.3239
	13.3743
	5795284.94
	5795284.94
	47.6528
	13.7652
	40.9437
	15.1108

	Story8
	D2
	1352377.81
	1352377.81
	41.488
	13.2394
	7147662.75
	7147662.75
	46.4864
	13.6657
	41.2145
	15.1202

	Story7
	D2
	1358552.09
	1358552.09
	42.0304
	13.2283
	8506214.84
	8506214.84
	45.7747
	13.5958
	41.5697
	15.1617

	Story6
	D2
	1620097.99
	1620097.99
	45.0826
	13.6633
	10126312.83
	10126312.83
	45.664
	13.6066
	41.7727
	15.2375

	Story5
	D2
	1697677.48
	1697677.48
	43.9488
	13.3852
	11823990.31
	11823990.31
	45.4177
	13.5749
	41.2204
	15.3251

	Story4
	D2
	1696571.45
	1696571.45
	43.7934
	13.3397
	13520561.77
	13520561.77
	45.2139
	13.5453
	40.7145
	15.206

	Story3
	D2
	1828532.26
	1828532.26
	45.6672
	13.6195
	15349094.02
	15349094.02
	45.2679
	13.5542
	39.4827
	14.71

	Story2
	D2
	2175938.66
	2175938.66
	41.255
	13.7141
	17525032.69
	17525032.69
	44.7697
	13.574
	40.652
	13.5308



Table 1.4 - Mass Summary by Diaphragm
	Story
	Diaphragm
	Mass X
kg
	Mass Y
kg
	Mass Moment of Inertia
kN-m-s²
	X Mass Center
m
	Y Mass Center
m

	UPPER ROOF
	D2
	70425.82
	70425.82
	1142.4322
	49.6172
	14.8436

	PENTHOUSE
	D2
	507497.29
	507497.29
	53226.6558
	50.3458
	14.4312

	Story14
	D2
	660678.7
	660678.7
	86696.7273
	50.6061
	14.0976

	Story13
	D2
	639387.8
	639387.8
	85734.852
	50.2985
	13.949

	Story12
	D2
	792441.99
	792441.99
	135219.0427
	46.7002
	13.5498

	Story11
	D2
	843343.93
	843343.93
	156891.5998
	47.0455
	13.6414

	Story10
	D2
	1010045.04
	1010045.04
	235777.194
	49.2602
	13.786

	Story9
	D2
	1271464.37
	1271464.37
	470242.2512
	43.3239
	13.3743

	Story8
	D2
	1352377.81
	1352377.81
	542437.1802
	41.488
	13.2394

	Story7
	D2
	1358552.09
	1358552.09
	562987.3983
	42.0304
	13.2283

	Story6
	D2
	1620097.99
	1620097.99
	790376.8916
	45.0826
	13.6633

	Story5
	D2
	1697677.48
	1697677.48
	967391.3441
	43.9488
	13.3852

	Story4
	D2
	1696571.45
	1696571.45
	1005595
	43.7934
	13.3397

	Story3
	D2
	1828532.26
	1828532.26
	1096671
	45.6672
	13.6195

	Story2
	D2
	2175938.66
	2175938.66
	1246700
	41.255
	13.7141



Table 1.5 - Mass Summary by Story
	Story
	UX
kg
	UY
kg
	UZ
kg

	UPPER ROOF
	70425.82
	70425.82
	0

	PENTHOUSE
	507497.29
	507497.29
	0

	Story14
	660678.7
	660678.7
	0

	Story13
	639387.8
	639387.8
	0

	Story12
	792441.99
	792441.99
	0

	Story11
	843343.93
	843343.93
	0

	Story10
	1010045.04
	1010045.04
	0

	Story9
	1271464.37
	1271464.37
	0

	Story8
	1352377.81
	1352377.81
	0

	Story7
	1358552.09
	1358552.09
	0

	Story6
	1620097.99
	1620097.99
	0

	Story5
	1697677.48
	1697677.48
	0

	Story4
	1696571.45
	1696571.45
	0

	Story3
	1828532.26
	1828532.26
	0

	Story2
	2178694.46
	2178694.46
	0

	GROUND
	460679.05
	460679.05
	0

	PARKING
	0
	0
	0
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2 Loads
This chapter provides loading information as applied to the model.
2.1 Load Patterns
Table 2.1 - Load Patterns
	Name
	Type
	Self Weight Multiplier
	Auto Load

	OW
	Dead
	1
	

	EQDL
	Superimposed Dead
	0
	

	LL
	Live
	0
	

	FACADE
	Superimposed Dead
	0
	

	EQX
	Seismic
	0
	NBCC 2005

	EQY
	Seismic
	0
	NBCC 2005

	EQXMIN
	Seismic
	0
	NBCC 2005

	EQXMAX
	Seismic
	0
	NBCC 2005

	EQYMIN
	Seismic
	0
	NBCC 2005

	EQYMAX
	Seismic
	0
	NBCC 2005

	WCX
	Wind
	0
	NBCC 2005

	WCY
	Wind
	0
	NBCC 2005

	WCXB1
	Wind
	0
	NBCC 2005

	DELDL
	Superimposed Dead
	0
	

	WCXB2
	Wind
	0
	NBCC 2005

	WCYB2
	Wind
	0
	NBCC 2005

	WCYB1
	Wind
	0
	NBCC 2005



2.2 Auto Wind Loading
Table 2.2 - Auto Wind - NBCC 2005
	Load Pattern
	Loading Method
	Exposure Width Type
	Angle
deg
	Cp,wind
	Cp,lee
	Top Story
	Bottom Story
	Include Parapet
	Velocity Pressure
kpa
	Cg
	Iw

	WCX
	Diaphragms
	From Diaphragms
	0
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1

	WCY
	Diaphragms
	From Diaphragms
	90
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1

	WCXB1
	Diaphragms
	User Specified
	0
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1

	WCXB2
	Diaphragms
	User Specified
	0
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1

	WCYB2
	Diaphragms
	User Specified
	0
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1

	WCYB1
	Diaphragms
	User Specified
	0
	0.8
	0.5
	UPPER ROOF
	GROUND
	No
	0.45
	2.48
	1



		2015-01-22

	Page 6 of 144	
NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCX according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 0 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	26.3664
	0

	PENTHOUSE
	43.7
	177.9745
	0

	Story14
	40.23
	173.2343
	0

	Story13
	36.98
	158.1393
	0

	Story12
	34.03
	151.3623
	0

	Story11
	30.98
	149.6202
	0

	Story10
	28.03
	147.7159
	0

	Story9
	24.98
	152.8686
	0

	Story8
	21.73
	148.0165
	0

	Story7
	18.78
	138.2984
	0

	Story6
	15.83
	137.743
	0

	Story5
	12.78
	130.8459
	0

	Story4
	9.99
	121.3841
	0

	Story3
	7.2
	120.3595
	0

	Story2
	4.25
	147.844
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCY according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 90 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	52.9372

	PENTHOUSE
	43.7
	0
	208.9742

	Story14
	40.23
	0
	203.9144

	Story13
	36.98
	0
	192.0869

	Story12
	34.03
	0
	228.5327

	Story11
	30.98
	0
	235.0027

	Story10
	28.03
	0
	262.6648

	Story9
	24.98
	0
	368.088

	Story8
	21.73
	0
	356.4047

	Story7
	18.78
	0
	341.4165

	Story6
	15.83
	0
	389.82

	Story5
	12.78
	0
	391.3673

	Story4
	9.99
	0
	363.0666

	Story3
	7.2
	0
	360.0019

	Story2
	4.25
	0
	442.2097

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCXB1 according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 0 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	19.7748
	0

	PENTHOUSE
	43.7
	133.4809
	0

	Story14
	40.23
	129.9257
	0

	Story13
	36.98
	118.6045
	0

	Story12
	34.03
	113.5217
	0

	Story11
	30.98
	112.2151
	0

	Story10
	28.03
	110.7869
	0

	Story9
	24.98
	114.6515
	0

	Story8
	21.73
	111.0124
	0

	Story7
	18.78
	103.7238
	0

	Story6
	15.83
	103.3072
	0

	Story5
	12.78
	98.1344
	0

	Story4
	9.99
	91.0381
	0

	Story3
	7.2
	90.2696
	0

	Story2
	4.25
	110.883
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0






		2015-01-22

	Page 12 of 144	
NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCXB2 according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 0 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	19.7748
	0

	PENTHOUSE
	43.7
	133.4809
	0

	Story14
	40.23
	129.9257
	0

	Story13
	36.98
	118.6045
	0

	Story12
	34.03
	113.5217
	0

	Story11
	30.98
	112.2151
	0

	Story10
	28.03
	110.7869
	0

	Story9
	24.98
	114.6515
	0

	Story8
	21.73
	111.0124
	0

	Story7
	18.78
	103.7238
	0

	Story6
	15.83
	103.3072
	0

	Story5
	12.78
	98.1344
	0

	Story4
	9.99
	91.0381
	0

	Story3
	7.2
	90.2696
	0

	Story2
	4.25
	110.883
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCYB2 according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 0 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	39.7029

	PENTHOUSE
	43.7
	0
	156.7307

	Story14
	40.23
	0
	152.9358

	Story13
	36.98
	0
	144.0652

	Story12
	34.03
	0
	171.3995

	Story11
	30.98
	0
	176.252

	Story10
	28.03
	0
	196.9986

	Story9
	24.98
	0
	276.066

	Story8
	21.73
	0
	267.3035

	Story7
	18.78
	0
	256.0624

	Story6
	15.83
	0
	292.365

	Story5
	12.78
	0
	293.5254

	Story4
	9.99
	0
	272.2999

	Story3
	7.2
	0
	270.0014

	Story2
	4.25
	0
	331.6572

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Wind Load Calculation
This calculation presents the automatically generated lateral wind loads for load pattern WCYB1 according to NBCC 2005, as calculated by ETABS.
Exposure Parameters
Exposure From = Diaphragms
Wind Direction = 0 degrees
	Windward Coefficient, Cp,wind
	

	Leeward Coefficient, Cp,lee
	



Top Story = UPPER ROOF
Bottom Story = GROUND
Include Parapet = No
Factors and Coefficients
	Importance Factor, Iw [NBCC Table 4.1.7.1]
	

	Gust Effect Factor, Cg [NBCC 4.1.7.1.6]
	

	Exposure Factor, Ce,wind [NBCC 4.1.7.1.5]
	

	Exposure Factor, Ce,lee [NBCC 4.1.7.1.5]
	



Lateral Loading
	Reference Velocity Pressure, q [NBCC 4.1.7.1.4]
	

	Design Wind Pressure, p [NBCC 4.1.7.1.1]
	




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	39.7029

	PENTHOUSE
	43.7
	0
	156.7307

	Story14
	40.23
	0
	152.9358

	Story13
	36.98
	0
	144.0652

	Story12
	34.03
	0
	171.3995

	Story11
	30.98
	0
	176.252

	Story10
	28.03
	0
	196.9986

	Story9
	24.98
	0
	276.066

	Story8
	21.73
	0
	267.3035

	Story7
	18.78
	0
	256.0624

	Story6
	15.83
	0
	292.365

	Story5
	12.78
	0
	293.5254

	Story4
	9.99
	0
	272.2999

	Story3
	7.2
	0
	270.0014

	Story2
	4.25
	0
	331.6572

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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2.3 Auto Seismic Loading
Table 2.9 - Auto Seismic - NBCC 2005 (Part 1 of 3)
	Load Pattern
	Type
	Direction
	Eccentricity
%
	Ecc. Overridden
	Structure Type
	Period Method
	Top Story
	Bottom Story
	PGA
	Sa(0.2)

	EQX
	Seismic
	X
	
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22

	EQY
	Seismic
	Y
	
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22

	EQXMIN
	Seismic
	X + Ecc. Y
	10
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22

	EQXMAX
	Seismic
	X - Ecc. Y
	10
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22

	EQYMIN
	Seismic
	Y + Ecc. X
	10
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22

	EQYMAX
	Seismic
	Y - Ecc. X
	10
	No
	Shear Wall
	Program Calculated
	UPPER ROOF
	GROUND
	0.12
	0.22



Table 2.9 - Auto Seismic - NBCC 2005 (Part 2 of 3)
	Sa(0.5)
	Sa(1.0)
	Sa(2.0)
	Site Class
	Fa
	Fv
	Ie
	Mv
	Rd
	Ro
	Period Used
sec
	Coeff Used
	Weight Used
kN

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.661
	0.056249
	171888.8905

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.554
	0.063156
	171888.8905

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.661
	0.056249
	171888.8905

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.661
	0.056249
	171888.8905

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.554
	0.063156
	171888.8905

	0.13
	0.067
	0.021
	C
	1
	1
	1
	1
	1.5
	1.3
	0.554
	0.063156
	171888.8905



Table 2.9 - Auto Seismic - NBCC 2005 (Part 3 of 3)
	Base Shear
kN
	Ft Used
kN

	9668.567
	0

	10855.8774
	0

	9668.567
	0

	9668.567
	0

	10855.8774
	0

	10855.8774
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQX according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = X
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	X
	0.661
	171888.8905
	9668.567
	0




Applied Story Forces
	[image: ]
	

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	98.9751
	0

	PENTHOUSE
	43.7
	648.6581
	0

	Story14
	40.23
	777.3937
	0

	Story13
	36.98
	691.5633
	0

	Story12
	34.03
	788.7332
	0

	Story11
	30.98
	764.1644
	0

	Story10
	28.03
	828.0652
	0

	Story9
	24.98
	928.9606
	0

	Story8
	21.73
	859.5248
	0

	Story7
	18.78
	746.2297
	0

	Story6
	15.83
	750.1064
	0

	Story5
	12.78
	634.5805
	0

	Story4
	9.99
	495.7221
	0

	Story3
	7.2
	385.0666
	0

	Story2
	4.25
	270.8232
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQY according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = Y
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	Y
	0.554
	171888.8905
	10855.8774
	0




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	111.1294

	PENTHOUSE
	43.7
	0
	728.314

	Story14
	40.23
	0
	872.8585

	Story13
	36.98
	0
	776.488

	Story12
	34.03
	0
	885.5904

	Story11
	30.98
	0
	858.0046

	Story10
	28.03
	0
	929.7525

	Story9
	24.98
	0
	1043.038

	Story8
	21.73
	0
	965.0754

	Story7
	18.78
	0
	837.8676

	Story6
	15.83
	0
	842.2203

	Story5
	12.78
	0
	712.5077

	Story4
	9.99
	0
	556.5974

	Story3
	7.2
	0
	432.3531

	Story2
	4.25
	0
	304.0806

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQXMIN according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = X + Eccentricity Y
Eccentricity Ratio = 10% for all diaphragms
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	X + Ecc. Y
	0.661
	171888.8905
	9668.567
	0




Applied Story Forces
	[image: ]
	

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	98.9751
	0

	PENTHOUSE
	43.7
	648.6581
	0

	Story14
	40.23
	777.3937
	0

	Story13
	36.98
	691.5633
	0

	Story12
	34.03
	788.7332
	0

	Story11
	30.98
	764.1644
	0

	Story10
	28.03
	828.0652
	0

	Story9
	24.98
	928.9606
	0

	Story8
	21.73
	859.5248
	0

	Story7
	18.78
	746.2297
	0

	Story6
	15.83
	750.1064
	0

	Story5
	12.78
	634.5805
	0

	Story4
	9.99
	495.7221
	0

	Story3
	7.2
	385.0666
	0

	Story2
	4.25
	270.8232
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQXMAX according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = X - Eccentricity Y
Eccentricity Ratio = 10% for all diaphragms
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	X - Ecc. Y
	0.661
	171888.8905
	9668.567
	0




Applied Story Forces
	[image: ]
	

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	98.9751
	0

	PENTHOUSE
	43.7
	648.6581
	0

	Story14
	40.23
	777.3937
	0

	Story13
	36.98
	691.5633
	0

	Story12
	34.03
	788.7332
	0

	Story11
	30.98
	764.1644
	0

	Story10
	28.03
	828.0652
	0

	Story9
	24.98
	928.9606
	0

	Story8
	21.73
	859.5248
	0

	Story7
	18.78
	746.2297
	0

	Story6
	15.83
	750.1064
	0

	Story5
	12.78
	634.5805
	0

	Story4
	9.99
	495.7221
	0

	Story3
	7.2
	385.0666
	0

	Story2
	4.25
	270.8232
	0

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQYMIN according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = Y + Eccentricity X
Eccentricity Ratio = 10% for all diaphragms
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	Y + Ecc. X
	0.554
	171888.8905
	10855.8774
	0




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	111.1294

	PENTHOUSE
	43.7
	0
	728.314

	Story14
	40.23
	0
	872.8585

	Story13
	36.98
	0
	776.488

	Story12
	34.03
	0
	885.5904

	Story11
	30.98
	0
	858.0046

	Story10
	28.03
	0
	929.7525

	Story9
	24.98
	0
	1043.038

	Story8
	21.73
	0
	965.0754

	Story7
	18.78
	0
	837.8676

	Story6
	15.83
	0
	842.2203

	Story5
	12.78
	0
	712.5077

	Story4
	9.99
	0
	556.5974

	Story3
	7.2
	0
	432.3531

	Story2
	4.25
	0
	304.0806

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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NBCC 2005 Auto Seismic Load Calculation
This calculation presents the automatically generated lateral seismic loads for load pattern EQYMAX according to NBCC 2005, as calculated by ETABS.
Direction and Eccentricity
Direction = Y - Eccentricity X
Eccentricity Ratio = 10% for all diaphragms
Structural Period
Structure Type = Shear Wall
Period Calculation Method = Program Calculated
	Structure Height Above Base, hn
	

	Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c]
	
	

	Program Calculated Period, Ta [NBCC 4.1.8.11.3.d]
	



Factors and Coefficients
	Ductility Modifier, Rd [NBCC Table 4.1.8.9]
	

	Overstrength Modifier, Ro [NBCC Table 4.1.8.9]
	

	Higher Mode Factor, Mv [NBCC Table 4.1.8.11]
	

	Importance Factor, IE [NBCC Table 4.1.8.5]
	



Spectral Acceleration, Sa (0.2) = 0.22
Spectral Acceleration, Sa (0.5) = 0.13
Spectral Acceleration, Sa (1.0) = 0.067
Spectral Acceleration, Sa (2.0) = 0.021
Site Class [NBCC Table 4.1.8.4.A] = C
	Site Coefficient, Fa [NBCC Table 4.1.8.4.B]
	

	Site Coefficient, Fv [NBCC Table 4.1.8.4.C]
	



Seismic Response
	Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6]
	

	
	

	
	

	
	

	
	



Equivalent Lateral Forces
	Seismic Response Coefficient [NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	[NBCC 4.1.8.11.2]
	

	
	



Calculated Base Shear
	Direction
	Period Used 
 (sec)
	W 
 (kN)
	V 
 (kN)
	Ft 
 (kN)

	Y - Ecc. X
	0.554
	171888.8905
	10855.8774
	0




Applied Story Forces
	[image: ]

		Story
	Elevation
	X-Dir
	Y-Dir

	
	m
	kN
	kN

	UPPER ROOF
	48.05
	0
	111.1294

	PENTHOUSE
	43.7
	0
	728.314

	Story14
	40.23
	0
	872.8585

	Story13
	36.98
	0
	776.488

	Story12
	34.03
	0
	885.5904

	Story11
	30.98
	0
	858.0046

	Story10
	28.03
	0
	929.7525

	Story9
	24.98
	0
	1043.038

	Story8
	21.73
	0
	965.0754

	Story7
	18.78
	0
	837.8676

	Story6
	15.83
	0
	842.2203

	Story5
	12.78
	0
	712.5077

	Story4
	9.99
	0
	556.5974

	Story3
	7.2
	0
	432.3531

	Story2
	4.25
	0
	304.0806

	GROUND
	0
	0
	0

	PARKING
	-4
	0
	0
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2.4 Load Cases
Table 2.16 - Load Cases - Summary
	Name
	Type

	OW
	Linear Static

	EQDL
	Linear Static

	LL
	Linear Static

	FACADE
	Linear Static

	EQX
	Linear Static

	EQY
	Linear Static

	EQXMIN
	Linear Static

	EQXMAX
	Linear Static

	EQYMIN
	Linear Static

	EQYMAX
	Linear Static

	WCX
	Linear Static

	WCY
	Linear Static

	WCXB1
	Linear Static

	DELDL
	Linear Static

	WCXB2
	Linear Static

	WCYB2
	Linear Static

	WCYB1
	Linear Static



2.5 Load Combinations
Table 2.17 - Load Combinations
	Name
	Load Case/Combo
	Scale Factor
	Type
	Auto

	WCC
	WCX
	0.75
	Linear Add
	No

	WCC
	WCY
	0.75
	
	No

	WCD1
	WCXB1
	0.75
	Linear Add
	No

	WCD1
	WCYB2
	0.75
	
	No

	WCD2
	WCXB2
	0.75
	Linear Add
	No

	WCD2
	WCYB1
	0.75
	
	No

	PF1
	OW
	1.4
	Linear Add
	No

	PF1
	DELDL
	1.4
	
	No

	PF1
	FACADE
	1.4
	
	No

	PF2
	OW
	1.25
	Linear Add
	No

	PF2
	DELDL
	1.25
	
	No

	PF2
	FACADE
	1.25
	
	No

	PF2
	LL
	1.2
	
	No

	PF4WX
	OW
	1.25
	Linear Add
	No

	PF4WX
	DELDL
	1.25
	
	No

	PF4WX
	FACADE
	1.25
	
	No

	PF4WX
	WCX
	1.4
	
	No

	PF4WY
	OW
	1.25
	Linear Add
	No

	PF4WY
	DELDL
	1.25
	
	No

	PF4WY
	FACADE
	1.25
	
	No

	PF4WY
	WCY
	1.4
	
	No

	PF4WXB1
	OW
	1.25
	Linear Add
	No

	PF4WXB1
	DELDL
	1.25
	
	No

	PF4WXB1
	FACADE
	1.25
	
	No

	PF4WXB1
	WCXB1
	1.4
	
	No

	PF4WXB2
	OW
	1.25
	Linear Add
	No

	PF4WXB2
	DELDL
	1.25
	
	No

	PF4WXB2
	FACADE
	1.25
	
	No

	PF4WXB2
	WCXB2
	1.4
	
	No

	PF4WYB1
	OW
	1.25
	Linear Add
	No

	PF4WYB1
	DELDL
	1.25
	
	No

	PF4WYB1
	FACADE
	1.25
	
	No

	PF4WYB1
	WCYB1
	1.4
	
	No

	PF4WYB2
	OW
	1.25
	Linear Add
	No

	PF4WYB2
	DELDL
	1.25
	
	No

	PF4WYB2
	FACADE
	1.25
	
	No

	PF4WYB2
	WCYB2
	1.4
	
	No

	PF4WCC
	OW
	1.25
	Linear Add
	No

	PF4WCC
	DELDL
	1.25
	
	No

	PF4WCC
	FACADE
	1.25
	
	No

	PF4WCC
	WCC
	1.4
	
	No

	PF4WCD1
	OW
	1.25
	Linear Add
	No

	PF4WCD1
	DELDL
	1.25
	
	No

	PF4WCD1
	FACADE
	1.25
	
	No

	PF4WCD1
	WCD1
	1.4
	
	No

	PF4WCD2
	OW
	1.25
	Linear Add
	No

	PF4WCD2
	DELDL
	1.25
	
	No

	PF4WCD2
	FACADE
	1.25
	
	No

	PF4WCD2
	WCD2
	1.4
	
	No

	PF4BWCD2
	OW
	0.9
	Linear Add
	No

	PF4BWCD2
	DELDL
	0.9
	
	No

	PF4BWCD2
	FACADE
	0.9
	
	No

	PF4BWCD2
	WCD2
	1.4
	
	No

	PF4BWCX
	OW
	0.9
	Linear Add
	No

	PF4BWCX
	DELDL
	0.9
	
	No

	PF4BWCX
	FACADE
	0.9
	
	No

	PF4BWCX
	WCX
	1.4
	
	No

	PF4BWCY
	OW
	0.9
	Linear Add
	No

	PF4BWCY
	DELDL
	0.9
	
	No

	PF4BWCY
	FACADE
	0.9
	
	No

	PF4BWCY
	WCY
	1.4
	
	No

	PF4BWCXB1
	OW
	0.9
	Linear Add
	No

	PF4BWCXB1
	DELDL
	0.9
	
	No

	PF4BWCXB1
	FACADE
	0.9
	
	No

	PF4BWCXB1
	WCXB1
	1.4
	
	No

	PF4BWCXB2
	OW
	0.9
	Linear Add
	No

	PF4BWCXB2
	DELDL
	0.9
	
	No

	PF4BWCXB2
	FACADE
	0.9
	
	No

	PF4BWCXB2
	WCXB2
	1.4
	
	No

	PF4BWCYB1
	OW
	0.9
	Linear Add
	No

	PF4BWCYB1
	DELDL
	0.9
	
	No

	PF4BWCYB1
	FACADE
	0.9
	
	No

	PF4BWCYB1
	WCYB1
	1.4
	
	No

	PF4BWCYB2
	OW
	0.9
	Linear Add
	No

	PF4BWCYB2
	DELDL
	0.9
	
	No

	PF4BWCYB2
	FACADE
	0.9
	
	No

	PF4BWCYB2
	WCYB2
	1.4
	
	No

	PF4BWCC
	OW
	0.9
	Linear Add
	No

	PF4BWCC
	DELDL
	0.9
	
	No

	PF4BWCC
	FACADE
	0.9
	
	No

	PF4BWCC
	WCC
	1.4
	
	No

	PF4BWCD1
	OW
	0.9
	Linear Add
	No

	PF4BWCD1
	DELDL
	0.9
	
	No

	PF4BWCD1
	FACADE
	0.9
	
	No

	PF4BWCD1
	WCD1
	1.4
	
	No

	PF4DWCX
	OW
	0.9
	Linear Add
	No

	PF4DWCX
	DELDL
	0.9
	
	No

	PF4DWCX
	FACADE
	0.9
	
	No

	PF4DWCX
	WCX
	1.4
	
	No

	PF4DWCX
	LL
	0.4
	
	No

	PF4DWCY
	OW
	0.9
	Linear Add
	No

	PF4DWCY
	DELDL
	0.9
	
	No

	PF4DWCY
	FACADE
	0.9
	
	No

	PF4DWCY
	WCY
	1.4
	
	No

	PF4DWCY
	LL
	0.4
	
	No

	PF4DWCXB1
	OW
	0.9
	Linear Add
	No

	PF4DWCXB1
	DELDL
	0.9
	
	No

	PF4DWCXB1
	FACADE
	0.9
	
	No

	PF4DWCXB1
	WCXB1
	1.4
	
	No

	PF4DWCXB1
	LL
	0.4
	
	No

	PF4DWCXB2
	OW
	0.9
	Linear Add
	No

	PF4DWCXB2
	DELDL
	0.9
	
	No

	PF4DWCXB2
	FACADE
	0.9
	
	No

	PF4DWCXB2
	WCXB2
	1.4
	
	No

	PF4DWCXB2
	LL
	0.4
	
	No

	PF4CYB1
	OW
	0.9
	Linear Add
	No

	PF4CYB1
	DELDL
	0.9
	
	No

	PF4CYB1
	FACADE
	0.9
	
	No

	PF4CYB1
	WCYB1
	1.4
	
	No

	PF4CYB1
	LL
	0.4
	
	No

	PF4CYB2
	OW
	0.9
	Linear Add
	No

	PF4CYB2
	DELDL
	0.9
	
	No

	PF4CYB2
	FACADE
	0.9
	
	No

	PF4CYB2
	WCYB2
	1.4
	
	No

	PF4CYB2
	LL
	0.4
	
	No

	PF4DWCC
	OW
	0.9
	Linear Add
	No

	PF4DWCC
	DELDL
	0.9
	
	No

	PF4DWCC
	FACADE
	0.9
	
	No

	PF4DWCC
	WCC
	1.4
	
	No

	PF4DWCC
	LL
	0.4
	
	No

	PF4DWCD1
	OW
	0.9
	Linear Add
	No

	PF4DWCD1
	DELDL
	0.9
	
	No

	PF4DWCD1
	FACADE
	0.9
	
	No

	PF4DWCD1
	WCD1
	1.4
	
	No

	PF4DWCD1
	LL
	0.4
	
	No

	PF4DWCD2
	OW
	0.9
	Linear Add
	No

	PF4DWCD2
	DELDL
	0.9
	
	No

	PF4DWCD2
	FACADE
	0.9
	
	No

	PF4DWCD2
	WCD2
	1.4
	
	No

	PF4DWCD2
	LL
	0.4
	
	No

	PF4CWCX
	OW
	1.25
	Linear Add
	No

	PF4CWCX
	DELDL
	1.25
	
	No

	PF4CWCX
	FACADE
	1.25
	
	No

	PF4CWCX
	WCX
	1.4
	
	No

	PF4CWCX
	LL
	0.4
	
	No

	PF4CWCY
	OW
	1.25
	Linear Add
	No

	PF4CWCY
	DELDL
	1.25
	
	No

	PF4CWCY
	FACADE
	1.25
	
	No

	PF4CWCY
	WCY
	1.4
	
	No

	PF4CWCY
	LL
	0.4
	
	No

	PF4CWCXB1
	OW
	1.25
	Linear Add
	No

	PF4CWCXB1
	DELDL
	1.25
	
	No

	PF4CWCXB1
	FACADE
	1.25
	
	No

	PF4CWCXB1
	WCXB1
	1.4
	
	No

	PF4CWCXB1
	LL
	0.4
	
	No

	PF4CWCXB2
	OW
	1.25
	Linear Add
	No

	PF4CWCXB2
	DELDL
	1.25
	
	No

	PF4CWCXB2
	FACADE
	1.25
	
	No

	PF4CWCXB2
	WCXB2
	1.4
	
	No

	PF4CWCXB2
	LL
	0.4
	
	No

	PF4CWCYB1
	OW
	1.25
	Linear Add
	No

	PF4CWCYB1
	DELDL
	1.25
	
	No

	PF4CWCYB1
	FACADE
	1.25
	
	No

	PF4CWCYB1
	WCYB1
	1.4
	
	No

	PF4CWCYB1
	LL
	0.4
	
	No

	PF4CWCYB2
	OW
	1.25
	Linear Add
	No

	PF4CWCYB2
	DELDL
	1.25
	
	No

	PF4CWCYB2
	FACADE
	1.25
	
	No

	PF4CWCYB2
	WCYB2
	1.4
	
	No

	PF4CWCYB2
	LL
	0.4
	
	No

	PF4CWCC
	OW
	1.25
	Linear Add
	No

	PF4CWCC
	DELDL
	1.25
	
	No

	PF4CWCC
	FACADE
	1.25
	
	No

	PF4CWCC
	WCC
	1.4
	
	No

	PF4CWCC
	LL
	0.4
	
	No

	PF4CWCD1
	OW
	1.25
	Linear Add
	No

	PF4CWCD1
	DELDL
	1.25
	
	No

	PF4CWCD1
	FACADE
	1.25
	
	No

	PF4CWCD1
	WCD1
	1.4
	
	No

	PF4CWCD1
	LL
	0.4
	
	No

	PF4CWCD2
	OW
	1.25
	Linear Add
	No

	PF4CWCD2
	DELDL
	1.25
	
	No

	PF4CWCD2
	FACADE
	1.25
	
	No

	PF4CWCD2
	WCD2
	1.4
	
	No

	PF4CWCD2
	LL
	0.4
	
	No

	PFEQ2X
	OW
	1
	Linear Add
	No

	PFEQ2X
	DELDL
	1
	
	No

	PFEQ2X
	FACADE
	1
	
	No

	PFEQ2X
	LL
	0.4
	
	No

	PFEQ2X
	EQX
	1
	
	No

	PFEQ2Y
	OW
	1
	Linear Add
	No

	PFEQ2Y
	DELDL
	1
	
	No

	PFEQ2Y
	FACADE
	1
	
	No

	PFEQ2Y
	LL
	0.4
	
	No

	PFEQ2Y
	EQY
	1
	
	No

	PFEQ2XMIN
	OW
	1
	Linear Add
	No

	PFEQ2XMIN
	DELDL
	1
	
	No

	PFEQ2XMIN
	FACADE
	1
	
	No

	PFEQ2XMIN
	LL
	0.4
	
	No

	PFEQ2XMIN
	EQXMIN
	1
	
	No

	PFEQ2XMAX
	OW
	1
	Linear Add
	No

	PFEQ2XMAX
	DELDL
	1
	
	No

	PFEQ2XMAX
	FACADE
	1
	
	No

	PFEQ2XMAX
	LL
	0.4
	
	No

	PFEQ2XMAX
	EQXMAX
	1
	
	No

	PFEQ2YMIN
	OW
	1
	Linear Add
	No

	PFEQ2YMIN
	DELDL
	1
	
	No

	PFEQ2YMIN
	FACADE
	1
	
	No

	PFEQ2YMIN
	LL
	0.4
	
	No

	PFEQ2YMIN
	EQYMIN
	1
	
	No

	PFEQ2YMAX
	OW
	1
	Linear Add
	No

	PFEQ2YMAX
	DELDL
	1
	
	No

	PFEQ2YMAX
	FACADE
	1
	
	No

	PFEQ2YMAX
	LL
	0.4
	
	No

	PFEQ2YMAX
	EQYMAX
	1
	
	No

	PFEQ1X
	OW
	1
	Linear Add
	No

	PFEQ1X
	DELDL
	1
	
	No

	PFEQ1X
	FACADE
	1
	
	No

	PFEQ1X
	EQX
	1
	
	No

	PFEQ1Y
	OW
	1
	Linear Add
	No

	PFEQ1Y
	DELDL
	1
	
	No

	PFEQ1Y
	FACADE
	1
	
	No

	PFEQ1Y
	EQY
	1
	
	No

	PFEQ1XMIN
	OW
	1
	Linear Add
	No

	PFEQ1XMIN
	DELDL
	1
	
	No

	PFEQ1XMIN
	FACADE
	1
	
	No

	PFEQ1XMIN
	EQXMIN
	1
	
	No

	PFEQ1XMAX
	OW
	1
	Linear Add
	No

	PFEQ1XMAX
	DELDL
	1
	
	No

	PFEQ1XMAX
	FACADE
	1
	
	No

	PFEQ1XMAX
	EQXMAX
	1
	
	No

	PFEQ1YMIN
	OW
	1
	Linear Add
	No

	PFEQ1YMIN
	DELDL
	1
	
	No

	PFEQ1YMIN
	FACADE
	1
	
	No

	PFEQ1YMIN
	EQYMIN
	1
	
	No

	PFEQ1YMAX
	OW
	1
	Linear Add
	No

	PFEQ1YMAX
	DELDL
	1
	
	No

	PFEQ1YMAX
	FACADE
	1
	
	No

	PFEQ1YMAX
	EQYMAX
	1
	
	No
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3 Analysis Results
This chapter provides analysis results.
3.1 Structure Results
Table 3.1 - Base Reactions
	Load Case/Combo
	FX
kN
	FY
kN
	FZ
kN
	MX
kN-m
	MY
kN-m
	MZ
kN-m
	X
m
	Y
m
	Z
m

	OW
	0
	0
	161040.7858
	2193552
	-7226492
	1.093E-06
	0
	0
	-4

	EQDL
	0
	0
	10066.8488
	134665.5041
	-447968
	0
	0
	0
	-4

	LL
	0
	0
	38254.0256
	511728.9157
	-1702277
	0
	0
	0
	-4

	FACADE
	0
	0
	8569.4
	115505.015
	-375480
	0
	0
	0
	-4

	EQX
	-9668.567
	0
	0
	0
	-287107
	131955.0415
	0
	0
	-4

	EQY
	0
	-10855.8774
	0
	322364.0267
	1.58E-06
	-499324
	0
	0
	-4

	EQXMIN
	-9668.567
	0
	0
	6.34E-07
	-287107
	158534.6586
	0
	0
	-4

	EQXMAX
	-9668.567
	0
	0
	0
	-287107
	105375.4245
	0
	0
	-4

	EQYMIN
	0
	-10855.8774
	0
	322364.0267
	2.342E-06
	-561908
	0
	0
	-4

	EQYMAX
	0
	-10855.8774
	0
	322364.0267
	8.182E-07
	-436740
	0
	0
	-4

	WCX
	-2081.7729
	0
	0
	0
	-60307.795
	29105.1354
	0
	0
	-4

	WCY
	0
	-4396.4874
	0
	109610.727
	0
	-192668
	0
	0
	-4

	WCXB1
	-1561.3297
	0
	0
	0
	-45230.8463
	16486.3329
	0
	0
	-4

	DELDL
	0
	0
	26173.807
	350130.3107
	-1164716
	0
	0
	0
	-4

	WCXB2
	-1561.3297
	0
	0
	0
	-45230.8463
	27171.3702
	0
	0
	-4

	WCYB2
	0
	-3297.3655
	0
	82208.0452
	5.268E-07
	-171333
	0
	0
	-4

	WCYB1
	0
	-3297.3655
	0
	82208.0452
	0
	-117669
	0
	0
	-4

	WCC
	-1561.3297
	-3297.3655
	0
	82208.0452
	-45230.8463
	-122672
	0
	0
	-4

	WCD1
	-1170.9973
	-2473.0242
	0
	61656.0339
	-33923.1347
	-116135
	0
	0
	-4

	WCD2
	-1170.9973
	-2473.0242
	0
	61656.0339
	-33923.1347
	-67873.3803
	0
	0
	-4

	PF1
	0
	0
	274097.59
	3722862
	-12273362
	2.055E-06
	0
	0
	-4

	PF2
	0
	0
	290634.8217
	3938059
	-13001091
	2.25E-06
	0
	0
	-4

	PF4WX
	-2914.482
	0
	244729.991
	3323984
	-11042790
	40747.1896
	0
	0
	-4

	PF4WY
	0
	-6155.0824
	244729.991
	3477439
	-10958359
	-269735
	0
	0
	-4

	PF4WXB1
	-2185.8615
	0
	244729.991
	3323984
	-11021682
	23080.8661
	0
	0
	-4

	PF4WXB2
	-2185.8615
	0
	244729.991
	3323984
	-11021682
	38039.9182
	0
	0
	-4

	PF4WYB1
	0
	-4616.3118
	244729.991
	3439075
	-10958359
	-164737
	0
	0
	-4

	PF4WYB2
	0
	-4616.3118
	244729.991
	3439075
	-10958359
	-239866
	0
	0
	-4

	PF4WCC
	-2185.8615
	-4616.3118
	244729.991
	3439075
	-11021682
	-171741
	0
	0
	-4

	PF4WCD1
	-1639.3962
	-3462.2338
	244729.991
	3410303
	-11005852
	-162588
	0
	0
	-4

	PF4WCD2
	-1639.3962
	-3462.2338
	244729.991
	3410303
	-11005852
	-95022.7324
	0
	0
	-4

	PF4BWCD2
	-1639.3962
	-3462.2338
	176205.5935
	2479587
	-7937511
	-95022.7324
	0
	0
	-4

	PF4BWCX
	-2914.482
	0
	176205.5935
	2393269
	-7974450
	40747.1896
	0
	0
	-4

	PF4BWCY
	0
	-6155.0824
	176205.5935
	2546724
	-7890019
	-269735
	0
	0
	-4

	PF4BWCXB1
	-2185.8615
	0
	176205.5935
	2393269
	-7953342
	23080.8661
	0
	0
	-4

	PF4BWCXB2
	-2185.8615
	0
	176205.5935
	2393269
	-7953342
	38039.9182
	0
	0
	-4

	PF4BWCYB1
	0
	-4616.3118
	176205.5935
	2508360
	-7890019
	-164737
	0
	0
	-4

	PF4BWCYB2
	0
	-4616.3118
	176205.5935
	2508360
	-7890019
	-239866
	0
	0
	-4

	PF4BWCC
	-2185.8615
	-4616.3118
	176205.5935
	2508360
	-7953342
	-171741
	0
	0
	-4

	PF4BWCD1
	-1639.3962
	-3462.2338
	176205.5935
	2479587
	-7937511
	-162588
	0
	0
	-4

	PF4DWCX
	-2914.482
	0
	191507.2038
	2597960
	-8655360
	40747.1896
	0
	0
	-4

	PF4DWCY
	0
	-6155.0824
	191507.2038
	2751415
	-8570929
	-269735
	0
	0
	-4

	PF4DWCXB1
	-2185.8615
	0
	191507.2038
	2597960
	-8634252
	23080.8661
	0
	0
	-4

	PF4DWCXB2
	-2185.8615
	0
	191507.2038
	2597960
	-8634252
	38039.9182
	0
	0
	-4

	PF4CYB1
	0
	-4616.3118
	191507.2038
	2713051
	-8570929
	-164737
	0
	0
	-4

	PF4CYB2
	0
	-4616.3118
	191507.2038
	2713051
	-8570929
	-239866
	0
	0
	-4

	PF4DWCC
	-2185.8615
	-4616.3118
	191507.2038
	2713051
	-8634252
	-171741
	0
	0
	-4

	PF4DWCD1
	-1639.3962
	-3462.2338
	191507.2038
	2684279
	-8618422
	-162588
	0
	0
	-4

	PF4DWCD2
	-1639.3962
	-3462.2338
	191507.2038
	2684279
	-8618422
	-95022.7324
	0
	0
	-4

	PF4CWCX
	-2914.482
	0
	260031.6013
	3528676
	-11723701
	40747.1896
	0
	0
	-4

	PF4CWCY
	0
	-6155.0824
	260031.6013
	3682131
	-11639270
	-269735
	0
	0
	-4

	PF4CWCXB1
	-2185.8615
	0
	260031.6013
	3528676
	-11702593
	23080.8661
	0
	0
	-4

	PF4CWCXB2
	-2185.8615
	0
	260031.6013
	3528676
	-11702593
	38039.9182
	0
	0
	-4

	PF4CWCYB1
	0
	-4616.3118
	260031.6013
	3643767
	-11639270
	-164737
	0
	0
	-4

	PF4CWCYB2
	0
	-4616.3118
	260031.6013
	3643767
	-11639270
	-239866
	0
	0
	-4

	PF4CWCC
	-2185.8615
	-4616.3118
	260031.6013
	3643767
	-11702593
	-171741
	0
	0
	-4

	PF4CWCD1
	-1639.3962
	-3462.2338
	260031.6013
	3614994
	-11686762
	-162588
	0
	0
	-4

	PF4CWCD2
	-1639.3962
	-3462.2338
	260031.6013
	3614994
	-11686762
	-95022.7324
	0
	0
	-4

	PFEQ2X
	-9668.567
	0
	211085.6031
	2863879
	-9734705
	131955.0416
	0
	0
	-4

	PFEQ2Y
	0
	-10855.8774
	211085.6031
	3186243
	-9447598
	-499324
	0
	0
	-4

	PFEQ2XMIN
	-9668.567
	0
	211085.6031
	2863879
	-9734705
	158534.6586
	0
	0
	-4

	PFEQ2XMAX
	-9668.567
	0
	211085.6031
	2863879
	-9734705
	105375.4245
	0
	0
	-4

	PFEQ2YMIN
	0
	-10855.8774
	211085.6031
	3186243
	-9447598
	-561908
	0
	0
	-4

	PFEQ2YMAX
	0
	-10855.8774
	211085.6031
	3186243
	-9447598
	-436740
	0
	0
	-4

	PFEQ1X
	-9668.567
	0
	195783.9928
	2659187
	-9053794
	131955.0416
	0
	0
	-4

	PFEQ1Y
	0
	-10855.8774
	195783.9928
	2981551
	-8766687
	-499324
	0
	0
	-4

	PFEQ1XMIN
	-9668.567
	0
	195783.9928
	2659187
	-9053794
	158534.6586
	0
	0
	-4

	PFEQ1XMAX
	-9668.567
	0
	195783.9928
	2659187
	-9053794
	105375.4245
	0
	0
	-4

	PFEQ1YMIN
	0
	-10855.8774
	195783.9928
	2981551
	-8766687
	-561908
	0
	0
	-4

	PFEQ1YMAX
	0
	-10855.8774
	195783.9928
	2981551
	-8766687
	-436740
	0
	0
	-4



Table 3.2 - Centers of Mass and Rigidity
	Story
	Diaphragm
	Mass X
kg
	Mass Y
kg
	XCM
m
	YCM
m
	Cumulative X
kg
	Cumulative Y
kg
	XCCM
m
	YCCM
m
	XCR
m
	YCR
m

	UPPER ROOF
	D2
	70425.82
	70425.82
	49.6172
	14.8436
	70425.82
	70425.82
	49.6172
	14.8436
	49.4888
	15.8515

	PENTHOUSE
	D2
	507497.29
	507497.29
	50.3458
	14.4312
	577923.11
	577923.11
	50.257
	14.4814
	48.436
	14.2185

	Story14
	D2
	660678.7
	660678.7
	50.6061
	14.0976
	1238601.81
	1238601.81
	50.4432
	14.2767
	47.5983
	13.9349

	Story13
	D2
	639387.8
	639387.8
	50.2985
	13.949
	1877989.61
	1877989.61
	50.3939
	14.1651
	46.4486
	13.7981

	Story12
	D2
	792441.99
	792441.99
	46.7002
	13.5498
	2670431.6
	2670431.6
	49.2978
	13.9825
	45.2049
	14.0778

	Story11
	D2
	843343.93
	843343.93
	47.0455
	13.6414
	3513775.53
	3513775.53
	48.7573
	13.9007
	43.2455
	14.2841

	Story10
	D2
	1010045.04
	1010045.04
	49.2602
	13.786
	4523820.57
	4523820.57
	48.8695
	13.8751
	41.3915
	14.9688

	Story9
	D2
	1271464.37
	1271464.37
	43.3239
	13.3743
	5795284.94
	5795284.94
	47.6528
	13.7652
	40.9437
	15.1108

	Story8
	D2
	1352377.81
	1352377.81
	41.488
	13.2394
	7147662.75
	7147662.75
	46.4864
	13.6657
	41.2145
	15.1202

	Story7
	D2
	1358552.09
	1358552.09
	42.0304
	13.2283
	8506214.84
	8506214.84
	45.7747
	13.5958
	41.5697
	15.1617

	Story6
	D2
	1620097.99
	1620097.99
	45.0826
	13.6633
	10126312.83
	10126312.83
	45.664
	13.6066
	41.7727
	15.2375

	Story5
	D2
	1697677.48
	1697677.48
	43.9488
	13.3852
	11823990.31
	11823990.31
	45.4177
	13.5749
	41.2204
	15.3251

	Story4
	D2
	1696571.45
	1696571.45
	43.7934
	13.3397
	13520561.77
	13520561.77
	45.2139
	13.5453
	40.7145
	15.206

	Story3
	D2
	1828532.26
	1828532.26
	45.6672
	13.6195
	15349094.02
	15349094.02
	45.2679
	13.5542
	39.4827
	14.71

	Story2
	D2
	2175938.66
	2175938.66
	41.255
	13.7141
	17525032.69
	17525032.69
	44.7697
	13.574
	40.652
	13.5308



3.2 Story Results
Table 3.3 - Story Max/Avg Displacements
	Story
	Load Case/Combo
	Direction
	Maximum
mm
	Average
mm
	Ratio

	UPPER ROOF
	OW
	Y
	1.7
	1
	1.806025

	PENTHOUSE
	OW
	Y
	3.6
	1.3
	2.757284

	Story14
	OW
	Y
	3.1
	1.2
	2.657508

	Story13
	OW
	Y
	2.6
	0.9
	3.024557

	Story12
	OW
	Y
	2.2
	0.5
	4.135982

	Story11
	OW
	Y
	2
	0.6
	3.295711

	Story10
	OW
	Y
	1.8
	0.5
	3.301729

	Story9
	OW
	X
	0.7
	0.1
	4.583741

	Story8
	OW
	X
	0.5
	0.1
	5.52776

	Story7
	OW
	Y
	1
	0.1
	11.586978

	Story6
	OW
	Y
	0.9
	0.1
	9.848607

	Story5
	OW
	Y
	0.7
	0.02908
	23.225949

	Story4
	OW
	Y
	0.5
	0.01155
	41.195795

	Story3
	OW
	X
	0.1
	0.03396
	3.201853

	Story2
	OW
	Y
	0.1
	0.03512
	1.943873

	GROUND
	OW
	Y
	0
	0
	

	PARKING
	OW
	Y
	0
	0
	

	UPPER ROOF
	EQDL
	Y
	0.1
	0.1
	1.666465

	PENTHOUSE
	EQDL
	Y
	0.3
	0.1
	2.486333

	Story14
	EQDL
	Y
	0.2
	0.1
	2.427065

	Story13
	EQDL
	Y
	0.2
	0.1
	2.74385

	Story12
	EQDL
	Y
	0.2
	0.04604
	3.67062

	Story11
	EQDL
	Y
	0.2
	0.1
	3.134142

	Story10
	EQDL
	Y
	0.1
	0.04305
	3.262924

	Story9
	EQDL
	X
	0.1
	0.01275
	4.242156

	Story8
	EQDL
	X
	0.04048
	0.00711
	5.692748

	Story7
	EQDL
	Y
	0.1
	0.006552
	12.159531

	Story6
	EQDL
	Y
	0.1
	0.006706
	10.434466

	Story5
	EQDL
	X
	0.01765
	0.002786
	6.334387

	Story4
	EQDL
	X
	0.01176
	0.001212
	9.699866

	Story3
	EQDL
	X
	0.007315
	0.001631
	4.483613

	Story2
	EQDL
	Y
	0.00486
	0.00242
	2.008305

	GROUND
	EQDL
	Y
	0
	0
	

	PARKING
	EQDL
	Y
	0
	0
	

	UPPER ROOF
	LL
	Y
	0.5
	0.3
	1.666465

	PENTHOUSE
	LL
	Y
	1
	0.4
	2.486333

	Story14
	LL
	Y
	0.9
	0.4
	2.427065

	Story13
	LL
	Y
	0.8
	0.3
	2.74385

	Story12
	LL
	Y
	0.6
	0.2
	3.67062

	Story11
	LL
	Y
	0.6
	0.2
	3.134142

	Story10
	LL
	Y
	0.5
	0.2
	3.262924

	Story9
	LL
	X
	0.2
	0.04847
	4.242156

	Story8
	LL
	X
	0.2
	0.02702
	5.692748

	Story7
	LL
	Y
	0.3
	0.0249
	12.159531

	Story6
	LL
	Y
	0.3
	0.02548
	10.434466

	Story5
	LL
	X
	0.1
	0.01059
	6.334387

	Story4
	LL
	X
	0.04469
	0.004607
	9.699866

	Story3
	LL
	X
	0.0278
	0.0062
	4.483613

	Story2
	LL
	Y
	0.01847
	0.009196
	2.008305

	GROUND
	LL
	Y
	0
	0
	

	PARKING
	LL
	Y
	0
	0
	

	UPPER ROOF
	FACADE
	Y
	0.2
	0.2
	1.170313

	PENTHOUSE
	FACADE
	Y
	0.2
	0.1
	1.644413

	Story14
	FACADE
	Y
	0.2
	0.1
	1.702084

	Story13
	FACADE
	Y
	0.2
	0.1
	1.867545

	Story12
	FACADE
	Y
	0.2
	0.1
	2.227014

	Story11
	FACADE
	Y
	0.2
	0.1
	2.257233

	Story10
	FACADE
	Y
	0.2
	0.1
	2.509118

	Story9
	FACADE
	Y
	0.1
	0.02923
	5.088766

	Story8
	FACADE
	Y
	0.1
	0.02371
	5.16359

	Story7
	FACADE
	Y
	0.1
	0.02331
	4.617166

	Story6
	FACADE
	Y
	0.1
	0.02078
	4.569469

	Story5
	FACADE
	Y
	0.1
	0.01024
	6.594612

	Story4
	FACADE
	Y
	0.04386
	0.005205
	8.427148

	Story3
	FACADE
	X
	0.006814
	0.001125
	6.058595

	Story2
	FACADE
	Y
	0.00486
	0.002411
	2.015333

	GROUND
	FACADE
	Y
	0
	0
	

	PARKING
	FACADE
	Y
	0
	0
	

	UPPER ROOF
	EQX
	X
	17
	16.9
	1.007739

	PENTHOUSE
	EQX
	X
	15.8
	15.2
	1.041782

	Story14
	EQX
	X
	14.4
	14
	1.031804

	Story13
	EQX
	X
	13
	12.8
	1.019903

	Story12
	EQX
	X
	11.8
	11.7
	1.004499

	Story11
	EQX
	X
	10.6
	10.5
	1.006979

	Story10
	EQX
	X
	9.5
	9.3
	1.017002

	Story9
	EQX
	X
	7.9
	7.8
	1.017968

	Story8
	EQX
	X
	6.3
	6.2
	1.018146

	Story7
	EQX
	X
	4.9
	4.8
	1.018033

	Story6
	EQX
	X
	3.6
	3.5
	1.017348

	Story5
	EQX
	X
	2.4
	2.3
	1.015339

	Story4
	EQX
	X
	1.4
	1.4
	1.0144

	Story3
	EQX
	X
	0.5
	0.5
	1.014699

	Story2
	EQX
	X
	0.1
	0.1
	1.030596

	GROUND
	EQX
	Y
	0
	0
	

	PARKING
	EQX
	Y
	0
	0
	

	UPPER ROOF
	EQY
	Y
	13.9
	13.1
	1.065848

	PENTHOUSE
	EQY
	Y
	14.5
	11.8
	1.222906

	Story14
	EQY
	Y
	13
	10.6
	1.225661

	Story13
	EQY
	Y
	11.5
	9.1
	1.265632

	Story12
	EQY
	Y
	10.2
	7.6
	1.352124

	Story11
	EQY
	Y
	9.3
	6.7
	1.391825

	Story10
	EQY
	Y
	8.2
	5.6
	1.470443

	Story9
	EQY
	Y
	6.7
	3.9
	1.688763

	Story8
	EQY
	Y
	5
	3.1
	1.612886

	Story7
	EQY
	Y
	3.8
	2.5
	1.539651

	Story6
	EQY
	Y
	2.8
	1.8
	1.490302

	Story5
	EQY
	Y
	2
	1.3
	1.545669

	Story4
	EQY
	Y
	1.3
	0.8
	1.546234

	Story3
	EQY
	Y
	0.7
	0.5
	1.567731

	Story2
	EQY
	Y
	0.2
	0.2
	1.484096

	GROUND
	EQY
	Y
	0
	0
	

	PARKING
	EQY
	Y
	0
	0
	

	UPPER ROOF
	EQXMIN
	X
	17.6
	17.1
	1.031264

	PENTHOUSE
	EQXMIN
	X
	17.8
	15.2
	1.173077

	Story14
	EQXMIN
	X
	16.1
	14
	1.149893

	Story13
	EQXMIN
	X
	14.4
	12.8
	1.122289

	Story12
	EQXMIN
	X
	12.8
	11.8
	1.090383

	Story11
	EQXMIN
	X
	11.2
	10.6
	1.062009

	Story10
	EQXMIN
	X
	9.7
	9.3
	1.035912

	Story9
	EQXMIN
	X
	8.1
	7.8
	1.02894

	Story8
	EQXMIN
	X
	6.4
	6.2
	1.026164

	Story7
	EQXMIN
	X
	4.9
	4.8
	1.023703

	Story6
	EQXMIN
	X
	3.6
	3.5
	1.020845

	Story5
	EQXMIN
	X
	2.4
	2.3
	1.023323

	Story4
	EQXMIN
	X
	1.4
	1.4
	1.028759

	Story3
	EQXMIN
	X
	0.5
	0.5
	1.046545

	Story2
	EQXMIN
	X
	0.1
	0.1
	1.112373

	GROUND
	EQXMIN
	Y
	0
	0
	

	PARKING
	EQXMIN
	Y
	0
	0
	

	UPPER ROOF
	EQXMAX
	X
	16.9
	16.6
	1.01647

	PENTHOUSE
	EQXMAX
	X
	16.6
	15.2
	1.089133

	Story14
	EQXMAX
	X
	15.2
	14
	1.086198

	Story13
	EQXMAX
	X
	13.8
	12.8
	1.082689

	Story12
	EQXMAX
	X
	12.7
	11.7
	1.081746

	Story11
	EQXMAX
	X
	11.3
	10.5
	1.076395

	Story10
	EQXMAX
	X
	9.9
	9.3
	1.070358

	Story9
	EQXMAX
	X
	8.3
	7.8
	1.065236

	Story8
	EQXMAX
	X
	6.6
	6.2
	1.062729

	Story7
	EQXMAX
	X
	5.1
	4.8
	1.059972

	Story6
	EQXMAX
	X
	3.7
	3.5
	1.055678

	Story5
	EQXMAX
	X
	2.5
	2.3
	1.054071

	Story4
	EQXMAX
	X
	1.4
	1.4
	1.057546

	Story3
	EQXMAX
	X
	0.5
	0.5
	1.075688

	Story2
	EQXMAX
	X
	0.1
	0.1
	1.051471

	GROUND
	EQXMAX
	Y
	0
	0
	

	PARKING
	EQXMAX
	Y
	0
	0
	

	UPPER ROOF
	EQYMIN
	Y
	16.4
	14.2
	1.157865

	PENTHOUSE
	EQYMIN
	Y
	19.5
	13.1
	1.482297

	Story14
	EQYMIN
	Y
	17.2
	11.8
	1.466922

	Story13
	EQYMIN
	Y
	15.1
	9.9
	1.526991

	Story12
	EQYMIN
	Y
	13.2
	7.9
	1.679196

	Story11
	EQYMIN
	Y
	12.1
	7.2
	1.667166

	Story10
	EQYMIN
	Y
	10.5
	6.1
	1.727045

	Story9
	EQYMIN
	Y
	8.4
	3.9
	2.171335

	Story8
	EQYMIN
	Y
	6.4
	3.1
	2.082476

	Story7
	EQYMIN
	Y
	4.9
	2.5
	1.983103

	Story6
	EQYMIN
	Y
	3.7
	1.9
	1.950307

	Story5
	EQYMIN
	Y
	2.6
	1.3
	2.052225

	Story4
	EQYMIN
	Y
	1.7
	0.8
	2.042389

	Story3
	EQYMIN
	Y
	1
	0.5
	2.039284

	Story2
	EQYMIN
	Y
	0.3
	0.2
	1.881739

	GROUND
	EQYMIN
	Y
	0
	0
	

	PARKING
	EQYMIN
	Y
	0
	0
	

	UPPER ROOF
	EQYMAX
	Y
	12.5
	12
	1.04274

	PENTHOUSE
	EQYMAX
	Y
	11.6
	10.5
	1.100143

	Story14
	EQYMAX
	Y
	10.1
	9.4
	1.076077

	Story13
	EQYMAX
	Y
	8.7
	8.3
	1.04553

	Story12
	EQYMAX
	Y
	7.3
	7.3
	1.001734

	Story11
	EQYMAX
	Y
	6.6
	6.1
	1.067328

	Story10
	EQYMAX
	Y
	5.9
	5.1
	1.163693

	Story9
	EQYMAX
	Y
	4.9
	4
	1.218269

	Story8
	EQYMAX
	Y
	3.7
	3.2
	1.158329

	Story7
	EQYMAX
	Y
	2.7
	2.5
	1.094132

	Story6
	EQYMAX
	Y
	1.8
	1.8
	1.014529

	Story5
	EQYMAX
	Y
	1.3
	1.3
	1.043281

	Story4
	EQYMAX
	Y
	0.9
	0.8
	1.050657

	Story3
	EQYMAX
	Y
	0.5
	0.5
	1.089039

	Story2
	EQYMAX
	Y
	0.2
	0.2
	1.072198

	GROUND
	EQYMAX
	Y
	0
	0
	

	PARKING
	EQYMAX
	Y
	0
	0
	

	UPPER ROOF
	WCX
	X
	3.6
	3.6
	1.004988

	PENTHOUSE
	WCX
	X
	3.3
	3.2
	1.034116

	Story14
	WCX
	X
	3
	2.9
	1.02753

	Story13
	WCX
	X
	2.7
	2.7
	1.018811

	Story12
	WCX
	X
	2.5
	2.4
	1.005909

	Story11
	WCX
	X
	2.2
	2.2
	1.004278

	Story10
	WCX
	X
	1.9
	1.9
	1.013427

	Story9
	WCX
	X
	1.6
	1.6
	1.014187

	Story8
	WCX
	X
	1.3
	1.3
	1.014304

	Story7
	WCX
	X
	1
	1
	1.014191

	Story6
	WCX
	X
	0.7
	0.7
	1.013617

	Story5
	WCX
	X
	0.5
	0.5
	1.011353

	Story4
	WCX
	X
	0.3
	0.3
	1.009783

	Story3
	WCX
	X
	0.1
	0.1
	1.007862

	Story2
	WCX
	X
	0.02741
	0.02638
	1.039378

	GROUND
	WCX
	Y
	0
	0
	

	PARKING
	WCX
	Y
	0
	0
	

	UPPER ROOF
	WCY
	Y
	4
	3.8
	1.05724

	PENTHOUSE
	WCY
	Y
	4.1
	3.4
	1.198617

	Story14
	WCY
	Y
	3.7
	3.1
	1.198533

	Story13
	WCY
	Y
	3.3
	2.7
	1.229425

	Story12
	WCY
	Y
	2.9
	2.2
	1.29624

	Story11
	WCY
	Y
	2.6
	2
	1.325462

	Story10
	WCY
	Y
	2.3
	1.7
	1.383538

	Story9
	WCY
	Y
	1.9
	1.2
	1.530072

	Story8
	WCY
	Y
	1.5
	1
	1.458506

	Story7
	WCY
	Y
	1.1
	0.8
	1.392012

	Story6
	WCY
	Y
	0.8
	0.6
	1.339198

	Story5
	WCY
	Y
	0.6
	0.4
	1.377568

	Story4
	WCY
	Y
	0.4
	0.3
	1.37654

	Story3
	WCY
	Y
	0.2
	0.2
	1.397798

	Story2
	WCY
	Y
	0.1
	0.1
	1.316675

	GROUND
	WCY
	Y
	0
	0
	

	PARKING
	WCY
	Y
	0
	0
	

	UPPER ROOF
	WCXB1
	X
	2.7
	2.6
	1.027594

	PENTHOUSE
	WCXB1
	X
	2.8
	2.4
	1.139633

	Story14
	WCXB1
	X
	2.5
	2.2
	1.128359

	Story13
	WCXB1
	X
	2.2
	2
	1.115826

	Story12
	WCXB1
	X
	2
	1.8
	1.106112

	Story11
	WCXB1
	X
	1.8
	1.6
	1.093417

	Story10
	WCXB1
	X
	1.5
	1.4
	1.080855

	Story9
	WCXB1
	X
	1.3
	1.2
	1.073664

	Story8
	WCXB1
	X
	1
	0.9
	1.070374

	Story7
	WCXB1
	X
	0.8
	0.7
	1.066908

	Story6
	WCXB1
	X
	0.6
	0.5
	1.061774

	Story5
	WCXB1
	X
	0.4
	0.4
	1.060024

	Story4
	WCXB1
	X
	0.2
	0.2
	1.064001

	Story3
	WCXB1
	X
	0.1
	0.1
	1.084292

	Story2
	WCXB1
	X
	0.02098
	0.01973
	1.063534

	GROUND
	WCXB1
	Y
	0
	0
	

	PARKING
	WCXB1
	Y
	0
	0
	

	UPPER ROOF
	DELDL
	Y
	0.4
	0.2
	1.666465

	PENTHOUSE
	DELDL
	Y
	0.7
	0.3
	2.486333

	Story14
	DELDL
	Y
	0.6
	0.3
	2.427065

	Story13
	DELDL
	Y
	0.5
	0.2
	2.74385

	Story12
	DELDL
	Y
	0.4
	0.1
	3.67062

	Story11
	DELDL
	Y
	0.4
	0.1
	3.134142

	Story10
	DELDL
	Y
	0.4
	0.1
	3.262924

	Story9
	DELDL
	X
	0.1
	0.03316
	4.242156

	Story8
	DELDL
	X
	0.1
	0.01849
	5.692748

	Story7
	DELDL
	Y
	0.2
	0.01704
	12.159531

	Story6
	DELDL
	Y
	0.2
	0.01744
	10.434466

	Story5
	DELDL
	X
	0.04588
	0.007243
	6.334387

	Story4
	DELDL
	X
	0.03057
	0.003152
	9.699866

	Story3
	DELDL
	X
	0.01902
	0.004242
	4.483613

	Story2
	DELDL
	Y
	0.01264
	0.006292
	2.008305

	GROUND
	DELDL
	Y
	0
	0
	

	PARKING
	DELDL
	Y
	0
	0
	

	UPPER ROOF
	WCXB2
	X
	2.8
	2.7
	1.036368

	PENTHOUSE
	WCXB2
	X
	2.9
	2.4
	1.208523

	Story14
	WCXB2
	X
	2.6
	2.2
	1.183467

	Story13
	WCXB2
	X
	2.3
	2
	1.15292

	Story12
	WCXB2
	X
	2.1
	1.8
	1.117107

	Story11
	WCXB2
	X
	1.8
	1.6
	1.083952

	Story10
	WCXB2
	X
	1.5
	1.4
	1.053112

	Story9
	WCXB2
	X
	1.3
	1.2
	1.044564

	Story8
	WCXB2
	X
	1
	1
	1.041199

	Story7
	WCXB2
	X
	0.8
	0.7
	1.038094

	Story6
	WCXB2
	X
	0.6
	0.5
	1.034233

	Story5
	WCXB2
	X
	0.4
	0.4
	1.037122

	Story4
	WCXB2
	X
	0.2
	0.2
	1.04437

	Story3
	WCXB2
	X
	0.1
	0.1
	1.068864

	Story2
	WCXB2
	X
	0.02265
	0.01983
	1.14175

	GROUND
	WCXB2
	Y
	0
	0
	

	PARKING
	WCXB2
	Y
	0
	0
	

	UPPER ROOF
	WCYB2
	Y
	3.7
	3.2
	1.169773

	PENTHOUSE
	WCYB2
	Y
	4.4
	2.9
	1.511309

	Story14
	WCYB2
	Y
	3.9
	2.6
	1.490801

	Story13
	WCYB2
	Y
	3.5
	2.2
	1.548961

	Story12
	WCYB2
	Y
	3
	1.8
	1.700323

	Story11
	WCYB2
	Y
	2.8
	1.7
	1.676042

	Story10
	WCYB2
	Y
	2.4
	1.4
	1.724372

	Story9
	WCYB2
	Y
	2
	0.9
	2.160575

	Story8
	WCYB2
	Y
	1.5
	0.7
	2.074766

	Story7
	WCYB2
	Y
	1.2
	0.6
	1.981393

	Story6
	WCYB2
	Y
	0.9
	0.5
	1.959031

	Story5
	WCYB2
	Y
	0.7
	0.3
	2.06178

	Story4
	WCYB2
	Y
	0.4
	0.2
	2.051174

	Story3
	WCYB2
	Y
	0.3
	0.1
	2.045941

	Story2
	WCYB2
	Y
	0.1
	0.1
	1.882569

	GROUND
	WCYB2
	Y
	0
	0
	

	PARKING
	WCYB2
	Y
	0
	0
	

	UPPER ROOF
	WCYB1
	Y
	2.7
	2.5
	1.08368

	PENTHOUSE
	WCYB1
	Y
	2.7
	2.2
	1.22113

	Story14
	WCYB1
	Y
	2.3
	2
	1.196132

	Story13
	WCYB1
	Y
	2.1
	1.8
	1.175965

	Story12
	WCYB1
	Y
	1.8
	1.6
	1.15712

	Story11
	WCYB1
	Y
	1.5
	1.3
	1.111911

	Story10
	WCYB1
	Y
	1.2
	1.1
	1.048137

	Story9
	WCYB1
	Y
	1
	0.9
	1.077133

	Story8
	WCYB1
	Y
	0.9
	0.8
	1.130322

	Story7
	WCYB1
	Y
	0.7
	0.6
	1.200755

	Story6
	WCYB1
	Y
	0.6
	0.4
	1.311442

	Story5
	WCYB1
	Y
	0.4
	0.3
	1.300262

	Story4
	WCYB1
	Y
	0.3
	0.2
	1.298356

	Story3
	WCYB1
	Y
	0.2
	0.1
	1.265337

	Story2
	WCYB1
	Y
	0.1
	0.04812
	1.273559

	GROUND
	WCYB1
	Y
	0
	0
	

	PARKING
	WCYB1
	Y
	0
	0
	

	UPPER ROOF
	WCC
	Y
	3
	2.8
	1.047476

	PENTHOUSE
	WCC
	Y
	3
	2.6
	1.161664

	Story14
	WCC
	Y
	2.7
	2.3
	1.168018

	Story13
	WCC
	X
	2.3
	2
	1.15677

	Story12
	WCC
	X
	2.1
	1.8
	1.167239

	Story11
	WCC
	X
	1.9
	1.6
	1.175485

	Story10
	WCC
	X
	1.7
	1.5
	1.183269

	Story9
	WCC
	X
	1.4
	1.2
	1.169015

	Story8
	WCC
	X
	1.1
	1
	1.150072

	Story7
	WCC
	X
	0.8
	0.7
	1.12836

	Story6
	WCC
	X
	0.6
	0.5
	1.10165

	Story5
	WCC
	X
	0.4
	0.4
	1.109903

	Story4
	WCC
	Y
	0.3
	0.2
	1.405763

	Story3
	WCC
	Y
	0.2
	0.1
	1.410867

	Story2
	WCC
	Y
	0.1
	0.04952
	1.268145

	GROUND
	WCC
	Y
	0
	0
	

	PARKING
	WCC
	Y
	0
	0
	

	UPPER ROOF
	WCD1
	Y
	3
	2.4
	1.213614

	PENTHOUSE
	WCD1
	Y
	3.7
	2.3
	1.619572

	Story14
	WCD1
	Y
	3.3
	2.1
	1.5902

	Story13
	WCD1
	Y
	2.9
	1.7
	1.66043

	Story12
	WCD1
	X
	2.1
	1.4
	1.541005

	Story11
	WCD1
	Y
	2.3
	1.3
	1.805926

	Story10
	WCD1
	Y
	2
	1.1
	1.852348

	Story9
	WCD1
	X
	1.3
	0.9
	1.408996

	Story8
	WCD1
	X
	1
	0.7
	1.382821

	Story7
	WCD1
	X
	0.8
	0.6
	1.353932

	Story6
	WCD1
	X
	0.5
	0.4
	1.31624

	Story5
	WCD1
	X
	0.4
	0.3
	1.333847

	Story4
	WCD1
	Y
	0.4
	0.2
	2.249807

	Story3
	WCD1
	Y
	0.2
	0.1
	2.207214

	Story2
	WCD1
	Y
	0.1
	0.03813
	1.943629

	GROUND
	WCD1
	Y
	0
	0
	

	PARKING
	WCD1
	Y
	0
	0
	

	UPPER ROOF
	WCD2
	X
	2.2
	2
	1.072666

	PENTHOUSE
	WCD2
	X
	2.5
	1.8
	1.387406

	Story14
	WCD2
	X
	2.2
	1.6
	1.336313

	Story13
	WCD2
	X
	1.9
	1.5
	1.272859

	Story12
	WCD2
	X
	1.7
	1.4
	1.203403

	Story11
	WCD2
	X
	1.4
	1.2
	1.135528

	Story10
	WCD2
	X
	1.2
	1.1
	1.071148

	Story9
	WCD2
	X
	1
	0.9
	1.066837

	Story8
	WCD2
	X
	0.8
	0.7
	1.080026

	Story7
	WCD2
	X
	0.6
	0.6
	1.09586

	Story6
	WCD2
	X
	0.5
	0.4
	1.11286

	Story5
	WCD2
	X
	0.3
	0.3
	1.116118

	Story4
	WCD2
	Y
	0.2
	0.2
	1.439047

	Story3
	WCD2
	Y
	0.1
	0.1
	1.4084

	Story2
	WCD2
	Y
	0.1
	0.03615
	1.444318

	GROUND
	WCD2
	Y
	0
	0
	

	PARKING
	WCD2
	Y
	0
	0
	

	UPPER ROOF
	PF1
	Y
	3.2
	1.9
	1.711012

	PENTHOUSE
	PF1
	Y
	6.3
	2.4
	2.616986

	Story14
	PF1
	Y
	5.5
	2.2
	2.536712

	Story13
	PF1
	Y
	4.7
	1.6
	2.868526

	Story12
	PF1
	Y
	3.9
	1
	3.840292

	Story11
	PF1
	Y
	3.7
	1.2
	3.167363

	Story10
	PF1
	Y
	3.2
	1
	3.218134

	Story9
	PF1
	X
	1.2
	0.3
	4.44183

	Story8
	PF1
	X
	0.9
	0.2
	5.550038

	Story7
	PF1
	Y
	1.9
	0.2
	10.395336

	Story6
	PF1
	Y
	1.7
	0.2
	9.081849

	Story5
	PF1
	Y
	1.2
	0.1
	19.779574

	Story4
	PF1
	Y
	0.9
	0.02607
	32.961904

	Story3
	PF1
	X
	0.2
	0.1
	3.421779

	Story2
	PF1
	Y
	0.1
	0.1
	1.957056

	GROUND
	PF1
	Y
	0
	0
	

	PARKING
	PF1
	Y
	0
	0
	

	UPPER ROOF
	PF2
	Y
	3.5
	2
	1.702762

	PENTHOUSE
	PF2
	Y
	6.9
	2.7
	2.592374

	Story14
	PF2
	Y
	6
	2.4
	2.516201

	Story13
	PF2
	Y
	5.1
	1.8
	2.845188

	Story12
	PF2
	Y
	4.3
	1.1
	3.808411

	Story11
	PF2
	Y
	4
	1.3
	3.161279

	Story10
	PF2
	Y
	3.5
	1.1
	3.226215

	Story9
	PF2
	X
	1.3
	0.3
	4.403448

	Story8
	PF2
	X
	1
	0.2
	5.575397

	Story7
	PF2
	Y
	2
	0.2
	10.672689

	Story6
	PF2
	Y
	1.8
	0.2
	9.296387

	Story5
	PF2
	Y
	1.3
	0.1
	20.729478

	Story4
	PF2
	Y
	0.9
	0.02655
	35.112796

	Story3
	PF2
	X
	0.2
	0.1
	3.561339

	Story2
	PF2
	Y
	0.1
	0.1
	1.965649

	GROUND
	PF2
	Y
	0
	0
	

	PARKING
	PF2
	Y
	0
	0
	

	UPPER ROOF
	PF4WX
	X
	5.8
	5.2
	1.099368

	PENTHOUSE
	PF4WX
	X
	7.9
	5.1
	1.558361

	Story14
	PF4WX
	X
	7
	4.6
	1.532789

	Story13
	PF4WX
	X
	6.1
	4
	1.502713

	Story12
	PF4WX
	X
	5.1
	3.5
	1.462878

	Story11
	PF4WX
	X
	4.2
	2.9
	1.451273

	Story10
	PF4WX
	X
	3.4
	2.4
	1.437941

	Story9
	PF4WX
	X
	2.9
	2
	1.436541

	Story8
	PF4WX
	X
	2.3
	1.6
	1.435335

	Story7
	PF4WX
	X
	1.9
	1.3
	1.428914

	Story6
	PF4WX
	X
	1.5
	1
	1.409691

	Story5
	PF4WX
	X
	1
	0.7
	1.450953

	Story4
	PF4WX
	X
	0.6
	0.4
	1.574686

	Story3
	PF4WX
	X
	0.2
	0.1
	2.250645

	Story2
	PF4WX
	Y
	0.1
	0.1
	1.890284

	GROUND
	PF4WX
	Y
	0
	0
	

	PARKING
	PF4WX
	Y
	0
	0
	

	UPPER ROOF
	PF4WY
	Y
	8.5
	7
	1.212249

	PENTHOUSE
	PF4WY
	Y
	11.4
	6.9
	1.639589

	Story14
	PF4WY
	Y
	10.1
	6.2
	1.615519

	Story13
	PF4WY
	Y
	8.8
	5.2
	1.692301

	Story12
	PF4WY
	Y
	7.5
	4
	1.867382

	Story11
	PF4WY
	Y
	7
	3.8
	1.8247

	Story10
	PF4WY
	Y
	6.1
	3.2
	1.887488

	Story9
	PF4WY
	Y
	5
	1.9
	2.631857

	Story8
	PF4WY
	Y
	3.9
	1.5
	2.597698

	Story7
	PF4WY
	Y
	3.2
	1.3
	2.520021

	Story6
	PF4WY
	Y
	2.6
	1
	2.587355

	Story5
	PF4WY
	Y
	1.9
	0.7
	2.945555

	Story4
	PF4WY
	Y
	1.3
	0.4
	3.098849

	Story3
	PF4WY
	Y
	0.7
	0.2
	3.32529

	Story2
	PF4WY
	Y
	0.1
	0.03697
	3.203766

	GROUND
	PF4WY
	Y
	0
	0
	

	PARKING
	PF4WY
	Y
	0
	0
	

	UPPER ROOF
	PF4WXB1
	X
	4.6
	3.9
	1.165614

	PENTHOUSE
	PF4WXB1
	X
	7.4
	3.9
	1.877632

	Story14
	PF4WXB1
	X
	6.5
	3.5
	1.833562

	Story13
	PF4WXB1
	X
	5.5
	3.1
	1.784276

	Story12
	PF4WXB1
	X
	4.6
	2.6
	1.725003

	Story11
	PF4WXB1
	X
	3.6
	2.1
	1.709053

	Story10
	PF4WXB1
	X
	2.9
	1.7
	1.688654

	Story9
	PF4WXB1
	X
	2.4
	1.4
	1.675147

	Story8
	PF4WXB1
	X
	2
	1.2
	1.660042

	Story7
	PF4WXB1
	X
	1.6
	1
	1.632991

	Story6
	PF4WXB1
	X
	1.2
	0.8
	1.583568

	Story5
	PF4WXB1
	X
	0.9
	0.5
	1.634584

	Story4
	PF4WXB1
	X
	0.5
	0.3
	1.813617

	Story3
	PF4WXB1
	X
	0.2
	0.1
	3.137527

	Story2
	PF4WXB1
	Y
	0.1
	0.1
	2.068926

	GROUND
	PF4WXB1
	Y
	0
	0
	

	PARKING
	PF4WXB1
	Y
	0
	0
	

	UPPER ROOF
	PF4WXB2
	X
	4.5
	4.1
	1.100164

	PENTHOUSE
	PF4WXB2
	X
	6.2
	3.9
	1.579574

	Story14
	PF4WXB2
	X
	5.5
	3.5
	1.559965

	Story13
	PF4WXB2
	X
	4.8
	3.1
	1.53759

	Story12
	PF4WXB2
	X
	4
	2.7
	1.504313

	Story11
	PF4WXB2
	X
	3.3
	2.2
	1.512926

	Story10
	PF4WXB2
	X
	2.6
	1.7
	1.521709

	Story9
	PF4WXB2
	X
	2.2
	1.4
	1.528388

	Story8
	PF4WXB2
	X
	1.8
	1.2
	1.527689

	Story7
	PF4WXB2
	X
	1.5
	1
	1.517251

	Story6
	PF4WXB2
	X
	1.2
	0.8
	1.488579

	Story5
	PF4WXB2
	X
	0.8
	0.5
	1.541573

	Story4
	PF4WXB2
	X
	0.5
	0.3
	1.706163

	Story3
	PF4WXB2
	X
	0.2
	0.1
	2.872558

	Story2
	PF4WXB2
	Y
	0.1
	0.1
	1.747704

	GROUND
	PF4WXB2
	Y
	0
	0
	

	PARKING
	PF4WXB2
	Y
	0
	0
	

	UPPER ROOF
	PF4WYB1
	Y
	6.1
	5.2
	1.169168

	PENTHOUSE
	PF4WYB1
	Y
	8
	5.2
	1.538619

	Story14
	PF4WYB1
	Y
	7.1
	4.7
	1.522921

	Story13
	PF4WYB1
	Y
	6.2
	3.9
	1.586867

	Story12
	PF4WYB1
	Y
	5.4
	3.1
	1.713752

	Story11
	PF4WYB1
	Y
	4.9
	2.9
	1.703604

	Story10
	PF4WYB1
	Y
	4.4
	2.5
	1.776726

	Story9
	PF4WYB1
	Y
	3.6
	1.5
	2.396677

	Story8
	PF4WYB1
	Y
	2.8
	1.2
	2.380251

	Story7
	PF4WYB1
	Y
	2.3
	1
	2.341726

	Story6
	PF4WYB1
	Y
	1.9
	0.8
	2.434315

	Story5
	PF4WYB1
	Y
	1.4
	0.5
	2.79878

	Story4
	PF4WYB1
	Y
	1
	0.3
	3.005669

	Story3
	PF4WYB1
	Y
	0.5
	0.2
	3.33567

	Story2
	PF4WYB1
	X
	0.03936
	0.02778
	1.41694

	GROUND
	PF4WYB1
	Y
	0
	0
	

	PARKING
	PF4WYB1
	Y
	0
	0
	

	UPPER ROOF
	PF4WYB2
	Y
	8
	6.1
	1.316709

	PENTHOUSE
	PF4WYB2
	Y
	11.9
	6.3
	1.891879

	Story14
	PF4WYB2
	Y
	10.4
	5.6
	1.85098

	Story13
	PF4WYB2
	Y
	9
	4.6
	1.970337

	Story12
	PF4WYB2
	Y
	7.7
	3.4
	2.272564

	Story11
	PF4WYB2
	Y
	7.2
	3.4
	2.136433

	Story10
	PF4WYB2
	Y
	6.3
	2.9
	2.189256

	Story9
	PF4WYB2
	Y
	5.1
	1.5
	3.531127

	Story8
	PF4WYB2
	Y
	4
	1.1
	3.516493

	Story7
	PF4WYB2
	Y
	3.3
	1
	3.327365

	Story6
	PF4WYB2
	Y
	2.7
	0.8
	3.384427

	Story5
	PF4WYB2
	Y
	2
	0.5
	4.027295

	Story4
	PF4WYB2
	Y
	1.4
	0.3
	4.25802

	Story3
	PF4WYB2
	Y
	0.7
	0.2
	4.762243

	Story2
	PF4WYB2
	X
	0.1
	0.02805
	2.389617

	GROUND
	PF4WYB2
	Y
	0
	0
	

	PARKING
	PF4WYB2
	Y
	0
	0
	

	UPPER ROOF
	PF4WCC
	Y
	7
	5.6
	1.243016

	PENTHOUSE
	PF4WCC
	Y
	9.8
	5.7
	1.710044

	Story14
	PF4WCC
	Y
	8.7
	5.2
	1.684284

	Story13
	PF4WCC
	Y
	7.6
	4.3
	1.776949

	Story12
	PF4WCC
	Y
	6.5
	3.3
	1.995646

	Story11
	PF4WCC
	Y
	6.1
	3.1
	1.940529

	Story10
	PF4WCC
	Y
	5.4
	2.7
	2.018255

	Story9
	PF4WCC
	Y
	4.4
	1.5
	3.011977

	Story8
	PF4WCC
	X
	2.1
	1.2
	1.739434

	Story7
	PF4WCC
	Y
	2.9
	1
	2.876168

	Story6
	PF4WCC
	X
	1.3
	0.8
	1.612706

	Story5
	PF4WCC
	X
	0.9
	0.5
	1.673452

	Story4
	PF4WCC
	Y
	1.2
	0.3
	3.647329

	Story3
	PF4WCC
	Y
	0.6
	0.2
	4.048578

	Story2
	PF4WCC
	Y
	0.1
	0.01455
	5.880662

	GROUND
	PF4WCC
	Y
	0
	0
	

	PARKING
	PF4WCC
	Y
	0
	0
	

	UPPER ROOF
	PF4WCD1
	Y
	7
	5.1
	1.37581

	PENTHOUSE
	PF4WCD1
	Y
	10.9
	5.4
	2.019976

	Story14
	PF4WCD1
	Y
	9.5
	4.8
	1.969908

	Story13
	PF4WCD1
	Y
	8.2
	3.9
	2.114984

	Story12
	PF4WCD1
	Y
	7
	2.8
	2.499857

	Story11
	PF4WCD1
	Y
	6.5
	2.8
	2.302927

	Story10
	PF4WCD1
	Y
	5.7
	2.4
	2.35371

	Story9
	PF4WCD1
	Y
	4.7
	1.1
	4.162251

	Story8
	PF4WCD1
	Y
	3.7
	0.9
	4.166265

	Story7
	PF4WCD1
	Y
	3.1
	0.8
	3.860736

	Story6
	PF4WCD1
	Y
	2.5
	0.7
	3.885426

	Story5
	PF4WCD1
	X
	0.9
	0.4
	2.047802

	Story4
	PF4WCD1
	Y
	1.3
	0.3
	5.090167

	Story3
	PF4WCD1
	Y
	0.7
	0.1
	5.986972

	Story2
	PF4WCD1
	X
	0.04212
	0.007102
	5.930493

	GROUND
	PF4WCD1
	Y
	0
	0
	

	PARKING
	PF4WCD1
	Y
	0
	0
	

	UPPER ROOF
	PF4WCD2
	Y
	4.9
	4.2
	1.174364

	PENTHOUSE
	PF4WCD2
	Y
	6.7
	4.3
	1.549937

	Story14
	PF4WCD2
	Y
	5.9
	3.9
	1.540244

	Story13
	PF4WCD2
	Y
	5.2
	3.2
	1.61687

	Story12
	PF4WCD2
	Y
	4.5
	2.5
	1.769673

	Story11
	PF4WCD2
	Y
	4.2
	2.4
	1.774922

	Story10
	PF4WCD2
	Y
	3.8
	2
	1.878749

	Story9
	PF4WCD2
	Y
	3.1
	1.2
	2.693134

	Story8
	PF4WCD2
	Y
	2.5
	0.9
	2.699289

	Story7
	PF4WCD2
	Y
	2.1
	0.8
	2.650263

	Story6
	PF4WCD2
	Y
	1.7
	0.6
	2.768195

	Story5
	PF4WCD2
	X
	0.7
	0.4
	1.641676

	Story4
	PF4WCD2
	Y
	0.9
	0.3
	3.559975

	Story3
	PF4WCD2
	Y
	0.5
	0.1
	4.181102

	Story2
	PF4WCD2
	X
	0.01698
	0.006786
	2.502917

	GROUND
	PF4WCD2
	Y
	0
	0
	

	PARKING
	PF4WCD2
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCD2
	Y
	4.1
	3.7
	1.107384

	PENTHOUSE
	PF4BWCD2
	Y
	5.1
	3.7
	1.375192

	Story14
	PF4BWCD2
	Y
	4.6
	3.3
	1.376503

	Story13
	PF4BWCD2
	Y
	4
	2.8
	1.434607

	Story12
	PF4BWCD2
	Y
	3.5
	2.3
	1.540338

	Story11
	PF4BWCD2
	Y
	3.3
	2.1
	1.580985

	Story10
	PF4BWCD2
	Y
	3
	1.8
	1.68838

	Story9
	PF4BWCD2
	Y
	2.5
	1.1
	2.2176

	Story8
	PF4BWCD2
	X
	1.3
	0.9
	1.451966

	Story7
	PF4BWCD2
	X
	1.1
	0.7
	1.426401

	Story6
	PF4BWCD2
	X
	0.8
	0.6
	1.387426

	Story5
	PF4BWCD2
	X
	0.6
	0.4
	1.442629

	Story4
	PF4BWCD2
	Y
	0.7
	0.2
	2.7777

	Story3
	PF4BWCD2
	Y
	0.4
	0.1
	3.039991

	Story2
	PF4BWCD2
	Y
	0.02643
	0.01117
	2.365984

	GROUND
	PF4BWCD2
	Y
	0
	0
	

	PARKING
	PF4BWCD2
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCX
	X
	5.5
	5.2
	1.071007

	PENTHOUSE
	PF4BWCX
	X
	6.9
	4.9
	1.40554

	Story14
	PF4BWCX
	X
	6.2
	4.4
	1.386846

	Story13
	PF4BWCX
	X
	5.4
	4
	1.364186

	Story12
	PF4BWCX
	X
	4.6
	3.5
	1.333863

	Story11
	PF4BWCX
	X
	3.9
	3
	1.321637

	Story10
	PF4BWCX
	X
	3.2
	2.5
	1.308557

	Story9
	PF4BWCX
	X
	2.7
	2.1
	1.30822

	Story8
	PF4BWCX
	X
	2.2
	1.7
	1.309814

	Story7
	PF4BWCX
	X
	1.7
	1.3
	1.30938

	Story6
	PF4BWCX
	X
	1.3
	1
	1.301469

	Story5
	PF4BWCX
	X
	0.9
	0.7
	1.332305

	Story4
	PF4BWCX
	X
	0.6
	0.4
	1.417943

	Story3
	PF4BWCX
	X
	0.2
	0.1
	1.790565

	Story2
	PF4BWCX
	Y
	0.1
	0.03875
	1.863858

	GROUND
	PF4BWCX
	Y
	0
	0
	

	PARKING
	PF4BWCX
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCY
	Y
	7.7
	6.5
	1.176782

	PENTHOUSE
	PF4BWCY
	Y
	9.8
	6.3
	1.546391

	Story14
	PF4BWCY
	Y
	8.7
	5.7
	1.527462

	Story13
	PF4BWCY
	Y
	7.6
	4.8
	1.59131

	Story12
	PF4BWCY
	Y
	6.6
	3.8
	1.735046

	Story11
	PF4BWCY
	Y
	6
	3.5
	1.714433

	Story10
	PF4BWCY
	Y
	5.3
	3
	1.776615

	Story9
	PF4BWCY
	Y
	4.4
	1.9
	2.344783

	Story8
	PF4BWCY
	Y
	3.4
	1.5
	2.298096

	Story7
	PF4BWCY
	Y
	2.8
	1.2
	2.233706

	Story6
	PF4BWCY
	Y
	2.2
	1
	2.280352

	Story5
	PF4BWCY
	Y
	1.6
	0.6
	2.534111

	Story4
	PF4BWCY
	Y
	1.1
	0.4
	2.63583

	Story3
	PF4BWCY
	Y
	0.6
	0.2
	2.74705

	Story2
	PF4BWCY
	Y
	0.1
	0.1
	2.277005

	GROUND
	PF4BWCY
	Y
	0
	0
	

	PARKING
	PF4BWCY
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCXB1
	X
	4.3
	3.9
	1.128496

	PENTHOUSE
	PF4BWCXB1
	X
	6.4
	3.8
	1.692112

	Story14
	PF4BWCXB1
	X
	5.6
	3.4
	1.654055

	Story13
	PF4BWCXB1
	X
	4.9
	3
	1.609735

	Story12
	PF4BWCXB1
	X
	4.1
	2.6
	1.555657

	Story11
	PF4BWCXB1
	X
	3.3
	2.2
	1.528309

	Story10
	PF4BWCXB1
	X
	2.7
	1.8
	1.497621

	Story9
	PF4BWCXB1
	X
	2.2
	1.5
	1.486934

	Story8
	PF4BWCXB1
	X
	1.8
	1.2
	1.480287

	Story7
	PF4BWCXB1
	X
	1.4
	1
	1.46819

	Story6
	PF4BWCXB1
	X
	1.1
	0.8
	1.442148

	Story5
	PF4BWCXB1
	X
	0.8
	0.5
	1.481366

	Story4
	PF4BWCXB1
	X
	0.5
	0.3
	1.606249

	Story3
	PF4BWCXB1
	X
	0.2
	0.1
	2.286767

	Story2
	PF4BWCXB1
	Y
	0.1
	0.03853
	2.113462

	GROUND
	PF4BWCXB1
	Y
	0
	0
	

	PARKING
	PF4BWCXB1
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCXB2
	X
	4.2
	4
	1.063392

	PENTHOUSE
	PF4BWCXB2
	X
	5.2
	3.8
	1.381537

	Story14
	PF4BWCXB2
	X
	4.7
	3.4
	1.370732

	Story13
	PF4BWCXB2
	X
	4.1
	3
	1.357241

	Story12
	PF4BWCXB2
	X
	3.5
	2.6
	1.334246

	Story11
	PF4BWCXB2
	X
	2.9
	2.2
	1.337776

	Story10
	PF4BWCXB2
	X
	2.4
	1.8
	1.341333

	Story9
	PF4BWCXB2
	X
	2
	1.5
	1.349359

	Story8
	PF4BWCXB2
	X
	1.7
	1.2
	1.354424

	Story7
	PF4BWCXB2
	X
	1.3
	1
	1.355629

	Story6
	PF4BWCXB2
	X
	1.1
	0.8
	1.346855

	Story5
	PF4BWCXB2
	X
	0.7
	0.5
	1.387223

	Story4
	PF4BWCXB2
	X
	0.4
	0.3
	1.498538

	Story3
	PF4BWCXB2
	X
	0.2
	0.1
	2.066626

	Story2
	PF4BWCXB2
	Y
	0.1
	0.03932
	1.666048

	GROUND
	PF4BWCXB2
	Y
	0
	0
	

	PARKING
	PF4BWCXB2
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCYB1
	Y
	5.3
	4.7
	1.116175

	PENTHOUSE
	PF4BWCYB1
	Y
	6.5
	4.6
	1.397483

	Story14
	PF4BWCYB1
	Y
	5.8
	4.1
	1.389646

	Story13
	PF4BWCYB1
	Y
	5.1
	3.5
	1.437348

	Story12
	PF4BWCYB1
	Y
	4.4
	2.9
	1.525435

	Story11
	PF4BWCYB1
	Y
	4
	2.6
	1.540633

	Story10
	PF4BWCYB1
	Y
	3.5
	2.2
	1.613159

	Story9
	PF4BWCYB1
	Y
	2.9
	1.5
	2.020731

	Story8
	PF4BWCYB1
	Y
	2.3
	1.2
	1.990171

	Story7
	PF4BWCYB1
	Y
	1.9
	1
	1.962171

	Story6
	PF4BWCYB1
	Y
	1.5
	0.7
	2.023232

	Story5
	PF4BWCYB1
	Y
	1.1
	0.5
	2.259082

	Story4
	PF4BWCYB1
	Y
	0.8
	0.3
	2.394393

	Story3
	PF4BWCYB1
	Y
	0.4
	0.2
	2.535449

	Story2
	PF4BWCYB1
	Y
	0.04724
	0.02792
	1.691795

	GROUND
	PF4BWCYB1
	Y
	0
	0
	

	PARKING
	PF4BWCYB1
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCYB2
	Y
	7.2
	5.6
	1.284271

	PENTHOUSE
	PF4BWCYB2
	Y
	10.3
	5.7
	1.814543

	Story14
	PF4BWCYB2
	Y
	9.1
	5.1
	1.777804

	Story13
	PF4BWCYB2
	Y
	7.9
	4.2
	1.882142

	Story12
	PF4BWCYB2
	Y
	6.7
	3.1
	2.145682

	Story11
	PF4BWCYB2
	Y
	6.2
	3.1
	2.038888

	Story10
	PF4BWCYB2
	Y
	5.5
	2.6
	2.09104

	Story9
	PF4BWCYB2
	Y
	4.5
	1.4
	3.182711

	Story8
	PF4BWCYB2
	Y
	3.5
	1.1
	3.145535

	Story7
	PF4BWCYB2
	Y
	2.9
	1
	2.995935

	Story6
	PF4BWCYB2
	Y
	2.3
	0.8
	3.046235

	Story5
	PF4BWCYB2
	Y
	1.7
	0.5
	3.522318

	Story4
	PF4BWCYB2
	Y
	1.2
	0.3
	3.672515

	Story3
	PF4BWCYB2
	Y
	0.6
	0.2
	3.928412

	Story2
	PF4BWCYB2
	Y
	0.1
	0.03082
	4.236548

	GROUND
	PF4BWCYB2
	Y
	0
	0
	

	PARKING
	PF4BWCYB2
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCC
	Y
	6.2
	5.2
	1.200926

	PENTHOUSE
	PF4BWCC
	Y
	8.2
	5.1
	1.603069

	Story14
	PF4BWCC
	Y
	7.3
	4.6
	1.583623

	Story13
	PF4BWCC
	Y
	6.4
	3.9
	1.660606

	Story12
	PF4BWCC
	Y
	5.5
	3
	1.839942

	Story11
	PF4BWCC
	Y
	5.1
	2.8
	1.815149

	Story10
	PF4BWCC
	Y
	4.6
	2.4
	1.893951

	Story9
	PF4BWCC
	X
	2.4
	1.5
	1.586454

	Story8
	PF4BWCC
	X
	1.9
	1.2
	1.56002

	Story7
	PF4BWCC
	X
	1.5
	1
	1.524935

	Story6
	PF4BWCC
	X
	1.2
	0.8
	1.474116

	Story5
	PF4BWCC
	X
	0.8
	0.5
	1.523067

	Story4
	PF4BWCC
	Y
	1
	0.3
	3.052442

	Story3
	PF4BWCC
	Y
	0.5
	0.2
	3.23862

	Story2
	PF4BWCC
	Y
	0.1
	0.02989
	2.884905

	GROUND
	PF4BWCC
	Y
	0
	0
	

	PARKING
	PF4BWCC
	Y
	0
	0
	

	UPPER ROOF
	PF4BWCD1
	Y
	6.2
	4.6
	1.342129

	PENTHOUSE
	PF4BWCD1
	Y
	9.3
	4.8
	1.944372

	Story14
	PF4BWCD1
	Y
	8.2
	4.3
	1.898185

	Story13
	PF4BWCD1
	Y
	7.1
	3.5
	2.026249

	Story12
	PF4BWCD1
	Y
	6
	2.5
	2.366183

	Story11
	PF4BWCD1
	Y
	5.6
	2.5
	2.204508

	Story10
	PF4BWCD1
	Y
	4.9
	2.2
	2.254682

	Story9
	PF4BWCD1
	X
	2.2
	1.1
	2.032643

	Story8
	PF4BWCD1
	X
	1.8
	0.9
	1.977476

	Story7
	PF4BWCD1
	Y
	2.6
	0.7
	3.468506

	Story6
	PF4BWCD1
	Y
	2.1
	0.6
	3.497823

	Story5
	PF4BWCD1
	X
	0.8
	0.4
	1.860163

	Story4
	PF4BWCD1
	Y
	1.1
	0.2
	4.349231

	Story3
	PF4BWCD1
	Y
	0.6
	0.1
	4.789912

	Story2
	PF4BWCD1
	Y
	0.1
	0.01394
	7.320593

	GROUND
	PF4BWCD1
	Y
	0
	0
	

	PARKING
	PF4BWCD1
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCX
	X
	5.6
	5.2
	1.078624

	PENTHOUSE
	PF4DWCX
	X
	7.1
	4.9
	1.447034

	Story14
	PF4DWCX
	X
	6.4
	4.5
	1.426335

	Story13
	PF4DWCX
	X
	5.6
	4
	1.40159

	Story12
	PF4DWCX
	X
	4.8
	3.5
	1.368619

	Story11
	PF4DWCX
	X
	4
	2.9
	1.356238

	Story10
	PF4DWCX
	X
	3.3
	2.4
	1.342704

	Story9
	PF4DWCX
	X
	2.7
	2
	1.341812

	Story8
	PF4DWCX
	X
	2.2
	1.7
	1.342428

	Story7
	PF4DWCX
	X
	1.8
	1.3
	1.340337

	Story6
	PF4DWCX
	X
	1.4
	1
	1.329508

	Story5
	PF4DWCX
	X
	1
	0.7
	1.362632

	Story4
	PF4DWCX
	X
	0.6
	0.4
	1.456865

	Story3
	PF4DWCX
	X
	0.2
	0.1
	1.889254

	Story2
	PF4DWCX
	Y
	0.1
	0.04243
	1.876379

	GROUND
	PF4DWCX
	Y
	0
	0
	

	PARKING
	PF4DWCX
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCY
	Y
	7.9
	6.6
	1.186027

	PENTHOUSE
	PF4DWCY
	Y
	10.2
	6.5
	1.57052

	Story14
	PF4DWCY
	Y
	9.1
	5.8
	1.550417

	Story13
	PF4DWCY
	Y
	7.9
	4.9
	1.617817

	Story12
	PF4DWCY
	Y
	6.8
	3.9
	1.770158

	Story11
	PF4DWCY
	Y
	6.3
	3.6
	1.744884

	Story10
	PF4DWCY
	Y
	5.5
	3.1
	1.808375

	Story9
	PF4DWCY
	Y
	4.5
	1.9
	2.424194

	Story8
	PF4DWCY
	Y
	3.5
	1.5
	2.380669

	Story7
	PF4DWCY
	Y
	2.9
	1.2
	2.313201

	Story6
	PF4DWCY
	Y
	2.3
	1
	2.365946

	Story5
	PF4DWCY
	Y
	1.7
	0.6
	2.645955

	Story4
	PF4DWCY
	Y
	1.2
	0.4
	2.759488

	Story3
	PF4DWCY
	Y
	0.6
	0.2
	2.893932

	Story2
	PF4DWCY
	Y
	0.1
	0.04863
	2.44985

	GROUND
	PF4DWCY
	Y
	0
	0
	

	PARKING
	PF4DWCY
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCXB1
	X
	4.4
	3.8
	1.138876

	PENTHOUSE
	PF4DWCXB1
	X
	6.6
	3.8
	1.744494

	Story14
	PF4DWCXB1
	X
	5.8
	3.4
	1.704386

	Story13
	PF4DWCXB1
	X
	5
	3
	1.658344

	Story12
	PF4DWCXB1
	X
	4.2
	2.6
	1.602364

	Story11
	PF4DWCXB1
	X
	3.4
	2.2
	1.577088

	Story10
	PF4DWCXB1
	X
	2.7
	1.8
	1.547857

	Story9
	PF4DWCXB1
	X
	2.3
	1.5
	1.535863

	Story8
	PF4DWCXB1
	X
	1.8
	1.2
	1.526613

	Story7
	PF4DWCXB1
	X
	1.5
	1
	1.510542

	Story6
	PF4DWCXB1
	X
	1.2
	0.8
	1.478557

	Story5
	PF4DWCXB1
	X
	0.8
	0.5
	1.52013

	Story4
	PF4DWCXB1
	X
	0.5
	0.3
	1.656764

	Story3
	PF4DWCXB1
	X
	0.2
	0.1
	2.4527

	Story2
	PF4DWCXB1
	Y
	0.1
	0.0422
	2.104297

	GROUND
	PF4DWCXB1
	Y
	0
	0
	

	PARKING
	PF4DWCXB1
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCXB2
	X
	4.3
	4
	1.073259

	PENTHOUSE
	PF4DWCXB2
	X
	5.4
	3.8
	1.435594

	Story14
	PF4DWCXB2
	X
	4.9
	3.4
	1.422211

	Story13
	PF4DWCXB2
	X
	4.3
	3
	1.406174

	Story12
	PF4DWCXB2
	X
	3.6
	2.6
	1.380183

	Story11
	PF4DWCXB2
	X
	3
	2.2
	1.384449

	Story10
	PF4DWCXB2
	X
	2.5
	1.8
	1.388553

	Story9
	PF4DWCXB2
	X
	2.1
	1.5
	1.395832

	Story8
	PF4DWCXB2
	X
	1.7
	1.2
	1.399122

	Story7
	PF4DWCXB2
	X
	1.4
	1
	1.397298

	Story6
	PF4DWCXB2
	X
	1.1
	0.8
	1.383542

	Story5
	PF4DWCXB2
	X
	0.8
	0.5
	1.42659

	Story4
	PF4DWCXB2
	X
	0.5
	0.3
	1.549665

	Story3
	PF4DWCXB2
	X
	0.2
	0.1
	2.225845

	Story2
	PF4DWCXB2
	Y
	0.1
	0.043
	1.695324

	GROUND
	PF4DWCXB2
	Y
	0
	0
	

	PARKING
	PF4DWCXB2
	Y
	0
	0
	

	UPPER ROOF
	PF4CYB1
	Y
	5.5
	4.9
	1.130364

	PENTHOUSE
	PF4CYB1
	Y
	6.9
	4.8
	1.435484

	Story14
	PF4CYB1
	Y
	6.1
	4.3
	1.425707

	Story13
	PF4CYB1
	Y
	5.4
	3.6
	1.477841

	Story12
	PF4CYB1
	Y
	4.6
	2.9
	1.576514

	Story11
	PF4CYB1
	Y
	4.3
	2.7
	1.586618

	Story10
	PF4CYB1
	Y
	3.8
	2.3
	1.6608

	Story9
	PF4CYB1
	Y
	3.1
	1.5
	2.124886

	Story8
	PF4CYB1
	Y
	2.4
	1.2
	2.097688

	Story7
	PF4CYB1
	Y
	2
	1
	2.067789

	Story6
	PF4CYB1
	Y
	1.6
	0.7
	2.138364

	Story5
	PF4CYB1
	Y
	1.2
	0.5
	2.405975

	Story4
	PF4CYB1
	Y
	0.8
	0.3
	2.557827

	Story3
	PF4CYB1
	Y
	0.4
	0.2
	2.737037

	Story2
	PF4CYB1
	Y
	0.04727
	0.02425
	1.949708

	GROUND
	PF4CYB1
	Y
	0
	0
	

	PARKING
	PF4CYB1
	Y
	0
	0
	

	UPPER ROOF
	PF4CYB2
	Y
	7.4
	5.8
	1.292594

	PENTHOUSE
	PF4CYB2
	Y
	10.7
	5.8
	1.833774

	Story14
	PF4CYB2
	Y
	9.4
	5.2
	1.796244

	Story13
	PF4CYB2
	Y
	8.2
	4.3
	1.904732

	Story12
	PF4CYB2
	Y
	7
	3.2
	2.178936

	Story11
	PF4CYB2
	Y
	6.5
	3.1
	2.065865

	Story10
	PF4CYB2
	Y
	5.7
	2.7
	2.119639

	Story9
	PF4CYB2
	Y
	4.6
	1.4
	3.280855

	Story8
	PF4CYB2
	Y
	3.6
	1.1
	3.249934

	Story7
	PF4CYB2
	Y
	3
	1
	3.090374

	Story6
	PF4CYB2
	Y
	2.4
	0.8
	3.143361

	Story5
	PF4CYB2
	Y
	1.8
	0.5
	3.662804

	Story4
	PF4CYB2
	Y
	1.2
	0.3
	3.83154

	Story3
	PF4CYB2
	Y
	0.7
	0.2
	4.138757

	Story2
	PF4CYB2
	Y
	0.1
	0.02714
	4.811768

	GROUND
	PF4CYB2
	Y
	0
	0
	

	PARKING
	PF4CYB2
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCC
	Y
	6.4
	5.3
	1.211987

	PENTHOUSE
	PF4DWCC
	Y
	8.6
	5.3
	1.630947

	Story14
	PF4DWCC
	Y
	7.7
	4.8
	1.610052

	Story13
	PF4DWCC
	Y
	6.7
	4
	1.691361

	Story12
	PF4DWCC
	Y
	5.8
	3.1
	1.881537

	Story11
	PF4DWCC
	Y
	5.4
	2.9
	1.85017

	Story10
	PF4DWCC
	Y
	4.8
	2.5
	1.930133

	Story9
	PF4DWCC
	X
	2.5
	1.5
	1.635845

	Story8
	PF4DWCC
	X
	2
	1.2
	1.606259

	Story7
	PF4DWCC
	X
	1.6
	1
	1.566696

	Story6
	PF4DWCC
	X
	1.2
	0.8
	1.509726

	Story5
	PF4DWCC
	X
	0.8
	0.5
	1.56097

	Story4
	PF4DWCC
	Y
	1
	0.3
	3.212751

	Story3
	PF4DWCC
	Y
	0.5
	0.2
	3.442859

	Story2
	PF4DWCC
	Y
	0.1
	0.02621
	3.290935

	GROUND
	PF4DWCC
	Y
	0
	0
	

	PARKING
	PF4DWCC
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCD1
	Y
	6.4
	4.7
	1.350715

	PENTHOUSE
	PF4DWCD1
	Y
	9.7
	4.9
	1.962694

	Story14
	PF4DWCD1
	Y
	8.5
	4.4
	1.915904

	Story13
	PF4DWCD1
	Y
	7.4
	3.6
	2.048692

	Story12
	PF4DWCD1
	Y
	6.3
	2.6
	2.401055

	Story11
	PF4DWCD1
	Y
	5.9
	2.6
	2.231923

	Story10
	PF4DWCD1
	Y
	5.1
	2.2
	2.284067

	Story9
	PF4DWCD1
	Y
	4.2
	1.1
	3.85813

	Story8
	PF4DWCD1
	X
	1.8
	0.9
	2.046696

	Story7
	PF4DWCD1
	Y
	2.7
	0.8
	3.582828

	Story6
	PF4DWCD1
	Y
	2.2
	0.6
	3.612025

	Story5
	PF4DWCD1
	X
	0.8
	0.4
	1.906125

	Story4
	PF4DWCD1
	Y
	1.1
	0.2
	4.553269

	Story3
	PF4DWCD1
	Y
	0.6
	0.1
	5.088822

	Story2
	PF4DWCD1
	Y
	0.1
	0.01026
	9.947216

	GROUND
	PF4DWCD1
	Y
	0
	0
	

	PARKING
	PF4DWCD1
	Y
	0
	0
	

	UPPER ROOF
	PF4DWCD2
	Y
	4.3
	3.8
	1.125651

	PENTHOUSE
	PF4DWCD2
	Y
	5.5
	3.9
	1.423293

	Story14
	PF4DWCD2
	Y
	4.9
	3.5
	1.421755

	Story13
	PF4DWCD2
	Y
	4.4
	2.9
	1.48487

	Story12
	PF4DWCD2
	Y
	3.8
	2.4
	1.603402

	Story11
	PF4DWCD2
	Y
	3.5
	2.2
	1.63665

	Story10
	PF4DWCD2
	Y
	3.2
	1.8
	1.744919

	Story9
	PF4DWCD2
	Y
	2.7
	1.1
	2.350676

	Story8
	PF4DWCD2
	Y
	2.1
	0.9
	2.34246

	Story7
	PF4DWCD2
	Y
	1.7
	0.8
	2.314018

	Story6
	PF4DWCD2
	X
	0.9
	0.6
	1.43492

	Story5
	PF4DWCD2
	X
	0.6
	0.4
	1.493312

	Story4
	PF4DWCD2
	Y
	0.7
	0.2
	2.988876

	Story3
	PF4DWCD2
	Y
	0.4
	0.1
	3.324341

	Story2
	PF4DWCD2
	Y
	0.02646
	0.007492
	3.531595

	GROUND
	PF4DWCD2
	Y
	0
	0
	

	PARKING
	PF4DWCD2
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCX
	X
	5.8
	5.2
	1.106947

	PENTHOUSE
	PF4CWCX
	X
	8.1
	5.1
	1.598076

	Story14
	PF4CWCX
	X
	7.2
	4.6
	1.570801

	Story13
	PF4CWCX
	X
	6.2
	4
	1.539179

	Story12
	PF4CWCX
	X
	5.2
	3.5
	1.497595

	Story11
	PF4CWCX
	X
	4.3
	2.9
	1.487176

	Story10
	PF4CWCX
	X
	3.5
	2.4
	1.474736

	Story9
	PF4CWCX
	X
	2.9
	2
	1.47255

	Story8
	PF4CWCX
	X
	2.4
	1.6
	1.469637

	Story7
	PF4CWCX
	X
	1.9
	1.3
	1.460487

	Story6
	PF4CWCX
	X
	1.5
	1
	1.437042

	Story5
	PF4CWCX
	X
	1
	0.7
	1.480154

	Story4
	PF4CWCX
	X
	0.6
	0.4
	1.612738

	Story3
	PF4CWCX
	X
	0.2
	0.1
	2.376028

	Story2
	PF4CWCX
	Y
	0.1
	0.1
	1.897799

	GROUND
	PF4CWCX
	Y
	0
	0
	

	PARKING
	PF4CWCX
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCY
	Y
	8.7
	7.1
	1.220265

	PENTHOUSE
	PF4CWCY
	Y
	11.8
	7.1
	1.659477

	Story14
	PF4CWCY
	Y
	10.4
	6.4
	1.634463

	Story13
	PF4CWCY
	Y
	9.1
	5.3
	1.714613

	Story12
	PF4CWCY
	Y
	7.8
	4.1
	1.898073

	Story11
	PF4CWCY
	Y
	7.2
	3.9
	1.850696

	Story10
	PF4CWCY
	Y
	6.3
	3.3
	1.914663

	Story9
	PF4CWCY
	Y
	5.2
	1.9
	2.707444

	Story8
	PF4CWCY
	Y
	4.1
	1.5
	2.676913

	Story7
	PF4CWCY
	Y
	3.3
	1.3
	2.594536

	Story6
	PF4CWCY
	Y
	2.7
	1
	2.666045

	Story5
	PF4CWCY
	Y
	2
	0.7
	3.052881

	Story4
	PF4CWCY
	Y
	1.4
	0.4
	3.219444

	Story3
	PF4CWCY
	Y
	0.7
	0.2
	3.480757

	Story2
	PF4CWCY
	Y
	0.1
	0.03329
	3.558618

	GROUND
	PF4CWCY
	Y
	0
	0
	

	PARKING
	PF4CWCY
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCXB1
	X
	4.6
	3.9
	1.175921

	PENTHOUSE
	PF4CWCXB1
	X
	7.6
	3.9
	1.927163

	Story14
	PF4CWCXB1
	X
	6.7
	3.5
	1.881487

	Story13
	PF4CWCXB1
	X
	5.7
	3.1
	1.831307

	Story12
	PF4CWCXB1
	X
	4.7
	2.6
	1.771631

	Story11
	PF4CWCXB1
	X
	3.7
	2.1
	1.760323

	Story10
	PF4CWCXB1
	X
	2.9
	1.7
	1.744391

	Story9
	PF4CWCXB1
	X
	2.4
	1.4
	1.729042

	Story8
	PF4CWCXB1
	X
	2
	1.2
	1.709706

	Story7
	PF4CWCXB1
	X
	1.6
	1
	1.676491

	Story6
	PF4CWCXB1
	X
	1.3
	0.8
	1.618792

	Story5
	PF4CWCXB1
	X
	0.9
	0.5
	1.671447

	Story4
	PF4CWCXB1
	X
	0.6
	0.3
	1.86261

	Story3
	PF4CWCXB1
	X
	0.2
	0.1
	3.379842

	Story2
	PF4CWCXB1
	Y
	0.1
	0.1
	2.065051

	GROUND
	PF4CWCXB1
	Y
	0
	0
	

	PARKING
	PF4CWCXB1
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCXB2
	X
	4.5
	4
	1.109967

	PENTHOUSE
	PF4CWCXB2
	X
	6.4
	3.9
	1.630648

	Story14
	PF4CWCXB2
	X
	5.7
	3.5
	1.608961

	Story13
	PF4CWCXB2
	X
	4.9
	3.1
	1.58493

	Story12
	PF4CWCXB2
	X
	4.1
	2.7
	1.550179

	Story11
	PF4CWCXB2
	X
	3.3
	2.1
	1.561975

	Story10
	PF4CWCXB2
	X
	2.7
	1.7
	1.574032

	Story9
	PF4CWCXB2
	X
	2.3
	1.4
	1.579512

	Story8
	PF4CWCXB2
	X
	1.9
	1.2
	1.57557

	Story7
	PF4CWCXB2
	X
	1.5
	1
	1.560038

	Story6
	PF4CWCXB2
	X
	1.2
	0.8
	1.524084

	Story5
	PF4CWCXB2
	X
	0.9
	0.5
	1.579027

	Story4
	PF4CWCXB2
	X
	0.5
	0.3
	1.755766

	Story3
	PF4CWCXB2
	X
	0.2
	0.1
	3.105159

	Story2
	PF4CWCXB2
	Y
	0.1
	0.1
	1.764134

	GROUND
	PF4CWCXB2
	Y
	0
	0
	

	PARKING
	PF4CWCXB2
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCYB1
	Y
	6.3
	5.3
	1.180875

	PENTHOUSE
	PF4CWCYB1
	Y
	8.5
	5.4
	1.567985

	Story14
	PF4CWCYB1
	Y
	7.5
	4.8
	1.55081

	Story13
	PF4CWCYB1
	Y
	6.5
	4
	1.619083

	Story12
	PF4CWCYB1
	Y
	5.6
	3.2
	1.756639

	Story11
	PF4CWCYB1
	Y
	5.2
	3
	1.740857

	Story10
	PF4CWCYB1
	Y
	4.6
	2.5
	1.815384

	Story9
	PF4CWCYB1
	Y
	3.8
	1.5
	2.494469

	Story8
	PF4CWCYB1
	Y
	3
	1.2
	2.482214

	Story7
	PF4CWCYB1
	Y
	2.5
	1
	2.438881

	Story6
	PF4CWCYB1
	Y
	2
	0.8
	2.537525

	Story5
	PF4CWCYB1
	Y
	1.5
	0.5
	2.938026

	Story4
	PF4CWCYB1
	Y
	1
	0.3
	3.163807

	Story3
	PF4CWCYB1
	Y
	0.5
	0.2
	3.553858

	Story2
	PF4CWCYB1
	X
	0.04238
	0.02953
	1.434904

	GROUND
	PF4CWCYB1
	Y
	0
	0
	

	PARKING
	PF4CWCYB1
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCYB2
	Y
	8.2
	6.2
	1.323759

	PENTHOUSE
	PF4CWCYB2
	Y
	12.3
	6.4
	1.907298

	Story14
	PF4CWCYB2
	Y
	10.8
	5.8
	1.865805

	Story13
	PF4CWCYB2
	Y
	9.4
	4.7
	1.988845

	Story12
	PF4CWCYB2
	Y
	8
	3.5
	2.300814

	Story11
	PF4CWCYB2
	Y
	7.4
	3.4
	2.158931

	Story10
	PF4CWCYB2
	Y
	6.5
	2.9
	2.213226

	Story9
	PF4CWCYB2
	Y
	5.3
	1.5
	3.623123

	Story8
	PF4CWCYB2
	Y
	4.2
	1.2
	3.615327

	Story7
	PF4CWCYB2
	Y
	3.5
	1
	3.414351

	Story6
	PF4CWCYB2
	Y
	2.8
	0.8
	3.471978

	Story5
	PF4CWCYB2
	Y
	2.1
	0.5
	4.160472

	Story4
	PF4CWCYB2
	Y
	1.4
	0.3
	4.411925

	Story3
	PF4CWCYB2
	Y
	0.8
	0.2
	4.989446

	Story2
	PF4CWCYB2
	X
	0.1
	0.02981
	2.350062

	GROUND
	PF4CWCYB2
	Y
	0
	0
	

	PARKING
	PF4CWCYB2
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCC
	Y
	7.2
	5.7
	1.252264

	PENTHOUSE
	PF4CWCC
	Y
	10.2
	5.9
	1.732034

	Story14
	PF4CWCC
	Y
	9
	5.3
	1.705169

	Story13
	PF4CWCC
	Y
	7.9
	4.4
	1.801825

	Story12
	PF4CWCC
	Y
	6.8
	3.3
	2.030803

	Story11
	PF4CWCC
	Y
	6.3
	3.2
	1.969354

	Story10
	PF4CWCC
	Y
	5.6
	2.7
	2.048138

	Story9
	PF4CWCC
	Y
	4.6
	1.5
	3.107255

	Story8
	PF4CWCC
	X
	2.1
	1.2
	1.788947

	Story7
	PF4CWCC
	Y
	3
	1
	2.967822

	Story6
	PF4CWCC
	Y
	2.5
	0.8
	3.045247

	Story5
	PF4CWCC
	X
	0.9
	0.5
	1.709517

	Story4
	PF4CWCC
	Y
	1.3
	0.3
	3.802486

	Story3
	PF4CWCC
	Y
	0.7
	0.2
	4.26925

	Story2
	PF4CWCC
	Y
	0.1
	0.01087
	7.873028

	GROUND
	PF4CWCC
	Y
	0
	0
	

	PARKING
	PF4CWCC
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCD1
	Y
	7.2
	5.2
	1.382818

	PENTHOUSE
	PF4CWCD1
	Y
	11.3
	5.5
	2.034023

	Story14
	PF4CWCD1
	Y
	9.9
	5
	1.983555

	Story13
	PF4CWCD1
	Y
	8.6
	4
	2.132639

	Story12
	PF4CWCD1
	Y
	7.3
	2.9
	2.528387

	Story11
	PF4CWCD1
	Y
	6.8
	2.9
	2.325

	Story10
	PF4CWCD1
	Y
	5.9
	2.5
	2.377557

	Story9
	PF4CWCD1
	Y
	4.9
	1.1
	4.274536

	Story8
	PF4CWCD1
	Y
	3.8
	0.9
	4.288993

	Story7
	PF4CWCD1
	Y
	3.2
	0.8
	3.963794

	Story6
	PF4CWCD1
	Y
	2.6
	0.7
	3.985877

	Story5
	PF4CWCD1
	X
	0.9
	0.4
	2.09082

	Story4
	PF4CWCD1
	Y
	1.3
	0.3
	5.285746

	Story3
	PF4CWCD1
	Y
	0.7
	0.1
	6.319248

	Story2
	PF4CWCD1
	X
	0.04514
	0.00886
	5.094941

	GROUND
	PF4CWCD1
	Y
	0
	0
	

	PARKING
	PF4CWCD1
	Y
	0
	0
	

	UPPER ROOF
	PF4CWCD2
	Y
	5.1
	4.3
	1.18871

	PENTHOUSE
	PF4CWCD2
	Y
	7.1
	4.5
	1.584983

	Story14
	PF4CWCD2
	Y
	6.3
	4
	1.573253

	Story13
	PF4CWCD2
	Y
	5.5
	3.3
	1.654821

	Story12
	PF4CWCD2
	Y
	4.8
	2.6
	1.820486

	Story11
	PF4CWCD2
	Y
	4.4
	2.4
	1.817869

	Story10
	PF4CWCD2
	Y
	4
	2.1
	1.922462

	Story9
	PF4CWCD2
	Y
	3.3
	1.2
	2.815816

	Story8
	PF4CWCD2
	Y
	2.6
	0.9
	2.827903

	Story7
	PF4CWCD2
	Y
	2.2
	0.8
	2.769208

	Story6
	PF4CWCD2
	Y
	1.8
	0.6
	2.891233

	Story5
	PF4CWCD2
	X
	0.7
	0.4
	1.689166

	Story4
	PF4CWCD2
	Y
	1
	0.3
	3.762324

	Story3
	PF4CWCD2
	Y
	0.5
	0.1
	4.498338

	Story2
	PF4CWCD2
	X
	0.02
	0.008543
	2.341588

	GROUND
	PF4CWCD2
	Y
	0
	0
	

	PARKING
	PF4CWCD2
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2X
	X
	17.4
	17
	1.020263

	PENTHOUSE
	PFEQ2X
	X
	17.6
	15.6
	1.125019

	Story14
	PFEQ2X
	X
	16.1
	14.3
	1.12356

	Story13
	PFEQ2X
	X
	14.6
	13
	1.121117

	Story12
	PFEQ2X
	X
	13.2
	11.8
	1.117216

	Story11
	PFEQ2X
	X
	11.6
	10.4
	1.116432

	Story10
	PFEQ2X
	X
	10.1
	9
	1.115151

	Story9
	PFEQ2X
	X
	8.5
	7.6
	1.115393

	Story8
	PFEQ2X
	X
	6.8
	6.1
	1.116784

	Story7
	PFEQ2X
	X
	5.3
	4.8
	1.118389

	Story6
	PFEQ2X
	X
	4
	3.6
	1.118364

	Story5
	PFEQ2X
	X
	2.7
	2.4
	1.128837

	Story4
	PFEQ2X
	X
	1.6
	1.4
	1.156519

	Story3
	PFEQ2X
	X
	0.6
	0.5
	1.241425

	Story2
	PFEQ2X
	X
	0.1
	0.1
	1.116589

	GROUND
	PFEQ2X
	Y
	0
	0
	

	PARKING
	PFEQ2X
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2Y
	Y
	16.4
	14.5
	1.129867

	PENTHOUSE
	PFEQ2Y
	Y
	19.4
	13.7
	1.413853

	Story14
	PFEQ2Y
	Y
	17.3
	12.3
	1.406169

	Story13
	PFEQ2Y
	Y
	15.2
	10.4
	1.462419

	Story12
	PFEQ2Y
	Y
	13.3
	8.4
	1.587788

	Story11
	PFEQ2Y
	Y
	12.2
	7.6
	1.603037

	Story10
	PFEQ2Y
	Y
	10.7
	6.4
	1.684214

	Story9
	PFEQ2Y
	Y
	8.7
	4.1
	2.13295

	Story8
	PFEQ2Y
	Y
	6.7
	3.2
	2.076231

	Story7
	PFEQ2Y
	Y
	5.3
	2.6
	2.012986

	Story6
	PFEQ2Y
	Y
	4
	2
	2.032466

	Story5
	PFEQ2Y
	Y
	2.9
	1.3
	2.217587

	Story4
	PFEQ2Y
	Y
	2
	0.9
	2.289147

	Story3
	PFEQ2Y
	Y
	1.1
	0.4
	2.368283

	Story2
	PFEQ2Y
	Y
	0.2
	0.1
	2.057587

	GROUND
	PFEQ2Y
	Y
	0
	0
	

	PARKING
	PFEQ2Y
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2XMIN
	X
	17.3
	17.3
	1.003435

	PENTHOUSE
	PFEQ2XMIN
	X
	15.7
	15.6
	1.002281

	Story14
	PFEQ2XMIN
	X
	14.5
	14.3
	1.008476

	Story13
	PFEQ2XMIN
	X
	13.3
	13
	1.020415

	Story12
	PFEQ2XMIN
	X
	12.2
	11.8
	1.031523

	Story11
	PFEQ2XMIN
	X
	10.9
	10.4
	1.046206

	Story10
	PFEQ2XMIN
	X
	9.6
	9.1
	1.060251

	Story9
	PFEQ2XMIN
	X
	8.1
	7.6
	1.06678

	Story8
	PFEQ2XMIN
	X
	6.5
	6.1
	1.071213

	Story7
	PFEQ2XMIN
	X
	5.1
	4.8
	1.076001

	Story6
	PFEQ2XMIN
	X
	3.9
	3.6
	1.080331

	Story5
	PFEQ2XMIN
	X
	2.6
	2.4
	1.090593

	Story4
	PFEQ2XMIN
	X
	1.5
	1.4
	1.113563

	Story3
	PFEQ2XMIN
	X
	0.5
	0.5
	1.175129

	Story2
	PFEQ2XMIN
	X
	0.1
	0.1
	1.015502

	GROUND
	PFEQ2XMIN
	Y
	0
	0
	

	PARKING
	PFEQ2XMIN
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2XMAX
	X
	17.5
	16.8
	1.044643

	PENTHOUSE
	PFEQ2XMAX
	X
	19.6
	15.7
	1.251962

	Story14
	PFEQ2XMAX
	X
	17.8
	14.3
	1.238562

	Story13
	PFEQ2XMAX
	X
	15.9
	13
	1.222018

	Story12
	PFEQ2XMAX
	X
	14.2
	11.8
	1.203269

	Story11
	PFEQ2XMAX
	X
	12.3
	10.4
	1.1871

	Story10
	PFEQ2XMAX
	X
	10.5
	9
	1.170523

	Story9
	PFEQ2XMAX
	X
	8.8
	7.6
	1.164389

	Story8
	PFEQ2XMAX
	X
	7
	6.1
	1.162642

	Story7
	PFEQ2XMAX
	X
	5.5
	4.7
	1.160984

	Story6
	PFEQ2XMAX
	X
	4.1
	3.6
	1.156531

	Story5
	PFEQ2XMAX
	X
	2.8
	2.4
	1.167149

	Story4
	PFEQ2XMAX
	X
	1.6
	1.4
	1.199462

	Story3
	PFEQ2XMAX
	X
	0.6
	0.5
	1.307421

	Story2
	PFEQ2XMAX
	X
	0.1
	0.1
	1.21812

	GROUND
	PFEQ2XMAX
	Y
	0
	0
	

	PARKING
	PFEQ2XMAX
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2YMIN
	Y
	18.9
	15.6
	1.208902

	PENTHOUSE
	PFEQ2YMIN
	Y
	24.4
	15
	1.624065

	Story14
	PFEQ2YMIN
	Y
	21.6
	13.5
	1.601096

	Story13
	PFEQ2YMIN
	Y
	18.8
	11.2
	1.67982

	Story12
	PFEQ2YMIN
	Y
	16.2
	8.6
	1.876666

	Story11
	PFEQ2YMIN
	Y
	14.9
	8.1
	1.833561

	Story10
	PFEQ2YMIN
	Y
	13
	6.9
	1.896272

	Story9
	PFEQ2YMIN
	Y
	10.5
	4
	2.602469

	Story8
	PFEQ2YMIN
	Y
	8.1
	3.2
	2.537338

	Story7
	PFEQ2YMIN
	Y
	6.4
	2.6
	2.432083

	Story6
	PFEQ2YMIN
	Y
	4.9
	2
	2.452179

	Story5
	PFEQ2YMIN
	Y
	3.5
	1.3
	2.70852

	Story4
	PFEQ2YMIN
	Y
	2.4
	0.9
	2.774335

	Story3
	PFEQ2YMIN
	Y
	1.3
	0.5
	2.853283

	Story2
	PFEQ2YMIN
	Y
	0.3
	0.1
	2.595477

	GROUND
	PFEQ2YMIN
	Y
	0
	0
	

	PARKING
	PFEQ2YMIN
	Y
	0
	0
	

	UPPER ROOF
	PFEQ2YMAX
	Y
	14
	13.4
	1.038132

	PENTHOUSE
	PFEQ2YMAX
	Y
	14.4
	12.4
	1.159918

	Story14
	PFEQ2YMAX
	Y
	13
	11.1
	1.169874

	Story13
	PFEQ2YMAX
	Y
	11.6
	9.6
	1.209134

	Story12
	PFEQ2YMAX
	Y
	10.3
	8.1
	1.277588

	Story11
	PFEQ2YMAX
	Y
	9.4
	7
	1.336644

	Story10
	PFEQ2YMAX
	Y
	8.4
	5.9
	1.436201

	Story9
	PFEQ2YMAX
	Y
	6.9
	4.1
	1.674743

	Story8
	PFEQ2YMAX
	Y
	5.3
	3.3
	1.629401

	Story7
	PFEQ2YMAX
	Y
	4.2
	2.6
	1.59204

	Story6
	PFEQ2YMAX
	Y
	3.1
	2
	1.599397

	Story5
	PFEQ2YMAX
	Y
	2.3
	1.3
	1.730548

	Story4
	PFEQ2YMAX
	Y
	1.6
	0.9
	1.804511

	Story3
	PFEQ2YMAX
	Y
	0.8
	0.4
	1.87563

	Story2
	PFEQ2YMAX
	Y
	0.2
	0.1
	1.492568

	GROUND
	PFEQ2YMAX
	Y
	0
	0
	

	PARKING
	PFEQ2YMAX
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1X
	X
	17.3
	17
	1.017977

	PENTHOUSE
	PFEQ1X
	X
	17.4
	15.6
	1.11163

	Story14
	PFEQ1X
	X
	15.9
	14.3
	1.111029

	Story13
	PFEQ1X
	X
	14.4
	13
	1.109606

	Story12
	PFEQ1X
	X
	13.1
	11.8
	1.107056

	Story11
	PFEQ1X
	X
	11.5
	10.4
	1.107034

	Story10
	PFEQ1X
	X
	10
	9.1
	1.106492

	Story9
	PFEQ1X
	X
	8.4
	7.6
	1.106841

	Story8
	PFEQ1X
	X
	6.7
	6.1
	1.108243

	Story7
	PFEQ1X
	X
	5.3
	4.8
	1.109856

	Story6
	PFEQ1X
	X
	3.9
	3.6
	1.109994

	Story5
	PFEQ1X
	X
	2.7
	2.4
	1.119553

	Story4
	PFEQ1X
	X
	1.6
	1.4
	1.144909

	Story3
	PFEQ1X
	X
	0.6
	0.5
	1.221491

	Story2
	PFEQ1X
	X
	0.1
	0.1
	1.102269

	GROUND
	PFEQ1X
	Y
	0
	0
	

	PARKING
	PFEQ1X
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1Y
	Y
	16.2
	14.4
	1.125192

	PENTHOUSE
	PFEQ1Y
	Y
	19
	13.6
	1.400631

	Story14
	PFEQ1Y
	Y
	16.9
	12.1
	1.393628

	Story13
	PFEQ1Y
	Y
	14.9
	10.3
	1.448398

	Story12
	PFEQ1Y
	Y
	13
	8.3
	1.57019

	Story11
	PFEQ1Y
	Y
	11.9
	7.5
	1.587292

	Story10
	PFEQ1Y
	Y
	10.5
	6.3
	1.667859

	Story9
	PFEQ1Y
	Y
	8.6
	4.1
	2.095909

	Story8
	PFEQ1Y
	Y
	6.6
	3.2
	2.037517

	Story7
	PFEQ1Y
	Y
	5.2
	2.6
	1.974281

	Story6
	PFEQ1Y
	Y
	3.9
	2
	1.989105

	Story5
	PFEQ1Y
	Y
	2.8
	1.3
	2.162445

	Story4
	PFEQ1Y
	Y
	1.9
	0.9
	2.227974

	Story3
	PFEQ1Y
	Y
	1
	0.5
	2.299113

	Story2
	PFEQ1Y
	Y
	0.2
	0.1
	1.995994

	GROUND
	PFEQ1Y
	Y
	0
	0
	

	PARKING
	PFEQ1Y
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1XMIN
	X
	17.4
	17.3
	1.005678

	PENTHOUSE
	PFEQ1XMIN
	X
	15.9
	15.6
	1.015838

	Story14
	PFEQ1XMIN
	X
	14.4
	14.3
	1.00417

	Story13
	PFEQ1XMIN
	X
	13.1
	13
	1.008868

	Story12
	PFEQ1XMIN
	X
	12.1
	11.8
	1.02142

	Story11
	PFEQ1XMIN
	X
	10.8
	10.4
	1.036958

	Story10
	PFEQ1XMIN
	X
	9.6
	9.1
	1.051785

	Story9
	PFEQ1XMIN
	X
	8.1
	7.6
	1.058386

	Story8
	PFEQ1XMIN
	X
	6.5
	6.1
	1.06278

	Story7
	PFEQ1XMIN
	X
	5.1
	4.8
	1.067515

	Story6
	PFEQ1XMIN
	X
	3.8
	3.6
	1.071933

	Story5
	PFEQ1XMIN
	X
	2.6
	2.4
	1.08125

	Story4
	PFEQ1XMIN
	X
	1.5
	1.4
	1.101893

	Story3
	PFEQ1XMIN
	X
	0.5
	0.5
	1.155506

	Story2
	PFEQ1XMIN
	X
	0.1
	0.1
	1.002942

	GROUND
	PFEQ1XMIN
	Y
	0
	0
	

	PARKING
	PFEQ1XMIN
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1XMAX
	X
	17.5
	16.8
	1.042311

	PENTHOUSE
	PFEQ1XMAX
	X
	19.4
	15.7
	1.238739

	Story14
	PFEQ1XMAX
	X
	17.6
	14.3
	1.226145

	Story13
	PFEQ1XMAX
	X
	15.7
	13
	1.210542

	Story12
	PFEQ1XMAX
	X
	14
	11.8
	1.193049

	Story11
	PFEQ1XMAX
	X
	12.2
	10.4
	1.17755

	Story10
	PFEQ1XMAX
	X
	10.5
	9
	1.161668

	Story9
	PFEQ1XMAX
	X
	8.8
	7.6
	1.155679

	Story8
	PFEQ1XMAX
	X
	7
	6.1
	1.153993

	Story7
	PFEQ1XMAX
	X
	5.5
	4.7
	1.152406

	Story6
	PFEQ1XMAX
	X
	4.1
	3.6
	1.148191

	Story5
	PFEQ1XMAX
	X
	2.7
	2.4
	1.157926

	Story4
	PFEQ1XMAX
	X
	1.6
	1.4
	1.187912

	Story3
	PFEQ1XMAX
	X
	0.6
	0.5
	1.287179

	Story2
	PFEQ1XMAX
	X
	0.1
	0.1
	1.202024

	GROUND
	PFEQ1XMAX
	Y
	0
	0
	

	PARKING
	PFEQ1XMAX
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1YMIN
	Y
	18.7
	15.5
	1.205194

	PENTHOUSE
	PFEQ1YMIN
	Y
	24
	14.8
	1.614359

	Story14
	PFEQ1YMIN
	Y
	21.2
	13.3
	1.591849

	Story13
	PFEQ1YMIN
	Y
	18.5
	11.1
	1.669011

	Story12
	PFEQ1YMIN
	Y
	16
	8.6
	1.862034

	Story11
	PFEQ1YMIN
	Y
	14.7
	8.1
	1.821095

	Story10
	PFEQ1YMIN
	Y
	12.8
	6.8
	1.88315

	Story9
	PFEQ1YMIN
	Y
	10.3
	4
	2.566332

	Story8
	PFEQ1YMIN
	Y
	7.9
	3.2
	2.499086

	Story7
	PFEQ1YMIN
	Y
	6.3
	2.6
	2.395058

	Story6
	PFEQ1YMIN
	Y
	4.8
	2
	2.411622

	Story5
	PFEQ1YMIN
	Y
	3.5
	1.3
	2.654268

	Story4
	PFEQ1YMIN
	Y
	2.3
	0.9
	2.713744

	Story3
	PFEQ1YMIN
	Y
	1.3
	0.5
	2.782956

	Story2
	PFEQ1YMIN
	Y
	0.3
	0.1
	2.519656

	GROUND
	PFEQ1YMIN
	Y
	0
	0
	

	PARKING
	PFEQ1YMIN
	Y
	0
	0
	

	UPPER ROOF
	PFEQ1YMAX
	Y
	13.8
	13.3
	1.032214

	PENTHOUSE
	PFEQ1YMAX
	Y
	14
	12.3
	1.141842

	Story14
	PFEQ1YMAX
	Y
	12.6
	11
	1.152771

	Story13
	PFEQ1YMAX
	Y
	11.3
	9.5
	1.19094

	Story12
	PFEQ1YMAX
	Y
	10
	8
	1.256617

	Story11
	PFEQ1YMAX
	Y
	9.2
	7
	1.316705

	Story10
	PFEQ1YMAX
	Y
	8.2
	5.8
	1.415654

	Story9
	PFEQ1YMAX
	Y
	6.8
	4.1
	1.636851

	Story8
	PFEQ1YMAX
	Y
	5.2
	3.3
	1.590271

	Story7
	PFEQ1YMAX
	Y
	4
	2.6
	1.551639

	Story6
	PFEQ1YMAX
	Y
	3
	1.9
	1.553072

	Story5
	PFEQ1YMAX
	Y
	2.2
	1.3
	1.674531

	Story4
	PFEQ1YMAX
	Y
	1.5
	0.9
	1.742757

	Story3
	PFEQ1YMAX
	Y
	0.8
	0.4
	1.807662

	Story2
	PFEQ1YMAX
	Y
	0.2
	0.1
	1.446727

	GROUND
	PFEQ1YMAX
	Y
	0
	0
	

	PARKING
	PFEQ1YMAX
	Y
	0
	0
	



Table 3.4 - Story Drifts
	Story
	Load Case/Combo
	Label
	Item
	Drift
	X
m
	Y
m
	Z
m

	UPPER ROOF
	OW
	209
	Max Drift X
	0.000131
	52.3
	13.95
	48.05

	UPPER ROOF
	OW
	210
	Max Drift Y
	0.000324
	52.3
	14.75
	48.05

	UPPER ROOF
	EQDL
	209
	Max Drift X
	3E-06
	52.3
	13.95
	48.05

	UPPER ROOF
	EQDL
	210
	Max Drift Y
	2.6E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	LL
	209
	Max Drift X
	1.1E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	LL
	210
	Max Drift Y
	0.0001
	52.3
	14.75
	48.05

	UPPER ROOF
	FACADE
	205
	Max Drift X
	2.8E-05
	51.4
	14.75
	48.05

	UPPER ROOF
	FACADE
	210
	Max Drift Y
	3.8E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	EQX
	210
	Max Drift X
	0.003864
	52.3
	14.75
	48.05

	UPPER ROOF
	EQX
	210
	Max Drift Y
	5.2E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	EQY
	205
	Max Drift X
	9.4E-05
	51.4
	14.75
	48.05

	UPPER ROOF
	EQY
	210
	Max Drift Y
	0.003122
	52.3
	14.75
	48.05

	UPPER ROOF
	EQXMIN
	210
	Max Drift X
	0.003888
	52.3
	14.75
	48.05

	UPPER ROOF
	EQXMIN
	210
	Max Drift Y
	0.0003
	52.3
	14.75
	48.05

	UPPER ROOF
	EQXMAX
	209
	Max Drift X
	0.003865
	52.3
	13.95
	48.05

	UPPER ROOF
	EQXMAX
	210
	Max Drift Y
	0.000195
	52.3
	14.75
	48.05

	UPPER ROOF
	EQYMIN
	205
	Max Drift X
	0.000129
	51.4
	14.75
	48.05

	UPPER ROOF
	EQYMIN
	210
	Max Drift Y
	0.003554
	52.3
	14.75
	48.05

	UPPER ROOF
	EQYMAX
	209
	Max Drift X
	8.1E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	EQYMAX
	179
	Max Drift Y
	0.002855
	46.1
	14.75
	48.05

	UPPER ROOF
	WCX
	210
	Max Drift X
	0.000824
	52.3
	14.75
	48.05

	UPPER ROOF
	WCX
	210
	Max Drift Y
	1.2E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	WCY
	205
	Max Drift X
	2.7E-05
	51.4
	14.75
	48.05

	UPPER ROOF
	WCY
	210
	Max Drift Y
	0.000904
	52.3
	14.75
	48.05

	UPPER ROOF
	WCXB1
	209
	Max Drift X
	0.00062
	52.3
	13.95
	48.05

	UPPER ROOF
	WCXB1
	210
	Max Drift Y
	4.1E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	DELDL
	209
	Max Drift X
	8E-06
	52.3
	13.95
	48.05

	UPPER ROOF
	DELDL
	210
	Max Drift Y
	6.8E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	WCXB2
	210
	Max Drift X
	0.000623
	52.3
	14.75
	48.05

	UPPER ROOF
	WCXB2
	210
	Max Drift Y
	5.9E-05
	52.3
	14.75
	48.05

	UPPER ROOF
	WCYB2
	205
	Max Drift X
	2.8E-05
	51.4
	14.75
	48.05

	UPPER ROOF
	WCYB2
	210
	Max Drift Y
	0.000802
	52.3
	14.75
	48.05

	UPPER ROOF
	WCYB1
	209
	Max Drift X
	2.1E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	WCYB1
	179
	Max Drift Y
	0.000623
	46.1
	14.75
	48.05

	UPPER ROOF
	WCC
	209
	Max Drift X
	0.000603
	52.3
	13.95
	48.05

	UPPER ROOF
	WCC
	210
	Max Drift Y
	0.000669
	52.3
	14.75
	48.05

	UPPER ROOF
	WCD1
	209
	Max Drift X
	0.00046
	52.3
	13.95
	48.05

	UPPER ROOF
	WCD1
	210
	Max Drift Y
	0.000632
	52.3
	14.75
	48.05

	UPPER ROOF
	WCD2
	210
	Max Drift X
	0.000458
	52.3
	14.75
	48.05

	UPPER ROOF
	WCD2
	179
	Max Drift Y
	0.000475
	46.1
	14.75
	48.05

	UPPER ROOF
	PF1
	209
	Max Drift X
	0.000157
	52.3
	13.95
	48.05

	UPPER ROOF
	PF1
	210
	Max Drift Y
	0.000603
	52.3
	14.75
	48.05

	UPPER ROOF
	PF2
	209
	Max Drift X
	0.000154
	52.3
	13.95
	48.05

	UPPER ROOF
	PF2
	210
	Max Drift Y
	0.000658
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WX
	209
	Max Drift X
	0.001292
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WX
	210
	Max Drift Y
	0.000521
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WY
	209
	Max Drift X
	0.000116
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WY
	210
	Max Drift Y
	0.001804
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WXB1
	209
	Max Drift X
	0.001008
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WXB1
	210
	Max Drift Y
	0.000595
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WXB2
	209
	Max Drift X
	0.001
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WXB2
	210
	Max Drift Y
	0.000455
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WYB1
	209
	Max Drift X
	0.000111
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WYB1
	210
	Max Drift Y
	0.001314
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WYB2
	209
	Max Drift X
	0.000132
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WYB2
	210
	Max Drift Y
	0.001661
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WCC
	209
	Max Drift X
	0.000985
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WCC
	210
	Max Drift Y
	0.001475
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WCD1
	209
	Max Drift X
	0.000785
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WCD1
	210
	Max Drift Y
	0.001423
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4WCD2
	209
	Max Drift X
	0.000763
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4WCD2
	210
	Max Drift Y
	0.001058
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCD2
	209
	Max Drift X
	0.000724
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCD2
	210
	Max Drift Y
	0.000907
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCX
	209
	Max Drift X
	0.001252
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCX
	210
	Max Drift Y
	0.00037
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCY
	209
	Max Drift X
	7.6E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCY
	210
	Max Drift Y
	0.001653
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCXB1
	209
	Max Drift X
	0.000969
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCXB1
	210
	Max Drift Y
	0.000444
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCXB2
	209
	Max Drift X
	0.00096
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCXB2
	210
	Max Drift Y
	0.000305
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCYB1
	209
	Max Drift X
	7.2E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCYB1
	210
	Max Drift Y
	0.001164
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCYB2
	209
	Max Drift X
	9.3E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCYB2
	210
	Max Drift Y
	0.00151
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCC
	209
	Max Drift X
	0.000946
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCC
	210
	Max Drift Y
	0.001324
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4BWCD1
	209
	Max Drift X
	0.000746
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4BWCD1
	210
	Max Drift Y
	0.001272
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCX
	209
	Max Drift X
	0.001257
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCX
	210
	Max Drift Y
	0.00041
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCY
	209
	Max Drift X
	8.1E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCY
	210
	Max Drift Y
	0.001693
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCXB1
	209
	Max Drift X
	0.000973
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCXB1
	210
	Max Drift Y
	0.000484
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCXB2
	209
	Max Drift X
	0.000965
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCXB2
	210
	Max Drift Y
	0.000345
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CYB1
	209
	Max Drift X
	7.7E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CYB1
	210
	Max Drift Y
	0.001204
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CYB2
	209
	Max Drift X
	9.7E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CYB2
	210
	Max Drift Y
	0.00155
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCC
	209
	Max Drift X
	0.00095
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCC
	210
	Max Drift Y
	0.001364
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCD1
	209
	Max Drift X
	0.00075
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCD1
	210
	Max Drift Y
	0.001312
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4DWCD2
	209
	Max Drift X
	0.000728
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4DWCD2
	210
	Max Drift Y
	0.000948
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCX
	209
	Max Drift X
	0.001296
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCX
	210
	Max Drift Y
	0.000561
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCY
	209
	Max Drift X
	0.00012
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCY
	210
	Max Drift Y
	0.001844
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCXB1
	209
	Max Drift X
	0.001012
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCXB1
	210
	Max Drift Y
	0.000635
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCXB2
	209
	Max Drift X
	0.001004
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCXB2
	210
	Max Drift Y
	0.000495
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCYB1
	209
	Max Drift X
	0.000116
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCYB1
	210
	Max Drift Y
	0.001354
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCYB2
	209
	Max Drift X
	0.000137
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCYB2
	210
	Max Drift Y
	0.001701
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCC
	209
	Max Drift X
	0.00099
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCC
	210
	Max Drift Y
	0.001515
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCD1
	209
	Max Drift X
	0.000789
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCD1
	210
	Max Drift Y
	0.001463
	52.3
	14.75
	48.05

	UPPER ROOF
	PF4CWCD2
	209
	Max Drift X
	0.000768
	52.3
	13.95
	48.05

	UPPER ROOF
	PF4CWCD2
	210
	Max Drift Y
	0.001098
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2X
	209
	Max Drift X
	0.003969
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ2X
	210
	Max Drift Y
	0.000418
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2Y
	209
	Max Drift X
	5.8E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ2Y
	210
	Max Drift Y
	0.003593
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2XMIN
	210
	Max Drift X
	0.003962
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2XMIN
	179
	Max Drift Y
	0.000212
	46.1
	14.75
	48.05

	UPPER ROOF
	PFEQ2XMAX
	209
	Max Drift X
	0.003982
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ2XMAX
	210
	Max Drift Y
	0.000666
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2YMIN
	209
	Max Drift X
	8E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ2YMIN
	210
	Max Drift Y
	0.004025
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ2YMAX
	209
	Max Drift X
	3.6E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ2YMAX
	210
	Max Drift Y
	0.00316
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1X
	209
	Max Drift X
	0.003965
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ1X
	210
	Max Drift Y
	0.000378
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1Y
	209
	Max Drift X
	5.4E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ1Y
	210
	Max Drift Y
	0.003553
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1XMIN
	210
	Max Drift X
	0.003961
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1XMIN
	179
	Max Drift Y
	0.000199
	46.1
	14.75
	48.05

	UPPER ROOF
	PFEQ1XMAX
	209
	Max Drift X
	0.003977
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ1XMAX
	210
	Max Drift Y
	0.000626
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1YMIN
	209
	Max Drift X
	7.6E-05
	52.3
	13.95
	48.05

	UPPER ROOF
	PFEQ1YMIN
	210
	Max Drift Y
	0.003985
	52.3
	14.75
	48.05

	UPPER ROOF
	PFEQ1YMAX
	162
	Max Drift X
	3.7E-05
	54.15
	11.05
	48.05

	UPPER ROOF
	PFEQ1YMAX
	210
	Max Drift Y
	0.00312
	52.3
	14.75
	48.05

	PENTHOUSE
	OW
	156
	Max Drift X
	0.000112
	54.15
	1.8
	43.7

	PENTHOUSE
	OW
	368
	Max Drift Y
	0.000136
	65.15
	24.05
	43.7

	PENTHOUSE
	EQDL
	156
	Max Drift X
	7E-06
	54.15
	1.8
	43.7

	PENTHOUSE
	EQDL
	368
	Max Drift Y
	1E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	LL
	156
	Max Drift X
	2.5E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	LL
	368
	Max Drift Y
	3.9E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	FACADE
	358
	Max Drift X
	5E-06
	64.35
	26.2
	43.7

	PENTHOUSE
	FACADE
	368
	Max Drift Y
	4E-06
	65.15
	24.05
	43.7

	PENTHOUSE
	EQX
	358
	Max Drift X
	0.000408
	64.35
	26.2
	43.7

	PENTHOUSE
	EQX
	99
	Max Drift Y
	7.2E-05
	65.15
	9.5
	43.7

	PENTHOUSE
	EQY
	263
	Max Drift X
	7.7E-05
	46.9
	26.2
	43.7

	PENTHOUSE
	EQY
	368
	Max Drift Y
	0.000432
	65.15
	24.05
	43.7

	PENTHOUSE
	EQXMIN
	358
	Max Drift X
	0.000502
	64.35
	26.2
	43.7

	PENTHOUSE
	EQXMIN
	368
	Max Drift Y
	0.000207
	65.15
	24.05
	43.7

	PENTHOUSE
	EQXMAX
	156
	Max Drift X
	0.000402
	54.15
	1.8
	43.7

	PENTHOUSE
	EQXMAX
	368
	Max Drift Y
	6.2E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	EQYMIN
	358
	Max Drift X
	0.000216
	64.35
	26.2
	43.7

	PENTHOUSE
	EQYMIN
	368
	Max Drift Y
	0.000635
	65.15
	24.05
	43.7

	PENTHOUSE
	EQYMAX
	156
	Max Drift X
	0.000106
	54.15
	1.8
	43.7

	PENTHOUSE
	EQYMAX
	248
	Max Drift Y
	0.000425
	36.5
	24.05
	43.7

	PENTHOUSE
	WCX
	358
	Max Drift X
	8.8E-05
	64.35
	26.2
	43.7

	PENTHOUSE
	WCX
	368
	Max Drift Y
	1.2E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	WCY
	263
	Max Drift X
	2.2E-05
	46.9
	26.2
	43.7

	PENTHOUSE
	WCY
	368
	Max Drift Y
	0.000122
	65.15
	24.05
	43.7

	PENTHOUSE
	WCXB1
	156
	Max Drift X
	7.6E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	WCXB1
	58
	Max Drift Y
	2.1E-05
	65.15
	5.35
	43.7

	PENTHOUSE
	DELDL
	156
	Max Drift X
	1.7E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	DELDL
	368
	Max Drift Y
	2.7E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	WCXB2
	263
	Max Drift X
	8.7E-05
	46.9
	26.2
	43.7

	PENTHOUSE
	WCXB2
	366
	Max Drift Y
	3.8E-05
	65.15
	19.3
	43.7

	PENTHOUSE
	WCYB2
	358
	Max Drift X
	5.2E-05
	64.35
	26.2
	43.7

	PENTHOUSE
	WCYB2
	368
	Max Drift Y
	0.000145
	65.15
	24.05
	43.7

	PENTHOUSE
	WCYB1
	156
	Max Drift X
	3E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	WCYB1
	248
	Max Drift Y
	9.6E-05
	36.5
	24.05
	43.7

	PENTHOUSE
	WCC
	156
	Max Drift X
	6.3E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	WCC
	368
	Max Drift Y
	8.3E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	WCD1
	156
	Max Drift X
	9.4E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	WCD1
	368
	Max Drift Y
	0.000124
	65.15
	24.05
	43.7

	PENTHOUSE
	WCD2
	263
	Max Drift X
	8E-05
	46.9
	26.2
	43.7

	PENTHOUSE
	WCD2
	234
	Max Drift Y
	9.3E-05
	36.5
	13.95
	43.7

	PENTHOUSE
	PF1
	156
	Max Drift X
	0.000174
	54.15
	1.8
	43.7

	PENTHOUSE
	PF1
	368
	Max Drift Y
	0.000234
	65.15
	24.05
	43.7

	PENTHOUSE
	PF2
	156
	Max Drift X
	0.000185
	54.15
	1.8
	43.7

	PENTHOUSE
	PF2
	368
	Max Drift Y
	0.000255
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WX
	156
	Max Drift X
	0.000255
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WX
	366
	Max Drift Y
	0.000192
	65.15
	19.3
	43.7

	PENTHOUSE
	PF4WY
	156
	Max Drift X
	0.000173
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WY
	368
	Max Drift Y
	0.00038
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WXB1
	156
	Max Drift X
	0.000262
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WXB1
	58
	Max Drift Y
	0.000238
	65.15
	5.35
	43.7

	PENTHOUSE
	PF4WXB2
	156
	Max Drift X
	0.000197
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WXB2
	368
	Max Drift Y
	0.000155
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WYB1
	156
	Max Drift X
	0.000114
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WYB1
	368
	Max Drift Y
	0.000262
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WYB2
	156
	Max Drift X
	0.000224
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WYB2
	368
	Max Drift Y
	0.000412
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WCC
	156
	Max Drift X
	0.000243
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WCC
	368
	Max Drift Y
	0.000325
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WCD1
	156
	Max Drift X
	0.000287
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WCD1
	368
	Max Drift Y
	0.000383
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4WCD2
	156
	Max Drift X
	0.000156
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4WCD2
	368
	Max Drift Y
	0.000209
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCD2
	156
	Max Drift X
	0.000112
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCD2
	368
	Max Drift Y
	0.00015
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCX
	156
	Max Drift X
	0.000211
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCX
	368
	Max Drift Y
	0.000134
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCY
	156
	Max Drift X
	0.00013
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCY
	368
	Max Drift Y
	0.000322
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCXB1
	156
	Max Drift X
	0.000219
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCXB1
	58
	Max Drift Y
	0.000179
	65.15
	5.35
	43.7

	PENTHOUSE
	PF4BWCXB2
	156
	Max Drift X
	0.000154
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCXB2
	368
	Max Drift Y
	9.7E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCYB1
	156
	Max Drift X
	7E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCYB1
	368
	Max Drift Y
	0.000204
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCYB2
	156
	Max Drift X
	0.00018
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCYB2
	368
	Max Drift Y
	0.000354
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCC
	156
	Max Drift X
	0.0002
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCC
	368
	Max Drift Y
	0.000266
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4BWCD1
	156
	Max Drift X
	0.000243
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4BWCD1
	368
	Max Drift Y
	0.000324
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCX
	156
	Max Drift X
	0.000221
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCX
	368
	Max Drift Y
	0.000149
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCY
	156
	Max Drift X
	0.00014
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCY
	368
	Max Drift Y
	0.000337
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCXB1
	156
	Max Drift X
	0.000229
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCXB1
	58
	Max Drift Y
	0.000195
	65.15
	5.35
	43.7

	PENTHOUSE
	PF4DWCXB2
	156
	Max Drift X
	0.000164
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCXB2
	368
	Max Drift Y
	0.000112
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CYB1
	156
	Max Drift X
	8E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CYB1
	368
	Max Drift Y
	0.000219
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CYB2
	156
	Max Drift X
	0.00019
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CYB2
	368
	Max Drift Y
	0.000369
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCC
	156
	Max Drift X
	0.00021
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCC
	368
	Max Drift Y
	0.000282
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCD1
	156
	Max Drift X
	0.000253
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCD1
	368
	Max Drift Y
	0.00034
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4DWCD2
	156
	Max Drift X
	0.000122
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4DWCD2
	368
	Max Drift Y
	0.000166
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCX
	156
	Max Drift X
	0.000265
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCX
	366
	Max Drift Y
	0.000208
	65.15
	19.3
	43.7

	PENTHOUSE
	PF4CWCY
	156
	Max Drift X
	0.000183
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCY
	368
	Max Drift Y
	0.000395
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCXB1
	156
	Max Drift X
	0.000272
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCXB1
	58
	Max Drift Y
	0.000253
	65.15
	5.35
	43.7

	PENTHOUSE
	PF4CWCXB2
	156
	Max Drift X
	0.000207
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCXB2
	368
	Max Drift Y
	0.000171
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCYB1
	156
	Max Drift X
	0.000124
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCYB1
	368
	Max Drift Y
	0.000278
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCYB2
	156
	Max Drift X
	0.000234
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCYB2
	368
	Max Drift Y
	0.000427
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCC
	156
	Max Drift X
	0.000253
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCC
	368
	Max Drift Y
	0.00034
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCD1
	156
	Max Drift X
	0.000297
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCD1
	368
	Max Drift Y
	0.000398
	65.15
	24.05
	43.7

	PENTHOUSE
	PF4CWCD2
	156
	Max Drift X
	0.000166
	54.15
	1.8
	43.7

	PENTHOUSE
	PF4CWCD2
	368
	Max Drift Y
	0.000224
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ2X
	156
	Max Drift X
	0.000432
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ2X
	368
	Max Drift Y
	0.00011
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ2Y
	156
	Max Drift X
	0.000179
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ2Y
	368
	Max Drift Y
	0.000614
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ2XMIN
	358
	Max Drift X
	0.000419
	64.35
	26.2
	43.7

	PENTHOUSE
	PFEQ2XMIN
	21
	Max Drift Y
	8.2E-05
	36.5
	26.2
	43.7

	PENTHOUSE
	PFEQ2XMAX
	156
	Max Drift X
	0.000536
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ2XMAX
	368
	Max Drift Y
	0.000245
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ2YMIN
	156
	Max Drift X
	0.00033
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ2YMIN
	368
	Max Drift Y
	0.000817
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ2YMAX
	156
	Max Drift X
	2.9E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ2YMAX
	368
	Max Drift Y
	0.000411
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ1X
	156
	Max Drift X
	0.000422
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ1X
	368
	Max Drift Y
	9.5E-05
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ1Y
	156
	Max Drift X
	0.000169
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ1Y
	368
	Max Drift Y
	0.000599
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ1XMIN
	358
	Max Drift X
	0.000427
	64.35
	26.2
	43.7

	PENTHOUSE
	PFEQ1XMIN
	21
	Max Drift Y
	8.7E-05
	36.5
	26.2
	43.7

	PENTHOUSE
	PFEQ1XMAX
	156
	Max Drift X
	0.000526
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ1XMAX
	368
	Max Drift Y
	0.000229
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ1YMIN
	156
	Max Drift X
	0.00032
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ1YMIN
	368
	Max Drift Y
	0.000801
	65.15
	24.05
	43.7

	PENTHOUSE
	PFEQ1YMAX
	156
	Max Drift X
	1.9E-05
	54.15
	1.8
	43.7

	PENTHOUSE
	PFEQ1YMAX
	368
	Max Drift Y
	0.000396
	65.15
	24.05
	43.7

	Story14
	OW
	434
	Max Drift X
	0.000141
	51.4
	0
	40.23

	Story14
	OW
	432
	Max Drift Y
	0.00016
	67.3
	10.6
	40.23

	Story14
	EQDL
	434
	Max Drift X
	9E-06
	51.4
	0
	40.23

	Story14
	EQDL
	432
	Max Drift Y
	1.2E-05
	67.3
	10.6
	40.23

	Story14
	LL
	434
	Max Drift X
	3.3E-05
	51.4
	0
	40.23

	Story14
	LL
	432
	Max Drift Y
	4.5E-05
	67.3
	10.6
	40.23

	Story14
	FACADE
	428
	Max Drift X
	7E-06
	52.3
	27.95
	40.23

	Story14
	FACADE
	432
	Max Drift Y
	7E-06
	67.3
	10.6
	40.23

	Story14
	EQX
	430
	Max Drift X
	0.000431
	55.8
	27.95
	40.23

	Story14
	EQX
	432
	Max Drift Y
	8.5E-05
	67.3
	10.6
	40.23

	Story14
	EQY
	428
	Max Drift X
	8E-05
	52.3
	27.95
	40.23

	Story14
	EQY
	432
	Max Drift Y
	0.00045
	67.3
	10.6
	40.23

	Story14
	EQXMIN
	430
	Max Drift X
	0.000545
	55.8
	27.95
	40.23

	Story14
	EQXMIN
	432
	Max Drift Y
	0.000245
	67.3
	10.6
	40.23

	Story14
	EQXMAX
	434
	Max Drift X
	0.000422
	51.4
	0
	40.23

	Story14
	EQXMAX
	432
	Max Drift Y
	7.4E-05
	67.3
	10.6
	40.23

	Story14
	EQYMIN
	428
	Max Drift X
	0.000246
	52.3
	27.95
	40.23

	Story14
	EQYMIN
	432
	Max Drift Y
	0.000689
	67.3
	10.6
	40.23

	Story14
	EQYMAX
	434
	Max Drift X
	0.000137
	51.4
	0
	40.23

	Story14
	EQYMAX
	421
	Max Drift Y
	0.000476
	34.4
	6.45
	40.23

	Story14
	WCX
	430
	Max Drift X
	9.3E-05
	55.8
	27.95
	40.23

	Story14
	WCX
	432
	Max Drift Y
	1.5E-05
	67.3
	10.6
	40.23

	Story14
	WCY
	428
	Max Drift X
	2.2E-05
	52.3
	27.95
	40.23

	Story14
	WCY
	432
	Max Drift Y
	0.000127
	67.3
	10.6
	40.23

	Story14
	WCXB1
	434
	Max Drift X
	8.1E-05
	51.4
	0
	40.23

	Story14
	WCXB1
	432
	Max Drift Y
	2.4E-05
	67.3
	10.6
	40.23

	Story14
	DELDL
	434
	Max Drift X
	2.2E-05
	51.4
	0
	40.23

	Story14
	DELDL
	432
	Max Drift Y
	3.1E-05
	67.3
	10.6
	40.23

	Story14
	WCXB2
	430
	Max Drift X
	9.4E-05
	55.8
	27.95
	40.23

	Story14
	WCXB2
	432
	Max Drift Y
	4.5E-05
	67.3
	10.6
	40.23

	Story14
	WCYB2
	428
	Max Drift X
	6E-05
	52.3
	27.95
	40.23

	Story14
	WCYB2
	432
	Max Drift Y
	0.000157
	67.3
	10.6
	40.23

	Story14
	WCYB1
	434
	Max Drift X
	3.7E-05
	51.4
	0
	40.23

	Story14
	WCYB1
	421
	Max Drift Y
	0.000107
	34.4
	6.45
	40.23

	Story14
	WCC
	434
	Max Drift X
	6.3E-05
	51.4
	0
	40.23

	Story14
	WCC
	432
	Max Drift Y
	8.4E-05
	67.3
	10.6
	40.23

	Story14
	WCD1
	434
	Max Drift X
	0.000103
	51.4
	0
	40.23

	Story14
	WCD1
	432
	Max Drift Y
	0.000136
	67.3
	10.6
	40.23

	Story14
	WCD2
	428
	Max Drift X
	9E-05
	52.3
	27.95
	40.23

	Story14
	WCD2
	417
	Max Drift Y
	0.000107
	34.4
	20.5
	40.23

	Story14
	PF1
	434
	Max Drift X
	0.000225
	51.4
	0
	40.23

	Story14
	PF1
	432
	Max Drift Y
	0.000276
	67.3
	10.6
	40.23

	Story14
	PF2
	434
	Max Drift X
	0.000241
	51.4
	0
	40.23

	Story14
	PF2
	432
	Max Drift Y
	0.000301
	67.3
	10.6
	40.23

	Story14
	PF4WX
	434
	Max Drift X
	0.0003
	51.4
	0
	40.23

	Story14
	PF4WX
	432
	Max Drift Y
	0.000226
	67.3
	10.6
	40.23

	Story14
	PF4WY
	434
	Max Drift X
	0.000219
	51.4
	0
	40.23

	Story14
	PF4WY
	432
	Max Drift Y
	0.000424
	67.3
	10.6
	40.23

	Story14
	PF4WXB1
	434
	Max Drift X
	0.000314
	51.4
	0
	40.23

	Story14
	PF4WXB1
	432
	Max Drift Y
	0.00028
	67.3
	10.6
	40.23

	Story14
	PF4WXB2
	434
	Max Drift X
	0.000237
	51.4
	0
	40.23

	Story14
	PF4WXB2
	432
	Max Drift Y
	0.000183
	67.3
	10.6
	40.23

	Story14
	PF4WYB1
	434
	Max Drift X
	0.00015
	51.4
	0
	40.23

	Story14
	PF4WYB1
	432
	Max Drift Y
	0.000293
	67.3
	10.6
	40.23

	Story14
	PF4WYB2
	434
	Max Drift X
	0.00028
	51.4
	0
	40.23

	Story14
	PF4WYB2
	432
	Max Drift Y
	0.000467
	67.3
	10.6
	40.23

	Story14
	PF4WCC
	434
	Max Drift X
	0.000289
	51.4
	0
	40.23

	Story14
	PF4WCC
	432
	Max Drift Y
	0.000365
	67.3
	10.6
	40.23

	Story14
	PF4WCD1
	434
	Max Drift X
	0.000345
	51.4
	0
	40.23

	Story14
	PF4WCD1
	432
	Max Drift Y
	0.000437
	67.3
	10.6
	40.23

	Story14
	PF4WCD2
	434
	Max Drift X
	0.000189
	51.4
	0
	40.23

	Story14
	PF4WCD2
	432
	Max Drift Y
	0.000234
	67.3
	10.6
	40.23

	Story14
	PF4BWCD2
	434
	Max Drift X
	0.000133
	51.4
	0
	40.23

	Story14
	PF4BWCD2
	432
	Max Drift Y
	0.000165
	67.3
	10.6
	40.23

	Story14
	PF4BWCX
	434
	Max Drift X
	0.000244
	51.4
	0
	40.23

	Story14
	PF4BWCX
	432
	Max Drift Y
	0.000157
	67.3
	10.6
	40.23

	Story14
	PF4BWCY
	434
	Max Drift X
	0.000163
	51.4
	0
	40.23

	Story14
	PF4BWCY
	432
	Max Drift Y
	0.000355
	67.3
	10.6
	40.23

	Story14
	PF4BWCXB1
	434
	Max Drift X
	0.000258
	51.4
	0
	40.23

	Story14
	PF4BWCXB1
	432
	Max Drift Y
	0.000211
	67.3
	10.6
	40.23

	Story14
	PF4BWCXB2
	434
	Max Drift X
	0.000181
	51.4
	0
	40.23

	Story14
	PF4BWCXB2
	432
	Max Drift Y
	0.000114
	67.3
	10.6
	40.23

	Story14
	PF4BWCYB1
	434
	Max Drift X
	9.3E-05
	51.4
	0
	40.23

	Story14
	PF4BWCYB1
	432
	Max Drift Y
	0.000224
	67.3
	10.6
	40.23

	Story14
	PF4BWCYB2
	434
	Max Drift X
	0.000224
	51.4
	0
	40.23

	Story14
	PF4BWCYB2
	432
	Max Drift Y
	0.000398
	67.3
	10.6
	40.23

	Story14
	PF4BWCC
	434
	Max Drift X
	0.000233
	51.4
	0
	40.23

	Story14
	PF4BWCC
	432
	Max Drift Y
	0.000296
	67.3
	10.6
	40.23

	Story14
	PF4BWCD1
	434
	Max Drift X
	0.000289
	51.4
	0
	40.23

	Story14
	PF4BWCD1
	432
	Max Drift Y
	0.000368
	67.3
	10.6
	40.23

	Story14
	PF4DWCX
	434
	Max Drift X
	0.000257
	51.4
	0
	40.23

	Story14
	PF4DWCX
	432
	Max Drift Y
	0.000175
	67.3
	10.6
	40.23

	Story14
	PF4DWCY
	434
	Max Drift X
	0.000176
	51.4
	0
	40.23

	Story14
	PF4DWCY
	432
	Max Drift Y
	0.000373
	67.3
	10.6
	40.23

	Story14
	PF4DWCXB1
	434
	Max Drift X
	0.000271
	51.4
	0
	40.23

	Story14
	PF4DWCXB1
	432
	Max Drift Y
	0.000229
	67.3
	10.6
	40.23

	Story14
	PF4DWCXB2
	434
	Max Drift X
	0.000194
	51.4
	0
	40.23

	Story14
	PF4DWCXB2
	432
	Max Drift Y
	0.000132
	67.3
	10.6
	40.23

	Story14
	PF4CYB1
	434
	Max Drift X
	0.000106
	51.4
	0
	40.23

	Story14
	PF4CYB1
	432
	Max Drift Y
	0.000242
	67.3
	10.6
	40.23

	Story14
	PF4CYB2
	434
	Max Drift X
	0.000237
	51.4
	0
	40.23

	Story14
	PF4CYB2
	432
	Max Drift Y
	0.000416
	67.3
	10.6
	40.23

	Story14
	PF4DWCC
	434
	Max Drift X
	0.000246
	51.4
	0
	40.23

	Story14
	PF4DWCC
	432
	Max Drift Y
	0.000314
	67.3
	10.6
	40.23

	Story14
	PF4DWCD1
	434
	Max Drift X
	0.000302
	51.4
	0
	40.23

	Story14
	PF4DWCD1
	432
	Max Drift Y
	0.000385
	67.3
	10.6
	40.23

	Story14
	PF4DWCD2
	434
	Max Drift X
	0.000146
	51.4
	0
	40.23

	Story14
	PF4DWCD2
	432
	Max Drift Y
	0.000183
	67.3
	10.6
	40.23

	Story14
	PF4CWCX
	434
	Max Drift X
	0.000314
	51.4
	0
	40.23

	Story14
	PF4CWCX
	432
	Max Drift Y
	0.000244
	67.3
	10.6
	40.23

	Story14
	PF4CWCY
	434
	Max Drift X
	0.000232
	51.4
	0
	40.23

	Story14
	PF4CWCY
	432
	Max Drift Y
	0.000442
	67.3
	10.6
	40.23

	Story14
	PF4CWCXB1
	434
	Max Drift X
	0.000327
	51.4
	0
	40.23

	Story14
	PF4CWCXB1
	432
	Max Drift Y
	0.000298
	67.3
	10.6
	40.23

	Story14
	PF4CWCXB2
	434
	Max Drift X
	0.00025
	51.4
	0
	40.23

	Story14
	PF4CWCXB2
	432
	Max Drift Y
	0.000201
	67.3
	10.6
	40.23

	Story14
	PF4CWCYB1
	434
	Max Drift X
	0.000163
	51.4
	0
	40.23

	Story14
	PF4CWCYB1
	432
	Max Drift Y
	0.000311
	67.3
	10.6
	40.23

	Story14
	PF4CWCYB2
	434
	Max Drift X
	0.000293
	51.4
	0
	40.23

	Story14
	PF4CWCYB2
	432
	Max Drift Y
	0.000485
	67.3
	10.6
	40.23

	Story14
	PF4CWCC
	434
	Max Drift X
	0.000302
	51.4
	0
	40.23

	Story14
	PF4CWCC
	432
	Max Drift Y
	0.000383
	67.3
	10.6
	40.23

	Story14
	PF4CWCD1
	434
	Max Drift X
	0.000358
	51.4
	0
	40.23

	Story14
	PF4CWCD1
	432
	Max Drift Y
	0.000455
	67.3
	10.6
	40.23

	Story14
	PF4CWCD2
	434
	Max Drift X
	0.000203
	51.4
	0
	40.23

	Story14
	PF4CWCD2
	432
	Max Drift Y
	0.000252
	67.3
	10.6
	40.23

	Story14
	PFEQ2X
	434
	Max Drift X
	0.000471
	51.4
	0
	40.23

	Story14
	PFEQ2X
	432
	Max Drift Y
	0.00013
	67.3
	10.6
	40.23

	Story14
	PFEQ2Y
	434
	Max Drift X
	0.000219
	51.4
	0
	40.23

	Story14
	PFEQ2Y
	432
	Max Drift Y
	0.000666
	67.3
	10.6
	40.23

	Story14
	PFEQ2XMIN
	430
	Max Drift X
	0.000448
	55.8
	27.95
	40.23

	Story14
	PFEQ2XMIN
	421
	Max Drift Y
	9.1E-05
	34.4
	6.45
	40.23

	Story14
	PFEQ2XMAX
	434
	Max Drift X
	0.000596
	51.4
	0
	40.23

	Story14
	PFEQ2XMAX
	432
	Max Drift Y
	0.000289
	67.3
	10.6
	40.23

	Story14
	PFEQ2YMIN
	434
	Max Drift X
	0.0004
	51.4
	0
	40.23

	Story14
	PFEQ2YMIN
	432
	Max Drift Y
	0.000904
	67.3
	10.6
	40.23

	Story14
	PFEQ2YMAX
	434
	Max Drift X
	3.7E-05
	51.4
	0
	40.23

	Story14
	PFEQ2YMAX
	432
	Max Drift Y
	0.000427
	67.3
	10.6
	40.23

	Story14
	PFEQ1X
	434
	Max Drift X
	0.000458
	51.4
	0
	40.23

	Story14
	PFEQ1X
	432
	Max Drift Y
	0.000112
	67.3
	10.6
	40.23

	Story14
	PFEQ1Y
	434
	Max Drift X
	0.000205
	51.4
	0
	40.23

	Story14
	PFEQ1Y
	432
	Max Drift Y
	0.000648
	67.3
	10.6
	40.23

	Story14
	PFEQ1XMIN
	430
	Max Drift X
	0.000457
	55.8
	27.95
	40.23

	Story14
	PFEQ1XMIN
	421
	Max Drift Y
	9.8E-05
	34.4
	6.45
	40.23

	Story14
	PFEQ1XMAX
	434
	Max Drift X
	0.000583
	51.4
	0
	40.23

	Story14
	PFEQ1XMAX
	432
	Max Drift Y
	0.000271
	67.3
	10.6
	40.23

	Story14
	PFEQ1YMIN
	434
	Max Drift X
	0.000387
	51.4
	0
	40.23

	Story14
	PFEQ1YMIN
	432
	Max Drift Y
	0.000886
	67.3
	10.6
	40.23

	Story14
	PFEQ1YMAX
	434
	Max Drift X
	2.4E-05
	51.4
	0
	40.23

	Story14
	PFEQ1YMAX
	432
	Max Drift Y
	0.000409
	67.3
	10.6
	40.23

	Story13
	OW
	472
	Max Drift X
	0.00017
	48.9
	0
	36.98

	Story13
	OW
	468
	Max Drift Y
	0.000176
	67.3
	6.45
	36.98

	Story13
	EQDL
	472
	Max Drift X
	1.1E-05
	48.9
	0
	36.98

	Story13
	EQDL
	468
	Max Drift Y
	1.3E-05
	67.3
	6.45
	36.98

	Story13
	LL
	472
	Max Drift X
	4E-05
	48.9
	0
	36.98

	Story13
	LL
	468
	Max Drift Y
	4.9E-05
	67.3
	6.45
	36.98

	Story13
	FACADE
	430
	Max Drift X
	7E-06
	55.8
	27.95
	36.98

	Story13
	FACADE
	468
	Max Drift Y
	8E-06
	67.3
	6.45
	36.98

	Story13
	EQX
	430
	Max Drift X
	0.00044
	55.8
	27.95
	36.98

	Story13
	EQX
	468
	Max Drift Y
	9.8E-05
	67.3
	6.45
	36.98

	Story13
	EQY
	430
	Max Drift X
	8.1E-05
	55.8
	27.95
	36.98

	Story13
	EQY
	468
	Max Drift Y
	0.000456
	67.3
	6.45
	36.98

	Story13
	EQXMIN
	423
	Max Drift X
	0.000553
	46.9
	27.95
	36.98

	Story13
	EQXMIN
	436
	Max Drift Y
	0.000256
	67.3
	22.05
	36.98

	Story13
	EQXMAX
	472
	Max Drift X
	0.000405
	48.9
	0
	36.98

	Story13
	EQXMAX
	468
	Max Drift Y
	6E-05
	67.3
	6.45
	36.98

	Story13
	EQYMIN
	430
	Max Drift X
	0.000248
	55.8
	27.95
	36.98

	Story13
	EQYMIN
	468
	Max Drift Y
	0.000693
	67.3
	6.45
	36.98

	Story13
	EQYMAX
	472
	Max Drift X
	0.000133
	48.9
	0
	36.98

	Story13
	EQYMAX
	483
	Max Drift Y
	0.000486
	33.35
	14.75
	36.98

	Story13
	WCX
	430
	Max Drift X
	9.5E-05
	55.8
	27.95
	36.98

	Story13
	WCX
	468
	Max Drift Y
	1.8E-05
	67.3
	6.45
	36.98

	Story13
	WCY
	430
	Max Drift X
	2.3E-05
	55.8
	27.95
	36.98

	Story13
	WCY
	468
	Max Drift Y
	0.000128
	67.3
	6.45
	36.98

	Story13
	WCXB1
	472
	Max Drift X
	7.7E-05
	48.9
	0
	36.98

	Story13
	WCXB1
	468
	Max Drift Y
	2E-05
	67.3
	6.45
	36.98

	Story13
	DELDL
	472
	Max Drift X
	2.7E-05
	48.9
	0
	36.98

	Story13
	DELDL
	468
	Max Drift Y
	3.3E-05
	67.3
	6.45
	36.98

	Story13
	WCXB2
	423
	Max Drift X
	9.6E-05
	46.9
	27.95
	36.98

	Story13
	WCXB2
	468
	Max Drift Y
	4.7E-05
	67.3
	6.45
	36.98

	Story13
	WCYB2
	430
	Max Drift X
	6E-05
	55.8
	27.95
	36.98

	Story13
	WCYB2
	468
	Max Drift Y
	0.000158
	67.3
	6.45
	36.98

	Story13
	WCYB1
	472
	Max Drift X
	3.6E-05
	48.9
	0
	36.98

	Story13
	WCYB1
	483
	Max Drift Y
	0.000109
	33.35
	14.75
	36.98

	Story13
	WCC
	472
	Max Drift X
	5.9E-05
	48.9
	0
	36.98

	Story13
	WCC
	468
	Max Drift Y
	8.2E-05
	67.3
	6.45
	36.98

	Story13
	WCD1
	472
	Max Drift X
	9.8E-05
	48.9
	0
	36.98

	Story13
	WCD1
	468
	Max Drift Y
	0.000133
	67.3
	6.45
	36.98

	Story13
	WCD2
	423
	Max Drift X
	9.1E-05
	46.9
	27.95
	36.98

	Story13
	WCD2
	483
	Max Drift Y
	0.000112
	33.35
	14.75
	36.98

	Story13
	PF1
	472
	Max Drift X
	0.000275
	48.9
	0
	36.98

	Story13
	PF1
	468
	Max Drift Y
	0.000304
	67.3
	6.45
	36.98

	Story13
	PF2
	472
	Max Drift X
	0.000294
	48.9
	0
	36.98

	Story13
	PF2
	468
	Max Drift Y
	0.00033
	67.3
	6.45
	36.98

	Story13
	PF4WX
	472
	Max Drift X
	0.000339
	48.9
	0
	36.98

	Story13
	PF4WX
	468
	Max Drift Y
	0.000247
	67.3
	6.45
	36.98

	Story13
	PF4WY
	472
	Max Drift X
	0.000264
	48.9
	0
	36.98

	Story13
	PF4WY
	468
	Max Drift Y
	0.000451
	67.3
	6.45
	36.98

	Story13
	PF4WXB1
	472
	Max Drift X
	0.000353
	48.9
	0
	36.98

	Story13
	PF4WXB1
	468
	Max Drift Y
	0.0003
	67.3
	6.45
	36.98

	Story13
	PF4WXB2
	472
	Max Drift X
	0.000279
	48.9
	0
	36.98

	Story13
	PF4WXB2
	468
	Max Drift Y
	0.000205
	67.3
	6.45
	36.98

	Story13
	PF4WYB1
	472
	Max Drift X
	0.000196
	48.9
	0
	36.98

	Story13
	PF4WYB1
	468
	Max Drift Y
	0.00032
	67.3
	6.45
	36.98

	Story13
	PF4WYB2
	472
	Max Drift X
	0.000322
	48.9
	0
	36.98

	Story13
	PF4WYB2
	468
	Max Drift Y
	0.000492
	67.3
	6.45
	36.98

	Story13
	PF4WCC
	472
	Max Drift X
	0.000329
	48.9
	0
	36.98

	Story13
	PF4WCC
	468
	Max Drift Y
	0.000387
	67.3
	6.45
	36.98

	Story13
	PF4WCD1
	472
	Max Drift X
	0.000384
	48.9
	0
	36.98

	Story13
	PF4WCD1
	468
	Max Drift Y
	0.000459
	67.3
	6.45
	36.98

	Story13
	PF4WCD2
	472
	Max Drift X
	0.000233
	48.9
	0
	36.98

	Story13
	PF4WCD2
	468
	Max Drift Y
	0.000258
	67.3
	6.45
	36.98

	Story13
	PF4BWCD2
	472
	Max Drift X
	0.000164
	48.9
	0
	36.98

	Story13
	PF4BWCD2
	468
	Max Drift Y
	0.000182
	67.3
	6.45
	36.98

	Story13
	PF4BWCX
	472
	Max Drift X
	0.00027
	48.9
	0
	36.98

	Story13
	PF4BWCX
	468
	Max Drift Y
	0.00017
	67.3
	6.45
	36.98

	Story13
	PF4BWCY
	472
	Max Drift X
	0.000195
	48.9
	0
	36.98

	Story13
	PF4BWCY
	468
	Max Drift Y
	0.000375
	67.3
	6.45
	36.98

	Story13
	PF4BWCXB1
	472
	Max Drift X
	0.000284
	48.9
	0
	36.98

	Story13
	PF4BWCXB1
	468
	Max Drift Y
	0.000224
	67.3
	6.45
	36.98

	Story13
	PF4BWCXB2
	472
	Max Drift X
	0.00021
	48.9
	0
	36.98

	Story13
	PF4BWCXB2
	468
	Max Drift Y
	0.000129
	67.3
	6.45
	36.98

	Story13
	PF4BWCYB1
	472
	Max Drift X
	0.000127
	48.9
	0
	36.98

	Story13
	PF4BWCYB1
	468
	Max Drift Y
	0.000244
	67.3
	6.45
	36.98

	Story13
	PF4BWCYB2
	472
	Max Drift X
	0.000253
	48.9
	0
	36.98

	Story13
	PF4BWCYB2
	468
	Max Drift Y
	0.000416
	67.3
	6.45
	36.98

	Story13
	PF4BWCC
	472
	Max Drift X
	0.00026
	48.9
	0
	36.98

	Story13
	PF4BWCC
	468
	Max Drift Y
	0.000311
	67.3
	6.45
	36.98

	Story13
	PF4BWCD1
	472
	Max Drift X
	0.000315
	48.9
	0
	36.98

	Story13
	PF4BWCD1
	468
	Max Drift Y
	0.000382
	67.3
	6.45
	36.98

	Story13
	PF4DWCX
	472
	Max Drift X
	0.000286
	48.9
	0
	36.98

	Story13
	PF4DWCX
	468
	Max Drift Y
	0.00019
	67.3
	6.45
	36.98

	Story13
	PF4DWCY
	472
	Max Drift X
	0.000211
	48.9
	0
	36.98

	Story13
	PF4DWCY
	468
	Max Drift Y
	0.000395
	67.3
	6.45
	36.98

	Story13
	PF4DWCXB1
	472
	Max Drift X
	0.0003
	48.9
	0
	36.98

	Story13
	PF4DWCXB1
	468
	Max Drift Y
	0.000244
	67.3
	6.45
	36.98

	Story13
	PF4DWCXB2
	472
	Max Drift X
	0.000226
	48.9
	0
	36.98

	Story13
	PF4DWCXB2
	468
	Max Drift Y
	0.000149
	67.3
	6.45
	36.98

	Story13
	PF4CYB1
	472
	Max Drift X
	0.000143
	48.9
	0
	36.98

	Story13
	PF4CYB1
	468
	Max Drift Y
	0.000264
	67.3
	6.45
	36.98

	Story13
	PF4CYB2
	472
	Max Drift X
	0.000269
	48.9
	0
	36.98

	Story13
	PF4CYB2
	468
	Max Drift Y
	0.000436
	67.3
	6.45
	36.98

	Story13
	PF4DWCC
	472
	Max Drift X
	0.000276
	48.9
	0
	36.98

	Story13
	PF4DWCC
	468
	Max Drift Y
	0.000331
	67.3
	6.45
	36.98

	Story13
	PF4DWCD1
	472
	Max Drift X
	0.000331
	48.9
	0
	36.98

	Story13
	PF4DWCD1
	468
	Max Drift Y
	0.000402
	67.3
	6.45
	36.98

	Story13
	PF4DWCD2
	472
	Max Drift X
	0.00018
	48.9
	0
	36.98

	Story13
	PF4DWCD2
	468
	Max Drift Y
	0.000202
	67.3
	6.45
	36.98

	Story13
	PF4CWCX
	472
	Max Drift X
	0.000355
	48.9
	0
	36.98

	Story13
	PF4CWCX
	468
	Max Drift Y
	0.000266
	67.3
	6.45
	36.98

	Story13
	PF4CWCY
	472
	Max Drift X
	0.00028
	48.9
	0
	36.98

	Story13
	PF4CWCY
	468
	Max Drift Y
	0.000471
	67.3
	6.45
	36.98

	Story13
	PF4CWCXB1
	472
	Max Drift X
	0.000369
	48.9
	0
	36.98

	Story13
	PF4CWCXB1
	468
	Max Drift Y
	0.00032
	67.3
	6.45
	36.98

	Story13
	PF4CWCXB2
	472
	Max Drift X
	0.000295
	48.9
	0
	36.98

	Story13
	PF4CWCXB2
	468
	Max Drift Y
	0.000225
	67.3
	6.45
	36.98

	Story13
	PF4CWCYB1
	472
	Max Drift X
	0.000212
	48.9
	0
	36.98

	Story13
	PF4CWCYB1
	468
	Max Drift Y
	0.00034
	67.3
	6.45
	36.98

	Story13
	PF4CWCYB2
	472
	Max Drift X
	0.000338
	48.9
	0
	36.98

	Story13
	PF4CWCYB2
	468
	Max Drift Y
	0.000512
	67.3
	6.45
	36.98

	Story13
	PF4CWCC
	472
	Max Drift X
	0.000345
	48.9
	0
	36.98

	Story13
	PF4CWCC
	468
	Max Drift Y
	0.000407
	67.3
	6.45
	36.98

	Story13
	PF4CWCD1
	472
	Max Drift X
	0.0004
	48.9
	0
	36.98

	Story13
	PF4CWCD1
	468
	Max Drift Y
	0.000478
	67.3
	6.45
	36.98

	Story13
	PF4CWCD2
	472
	Max Drift X
	0.000249
	48.9
	0
	36.98

	Story13
	PF4CWCD2
	468
	Max Drift Y
	0.000278
	67.3
	6.45
	36.98

	Story13
	PFEQ2X
	472
	Max Drift X
	0.000496
	48.9
	0
	36.98

	Story13
	PFEQ2X
	467
	Max Drift Y
	0.000139
	67.3
	20.5
	36.98

	Story13
	PFEQ2Y
	472
	Max Drift X
	0.000256
	48.9
	0
	36.98

	Story13
	PFEQ2Y
	468
	Max Drift Y
	0.000693
	67.3
	6.45
	36.98

	Story13
	PFEQ2XMIN
	423
	Max Drift X
	0.000457
	46.9
	27.95
	36.98

	Story13
	PFEQ2XMIN
	483
	Max Drift Y
	8.1E-05
	33.35
	14.75
	36.98

	Story13
	PFEQ2XMAX
	472
	Max Drift X
	0.000618
	48.9
	0
	36.98

	Story13
	PFEQ2XMAX
	468
	Max Drift Y
	0.000297
	67.3
	6.45
	36.98

	Story13
	PFEQ2YMIN
	472
	Max Drift X
	0.000434
	48.9
	0
	36.98

	Story13
	PFEQ2YMIN
	468
	Max Drift Y
	0.00093
	67.3
	6.45
	36.98

	Story13
	PFEQ2YMAX
	472
	Max Drift X
	7.9E-05
	48.9
	0
	36.98

	Story13
	PFEQ2YMAX
	468
	Max Drift Y
	0.000456
	67.3
	6.45
	36.98

	Story13
	PFEQ1X
	472
	Max Drift X
	0.00048
	48.9
	0
	36.98

	Story13
	PFEQ1X
	467
	Max Drift Y
	0.000119
	67.3
	20.5
	36.98

	Story13
	PFEQ1Y
	472
	Max Drift X
	0.00024
	48.9
	0
	36.98

	Story13
	PFEQ1Y
	468
	Max Drift Y
	0.000674
	67.3
	6.45
	36.98

	Story13
	PFEQ1XMIN
	423
	Max Drift X
	0.000465
	46.9
	27.95
	36.98

	Story13
	PFEQ1XMIN
	483
	Max Drift Y
	9.1E-05
	33.35
	14.75
	36.98

	Story13
	PFEQ1XMAX
	472
	Max Drift X
	0.000602
	48.9
	0
	36.98

	Story13
	PFEQ1XMAX
	468
	Max Drift Y
	0.000277
	67.3
	6.45
	36.98

	Story13
	PFEQ1YMIN
	472
	Max Drift X
	0.000418
	48.9
	0
	36.98

	Story13
	PFEQ1YMIN
	468
	Max Drift Y
	0.000911
	67.3
	6.45
	36.98

	Story13
	PFEQ1YMAX
	472
	Max Drift X
	6.3E-05
	48.9
	0
	36.98

	Story13
	PFEQ1YMAX
	468
	Max Drift Y
	0.000436
	67.3
	6.45
	36.98

	Story12
	OW
	559
	Max Drift X
	0.000143
	54.15
	0
	34.03

	Story12
	OW
	468
	Max Drift Y
	0.000144
	67.3
	6.45
	34.03

	Story12
	EQDL
	559
	Max Drift X
	9E-06
	54.15
	0
	34.03

	Story12
	EQDL
	468
	Max Drift Y
	1.1E-05
	67.3
	6.45
	34.03

	Story12
	LL
	559
	Max Drift X
	3.3E-05
	54.15
	0
	34.03

	Story12
	LL
	468
	Max Drift Y
	4E-05
	67.3
	6.45
	34.03

	Story12
	FACADE
	423
	Max Drift X
	6E-06
	46.9
	27.95
	34.03

	Story12
	FACADE
	468
	Max Drift Y
	7E-06
	67.3
	6.45
	34.03

	Story12
	EQX
	430
	Max Drift X
	0.000443
	55.8
	27.95
	34.03

	Story12
	EQX
	554
	Max Drift Y
	8.1E-05
	25.1
	18.6
	34.03

	Story12
	EQY
	423
	Max Drift X
	7.9E-05
	46.9
	27.95
	34.03

	Story12
	EQY
	468
	Max Drift Y
	0.000463
	67.3
	6.45
	34.03

	Story12
	EQXMIN
	430
	Max Drift X
	0.000546
	55.8
	27.95
	34.03

	Story12
	EQXMIN
	558
	Max Drift Y
	0.000253
	25.1
	10.6
	34.03

	Story12
	EQXMAX
	559
	Max Drift X
	0.000456
	54.15
	0
	34.03

	Story12
	EQXMAX
	558
	Max Drift Y
	9.2E-05
	25.1
	10.6
	34.03

	Story12
	EQYMIN
	423
	Max Drift X
	0.000235
	46.9
	27.95
	34.03

	Story12
	EQYMIN
	468
	Max Drift Y
	0.00069
	67.3
	6.45
	34.03

	Story12
	EQYMAX
	559
	Max Drift X
	0.000109
	54.15
	0
	34.03

	Story12
	EQYMAX
	558
	Max Drift Y
	0.000517
	25.1
	10.6
	34.03

	Story12
	WCX
	430
	Max Drift X
	9.5E-05
	55.8
	27.95
	34.03

	Story12
	WCX
	558
	Max Drift Y
	1.5E-05
	25.1
	10.6
	34.03

	Story12
	WCY
	423
	Max Drift X
	2.1E-05
	46.9
	27.95
	34.03

	Story12
	WCY
	468
	Max Drift Y
	0.000129
	67.3
	6.45
	34.03

	Story12
	WCXB1
	559
	Max Drift X
	8.1E-05
	54.15
	0
	34.03

	Story12
	WCXB1
	558
	Max Drift Y
	2.6E-05
	25.1
	10.6
	34.03

	Story12
	DELDL
	559
	Max Drift X
	2.2E-05
	54.15
	0
	34.03

	Story12
	DELDL
	468
	Max Drift Y
	2.7E-05
	67.3
	6.45
	34.03

	Story12
	WCXB2
	430
	Max Drift X
	9.3E-05
	55.8
	27.95
	34.03

	Story12
	WCXB2
	493
	Max Drift Y
	4.8E-05
	25.1
	5.35
	34.03

	Story12
	WCYB2
	423
	Max Drift X
	5.6E-05
	46.9
	27.95
	34.03

	Story12
	WCYB2
	468
	Max Drift Y
	0.000156
	67.3
	6.45
	34.03

	Story12
	WCYB1
	559
	Max Drift X
	3.1E-05
	54.15
	0
	34.03

	Story12
	WCYB1
	558
	Max Drift Y
	0.00012
	25.1
	10.6
	34.03

	Story12
	WCC
	559
	Max Drift X
	6.9E-05
	54.15
	0
	34.03

	Story12
	WCC
	468
	Max Drift Y
	8.8E-05
	67.3
	6.45
	34.03

	Story12
	WCD1
	559
	Max Drift X
	0.0001
	54.15
	0
	34.03

	Story12
	WCD1
	468
	Max Drift Y
	0.000133
	67.3
	6.45
	34.03

	Story12
	WCD2
	423
	Max Drift X
	8.8E-05
	46.9
	27.95
	34.03

	Story12
	WCD2
	493
	Max Drift Y
	0.000126
	25.1
	5.35
	34.03

	Story12
	PF1
	559
	Max Drift X
	0.000229
	54.15
	0
	34.03

	Story12
	PF1
	468
	Max Drift Y
	0.000249
	67.3
	6.45
	34.03

	Story12
	PF2
	559
	Max Drift X
	0.000244
	54.15
	0
	34.03

	Story12
	PF2
	468
	Max Drift Y
	0.00027
	67.3
	6.45
	34.03

	Story12
	PF4WX
	559
	Max Drift X
	0.000313
	54.15
	0
	34.03

	Story12
	PF4WX
	468
	Max Drift Y
	0.000205
	67.3
	6.45
	34.03

	Story12
	PF4WY
	559
	Max Drift X
	0.000225
	54.15
	0
	34.03

	Story12
	PF4WY
	468
	Max Drift Y
	0.000403
	67.3
	6.45
	34.03

	Story12
	PF4WXB1
	559
	Max Drift X
	0.000318
	54.15
	0
	34.03

	Story12
	PF4WXB1
	468
	Max Drift Y
	0.000253
	67.3
	6.45
	34.03

	Story12
	PF4WXB2
	559
	Max Drift X
	0.000254
	54.15
	0
	34.03

	Story12
	PF4WXB2
	468
	Max Drift Y
	0.000166
	67.3
	6.45
	34.03

	Story12
	PF4WYB1
	559
	Max Drift X
	0.000162
	54.15
	0
	34.03

	Story12
	PF4WYB1
	468
	Max Drift Y
	0.000275
	67.3
	6.45
	34.03

	Story12
	PF4WYB2
	559
	Max Drift X
	0.000278
	54.15
	0
	34.03

	Story12
	PF4WYB2
	468
	Max Drift Y
	0.00044
	67.3
	6.45
	34.03

	Story12
	PF4WCC
	559
	Max Drift X
	0.000301
	54.15
	0
	34.03

	Story12
	PF4WCC
	468
	Max Drift Y
	0.000345
	67.3
	6.45
	34.03

	Story12
	PF4WCD1
	559
	Max Drift X
	0.000345
	54.15
	0
	34.03

	Story12
	PF4WCD1
	468
	Max Drift Y
	0.000408
	67.3
	6.45
	34.03

	Story12
	PF4WCD2
	559
	Max Drift X
	0.000209
	54.15
	0
	34.03

	Story12
	PF4WCD2
	468
	Max Drift Y
	0.00022
	67.3
	6.45
	34.03

	Story12
	PF4BWCD2
	559
	Max Drift X
	0.000152
	54.15
	0
	34.03

	Story12
	PF4BWCD2
	468
	Max Drift Y
	0.000158
	67.3
	6.45
	34.03

	Story12
	PF4BWCX
	559
	Max Drift X
	0.000256
	54.15
	0
	34.03

	Story12
	PF4BWCX
	468
	Max Drift Y
	0.000143
	67.3
	6.45
	34.03

	Story12
	PF4BWCY
	559
	Max Drift X
	0.000168
	54.15
	0
	34.03

	Story12
	PF4BWCY
	468
	Max Drift Y
	0.000341
	67.3
	6.45
	34.03

	Story12
	PF4BWCXB1
	559
	Max Drift X
	0.000261
	54.15
	0
	34.03

	Story12
	PF4BWCXB1
	468
	Max Drift Y
	0.00019
	67.3
	6.45
	34.03

	Story12
	PF4BWCXB2
	559
	Max Drift X
	0.000196
	54.15
	0
	34.03

	Story12
	PF4BWCXB2
	468
	Max Drift Y
	0.000104
	67.3
	6.45
	34.03

	Story12
	PF4BWCYB1
	559
	Max Drift X
	0.000104
	54.15
	0
	34.03

	Story12
	PF4BWCYB1
	468
	Max Drift Y
	0.000213
	67.3
	6.45
	34.03

	Story12
	PF4BWCYB2
	559
	Max Drift X
	0.000221
	54.15
	0
	34.03

	Story12
	PF4BWCYB2
	468
	Max Drift Y
	0.000378
	67.3
	6.45
	34.03

	Story12
	PF4BWCC
	559
	Max Drift X
	0.000244
	54.15
	0
	34.03

	Story12
	PF4BWCC
	468
	Max Drift Y
	0.000283
	67.3
	6.45
	34.03

	Story12
	PF4BWCD1
	559
	Max Drift X
	0.000288
	54.15
	0
	34.03

	Story12
	PF4BWCD1
	468
	Max Drift Y
	0.000346
	67.3
	6.45
	34.03

	Story12
	PF4DWCX
	559
	Max Drift X
	0.000269
	54.15
	0
	34.03

	Story12
	PF4DWCX
	468
	Max Drift Y
	0.000159
	67.3
	6.45
	34.03

	Story12
	PF4DWCY
	559
	Max Drift X
	0.000181
	54.15
	0
	34.03

	Story12
	PF4DWCY
	468
	Max Drift Y
	0.000357
	67.3
	6.45
	34.03

	Story12
	PF4DWCXB1
	559
	Max Drift X
	0.000274
	54.15
	0
	34.03

	Story12
	PF4DWCXB1
	468
	Max Drift Y
	0.000206
	67.3
	6.45
	34.03

	Story12
	PF4DWCXB2
	559
	Max Drift X
	0.00021
	54.15
	0
	34.03

	Story12
	PF4DWCXB2
	468
	Max Drift Y
	0.00012
	67.3
	6.45
	34.03

	Story12
	PF4CYB1
	559
	Max Drift X
	0.000117
	54.15
	0
	34.03

	Story12
	PF4CYB1
	468
	Max Drift Y
	0.000229
	67.3
	6.45
	34.03

	Story12
	PF4CYB2
	559
	Max Drift X
	0.000234
	54.15
	0
	34.03

	Story12
	PF4CYB2
	468
	Max Drift Y
	0.000394
	67.3
	6.45
	34.03

	Story12
	PF4DWCC
	559
	Max Drift X
	0.000257
	54.15
	0
	34.03

	Story12
	PF4DWCC
	468
	Max Drift Y
	0.000299
	67.3
	6.45
	34.03

	Story12
	PF4DWCD1
	559
	Max Drift X
	0.000301
	54.15
	0
	34.03

	Story12
	PF4DWCD1
	468
	Max Drift Y
	0.000362
	67.3
	6.45
	34.03

	Story12
	PF4DWCD2
	559
	Max Drift X
	0.000165
	54.15
	0
	34.03

	Story12
	PF4DWCD2
	468
	Max Drift Y
	0.000174
	67.3
	6.45
	34.03

	Story12
	PF4CWCX
	559
	Max Drift X
	0.000326
	54.15
	0
	34.03

	Story12
	PF4CWCX
	468
	Max Drift Y
	0.000221
	67.3
	6.45
	34.03

	Story12
	PF4CWCY
	559
	Max Drift X
	0.000238
	54.15
	0
	34.03

	Story12
	PF4CWCY
	468
	Max Drift Y
	0.000419
	67.3
	6.45
	34.03

	Story12
	PF4CWCXB1
	559
	Max Drift X
	0.000331
	54.15
	0
	34.03

	Story12
	PF4CWCXB1
	468
	Max Drift Y
	0.000269
	67.3
	6.45
	34.03

	Story12
	PF4CWCXB2
	559
	Max Drift X
	0.000267
	54.15
	0
	34.03

	Story12
	PF4CWCXB2
	468
	Max Drift Y
	0.000182
	67.3
	6.45
	34.03

	Story12
	PF4CWCYB1
	559
	Max Drift X
	0.000175
	54.15
	0
	34.03

	Story12
	PF4CWCYB1
	468
	Max Drift Y
	0.000291
	67.3
	6.45
	34.03

	Story12
	PF4CWCYB2
	559
	Max Drift X
	0.000291
	54.15
	0
	34.03

	Story12
	PF4CWCYB2
	468
	Max Drift Y
	0.000456
	67.3
	6.45
	34.03

	Story12
	PF4CWCC
	559
	Max Drift X
	0.000314
	54.15
	0
	34.03

	Story12
	PF4CWCC
	468
	Max Drift Y
	0.000361
	67.3
	6.45
	34.03

	Story12
	PF4CWCD1
	559
	Max Drift X
	0.000358
	54.15
	0
	34.03

	Story12
	PF4CWCD1
	468
	Max Drift Y
	0.000424
	67.3
	6.45
	34.03

	Story12
	PF4CWCD2
	559
	Max Drift X
	0.000222
	54.15
	0
	34.03

	Story12
	PF4CWCD2
	468
	Max Drift Y
	0.000236
	67.3
	6.45
	34.03

	Story12
	PFEQ2X
	559
	Max Drift X
	0.000525
	54.15
	0
	34.03

	Story12
	PFEQ2X
	468
	Max Drift Y
	0.000131
	67.3
	6.45
	34.03

	Story12
	PFEQ2Y
	559
	Max Drift X
	0.000231
	54.15
	0
	34.03

	Story12
	PFEQ2Y
	468
	Max Drift Y
	0.000657
	67.3
	6.45
	34.03

	Story12
	PFEQ2XMIN
	430
	Max Drift X
	0.000498
	55.8
	27.95
	34.03

	Story12
	PFEQ2XMIN
	558
	Max Drift Y
	0.000108
	25.1
	10.6
	34.03

	Story12
	PFEQ2XMAX
	559
	Max Drift X
	0.000633
	54.15
	0
	34.03

	Story12
	PFEQ2XMAX
	468
	Max Drift Y
	0.000278
	67.3
	6.45
	34.03

	Story12
	PFEQ2YMIN
	559
	Max Drift X
	0.000395
	54.15
	0
	34.03

	Story12
	PFEQ2YMIN
	468
	Max Drift Y
	0.000884
	67.3
	6.45
	34.03

	Story12
	PFEQ2YMAX
	559
	Max Drift X
	6.7E-05
	54.15
	0
	34.03

	Story12
	PFEQ2YMAX
	468
	Max Drift Y
	0.00043
	67.3
	6.45
	34.03

	Story12
	PFEQ1X
	559
	Max Drift X
	0.000512
	54.15
	0
	34.03

	Story12
	PFEQ1X
	468
	Max Drift Y
	0.000115
	67.3
	6.45
	34.03

	Story12
	PFEQ1Y
	559
	Max Drift X
	0.000218
	54.15
	0
	34.03

	Story12
	PFEQ1Y
	468
	Max Drift Y
	0.000641
	67.3
	6.45
	34.03

	Story12
	PFEQ1XMIN
	430
	Max Drift X
	0.000503
	55.8
	27.95
	34.03

	Story12
	PFEQ1XMIN
	558
	Max Drift Y
	0.000118
	25.1
	10.6
	34.03

	Story12
	PFEQ1XMAX
	559
	Max Drift X
	0.00062
	54.15
	0
	34.03

	Story12
	PFEQ1XMAX
	468
	Max Drift Y
	0.000262
	67.3
	6.45
	34.03

	Story12
	PFEQ1YMIN
	559
	Max Drift X
	0.000382
	54.15
	0
	34.03

	Story12
	PFEQ1YMIN
	468
	Max Drift Y
	0.000868
	67.3
	6.45
	34.03

	Story12
	PFEQ1YMAX
	559
	Max Drift X
	5.4E-05
	54.15
	0
	34.03

	Story12
	PFEQ1YMAX
	468
	Max Drift Y
	0.000414
	67.3
	6.45
	34.03

	Story11
	OW
	580
	Max Drift X
	0.000117
	45.3
	0
	30.98

	Story11
	OW
	590
	Max Drift Y
	0.000137
	69
	6.45
	30.98

	Story11
	EQDL
	580
	Max Drift X
	7E-06
	45.3
	0
	30.98

	Story11
	EQDL
	590
	Max Drift Y
	1E-05
	69
	6.45
	30.98

	Story11
	LL
	580
	Max Drift X
	2.6E-05
	45.3
	0
	30.98

	Story11
	LL
	590
	Max Drift Y
	3.9E-05
	69
	6.45
	30.98

	Story11
	FACADE
	567
	Max Drift X
	6E-06
	42.85
	27.95
	30.98

	Story11
	FACADE
	590
	Max Drift Y
	7E-06
	69
	6.45
	30.98

	Story11
	EQX
	567
	Max Drift X
	0.000447
	42.85
	27.95
	30.98

	Story11
	EQX
	554
	Max Drift Y
	5.6E-05
	25.1
	18.6
	30.98

	Story11
	EQY
	567
	Max Drift X
	7.8E-05
	42.85
	27.95
	30.98

	Story11
	EQY
	590
	Max Drift Y
	0.000466
	69
	6.45
	30.98

	Story11
	EQXMIN
	567
	Max Drift X
	0.000536
	42.85
	27.95
	30.98

	Story11
	EQXMIN
	558
	Max Drift Y
	0.0002
	25.1
	10.6
	30.98

	Story11
	EQXMAX
	580
	Max Drift X
	0.000475
	45.3
	0
	30.98

	Story11
	EQXMAX
	590
	Max Drift Y
	9.4E-05
	69
	6.45
	30.98

	Story11
	EQYMIN
	567
	Max Drift X
	0.000215
	42.85
	27.95
	30.98

	Story11
	EQYMIN
	590
	Max Drift Y
	0.00069
	69
	6.45
	30.98

	Story11
	EQYMAX
	580
	Max Drift X
	8.5E-05
	45.3
	0
	30.98

	Story11
	EQYMAX
	558
	Max Drift Y
	0.000468
	25.1
	10.6
	30.98

	Story11
	WCX
	567
	Max Drift X
	9.6E-05
	42.85
	27.95
	30.98

	Story11
	WCX
	558
	Max Drift Y
	1E-05
	25.1
	10.6
	30.98

	Story11
	WCY
	567
	Max Drift X
	2.1E-05
	42.85
	27.95
	30.98

	Story11
	WCY
	590
	Max Drift Y
	0.000129
	69
	6.45
	30.98

	Story11
	WCXB1
	580
	Max Drift X
	8.2E-05
	45.3
	0
	30.98

	Story11
	WCXB1
	558
	Max Drift Y
	2.2E-05
	25.1
	10.6
	30.98

	Story11
	DELDL
	580
	Max Drift X
	1.8E-05
	45.3
	0
	30.98

	Story11
	DELDL
	590
	Max Drift Y
	2.6E-05
	69
	6.45
	30.98

	Story11
	WCXB2
	567
	Max Drift X
	9E-05
	42.85
	27.95
	30.98

	Story11
	WCXB2
	558
	Max Drift Y
	3.8E-05
	25.1
	10.6
	30.98

	Story11
	WCYB2
	423
	Max Drift X
	5.1E-05
	46.9
	27.95
	30.98

	Story11
	WCYB2
	590
	Max Drift Y
	0.000155
	69
	6.45
	30.98

	Story11
	WCYB1
	580
	Max Drift X
	2.5E-05
	45.3
	0
	30.98

	Story11
	WCYB1
	558
	Max Drift Y
	0.00011
	25.1
	10.6
	30.98

	Story11
	WCC
	580
	Max Drift X
	7.4E-05
	45.3
	0
	30.98

	Story11
	WCC
	590
	Max Drift Y
	9E-05
	69
	6.45
	30.98

	Story11
	WCD1
	580
	Max Drift X
	9.8E-05
	45.3
	0
	30.98

	Story11
	WCD1
	590
	Max Drift Y
	0.000133
	69
	6.45
	30.98

	Story11
	WCD2
	567
	Max Drift X
	8.3E-05
	42.85
	27.95
	30.98

	Story11
	WCD2
	558
	Max Drift Y
	0.000111
	25.1
	10.6
	30.98

	Story11
	PF1
	580
	Max Drift X
	0.000187
	45.3
	0
	30.98

	Story11
	PF1
	590
	Max Drift Y
	0.000239
	69
	6.45
	30.98

	Story11
	PF2
	580
	Max Drift X
	0.000198
	45.3
	0
	30.98

	Story11
	PF2
	590
	Max Drift Y
	0.00026
	69
	6.45
	30.98

	Story11
	PF4WX
	580
	Max Drift X
	0.000283
	45.3
	0
	30.98

	Story11
	PF4WX
	590
	Max Drift Y
	0.0002
	69
	6.45
	30.98

	Story11
	PF4WY
	580
	Max Drift X
	0.000189
	45.3
	0
	30.98

	Story11
	PF4WY
	590
	Max Drift Y
	0.000394
	69
	6.45
	30.98

	Story11
	PF4WXB1
	580
	Max Drift X
	0.000281
	45.3
	0
	30.98

	Story11
	PF4WXB1
	590
	Max Drift Y
	0.000245
	69
	6.45
	30.98

	Story11
	PF4WXB2
	580
	Max Drift X
	0.000227
	45.3
	0
	30.98

	Story11
	PF4WXB2
	590
	Max Drift Y
	0.000163
	69
	6.45
	30.98

	Story11
	PF4WYB1
	580
	Max Drift X
	0.000131
	45.3
	0
	30.98

	Story11
	PF4WYB1
	590
	Max Drift Y
	0.000267
	69
	6.45
	30.98

	Story11
	PF4WYB2
	580
	Max Drift X
	0.000235
	45.3
	0
	30.98

	Story11
	PF4WYB2
	590
	Max Drift Y
	0.000431
	69
	6.45
	30.98

	Story11
	PF4WCC
	580
	Max Drift X
	0.00027
	45.3
	0
	30.98

	Story11
	PF4WCC
	590
	Max Drift Y
	0.000339
	69
	6.45
	30.98

	Story11
	PF4WCD1
	580
	Max Drift X
	0.000304
	45.3
	0
	30.98

	Story11
	PF4WCD1
	590
	Max Drift Y
	0.0004
	69
	6.45
	30.98

	Story11
	PF4WCD2
	580
	Max Drift X
	0.000185
	45.3
	0
	30.98

	Story11
	PF4WCD2
	590
	Max Drift Y
	0.000216
	69
	6.45
	30.98

	Story11
	PF4BWCD2
	580
	Max Drift X
	0.000138
	45.3
	0
	30.98

	Story11
	PF4BWCD2
	590
	Max Drift Y
	0.000156
	69
	6.45
	30.98

	Story11
	PF4BWCX
	580
	Max Drift X
	0.000236
	45.3
	0
	30.98

	Story11
	PF4BWCX
	590
	Max Drift Y
	0.000141
	69
	6.45
	30.98

	Story11
	PF4BWCY
	580
	Max Drift X
	0.000142
	45.3
	0
	30.98

	Story11
	PF4BWCY
	590
	Max Drift Y
	0.000335
	69
	6.45
	30.98

	Story11
	PF4BWCXB1
	580
	Max Drift X
	0.000235
	45.3
	0
	30.98

	Story11
	PF4BWCXB1
	590
	Max Drift Y
	0.000185
	69
	6.45
	30.98

	Story11
	PF4BWCXB2
	580
	Max Drift X
	0.00018
	45.3
	0
	30.98

	Story11
	PF4BWCXB2
	590
	Max Drift Y
	0.000103
	69
	6.45
	30.98

	Story11
	PF4BWCYB1
	580
	Max Drift X
	8.5E-05
	45.3
	0
	30.98

	Story11
	PF4BWCYB1
	590
	Max Drift Y
	0.000207
	69
	6.45
	30.98

	Story11
	PF4BWCYB2
	580
	Max Drift X
	0.000188
	45.3
	0
	30.98

	Story11
	PF4BWCYB2
	590
	Max Drift Y
	0.000371
	69
	6.45
	30.98

	Story11
	PF4BWCC
	580
	Max Drift X
	0.000224
	45.3
	0
	30.98

	Story11
	PF4BWCC
	590
	Max Drift Y
	0.000279
	69
	6.45
	30.98

	Story11
	PF4BWCD1
	580
	Max Drift X
	0.000257
	45.3
	0
	30.98

	Story11
	PF4BWCD1
	590
	Max Drift Y
	0.00034
	69
	6.45
	30.98

	Story11
	PF4DWCX
	580
	Max Drift X
	0.000247
	45.3
	0
	30.98

	Story11
	PF4DWCX
	590
	Max Drift Y
	0.000156
	69
	6.45
	30.98

	Story11
	PF4DWCY
	580
	Max Drift X
	0.000152
	45.3
	0
	30.98

	Story11
	PF4DWCY
	590
	Max Drift Y
	0.00035
	69
	6.45
	30.98

	Story11
	PF4DWCXB1
	580
	Max Drift X
	0.000245
	45.3
	0
	30.98

	Story11
	PF4DWCXB1
	590
	Max Drift Y
	0.000201
	69
	6.45
	30.98

	Story11
	PF4DWCXB2
	580
	Max Drift X
	0.000191
	45.3
	0
	30.98

	Story11
	PF4DWCXB2
	590
	Max Drift Y
	0.000118
	69
	6.45
	30.98

	Story11
	PF4CYB1
	580
	Max Drift X
	9.5E-05
	45.3
	0
	30.98

	Story11
	PF4CYB1
	590
	Max Drift Y
	0.000223
	69
	6.45
	30.98

	Story11
	PF4CYB2
	580
	Max Drift X
	0.000199
	45.3
	0
	30.98

	Story11
	PF4CYB2
	590
	Max Drift Y
	0.000387
	69
	6.45
	30.98

	Story11
	PF4DWCC
	580
	Max Drift X
	0.000234
	45.3
	0
	30.98

	Story11
	PF4DWCC
	590
	Max Drift Y
	0.000295
	69
	6.45
	30.98

	Story11
	PF4DWCD1
	580
	Max Drift X
	0.000268
	45.3
	0
	30.98

	Story11
	PF4DWCD1
	590
	Max Drift Y
	0.000356
	69
	6.45
	30.98

	Story11
	PF4DWCD2
	580
	Max Drift X
	0.000149
	45.3
	0
	30.98

	Story11
	PF4DWCD2
	590
	Max Drift Y
	0.000171
	69
	6.45
	30.98

	Story11
	PF4CWCX
	580
	Max Drift X
	0.000294
	45.3
	0
	30.98

	Story11
	PF4CWCX
	590
	Max Drift Y
	0.000216
	69
	6.45
	30.98

	Story11
	PF4CWCY
	580
	Max Drift X
	0.000199
	45.3
	0
	30.98

	Story11
	PF4CWCY
	590
	Max Drift Y
	0.00041
	69
	6.45
	30.98

	Story11
	PF4CWCXB1
	580
	Max Drift X
	0.000292
	45.3
	0
	30.98

	Story11
	PF4CWCXB1
	590
	Max Drift Y
	0.00026
	69
	6.45
	30.98

	Story11
	PF4CWCXB2
	580
	Max Drift X
	0.000237
	45.3
	0
	30.98

	Story11
	PF4CWCXB2
	590
	Max Drift Y
	0.000178
	69
	6.45
	30.98

	Story11
	PF4CWCYB1
	580
	Max Drift X
	0.000142
	45.3
	0
	30.98

	Story11
	PF4CWCYB1
	590
	Max Drift Y
	0.000283
	69
	6.45
	30.98

	Story11
	PF4CWCYB2
	580
	Max Drift X
	0.000246
	45.3
	0
	30.98

	Story11
	PF4CWCYB2
	590
	Max Drift Y
	0.000447
	69
	6.45
	30.98

	Story11
	PF4CWCC
	580
	Max Drift X
	0.000281
	45.3
	0
	30.98

	Story11
	PF4CWCC
	590
	Max Drift Y
	0.000355
	69
	6.45
	30.98

	Story11
	PF4CWCD1
	580
	Max Drift X
	0.000314
	45.3
	0
	30.98

	Story11
	PF4CWCD1
	590
	Max Drift Y
	0.000416
	69
	6.45
	30.98

	Story11
	PF4CWCD2
	580
	Max Drift X
	0.000196
	45.3
	0
	30.98

	Story11
	PF4CWCD2
	590
	Max Drift Y
	0.000231
	69
	6.45
	30.98

	Story11
	PFEQ2X
	580
	Max Drift X
	0.000525
	45.3
	0
	30.98

	Story11
	PFEQ2X
	590
	Max Drift Y
	0.000139
	69
	6.45
	30.98

	Story11
	PFEQ2Y
	580
	Max Drift X
	0.000204
	45.3
	0
	30.98

	Story11
	PFEQ2Y
	590
	Max Drift Y
	0.000652
	69
	6.45
	30.98

	Story11
	PFEQ2XMIN
	567
	Max Drift X
	0.000483
	42.85
	27.95
	30.98

	Story11
	PFEQ2XMIN
	558
	Max Drift Y
	7.6E-05
	25.1
	10.6
	30.98

	Story11
	PFEQ2XMAX
	580
	Max Drift X
	0.000619
	45.3
	0
	30.98

	Story11
	PFEQ2XMAX
	590
	Max Drift Y
	0.000281
	69
	6.45
	30.98

	Story11
	PFEQ2YMIN
	580
	Max Drift X
	0.000348
	45.3
	0
	30.98

	Story11
	PFEQ2YMIN
	590
	Max Drift Y
	0.000876
	69
	6.45
	30.98

	Story11
	PFEQ2YMAX
	580
	Max Drift X
	5.9E-05
	45.3
	0
	30.98

	Story11
	PFEQ2YMAX
	601
	Max Drift Y
	0.000428
	69
	20.5
	30.98

	Story11
	PFEQ1X
	580
	Max Drift X
	0.000515
	45.3
	0
	30.98

	Story11
	PFEQ1X
	590
	Max Drift Y
	0.000124
	69
	6.45
	30.98

	Story11
	PFEQ1Y
	580
	Max Drift X
	0.000193
	45.3
	0
	30.98

	Story11
	PFEQ1Y
	590
	Max Drift Y
	0.000637
	69
	6.45
	30.98

	Story11
	PFEQ1XMIN
	567
	Max Drift X
	0.000488
	42.85
	27.95
	30.98

	Story11
	PFEQ1XMIN
	558
	Max Drift Y
	8.5E-05
	25.1
	10.6
	30.98

	Story11
	PFEQ1XMAX
	580
	Max Drift X
	0.000608
	45.3
	0
	30.98

	Story11
	PFEQ1XMAX
	590
	Max Drift Y
	0.000265
	69
	6.45
	30.98

	Story11
	PFEQ1YMIN
	580
	Max Drift X
	0.000338
	45.3
	0
	30.98

	Story11
	PFEQ1YMIN
	590
	Max Drift Y
	0.000861
	69
	6.45
	30.98

	Story11
	PFEQ1YMAX
	580
	Max Drift X
	4.9E-05
	45.3
	0
	30.98

	Story11
	PFEQ1YMAX
	601
	Max Drift Y
	0.000413
	69
	20.5
	30.98

	Story10
	OW
	567
	Max Drift X
	4.7E-05
	42.85
	27.95
	28.03

	Story10
	OW
	659
	Max Drift Y
	0.000104
	73.5
	19.3
	28.03

	Story10
	EQDL
	567
	Max Drift X
	4E-06
	42.85
	27.95
	28.03

	Story10
	EQDL
	659
	Max Drift Y
	8E-06
	73.5
	19.3
	28.03

	Story10
	LL
	428
	Max Drift X
	1.7E-05
	52.3
	27.95
	28.03

	Story10
	LL
	659
	Max Drift Y
	3.2E-05
	73.5
	19.3
	28.03

	Story10
	FACADE
	567
	Max Drift X
	7E-06
	42.85
	27.95
	28.03

	Story10
	FACADE
	659
	Max Drift Y
	9E-06
	73.5
	19.3
	28.03

	Story10
	EQX
	618
	Max Drift X
	0.000495
	71.7
	0
	28.03

	Story10
	EQX
	652
	Max Drift Y
	1.4E-05
	23.8
	14.75
	28.03

	Story10
	EQY
	618
	Max Drift X
	0.000117
	71.7
	0
	28.03

	Story10
	EQY
	659
	Max Drift Y
	0.000535
	73.5
	19.3
	28.03

	Story10
	EQXMIN
	567
	Max Drift X
	0.000532
	42.85
	27.95
	28.03

	Story10
	EQXMIN
	659
	Max Drift Y
	9.4E-05
	73.5
	19.3
	28.03

	Story10
	EQXMAX
	618
	Max Drift X
	0.00054
	71.7
	0
	28.03

	Story10
	EQXMAX
	659
	Max Drift Y
	0.000114
	73.5
	19.3
	28.03

	Story10
	EQYMIN
	428
	Max Drift X
	0.000196
	52.3
	27.95
	28.03

	Story10
	EQYMIN
	659
	Max Drift Y
	0.000712
	73.5
	19.3
	28.03

	Story10
	EQYMAX
	618
	Max Drift X
	4E-05
	71.7
	0
	28.03

	Story10
	EQYMAX
	659
	Max Drift Y
	0.000359
	73.5
	19.3
	28.03

	Story10
	WCX
	618
	Max Drift X
	0.000105
	71.7
	0
	28.03

	Story10
	WCX
	646
	Max Drift Y
	3E-06
	23.8
	12.85
	28.03

	Story10
	WCY
	618
	Max Drift X
	2.9E-05
	71.7
	0
	28.03

	Story10
	WCY
	659
	Max Drift Y
	0.000146
	73.5
	19.3
	28.03

	Story10
	WCXB1
	618
	Max Drift X
	8.7E-05
	71.7
	0
	28.03

	Story10
	WCXB1
	659
	Max Drift Y
	2.2E-05
	73.5
	19.3
	28.03

	Story10
	DELDL
	567
	Max Drift X
	1.2E-05
	42.85
	27.95
	28.03

	Story10
	DELDL
	659
	Max Drift Y
	2.2E-05
	73.5
	19.3
	28.03

	Story10
	WCXB2
	567
	Max Drift X
	8.7E-05
	42.85
	27.95
	28.03

	Story10
	WCXB2
	659
	Max Drift Y
	2E-05
	73.5
	19.3
	28.03

	Story10
	WCYB2
	567
	Max Drift X
	4.4E-05
	42.85
	27.95
	28.03

	Story10
	WCYB2
	659
	Max Drift Y
	0.000158
	73.5
	19.3
	28.03

	Story10
	WCYB1
	618
	Max Drift X
	1E-06
	71.7
	0
	28.03

	Story10
	WCYB1
	659
	Max Drift Y
	6.1E-05
	73.5
	19.3
	28.03

	Story10
	WCC
	618
	Max Drift X
	0.000101
	71.7
	0
	28.03

	Story10
	WCC
	659
	Max Drift Y
	0.000111
	73.5
	19.3
	28.03

	Story10
	WCD1
	618
	Max Drift X
	9.8E-05
	71.7
	0
	28.03

	Story10
	WCD1
	659
	Max Drift Y
	0.000135
	73.5
	19.3
	28.03

	Story10
	WCD2
	567
	Max Drift X
	6.6E-05
	42.85
	27.95
	28.03

	Story10
	WCD2
	652
	Max Drift Y
	5.4E-05
	23.8
	14.75
	28.03

	Story10
	PF1
	567
	Max Drift X
	9.2E-05
	42.85
	27.95
	28.03

	Story10
	PF1
	659
	Max Drift Y
	0.000189
	73.5
	19.3
	28.03

	Story10
	PF2
	428
	Max Drift X
	0.000102
	52.3
	27.95
	28.03

	Story10
	PF2
	659
	Max Drift Y
	0.000207
	73.5
	19.3
	28.03

	Story10
	PF4WX
	618
	Max Drift X
	0.00019
	71.7
	0
	28.03

	Story10
	PF4WX
	659
	Max Drift Y
	0.00017
	73.5
	19.3
	28.03

	Story10
	PF4WY
	567
	Max Drift X
	0.000123
	42.85
	27.95
	28.03

	Story10
	PF4WY
	659
	Max Drift Y
	0.000373
	73.5
	19.3
	28.03

	Story10
	PF4WXB1
	618
	Max Drift X
	0.000166
	71.7
	0
	28.03

	Story10
	PF4WXB1
	659
	Max Drift Y
	0.000199
	73.5
	19.3
	28.03

	Story10
	PF4WXB2
	618
	Max Drift X
	0.000141
	71.7
	0
	28.03

	Story10
	PF4WXB2
	659
	Max Drift Y
	0.000141
	73.5
	19.3
	28.03

	Story10
	PF4WYB1
	567
	Max Drift X
	8.1E-05
	42.85
	27.95
	28.03

	Story10
	PF4WYB1
	659
	Max Drift Y
	0.000254
	73.5
	19.3
	28.03

	Story10
	PF4WYB2
	567
	Max Drift X
	0.000144
	42.85
	27.95
	28.03

	Story10
	PF4WYB2
	659
	Max Drift Y
	0.000389
	73.5
	19.3
	28.03

	Story10
	PF4WCC
	618
	Max Drift X
	0.000184
	71.7
	0
	28.03

	Story10
	PF4WCC
	659
	Max Drift Y
	0.000323
	73.5
	19.3
	28.03

	Story10
	PF4WCD1
	618
	Max Drift X
	0.00018
	71.7
	0
	28.03

	Story10
	PF4WCD1
	659
	Max Drift Y
	0.000357
	73.5
	19.3
	28.03

	Story10
	PF4WCD2
	618
	Max Drift X
	0.000118
	71.7
	0
	28.03

	Story10
	PF4WCD2
	659
	Max Drift Y
	0.000212
	73.5
	19.3
	28.03

	Story10
	PF4BWCD2
	618
	Max Drift X
	0.000106
	71.7
	0
	28.03

	Story10
	PF4BWCD2
	659
	Max Drift Y
	0.000165
	73.5
	19.3
	28.03

	Story10
	PF4BWCX
	618
	Max Drift X
	0.000178
	71.7
	0
	28.03

	Story10
	PF4BWCX
	659
	Max Drift Y
	0.000123
	73.5
	19.3
	28.03

	Story10
	PF4BWCY
	567
	Max Drift X
	0.0001
	42.85
	27.95
	28.03

	Story10
	PF4BWCY
	659
	Max Drift Y
	0.000326
	73.5
	19.3
	28.03

	Story10
	PF4BWCXB1
	618
	Max Drift X
	0.000154
	71.7
	0
	28.03

	Story10
	PF4BWCXB1
	659
	Max Drift Y
	0.000152
	73.5
	19.3
	28.03

	Story10
	PF4BWCXB2
	618
	Max Drift X
	0.000129
	71.7
	0
	28.03

	Story10
	PF4BWCXB2
	659
	Max Drift Y
	9.4E-05
	73.5
	19.3
	28.03

	Story10
	PF4BWCYB1
	567
	Max Drift X
	5.8E-05
	42.85
	27.95
	28.03

	Story10
	PF4BWCYB1
	659
	Max Drift Y
	0.000207
	73.5
	19.3
	28.03

	Story10
	PF4BWCYB2
	567
	Max Drift X
	0.000121
	42.85
	27.95
	28.03

	Story10
	PF4BWCYB2
	659
	Max Drift Y
	0.000342
	73.5
	19.3
	28.03

	Story10
	PF4BWCC
	618
	Max Drift X
	0.000172
	71.7
	0
	28.03

	Story10
	PF4BWCC
	659
	Max Drift Y
	0.000276
	73.5
	19.3
	28.03

	Story10
	PF4BWCD1
	618
	Max Drift X
	0.000168
	71.7
	0
	28.03

	Story10
	PF4BWCD1
	659
	Max Drift Y
	0.00031
	73.5
	19.3
	28.03

	Story10
	PF4DWCX
	618
	Max Drift X
	0.00018
	71.7
	0
	28.03

	Story10
	PF4DWCX
	659
	Max Drift Y
	0.000136
	73.5
	19.3
	28.03

	Story10
	PF4DWCY
	567
	Max Drift X
	0.000106
	42.85
	27.95
	28.03

	Story10
	PF4DWCY
	659
	Max Drift Y
	0.000339
	73.5
	19.3
	28.03

	Story10
	PF4DWCXB1
	618
	Max Drift X
	0.000156
	71.7
	0
	28.03

	Story10
	PF4DWCXB1
	659
	Max Drift Y
	0.000165
	73.5
	19.3
	28.03

	Story10
	PF4DWCXB2
	618
	Max Drift X
	0.000131
	71.7
	0
	28.03

	Story10
	PF4DWCXB2
	659
	Max Drift Y
	0.000106
	73.5
	19.3
	28.03

	Story10
	PF4CYB1
	567
	Max Drift X
	6.5E-05
	42.85
	27.95
	28.03

	Story10
	PF4CYB1
	659
	Max Drift Y
	0.00022
	73.5
	19.3
	28.03

	Story10
	PF4CYB2
	567
	Max Drift X
	0.000128
	42.85
	27.95
	28.03

	Story10
	PF4CYB2
	659
	Max Drift Y
	0.000355
	73.5
	19.3
	28.03

	Story10
	PF4DWCC
	618
	Max Drift X
	0.000175
	71.7
	0
	28.03

	Story10
	PF4DWCC
	659
	Max Drift Y
	0.000289
	73.5
	19.3
	28.03

	Story10
	PF4DWCD1
	618
	Max Drift X
	0.000171
	71.7
	0
	28.03

	Story10
	PF4DWCD1
	659
	Max Drift Y
	0.000323
	73.5
	19.3
	28.03

	Story10
	PF4DWCD2
	618
	Max Drift X
	0.000108
	71.7
	0
	28.03

	Story10
	PF4DWCD2
	659
	Max Drift Y
	0.000178
	73.5
	19.3
	28.03

	Story10
	PF4CWCX
	618
	Max Drift X
	0.000193
	71.7
	0
	28.03

	Story10
	PF4CWCX
	659
	Max Drift Y
	0.000183
	73.5
	19.3
	28.03

	Story10
	PF4CWCY
	567
	Max Drift X
	0.000129
	42.85
	27.95
	28.03

	Story10
	PF4CWCY
	659
	Max Drift Y
	0.000386
	73.5
	19.3
	28.03

	Story10
	PF4CWCXB1
	618
	Max Drift X
	0.000168
	71.7
	0
	28.03

	Story10
	PF4CWCXB1
	659
	Max Drift Y
	0.000212
	73.5
	19.3
	28.03

	Story10
	PF4CWCXB2
	618
	Max Drift X
	0.000144
	71.7
	0
	28.03

	Story10
	PF4CWCXB2
	659
	Max Drift Y
	0.000154
	73.5
	19.3
	28.03

	Story10
	PF4CWCYB1
	567
	Max Drift X
	8.8E-05
	42.85
	27.95
	28.03

	Story10
	PF4CWCYB1
	659
	Max Drift Y
	0.000267
	73.5
	19.3
	28.03

	Story10
	PF4CWCYB2
	567
	Max Drift X
	0.000151
	42.85
	27.95
	28.03

	Story10
	PF4CWCYB2
	659
	Max Drift Y
	0.000402
	73.5
	19.3
	28.03

	Story10
	PF4CWCC
	618
	Max Drift X
	0.000187
	71.7
	0
	28.03

	Story10
	PF4CWCC
	659
	Max Drift Y
	0.000336
	73.5
	19.3
	28.03

	Story10
	PF4CWCD1
	618
	Max Drift X
	0.000183
	71.7
	0
	28.03

	Story10
	PF4CWCD1
	659
	Max Drift Y
	0.00037
	73.5
	19.3
	28.03

	Story10
	PF4CWCD2
	618
	Max Drift X
	0.00012
	71.7
	0
	28.03

	Story10
	PF4CWCD2
	659
	Max Drift Y
	0.000225
	73.5
	19.3
	28.03

	Story10
	PFEQ2X
	618
	Max Drift X
	0.000533
	71.7
	0
	28.03

	Story10
	PFEQ2X
	659
	Max Drift Y
	0.000158
	73.5
	19.3
	28.03

	Story10
	PFEQ2Y
	428
	Max Drift X
	0.000185
	52.3
	27.95
	28.03

	Story10
	PFEQ2Y
	659
	Max Drift Y
	0.000683
	73.5
	19.3
	28.03

	Story10
	PFEQ2XMIN
	618
	Max Drift X
	0.000488
	71.7
	0
	28.03

	Story10
	PFEQ2XMIN
	659
	Max Drift Y
	5.4E-05
	73.5
	19.3
	28.03

	Story10
	PFEQ2XMAX
	618
	Max Drift X
	0.000577
	71.7
	0
	28.03

	Story10
	PFEQ2XMAX
	659
	Max Drift Y
	0.000262
	73.5
	19.3
	28.03

	Story10
	PFEQ2YMIN
	428
	Max Drift X
	0.000269
	52.3
	27.95
	28.03

	Story10
	PFEQ2YMIN
	659
	Max Drift Y
	0.000859
	73.5
	19.3
	28.03

	Story10
	PFEQ2YMAX
	567
	Max Drift X
	0.000102
	42.85
	27.95
	28.03

	Story10
	PFEQ2YMAX
	659
	Max Drift Y
	0.000506
	73.5
	19.3
	28.03

	Story10
	PFEQ1X
	618
	Max Drift X
	0.00053
	71.7
	0
	28.03

	Story10
	PFEQ1X
	659
	Max Drift Y
	0.000145
	73.5
	19.3
	28.03

	Story10
	PFEQ1Y
	428
	Max Drift X
	0.000179
	52.3
	27.95
	28.03

	Story10
	PFEQ1Y
	659
	Max Drift Y
	0.00067
	73.5
	19.3
	28.03

	Story10
	PFEQ1XMIN
	618
	Max Drift X
	0.000485
	71.7
	0
	28.03

	Story10
	PFEQ1XMIN
	659
	Max Drift Y
	4.1E-05
	73.5
	19.3
	28.03

	Story10
	PFEQ1XMAX
	618
	Max Drift X
	0.000575
	71.7
	0
	28.03

	Story10
	PFEQ1XMAX
	659
	Max Drift Y
	0.000249
	73.5
	19.3
	28.03

	Story10
	PFEQ1YMIN
	428
	Max Drift X
	0.000262
	52.3
	27.95
	28.03

	Story10
	PFEQ1YMIN
	659
	Max Drift Y
	0.000846
	73.5
	19.3
	28.03

	Story10
	PFEQ1YMAX
	567
	Max Drift X
	9.5E-05
	42.85
	27.95
	28.03

	Story10
	PFEQ1YMAX
	659
	Max Drift Y
	0.000494
	73.5
	19.3
	28.03

	Story9
	OW
	792
	Max Drift X
	5E-05
	45.3
	27.95
	24.98

	Story9
	OW
	790
	Max Drift Y
	9.3E-05
	73.5
	6.45
	24.98

	Story9
	EQDL
	792
	Max Drift X
	5E-06
	45.3
	27.95
	24.98

	Story9
	EQDL
	790
	Max Drift Y
	8E-06
	73.5
	6.45
	24.98

	Story9
	LL
	792
	Max Drift X
	1.7E-05
	45.3
	27.95
	24.98

	Story9
	LL
	790
	Max Drift Y
	2.9E-05
	73.5
	6.45
	24.98

	Story9
	FACADE
	792
	Max Drift X
	6E-06
	45.3
	27.95
	24.98

	Story9
	FACADE
	790
	Max Drift Y
	8E-06
	73.5
	6.45
	24.98

	Story9
	EQX
	786
	Max Drift X
	0.000502
	10
	0
	24.98

	Story9
	EQX
	789
	Max Drift Y
	3.1E-05
	6.2
	15.95
	24.98

	Story9
	EQY
	786
	Max Drift X
	0.00011
	10
	0
	24.98

	Story9
	EQY
	790
	Max Drift Y
	0.000512
	73.5
	6.45
	24.98

	Story9
	EQXMIN
	792
	Max Drift X
	0.000518
	45.3
	27.95
	24.98

	Story9
	EQXMIN
	790
	Max Drift Y
	6.2E-05
	73.5
	6.45
	24.98

	Story9
	EQXMAX
	786
	Max Drift X
	0.000531
	10
	0
	24.98

	Story9
	EQXMAX
	789
	Max Drift Y
	0.000107
	6.2
	15.95
	24.98

	Story9
	EQYMIN
	792
	Max Drift X
	0.000167
	45.3
	27.95
	24.98

	Story9
	EQYMIN
	790
	Max Drift Y
	0.000652
	73.5
	6.45
	24.98

	Story9
	EQYMAX
	786
	Max Drift X
	5.5E-05
	10
	0
	24.98

	Story9
	EQYMAX
	790
	Max Drift Y
	0.000371
	73.5
	6.45
	24.98

	Story9
	WCX
	786
	Max Drift X
	0.000104
	10
	0
	24.98

	Story9
	WCX
	789
	Max Drift Y
	5E-06
	6.2
	15.95
	24.98

	Story9
	WCY
	786
	Max Drift X
	2.7E-05
	10
	0
	24.98

	Story9
	WCY
	790
	Max Drift Y
	0.000139
	73.5
	6.45
	24.98

	Story9
	WCXB1
	786
	Max Drift X
	8.4E-05
	10
	0
	24.98

	Story9
	WCXB1
	789
	Max Drift Y
	1.9E-05
	6.2
	15.95
	24.98

	Story9
	DELDL
	792
	Max Drift X
	1.2E-05
	45.3
	27.95
	24.98

	Story9
	DELDL
	790
	Max Drift Y
	2E-05
	73.5
	6.45
	24.98

	Story9
	WCXB2
	792
	Max Drift X
	8.3E-05
	45.3
	27.95
	24.98

	Story9
	WCXB2
	790
	Max Drift Y
	1.4E-05
	73.5
	6.45
	24.98

	Story9
	WCYB2
	792
	Max Drift X
	3.7E-05
	45.3
	27.95
	24.98

	Story9
	WCYB2
	790
	Max Drift Y
	0.000144
	73.5
	6.45
	24.98

	Story9
	WCYB1
	786
	Max Drift X
	5E-06
	10
	0
	24.98

	Story9
	WCYB1
	790
	Max Drift Y
	6.5E-05
	73.5
	6.45
	24.98

	Story9
	WCC
	786
	Max Drift X
	9.9E-05
	10
	0
	24.98

	Story9
	WCC
	790
	Max Drift Y
	0.000106
	73.5
	6.45
	24.98

	Story9
	WCD1
	786
	Max Drift X
	9E-05
	10
	0
	24.98

	Story9
	WCD1
	790
	Max Drift Y
	0.000121
	73.5
	6.45
	24.98

	Story9
	WCD2
	792
	Max Drift X
	6E-05
	45.3
	27.95
	24.98

	Story9
	WCD2
	789
	Max Drift Y
	4.4E-05
	6.2
	15.95
	24.98

	Story9
	PF1
	792
	Max Drift X
	9.5E-05
	45.3
	27.95
	24.98

	Story9
	PF1
	790
	Max Drift Y
	0.00017
	73.5
	6.45
	24.98

	Story9
	PF2
	792
	Max Drift X
	0.000106
	45.3
	27.95
	24.98

	Story9
	PF2
	790
	Max Drift Y
	0.000186
	73.5
	6.45
	24.98

	Story9
	PF4WX
	786
	Max Drift X
	0.000173
	10
	0
	24.98

	Story9
	PF4WX
	790
	Max Drift Y
	0.000155
	73.5
	6.45
	24.98

	Story9
	PF4WY
	792
	Max Drift X
	0.000122
	45.3
	27.95
	24.98

	Story9
	PF4WY
	790
	Max Drift Y
	0.000347
	73.5
	6.45
	24.98

	Story9
	PF4WXB1
	786
	Max Drift X
	0.000144
	10
	0
	24.98

	Story9
	PF4WXB1
	790
	Max Drift Y
	0.000176
	73.5
	6.45
	24.98

	Story9
	PF4WXB2
	786
	Max Drift X
	0.000129
	10
	0
	24.98

	Story9
	PF4WXB2
	790
	Max Drift Y
	0.000132
	73.5
	6.45
	24.98

	Story9
	PF4WYB1
	792
	Max Drift X
	8.9E-05
	45.3
	27.95
	24.98

	Story9
	PF4WYB1
	790
	Max Drift Y
	0.000242
	73.5
	6.45
	24.98

	Story9
	PF4WYB2
	792
	Max Drift X
	0.000137
	45.3
	27.95
	24.98

	Story9
	PF4WYB2
	790
	Max Drift Y
	0.000354
	73.5
	6.45
	24.98

	Story9
	PF4WCC
	786
	Max Drift X
	0.000165
	10
	0
	24.98

	Story9
	PF4WCC
	790
	Max Drift Y
	0.000301
	73.5
	6.45
	24.98

	Story9
	PF4WCD1
	786
	Max Drift X
	0.000153
	10
	0
	24.98

	Story9
	PF4WCD1
	790
	Max Drift Y
	0.000321
	73.5
	6.45
	24.98

	Story9
	PF4WCD2
	786
	Max Drift X
	0.000108
	10
	0
	24.98

	Story9
	PF4WCD2
	790
	Max Drift Y
	0.000205
	73.5
	6.45
	24.98

	Story9
	PF4BWCD2
	786
	Max Drift X
	0.000101
	10
	0
	24.98

	Story9
	PF4BWCD2
	790
	Max Drift Y
	0.000163
	73.5
	6.45
	24.98

	Story9
	PF4BWCX
	786
	Max Drift X
	0.000166
	10
	0
	24.98

	Story9
	PF4BWCX
	790
	Max Drift Y
	0.000112
	73.5
	6.45
	24.98

	Story9
	PF4BWCY
	792
	Max Drift X
	9.8E-05
	45.3
	27.95
	24.98

	Story9
	PF4BWCY
	790
	Max Drift Y
	0.000304
	73.5
	6.45
	24.98

	Story9
	PF4BWCXB1
	786
	Max Drift X
	0.000137
	10
	0
	24.98

	Story9
	PF4BWCXB1
	790
	Max Drift Y
	0.000133
	73.5
	6.45
	24.98

	Story9
	PF4BWCXB2
	786
	Max Drift X
	0.000121
	10
	0
	24.98

	Story9
	PF4BWCXB2
	790
	Max Drift Y
	9E-05
	73.5
	6.45
	24.98

	Story9
	PF4BWCYB1
	792
	Max Drift X
	6.5E-05
	45.3
	27.95
	24.98

	Story9
	PF4BWCYB1
	790
	Max Drift Y
	0.0002
	73.5
	6.45
	24.98

	Story9
	PF4BWCYB2
	792
	Max Drift X
	0.000113
	45.3
	27.95
	24.98

	Story9
	PF4BWCYB2
	790
	Max Drift Y
	0.000311
	73.5
	6.45
	24.98

	Story9
	PF4BWCC
	786
	Max Drift X
	0.000158
	10
	0
	24.98

	Story9
	PF4BWCC
	790
	Max Drift Y
	0.000258
	73.5
	6.45
	24.98

	Story9
	PF4BWCD1
	786
	Max Drift X
	0.000145
	10
	0
	24.98

	Story9
	PF4BWCD1
	790
	Max Drift Y
	0.000279
	73.5
	6.45
	24.98

	Story9
	PF4DWCX
	786
	Max Drift X
	0.000167
	10
	0
	24.98

	Story9
	PF4DWCX
	790
	Max Drift Y
	0.000124
	73.5
	6.45
	24.98

	Story9
	PF4DWCY
	792
	Max Drift X
	0.000105
	45.3
	27.95
	24.98

	Story9
	PF4DWCY
	790
	Max Drift Y
	0.000316
	73.5
	6.45
	24.98

	Story9
	PF4DWCXB1
	786
	Max Drift X
	0.000138
	10
	0
	24.98

	Story9
	PF4DWCXB1
	790
	Max Drift Y
	0.000145
	73.5
	6.45
	24.98

	Story9
	PF4DWCXB2
	786
	Max Drift X
	0.000123
	10
	0
	24.98

	Story9
	PF4DWCXB2
	790
	Max Drift Y
	0.000102
	73.5
	6.45
	24.98

	Story9
	PF4CYB1
	792
	Max Drift X
	7.2E-05
	45.3
	27.95
	24.98

	Story9
	PF4CYB1
	790
	Max Drift Y
	0.000211
	73.5
	6.45
	24.98

	Story9
	PF4CYB2
	792
	Max Drift X
	0.00012
	45.3
	27.95
	24.98

	Story9
	PF4CYB2
	790
	Max Drift Y
	0.000323
	73.5
	6.45
	24.98

	Story9
	PF4DWCC
	786
	Max Drift X
	0.000159
	10
	0
	24.98

	Story9
	PF4DWCC
	790
	Max Drift Y
	0.00027
	73.5
	6.45
	24.98

	Story9
	PF4DWCD1
	786
	Max Drift X
	0.000147
	10
	0
	24.98

	Story9
	PF4DWCD1
	790
	Max Drift Y
	0.000291
	73.5
	6.45
	24.98

	Story9
	PF4DWCD2
	786
	Max Drift X
	0.000102
	10
	0
	24.98

	Story9
	PF4DWCD2
	790
	Max Drift Y
	0.000174
	73.5
	6.45
	24.98

	Story9
	PF4CWCX
	786
	Max Drift X
	0.000175
	10
	0
	24.98

	Story9
	PF4CWCX
	790
	Max Drift Y
	0.000167
	73.5
	6.45
	24.98

	Story9
	PF4CWCY
	792
	Max Drift X
	0.000129
	45.3
	27.95
	24.98

	Story9
	PF4CWCY
	790
	Max Drift Y
	0.000358
	73.5
	6.45
	24.98

	Story9
	PF4CWCXB1
	786
	Max Drift X
	0.000146
	10
	0
	24.98

	Story9
	PF4CWCXB1
	790
	Max Drift Y
	0.000187
	73.5
	6.45
	24.98

	Story9
	PF4CWCXB2
	786
	Max Drift X
	0.00013
	10
	0
	24.98

	Story9
	PF4CWCXB2
	790
	Max Drift Y
	0.000144
	73.5
	6.45
	24.98

	Story9
	PF4CWCYB1
	792
	Max Drift X
	9.5E-05
	45.3
	27.95
	24.98

	Story9
	PF4CWCYB1
	790
	Max Drift Y
	0.000254
	73.5
	6.45
	24.98

	Story9
	PF4CWCYB2
	792
	Max Drift X
	0.000144
	45.3
	27.95
	24.98

	Story9
	PF4CWCYB2
	790
	Max Drift Y
	0.000365
	73.5
	6.45
	24.98

	Story9
	PF4CWCC
	786
	Max Drift X
	0.000167
	10
	0
	24.98

	Story9
	PF4CWCC
	790
	Max Drift Y
	0.000312
	73.5
	6.45
	24.98

	Story9
	PF4CWCD1
	786
	Max Drift X
	0.000155
	10
	0
	24.98

	Story9
	PF4CWCD1
	790
	Max Drift Y
	0.000333
	73.5
	6.45
	24.98

	Story9
	PF4CWCD2
	786
	Max Drift X
	0.00011
	10
	0
	24.98

	Story9
	PF4CWCD2
	790
	Max Drift Y
	0.000217
	73.5
	6.45
	24.98

	Story9
	PFEQ2X
	786
	Max Drift X
	0.000526
	10
	0
	24.98

	Story9
	PFEQ2X
	790
	Max Drift Y
	0.000149
	73.5
	6.45
	24.98

	Story9
	PFEQ2Y
	792
	Max Drift X
	0.00018
	45.3
	27.95
	24.98

	Story9
	PFEQ2Y
	790
	Max Drift Y
	0.000644
	73.5
	6.45
	24.98

	Story9
	PFEQ2XMIN
	786
	Max Drift X
	0.000497
	10
	0
	24.98

	Story9
	PFEQ2XMIN
	709
	Max Drift Y
	7.1E-05
	73.5
	22.05
	24.98

	Story9
	PFEQ2XMAX
	786
	Max Drift X
	0.000555
	10
	0
	24.98

	Story9
	PFEQ2XMAX
	790
	Max Drift Y
	0.000228
	73.5
	6.45
	24.98

	Story9
	PFEQ2YMIN
	792
	Max Drift X
	0.000242
	45.3
	27.95
	24.98

	Story9
	PFEQ2YMIN
	790
	Max Drift Y
	0.000785
	73.5
	6.45
	24.98

	Story9
	PFEQ2YMAX
	792
	Max Drift X
	0.000119
	45.3
	27.95
	24.98

	Story9
	PFEQ2YMAX
	790
	Max Drift Y
	0.000504
	73.5
	6.45
	24.98

	Story9
	PFEQ1X
	786
	Max Drift X
	0.000524
	10
	0
	24.98

	Story9
	PFEQ1X
	790
	Max Drift Y
	0.000138
	73.5
	6.45
	24.98

	Story9
	PFEQ1Y
	792
	Max Drift X
	0.000173
	45.3
	27.95
	24.98

	Story9
	PFEQ1Y
	790
	Max Drift Y
	0.000633
	73.5
	6.45
	24.98

	Story9
	PFEQ1XMIN
	786
	Max Drift X
	0.000495
	10
	0
	24.98

	Story9
	PFEQ1XMIN
	709
	Max Drift Y
	5.9E-05
	73.5
	22.05
	24.98

	Story9
	PFEQ1XMAX
	786
	Max Drift X
	0.000553
	10
	0
	24.98

	Story9
	PFEQ1XMAX
	790
	Max Drift Y
	0.000216
	73.5
	6.45
	24.98

	Story9
	PFEQ1YMIN
	792
	Max Drift X
	0.000235
	45.3
	27.95
	24.98

	Story9
	PFEQ1YMIN
	790
	Max Drift Y
	0.000773
	73.5
	6.45
	24.98

	Story9
	PFEQ1YMAX
	792
	Max Drift X
	0.000112
	45.3
	27.95
	24.98

	Story9
	PFEQ1YMAX
	790
	Max Drift Y
	0.000492
	73.5
	6.45
	24.98

	Story8
	OW
	712
	Max Drift X
	5.2E-05
	62.3
	27.95
	21.73

	Story8
	OW
	790
	Max Drift Y
	8.8E-05
	73.5
	6.45
	21.73

	Story8
	EQDL
	712
	Max Drift X
	4E-06
	62.3
	27.95
	21.73

	Story8
	EQDL
	790
	Max Drift Y
	7E-06
	73.5
	6.45
	21.73

	Story8
	LL
	712
	Max Drift X
	1.7E-05
	62.3
	27.95
	21.73

	Story8
	LL
	790
	Max Drift Y
	2.7E-05
	73.5
	6.45
	21.73

	Story8
	FACADE
	712
	Max Drift X
	5E-06
	62.3
	27.95
	21.73

	Story8
	FACADE
	790
	Max Drift Y
	8E-06
	73.5
	6.45
	21.73

	Story8
	EQX
	815
	Max Drift X
	0.000486
	18.3
	0
	21.73

	Story8
	EQX
	803
	Max Drift Y
	3E-05
	6.2
	1.8
	21.73

	Story8
	EQY
	815
	Max Drift X
	9.7E-05
	18.3
	0
	21.73

	Story8
	EQY
	790
	Max Drift Y
	0.00047
	73.5
	6.45
	21.73

	Story8
	EQXMIN
	712
	Max Drift X
	0.000497
	62.3
	27.95
	21.73

	Story8
	EQXMIN
	709
	Max Drift Y
	5.2E-05
	73.5
	22.05
	21.73

	Story8
	EQXMAX
	815
	Max Drift X
	0.000513
	18.3
	0
	21.73

	Story8
	EQXMAX
	818
	Max Drift Y
	9.9E-05
	6.2
	19.3
	21.73

	Story8
	EQYMIN
	712
	Max Drift X
	0.00015
	62.3
	27.95
	21.73

	Story8
	EQYMIN
	790
	Max Drift Y
	0.0006
	73.5
	6.45
	21.73

	Story8
	EQYMAX
	815
	Max Drift X
	4.6E-05
	18.3
	0
	21.73

	Story8
	EQYMAX
	790
	Max Drift Y
	0.00034
	73.5
	6.45
	21.73

	Story8
	WCX
	815
	Max Drift X
	0.0001
	18.3
	0
	21.73

	Story8
	WCX
	818
	Max Drift Y
	5E-06
	6.2
	19.3
	21.73

	Story8
	WCY
	815
	Max Drift X
	2.4E-05
	18.3
	0
	21.73

	Story8
	WCY
	790
	Max Drift Y
	0.000129
	73.5
	6.45
	21.73

	Story8
	WCXB1
	815
	Max Drift X
	8E-05
	18.3
	0
	21.73

	Story8
	WCXB1
	818
	Max Drift Y
	1.7E-05
	6.2
	19.3
	21.73

	Story8
	DELDL
	712
	Max Drift X
	1.2E-05
	62.3
	27.95
	21.73

	Story8
	DELDL
	790
	Max Drift Y
	1.9E-05
	73.5
	6.45
	21.73

	Story8
	WCXB2
	712
	Max Drift X
	7.9E-05
	62.3
	27.95
	21.73

	Story8
	WCXB2
	790
	Max Drift Y
	1.2E-05
	73.5
	6.45
	21.73

	Story8
	WCYB2
	712
	Max Drift X
	3.4E-05
	62.3
	27.95
	21.73

	Story8
	WCYB2
	790
	Max Drift Y
	0.000134
	73.5
	6.45
	21.73

	Story8
	WCYB1
	815
	Max Drift X
	3E-06
	18.3
	0
	21.73

	Story8
	WCYB1
	790
	Max Drift Y
	5.9E-05
	73.5
	6.45
	21.73

	Story8
	WCC
	815
	Max Drift X
	9.3E-05
	18.3
	0
	21.73

	Story8
	WCC
	790
	Max Drift Y
	9.9E-05
	73.5
	6.45
	21.73

	Story8
	WCD1
	815
	Max Drift X
	8.5E-05
	18.3
	0
	21.73

	Story8
	WCD1
	790
	Max Drift Y
	0.000113
	73.5
	6.45
	21.73

	Story8
	WCD2
	712
	Max Drift X
	5.8E-05
	62.3
	27.95
	21.73

	Story8
	WCD2
	818
	Max Drift Y
	4.4E-05
	6.2
	19.3
	21.73

	Story8
	PF1
	712
	Max Drift X
	9.6E-05
	62.3
	27.95
	21.73

	Story8
	PF1
	790
	Max Drift Y
	0.000161
	73.5
	6.45
	21.73

	Story8
	PF2
	712
	Max Drift X
	0.000106
	62.3
	27.95
	21.73

	Story8
	PF2
	790
	Max Drift Y
	0.000176
	73.5
	6.45
	21.73

	Story8
	PF4WX
	815
	Max Drift X
	0.000161
	18.3
	0
	21.73

	Story8
	PF4WX
	790
	Max Drift Y
	0.000147
	73.5
	6.45
	21.73

	Story8
	PF4WY
	712
	Max Drift X
	0.000118
	62.3
	27.95
	21.73

	Story8
	PF4WY
	790
	Max Drift Y
	0.000324
	73.5
	6.45
	21.73

	Story8
	PF4WXB1
	815
	Max Drift X
	0.000133
	18.3
	0
	21.73

	Story8
	PF4WXB1
	790
	Max Drift Y
	0.000166
	73.5
	6.45
	21.73

	Story8
	PF4WXB2
	815
	Max Drift X
	0.000119
	18.3
	0
	21.73

	Story8
	PF4WXB2
	790
	Max Drift Y
	0.000127
	73.5
	6.45
	21.73

	Story8
	PF4WYB1
	712
	Max Drift X
	8.8E-05
	62.3
	27.95
	21.73

	Story8
	PF4WYB1
	790
	Max Drift Y
	0.000226
	73.5
	6.45
	21.73

	Story8
	PF4WYB2
	712
	Max Drift X
	0.000133
	62.3
	27.95
	21.73

	Story8
	PF4WYB2
	790
	Max Drift Y
	0.000332
	73.5
	6.45
	21.73

	Story8
	PF4WCC
	815
	Max Drift X
	0.000151
	18.3
	0
	21.73

	Story8
	PF4WCC
	790
	Max Drift Y
	0.000282
	73.5
	6.45
	21.73

	Story8
	PF4WCD1
	815
	Max Drift X
	0.00014
	18.3
	0
	21.73

	Story8
	PF4WCD1
	790
	Max Drift Y
	0.000301
	73.5
	6.45
	21.73

	Story8
	PF4WCD2
	815
	Max Drift X
	9.7E-05
	18.3
	0
	21.73

	Story8
	PF4WCD2
	790
	Max Drift Y
	0.000193
	73.5
	6.45
	21.73

	Story8
	PF4BWCD2
	815
	Max Drift X
	9.1E-05
	18.3
	0
	21.73

	Story8
	PF4BWCD2
	790
	Max Drift Y
	0.000153
	73.5
	6.45
	21.73

	Story8
	PF4BWCX
	815
	Max Drift X
	0.000155
	18.3
	0
	21.73

	Story8
	PF4BWCX
	790
	Max Drift Y
	0.000107
	73.5
	6.45
	21.73

	Story8
	PF4BWCY
	712
	Max Drift X
	9.4E-05
	62.3
	27.95
	21.73

	Story8
	PF4BWCY
	790
	Max Drift Y
	0.000284
	73.5
	6.45
	21.73

	Story8
	PF4BWCXB1
	815
	Max Drift X
	0.000127
	18.3
	0
	21.73

	Story8
	PF4BWCXB1
	790
	Max Drift Y
	0.000125
	73.5
	6.45
	21.73

	Story8
	PF4BWCXB2
	815
	Max Drift X
	0.000113
	18.3
	0
	21.73

	Story8
	PF4BWCXB2
	790
	Max Drift Y
	8.7E-05
	73.5
	6.45
	21.73

	Story8
	PF4BWCYB1
	712
	Max Drift X
	6.4E-05
	62.3
	27.95
	21.73

	Story8
	PF4BWCYB1
	790
	Max Drift Y
	0.000186
	73.5
	6.45
	21.73

	Story8
	PF4BWCYB2
	712
	Max Drift X
	0.000109
	62.3
	27.95
	21.73

	Story8
	PF4BWCYB2
	790
	Max Drift Y
	0.000291
	73.5
	6.45
	21.73

	Story8
	PF4BWCC
	815
	Max Drift X
	0.000145
	18.3
	0
	21.73

	Story8
	PF4BWCC
	790
	Max Drift Y
	0.000242
	73.5
	6.45
	21.73

	Story8
	PF4BWCD1
	815
	Max Drift X
	0.000134
	18.3
	0
	21.73

	Story8
	PF4BWCD1
	790
	Max Drift Y
	0.000261
	73.5
	6.45
	21.73

	Story8
	PF4DWCX
	815
	Max Drift X
	0.000156
	18.3
	0
	21.73

	Story8
	PF4DWCX
	790
	Max Drift Y
	0.000118
	73.5
	6.45
	21.73

	Story8
	PF4DWCY
	712
	Max Drift X
	0.000101
	62.3
	27.95
	21.73

	Story8
	PF4DWCY
	790
	Max Drift Y
	0.000295
	73.5
	6.45
	21.73

	Story8
	PF4DWCXB1
	815
	Max Drift X
	0.000128
	18.3
	0
	21.73

	Story8
	PF4DWCXB1
	790
	Max Drift Y
	0.000136
	73.5
	6.45
	21.73

	Story8
	PF4DWCXB2
	815
	Max Drift X
	0.000114
	18.3
	0
	21.73

	Story8
	PF4DWCXB2
	790
	Max Drift Y
	9.8E-05
	73.5
	6.45
	21.73

	Story8
	PF4CYB1
	712
	Max Drift X
	7.1E-05
	62.3
	27.95
	21.73

	Story8
	PF4CYB1
	790
	Max Drift Y
	0.000197
	73.5
	6.45
	21.73

	Story8
	PF4CYB2
	712
	Max Drift X
	0.000116
	62.3
	27.95
	21.73

	Story8
	PF4CYB2
	790
	Max Drift Y
	0.000302
	73.5
	6.45
	21.73

	Story8
	PF4DWCC
	815
	Max Drift X
	0.000146
	18.3
	0
	21.73

	Story8
	PF4DWCC
	790
	Max Drift Y
	0.000253
	73.5
	6.45
	21.73

	Story8
	PF4DWCD1
	815
	Max Drift X
	0.000135
	18.3
	0
	21.73

	Story8
	PF4DWCD1
	790
	Max Drift Y
	0.000272
	73.5
	6.45
	21.73

	Story8
	PF4DWCD2
	815
	Max Drift X
	9.3E-05
	18.3
	0
	21.73

	Story8
	PF4DWCD2
	790
	Max Drift Y
	0.000164
	73.5
	6.45
	21.73

	Story8
	PF4CWCX
	815
	Max Drift X
	0.000162
	18.3
	0
	21.73

	Story8
	PF4CWCX
	790
	Max Drift Y
	0.000158
	73.5
	6.45
	21.73

	Story8
	PF4CWCY
	712
	Max Drift X
	0.000125
	62.3
	27.95
	21.73

	Story8
	PF4CWCY
	790
	Max Drift Y
	0.000335
	73.5
	6.45
	21.73

	Story8
	PF4CWCXB1
	815
	Max Drift X
	0.000134
	18.3
	0
	21.73

	Story8
	PF4CWCXB1
	790
	Max Drift Y
	0.000176
	73.5
	6.45
	21.73

	Story8
	PF4CWCXB2
	815
	Max Drift X
	0.00012
	18.3
	0
	21.73

	Story8
	PF4CWCXB2
	790
	Max Drift Y
	0.000138
	73.5
	6.45
	21.73

	Story8
	PF4CWCYB1
	712
	Max Drift X
	9.5E-05
	62.3
	27.95
	21.73

	Story8
	PF4CWCYB1
	790
	Max Drift Y
	0.000237
	73.5
	6.45
	21.73

	Story8
	PF4CWCYB2
	712
	Max Drift X
	0.00014
	62.3
	27.95
	21.73

	Story8
	PF4CWCYB2
	790
	Max Drift Y
	0.000342
	73.5
	6.45
	21.73

	Story8
	PF4CWCC
	815
	Max Drift X
	0.000152
	18.3
	0
	21.73

	Story8
	PF4CWCC
	790
	Max Drift Y
	0.000293
	73.5
	6.45
	21.73

	Story8
	PF4CWCD1
	815
	Max Drift X
	0.000141
	18.3
	0
	21.73

	Story8
	PF4CWCD1
	790
	Max Drift Y
	0.000312
	73.5
	6.45
	21.73

	Story8
	PF4CWCD2
	815
	Max Drift X
	9.9E-05
	18.3
	0
	21.73

	Story8
	PF4CWCD2
	790
	Max Drift Y
	0.000204
	73.5
	6.45
	21.73

	Story8
	PFEQ2X
	815
	Max Drift X
	0.000504
	18.3
	0
	21.73

	Story8
	PFEQ2X
	790
	Max Drift Y
	0.000144
	73.5
	6.45
	21.73

	Story8
	PFEQ2Y
	712
	Max Drift X
	0.000169
	62.3
	27.95
	21.73

	Story8
	PFEQ2Y
	790
	Max Drift Y
	0.000596
	73.5
	6.45
	21.73

	Story8
	PFEQ2XMIN
	815
	Max Drift X
	0.000478
	18.3
	0
	21.73

	Story8
	PFEQ2XMIN
	790
	Max Drift Y
	7.4E-05
	73.5
	6.45
	21.73

	Story8
	PFEQ2XMAX
	815
	Max Drift X
	0.000531
	18.3
	0
	21.73

	Story8
	PFEQ2XMAX
	790
	Max Drift Y
	0.000215
	73.5
	6.45
	21.73

	Story8
	PFEQ2YMIN
	712
	Max Drift X
	0.000225
	62.3
	27.95
	21.73

	Story8
	PFEQ2YMIN
	790
	Max Drift Y
	0.000726
	73.5
	6.45
	21.73

	Story8
	PFEQ2YMAX
	712
	Max Drift X
	0.000113
	62.3
	27.95
	21.73

	Story8
	PFEQ2YMAX
	790
	Max Drift Y
	0.000466
	73.5
	6.45
	21.73

	Story8
	PFEQ1X
	815
	Max Drift X
	0.000503
	18.3
	0
	21.73

	Story8
	PFEQ1X
	790
	Max Drift Y
	0.000133
	73.5
	6.45
	21.73

	Story8
	PFEQ1Y
	712
	Max Drift X
	0.000162
	62.3
	27.95
	21.73

	Story8
	PFEQ1Y
	790
	Max Drift Y
	0.000585
	73.5
	6.45
	21.73

	Story8
	PFEQ1XMIN
	815
	Max Drift X
	0.000476
	18.3
	0
	21.73

	Story8
	PFEQ1XMIN
	790
	Max Drift Y
	6.3E-05
	73.5
	6.45
	21.73

	Story8
	PFEQ1XMAX
	815
	Max Drift X
	0.000529
	18.3
	0
	21.73

	Story8
	PFEQ1XMAX
	790
	Max Drift Y
	0.000204
	73.5
	6.45
	21.73

	Story8
	PFEQ1YMIN
	712
	Max Drift X
	0.000218
	62.3
	27.95
	21.73

	Story8
	PFEQ1YMIN
	790
	Max Drift Y
	0.000715
	73.5
	6.45
	21.73

	Story8
	PFEQ1YMAX
	712
	Max Drift X
	0.000106
	62.3
	27.95
	21.73

	Story8
	PFEQ1YMAX
	790
	Max Drift Y
	0.000455
	73.5
	6.45
	21.73

	Story7
	OW
	712
	Max Drift X
	5E-05
	62.3
	27.95
	18.78

	Story7
	OW
	847
	Max Drift Y
	8.8E-05
	75.2
	20.5
	18.78

	Story7
	EQDL
	712
	Max Drift X
	4E-06
	62.3
	27.95
	18.78

	Story7
	EQDL
	847
	Max Drift Y
	7E-06
	75.2
	20.5
	18.78

	Story7
	LL
	712
	Max Drift X
	1.6E-05
	62.3
	27.95
	18.78

	Story7
	LL
	847
	Max Drift Y
	2.7E-05
	75.2
	20.5
	18.78

	Story7
	FACADE
	712
	Max Drift X
	5E-06
	62.3
	27.95
	18.78

	Story7
	FACADE
	847
	Max Drift Y
	9E-06
	75.2
	20.5
	18.78

	Story7
	EQX
	848
	Max Drift X
	0.000441
	13.35
	0
	18.78

	Story7
	EQX
	801
	Max Drift Y
	2.8E-05
	6.2
	5.35
	18.78

	Story7
	EQY
	848
	Max Drift X
	8.1E-05
	13.35
	0
	18.78

	Story7
	EQY
	847
	Max Drift Y
	0.000418
	75.2
	20.5
	18.78

	Story7
	EQXMIN
	712
	Max Drift X
	0.000449
	62.3
	27.95
	18.78

	Story7
	EQXMIN
	846
	Max Drift Y
	4.4E-05
	75.2
	17.5
	18.78

	Story7
	EQXMAX
	848
	Max Drift X
	0.000465
	13.35
	0
	18.78

	Story7
	EQXMAX
	801
	Max Drift Y
	9E-05
	6.2
	5.35
	18.78

	Story7
	EQYMIN
	848
	Max Drift X
	0.000128
	13.35
	0
	18.78

	Story7
	EQYMIN
	847
	Max Drift Y
	0.000539
	75.2
	20.5
	18.78

	Story7
	EQYMAX
	848
	Max Drift X
	3.4E-05
	13.35
	0
	18.78

	Story7
	EQYMAX
	847
	Max Drift Y
	0.000296
	75.2
	20.5
	18.78

	Story7
	WCX
	848
	Max Drift X
	9E-05
	13.35
	0
	18.78

	Story7
	WCX
	801
	Max Drift Y
	5E-06
	6.2
	5.35
	18.78

	Story7
	WCY
	848
	Max Drift X
	2E-05
	13.35
	0
	18.78

	Story7
	WCY
	847
	Max Drift Y
	0.000115
	75.2
	20.5
	18.78

	Story7
	WCXB1
	848
	Max Drift X
	7.2E-05
	13.35
	0
	18.78

	Story7
	WCXB1
	801
	Max Drift Y
	1.5E-05
	6.2
	5.35
	18.78

	Story7
	DELDL
	423
	Max Drift X
	1.1E-05
	46.9
	27.95
	18.78

	Story7
	DELDL
	847
	Max Drift Y
	1.8E-05
	75.2
	20.5
	18.78

	Story7
	WCXB2
	712
	Max Drift X
	7E-05
	62.3
	27.95
	18.78

	Story7
	WCXB2
	847
	Max Drift Y
	1E-05
	75.2
	20.5
	18.78

	Story7
	WCYB2
	848
	Max Drift X
	2.9E-05
	13.35
	0
	18.78

	Story7
	WCYB2
	847
	Max Drift Y
	0.000123
	75.2
	20.5
	18.78

	Story7
	WCYB1
	712
	Max Drift X
	1E-06
	62.3
	27.95
	18.78

	Story7
	WCYB1
	801
	Max Drift Y
	5.1E-05
	6.2
	5.35
	18.78

	Story7
	WCC
	848
	Max Drift X
	8.2E-05
	13.35
	0
	18.78

	Story7
	WCC
	847
	Max Drift Y
	8.9E-05
	75.2
	20.5
	18.78

	Story7
	WCD1
	848
	Max Drift X
	7.6E-05
	13.35
	0
	18.78

	Story7
	WCD1
	847
	Max Drift Y
	0.000103
	75.2
	20.5
	18.78

	Story7
	WCD2
	712
	Max Drift X
	5.3E-05
	62.3
	27.95
	18.78

	Story7
	WCD2
	801
	Max Drift Y
	4.5E-05
	6.2
	5.35
	18.78

	Story7
	PF1
	712
	Max Drift X
	9.1E-05
	62.3
	27.95
	18.78

	Story7
	PF1
	847
	Max Drift Y
	0.000161
	75.2
	20.5
	18.78

	Story7
	PF2
	423
	Max Drift X
	0.0001
	46.9
	27.95
	18.78

	Story7
	PF2
	847
	Max Drift Y
	0.000176
	75.2
	20.5
	18.78

	Story7
	PF4WX
	848
	Max Drift X
	0.000147
	13.35
	0
	18.78

	Story7
	PF4WX
	847
	Max Drift Y
	0.000148
	75.2
	20.5
	18.78

	Story7
	PF4WY
	423
	Max Drift X
	0.000107
	46.9
	27.95
	18.78

	Story7
	PF4WY
	847
	Max Drift Y
	0.000305
	75.2
	20.5
	18.78

	Story7
	PF4WXB1
	848
	Max Drift X
	0.000122
	13.35
	0
	18.78

	Story7
	PF4WXB1
	847
	Max Drift Y
	0.000164
	75.2
	20.5
	18.78

	Story7
	PF4WXB2
	848
	Max Drift X
	0.00011
	13.35
	0
	18.78

	Story7
	PF4WXB2
	847
	Max Drift Y
	0.000129
	75.2
	20.5
	18.78

	Story7
	PF4WYB1
	423
	Max Drift X
	8E-05
	46.9
	27.95
	18.78

	Story7
	PF4WYB1
	847
	Max Drift Y
	0.000214
	75.2
	20.5
	18.78

	Story7
	PF4WYB2
	423
	Max Drift X
	0.000121
	46.9
	27.95
	18.78

	Story7
	PF4WYB2
	847
	Max Drift Y
	0.000315
	75.2
	20.5
	18.78

	Story7
	PF4WCC
	848
	Max Drift X
	0.000137
	13.35
	0
	18.78

	Story7
	PF4WCC
	847
	Max Drift Y
	0.000268
	75.2
	20.5
	18.78

	Story7
	PF4WCD1
	848
	Max Drift X
	0.000127
	13.35
	0
	18.78

	Story7
	PF4WCD1
	847
	Max Drift Y
	0.000288
	75.2
	20.5
	18.78

	Story7
	PF4WCD2
	848
	Max Drift X
	8.8E-05
	13.35
	0
	18.78

	Story7
	PF4WCD2
	847
	Max Drift Y
	0.000186
	75.2
	20.5
	18.78

	Story7
	PF4BWCD2
	848
	Max Drift X
	8.2E-05
	13.35
	0
	18.78

	Story7
	PF4BWCD2
	847
	Max Drift Y
	0.000146
	75.2
	20.5
	18.78

	Story7
	PF4BWCX
	848
	Max Drift X
	0.000141
	13.35
	0
	18.78

	Story7
	PF4BWCX
	847
	Max Drift Y
	0.000108
	75.2
	20.5
	18.78

	Story7
	PF4BWCY
	423
	Max Drift X
	8.4E-05
	46.9
	27.95
	18.78

	Story7
	PF4BWCY
	847
	Max Drift Y
	0.000265
	75.2
	20.5
	18.78

	Story7
	PF4BWCXB1
	848
	Max Drift X
	0.000116
	13.35
	0
	18.78

	Story7
	PF4BWCXB1
	847
	Max Drift Y
	0.000124
	75.2
	20.5
	18.78

	Story7
	PF4BWCXB2
	848
	Max Drift X
	0.000104
	13.35
	0
	18.78

	Story7
	PF4BWCXB2
	847
	Max Drift Y
	8.9E-05
	75.2
	20.5
	18.78

	Story7
	PF4BWCYB1
	423
	Max Drift X
	5.8E-05
	46.9
	27.95
	18.78

	Story7
	PF4BWCYB1
	847
	Max Drift Y
	0.000174
	75.2
	20.5
	18.78

	Story7
	PF4BWCYB2
	423
	Max Drift X
	9.8E-05
	46.9
	27.95
	18.78

	Story7
	PF4BWCYB2
	847
	Max Drift Y
	0.000275
	75.2
	20.5
	18.78

	Story7
	PF4BWCC
	848
	Max Drift X
	0.000131
	13.35
	0
	18.78

	Story7
	PF4BWCC
	847
	Max Drift Y
	0.000228
	75.2
	20.5
	18.78

	Story7
	PF4BWCD1
	848
	Max Drift X
	0.000121
	13.35
	0
	18.78

	Story7
	PF4BWCD1
	847
	Max Drift Y
	0.000248
	75.2
	20.5
	18.78

	Story7
	PF4DWCX
	848
	Max Drift X
	0.000143
	13.35
	0
	18.78

	Story7
	PF4DWCX
	847
	Max Drift Y
	0.000119
	75.2
	20.5
	18.78

	Story7
	PF4DWCY
	423
	Max Drift X
	9.1E-05
	46.9
	27.95
	18.78

	Story7
	PF4DWCY
	847
	Max Drift Y
	0.000276
	75.2
	20.5
	18.78

	Story7
	PF4DWCXB1
	848
	Max Drift X
	0.000118
	13.35
	0
	18.78

	Story7
	PF4DWCXB1
	847
	Max Drift Y
	0.000135
	75.2
	20.5
	18.78

	Story7
	PF4DWCXB2
	848
	Max Drift X
	0.000105
	13.35
	0
	18.78

	Story7
	PF4DWCXB2
	847
	Max Drift Y
	0.0001
	75.2
	20.5
	18.78

	Story7
	PF4CYB1
	712
	Max Drift X
	6.4E-05
	62.3
	27.95
	18.78

	Story7
	PF4CYB1
	847
	Max Drift Y
	0.000185
	75.2
	20.5
	18.78

	Story7
	PF4CYB2
	423
	Max Drift X
	0.000105
	46.9
	27.95
	18.78

	Story7
	PF4CYB2
	847
	Max Drift Y
	0.000286
	75.2
	20.5
	18.78

	Story7
	PF4DWCC
	848
	Max Drift X
	0.000132
	13.35
	0
	18.78

	Story7
	PF4DWCC
	847
	Max Drift Y
	0.000239
	75.2
	20.5
	18.78

	Story7
	PF4DWCD1
	848
	Max Drift X
	0.000123
	13.35
	0
	18.78

	Story7
	PF4DWCD1
	847
	Max Drift Y
	0.000258
	75.2
	20.5
	18.78

	Story7
	PF4DWCD2
	848
	Max Drift X
	8.4E-05
	13.35
	0
	18.78

	Story7
	PF4DWCD2
	847
	Max Drift Y
	0.000157
	75.2
	20.5
	18.78

	Story7
	PF4CWCX
	848
	Max Drift X
	0.000149
	13.35
	0
	18.78

	Story7
	PF4CWCX
	847
	Max Drift Y
	0.000159
	75.2
	20.5
	18.78

	Story7
	PF4CWCY
	423
	Max Drift X
	0.000114
	46.9
	27.95
	18.78

	Story7
	PF4CWCY
	847
	Max Drift Y
	0.000316
	75.2
	20.5
	18.78

	Story7
	PF4CWCXB1
	848
	Max Drift X
	0.000124
	13.35
	0
	18.78

	Story7
	PF4CWCXB1
	847
	Max Drift Y
	0.000175
	75.2
	20.5
	18.78

	Story7
	PF4CWCXB2
	848
	Max Drift X
	0.000111
	13.35
	0
	18.78

	Story7
	PF4CWCXB2
	847
	Max Drift Y
	0.00014
	75.2
	20.5
	18.78

	Story7
	PF4CWCYB1
	712
	Max Drift X
	8.7E-05
	62.3
	27.95
	18.78

	Story7
	PF4CWCYB1
	847
	Max Drift Y
	0.000225
	75.2
	20.5
	18.78

	Story7
	PF4CWCYB2
	423
	Max Drift X
	0.000128
	46.9
	27.95
	18.78

	Story7
	PF4CWCYB2
	847
	Max Drift Y
	0.000326
	75.2
	20.5
	18.78

	Story7
	PF4CWCC
	848
	Max Drift X
	0.000138
	13.35
	0
	18.78

	Story7
	PF4CWCC
	847
	Max Drift Y
	0.000279
	75.2
	20.5
	18.78

	Story7
	PF4CWCD1
	848
	Max Drift X
	0.000129
	13.35
	0
	18.78

	Story7
	PF4CWCD1
	847
	Max Drift Y
	0.000298
	75.2
	20.5
	18.78

	Story7
	PF4CWCD2
	848
	Max Drift X
	9E-05
	13.35
	0
	18.78

	Story7
	PF4CWCD2
	847
	Max Drift Y
	0.000197
	75.2
	20.5
	18.78

	Story7
	PFEQ2X
	848
	Max Drift X
	0.00046
	13.35
	0
	18.78

	Story7
	PFEQ2X
	847
	Max Drift Y
	0.000146
	75.2
	20.5
	18.78

	Story7
	PFEQ2Y
	423
	Max Drift X
	0.000146
	46.9
	27.95
	18.78

	Story7
	PFEQ2Y
	847
	Max Drift Y
	0.000543
	75.2
	20.5
	18.78

	Story7
	PFEQ2XMIN
	848
	Max Drift X
	0.000436
	13.35
	0
	18.78

	Story7
	PFEQ2XMIN
	847
	Max Drift Y
	8.2E-05
	75.2
	20.5
	18.78

	Story7
	PFEQ2XMAX
	848
	Max Drift X
	0.000484
	13.35
	0
	18.78

	Story7
	PFEQ2XMAX
	847
	Max Drift Y
	0.000211
	75.2
	20.5
	18.78

	Story7
	PFEQ2YMIN
	712
	Max Drift X
	0.000196
	62.3
	27.95
	18.78

	Story7
	PFEQ2YMIN
	847
	Max Drift Y
	0.000665
	75.2
	20.5
	18.78

	Story7
	PFEQ2YMAX
	423
	Max Drift X
	9.6E-05
	46.9
	27.95
	18.78

	Story7
	PFEQ2YMAX
	847
	Max Drift Y
	0.000422
	75.2
	20.5
	18.78

	Story7
	PFEQ1X
	848
	Max Drift X
	0.000458
	13.35
	0
	18.78

	Story7
	PFEQ1X
	847
	Max Drift Y
	0.000136
	75.2
	20.5
	18.78

	Story7
	PFEQ1Y
	423
	Max Drift X
	0.00014
	46.9
	27.95
	18.78

	Story7
	PFEQ1Y
	847
	Max Drift Y
	0.000532
	75.2
	20.5
	18.78

	Story7
	PFEQ1XMIN
	848
	Max Drift X
	0.000435
	13.35
	0
	18.78

	Story7
	PFEQ1XMIN
	847
	Max Drift Y
	7.1E-05
	75.2
	20.5
	18.78

	Story7
	PFEQ1XMAX
	848
	Max Drift X
	0.000482
	13.35
	0
	18.78

	Story7
	PFEQ1XMAX
	847
	Max Drift Y
	0.0002
	75.2
	20.5
	18.78

	Story7
	PFEQ1YMIN
	423
	Max Drift X
	0.00019
	46.9
	27.95
	18.78

	Story7
	PFEQ1YMIN
	847
	Max Drift Y
	0.000654
	75.2
	20.5
	18.78

	Story7
	PFEQ1YMAX
	712
	Max Drift X
	9E-05
	62.3
	27.95
	18.78

	Story7
	PFEQ1YMAX
	847
	Max Drift Y
	0.000411
	75.2
	20.5
	18.78

	Story6
	OW
	815
	Max Drift X
	2.4E-05
	18.3
	0
	15.83

	Story6
	OW
	899
	Max Drift Y
	7.7E-05
	83.6
	16.6
	15.83

	Story6
	EQDL
	423
	Max Drift X
	2E-06
	46.9
	27.95
	15.83

	Story6
	EQDL
	899
	Max Drift Y
	6E-06
	83.6
	16.6
	15.83

	Story6
	LL
	423
	Max Drift X
	7E-06
	46.9
	27.95
	15.83

	Story6
	LL
	899
	Max Drift Y
	2.3E-05
	83.6
	16.6
	15.83

	Story6
	FACADE
	423
	Max Drift X
	2E-06
	46.9
	27.95
	15.83

	Story6
	FACADE
	899
	Max Drift Y
	9E-06
	83.6
	16.6
	15.83

	Story6
	EQX
	815
	Max Drift X
	0.000397
	18.3
	0
	15.83

	Story6
	EQX
	899
	Max Drift Y
	2.8E-05
	83.6
	16.6
	15.83

	Story6
	EQY
	815
	Max Drift X
	3.5E-05
	18.3
	0
	15.83

	Story6
	EQY
	899
	Max Drift Y
	0.000263
	83.6
	16.6
	15.83

	Story6
	EQXMIN
	909
	Max Drift X
	0.000396
	64.35
	27.95
	15.83

	Story6
	EQXMIN
	907
	Max Drift Y
	2E-05
	4.5
	13.95
	15.83

	Story6
	EQXMAX
	815
	Max Drift X
	0.000412
	18.3
	0
	15.83

	Story6
	EQXMAX
	899
	Max Drift Y
	7.6E-05
	83.6
	16.6
	15.83

	Story6
	EQYMIN
	815
	Max Drift X
	6.6E-05
	18.3
	0
	15.83

	Story6
	EQYMIN
	899
	Max Drift Y
	0.000357
	83.6
	16.6
	15.83

	Story6
	EQYMAX
	909
	Max Drift X
	1E-05
	64.35
	27.95
	15.83

	Story6
	EQYMAX
	907
	Max Drift Y
	0.000185
	4.5
	13.95
	15.83

	Story6
	WCX
	815
	Max Drift X
	8E-05
	18.3
	0
	15.83

	Story6
	WCX
	899
	Max Drift Y
	5E-06
	83.6
	16.6
	15.83

	Story6
	WCY
	815
	Max Drift X
	8E-06
	18.3
	0
	15.83

	Story6
	WCY
	899
	Max Drift Y
	7.3E-05
	83.6
	16.6
	15.83

	Story6
	WCXB1
	815
	Max Drift X
	6.3E-05
	18.3
	0
	15.83

	Story6
	WCXB1
	899
	Max Drift Y
	1.3E-05
	83.6
	16.6
	15.83

	Story6
	DELDL
	909
	Max Drift X
	5E-06
	64.35
	27.95
	15.83

	Story6
	DELDL
	899
	Max Drift Y
	1.6E-05
	83.6
	16.6
	15.83

	Story6
	WCXB2
	909
	Max Drift X
	6.1E-05
	64.35
	27.95
	15.83

	Story6
	WCXB2
	899
	Max Drift Y
	6E-06
	83.6
	16.6
	15.83

	Story6
	WCYB2
	815
	Max Drift X
	1.6E-05
	18.3
	0
	15.83

	Story6
	WCYB2
	899
	Max Drift Y
	8.4E-05
	83.6
	16.6
	15.83

	Story6
	WCYB1
	909
	Max Drift X
	7E-06
	64.35
	27.95
	15.83

	Story6
	WCYB1
	907
	Max Drift Y
	5.7E-05
	4.5
	13.95
	15.83

	Story6
	WCC
	815
	Max Drift X
	6.6E-05
	18.3
	0
	15.83

	Story6
	WCC
	899
	Max Drift Y
	5.9E-05
	83.6
	16.6
	15.83

	Story6
	WCD1
	815
	Max Drift X
	5.9E-05
	18.3
	0
	15.83

	Story6
	WCD1
	899
	Max Drift Y
	7.3E-05
	83.6
	16.6
	15.83

	Story6
	WCD2
	909
	Max Drift X
	5.1E-05
	64.35
	27.95
	15.83

	Story6
	WCD2
	907
	Max Drift Y
	4.6E-05
	4.5
	13.95
	15.83

	Story6
	PF1
	815
	Max Drift X
	4.3E-05
	18.3
	0
	15.83

	Story6
	PF1
	899
	Max Drift Y
	0.000143
	83.6
	16.6
	15.83

	Story6
	PF2
	423
	Max Drift X
	4.7E-05
	46.9
	27.95
	15.83

	Story6
	PF2
	899
	Max Drift Y
	0.000155
	83.6
	16.6
	15.83

	Story6
	PF4WX
	815
	Max Drift X
	0.000151
	18.3
	0
	15.83

	Story6
	PF4WX
	899
	Max Drift Y
	0.000134
	83.6
	16.6
	15.83

	Story6
	PF4WY
	815
	Max Drift X
	4.9E-05
	18.3
	0
	15.83

	Story6
	PF4WY
	899
	Max Drift Y
	0.00023
	83.6
	16.6
	15.83

	Story6
	PF4WXB1
	815
	Max Drift X
	0.000127
	18.3
	0
	15.83

	Story6
	PF4WXB1
	899
	Max Drift Y
	0.000145
	83.6
	16.6
	15.83

	Story6
	PF4WXB2
	815
	Max Drift X
	0.000119
	18.3
	0
	15.83

	Story6
	PF4WXB2
	899
	Max Drift Y
	0.00012
	83.6
	16.6
	15.83

	Story6
	PF4WYB1
	815
	Max Drift X
	3.3E-05
	18.3
	0
	15.83

	Story6
	PF4WYB1
	899
	Max Drift Y
	0.000163
	83.6
	16.6
	15.83

	Story6
	PF4WYB2
	815
	Max Drift X
	6.1E-05
	18.3
	0
	15.83

	Story6
	PF4WYB2
	899
	Max Drift Y
	0.000246
	83.6
	16.6
	15.83

	Story6
	PF4WCC
	815
	Max Drift X
	0.000131
	18.3
	0
	15.83

	Story6
	PF4WCC
	899
	Max Drift Y
	0.00021
	83.6
	16.6
	15.83

	Story6
	PF4WCD1
	815
	Max Drift X
	0.000121
	18.3
	0
	15.83

	Story6
	PF4WCD1
	899
	Max Drift Y
	0.00023
	83.6
	16.6
	15.83

	Story6
	PF4WCD2
	815
	Max Drift X
	9.5E-05
	18.3
	0
	15.83

	Story6
	PF4WCD2
	899
	Max Drift Y
	0.000148
	83.6
	16.6
	15.83

	Story6
	PF4BWCD2
	815
	Max Drift X
	8.4E-05
	18.3
	0
	15.83

	Story6
	PF4BWCD2
	899
	Max Drift Y
	0.000113
	83.6
	16.6
	15.83

	Story6
	PF4BWCX
	815
	Max Drift X
	0.00014
	18.3
	0
	15.83

	Story6
	PF4BWCX
	899
	Max Drift Y
	9.9E-05
	83.6
	16.6
	15.83

	Story6
	PF4BWCY
	815
	Max Drift X
	3.9E-05
	18.3
	0
	15.83

	Story6
	PF4BWCY
	899
	Max Drift Y
	0.000194
	83.6
	16.6
	15.83

	Story6
	PF4BWCXB1
	815
	Max Drift X
	0.000116
	18.3
	0
	15.83

	Story6
	PF4BWCXB1
	899
	Max Drift Y
	0.00011
	83.6
	16.6
	15.83

	Story6
	PF4BWCXB2
	815
	Max Drift X
	0.000108
	18.3
	0
	15.83

	Story6
	PF4BWCXB2
	899
	Max Drift Y
	8.4E-05
	83.6
	16.6
	15.83

	Story6
	PF4BWCYB1
	815
	Max Drift X
	2.2E-05
	18.3
	0
	15.83

	Story6
	PF4BWCYB1
	899
	Max Drift Y
	0.000127
	83.6
	16.6
	15.83

	Story6
	PF4BWCYB2
	815
	Max Drift X
	5E-05
	18.3
	0
	15.83

	Story6
	PF4BWCYB2
	899
	Max Drift Y
	0.00021
	83.6
	16.6
	15.83

	Story6
	PF4BWCC
	815
	Max Drift X
	0.00012
	18.3
	0
	15.83

	Story6
	PF4BWCC
	899
	Max Drift Y
	0.000174
	83.6
	16.6
	15.83

	Story6
	PF4BWCD1
	815
	Max Drift X
	0.000111
	18.3
	0
	15.83

	Story6
	PF4BWCD1
	899
	Max Drift Y
	0.000194
	83.6
	16.6
	15.83

	Story6
	PF4DWCX
	815
	Max Drift X
	0.000143
	18.3
	0
	15.83

	Story6
	PF4DWCX
	899
	Max Drift Y
	0.000108
	83.6
	16.6
	15.83

	Story6
	PF4DWCY
	815
	Max Drift X
	4.2E-05
	18.3
	0
	15.83

	Story6
	PF4DWCY
	899
	Max Drift Y
	0.000204
	83.6
	16.6
	15.83

	Story6
	PF4DWCXB1
	815
	Max Drift X
	0.000119
	18.3
	0
	15.83

	Story6
	PF4DWCXB1
	899
	Max Drift Y
	0.000119
	83.6
	16.6
	15.83

	Story6
	PF4DWCXB2
	815
	Max Drift X
	0.000111
	18.3
	0
	15.83

	Story6
	PF4DWCXB2
	899
	Max Drift Y
	9.3E-05
	83.6
	16.6
	15.83

	Story6
	PF4CYB1
	815
	Max Drift X
	2.5E-05
	18.3
	0
	15.83

	Story6
	PF4CYB1
	899
	Max Drift Y
	0.000137
	83.6
	16.6
	15.83

	Story6
	PF4CYB2
	815
	Max Drift X
	5.3E-05
	18.3
	0
	15.83

	Story6
	PF4CYB2
	899
	Max Drift Y
	0.000219
	83.6
	16.6
	15.83

	Story6
	PF4DWCC
	815
	Max Drift X
	0.000123
	18.3
	0
	15.83

	Story6
	PF4DWCC
	899
	Max Drift Y
	0.000183
	83.6
	16.6
	15.83

	Story6
	PF4DWCD1
	815
	Max Drift X
	0.000114
	18.3
	0
	15.83

	Story6
	PF4DWCD1
	899
	Max Drift Y
	0.000203
	83.6
	16.6
	15.83

	Story6
	PF4DWCD2
	815
	Max Drift X
	8.7E-05
	18.3
	0
	15.83

	Story6
	PF4DWCD2
	899
	Max Drift Y
	0.000122
	83.6
	16.6
	15.83

	Story6
	PF4CWCX
	815
	Max Drift X
	0.000154
	18.3
	0
	15.83

	Story6
	PF4CWCX
	899
	Max Drift Y
	0.000144
	83.6
	16.6
	15.83

	Story6
	PF4CWCY
	815
	Max Drift X
	5.2E-05
	18.3
	0
	15.83

	Story6
	PF4CWCY
	899
	Max Drift Y
	0.000239
	83.6
	16.6
	15.83

	Story6
	PF4CWCXB1
	815
	Max Drift X
	0.00013
	18.3
	0
	15.83

	Story6
	PF4CWCXB1
	899
	Max Drift Y
	0.000155
	83.6
	16.6
	15.83

	Story6
	PF4CWCXB2
	815
	Max Drift X
	0.000122
	18.3
	0
	15.83

	Story6
	PF4CWCXB2
	899
	Max Drift Y
	0.000129
	83.6
	16.6
	15.83

	Story6
	PF4CWCYB1
	815
	Max Drift X
	3.6E-05
	18.3
	0
	15.83

	Story6
	PF4CWCYB1
	899
	Max Drift Y
	0.000172
	83.6
	16.6
	15.83

	Story6
	PF4CWCYB2
	815
	Max Drift X
	6.4E-05
	18.3
	0
	15.83

	Story6
	PF4CWCYB2
	899
	Max Drift Y
	0.000255
	83.6
	16.6
	15.83

	Story6
	PF4CWCC
	815
	Max Drift X
	0.000134
	18.3
	0
	15.83

	Story6
	PF4CWCC
	899
	Max Drift Y
	0.000219
	83.6
	16.6
	15.83

	Story6
	PF4CWCD1
	815
	Max Drift X
	0.000124
	18.3
	0
	15.83

	Story6
	PF4CWCD1
	899
	Max Drift Y
	0.000239
	83.6
	16.6
	15.83

	Story6
	PF4CWCD2
	815
	Max Drift X
	9.8E-05
	18.3
	0
	15.83

	Story6
	PF4CWCD2
	899
	Max Drift Y
	0.000158
	83.6
	16.6
	15.83

	Story6
	PFEQ2X
	815
	Max Drift X
	0.000431
	18.3
	0
	15.83

	Story6
	PFEQ2X
	899
	Max Drift Y
	0.000139
	83.6
	16.6
	15.83

	Story6
	PFEQ2Y
	815
	Max Drift X
	6.9E-05
	18.3
	0
	15.83

	Story6
	PFEQ2Y
	899
	Max Drift Y
	0.000374
	83.6
	16.6
	15.83

	Story6
	PFEQ2XMIN
	815
	Max Drift X
	0.000416
	18.3
	0
	15.83

	Story6
	PFEQ2XMIN
	899
	Max Drift Y
	9.1E-05
	83.6
	16.6
	15.83

	Story6
	PFEQ2XMAX
	815
	Max Drift X
	0.000446
	18.3
	0
	15.83

	Story6
	PFEQ2XMAX
	899
	Max Drift Y
	0.000187
	83.6
	16.6
	15.83

	Story6
	PFEQ2YMIN
	815
	Max Drift X
	0.0001
	18.3
	0
	15.83

	Story6
	PFEQ2YMIN
	899
	Max Drift Y
	0.000469
	83.6
	16.6
	15.83

	Story6
	PFEQ2YMAX
	815
	Max Drift X
	3.8E-05
	18.3
	0
	15.83

	Story6
	PFEQ2YMAX
	899
	Max Drift Y
	0.000279
	83.6
	16.6
	15.83

	Story6
	PFEQ1X
	815
	Max Drift X
	0.000428
	18.3
	0
	15.83

	Story6
	PFEQ1X
	899
	Max Drift Y
	0.00013
	83.6
	16.6
	15.83

	Story6
	PFEQ1Y
	815
	Max Drift X
	6.6E-05
	18.3
	0
	15.83

	Story6
	PFEQ1Y
	899
	Max Drift Y
	0.000365
	83.6
	16.6
	15.83

	Story6
	PFEQ1XMIN
	815
	Max Drift X
	0.000413
	18.3
	0
	15.83

	Story6
	PFEQ1XMIN
	899
	Max Drift Y
	8.2E-05
	83.6
	16.6
	15.83

	Story6
	PFEQ1XMAX
	815
	Max Drift X
	0.000443
	18.3
	0
	15.83

	Story6
	PFEQ1XMAX
	899
	Max Drift Y
	0.000178
	83.6
	16.6
	15.83

	Story6
	PFEQ1YMIN
	815
	Max Drift X
	9.7E-05
	18.3
	0
	15.83

	Story6
	PFEQ1YMIN
	899
	Max Drift Y
	0.000459
	83.6
	16.6
	15.83

	Story6
	PFEQ1YMAX
	815
	Max Drift X
	3.5E-05
	18.3
	0
	15.83

	Story6
	PFEQ1YMAX
	899
	Max Drift Y
	0.00027
	83.6
	16.6
	15.83

	Story5
	OW
	938
	Max Drift X
	2.9E-05
	4.5
	0
	12.78

	Story5
	OW
	955
	Max Drift Y
	7.4E-05
	83.6
	13.95
	12.78

	Story5
	EQDL
	938
	Max Drift X
	2E-06
	4.5
	0
	12.78

	Story5
	EQDL
	955
	Max Drift Y
	6E-06
	83.6
	13.95
	12.78

	Story5
	LL
	938
	Max Drift X
	9E-06
	4.5
	0
	12.78

	Story5
	LL
	955
	Max Drift Y
	2.2E-05
	83.6
	13.95
	12.78

	Story5
	FACADE
	938
	Max Drift X
	3E-06
	4.5
	0
	12.78

	Story5
	FACADE
	955
	Max Drift Y
	9E-06
	83.6
	13.95
	12.78

	Story5
	EQX
	938
	Max Drift X
	0.000363
	4.5
	0
	12.78

	Story5
	EQX
	955
	Max Drift Y
	2.1E-05
	83.6
	13.95
	12.78

	Story5
	EQY
	938
	Max Drift X
	3.2E-05
	4.5
	0
	12.78

	Story5
	EQY
	955
	Max Drift Y
	0.00024
	83.6
	13.95
	12.78

	Story5
	EQXMIN
	929
	Max Drift X
	0.000364
	82.05
	27.95
	12.78

	Story5
	EQXMIN
	969
	Max Drift Y
	2.1E-05
	0
	16.6
	12.78

	Story5
	EQXMAX
	938
	Max Drift X
	0.000376
	4.5
	0
	12.78

	Story5
	EQXMAX
	953
	Max Drift Y
	6.1E-05
	83.6
	24.05
	12.78

	Story5
	EQYMIN
	938
	Max Drift X
	5.8E-05
	4.5
	0
	12.78

	Story5
	EQYMIN
	955
	Max Drift Y
	0.000321
	83.6
	13.95
	12.78

	Story5
	EQYMAX
	938
	Max Drift X
	5E-06
	4.5
	0
	12.78

	Story5
	EQYMAX
	955
	Max Drift Y
	0.00016
	83.6
	13.95
	12.78

	Story5
	WCX
	938
	Max Drift X
	7.3E-05
	4.5
	0
	12.78

	Story5
	WCX
	955
	Max Drift Y
	4E-06
	83.6
	13.95
	12.78

	Story5
	WCY
	938
	Max Drift X
	7E-06
	4.5
	0
	12.78

	Story5
	WCY
	955
	Max Drift Y
	6.9E-05
	83.6
	13.95
	12.78

	Story5
	WCXB1
	938
	Max Drift X
	5.7E-05
	4.5
	0
	12.78

	Story5
	WCXB1
	955
	Max Drift Y
	1E-05
	83.6
	13.95
	12.78

	Story5
	DELDL
	938
	Max Drift X
	6E-06
	4.5
	0
	12.78

	Story5
	DELDL
	955
	Max Drift Y
	1.5E-05
	83.6
	13.95
	12.78

	Story5
	WCXB2
	929
	Max Drift X
	5.6E-05
	82.05
	27.95
	12.78

	Story5
	WCXB2
	969
	Max Drift Y
	5E-06
	0
	16.6
	12.78

	Story5
	WCYB2
	938
	Max Drift X
	1.4E-05
	4.5
	0
	12.78

	Story5
	WCYB2
	955
	Max Drift Y
	7.7E-05
	83.6
	13.95
	12.78

	Story5
	WCYB1
	792
	Max Drift X
	4E-06
	45.3
	27.95
	12.78

	Story5
	WCYB1
	969
	Max Drift Y
	4.9E-05
	0
	16.6
	12.78

	Story5
	WCC
	938
	Max Drift X
	6E-05
	4.5
	0
	12.78

	Story5
	WCC
	955
	Max Drift Y
	5.4E-05
	83.6
	13.95
	12.78

	Story5
	WCD1
	938
	Max Drift X
	5.4E-05
	4.5
	0
	12.78

	Story5
	WCD1
	955
	Max Drift Y
	6.6E-05
	83.6
	13.95
	12.78

	Story5
	WCD2
	929
	Max Drift X
	4.5E-05
	82.05
	27.95
	12.78

	Story5
	WCD2
	969
	Max Drift Y
	4.1E-05
	0
	16.6
	12.78

	Story5
	PF1
	938
	Max Drift X
	5.3E-05
	4.5
	0
	12.78

	Story5
	PF1
	955
	Max Drift Y
	0.000137
	83.6
	13.95
	12.78

	Story5
	PF2
	938
	Max Drift X
	5.8E-05
	4.5
	0
	12.78

	Story5
	PF2
	955
	Max Drift Y
	0.000149
	83.6
	13.95
	12.78

	Story5
	PF4WX
	938
	Max Drift X
	0.00015
	4.5
	0
	12.78

	Story5
	PF4WX
	955
	Max Drift Y
	0.000127
	83.6
	13.95
	12.78

	Story5
	PF4WY
	938
	Max Drift X
	5.7E-05
	4.5
	0
	12.78

	Story5
	PF4WY
	955
	Max Drift Y
	0.000218
	83.6
	13.95
	12.78

	Story5
	PF4WXB1
	938
	Max Drift X
	0.000127
	4.5
	0
	12.78

	Story5
	PF4WXB1
	955
	Max Drift Y
	0.000137
	83.6
	13.95
	12.78

	Story5
	PF4WXB2
	938
	Max Drift X
	0.000121
	4.5
	0
	12.78

	Story5
	PF4WXB2
	955
	Max Drift Y
	0.000115
	83.6
	13.95
	12.78

	Story5
	PF4WYB1
	938
	Max Drift X
	4.3E-05
	4.5
	0
	12.78

	Story5
	PF4WYB1
	955
	Max Drift Y
	0.000158
	83.6
	13.95
	12.78

	Story5
	PF4WYB2
	938
	Max Drift X
	6.7E-05
	4.5
	0
	12.78

	Story5
	PF4WYB2
	955
	Max Drift Y
	0.00023
	83.6
	13.95
	12.78

	Story5
	PF4WCC
	938
	Max Drift X
	0.000132
	4.5
	0
	12.78

	Story5
	PF4WCC
	955
	Max Drift Y
	0.000198
	83.6
	13.95
	12.78

	Story5
	PF4WCD1
	938
	Max Drift X
	0.000122
	4.5
	0
	12.78

	Story5
	PF4WCD1
	955
	Max Drift Y
	0.000214
	83.6
	13.95
	12.78

	Story5
	PF4WCD2
	938
	Max Drift X
	9.9E-05
	4.5
	0
	12.78

	Story5
	PF4WCD2
	955
	Max Drift Y
	0.000144
	83.6
	13.95
	12.78

	Story5
	PF4BWCD2
	938
	Max Drift X
	8.6E-05
	4.5
	0
	12.78

	Story5
	PF4BWCD2
	955
	Max Drift Y
	0.00011
	83.6
	13.95
	12.78

	Story5
	PF4BWCX
	938
	Max Drift X
	0.000137
	4.5
	0
	12.78

	Story5
	PF4BWCX
	955
	Max Drift Y
	9.3E-05
	83.6
	13.95
	12.78

	Story5
	PF4BWCY
	938
	Max Drift X
	4.4E-05
	4.5
	0
	12.78

	Story5
	PF4BWCY
	955
	Max Drift Y
	0.000184
	83.6
	13.95
	12.78

	Story5
	PF4BWCXB1
	938
	Max Drift X
	0.000114
	4.5
	0
	12.78

	Story5
	PF4BWCXB1
	955
	Max Drift Y
	0.000102
	83.6
	13.95
	12.78

	Story5
	PF4BWCXB2
	938
	Max Drift X
	0.000108
	4.5
	0
	12.78

	Story5
	PF4BWCXB2
	955
	Max Drift Y
	8.1E-05
	83.6
	13.95
	12.78

	Story5
	PF4BWCYB1
	938
	Max Drift X
	2.9E-05
	4.5
	0
	12.78

	Story5
	PF4BWCYB1
	955
	Max Drift Y
	0.000124
	83.6
	13.95
	12.78

	Story5
	PF4BWCYB2
	938
	Max Drift X
	5.4E-05
	4.5
	0
	12.78

	Story5
	PF4BWCYB2
	955
	Max Drift Y
	0.000196
	83.6
	13.95
	12.78

	Story5
	PF4BWCC
	938
	Max Drift X
	0.000119
	4.5
	0
	12.78

	Story5
	PF4BWCC
	955
	Max Drift Y
	0.000164
	83.6
	13.95
	12.78

	Story5
	PF4BWCD1
	938
	Max Drift X
	0.000109
	4.5
	0
	12.78

	Story5
	PF4BWCD1
	955
	Max Drift Y
	0.00018
	83.6
	13.95
	12.78

	Story5
	PF4DWCX
	938
	Max Drift X
	0.00014
	4.5
	0
	12.78

	Story5
	PF4DWCX
	955
	Max Drift Y
	0.000102
	83.6
	13.95
	12.78

	Story5
	PF4DWCY
	938
	Max Drift X
	4.8E-05
	4.5
	0
	12.78

	Story5
	PF4DWCY
	955
	Max Drift Y
	0.000193
	83.6
	13.95
	12.78

	Story5
	PF4DWCXB1
	938
	Max Drift X
	0.000118
	4.5
	0
	12.78

	Story5
	PF4DWCXB1
	955
	Max Drift Y
	0.000111
	83.6
	13.95
	12.78

	Story5
	PF4DWCXB2
	938
	Max Drift X
	0.000111
	4.5
	0
	12.78

	Story5
	PF4DWCXB2
	955
	Max Drift Y
	9E-05
	83.6
	13.95
	12.78

	Story5
	PF4CYB1
	938
	Max Drift X
	3.3E-05
	4.5
	0
	12.78

	Story5
	PF4CYB1
	955
	Max Drift Y
	0.000133
	83.6
	13.95
	12.78

	Story5
	PF4CYB2
	938
	Max Drift X
	5.7E-05
	4.5
	0
	12.78

	Story5
	PF4CYB2
	955
	Max Drift Y
	0.000205
	83.6
	13.95
	12.78

	Story5
	PF4DWCC
	938
	Max Drift X
	0.000122
	4.5
	0
	12.78

	Story5
	PF4DWCC
	955
	Max Drift Y
	0.000173
	83.6
	13.95
	12.78

	Story5
	PF4DWCD1
	938
	Max Drift X
	0.000113
	4.5
	0
	12.78

	Story5
	PF4DWCD1
	955
	Max Drift Y
	0.000189
	83.6
	13.95
	12.78

	Story5
	PF4DWCD2
	938
	Max Drift X
	8.9E-05
	4.5
	0
	12.78

	Story5
	PF4DWCD2
	955
	Max Drift Y
	0.000119
	83.6
	13.95
	12.78

	Story5
	PF4CWCX
	938
	Max Drift X
	0.000153
	4.5
	0
	12.78

	Story5
	PF4CWCX
	955
	Max Drift Y
	0.000136
	83.6
	13.95
	12.78

	Story5
	PF4CWCY
	938
	Max Drift X
	6.1E-05
	4.5
	0
	12.78

	Story5
	PF4CWCY
	955
	Max Drift Y
	0.000227
	83.6
	13.95
	12.78

	Story5
	PF4CWCXB1
	938
	Max Drift X
	0.000131
	4.5
	0
	12.78

	Story5
	PF4CWCXB1
	955
	Max Drift Y
	0.000146
	83.6
	13.95
	12.78

	Story5
	PF4CWCXB2
	938
	Max Drift X
	0.000125
	4.5
	0
	12.78

	Story5
	PF4CWCXB2
	955
	Max Drift Y
	0.000124
	83.6
	13.95
	12.78

	Story5
	PF4CWCYB1
	938
	Max Drift X
	4.6E-05
	4.5
	0
	12.78

	Story5
	PF4CWCYB1
	955
	Max Drift Y
	0.000167
	83.6
	13.95
	12.78

	Story5
	PF4CWCYB2
	938
	Max Drift X
	7E-05
	4.5
	0
	12.78

	Story5
	PF4CWCYB2
	955
	Max Drift Y
	0.000239
	83.6
	13.95
	12.78

	Story5
	PF4CWCC
	938
	Max Drift X
	0.000135
	4.5
	0
	12.78

	Story5
	PF4CWCC
	955
	Max Drift Y
	0.000207
	83.6
	13.95
	12.78

	Story5
	PF4CWCD1
	938
	Max Drift X
	0.000126
	4.5
	0
	12.78

	Story5
	PF4CWCD1
	955
	Max Drift Y
	0.000223
	83.6
	13.95
	12.78

	Story5
	PF4CWCD2
	938
	Max Drift X
	0.000103
	4.5
	0
	12.78

	Story5
	PF4CWCD2
	955
	Max Drift Y
	0.000153
	83.6
	13.95
	12.78

	Story5
	PFEQ2X
	938
	Max Drift X
	0.000405
	4.5
	0
	12.78

	Story5
	PFEQ2X
	955
	Max Drift Y
	0.000128
	83.6
	13.95
	12.78

	Story5
	PFEQ2Y
	938
	Max Drift X
	7.3E-05
	4.5
	0
	12.78

	Story5
	PFEQ2Y
	955
	Max Drift Y
	0.000347
	83.6
	13.95
	12.78

	Story5
	PFEQ2XMIN
	938
	Max Drift X
	0.000392
	4.5
	0
	12.78

	Story5
	PFEQ2XMIN
	955
	Max Drift Y
	8.8E-05
	83.6
	13.95
	12.78

	Story5
	PFEQ2XMAX
	938
	Max Drift X
	0.000417
	4.5
	0
	12.78

	Story5
	PFEQ2XMAX
	953
	Max Drift Y
	0.000168
	83.6
	24.05
	12.78

	Story5
	PFEQ2YMIN
	938
	Max Drift X
	9.9E-05
	4.5
	0
	12.78

	Story5
	PFEQ2YMIN
	955
	Max Drift Y
	0.000427
	83.6
	13.95
	12.78

	Story5
	PFEQ2YMAX
	938
	Max Drift X
	4.7E-05
	4.5
	0
	12.78

	Story5
	PFEQ2YMAX
	955
	Max Drift Y
	0.000267
	83.6
	13.95
	12.78

	Story5
	PFEQ1X
	938
	Max Drift X
	0.000401
	4.5
	0
	12.78

	Story5
	PFEQ1X
	955
	Max Drift Y
	0.000119
	83.6
	13.95
	12.78

	Story5
	PFEQ1Y
	938
	Max Drift X
	7E-05
	4.5
	0
	12.78

	Story5
	PFEQ1Y
	955
	Max Drift Y
	0.000338
	83.6
	13.95
	12.78

	Story5
	PFEQ1XMIN
	938
	Max Drift X
	0.000388
	4.5
	0
	12.78

	Story5
	PFEQ1XMIN
	955
	Max Drift Y
	7.9E-05
	83.6
	13.95
	12.78

	Story5
	PFEQ1XMAX
	938
	Max Drift X
	0.000413
	4.5
	0
	12.78

	Story5
	PFEQ1XMAX
	953
	Max Drift Y
	0.000159
	83.6
	24.05
	12.78

	Story5
	PFEQ1YMIN
	938
	Max Drift X
	9.6E-05
	4.5
	0
	12.78

	Story5
	PFEQ1YMIN
	955
	Max Drift Y
	0.000418
	83.6
	13.95
	12.78

	Story5
	PFEQ1YMAX
	938
	Max Drift X
	4.3E-05
	4.5
	0
	12.78

	Story5
	PFEQ1YMAX
	955
	Max Drift Y
	0.000258
	83.6
	13.95
	12.78

	Story4
	OW
	973
	Max Drift X
	3.8E-05
	82.05
	0
	9.99

	Story4
	OW
	899
	Max Drift Y
	8.9E-05
	83.6
	16.6
	9.99

	Story4
	EQDL
	973
	Max Drift X
	3E-06
	82.05
	0
	9.99

	Story4
	EQDL
	899
	Max Drift Y
	7E-06
	83.6
	16.6
	9.99

	Story4
	LL
	973
	Max Drift X
	1.1E-05
	82.05
	0
	9.99

	Story4
	LL
	899
	Max Drift Y
	2.6E-05
	83.6
	16.6
	9.99

	Story4
	FACADE
	973
	Max Drift X
	4E-06
	82.05
	0
	9.99

	Story4
	FACADE
	899
	Max Drift Y
	9E-06
	83.6
	16.6
	9.99

	Story4
	EQX
	973
	Max Drift X
	0.000309
	82.05
	0
	9.99

	Story4
	EQX
	899
	Max Drift Y
	1.6E-05
	83.6
	16.6
	9.99

	Story4
	EQY
	973
	Max Drift X
	2.6E-05
	82.05
	0
	9.99

	Story4
	EQY
	899
	Max Drift Y
	0.000205
	83.6
	16.6
	9.99

	Story4
	EQXMIN
	982
	Max Drift X
	0.000311
	53.225
	27.95
	9.99

	Story4
	EQXMIN
	980
	Max Drift Y
	2E-05
	0
	18.6
	9.99

	Story4
	EQXMAX
	973
	Max Drift X
	0.00032
	82.05
	0
	9.99

	Story4
	EQXMAX
	899
	Max Drift Y
	4.9E-05
	83.6
	16.6
	9.99

	Story4
	EQYMIN
	973
	Max Drift X
	5E-05
	82.05
	0
	9.99

	Story4
	EQYMIN
	899
	Max Drift Y
	0.000274
	83.6
	16.6
	9.99

	Story4
	EQYMAX
	973
	Max Drift X
	2E-06
	82.05
	0
	9.99

	Story4
	EQYMAX
	899
	Max Drift Y
	0.000135
	83.6
	16.6
	9.99

	Story4
	WCX
	973
	Max Drift X
	6.3E-05
	82.05
	0
	9.99

	Story4
	WCX
	899
	Max Drift Y
	2E-06
	83.6
	16.6
	9.99

	Story4
	WCY
	973
	Max Drift X
	6E-06
	82.05
	0
	9.99

	Story4
	WCY
	899
	Max Drift Y
	5.9E-05
	83.6
	16.6
	9.99

	Story4
	WCXB1
	973
	Max Drift X
	4.9E-05
	82.05
	0
	9.99

	Story4
	WCXB1
	899
	Max Drift Y
	8E-06
	83.6
	16.6
	9.99

	Story4
	DELDL
	973
	Max Drift X
	8E-06
	82.05
	0
	9.99

	Story4
	DELDL
	899
	Max Drift Y
	1.7E-05
	83.6
	16.6
	9.99

	Story4
	WCXB2
	982
	Max Drift X
	4.8E-05
	53.225
	27.95
	9.99

	Story4
	WCXB2
	980
	Max Drift Y
	5E-06
	0
	18.6
	9.99

	Story4
	WCYB2
	973
	Max Drift X
	1.2E-05
	82.05
	0
	9.99

	Story4
	WCYB2
	899
	Max Drift Y
	6.7E-05
	83.6
	16.6
	9.99

	Story4
	WCYB1
	982
	Max Drift X
	4E-06
	53.225
	27.95
	9.99

	Story4
	WCYB1
	980
	Max Drift Y
	4.4E-05
	0
	18.6
	9.99

	Story4
	WCC
	973
	Max Drift X
	5.1E-05
	82.05
	0
	9.99

	Story4
	WCC
	899
	Max Drift Y
	4.6E-05
	83.6
	16.6
	9.99

	Story4
	WCD1
	973
	Max Drift X
	4.6E-05
	82.05
	0
	9.99

	Story4
	WCD1
	899
	Max Drift Y
	5.7E-05
	83.6
	16.6
	9.99

	Story4
	WCD2
	982
	Max Drift X
	3.9E-05
	53.225
	27.95
	9.99

	Story4
	WCD2
	980
	Max Drift Y
	3.7E-05
	0
	18.6
	9.99

	Story4
	PF1
	973
	Max Drift X
	6.9E-05
	82.05
	0
	9.99

	Story4
	PF1
	899
	Max Drift Y
	0.000161
	83.6
	16.6
	9.99

	Story4
	PF2
	973
	Max Drift X
	7.5E-05
	82.05
	0
	9.99

	Story4
	PF2
	899
	Max Drift Y
	0.000175
	83.6
	16.6
	9.99

	Story4
	PF4WX
	973
	Max Drift X
	0.000149
	82.05
	0
	9.99

	Story4
	PF4WX
	899
	Max Drift Y
	0.000147
	83.6
	16.6
	9.99

	Story4
	PF4WY
	973
	Max Drift X
	6.9E-05
	82.05
	0
	9.99

	Story4
	PF4WY
	899
	Max Drift Y
	0.000227
	83.6
	16.6
	9.99

	Story4
	PF4WXB1
	973
	Max Drift X
	0.00013
	82.05
	0
	9.99

	Story4
	PF4WXB1
	899
	Max Drift Y
	0.000156
	83.6
	16.6
	9.99

	Story4
	PF4WXB2
	973
	Max Drift X
	0.000124
	82.05
	0
	9.99

	Story4
	PF4WXB2
	899
	Max Drift Y
	0.000137
	83.6
	16.6
	9.99

	Story4
	PF4WYB1
	973
	Max Drift X
	5.6E-05
	82.05
	0
	9.99

	Story4
	PF4WYB1
	899
	Max Drift Y
	0.000174
	83.6
	16.6
	9.99

	Story4
	PF4WYB2
	973
	Max Drift X
	7.9E-05
	82.05
	0
	9.99

	Story4
	PF4WYB2
	899
	Max Drift Y
	0.000238
	83.6
	16.6
	9.99

	Story4
	PF4WCC
	973
	Max Drift X
	0.000133
	82.05
	0
	9.99

	Story4
	PF4WCC
	899
	Max Drift Y
	0.000209
	83.6
	16.6
	9.99

	Story4
	PF4WCD1
	973
	Max Drift X
	0.000126
	82.05
	0
	9.99

	Story4
	PF4WCD1
	899
	Max Drift Y
	0.000223
	83.6
	16.6
	9.99

	Story4
	PF4WCD2
	973
	Max Drift X
	0.000105
	82.05
	0
	9.99

	Story4
	PF4WCD2
	899
	Max Drift Y
	0.000161
	83.6
	16.6
	9.99

	Story4
	PF4BWCD2
	973
	Max Drift X
	8.7E-05
	82.05
	0
	9.99

	Story4
	PF4BWCD2
	899
	Max Drift Y
	0.000121
	83.6
	16.6
	9.99

	Story4
	PF4BWCX
	973
	Max Drift X
	0.000132
	82.05
	0
	9.99

	Story4
	PF4BWCX
	899
	Max Drift Y
	0.000107
	83.6
	16.6
	9.99

	Story4
	PF4BWCY
	973
	Max Drift X
	5.2E-05
	82.05
	0
	9.99

	Story4
	PF4BWCY
	899
	Max Drift Y
	0.000186
	83.6
	16.6
	9.99

	Story4
	PF4BWCXB1
	973
	Max Drift X
	0.000113
	82.05
	0
	9.99

	Story4
	PF4BWCXB1
	899
	Max Drift Y
	0.000115
	83.6
	16.6
	9.99

	Story4
	PF4BWCXB2
	973
	Max Drift X
	0.000107
	82.05
	0
	9.99

	Story4
	PF4BWCXB2
	899
	Max Drift Y
	9.7E-05
	83.6
	16.6
	9.99

	Story4
	PF4BWCYB1
	973
	Max Drift X
	3.9E-05
	82.05
	0
	9.99

	Story4
	PF4BWCYB1
	899
	Max Drift Y
	0.000134
	83.6
	16.6
	9.99

	Story4
	PF4BWCYB2
	973
	Max Drift X
	6.1E-05
	82.05
	0
	9.99

	Story4
	PF4BWCYB2
	899
	Max Drift Y
	0.000198
	83.6
	16.6
	9.99

	Story4
	PF4BWCC
	973
	Max Drift X
	0.000116
	82.05
	0
	9.99

	Story4
	PF4BWCC
	899
	Max Drift Y
	0.000168
	83.6
	16.6
	9.99

	Story4
	PF4BWCD1
	973
	Max Drift X
	0.000109
	82.05
	0
	9.99

	Story4
	PF4BWCD1
	899
	Max Drift Y
	0.000183
	83.6
	16.6
	9.99

	Story4
	PF4DWCX
	973
	Max Drift X
	0.000136
	82.05
	0
	9.99

	Story4
	PF4DWCX
	899
	Max Drift Y
	0.000117
	83.6
	16.6
	9.99

	Story4
	PF4DWCY
	973
	Max Drift X
	5.7E-05
	82.05
	0
	9.99

	Story4
	PF4DWCY
	899
	Max Drift Y
	0.000197
	83.6
	16.6
	9.99

	Story4
	PF4DWCXB1
	973
	Max Drift X
	0.000117
	82.05
	0
	9.99

	Story4
	PF4DWCXB1
	899
	Max Drift Y
	0.000125
	83.6
	16.6
	9.99

	Story4
	PF4DWCXB2
	973
	Max Drift X
	0.000112
	82.05
	0
	9.99

	Story4
	PF4DWCXB2
	899
	Max Drift Y
	0.000107
	83.6
	16.6
	9.99

	Story4
	PF4CYB1
	973
	Max Drift X
	4.4E-05
	82.05
	0
	9.99

	Story4
	PF4CYB1
	899
	Max Drift Y
	0.000144
	83.6
	16.6
	9.99

	Story4
	PF4CYB2
	973
	Max Drift X
	6.6E-05
	82.05
	0
	9.99

	Story4
	PF4CYB2
	899
	Max Drift Y
	0.000208
	83.6
	16.6
	9.99

	Story4
	PF4DWCC
	973
	Max Drift X
	0.000121
	82.05
	0
	9.99

	Story4
	PF4DWCC
	899
	Max Drift Y
	0.000179
	83.6
	16.6
	9.99

	Story4
	PF4DWCD1
	973
	Max Drift X
	0.000113
	82.05
	0
	9.99

	Story4
	PF4DWCD1
	899
	Max Drift Y
	0.000193
	83.6
	16.6
	9.99

	Story4
	PF4DWCD2
	973
	Max Drift X
	9.2E-05
	82.05
	0
	9.99

	Story4
	PF4DWCD2
	899
	Max Drift Y
	0.000131
	83.6
	16.6
	9.99

	Story4
	PF4CWCX
	973
	Max Drift X
	0.000154
	82.05
	0
	9.99

	Story4
	PF4CWCX
	899
	Max Drift Y
	0.000158
	83.6
	16.6
	9.99

	Story4
	PF4CWCY
	973
	Max Drift X
	7.4E-05
	82.05
	0
	9.99

	Story4
	PF4CWCY
	899
	Max Drift Y
	0.000237
	83.6
	16.6
	9.99

	Story4
	PF4CWCXB1
	973
	Max Drift X
	0.000135
	82.05
	0
	9.99

	Story4
	PF4CWCXB1
	899
	Max Drift Y
	0.000166
	83.6
	16.6
	9.99

	Story4
	PF4CWCXB2
	973
	Max Drift X
	0.000129
	82.05
	0
	9.99

	Story4
	PF4CWCXB2
	899
	Max Drift Y
	0.000148
	83.6
	16.6
	9.99

	Story4
	PF4CWCYB1
	973
	Max Drift X
	6.1E-05
	82.05
	0
	9.99

	Story4
	PF4CWCYB1
	899
	Max Drift Y
	0.000184
	83.6
	16.6
	9.99

	Story4
	PF4CWCYB2
	973
	Max Drift X
	8.3E-05
	82.05
	0
	9.99

	Story4
	PF4CWCYB2
	899
	Max Drift Y
	0.000249
	83.6
	16.6
	9.99

	Story4
	PF4CWCC
	973
	Max Drift X
	0.000138
	82.05
	0
	9.99

	Story4
	PF4CWCC
	899
	Max Drift Y
	0.000219
	83.6
	16.6
	9.99

	Story4
	PF4CWCD1
	973
	Max Drift X
	0.00013
	82.05
	0
	9.99

	Story4
	PF4CWCD1
	899
	Max Drift Y
	0.000234
	83.6
	16.6
	9.99

	Story4
	PF4CWCD2
	973
	Max Drift X
	0.000109
	82.05
	0
	9.99

	Story4
	PF4CWCD2
	899
	Max Drift Y
	0.000172
	83.6
	16.6
	9.99

	Story4
	PFEQ2X
	973
	Max Drift X
	0.000363
	82.05
	0
	9.99

	Story4
	PFEQ2X
	899
	Max Drift Y
	0.000141
	83.6
	16.6
	9.99

	Story4
	PFEQ2Y
	973
	Max Drift X
	8E-05
	82.05
	0
	9.99

	Story4
	PFEQ2Y
	899
	Max Drift Y
	0.00033
	83.6
	16.6
	9.99

	Story4
	PFEQ2XMIN
	973
	Max Drift X
	0.000352
	82.05
	0
	9.99

	Story4
	PFEQ2XMIN
	899
	Max Drift Y
	0.000107
	83.6
	16.6
	9.99

	Story4
	PFEQ2XMAX
	973
	Max Drift X
	0.000374
	82.05
	0
	9.99

	Story4
	PFEQ2XMAX
	899
	Max Drift Y
	0.000175
	83.6
	16.6
	9.99

	Story4
	PFEQ2YMIN
	973
	Max Drift X
	0.000103
	82.05
	0
	9.99

	Story4
	PFEQ2YMIN
	899
	Max Drift Y
	0.0004
	83.6
	16.6
	9.99

	Story4
	PFEQ2YMAX
	973
	Max Drift X
	5.6E-05
	82.05
	0
	9.99

	Story4
	PFEQ2YMAX
	899
	Max Drift Y
	0.00026
	83.6
	16.6
	9.99

	Story4
	PFEQ1X
	973
	Max Drift X
	0.000359
	82.05
	0
	9.99

	Story4
	PFEQ1X
	899
	Max Drift Y
	0.000131
	83.6
	16.6
	9.99

	Story4
	PFEQ1Y
	973
	Max Drift X
	7.5E-05
	82.05
	0
	9.99

	Story4
	PFEQ1Y
	899
	Max Drift Y
	0.00032
	83.6
	16.6
	9.99

	Story4
	PFEQ1XMIN
	973
	Max Drift X
	0.000347
	82.05
	0
	9.99

	Story4
	PFEQ1XMIN
	899
	Max Drift Y
	9.7E-05
	83.6
	16.6
	9.99

	Story4
	PFEQ1XMAX
	973
	Max Drift X
	0.00037
	82.05
	0
	9.99

	Story4
	PFEQ1XMAX
	899
	Max Drift Y
	0.000165
	83.6
	16.6
	9.99

	Story4
	PFEQ1YMIN
	973
	Max Drift X
	9.9E-05
	82.05
	0
	9.99

	Story4
	PFEQ1YMIN
	899
	Max Drift Y
	0.000389
	83.6
	16.6
	9.99

	Story4
	PFEQ1YMAX
	973
	Max Drift X
	5.1E-05
	82.05
	0
	9.99

	Story4
	PFEQ1YMAX
	899
	Max Drift Y
	0.00025
	83.6
	16.6
	9.99

	Story3
	OW
	792
	Max Drift X
	3.1E-05
	45.3
	27.95
	7.2

	Story3
	OW
	997
	Max Drift Y
	8.4E-05
	83.6
	9.5
	7.2

	Story3
	EQDL
	792
	Max Drift X
	2E-06
	45.3
	27.95
	7.2

	Story3
	EQDL
	997
	Max Drift Y
	6E-06
	83.6
	9.5
	7.2

	Story3
	LL
	792
	Max Drift X
	8E-06
	45.3
	27.95
	7.2

	Story3
	LL
	997
	Max Drift Y
	2.4E-05
	83.6
	9.5
	7.2

	Story3
	FACADE
	792
	Max Drift X
	2E-06
	45.3
	27.95
	7.2

	Story3
	FACADE
	997
	Max Drift Y
	7E-06
	83.6
	9.5
	7.2

	Story3
	EQX
	973
	Max Drift X
	0.000132
	82.05
	0
	7.2

	Story3
	EQX
	997
	Max Drift Y
	1.4E-05
	83.6
	9.5
	7.2

	Story3
	EQY
	973
	Max Drift X
	2.5E-05
	82.05
	0
	7.2

	Story3
	EQY
	997
	Max Drift Y
	0.000167
	83.6
	9.5
	7.2

	Story3
	EQXMIN
	982
	Max Drift X
	0.000132
	53.225
	27.95
	7.2

	Story3
	EQXMIN
	980
	Max Drift Y
	1.4E-05
	0
	18.6
	7.2

	Story3
	EQXMAX
	973
	Max Drift X
	0.000141
	82.05
	0
	7.2

	Story3
	EQXMAX
	997
	Max Drift Y
	4E-05
	83.6
	9.5
	7.2

	Story3
	EQYMIN
	973
	Max Drift X
	4.4E-05
	82.05
	0
	7.2

	Story3
	EQYMIN
	997
	Max Drift Y
	0.000222
	83.6
	9.5
	7.2

	Story3
	EQYMAX
	973
	Max Drift X
	6E-06
	82.05
	0
	7.2

	Story3
	EQYMAX
	997
	Max Drift Y
	0.000112
	83.6
	9.5
	7.2

	Story3
	WCX
	973
	Max Drift X
	2.7E-05
	82.05
	0
	7.2

	Story3
	WCX
	997
	Max Drift Y
	2E-06
	83.6
	9.5
	7.2

	Story3
	WCY
	973
	Max Drift X
	6E-06
	82.05
	0
	7.2

	Story3
	WCY
	997
	Max Drift Y
	5E-05
	83.6
	9.5
	7.2

	Story3
	WCXB1
	973
	Max Drift X
	2.2E-05
	82.05
	0
	7.2

	Story3
	WCXB1
	997
	Max Drift Y
	7E-06
	83.6
	9.5
	7.2

	Story3
	DELDL
	982
	Max Drift X
	5E-06
	53.225
	27.95
	7.2

	Story3
	DELDL
	997
	Max Drift Y
	1.6E-05
	83.6
	9.5
	7.2

	Story3
	WCXB2
	982
	Max Drift X
	2.1E-05
	53.225
	27.95
	7.2

	Story3
	WCXB2
	980
	Max Drift Y
	3E-06
	0
	18.6
	7.2

	Story3
	WCYB2
	973
	Max Drift X
	1.1E-05
	82.05
	0
	7.2

	Story3
	WCYB2
	997
	Max Drift Y
	5.7E-05
	83.6
	9.5
	7.2

	Story3
	WCYB1
	792
	Max Drift X
	2E-06
	45.3
	27.95
	7.2

	Story3
	WCYB1
	980
	Max Drift Y
	3.2E-05
	0
	18.6
	7.2

	Story3
	WCC
	973
	Max Drift X
	2.5E-05
	82.05
	0
	7.2

	Story3
	WCC
	997
	Max Drift Y
	4E-05
	83.6
	9.5
	7.2

	Story3
	WCD1
	973
	Max Drift X
	2.5E-05
	82.05
	0
	7.2

	Story3
	WCD1
	997
	Max Drift Y
	4.8E-05
	83.6
	9.5
	7.2

	Story3
	WCD2
	982
	Max Drift X
	1.7E-05
	53.225
	27.95
	7.2

	Story3
	WCD2
	980
	Max Drift Y
	2.7E-05
	0
	18.6
	7.2

	Story3
	PF1
	792
	Max Drift X
	5.3E-05
	45.3
	27.95
	7.2

	Story3
	PF1
	997
	Max Drift Y
	0.00015
	83.6
	9.5
	7.2

	Story3
	PF2
	792
	Max Drift X
	5.7E-05
	45.3
	27.95
	7.2

	Story3
	PF2
	997
	Max Drift Y
	0.000163
	83.6
	9.5
	7.2

	Story3
	PF4WX
	973
	Max Drift X
	7E-05
	82.05
	0
	7.2

	Story3
	PF4WX
	997
	Max Drift Y
	0.000137
	83.6
	9.5
	7.2

	Story3
	PF4WY
	792
	Max Drift X
	5.4E-05
	45.3
	27.95
	7.2

	Story3
	PF4WY
	997
	Max Drift Y
	0.000204
	83.6
	9.5
	7.2

	Story3
	PF4WXB1
	973
	Max Drift X
	6.3E-05
	82.05
	0
	7.2

	Story3
	PF4WXB1
	997
	Max Drift Y
	0.000143
	83.6
	9.5
	7.2

	Story3
	PF4WXB2
	973
	Max Drift X
	5.9E-05
	82.05
	0
	7.2

	Story3
	PF4WXB2
	997
	Max Drift Y
	0.000129
	83.6
	9.5
	7.2

	Story3
	PF4WYB1
	792
	Max Drift X
	4.4E-05
	45.3
	27.95
	7.2

	Story3
	PF4WYB1
	997
	Max Drift Y
	0.00016
	83.6
	9.5
	7.2

	Story3
	PF4WYB2
	792
	Max Drift X
	6E-05
	45.3
	27.95
	7.2

	Story3
	PF4WYB2
	997
	Max Drift Y
	0.000213
	83.6
	9.5
	7.2

	Story3
	PF4WCC
	973
	Max Drift X
	6.8E-05
	82.05
	0
	7.2

	Story3
	PF4WCC
	997
	Max Drift Y
	0.000189
	83.6
	9.5
	7.2

	Story3
	PF4WCD1
	973
	Max Drift X
	6.8E-05
	82.05
	0
	7.2

	Story3
	PF4WCD1
	997
	Max Drift Y
	0.000201
	83.6
	9.5
	7.2

	Story3
	PF4WCD2
	973
	Max Drift X
	5E-05
	82.05
	0
	7.2

	Story3
	PF4WCD2
	997
	Max Drift Y
	0.00015
	83.6
	9.5
	7.2

	Story3
	PF4BWCD2
	973
	Max Drift X
	4.1E-05
	82.05
	0
	7.2

	Story3
	PF4BWCD2
	997
	Max Drift Y
	0.000113
	83.6
	9.5
	7.2

	Story3
	PF4BWCX
	973
	Max Drift X
	6.1E-05
	82.05
	0
	7.2

	Story3
	PF4BWCX
	997
	Max Drift Y
	9.9E-05
	83.6
	9.5
	7.2

	Story3
	PF4BWCY
	792
	Max Drift X
	4E-05
	45.3
	27.95
	7.2

	Story3
	PF4BWCY
	997
	Max Drift Y
	0.000167
	83.6
	9.5
	7.2

	Story3
	PF4BWCXB1
	973
	Max Drift X
	5.4E-05
	82.05
	0
	7.2

	Story3
	PF4BWCXB1
	997
	Max Drift Y
	0.000106
	83.6
	9.5
	7.2

	Story3
	PF4BWCXB2
	973
	Max Drift X
	4.9E-05
	82.05
	0
	7.2

	Story3
	PF4BWCXB2
	997
	Max Drift Y
	9.2E-05
	83.6
	9.5
	7.2

	Story3
	PF4BWCYB1
	792
	Max Drift X
	3.1E-05
	45.3
	27.95
	7.2

	Story3
	PF4BWCYB1
	997
	Max Drift Y
	0.000122
	83.6
	9.5
	7.2

	Story3
	PF4BWCYB2
	792
	Max Drift X
	4.7E-05
	45.3
	27.95
	7.2

	Story3
	PF4BWCYB2
	997
	Max Drift Y
	0.000176
	83.6
	9.5
	7.2

	Story3
	PF4BWCC
	973
	Max Drift X
	5.8E-05
	82.05
	0
	7.2

	Story3
	PF4BWCC
	997
	Max Drift Y
	0.000152
	83.6
	9.5
	7.2

	Story3
	PF4BWCD1
	973
	Max Drift X
	5.9E-05
	82.05
	0
	7.2

	Story3
	PF4BWCD1
	997
	Max Drift Y
	0.000163
	83.6
	9.5
	7.2

	Story3
	PF4DWCX
	973
	Max Drift X
	6.4E-05
	82.05
	0
	7.2

	Story3
	PF4DWCX
	997
	Max Drift Y
	0.000109
	83.6
	9.5
	7.2

	Story3
	PF4DWCY
	792
	Max Drift X
	4.3E-05
	45.3
	27.95
	7.2

	Story3
	PF4DWCY
	997
	Max Drift Y
	0.000177
	83.6
	9.5
	7.2

	Story3
	PF4DWCXB1
	973
	Max Drift X
	5.7E-05
	82.05
	0
	7.2

	Story3
	PF4DWCXB1
	997
	Max Drift Y
	0.000115
	83.6
	9.5
	7.2

	Story3
	PF4DWCXB2
	973
	Max Drift X
	5.2E-05
	82.05
	0
	7.2

	Story3
	PF4DWCXB2
	997
	Max Drift Y
	0.000101
	83.6
	9.5
	7.2

	Story3
	PF4CYB1
	792
	Max Drift X
	3.4E-05
	45.3
	27.95
	7.2

	Story3
	PF4CYB1
	997
	Max Drift Y
	0.000132
	83.6
	9.5
	7.2

	Story3
	PF4CYB2
	792
	Max Drift X
	5E-05
	45.3
	27.95
	7.2

	Story3
	PF4CYB2
	997
	Max Drift Y
	0.000186
	83.6
	9.5
	7.2

	Story3
	PF4DWCC
	973
	Max Drift X
	6.1E-05
	82.05
	0
	7.2

	Story3
	PF4DWCC
	997
	Max Drift Y
	0.000161
	83.6
	9.5
	7.2

	Story3
	PF4DWCD1
	973
	Max Drift X
	6.1E-05
	82.05
	0
	7.2

	Story3
	PF4DWCD1
	997
	Max Drift Y
	0.000173
	83.6
	9.5
	7.2

	Story3
	PF4DWCD2
	973
	Max Drift X
	4.4E-05
	82.05
	0
	7.2

	Story3
	PF4DWCD2
	997
	Max Drift Y
	0.000122
	83.6
	9.5
	7.2

	Story3
	PF4CWCX
	973
	Max Drift X
	7.3E-05
	82.05
	0
	7.2

	Story3
	PF4CWCX
	997
	Max Drift Y
	0.000147
	83.6
	9.5
	7.2

	Story3
	PF4CWCY
	792
	Max Drift X
	5.7E-05
	45.3
	27.95
	7.2

	Story3
	PF4CWCY
	997
	Max Drift Y
	0.000214
	83.6
	9.5
	7.2

	Story3
	PF4CWCXB1
	973
	Max Drift X
	6.6E-05
	82.05
	0
	7.2

	Story3
	PF4CWCXB1
	997
	Max Drift Y
	0.000153
	83.6
	9.5
	7.2

	Story3
	PF4CWCXB2
	973
	Max Drift X
	6.1E-05
	82.05
	0
	7.2

	Story3
	PF4CWCXB2
	997
	Max Drift Y
	0.000139
	83.6
	9.5
	7.2

	Story3
	PF4CWCYB1
	792
	Max Drift X
	4.7E-05
	45.3
	27.95
	7.2

	Story3
	PF4CWCYB1
	997
	Max Drift Y
	0.000169
	83.6
	9.5
	7.2

	Story3
	PF4CWCYB2
	982
	Max Drift X
	6.3E-05
	53.225
	27.95
	7.2

	Story3
	PF4CWCYB2
	997
	Max Drift Y
	0.000223
	83.6
	9.5
	7.2

	Story3
	PF4CWCC
	973
	Max Drift X
	7E-05
	82.05
	0
	7.2

	Story3
	PF4CWCC
	997
	Max Drift Y
	0.000199
	83.6
	9.5
	7.2

	Story3
	PF4CWCD1
	973
	Max Drift X
	7.1E-05
	82.05
	0
	7.2

	Story3
	PF4CWCD1
	997
	Max Drift Y
	0.00021
	83.6
	9.5
	7.2

	Story3
	PF4CWCD2
	973
	Max Drift X
	5.3E-05
	82.05
	0
	7.2

	Story3
	PF4CWCD2
	997
	Max Drift Y
	0.00016
	83.6
	9.5
	7.2

	Story3
	PFEQ2X
	973
	Max Drift X
	0.000161
	82.05
	0
	7.2

	Story3
	PFEQ2X
	997
	Max Drift Y
	0.000131
	83.6
	9.5
	7.2

	Story3
	PFEQ2Y
	792
	Max Drift X
	5.9E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ2Y
	997
	Max Drift Y
	0.000284
	83.6
	9.5
	7.2

	Story3
	PFEQ2XMIN
	973
	Max Drift X
	0.000152
	82.05
	0
	7.2

	Story3
	PFEQ2XMIN
	997
	Max Drift Y
	0.000105
	83.6
	9.5
	7.2

	Story3
	PFEQ2XMAX
	973
	Max Drift X
	0.00017
	82.05
	0
	7.2

	Story3
	PFEQ2XMAX
	997
	Max Drift Y
	0.000157
	83.6
	9.5
	7.2

	Story3
	PFEQ2YMIN
	792
	Max Drift X
	7.6E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ2YMIN
	997
	Max Drift Y
	0.000339
	83.6
	9.5
	7.2

	Story3
	PFEQ2YMAX
	792
	Max Drift X
	4.2E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ2YMAX
	997
	Max Drift Y
	0.000229
	83.6
	9.5
	7.2

	Story3
	PFEQ1X
	973
	Max Drift X
	0.000159
	82.05
	0
	7.2

	Story3
	PFEQ1X
	997
	Max Drift Y
	0.000121
	83.6
	9.5
	7.2

	Story3
	PFEQ1Y
	792
	Max Drift X
	5.6E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ1Y
	997
	Max Drift Y
	0.000274
	83.6
	9.5
	7.2

	Story3
	PFEQ1XMIN
	973
	Max Drift X
	0.00015
	82.05
	0
	7.2

	Story3
	PFEQ1XMIN
	997
	Max Drift Y
	9.5E-05
	83.6
	9.5
	7.2

	Story3
	PFEQ1XMAX
	973
	Max Drift X
	0.000168
	82.05
	0
	7.2

	Story3
	PFEQ1XMAX
	997
	Max Drift Y
	0.000147
	83.6
	9.5
	7.2

	Story3
	PFEQ1YMIN
	792
	Max Drift X
	7.2E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ1YMIN
	997
	Max Drift Y
	0.000329
	83.6
	9.5
	7.2

	Story3
	PFEQ1YMAX
	792
	Max Drift X
	3.9E-05
	45.3
	27.95
	7.2

	Story3
	PFEQ1YMAX
	997
	Max Drift Y
	0.000219
	83.6
	9.5
	7.2

	Story2
	OW
	929
	Max Drift X
	7E-06
	82.05
	27.95
	4.25

	Story2
	OW
	965
	Max Drift Y
	1.6E-05
	0
	14.75
	4.25

	Story2
	EQDL
	929
	Max Drift X
	4.677E-07
	82.05
	27.95
	4.25

	Story2
	EQDL
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	Story2
	LL
	792
	Max Drift X
	2E-06
	45.3
	27.95
	4.25

	Story2
	LL
	965
	Max Drift Y
	4E-06
	0
	14.75
	4.25

	Story2
	FACADE
	929
	Max Drift X
	3.908E-07
	82.05
	27.95
	4.25

	Story2
	FACADE
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	Story2
	EQX
	929
	Max Drift X
	3E-05
	82.05
	27.95
	4.25

	Story2
	EQX
	936
	Max Drift Y
	3E-06
	0
	17.5
	4.25

	Story2
	EQY
	792
	Max Drift X
	7E-06
	45.3
	27.95
	4.25

	Story2
	EQY
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	Story2
	EQXMIN
	929
	Max Drift X
	3.3E-05
	82.05
	27.95
	4.25

	Story2
	EQXMIN
	965
	Max Drift Y
	1E-05
	0
	14.75
	4.25

	Story2
	EQXMAX
	972
	Max Drift X
	3.1E-05
	78.6
	0
	4.25

	Story2
	EQXMAX
	891
	Max Drift Y
	5E-06
	82.05
	12.85
	4.25

	Story2
	EQYMIN
	792
	Max Drift X
	1.3E-05
	45.3
	27.95
	4.25

	Story2
	EQYMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	Story2
	EQYMAX
	792
	Max Drift X
	1E-06
	45.3
	27.95
	4.25

	Story2
	EQYMAX
	929
	Max Drift Y
	4.1E-05
	82.05
	27.95
	4.25

	Story2
	WCX
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	Story2
	WCX
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	Story2
	WCY
	792
	Max Drift X
	2E-06
	45.3
	27.95
	4.25

	Story2
	WCY
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	Story2
	WCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	Story2
	WCXB1
	891
	Max Drift Y
	1E-06
	82.05
	12.85
	4.25

	Story2
	DELDL
	929
	Max Drift X
	1E-06
	82.05
	27.95
	4.25

	Story2
	DELDL
	965
	Max Drift Y
	3E-06
	0
	14.75
	4.25

	Story2
	WCXB2
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	Story2
	WCXB2
	965
	Max Drift Y
	2E-06
	0
	14.75
	4.25

	Story2
	WCYB2
	792
	Max Drift X
	4E-06
	45.3
	27.95
	4.25

	Story2
	WCYB2
	891
	Max Drift Y
	2.2E-05
	82.05
	12.85
	4.25

	Story2
	WCYB1
	972
	Max Drift X
	1E-06
	78.6
	0
	4.25

	Story2
	WCYB1
	965
	Max Drift Y
	1.4E-05
	0
	14.75
	4.25

	Story2
	WCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	WCC
	929
	Max Drift Y
	1.5E-05
	82.05
	27.95
	4.25

	Story2
	WCD1
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	WCD1
	891
	Max Drift Y
	1.7E-05
	82.05
	12.85
	4.25

	Story2
	WCD2
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	Story2
	WCD2
	965
	Max Drift Y
	1.2E-05
	0
	14.75
	4.25

	Story2
	PF1
	929
	Max Drift X
	1.2E-05
	82.05
	27.95
	4.25

	Story2
	PF1
	965
	Max Drift Y
	2.8E-05
	0
	14.75
	4.25

	Story2
	PF2
	929
	Max Drift X
	1.3E-05
	82.05
	27.95
	4.25

	Story2
	PF2
	965
	Max Drift Y
	3E-05
	0
	14.75
	4.25

	Story2
	PF4WX
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	PF4WX
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	Story2
	PF4WY
	792
	Max Drift X
	1.3E-05
	45.3
	27.95
	4.25

	Story2
	PF4WY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	Story2
	PF4WXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	Story2
	PF4WXB1
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	Story2
	PF4WXB2
	972
	Max Drift X
	3E-06
	78.6
	0
	4.25

	Story2
	PF4WXB2
	965
	Max Drift Y
	2.2E-05
	0
	14.75
	4.25

	Story2
	PF4WYB1
	929
	Max Drift X
	9E-06
	82.05
	27.95
	4.25

	Story2
	PF4WYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4WYB2
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	Story2
	PF4WYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4WCC
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	Story2
	PF4WCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	Story2
	PF4WCD1
	792
	Max Drift X
	1E-05
	45.3
	27.95
	4.25

	Story2
	PF4WCD1
	965
	Max Drift Y
	2.5E-05
	0
	14.75
	4.25

	Story2
	PF4WCD2
	929
	Max Drift X
	4E-06
	82.05
	27.95
	4.25

	Story2
	PF4WCD2
	965
	Max Drift Y
	8E-06
	0
	14.75
	4.25

	Story2
	PF4BWCD2
	972
	Max Drift X
	1E-06
	78.6
	0
	4.25

	Story2
	PF4BWCD2
	891
	Max Drift Y
	6E-06
	82.05
	12.85
	4.25

	Story2
	PF4BWCX
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	Story2
	PF4BWCX
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	Story2
	PF4BWCY
	929
	Max Drift X
	1E-05
	82.05
	27.95
	4.25

	Story2
	PF4BWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	Story2
	PF4BWCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	Story2
	PF4BWCXB1
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	Story2
	PF4BWCXB2
	972
	Max Drift X
	4E-06
	78.6
	0
	4.25

	Story2
	PF4BWCXB2
	965
	Max Drift Y
	1.5E-05
	0
	14.75
	4.25

	Story2
	PF4BWCYB1
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	Story2
	PF4BWCYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4BWCYB2
	929
	Max Drift X
	1.3E-05
	82.05
	27.95
	4.25

	Story2
	PF4BWCYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4BWCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	PF4BWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	Story2
	PF4BWCD1
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	Story2
	PF4BWCD1
	891
	Max Drift Y
	2.4E-05
	82.05
	12.85
	4.25

	Story2
	PF4DWCX
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	Story2
	PF4DWCX
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	Story2
	PF4DWCY
	929
	Max Drift X
	1.1E-05
	82.05
	27.95
	4.25

	Story2
	PF4DWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	Story2
	PF4DWCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	Story2
	PF4DWCXB1
	965
	Max Drift Y
	2.1E-05
	0
	14.75
	4.25

	Story2
	PF4DWCXB2
	972
	Max Drift X
	4E-06
	78.6
	0
	4.25

	Story2
	PF4DWCXB2
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	Story2
	PF4CYB1
	929
	Max Drift X
	7E-06
	82.05
	27.95
	4.25

	Story2
	PF4CYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4CYB2
	929
	Max Drift X
	1.4E-05
	82.05
	27.95
	4.25

	Story2
	PF4CYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4DWCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	PF4DWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	Story2
	PF4DWCD1
	792
	Max Drift X
	8E-06
	45.3
	27.95
	4.25

	Story2
	PF4DWCD1
	891
	Max Drift Y
	2.4E-05
	82.05
	12.85
	4.25

	Story2
	PF4DWCD2
	929
	Max Drift X
	2E-06
	82.05
	27.95
	4.25

	Story2
	PF4DWCD2
	891
	Max Drift Y
	6E-06
	82.05
	12.85
	4.25

	Story2
	PF4CWCX
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	Story2
	PF4CWCX
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	Story2
	PF4CWCY
	792
	Max Drift X
	1.4E-05
	45.3
	27.95
	4.25

	Story2
	PF4CWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	Story2
	PF4CWCXB1
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	Story2
	PF4CWCXB1
	965
	Max Drift Y
	2.8E-05
	0
	14.75
	4.25

	Story2
	PF4CWCXB2
	929
	Max Drift X
	4E-06
	82.05
	27.95
	4.25

	Story2
	PF4CWCXB2
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	Story2
	PF4CWCYB1
	929
	Max Drift X
	1E-05
	82.05
	27.95
	4.25

	Story2
	PF4CWCYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4CWCYB2
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	Story2
	PF4CWCYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	Story2
	PF4CWCC
	792
	Max Drift X
	6E-06
	45.3
	27.95
	4.25

	Story2
	PF4CWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	Story2
	PF4CWCD1
	792
	Max Drift X
	1.1E-05
	45.3
	27.95
	4.25

	Story2
	PF4CWCD1
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	Story2
	PF4CWCD2
	792
	Max Drift X
	5E-06
	45.3
	27.95
	4.25

	Story2
	PF4CWCD2
	965
	Max Drift Y
	1E-05
	0
	14.75
	4.25

	Story2
	PFEQ2X
	972
	Max Drift X
	2.6E-05
	78.6
	0
	4.25

	Story2
	PFEQ2X
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	Story2
	PFEQ2Y
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	Story2
	PFEQ2Y
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	Story2
	PFEQ2XMIN
	972
	Max Drift X
	2.4E-05
	78.6
	0
	4.25

	Story2
	PFEQ2XMIN
	965
	Max Drift Y
	1.2E-05
	0
	14.75
	4.25

	Story2
	PFEQ2XMAX
	972
	Max Drift X
	2.9E-05
	78.6
	0
	4.25

	Story2
	PFEQ2XMAX
	965
	Max Drift Y
	2.5E-05
	0
	14.75
	4.25

	Story2
	PFEQ2YMIN
	792
	Max Drift X
	2.2E-05
	45.3
	27.95
	4.25

	Story2
	PFEQ2YMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	Story2
	PFEQ2YMAX
	792
	Max Drift X
	1.1E-05
	45.3
	27.95
	4.25

	Story2
	PFEQ2YMAX
	891
	Max Drift Y
	4.1E-05
	82.05
	12.85
	4.25

	Story2
	PFEQ1X
	972
	Max Drift X
	2.7E-05
	78.6
	0
	4.25

	Story2
	PFEQ1X
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	Story2
	PFEQ1Y
	929
	Max Drift X
	1.5E-05
	82.05
	27.95
	4.25

	Story2
	PFEQ1Y
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	Story2
	PFEQ1XMIN
	972
	Max Drift X
	2.4E-05
	78.6
	0
	4.25

	Story2
	PFEQ1XMIN
	30
	Max Drift Y
	1.1E-05
	46.1
	19.3
	4.25

	Story2
	PFEQ1XMAX
	972
	Max Drift X
	2.9E-05
	78.6
	0
	4.25

	Story2
	PFEQ1XMAX
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	Story2
	PFEQ1YMIN
	929
	Max Drift X
	2.1E-05
	82.05
	27.95
	4.25

	Story2
	PFEQ1YMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	Story2
	PFEQ1YMAX
	792
	Max Drift X
	1E-05
	45.3
	27.95
	4.25

	Story2
	PFEQ1YMAX
	891
	Max Drift Y
	4.1E-05
	82.05
	12.85
	4.25

	GROUND
	OW
	929
	Max Drift X
	7E-06
	82.05
	27.95
	4.25

	GROUND
	OW
	965
	Max Drift Y
	1.6E-05
	0
	14.75
	4.25

	GROUND
	EQDL
	929
	Max Drift X
	4.677E-07
	82.05
	27.95
	4.25

	GROUND
	EQDL
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	GROUND
	LL
	792
	Max Drift X
	2E-06
	45.3
	27.95
	4.25

	GROUND
	LL
	965
	Max Drift Y
	4E-06
	0
	14.75
	4.25

	GROUND
	FACADE
	929
	Max Drift X
	3.908E-07
	82.05
	27.95
	4.25

	GROUND
	FACADE
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	GROUND
	EQX
	929
	Max Drift X
	3E-05
	82.05
	27.95
	4.25

	GROUND
	EQX
	936
	Max Drift Y
	3E-06
	0
	17.5
	4.25

	GROUND
	EQY
	792
	Max Drift X
	7E-06
	45.3
	27.95
	4.25

	GROUND
	EQY
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	GROUND
	EQXMIN
	929
	Max Drift X
	3.3E-05
	82.05
	27.95
	4.25

	GROUND
	EQXMIN
	965
	Max Drift Y
	1E-05
	0
	14.75
	4.25

	GROUND
	EQXMAX
	972
	Max Drift X
	3.1E-05
	78.6
	0
	4.25

	GROUND
	EQXMAX
	891
	Max Drift Y
	5E-06
	82.05
	12.85
	4.25

	GROUND
	EQYMIN
	792
	Max Drift X
	1.3E-05
	45.3
	27.95
	4.25

	GROUND
	EQYMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	GROUND
	EQYMAX
	792
	Max Drift X
	1E-06
	45.3
	27.95
	4.25

	GROUND
	EQYMAX
	929
	Max Drift Y
	4.1E-05
	82.05
	27.95
	4.25

	GROUND
	WCX
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	GROUND
	WCX
	965
	Max Drift Y
	1E-06
	0
	14.75
	4.25

	GROUND
	WCY
	792
	Max Drift X
	2E-06
	45.3
	27.95
	4.25

	GROUND
	WCY
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	GROUND
	WCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	GROUND
	WCXB1
	891
	Max Drift Y
	1E-06
	82.05
	12.85
	4.25

	GROUND
	DELDL
	929
	Max Drift X
	1E-06
	82.05
	27.95
	4.25

	GROUND
	DELDL
	965
	Max Drift Y
	3E-06
	0
	14.75
	4.25

	GROUND
	WCXB2
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	GROUND
	WCXB2
	965
	Max Drift Y
	2E-06
	0
	14.75
	4.25

	GROUND
	WCYB2
	792
	Max Drift X
	4E-06
	45.3
	27.95
	4.25

	GROUND
	WCYB2
	891
	Max Drift Y
	2.2E-05
	82.05
	12.85
	4.25

	GROUND
	WCYB1
	972
	Max Drift X
	1E-06
	78.6
	0
	4.25

	GROUND
	WCYB1
	965
	Max Drift Y
	1.4E-05
	0
	14.75
	4.25

	GROUND
	WCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	WCC
	929
	Max Drift Y
	1.5E-05
	82.05
	27.95
	4.25

	GROUND
	WCD1
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	WCD1
	891
	Max Drift Y
	1.7E-05
	82.05
	12.85
	4.25

	GROUND
	WCD2
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	GROUND
	WCD2
	965
	Max Drift Y
	1.2E-05
	0
	14.75
	4.25

	GROUND
	PF1
	929
	Max Drift X
	1.2E-05
	82.05
	27.95
	4.25

	GROUND
	PF1
	965
	Max Drift Y
	2.8E-05
	0
	14.75
	4.25

	GROUND
	PF2
	929
	Max Drift X
	1.3E-05
	82.05
	27.95
	4.25

	GROUND
	PF2
	965
	Max Drift Y
	3E-05
	0
	14.75
	4.25

	GROUND
	PF4WX
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	PF4WX
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	GROUND
	PF4WY
	792
	Max Drift X
	1.3E-05
	45.3
	27.95
	4.25

	GROUND
	PF4WY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	GROUND
	PF4WXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	GROUND
	PF4WXB1
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	GROUND
	PF4WXB2
	972
	Max Drift X
	3E-06
	78.6
	0
	4.25

	GROUND
	PF4WXB2
	965
	Max Drift Y
	2.2E-05
	0
	14.75
	4.25

	GROUND
	PF4WYB1
	929
	Max Drift X
	9E-06
	82.05
	27.95
	4.25

	GROUND
	PF4WYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4WYB2
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	GROUND
	PF4WYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4WCC
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	GROUND
	PF4WCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	GROUND
	PF4WCD1
	792
	Max Drift X
	1E-05
	45.3
	27.95
	4.25

	GROUND
	PF4WCD1
	965
	Max Drift Y
	2.5E-05
	0
	14.75
	4.25

	GROUND
	PF4WCD2
	929
	Max Drift X
	4E-06
	82.05
	27.95
	4.25

	GROUND
	PF4WCD2
	965
	Max Drift Y
	8E-06
	0
	14.75
	4.25

	GROUND
	PF4BWCD2
	972
	Max Drift X
	1E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCD2
	891
	Max Drift Y
	6E-06
	82.05
	12.85
	4.25

	GROUND
	PF4BWCX
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCX
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	GROUND
	PF4BWCY
	929
	Max Drift X
	1E-05
	82.05
	27.95
	4.25

	GROUND
	PF4BWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	GROUND
	PF4BWCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCXB1
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	GROUND
	PF4BWCXB2
	972
	Max Drift X
	4E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCXB2
	965
	Max Drift Y
	1.5E-05
	0
	14.75
	4.25

	GROUND
	PF4BWCYB1
	929
	Max Drift X
	6E-06
	82.05
	27.95
	4.25

	GROUND
	PF4BWCYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4BWCYB2
	929
	Max Drift X
	1.3E-05
	82.05
	27.95
	4.25

	GROUND
	PF4BWCYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4BWCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	GROUND
	PF4BWCD1
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	GROUND
	PF4BWCD1
	891
	Max Drift Y
	2.4E-05
	82.05
	12.85
	4.25

	GROUND
	PF4DWCX
	972
	Max Drift X
	7E-06
	78.6
	0
	4.25

	GROUND
	PF4DWCX
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	GROUND
	PF4DWCY
	929
	Max Drift X
	1.1E-05
	82.05
	27.95
	4.25

	GROUND
	PF4DWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	GROUND
	PF4DWCXB1
	972
	Max Drift X
	5E-06
	78.6
	0
	4.25

	GROUND
	PF4DWCXB1
	965
	Max Drift Y
	2.1E-05
	0
	14.75
	4.25

	GROUND
	PF4DWCXB2
	972
	Max Drift X
	4E-06
	78.6
	0
	4.25

	GROUND
	PF4DWCXB2
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	GROUND
	PF4CYB1
	929
	Max Drift X
	7E-06
	82.05
	27.95
	4.25

	GROUND
	PF4CYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4CYB2
	929
	Max Drift X
	1.4E-05
	82.05
	27.95
	4.25

	GROUND
	PF4CYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4DWCC
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	PF4DWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	GROUND
	PF4DWCD1
	792
	Max Drift X
	8E-06
	45.3
	27.95
	4.25

	GROUND
	PF4DWCD1
	891
	Max Drift Y
	2.4E-05
	82.05
	12.85
	4.25

	GROUND
	PF4DWCD2
	929
	Max Drift X
	2E-06
	82.05
	27.95
	4.25

	GROUND
	PF4DWCD2
	891
	Max Drift Y
	6E-06
	82.05
	12.85
	4.25

	GROUND
	PF4CWCX
	972
	Max Drift X
	6E-06
	78.6
	0
	4.25

	GROUND
	PF4CWCX
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	GROUND
	PF4CWCY
	792
	Max Drift X
	1.4E-05
	45.3
	27.95
	4.25

	GROUND
	PF4CWCY
	891
	Max Drift Y
	2.8E-05
	82.05
	12.85
	4.25

	GROUND
	PF4CWCXB1
	929
	Max Drift X
	5E-06
	82.05
	27.95
	4.25

	GROUND
	PF4CWCXB1
	965
	Max Drift Y
	2.8E-05
	0
	14.75
	4.25

	GROUND
	PF4CWCXB2
	929
	Max Drift X
	4E-06
	82.05
	27.95
	4.25

	GROUND
	PF4CWCXB2
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	GROUND
	PF4CWCYB1
	929
	Max Drift X
	1E-05
	82.05
	27.95
	4.25

	GROUND
	PF4CWCYB1
	891
	Max Drift Y
	1.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4CWCYB2
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	GROUND
	PF4CWCYB2
	891
	Max Drift Y
	3.1E-05
	82.05
	12.85
	4.25

	GROUND
	PF4CWCC
	792
	Max Drift X
	6E-06
	45.3
	27.95
	4.25

	GROUND
	PF4CWCC
	891
	Max Drift Y
	2E-05
	82.05
	12.85
	4.25

	GROUND
	PF4CWCD1
	792
	Max Drift X
	1.1E-05
	45.3
	27.95
	4.25

	GROUND
	PF4CWCD1
	965
	Max Drift Y
	2.6E-05
	0
	14.75
	4.25

	GROUND
	PF4CWCD2
	792
	Max Drift X
	5E-06
	45.3
	27.95
	4.25

	GROUND
	PF4CWCD2
	965
	Max Drift Y
	1E-05
	0
	14.75
	4.25

	GROUND
	PFEQ2X
	972
	Max Drift X
	2.6E-05
	78.6
	0
	4.25

	GROUND
	PFEQ2X
	965
	Max Drift Y
	1.9E-05
	0
	14.75
	4.25

	GROUND
	PFEQ2Y
	792
	Max Drift X
	1.6E-05
	45.3
	27.95
	4.25

	GROUND
	PFEQ2Y
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	GROUND
	PFEQ2XMIN
	972
	Max Drift X
	2.4E-05
	78.6
	0
	4.25

	GROUND
	PFEQ2XMIN
	965
	Max Drift Y
	1.2E-05
	0
	14.75
	4.25

	GROUND
	PFEQ2XMAX
	972
	Max Drift X
	2.9E-05
	78.6
	0
	4.25

	GROUND
	PFEQ2XMAX
	965
	Max Drift Y
	2.5E-05
	0
	14.75
	4.25

	GROUND
	PFEQ2YMIN
	792
	Max Drift X
	2.2E-05
	45.3
	27.95
	4.25

	GROUND
	PFEQ2YMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	GROUND
	PFEQ2YMAX
	792
	Max Drift X
	1.1E-05
	45.3
	27.95
	4.25

	GROUND
	PFEQ2YMAX
	891
	Max Drift Y
	4.1E-05
	82.05
	12.85
	4.25

	GROUND
	PFEQ1X
	972
	Max Drift X
	2.7E-05
	78.6
	0
	4.25

	GROUND
	PFEQ1X
	965
	Max Drift Y
	1.7E-05
	0
	14.75
	4.25

	GROUND
	PFEQ1Y
	929
	Max Drift X
	1.5E-05
	82.05
	27.95
	4.25

	GROUND
	PFEQ1Y
	891
	Max Drift Y
	5.8E-05
	82.05
	12.85
	4.25

	GROUND
	PFEQ1XMIN
	972
	Max Drift X
	2.4E-05
	78.6
	0
	4.25

	GROUND
	PFEQ1XMIN
	30
	Max Drift Y
	1.1E-05
	46.1
	19.3
	4.25

	GROUND
	PFEQ1XMAX
	972
	Max Drift X
	2.9E-05
	78.6
	0
	4.25

	GROUND
	PFEQ1XMAX
	965
	Max Drift Y
	2.4E-05
	0
	14.75
	4.25

	GROUND
	PFEQ1YMIN
	929
	Max Drift X
	2.1E-05
	82.05
	27.95
	4.25

	GROUND
	PFEQ1YMIN
	891
	Max Drift Y
	7.5E-05
	82.05
	12.85
	4.25

	GROUND
	PFEQ1YMAX
	792
	Max Drift X
	1E-05
	45.3
	27.95
	4.25

	GROUND
	PFEQ1YMAX
	891
	Max Drift Y
	4.1E-05
	82.05
	12.85
	4.25



Table 3.5 - Story Forces
	Story
	Load Case/Combo
	Location
	P
kN
	VX
kN
	VY
kN
	T
kN-m
	MX
kN-m
	MY
kN-m

	UPPER ROOF
	DELDL
	Top
	108.5857
	0
	0
	0
	1550.0616
	-5355.9921

	UPPER ROOF
	DELDL
	Bottom
	108.5857
	0
	0
	0
	1550.0616
	-5355.9921

	PENTHOUSE
	DELDL
	Top
	988.026
	0
	0
	0
	13842.4221
	-50085.8143

	PENTHOUSE
	DELDL
	Bottom
	988.026
	0
	0
	0
	13842.4221
	-50085.8143

	Story14
	DELDL
	Top
	1969.9973
	0
	0
	0
	27755.9832
	-99454.5447

	Story14
	DELDL
	Bottom
	1969.9973
	0
	0
	0
	27755.9832
	-99454.5447

	Story13
	DELDL
	Top
	2980.354
	0
	0
	0
	41551.0085
	-150428

	Story13
	DELDL
	Bottom
	2980.354
	0
	0
	0
	41551.0085
	-150428

	Story12
	DELDL
	Top
	4199.2535
	0
	0
	0
	57708.9277
	-207457

	Story12
	DELDL
	Bottom
	4199.2535
	0
	0
	0
	57708.9277
	-207457

	Story11
	DELDL
	Top
	5513.4592
	0
	0
	0
	75309.8067
	-269753

	Story11
	DELDL
	Bottom
	5513.4592
	0
	0
	0
	75309.8067
	-269753

	Story10
	DELDL
	Top
	7025.07
	0
	0
	0
	95885.0917
	-343407

	Story10
	DELDL
	Bottom
	7025.07
	0
	0
	0
	95885.0917
	-343407

	Story9
	DELDL
	Top
	9033.1215
	0
	0
	0
	122323.5185
	-427228

	Story9
	DELDL
	Bottom
	9033.1215
	0
	0
	0
	122323.5185
	-427228

	Story8
	DELDL
	Top
	11100.3587
	0
	0
	0
	149412.4743
	-511982

	Story8
	DELDL
	Bottom
	11100.3587
	0
	0
	0
	149412.4743
	-511982

	Story7
	DELDL
	Top
	13194.3142
	0
	0
	0
	176894.623
	-599533

	Story7
	DELDL
	Bottom
	13194.3142
	0
	0
	0
	176894.623
	-599533

	Story6
	DELDL
	Top
	15583.7565
	0
	0
	0
	208631.8522
	-707824

	Story6
	DELDL
	Bottom
	15583.7565
	0
	0
	0
	208631.8522
	-707824

	Story5
	DELDL
	Top
	18206.1847
	0
	0
	0
	243457.3343
	-822046

	Story5
	DELDL
	Bottom
	18206.1847
	0
	0
	0
	243457.3343
	-822046

	Story4
	DELDL
	Top
	20840.0075
	0
	0
	0
	278362.3754
	-936768

	Story4
	DELDL
	Bottom
	20840.0075
	0
	0
	0
	278362.3754
	-936768

	Story3
	DELDL
	Top
	23430.0788
	0
	0
	0
	312992.6377
	-1048932

	Story3
	DELDL
	Bottom
	23430.0788
	0
	0
	0
	312992.6377
	-1048932

	Story2
	DELDL
	Top
	26173.807
	0
	0
	0
	350130.3107
	-1164716

	Story2
	DELDL
	Bottom
	26173.807
	0
	0
	0
	350130.3107
	-1164716

	UPPER ROOF
	EQDL
	Top
	41.7637
	0
	0
	0
	596.1775
	-2059.997

	UPPER ROOF
	EQDL
	Bottom
	41.7637
	0
	0
	0
	596.1775
	-2059.997

	PENTHOUSE
	EQDL
	Top
	380.01
	0
	0
	0
	5324.0085
	-19263.7747

	PENTHOUSE
	EQDL
	Bottom
	380.01
	0
	0
	0
	5324.0085
	-19263.7747

	Story14
	EQDL
	Top
	757.6913
	0
	0
	0
	10675.3782
	-38251.748

	Story14
	EQDL
	Bottom
	757.6913
	0
	0
	0
	10675.3782
	-38251.748

	Story13
	EQDL
	Top
	1146.29
	0
	0
	0
	15981.1571
	-57857.0667

	Story13
	EQDL
	Bottom
	1146.29
	0
	0
	0
	15981.1571
	-57857.0667

	Story12
	EQDL
	Top
	1615.0975
	0
	0
	0
	22195.7414
	-79791.2967

	Story12
	EQDL
	Bottom
	1615.0975
	0
	0
	0
	22195.7414
	-79791.2967

	Story11
	EQDL
	Top
	2120.5612
	0
	0
	0
	28965.3103
	-103751

	Story11
	EQDL
	Bottom
	2120.5612
	0
	0
	0
	28965.3103
	-103751

	Story10
	EQDL
	Top
	2701.95
	0
	0
	0
	36878.8814
	-132080

	Story10
	EQDL
	Bottom
	2701.95
	0
	0
	0
	36878.8814
	-132080

	Story9
	EQDL
	Top
	3474.2775
	0
	0
	0
	47047.5071
	-164318

	Story9
	EQDL
	Bottom
	3474.2775
	0
	0
	0
	47047.5071
	-164318

	Story8
	EQDL
	Top
	4269.3687
	0
	0
	0
	57466.3363
	-196916

	Story8
	EQDL
	Bottom
	4269.3687
	0
	0
	0
	57466.3363
	-196916

	Story7
	EQDL
	Top
	5074.7362
	0
	0
	0
	68036.3935
	-230590

	Story7
	EQDL
	Bottom
	5074.7362
	0
	0
	0
	68036.3935
	-230590

	Story6
	EQDL
	Top
	5993.7525
	0
	0
	0
	80243.0201
	-272240

	Story6
	EQDL
	Bottom
	5993.7525
	0
	0
	0
	80243.0201
	-272240

	Story5
	EQDL
	Top
	7002.3787
	0
	0
	0
	93637.4363
	-316171

	Story5
	EQDL
	Bottom
	7002.3787
	0
	0
	0
	93637.4363
	-316171

	Story4
	EQDL
	Top
	8015.3875
	0
	0
	0
	107062.4521
	-360295

	Story4
	EQDL
	Bottom
	8015.3875
	0
	0
	0
	107062.4521
	-360295

	Story3
	EQDL
	Top
	9011.5688
	0
	0
	0
	120381.7837
	-403436

	Story3
	EQDL
	Bottom
	9011.5688
	0
	0
	0
	120381.7837
	-403436

	Story2
	EQDL
	Top
	10066.8488
	0
	0
	0
	134665.5041
	-447968

	Story2
	EQDL
	Bottom
	10066.8488
	0
	0
	0
	134665.5041
	-447968

	UPPER ROOF
	EQX
	Top
	0
	-98.9751
	0
	1469.1475
	0
	0

	UPPER ROOF
	EQX
	Bottom
	0
	-98.9751
	0
	1469.1475
	0
	-430.5417

	PENTHOUSE
	EQX
	Top
	0
	-747.6332
	0
	10830.0524
	0
	-430.5417

	PENTHOUSE
	EQX
	Bottom
	0
	-747.6332
	0
	10830.0524
	0
	-3024.8289

	Story14
	EQX
	Top
	0
	-1525.0269
	0
	21789.4378
	0
	-3024.8289

	Story14
	EQX
	Bottom
	0
	-1525.0269
	0
	21789.4378
	0
	-7981.1663

	Story13
	EQX
	Top
	0
	-2216.5902
	0
	31436.0305
	0
	-7981.1663

	Story13
	EQX
	Bottom
	0
	-2216.5902
	0
	31436.0305
	0
	-14520.1073

	Story12
	EQX
	Top
	0
	-3005.3233
	0
	42123.2319
	0
	-14520.1073

	Story12
	EQX
	Bottom
	0
	-3005.3233
	0
	42123.2319
	0
	-23686.3435

	Story11
	EQX
	Top
	0
	-3769.4878
	0
	52547.5374
	0
	-23686.3435

	Story11
	EQX
	Bottom
	0
	-3769.4878
	0
	52547.5374
	0
	-34806.3323

	Story10
	EQX
	Top
	0
	-4597.5529
	0
	63963.2195
	0
	-34806.3323

	Story10
	EQX
	Bottom
	0
	-4597.5529
	0
	63963.2195
	0
	-48828.8687

	Story9
	EQX
	Top
	0
	-5526.5135
	0
	76387.4462
	0
	-48828.8687

	Story9
	EQX
	Bottom
	0
	-5526.5135
	0
	76387.4462
	0
	-66790.0377

	Story8
	EQX
	Top
	0
	-6386.0384
	0
	87766.9977
	0
	-66790.0377

	Story8
	EQX
	Bottom
	0
	-6386.0384
	0
	87766.9977
	0
	-85628.8509

	Story7
	EQX
	Top
	0
	-7132.2681
	0
	97638.3535
	0
	-85628.8509

	Story7
	EQX
	Bottom
	0
	-7132.2681
	0
	97638.3535
	0
	-106669

	Story6
	EQX
	Top
	0
	-7882.3745
	0
	107887.2924
	0
	-106669

	Story6
	EQX
	Bottom
	0
	-7882.3745
	0
	107887.2924
	0
	-130710

	Story5
	EQX
	Top
	0
	-8516.955
	0
	116381.3006
	0
	-130710

	Story5
	EQX
	Bottom
	0
	-8516.955
	0
	116381.3006
	0
	-154473

	Story4
	EQX
	Top
	0
	-9012.6772
	0
	122994.0814
	0
	-154473

	Story4
	EQX
	Bottom
	0
	-9012.6772
	0
	122994.0814
	-5.131E-07
	-179618

	Story3
	EQX
	Top
	0
	-9397.7437
	0
	128238.5119
	0
	-179618

	Story3
	EQX
	Bottom
	0
	-9397.7437
	0
	128238.5119
	0
	-207341

	Story2
	EQX
	Top
	0
	-9668.567
	0
	131955.0415
	0
	-207341

	Story2
	EQX
	Bottom
	0
	-9668.567
	0
	131955.0415
	0
	-248433

	UPPER ROOF
	EQXMAX
	Top
	0
	-98.9751
	0
	1405.3085
	0
	0

	UPPER ROOF
	EQXMAX
	Bottom
	0
	-98.9751
	0
	1405.3085
	0
	-430.5417

	PENTHOUSE
	EQXMAX
	Top
	0
	-747.6332
	0
	9183.4877
	0
	-430.5417

	PENTHOUSE
	EQXMAX
	Bottom
	0
	-747.6332
	0
	9183.4877
	0
	-3024.8289

	Story14
	EQXMAX
	Top
	0
	-1525.0269
	0
	17970.0577
	0
	-3024.8289

	Story14
	EQXMAX
	Bottom
	0
	-1525.0269
	0
	17970.0577
	0
	-7981.1663

	Story13
	EQXMAX
	Top
	0
	-2216.5902
	0
	25683.731
	0
	-7981.1663

	Story13
	EQXMAX
	Bottom
	0
	-2216.5902
	0
	25683.731
	0
	-14520.1073

	Story12
	EQXMAX
	Top
	0
	-3005.3233
	0
	34166.4233
	0
	-14520.1073

	Story12
	EQXMAX
	Bottom
	0
	-3005.3233
	0
	34166.4233
	0
	-23686.3435

	Story11
	EQXMAX
	Top
	0
	-3769.4878
	0
	42454.8892
	0
	-23686.3435

	Story11
	EQXMAX
	Bottom
	0
	-3769.4878
	0
	42454.8892
	0
	-34806.3323

	Story10
	EQXMAX
	Top
	0
	-4597.5529
	0
	51556.1292
	0
	-34806.3323

	Story10
	EQXMAX
	Bottom
	0
	-4597.5529
	0
	51556.1292
	0
	-48828.8687

	Story9
	EQXMAX
	Top
	0
	-5526.5135
	0
	61383.911
	0
	-48828.8687

	Story9
	EQXMAX
	Bottom
	0
	-5526.5135
	0
	61383.911
	0
	-66790.0377

	Story8
	EQXMAX
	Top
	0
	-6386.0384
	0
	70361.0905
	0
	-66790.0377

	Story8
	EQXMAX
	Bottom
	0
	-6386.0384
	0
	70361.0905
	-5.14E-07
	-85628.8509

	Story7
	EQXMAX
	Top
	0
	-7132.2681
	0
	78146.7342
	-5.322E-07
	-85628.8509

	Story7
	EQXMAX
	Bottom
	0
	-7132.2681
	0
	78146.7342
	-5.683E-07
	-106669

	Story6
	EQXMAX
	Top
	0
	-7882.3745
	0
	86299.1257
	-5.075E-07
	-106669

	Story6
	EQXMAX
	Bottom
	0
	-7882.3745
	0
	86299.1257
	-5.474E-07
	-130710

	Story5
	EQXMAX
	Top
	0
	-8516.955
	0
	93019.4815
	-5.773E-07
	-130710

	Story5
	EQXMAX
	Bottom
	0
	-8516.955
	0
	93019.4815
	-6.138E-07
	-154473

	Story4
	EQXMAX
	Top
	0
	-9012.6772
	0
	98246.7188
	-6.684E-07
	-154473

	Story4
	EQXMAX
	Bottom
	0
	-9012.6772
	0
	98246.7188
	-7.047E-07
	-179618

	Story3
	EQXMAX
	Top
	0
	-9397.7437
	0
	102414.8884
	0
	-179618

	Story3
	EQXMAX
	Bottom
	0
	-9397.7437
	0
	102414.8884
	0
	-207341

	Story2
	EQXMAX
	Top
	0
	-9668.567
	0
	105375.4245
	0
	-207341

	Story2
	EQXMAX
	Bottom
	0
	-9668.567
	0
	105375.4245
	0
	-248433

	UPPER ROOF
	EQXMIN
	Top
	0
	-98.9751
	0
	1532.9864
	0
	0

	UPPER ROOF
	EQXMIN
	Bottom
	0
	-98.9751
	0
	1532.9864
	0
	-430.5417

	PENTHOUSE
	EQXMIN
	Top
	0
	-747.6332
	0
	12476.6171
	0
	-430.5417

	PENTHOUSE
	EQXMIN
	Bottom
	0
	-747.6332
	0
	12476.6171
	0
	-3024.8289

	Story14
	EQXMIN
	Top
	0
	-1525.0269
	0
	25608.8179
	0
	-3024.8289

	Story14
	EQXMIN
	Bottom
	0
	-1525.0269
	0
	25608.8179
	0
	-7981.1663

	Story13
	EQXMIN
	Top
	0
	-2216.5902
	0
	37188.3299
	0
	-7981.1663

	Story13
	EQXMIN
	Bottom
	0
	-2216.5902
	0
	37188.3299
	0
	-14520.1073

	Story12
	EQXMIN
	Top
	0
	-3005.3233
	0
	50080.0405
	0
	-14520.1073

	Story12
	EQXMIN
	Bottom
	0
	-3005.3233
	0
	50080.0405
	0
	-23686.3435

	Story11
	EQXMIN
	Top
	0
	-3769.4878
	0
	62640.1855
	0
	-23686.3435

	Story11
	EQXMIN
	Bottom
	0
	-3769.4878
	0
	62640.1855
	0
	-34806.3323

	Story10
	EQXMIN
	Top
	0
	-4597.5529
	0
	76370.3098
	0
	-34806.3323

	Story10
	EQXMIN
	Bottom
	0
	-4597.5529
	0
	76370.3098
	0
	-48828.8687

	Story9
	EQXMIN
	Top
	0
	-5526.5135
	0
	91390.9814
	0
	-48828.8687

	Story9
	EQXMIN
	Bottom
	0
	-5526.5135
	0
	91390.9814
	0
	-66790.0377

	Story8
	EQXMIN
	Top
	0
	-6386.0384
	0
	105172.9049
	0
	-66790.0377

	Story8
	EQXMIN
	Bottom
	0
	-6386.0384
	0
	105172.9049
	0
	-85628.8509

	Story7
	EQXMIN
	Top
	0
	-7132.2681
	0
	117129.9728
	0
	-85628.8509

	Story7
	EQXMIN
	Bottom
	0
	-7132.2681
	0
	117129.9728
	0
	-106669

	Story6
	EQXMIN
	Top
	0
	-7882.3745
	0
	129475.4591
	0
	-106669

	Story6
	EQXMIN
	Bottom
	0
	-7882.3745
	0
	129475.4591
	0
	-130710

	Story5
	EQXMIN
	Top
	0
	-8516.955
	0
	139743.1198
	0
	-130710

	Story5
	EQXMIN
	Bottom
	0
	-8516.955
	0
	139743.1198
	0
	-154473

	Story4
	EQXMIN
	Top
	0
	-9012.6772
	0
	147741.444
	0
	-154473

	Story4
	EQXMIN
	Bottom
	0
	-9012.6772
	0
	147741.444
	0
	-179618

	Story3
	EQXMIN
	Top
	0
	-9397.7437
	0
	154062.1355
	6.299E-07
	-179618

	Story3
	EQXMIN
	Bottom
	0
	-9397.7437
	0
	154062.1355
	6.411E-07
	-207341

	Story2
	EQXMIN
	Top
	0
	-9668.567
	0
	158534.6586
	6.026E-07
	-207341

	Story2
	EQXMIN
	Bottom
	0
	-9668.567
	0
	158534.6586
	6.189E-07
	-248433

	UPPER ROOF
	EQY
	Top
	0
	0
	-111.1294
	-5513.9254
	0
	0

	UPPER ROOF
	EQY
	Bottom
	0
	0
	-111.1294
	-5513.9254
	483.4127
	0

	PENTHOUSE
	EQY
	Top
	0
	0
	-839.4434
	-42181.4795
	483.4127
	0

	PENTHOUSE
	EQY
	Bottom
	0
	0
	-839.4434
	-42181.4795
	3396.2811
	0

	Story14
	EQY
	Top
	0
	0
	-1712.3018
	-86353.4477
	3396.2811
	0

	Story14
	EQY
	Bottom
	0
	0
	-1712.3018
	-86353.4477
	8961.2621
	0

	Story13
	EQY
	Top
	0
	0
	-2488.7898
	-125410
	8961.2621
	0

	Story13
	EQY
	Bottom
	0
	0
	-2488.7898
	-125410
	16303.1922
	0

	Story12
	EQY
	Top
	0
	0
	-3374.3803
	-166767
	16303.1922
	0

	Story12
	EQY
	Bottom
	0
	0
	-3374.3803
	-166767
	26595.0521
	0

	Story11
	EQY
	Top
	0
	0
	-4232.3849
	-207132
	26595.0521
	0

	Story11
	EQY
	Bottom
	0
	0
	-4232.3849
	-207132
	39080.5876
	0

	Story10
	EQY
	Top
	0
	0
	-5162.1374
	-252932
	39080.5876
	0

	Story10
	EQY
	Bottom
	0
	0
	-5162.1374
	-252932
	54825.1066
	0

	Story9
	EQY
	Top
	0
	0
	-6205.1754
	-298120
	54825.1066
	0

	Story9
	EQY
	Bottom
	0
	0
	-6205.1754
	-298120
	74991.9265
	0

	Story8
	EQY
	Top
	0
	0
	-7170.2508
	-338159
	74991.9265
	0

	Story8
	EQY
	Bottom
	0
	0
	-7170.2508
	-338159
	96144.1664
	0

	Story7
	EQY
	Top
	0
	0
	-8008.1184
	-373375
	96144.1664
	0

	Story7
	EQY
	Bottom
	0
	0
	-8008.1184
	-373375
	119768.1155
	0

	Story6
	EQY
	Top
	0
	0
	-8850.3386
	-411345
	119768.1155
	0

	Story6
	EQY
	Bottom
	0
	0
	-8850.3386
	-411345
	146761.6484
	0

	Story5
	EQY
	Top
	0
	0
	-9562.8463
	-442659
	146761.6484
	-5.04E-07

	Story5
	EQY
	Bottom
	0
	0
	-9562.8463
	-442659
	173441.9896
	0

	Story4
	EQY
	Top
	0
	0
	-10119.4437
	-467034
	173441.9896
	-9.742E-07

	Story4
	EQY
	Bottom
	0
	0
	-10119.4437
	-467034
	201675.2374
	-1.017E-06

	Story3
	EQY
	Top
	0
	0
	-10551.7968
	-486778
	201675.2374
	1.705E-06

	Story3
	EQY
	Bottom
	0
	0
	-10551.7968
	-486778
	232803.0379
	1.641E-06

	Story2
	EQY
	Top
	0
	0
	-10855.8774
	-499324
	232803.0379
	1.748E-06

	Story2
	EQY
	Bottom
	0
	0
	-10855.8774
	-499324
	278940.517
	1.662E-06

	UPPER ROOF
	EQYMAX
	Top
	0
	0
	-111.1294
	-5370.0129
	0
	0

	UPPER ROOF
	EQYMAX
	Bottom
	0
	0
	-111.1294
	-5370.0129
	483.4127
	0

	PENTHOUSE
	EQYMAX
	Top
	0
	0
	-839.4434
	-39950.9474
	483.4127
	0

	PENTHOUSE
	EQYMAX
	Bottom
	0
	0
	-839.4434
	-39950.9474
	3396.2811
	0

	Story14
	EQYMAX
	Top
	0
	0
	-1712.3018
	-81251.2111
	3396.2811
	0

	Story14
	EQYMAX
	Bottom
	0
	0
	-1712.3018
	-81251.2111
	8961.2621
	0

	Story13
	EQYMAX
	Top
	0
	0
	-2488.7898
	-117671
	8961.2621
	0

	Story13
	EQYMAX
	Bottom
	0
	0
	-2488.7898
	-117671
	16303.1922
	0

	Story12
	EQYMAX
	Top
	0
	0
	-3374.3803
	-155291
	16303.1922
	0

	Story12
	EQYMAX
	Bottom
	0
	0
	-3374.3803
	-155291
	26595.0521
	0

	Story11
	EQYMAX
	Top
	0
	0
	-4232.3849
	-191890
	26595.0521
	0

	Story11
	EQYMAX
	Bottom
	0
	0
	-4232.3849
	-191890
	39080.5876
	0

	Story10
	EQYMAX
	Top
	0
	0
	-5162.1374
	-233069
	39080.5876
	0

	Story10
	EQYMAX
	Bottom
	0
	0
	-5162.1374
	-233069
	54825.1066
	0

	Story9
	EQYMAX
	Top
	0
	0
	-6205.1754
	-271238
	54825.1066
	0

	Story9
	EQYMAX
	Bottom
	0
	0
	-6205.1754
	-271238
	74991.9265
	0

	Story8
	EQYMAX
	Top
	0
	0
	-7170.2508
	-304782
	74991.9265
	0

	Story8
	EQYMAX
	Bottom
	0
	0
	-7170.2508
	-304782
	96144.1664
	0

	Story7
	EQYMAX
	Top
	0
	0
	-8008.1184
	-334216
	96144.1664
	0

	Story7
	EQYMAX
	Bottom
	0
	0
	-8008.1184
	-334216
	119768.1155
	0

	Story6
	EQYMAX
	Top
	0
	0
	-8850.3386
	-365524
	119768.1155
	0

	Story6
	EQYMAX
	Bottom
	0
	0
	-8850.3386
	-365524
	146761.6484
	0

	Story5
	EQYMAX
	Top
	0
	0
	-9562.8463
	-390881
	146761.6484
	-7.94E-07

	Story5
	EQYMAX
	Bottom
	0
	0
	-9562.8463
	-390881
	173441.9896
	-7.862E-07

	Story4
	EQYMAX
	Top
	0
	0
	-10119.4437
	-410603
	173441.9896
	-1.379E-06

	Story4
	EQYMAX
	Bottom
	0
	0
	-10119.4437
	-410603
	201675.2374
	-1.378E-06

	Story3
	EQYMAX
	Top
	0
	0
	-10551.7968
	-426733
	201675.2374
	7.445E-07

	Story3
	EQYMAX
	Bottom
	0
	0
	-10551.7968
	-426733
	232803.0379
	7.411E-07

	Story2
	EQYMAX
	Top
	0
	0
	-10855.8774
	-436740
	232803.0379
	8.244E-07

	Story2
	EQYMAX
	Bottom
	0
	0
	-10855.8774
	-436740
	278940.517
	8.216E-07

	UPPER ROOF
	EQYMIN
	Top
	0
	0
	-111.1294
	-5657.8379
	0
	0

	UPPER ROOF
	EQYMIN
	Bottom
	0
	0
	-111.1294
	-5657.8379
	483.4127
	0

	PENTHOUSE
	EQYMIN
	Top
	0
	0
	-839.4434
	-44412.0117
	483.4127
	0

	PENTHOUSE
	EQYMIN
	Bottom
	0
	0
	-839.4434
	-44412.0117
	3396.2811
	0

	Story14
	EQYMIN
	Top
	0
	0
	-1712.3018
	-91455.6843
	3396.2811
	0

	Story14
	EQYMIN
	Bottom
	0
	0
	-1712.3018
	-91455.6843
	8961.2621
	0

	Story13
	EQYMIN
	Top
	0
	0
	-2488.7898
	-133148
	8961.2621
	0

	Story13
	EQYMIN
	Bottom
	0
	0
	-2488.7898
	-133148
	16303.1922
	0

	Story12
	EQYMIN
	Top
	0
	0
	-3374.3803
	-178242
	16303.1922
	0

	Story12
	EQYMIN
	Bottom
	0
	0
	-3374.3803
	-178242
	26595.0521
	0

	Story11
	EQYMIN
	Top
	0
	0
	-4232.3849
	-222374
	26595.0521
	0

	Story11
	EQYMIN
	Bottom
	0
	0
	-4232.3849
	-222374
	39080.5876
	0

	Story10
	EQYMIN
	Top
	0
	0
	-5162.1374
	-272795
	39080.5876
	0

	Story10
	EQYMIN
	Bottom
	0
	0
	-5162.1374
	-272795
	54825.1066
	0

	Story9
	EQYMIN
	Top
	0
	0
	-6205.1754
	-325003
	54825.1066
	0

	Story9
	EQYMIN
	Bottom
	0
	0
	-6205.1754
	-325003
	74991.9265
	0

	Story8
	EQYMIN
	Top
	0
	0
	-7170.2508
	-371537
	74991.9265
	0

	Story8
	EQYMIN
	Bottom
	0
	0
	-7170.2508
	-371537
	96144.1664
	0

	Story7
	EQYMIN
	Top
	0
	0
	-8008.1184
	-412534
	96144.1664
	0

	Story7
	EQYMIN
	Bottom
	0
	0
	-8008.1184
	-412534
	119768.1155
	5.166E-07

	Story6
	EQYMIN
	Top
	0
	0
	-8850.3386
	-457166
	119768.1155
	5.417E-07

	Story6
	EQYMIN
	Bottom
	0
	0
	-8850.3386
	-457166
	146761.6484
	5.766E-07

	Story5
	EQYMIN
	Top
	0
	0
	-9562.8463
	-494436
	146761.6484
	0

	Story5
	EQYMIN
	Bottom
	0
	0
	-9562.8463
	-494436
	173441.9896
	0

	Story4
	EQYMIN
	Top
	0
	0
	-10119.4437
	-523465
	173441.9896
	-5.693E-07

	Story4
	EQYMIN
	Bottom
	0
	0
	-10119.4437
	-523465
	201675.2374
	-6.548E-07

	Story3
	EQYMIN
	Top
	0
	0
	-10551.7968
	-546823
	201675.2374
	2.664E-06

	Story3
	EQYMIN
	Bottom
	0
	0
	-10551.7968
	-546823
	232803.0379
	2.541E-06

	Story2
	EQYMIN
	Top
	0
	0
	-10855.8774
	-561908
	232803.0379
	2.669E-06

	Story2
	EQYMIN
	Bottom
	0
	0
	-10855.8774
	-561908
	278940.517
	2.501E-06

	UPPER ROOF
	FACADE
	Top
	0
	0
	0
	0
	0
	0

	UPPER ROOF
	FACADE
	Bottom
	0
	0
	0
	0
	0
	0

	PENTHOUSE
	FACADE
	Top
	155.2
	0
	0
	0
	2215.48
	-7655.24

	PENTHOUSE
	FACADE
	Bottom
	155.2
	0
	0
	0
	2215.48
	-7655.24

	Story14
	FACADE
	Top
	579.6
	0
	0
	0
	8157.08
	-29225.37

	Story14
	FACADE
	Bottom
	579.6
	0
	0
	0
	8157.08
	-29225.37

	Story13
	FACADE
	Top
	1004
	0
	0
	0
	14098.68
	-50795.5

	Story13
	FACADE
	Bottom
	1004
	0
	0
	0
	14098.68
	-50795.5

	Story12
	FACADE
	Top
	1505.2
	0
	0
	0
	20956.12
	-74022.59

	Story12
	FACADE
	Bottom
	1505.2
	0
	0
	0
	20956.12
	-74022.59

	Story11
	FACADE
	Top
	2006.4
	0
	0
	0
	27813.56
	-97249.68

	Story11
	FACADE
	Bottom
	2006.4
	0
	0
	0
	27813.56
	-97249.68

	Story10
	FACADE
	Top
	2560
	0
	0
	0
	35404.6
	-124702

	Story10
	FACADE
	Bottom
	2560
	0
	0
	0
	35404.6
	-124702

	Story9
	FACADE
	Top
	3138.4
	0
	0
	0
	43301.3
	-152609

	Story9
	FACADE
	Bottom
	3138.4
	0
	0
	0
	43301.3
	-152609

	Story8
	FACADE
	Top
	3844.4
	0
	0
	0
	52709.71
	-181166

	Story8
	FACADE
	Bottom
	3844.4
	0
	0
	0
	52709.71
	-181166

	Story7
	FACADE
	Top
	4550.4
	0
	0
	0
	62118.12
	-209723

	Story7
	FACADE
	Bottom
	4550.4
	0
	0
	0
	62118.12
	-209723

	Story6
	FACADE
	Top
	5284.4
	0
	0
	0
	72014.71
	-240465

	Story6
	FACADE
	Bottom
	5284.4
	0
	0
	0
	72014.71
	-240465

	Story5
	FACADE
	Top
	6045.2
	0
	0
	0
	82180.64
	-271247

	Story5
	FACADE
	Bottom
	6045.2
	0
	0
	0
	82180.64
	-271247

	Story4
	FACADE
	Top
	6896.8
	0
	0
	0
	93458.85
	-306828

	Story4
	FACADE
	Bottom
	6896.8
	0
	0
	0
	93458.85
	-306828

	Story3
	FACADE
	Top
	7748.4
	0
	0
	0
	104737.06
	-342409

	Story3
	FACADE
	Bottom
	7748.4
	0
	0
	0
	104737.06
	-342409

	Story2
	FACADE
	Top
	8569.4
	0
	0
	0
	115505.015
	-375480

	Story2
	FACADE
	Bottom
	8569.4
	0
	0
	0
	115505.015
	-375480

	UPPER ROOF
	LL
	Top
	158.7022
	0
	0
	0
	2265.4746
	-7827.9885

	UPPER ROOF
	LL
	Bottom
	158.7022
	0
	0
	0
	2265.4746
	-7827.9885

	PENTHOUSE
	LL
	Top
	1444.038
	0
	0
	0
	20231.2323
	-73202.344

	PENTHOUSE
	LL
	Bottom
	1444.038
	0
	0
	0
	20231.2323
	-73202.344

	Story14
	LL
	Top
	2879.2268
	0
	0
	0
	40566.437
	-145357

	Story14
	LL
	Bottom
	2879.2268
	0
	0
	0
	40566.437
	-145357

	Story13
	LL
	Top
	4355.902
	0
	0
	0
	60728.3971
	-219857

	Story13
	LL
	Bottom
	4355.902
	0
	0
	0
	60728.3971
	-219857

	Story12
	LL
	Top
	6137.3705
	0
	0
	0
	84343.8175
	-303207

	Story12
	LL
	Bottom
	6137.3705
	0
	0
	0
	84343.8175
	-303207

	Story11
	LL
	Top
	8058.1327
	0
	0
	0
	110068.1791
	-394254

	Story11
	LL
	Bottom
	8058.1327
	0
	0
	0
	110068.1791
	-394254

	Story10
	LL
	Top
	10267.41
	0
	0
	0
	140139.7495
	-501903

	Story10
	LL
	Bottom
	10267.41
	0
	0
	0
	140139.7495
	-501903

	Story9
	LL
	Top
	13202.2545
	0
	0
	0
	178780.5271
	-624410

	Story9
	LL
	Bottom
	13202.2545
	0
	0
	0
	178780.5271
	-624410

	Story8
	LL
	Top
	16223.6012
	0
	0
	0
	218372.0779
	-748281

	Story8
	LL
	Bottom
	16223.6012
	0
	0
	0
	218372.0779
	-748281

	Story7
	LL
	Top
	19283.9977
	0
	0
	0
	258538.2952
	-876241

	Story7
	LL
	Bottom
	19283.9977
	0
	0
	0
	258538.2952
	-876241

	Story6
	LL
	Top
	22776.2595
	0
	0
	0
	304923.4762
	-1034513

	Story6
	LL
	Bottom
	22776.2595
	0
	0
	0
	304923.4762
	-1034513

	Story5
	LL
	Top
	26609.0392
	0
	0
	0
	355822.2579
	-1201452

	Story5
	LL
	Bottom
	26609.0392
	0
	0
	0
	355822.2579
	-1201452

	Story4
	LL
	Top
	30458.4725
	0
	0
	0
	406837.3178
	-1369122

	Story4
	LL
	Bottom
	30458.4725
	0
	0
	0
	406837.3178
	-1369122

	Story3
	LL
	Top
	34243.9613
	0
	0
	0
	457450.7781
	-1533055

	Story3
	LL
	Bottom
	34243.9613
	0
	0
	0
	457450.7781
	-1533055

	Story2
	LL
	Top
	38254.0256
	0
	0
	0
	511728.9157
	-1702277

	Story2
	LL
	Bottom
	38254.0256
	0
	0
	0
	511728.9157
	-1702277

	UPPER ROOF
	OW
	Top
	400.932
	0
	0
	0
	5723.3043
	-19775.9709

	UPPER ROOF
	OW
	Bottom
	922.41
	0
	0
	0
	13968.2943
	-45909.418

	PENTHOUSE
	OW
	Top
	4304.262
	0
	0
	0
	62712.4212
	-217382

	PENTHOUSE
	OW
	Bottom
	6208.8756
	0
	0
	0
	89889.8498
	-311470

	Story14
	OW
	Top
	10103.4156
	0
	0
	0
	144098.8385
	-510407

	Story14
	OW
	Bottom
	11987.5056
	0
	0
	0
	171751.8665
	-604418

	Story13
	OW
	Top
	15718.0536
	0
	0
	0
	222687.3446
	-792629

	Story13
	OW
	Bottom
	17502.5676
	0
	0
	0
	248601.065
	-881426

	Story12
	OW
	Top
	22563.3456
	0
	0
	0
	315383.6143
	-1114047

	Story12
	OW
	Bottom
	24527.8506
	0
	0
	0
	343994.3924
	-1208048

	Story11
	OW
	Top
	29940.5286
	0
	0
	0
	416104.7932
	-1460113

	Story11
	OW
	Bottom
	31964.5236
	0
	0
	0
	445570.4168
	-1559258

	Story10
	OW
	Top
	38652.7656
	0
	0
	0
	536460.9985
	-1889482

	Story10
	OW
	Bottom
	41138.4546
	0
	0
	0
	572082.6347
	-2011229

	Story9
	OW
	Top
	49394.5326
	0
	0
	0
	680976.8677
	-2365507

	Story9
	OW
	Bottom
	53071.2576
	0
	0
	0
	730823.4599
	-2514234

	Story8
	OW
	Top
	61494.8376
	0
	0
	0
	841511.1134
	-2870124

	Story8
	OW
	Bottom
	64957.1346
	0
	0
	0
	887945.0014
	-3007048

	Story7
	OW
	Top
	73479.3666
	0
	0
	0
	1000084
	-3373267

	Story7
	OW
	Bottom
	77061.3156
	0
	0
	0
	1048054
	-3518998

	Story6
	OW
	Top
	87299.1096
	0
	0
	0
	1188488
	-3989205

	Story6
	OW
	Bottom
	92272.3176
	0
	0
	0
	1257291
	-4216186

	Story5
	OW
	Top
	102573.8976
	0
	0
	0
	1393535
	-4668641

	Story5
	OW
	Bottom
	107342.454
	0
	0
	0
	1458670
	-4876596

	Story4
	OW
	Top
	117645.606
	0
	0
	7.914E-07
	1594760
	-5330580

	Story4
	OW
	Bottom
	122399.4312
	0
	0
	7.92E-07
	1659699
	-5538074

	Story3
	OW
	Top
	133790.3113
	0
	0
	1.109E-06
	1815312
	-6070289

	Story3
	OW
	Bottom
	139056.9463
	0
	0
	1.109E-06
	1887057
	-6307898

	Story2
	OW
	Top
	151827.2048
	0
	0
	1.093E-06
	2058822
	-6800158

	Story2
	OW
	Bottom
	161040.7858
	0
	0
	1.093E-06
	2193552
	-7226492

	UPPER ROOF
	PF1
	Top
	713.3248
	0
	0
	0
	10182.7122
	-35184.7482

	UPPER ROOF
	PF1
	Bottom
	1443.394
	0
	0
	0
	21725.6982
	-71771.5742

	PENTHOUSE
	PF1
	Top
	7626.4832
	0
	0
	0
	110278.4526
	-385173

	PENTHOUSE
	PF1
	Bottom
	10292.9422
	0
	0
	0
	148326.8527
	-516895

	Story14
	PF1
	Top
	17714.218
	0
	0
	0
	252016.6624
	-894721

	Story14
	PF1
	Bottom
	20351.944
	0
	0
	0
	290730.9016
	-1026336

	Story13
	PF1
	Top
	27583.3706
	0
	0
	0
	389671.8464
	-1391394

	Story13
	PF1
	Bottom
	30081.6902
	0
	0
	0
	425951.055
	-1515709

	Story12
	PF1
	Top
	39574.9187
	0
	0
	0
	551668.1268
	-1953737

	Story12
	PF1
	Bottom
	42325.2257
	0
	0
	0
	591723.2162
	-2085339

	Story11
	PF1
	Top
	52444.543
	0
	0
	5.047E-07
	726919.4239
	-2557961

	Story11
	PF1
	Bottom
	55278.136
	0
	0
	5.014E-07
	768171.297
	-2696765

	Story10
	PF1
	Top
	67532.9698
	0
	0
	6.191E-07
	934850.9663
	-3300627

	Story10
	PF1
	Bottom
	71012.9344
	0
	0
	6.23E-07
	984721.2571
	-3471072

	Story9
	PF1
	Top
	86192.4757
	0
	0
	7.003E-07
	1185242
	-4123481

	Story9
	PF1
	Bottom
	91339.8907
	0
	0
	7.032E-07
	1255028
	-4331700

	Story8
	PF1
	Top
	107015.4349
	0
	0
	5.217E-07
	1461087
	-4988580

	Story8
	PF1
	Bottom
	111862.6507
	0
	0
	5.205E-07
	1526094
	-5180273

	Story7
	PF1
	Top
	127713.7132
	0
	0
	0
	1734736
	-5855533

	Story7
	PF1
	Bottom
	132728.4418
	0
	0
	0
	1801893
	-6059555

	Story6
	PF1
	Top
	151434.1725
	0
	0
	0
	2056788
	-6912492

	Story6
	PF1
	Bottom
	158396.6637
	0
	0
	0
	2153112
	-7230265

	Story5
	PF1
	Top
	177555.3953
	0
	0
	6.78E-07
	2406842
	-8066707

	Story5
	PF1
	Bottom
	184231.3742
	0
	0
	6.808E-07
	2498031
	-8357844

	Story4
	PF1
	Top
	203535.3789
	0
	0
	1.454E-06
	2753214
	-9203847

	Story4
	PF1
	Bottom
	210190.7342
	0
	0
	1.455E-06
	2844128
	-9494338

	Story3
	PF1
	Top
	230956.3061
	0
	0
	2.082E-06
	3126259
	-10446283

	Story3
	PF1
	Bottom
	238329.5951
	0
	0
	2.082E-06
	3226702
	-10778936

	Story2
	PF1
	Top
	261198.5766
	0
	0
	2.055E-06
	3534240
	-11676495

	Story2
	PF1
	Bottom
	274097.59
	0
	0
	2.055E-06
	3722862
	-12273362

	UPPER ROOF
	PF2
	Top
	827.3399
	0
	0
	0
	11810.2769
	-40808.54

	UPPER ROOF
	PF2
	Bottom
	1479.1874
	0
	0
	0
	22116.5144
	-73475.3489

	PENTHOUSE
	PF2
	Top
	8542.2056
	0
	0
	0
	122740.3829
	-431747

	PENTHOUSE
	PF2
	Bottom
	10922.9726
	0
	0
	0
	156712.1687
	-549357

	Story14
	PF2
	Top
	19271.3382
	0
	0
	0
	273694.6016
	-973286

	Story14
	PF2
	Bottom
	21626.4507
	0
	0
	0
	308260.8866
	-1090800

	Story13
	PF2
	Top
	29855.0919
	0
	0
	0
	420795.3679
	-1506144

	Story13
	PF2
	Bottom
	32085.7344
	0
	0
	0
	453187.5184
	-1617140

	Story12
	PF2
	Top
	42699.5935
	0
	0
	0
	593773.4085
	-2108257

	Story12
	PF2
	Bottom
	45155.2247
	0
	0
	0
	629536.8812
	-2225758

	Story11
	PF2
	Top
	56495.2441
	0
	0
	5.59E-07
	781117.0148
	-2756998

	Story11
	PF2
	Bottom
	59025.2379
	0
	0
	5.555E-07
	817949.0443
	-2880930

	Story10
	PF2
	Top
	72618.1865
	0
	0
	6.83E-07
	1002856
	-3549272

	Story10
	PF2
	Bottom
	75725.2977
	0
	0
	6.873E-07
	1047383
	-3701455

	Story9
	PF2
	Top
	92800.273
	0
	0
	7.711E-07
	1272789
	-4430971

	Story9
	PF2
	Bottom
	97396.1793
	0
	0
	7.745E-07
	1335097
	-4616881

	Story8
	PF2
	Top
	115017.8169
	0
	0
	5.775E-07
	1566588
	-5352026

	Story8
	PF2
	Bottom
	119345.6882
	0
	0
	5.761E-07
	1624630
	-5523181

	Story7
	PF2
	Top
	137170.8984
	0
	0
	0
	1859117
	-6279643

	Story7
	PF2
	Bottom
	141648.3346
	0
	0
	0
	1919079
	-6461806

	Story6
	PF2
	Top
	162540.594
	0
	0
	0
	2202326
	-7413283

	Story6
	PF2
	Bottom
	168757.104
	0
	0
	0
	2288330
	-7697009

	Story5
	PF2
	Top
	190462.45
	0
	0
	7.496E-07
	2575952
	-8644159

	Story5
	PF2
	Bottom
	196423.1455
	0
	0
	7.526E-07
	2657372
	-8904103

	Story4
	PF2
	Top
	218278.1839
	0
	0
	1.592E-06
	2946432
	-9860667

	Story4
	PF2
	Bottom
	224220.4654
	0
	0
	1.593E-06
	3027605
	-10120035

	Story3
	PF2
	Top
	247303.7411
	0
	0
	2.278E-06
	3340244
	-11166705

	Story3
	PF2
	Bottom
	253887.0348
	0
	0
	2.278E-06
	3429924
	-11463716

	Story2
	PF2
	Top
	279117.8455
	0
	0
	2.25E-06
	3769647
	-12468174

	Story2
	PF2
	Bottom
	290634.8217
	0
	0
	2.25E-06
	3938059
	-13001091

	UPPER ROOF
	PF4BWCC
	Top
	458.566
	-27.6847
	-55.584
	-2346.483
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCC
	Bottom
	927.8962
	-27.6847
	-55.584
	-2346.483
	14208.3108
	-46259.2976

	PENTHOUSE
	PF4BWCC
	Top
	4902.7392
	-214.558
	-275.0069
	-10882.4267
	71135.0815
	-247731

	PENTHOUSE
	PF4BWCC
	Bottom
	6616.8914
	-214.558
	-275.0069
	-10882.4267
	96549.0414
	-333155

	Story14
	PF4BWCC
	Top
	11387.7116
	-396.454
	-489.1171
	-19227.9319
	163206.7762
	-576043

	Story14
	PF4BWCC
	Bottom
	13083.3926
	-396.454
	-489.1171
	-19227.9319
	189684.132
	-661941

	Story13
	PF4BWCC
	Top
	17732.1668
	-562.5002
	-690.8083
	-27057.5465
	253289.0251
	-896621

	Story13
	PF4BWCC
	Bottom
	19338.2294
	-562.5002
	-690.8083
	-27057.5465
	278649.258
	-978197

	Story12
	PF4BWCC
	Top
	25441.0192
	-721.4307
	-930.7677
	-35922.6159
	359467.3756
	-1259787

	Story12
	PF4BWCC
	Bottom
	27209.0737
	-721.4307
	-930.7677
	-35922.6159
	388055.9174
	-1346588

	Story11
	PF4BWCC
	Top
	33714.3491
	-878.5318
	-1177.5205
	-45336.848
	474967.7652
	-1650417

	Story11
	PF4BWCC
	Bottom
	35535.9446
	-878.5318
	-1177.5205
	-45336.848
	504960.512
	-1742239

	Story10
	PF4BWCC
	Top
	43414.052
	-1033.6335
	-1453.3185
	-56586.8751
	612111.728
	-2130437

	Story10
	PF4BWCC
	Bottom
	45651.1721
	-1033.6335
	-1453.3185
	-56586.8751
	648603.8221
	-2243161

	Story9
	PF4BWCC
	Top
	55409.4487
	-1194.1456
	-1839.8109
	-69745.4414
	777510.2459
	-2662567

	Story9
	PF4BWCC
	Bottom
	58718.5012
	-1194.1456
	-1839.8109
	-69745.4414
	828351.5645
	-2800302

	Story8
	PF4BWCC
	Top
	68795.6367
	-1349.5629
	-2214.0359
	-82486.3469
	960818.0819
	-3222582

	Story8
	PF4BWCC
	Bottom
	71911.704
	-1349.5629
	-2214.0359
	-82486.3469
	1009140
	-3349795

	Story7
	PF4BWCC
	Top
	82101.6728
	-1494.7763
	-2572.5232
	-95047.4248
	1143267
	-3783891

	Story7
	PF4BWCC
	Bottom
	85325.4269
	-1494.7763
	-2572.5232
	-95047.4248
	1194028
	-3919457

	Story6
	PF4BWCC
	Top
	97350.5395
	-1639.4064
	-2981.8341
	-111056
	1357889
	-4467774

	Story6
	PF4BWCC
	Bottom
	101826.4267
	-1639.4064
	-2981.8341
	-111056
	1428906
	-4677057

	Story5
	PF4BWCC
	Top
	114142.7541
	-1776.7946
	-3392.7698
	-126313
	1592018
	-5214770

	Story5
	PF4BWCC
	Bottom
	118434.4549
	-1776.7946
	-3392.7698
	-126313
	1660106
	-5406886

	Story4
	PF4BWCC
	Top
	130844.1721
	-1904.2479
	-3773.9897
	-140467
	1824152
	-5950745

	Story4
	PF4BWCC
	Bottom
	135122.6148
	-1904.2479
	-3773.9897
	-140467
	1893126
	-6142803

	Story3
	PF4BWCC
	Top
	148471.9111
	-2030.6253
	-4151.9916
	-154502
	2074496
	-6754767

	Story3
	PF4BWCC
	Bottom
	153211.8826
	-2030.6253
	-4151.9916
	-154502
	2151315
	-6974606

	Story2
	PF4BWCC
	Top
	167913.3706
	-2185.8615
	-4616.3118
	-171741
	2349018
	-7551608

	Story2
	PF4BWCC
	Bottom
	176205.5935
	-2185.8615
	-4616.3118
	-171741
	2489895
	-7944598

	UPPER ROOF
	PF4BWCD1
	Top
	458.566
	-20.7635
	-41.688
	-1844.0854
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCD1
	Bottom
	927.8962
	-20.7635
	-41.688
	-1844.0854
	14147.8632
	-46229.1905

	PENTHOUSE
	PF4BWCD1
	Top
	4902.7392
	-160.9185
	-206.2552
	-9262.8719
	71074.6339
	-247701

	PENTHOUSE
	PF4BWCD1
	Bottom
	6616.8914
	-160.9185
	-206.2552
	-9262.8719
	96250.0252
	-332939

	Story14
	PF4BWCD1
	Top
	11387.7116
	-297.3405
	-366.8378
	-16659.0213
	162907.76
	-575827

	Story14
	PF4BWCD1
	Bottom
	13083.3926
	-297.3405
	-366.8378
	-16659.0213
	188987.7082
	-661403

	Story13
	PF4BWCD1
	Top
	17732.1668
	-421.8752
	-518.1062
	-23608.2706
	252592.6013
	-896082

	Story13
	PF4BWCD1
	Bottom
	19338.2294
	-421.8752
	-518.1062
	-23608.2706
	277443.3631
	-977244

	Story12
	PF4BWCD1
	Top
	25441.0192
	-541.073
	-698.0758
	-31622.8592
	358261.4807
	-1258834

	Story12
	PF4BWCD1
	Bottom
	27209.0737
	-541.073
	-698.0758
	-31622.8592
	386140.3121
	-1345085

	Story11
	PF4BWCD1
	Top
	33714.3491
	-658.8989
	-883.1404
	-40110.7297
	473052.1598
	-1648914

	Story11
	PF4BWCD1
	Bottom
	35535.9446
	-658.8989
	-883.1404
	-40110.7297
	502176.4853
	-1740088

	Story10
	PF4BWCD1
	Top
	43414.052
	-775.2252
	-1089.9889
	-50239.7112
	609327.7013
	-2128285

	Story10
	PF4BWCD1
	Bottom
	45651.1721
	-775.2252
	-1089.9889
	-50239.7112
	644711.6401
	-2240222

	Story9
	PF4BWCD1
	Top
	55409.4487
	-895.6092
	-1379.8582
	-62967.7534
	773618.0638
	-2659627

	Story9
	PF4BWCD1
	Bottom
	58718.5012
	-895.6092
	-1379.8582
	-62967.7534
	822964.536
	-2796393

	Story8
	PF4BWCD1
	Top
	68795.6367
	-1012.1722
	-1660.5269
	-75291.7998
	955431.0534
	-3218673

	Story8
	PF4BWCD1
	Bottom
	71911.704
	-1012.1722
	-1660.5269
	-75291.7998
	1002120
	-3344890

	Story7
	PF4BWCD1
	Top
	82101.6728
	-1121.0822
	-1929.3924
	-87412.0774
	1136247
	-3778986

	Story7
	PF4BWCD1
	Bottom
	85325.4269
	-1121.0822
	-1929.3924
	-87412.0774
	1185111
	-3913450

	Story6
	PF4BWCD1
	Top
	97350.5395
	-1229.5548
	-2236.3756
	-102833
	1348972
	-4461767

	Story6
	PF4BWCD1
	Bottom
	101826.4267
	-1229.5548
	-2236.3756
	-102833
	1417716
	-4669800

	Story5
	PF4BWCD1
	Top
	114142.7541
	-1332.5959
	-2544.5773
	-117857
	1580828
	-5207512

	Story5
	PF4BWCD1
	Bottom
	118434.4549
	-1332.5959
	-2544.5773
	-117857
	1646549
	-5398390

	Story4
	PF4BWCD1
	Top
	130844.1721
	-1428.1859
	-2830.4922
	-131794
	1810595
	-5942249

	Story4
	PF4BWCD1
	Bottom
	135122.6148
	-1428.1859
	-2830.4922
	-131794
	1876937
	-6132978

	Story3
	PF4BWCD1
	Top
	148471.9111
	-1522.969
	-3113.9937
	-145613
	2058307
	-6744943

	Story3
	PF4BWCD1
	Bottom
	153211.8826
	-1522.969
	-3113.9937
	-145613
	2132063
	-6963283

	Story2
	PF4BWCD1
	Top
	167913.3706
	-1639.3962
	-3462.2338
	-162588
	2329767
	-7540286

	Story2
	PF4BWCD1
	Bottom
	176205.5935
	-1639.3962
	-3462.2338
	-162588
	2465738
	-7930953

	UPPER ROOF
	PF4BWCD2
	Top
	458.566
	-20.7635
	-41.688
	-1675.6392
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCD2
	Bottom
	927.8962
	-20.7635
	-41.688
	-1675.6392
	14147.8632
	-46229.1905

	PENTHOUSE
	PF4BWCD2
	Top
	4902.7392
	-160.9185
	-206.2552
	-7060.7682
	71074.6339
	-247701

	PENTHOUSE
	PF4BWCD2
	Bottom
	6616.8914
	-160.9185
	-206.2552
	-7060.7682
	96250.0252
	-332939

	Story14
	PF4BWCD2
	Top
	11387.7116
	-297.3405
	-366.8378
	-12182.8766
	162907.76
	-575827

	Story14
	PF4BWCD2
	Bottom
	13083.3926
	-297.3405
	-366.8378
	-12182.8766
	188987.7082
	-661403

	Story13
	PF4BWCD2
	Top
	17732.1668
	-421.8752
	-518.1062
	-16978.0491
	252592.6013
	-896082

	Story13
	PF4BWCD2
	Bottom
	19338.2294
	-421.8752
	-518.1062
	-16978.0491
	277443.3631
	-977244

	Story12
	PF4BWCD2
	Top
	25441.0192
	-541.073
	-698.0758
	-22261.0646
	358261.4807
	-1258834

	Story12
	PF4BWCD2
	Bottom
	27209.0737
	-541.073
	-698.0758
	-22261.0646
	386140.3121
	-1345085

	Story11
	PF4BWCD2
	Top
	33714.3491
	-658.8989
	-883.1404
	-27894.5424
	473052.1598
	-1648914

	Story11
	PF4BWCD2
	Bottom
	35535.9446
	-658.8989
	-883.1404
	-27894.5424
	502176.4853
	-1740088

	Story10
	PF4BWCD2
	Top
	43414.052
	-775.2252
	-1089.9889
	-34640.6014
	609327.7013
	-2128285

	Story10
	PF4BWCD2
	Bottom
	45651.1721
	-775.2252
	-1089.9889
	-34640.6014
	644711.6401
	-2240222

	Story9
	PF4BWCD2
	Top
	55409.4487
	-895.6092
	-1379.8582
	-41650.4087
	773618.0638
	-2659627

	Story9
	PF4BWCD2
	Bottom
	58718.5012
	-895.6092
	-1379.8582
	-41650.4087
	822964.536
	-2796393

	Story8
	PF4BWCD2
	Top
	68795.6367
	-1012.1722
	-1660.5269
	-48437.7206
	955431.0534
	-3218673

	Story8
	PF4BWCD2
	Bottom
	71911.704
	-1012.1722
	-1660.5269
	-48437.7206
	1002120
	-3344890

	Story7
	PF4BWCD2
	Top
	82101.6728
	-1121.0822
	-1929.3924
	-55159.0597
	1136247
	-3778986

	Story7
	PF4BWCD2
	Bottom
	85325.4269
	-1121.0822
	-1929.3924
	-55159.0597
	1185111
	-3913450

	Story6
	PF4BWCD2
	Top
	97350.5395
	-1229.5548
	-2236.3756
	-63751.4934
	1348972
	-4461767

	Story6
	PF4BWCD2
	Bottom
	101826.4267
	-1229.5548
	-2236.3756
	-63751.4934
	1417716
	-4669800

	Story5
	PF4BWCD2
	Top
	114142.7541
	-1332.5959
	-2544.5773
	-71613.6175
	1580828
	-5207512

	Story5
	PF4BWCD2
	Bottom
	118434.4549
	-1332.5959
	-2544.5773
	-71613.6175
	1646549
	-5398390

	Story4
	PF4BWCD2
	Top
	130844.1721
	-1428.1859
	-2830.4922
	-78907.213
	1810595
	-5942249

	Story4
	PF4BWCD2
	Bottom
	135122.6148
	-1428.1859
	-2830.4922
	-78907.213
	1876937
	-6132978

	Story3
	PF4BWCD2
	Top
	148471.9111
	-1522.969
	-3113.9937
	-86139.2422
	2058307
	-6744943

	Story3
	PF4BWCD2
	Bottom
	153211.8826
	-1522.969
	-3113.9937
	-86139.2422
	2132063
	-6963283

	Story2
	PF4BWCD2
	Top
	167913.3706
	-1639.3962
	-3462.2338
	-95022.7324
	2329767
	-7540286

	Story2
	PF4BWCD2
	Bottom
	176205.5935
	-1639.3962
	-3462.2338
	-95022.7324
	2465738
	-7930953

	UPPER ROOF
	PF4BWCX
	Top
	458.566
	-36.9129
	0
	526.9323
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCX
	Bottom
	927.8962
	-36.9129
	0
	526.9323
	13966.5203
	-46299.4405

	PENTHOUSE
	PF4BWCX
	Top
	4902.7392
	-286.0773
	0
	4015.2332
	70893.291
	-247772

	PENTHOUSE
	PF4BWCX
	Bottom
	6616.8914
	-286.0773
	0
	4015.2332
	95352.9767
	-333443

	Story14
	PF4BWCX
	Top
	11387.7116
	-528.6053
	0
	7404.5625
	162010.7116
	-576331

	Story14
	PF4BWCX
	Bottom
	13083.3926
	-528.6053
	0
	7404.5625
	186898.4368
	-662659

	Story13
	PF4BWCX
	Top
	17732.1668
	-750.0003
	0
	10498.5573
	250503.3298
	-897338

	Story13
	PF4BWCX
	Bottom
	19338.2294
	-750.0003
	0
	10498.5573
	273825.6782
	-979468

	Story12
	PF4BWCX
	Top
	25441.0192
	-961.9075
	0
	13459.9609
	354643.7958
	-1261058

	Story12
	PF4BWCX
	Bottom
	27209.0737
	-961.9075
	0
	13459.9609
	380393.4962
	-1348592

	Story11
	PF4BWCX
	Top
	33714.3491
	-1171.3758
	0
	16387.2796
	467305.3439
	-1652421

	Story11
	PF4BWCX
	Bottom
	35535.9446
	-1171.3758
	0
	16387.2796
	493824.4052
	-1745108

	Story10
	PF4BWCX
	Top
	43414.052
	-1378.1781
	0
	19277.3412
	600975.6212
	-2133305

	Story10
	PF4BWCX
	Bottom
	45651.1721
	-1378.1781
	0
	19277.3412
	633035.0938
	-2247080

	Story9
	PF4BWCX
	Top
	55409.4487
	-1592.1942
	0
	22268.2163
	761941.5176
	-2666486

	Story9
	PF4BWCX
	Bottom
	58718.5012
	-1592.1942
	0
	22268.2163
	806803.4506
	-2805515

	Story8
	PF4BWCX
	Top
	68795.6367
	-1799.4173
	0
	25164.1592
	939269.968
	-3227795

	Story8
	PF4BWCX
	Bottom
	71911.704
	-1799.4173
	0
	25164.1592
	981060.4671
	-3356335

	Story7
	PF4BWCX
	Top
	82101.6728
	-1993.0351
	0
	27869.9679
	1115187
	-3790430

	Story7
	PF4BWCX
	Bottom
	85325.4269
	-1993.0351
	0
	27869.9679
	1158360
	-3927467

	Story6
	PF4BWCX
	Top
	97350.5395
	-2185.8752
	0
	30564.9088
	1322221
	-4475784

	Story6
	PF4BWCX
	Bottom
	101826.4267
	-2185.8752
	0
	30564.9088
	1384143
	-4686733

	Story5
	PF4BWCX
	Top
	114142.7541
	-2369.0594
	0
	33124.9083
	1547255
	-5224446

	Story5
	PF4BWCX
	Bottom
	118434.4549
	-2369.0594
	0
	33124.9083
	1605877
	-5418215

	Story4
	PF4BWCX
	Top
	130844.1721
	-2538.9972
	0
	35499.7882
	1769924
	-5962074

	Story4
	PF4BWCX
	Bottom
	135122.6148
	-2538.9972
	0
	35499.7882
	1828368
	-6155903

	Story3
	PF4BWCX
	Top
	148471.9111
	-2707.5004
	0
	37854.6214
	2009738
	-6767867

	Story3
	PF4BWCX
	Bottom
	153211.8826
	-2707.5004
	0
	37854.6214
	2074308
	-6989703

	Story2
	PF4BWCX
	Top
	167913.3706
	-2914.482
	0
	40747.1896
	2272012
	-7566705

	Story2
	PF4BWCX
	Bottom
	176205.5935
	-2914.482
	0
	40747.1896
	2393269
	-7962792

	UPPER ROOF
	PF4BWCXB1
	Top
	458.566
	-27.6847
	0
	372.8784
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCXB1
	Bottom
	927.8962
	-27.6847
	0
	372.8784
	13966.5203
	-46259.2976

	PENTHOUSE
	PF4BWCXB1
	Top
	4902.7392
	-214.558
	0
	2419.1407
	70893.291
	-247731

	PENTHOUSE
	PF4BWCXB1
	Bottom
	6616.8914
	-214.558
	0
	2419.1407
	95352.9767
	-333155

	Story14
	PF4BWCXB1
	Top
	11387.7116
	-396.454
	0
	4325.6384
	162010.7116
	-576043

	Story14
	PF4BWCXB1
	Bottom
	13083.3926
	-396.454
	0
	4325.6384
	186898.4368
	-661941

	Story13
	PF4BWCXB1
	Top
	17732.1668
	-562.5002
	0
	6066.0105
	250503.3298
	-896621

	Story13
	PF4BWCXB1
	Bottom
	19338.2294
	-562.5002
	0
	6066.0105
	273825.6782
	-978197

	Story12
	PF4BWCXB1
	Top
	25441.0192
	-721.4307
	0
	7731.8
	354643.7958
	-1259787

	Story12
	PF4BWCXB1
	Bottom
	27209.0737
	-721.4307
	0
	7731.8
	380393.4962
	-1346588

	Story11
	PF4BWCXB1
	Top
	33714.3491
	-878.5318
	0
	9378.4167
	467305.3439
	-1650417

	Story11
	PF4BWCXB1
	Bottom
	35535.9446
	-878.5318
	0
	9378.4167
	493824.4052
	-1742239

	Story10
	PF4BWCXB1
	Top
	43414.052
	-1033.6335
	0
	11004.0764
	600975.6212
	-2130437

	Story10
	PF4BWCXB1
	Bottom
	45651.1721
	-1033.6335
	0
	11004.0764
	633035.0938
	-2243161

	Story9
	PF4BWCXB1
	Top
	55409.4487
	-1194.1456
	0
	12686.4437
	761941.5176
	-2662567

	Story9
	PF4BWCXB1
	Bottom
	58718.5012
	-1194.1456
	0
	12686.4437
	806803.4506
	-2800302

	Story8
	PF4BWCXB1
	Top
	68795.6367
	-1349.5629
	0
	14315.4115
	939269.968
	-3222582

	Story8
	PF4BWCXB1
	Bottom
	71911.704
	-1349.5629
	0
	14315.4115
	981060.4671
	-3349795

	Story7
	PF4BWCXB1
	Top
	82101.6728
	-1494.7763
	0
	15837.4289
	1115187
	-3783891

	Story7
	PF4BWCXB1
	Bottom
	85325.4269
	-1494.7763
	0
	15837.4289
	1158360
	-3919457

	Story6
	PF4BWCXB1
	Top
	97350.5395
	-1639.4064
	0
	17353.3332
	1322221
	-4467774

	Story6
	PF4BWCXB1
	Bottom
	101826.4267
	-1639.4064
	0
	17353.3332
	1384143
	-4677057

	Story5
	PF4BWCXB1
	Top
	114142.7541
	-1776.7946
	0
	18793.3329
	1547255
	-5214770

	Story5
	PF4BWCXB1
	Bottom
	118434.4549
	-1776.7946
	0
	18793.3329
	1605877
	-5406886

	Story4
	PF4BWCXB1
	Top
	130844.1721
	-1904.2479
	0
	20129.2028
	1769924
	-5950745

	Story4
	PF4BWCXB1
	Bottom
	135122.6148
	-1904.2479
	0
	20129.2028
	1828368
	-6142803

	Story3
	PF4BWCXB1
	Top
	148471.9111
	-2030.6253
	0
	21453.7965
	2009738
	-6754767

	Story3
	PF4BWCXB1
	Bottom
	153211.8826
	-2030.6253
	0
	21453.7965
	2074308
	-6974606

	Story2
	PF4BWCXB1
	Top
	167913.3706
	-2185.8615
	0
	23080.8661
	2272012
	-7551608

	Story2
	PF4BWCXB1
	Bottom
	176205.5935
	-2185.8615
	0
	23080.8661
	2393269
	-7944598

	UPPER ROOF
	PF4BWCXB2
	Top
	458.566
	-27.6847
	0
	417.52
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCXB2
	Bottom
	927.8962
	-27.6847
	0
	417.52
	13966.5203
	-46259.2976

	PENTHOUSE
	PF4BWCXB2
	Top
	4902.7392
	-214.558
	0
	3603.7092
	70893.291
	-247731

	PENTHOUSE
	PF4BWCXB2
	Bottom
	6616.8914
	-214.558
	0
	3603.7092
	95352.9767
	-333155

	Story14
	PF4BWCXB2
	Top
	11387.7116
	-396.454
	0
	6781.2054
	162010.7116
	-576043

	Story14
	PF4BWCXB2
	Bottom
	13083.3926
	-396.454
	0
	6781.2054
	186898.4368
	-661941

	Story13
	PF4BWCXB2
	Top
	17732.1668
	-562.5002
	0
	9681.8255
	250503.3298
	-896621

	Story13
	PF4BWCXB2
	Bottom
	19338.2294
	-562.5002
	0
	9681.8255
	273825.6782
	-978197

	Story12
	PF4BWCXB2
	Top
	25441.0192
	-721.4307
	0
	12458.1414
	354643.7958
	-1259787

	Story12
	PF4BWCXB2
	Bottom
	27209.0737
	-721.4307
	0
	12458.1414
	380393.4962
	-1346588

	Story11
	PF4BWCXB2
	Top
	33714.3491
	-878.5318
	0
	15202.5026
	467305.3439
	-1650417

	Story11
	PF4BWCXB2
	Bottom
	35535.9446
	-878.5318
	0
	15202.5026
	493824.4052
	-1742239

	Story10
	PF4BWCXB2
	Top
	43414.052
	-1033.6335
	0
	17911.9354
	600975.6212
	-2130437

	Story10
	PF4BWCXB2
	Bottom
	45651.1721
	-1033.6335
	0
	17911.9354
	633035.0938
	-2243161

	Story9
	PF4BWCXB2
	Top
	55409.4487
	-1194.1456
	0
	20715.8808
	761941.5176
	-2662567

	Story9
	PF4BWCXB2
	Bottom
	58718.5012
	-1194.1456
	0
	20715.8808
	806803.4506
	-2800302

	Story8
	PF4BWCXB2
	Top
	68795.6367
	-1349.5629
	0
	23430.8273
	939269.968
	-3222582

	Story8
	PF4BWCXB2
	Bottom
	71911.704
	-1349.5629
	0
	23430.8273
	981060.4671
	-3349795

	Story7
	PF4BWCXB2
	Top
	82101.6728
	-1494.7763
	0
	25967.5229
	1115187
	-3783891

	Story7
	PF4BWCXB2
	Bottom
	85325.4269
	-1494.7763
	0
	25967.5229
	1158360
	-3919457

	Story6
	PF4BWCXB2
	Top
	97350.5395
	-1639.4064
	0
	28494.03
	1322221
	-4467774

	Story6
	PF4BWCXB2
	Bottom
	101826.4267
	-1639.4064
	0
	28494.03
	1384143
	-4677057

	Story5
	PF4BWCXB2
	Top
	114142.7541
	-1776.7946
	0
	30894.0295
	1547255
	-5214770

	Story5
	PF4BWCXB2
	Bottom
	118434.4549
	-1776.7946
	0
	30894.0295
	1605877
	-5406886

	Story4
	PF4BWCXB2
	Top
	130844.1721
	-1904.2479
	0
	33120.4794
	1769924
	-5950745

	Story4
	PF4BWCXB2
	Bottom
	135122.6148
	-1904.2479
	0
	33120.4794
	1828368
	-6142803

	Story3
	PF4BWCXB2
	Top
	148471.9111
	-2030.6253
	0
	35328.1356
	2009738
	-6754767

	Story3
	PF4BWCXB2
	Bottom
	153211.8826
	-2030.6253
	0
	35328.1356
	2074308
	-6974606

	Story2
	PF4BWCXB2
	Top
	167913.3706
	-2185.8615
	0
	38039.9182
	2272012
	-7551608

	Story2
	PF4BWCXB2
	Bottom
	176205.5935
	-2185.8615
	0
	38039.9182
	2393269
	-7944598

	UPPER ROOF
	PF4BWCY
	Top
	458.566
	0
	-74.112
	-3655.5763
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCY
	Bottom
	927.8962
	0
	-74.112
	-3655.5763
	14288.9077
	-46138.8692

	PENTHOUSE
	PF4BWCY
	Top
	4902.7392
	0
	-366.6759
	-18525.1355
	71215.6783
	-247611

	PENTHOUSE
	PF4BWCY
	Bottom
	6616.8914
	0
	-366.6759
	-18525.1355
	96947.7296
	-332290

	Story14
	PF4BWCY
	Top
	11387.7116
	0
	-652.1561
	-33041.8051
	163605.4644
	-575178

	Story14
	PF4BWCY
	Bottom
	13083.3926
	0
	-652.1561
	-33041.8051
	190612.6971
	-659788

	Story13
	PF4BWCY
	Top
	17732.1668
	0
	-921.0778
	-46575.286
	254217.5901
	-894467

	Story13
	PF4BWCY
	Bottom
	19338.2294
	0
	-921.0778
	-46575.286
	280257.1179
	-974384

	Story12
	PF4BWCY
	Top
	25441.0192
	0
	-1241.0236
	-61356.782
	361075.2355
	-1255974

	Story12
	PF4BWCY
	Bottom
	27209.0737
	0
	-1241.0236
	-61356.782
	390610.0578
	-1340575

	Story11
	PF4BWCY
	Top
	33714.3491
	0
	-1570.0274
	-76836.4103
	477521.9056
	-1644404

	Story11
	PF4BWCY
	Bottom
	35535.9446
	0
	-1570.0274
	-76836.4103
	508672.5476
	-1733635

	Story10
	PF4BWCY
	Top
	43414.052
	0
	-1937.758
	-94726.508
	615823.7636
	-2121832

	Story10
	PF4BWCY
	Bottom
	45651.1721
	0
	-1937.758
	-94726.508
	653793.3982
	-2231404

	Story9
	PF4BWCY
	Top
	55409.4487
	0
	-2453.0813
	-115262
	782699.822
	-2650809

	Story9
	PF4BWCY
	Bottom
	58718.5012
	0
	-2453.0813
	-115262
	835534.2691
	-2784664

	Story8
	PF4BWCY
	Top
	68795.6367
	0
	-2952.0478
	-135146
	968000.7865
	-3206944

	Story8
	PF4BWCY
	Bottom
	71911.704
	0
	-2952.0478
	-135146
	1018500
	-3330175

	Story7
	PF4BWCY
	Top
	82101.6728
	0
	-3430.0309
	-154600
	1152627
	-3764271

	Story7
	PF4BWCY
	Bottom
	85325.4269
	0
	-3430.0309
	-154600
	1205918
	-3895428

	Story6
	PF4BWCY
	Top
	97350.5395
	0
	-3975.7788
	-178640
	1369779
	-4443745

	Story6
	PF4BWCY
	Bottom
	101826.4267
	0
	-3975.7788
	-178640
	1443828
	-4648028

	Story5
	PF4BWCY
	Top
	114142.7541
	0
	-4523.693
	-201543
	1606939
	-5185740

	Story5
	PF4BWCY
	Bottom
	118434.4549
	0
	-4523.693
	-201543
	1678183
	-5372900

	Story4
	PF4BWCY
	Top
	130844.1721
	0
	-5031.9862
	-222790
	1842229
	-5916759

	Story4
	PF4BWCY
	Bottom
	135122.6148
	0
	-5031.9862
	-222790
	1914712
	-6103503

	Story3
	PF4BWCY
	Top
	148471.9111
	0
	-5535.9888
	-243857
	2096082
	-6715468

	Story3
	PF4BWCY
	Bottom
	153211.8826
	0
	-5535.9888
	-243857
	2176984
	-6929316

	Story2
	PF4BWCY
	Top
	167913.3706
	0
	-6155.0824
	-269735
	2374687
	-7506318

	Story2
	PF4BWCY
	Bottom
	176205.5935
	0
	-6155.0824
	-269735
	2522103
	-7890019

	UPPER ROOF
	PF4BWCYB1
	Top
	458.566
	0
	-55.584
	-2651.7056
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCYB1
	Bottom
	927.8962
	0
	-55.584
	-2651.7056
	14208.3108
	-46138.8692

	PENTHOUSE
	PF4BWCYB1
	Top
	4902.7392
	0
	-275.0069
	-13018.0667
	71135.0815
	-247611

	PENTHOUSE
	PF4BWCYB1
	Bottom
	6616.8914
	0
	-275.0069
	-13018.0667
	96549.0414
	-332290

	Story14
	PF4BWCYB1
	Top
	11387.7116
	0
	-489.1171
	-23025.0408
	163206.7762
	-575178

	Story14
	PF4BWCYB1
	Bottom
	13083.3926
	0
	-489.1171
	-23025.0408
	189684.132
	-659788

	Story13
	PF4BWCYB1
	Top
	17732.1668
	0
	-690.8083
	-32319.2244
	253289.0251
	-894467

	Story13
	PF4BWCYB1
	Bottom
	19338.2294
	0
	-690.8083
	-32319.2244
	278649.258
	-974384

	Story12
	PF4BWCYB1
	Top
	25441.0192
	0
	-930.7677
	-42139.5608
	359467.3756
	-1255974

	Story12
	PF4BWCYB1
	Bottom
	27209.0737
	0
	-930.7677
	-42139.5608
	388055.9174
	-1340575

	Story11
	PF4BWCYB1
	Top
	33714.3491
	0
	-1177.5205
	-52395.2258
	474967.7652
	-1644404

	Story11
	PF4BWCYB1
	Bottom
	35535.9446
	0
	-1177.5205
	-52395.2258
	504960.512
	-1733635

	Story10
	PF4BWCYB1
	Top
	43414.052
	0
	-1453.3185
	-64099.4039
	612111.728
	-2121832

	Story10
	PF4BWCYB1
	Bottom
	45651.1721
	0
	-1453.3185
	-64099.4039
	648603.8221
	-2231404

	Story9
	PF4BWCYB1
	Top
	55409.4487
	0
	-1839.8109
	-76249.7591
	777510.2459
	-2650809

	Story9
	PF4BWCYB1
	Bottom
	58718.5012
	0
	-1839.8109
	-76249.7591
	828351.5645
	-2784664

	Story8
	PF4BWCYB1
	Top
	68795.6367
	0
	-2214.0359
	-88014.4548
	960818.0819
	-3206944

	Story8
	PF4BWCYB1
	Bottom
	71911.704
	0
	-2214.0359
	-88014.4548
	1009140
	-3330175

	Story7
	PF4BWCYB1
	Top
	82101.6728
	0
	-2572.5232
	-99512.9359
	1143267
	-3764271

	Story7
	PF4BWCYB1
	Bottom
	85325.4269
	0
	-2572.5232
	-99512.9359
	1194028
	-3895428

	Story6
	PF4BWCYB1
	Top
	97350.5395
	0
	-2981.8341
	-113496
	1357889
	-4443745

	Story6
	PF4BWCYB1
	Bottom
	101826.4267
	0
	-2981.8341
	-113496
	1428906
	-4648028

	Story5
	PF4BWCYB1
	Top
	114142.7541
	0
	-3392.7698
	-126379
	1592018
	-5185740

	Story5
	PF4BWCYB1
	Bottom
	118434.4549
	0
	-3392.7698
	-126379
	1660106
	-5372900

	Story4
	PF4BWCYB1
	Top
	130844.1721
	0
	-3773.9897
	-138330
	1824152
	-5916759

	Story4
	PF4BWCYB1
	Bottom
	135122.6148
	0
	-3773.9897
	-138330
	1893126
	-6103503

	Story3
	PF4BWCYB1
	Top
	148471.9111
	0
	-4151.9916
	-150180
	2074496
	-6715468

	Story3
	PF4BWCYB1
	Bottom
	153211.8826
	0
	-4151.9916
	-150180
	2151315
	-6929316

	Story2
	PF4BWCYB1
	Top
	167913.3706
	0
	-4616.3118
	-164737
	2349018
	-7506318

	Story2
	PF4BWCYB1
	Bottom
	176205.5935
	0
	-4616.3118
	-164737
	2489895
	-7890019

	UPPER ROOF
	PF4BWCYB2
	Top
	458.566
	0
	-55.584
	-2831.6589
	6546.0293
	-22618.7667

	UPPER ROOF
	PF4BWCYB2
	Bottom
	927.8962
	0
	-55.584
	-2831.6589
	14208.3108
	-46138.8692

	PENTHOUSE
	PF4BWCYB2
	Top
	4902.7392
	0
	-275.0069
	-14769.6366
	71135.0815
	-247611

	PENTHOUSE
	PF4BWCYB2
	Bottom
	6616.8914
	0
	-275.0069
	-14769.6366
	96549.0414
	-332290

	Story14
	PF4BWCYB2
	Top
	11387.7116
	0
	-489.1171
	-26537.6669
	163206.7762
	-575178

	Story14
	PF4BWCYB2
	Bottom
	13083.3926
	0
	-489.1171
	-26537.6669
	189684.132
	-659788

	Story13
	PF4BWCYB2
	Top
	17732.1668
	0
	-690.8083
	-37543.7047
	253289.0251
	-894467

	Story13
	PF4BWCYB2
	Bottom
	19338.2294
	0
	-690.8083
	-37543.7047
	278649.258
	-974384

	Story12
	PF4BWCYB2
	Top
	25441.0192
	0
	-930.7677
	-49895.6123
	359467.3756
	-1255974

	Story12
	PF4BWCYB2
	Bottom
	27209.0737
	0
	-930.7677
	-49895.6123
	388055.9174
	-1340575

	Story11
	PF4BWCYB2
	Top
	33714.3491
	0
	-1177.5205
	-62859.3897
	474967.7652
	-1644404

	Story11
	PF4BWCYB2
	Bottom
	35535.9446
	0
	-1177.5205
	-62859.3897
	504960.512
	-1733635

	Story10
	PF4BWCYB2
	Top
	43414.052
	0
	-1453.3185
	-77990.3581
	612111.728
	-2121832

	Story10
	PF4BWCYB2
	Bottom
	45651.1721
	0
	-1453.3185
	-77990.3581
	648603.8221
	-2231404

	Story9
	PF4BWCYB2
	Top
	55409.4487
	0
	-1839.8109
	-96643.4482
	777510.2459
	-2650809

	Story9
	PF4BWCYB2
	Bottom
	58718.5012
	0
	-1839.8109
	-96643.4482
	828351.5645
	-2784664

	Story8
	PF4BWCYB2
	Top
	68795.6367
	0
	-2214.0359
	-114704
	960818.0819
	-3206944

	Story8
	PF4BWCYB2
	Bottom
	71911.704
	0
	-2214.0359
	-114704
	1009140
	-3330175

	Story7
	PF4BWCYB2
	Top
	82101.6728
	0
	-2572.5232
	-132387
	1143267
	-3764271

	Story7
	PF4BWCYB2
	Bottom
	85325.4269
	0
	-2572.5232
	-132387
	1194028
	-3895428

	Story6
	PF4BWCYB2
	Top
	97350.5395
	0
	-2981.8341
	-154464
	1357889
	-4443745

	Story6
	PF4BWCYB2
	Bottom
	101826.4267
	0
	-2981.8341
	-154464
	1428906
	-4648028

	Story5
	PF4BWCYB2
	Top
	114142.7541
	0
	-3392.7698
	-175935
	1592018
	-5185740

	Story5
	PF4BWCYB2
	Bottom
	118434.4549
	0
	-3392.7698
	-175935
	1660106
	-5372900

	Story4
	PF4BWCYB2
	Top
	130844.1721
	0
	-3773.9897
	-195854
	1824152
	-5916759

	Story4
	PF4BWCYB2
	Bottom
	135122.6148
	0
	-3773.9897
	-195854
	1893126
	-6103503

	Story3
	PF4BWCYB2
	Top
	148471.9111
	0
	-4151.9916
	-215605
	2074496
	-6715468

	Story3
	PF4BWCYB2
	Bottom
	153211.8826
	0
	-4151.9916
	-215605
	2151315
	-6929316

	Story2
	PF4BWCYB2
	Top
	167913.3706
	0
	-4616.3118
	-239866
	2349018
	-7506318

	Story2
	PF4BWCYB2
	Bottom
	176205.5935
	0
	-4616.3118
	-239866
	2489895
	-7890019

	UPPER ROOF
	PF4CWCC
	Top
	700.3781
	-27.6847
	-55.584
	-2346.483
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCC
	Bottom
	1352.2256
	-27.6847
	-55.584
	-2346.483
	20545.9252
	-67333.3866

	PENTHOUSE
	PF4CWCC
	Top
	7386.9752
	-214.558
	-275.0069
	-10882.4267
	106797.1876
	-373306

	PENTHOUSE
	PF4CWCC
	Bottom
	9767.7422
	-214.558
	-275.0069
	-10882.4267
	141723.2475
	-491660

	Story14
	PF4CWCC
	Top
	16967.9568
	-396.454
	-489.1171
	-19227.9319
	242437.5166
	-857866

	Story14
	PF4CWCC
	Bottom
	19323.0693
	-396.454
	-489.1171
	-19227.9319
	278593.4322
	-976668

	Story13
	PF4CWCC
	Top
	26370.3703
	-562.5002
	-690.8083
	-27057.5465
	374998.3455
	-1332412

	Story13
	PF4CWCC
	Bottom
	28601.0128
	-562.5002
	-690.8083
	-27057.5465
	409428.3806
	-1445067

	Story12
	PF4CWCC
	Top
	37789.6971
	-721.4307
	-930.7677
	-35922.6159
	531121.9343
	-1869504

	Story12
	PF4CWCC
	Bottom
	40245.3283
	-721.4307
	-930.7677
	-35922.6159
	569724.2484
	-1989205

	Story11
	PF4CWCC
	Top
	50048.7379
	-878.5318
	-1177.5205
	-45336.848
	700724.8928
	-2447609

	Story11
	PF4CWCC
	Bottom
	52578.7317
	-878.5318
	-1177.5205
	-45336.848
	741030.6079
	-2574132

	Story10
	PF4CWCC
	Top
	64404.2585
	-1033.6335
	-1453.3185
	-56586.8751
	901880.3693
	-3156355

	Story10
	PF4CWCC
	Bottom
	67511.3697
	-1033.6335
	-1453.3185
	-56586.8751
	950840.0362
	-3311690

	Story9
	PF4CWCC
	Top
	82238.4694
	-1194.1456
	-1839.8109
	-69745.4414
	1145333
	-3943201

	Story9
	PF4CWCC
	Bottom
	86834.3757
	-1194.1456
	-1839.8109
	-69745.4414
	1213621
	-4132991

	Story8
	PF4CWCC
	Top
	102038.9359
	-1349.5629
	-2214.0359
	-82486.3469
	1413439
	-4769040

	Story8
	PF4CWCC
	Bottom
	106366.8072
	-1349.5629
	-2214.0359
	-82486.3469
	1478012
	-4944176

	Story7
	PF4CWCC
	Top
	121743.7002
	-1494.7763
	-2572.5232
	-95047.4248
	1680366
	-5598270

	Story7
	PF4CWCC
	Bottom
	126221.1364
	-1494.7763
	-2572.5232
	-95047.4248
	1747917
	-5784843

	Story6
	PF4CWCC
	Top
	144319.5864
	-1639.4064
	-2981.8341
	-111056
	1994056
	-6609702

	Story6
	PF4CWCC
	Bottom
	150536.0964
	-1639.4064
	-2981.8341
	-111056
	2089154
	-6898428

	Story5
	PF4CWCC
	Top
	169175.2186
	-1776.7946
	-3392.7698
	-126313
	2336058
	-7712027

	Story5
	PF4CWCC
	Bottom
	175135.9141
	-1776.7946
	-3392.7698
	-126313
	2426943
	-7976928

	Story4
	PF4CWCC
	Top
	193911.4059
	-1904.2479
	-3773.9897
	-140467
	2675191
	-8799356

	Story4
	PF4CWCC
	Bottom
	199853.6874
	-1904.2479
	-3773.9897
	-140467
	2766893
	-9064036

	Story3
	PF4CWCC
	Top
	219908.5721
	-2030.6253
	-4151.9916
	-154502
	3039041
	-9979560

	Story3
	PF4CWCC
	Bottom
	226491.8658
	-2030.6253
	-4151.9916
	-154502
	3140971
	-10282562

	Story2
	PF4CWCC
	Top
	248514.625
	-2185.8615
	-4616.3118
	-171741
	3437270
	-11151642

	Story2
	PF4CWCC
	Bottom
	260031.6013
	-2185.8615
	-4616.3118
	-171741
	3625302
	-11693850

	UPPER ROOF
	PF4CWCD1
	Top
	700.3781
	-20.7635
	-41.688
	-1844.0854
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCD1
	Bottom
	1352.2256
	-20.7635
	-41.688
	-1844.0854
	20485.4776
	-67303.2795

	PENTHOUSE
	PF4CWCD1
	Top
	7386.9752
	-160.9185
	-206.2552
	-9262.8719
	106736.7399
	-373275

	PENTHOUSE
	PF4CWCD1
	Bottom
	9767.7422
	-160.9185
	-206.2552
	-9262.8719
	141424.2313
	-491443

	Story14
	PF4CWCD1
	Top
	16967.9568
	-297.3405
	-366.8378
	-16659.0213
	242138.5004
	-857650

	Story14
	PF4CWCD1
	Bottom
	19323.0693
	-297.3405
	-366.8378
	-16659.0213
	277897.0084
	-976130

	Story13
	PF4CWCD1
	Top
	26370.3703
	-421.8752
	-518.1062
	-23608.2706
	374301.9217
	-1331873

	Story13
	PF4CWCD1
	Bottom
	28601.0128
	-421.8752
	-518.1062
	-23608.2706
	408222.4856
	-1444114

	Story12
	PF4CWCD1
	Top
	37789.6971
	-541.073
	-698.0758
	-31622.8592
	529916.0394
	-1868551

	Story12
	PF4CWCD1
	Bottom
	40245.3283
	-541.073
	-698.0758
	-31622.8592
	567808.6431
	-1987702

	Story11
	PF4CWCD1
	Top
	50048.7379
	-658.8989
	-883.1404
	-40110.7297
	698809.2874
	-2446105

	Story11
	PF4CWCD1
	Bottom
	52578.7317
	-658.8989
	-883.1404
	-40110.7297
	738246.5812
	-2571981

	Story10
	PF4CWCD1
	Top
	64404.2585
	-775.2252
	-1089.9889
	-50239.7112
	899096.3426
	-3154203

	Story10
	PF4CWCD1
	Bottom
	67511.3697
	-775.2252
	-1089.9889
	-50239.7112
	946947.8541
	-3308751

	Story9
	PF4CWCD1
	Top
	82238.4694
	-895.6092
	-1379.8582
	-62967.7534
	1141441
	-3940262

	Story9
	PF4CWCD1
	Bottom
	86834.3757
	-895.6092
	-1379.8582
	-62967.7534
	1208234
	-4129082

	Story8
	PF4CWCD1
	Top
	102038.9359
	-1012.1722
	-1660.5269
	-75291.7998
	1408052
	-4765130

	Story8
	PF4CWCD1
	Bottom
	106366.8072
	-1012.1722
	-1660.5269
	-75291.7998
	1470992
	-4939271

	Story7
	PF4CWCD1
	Top
	121743.7002
	-1121.0822
	-1929.3924
	-87412.0774
	1673346
	-5593365

	Story7
	PF4CWCD1
	Bottom
	126221.1364
	-1121.0822
	-1929.3924
	-87412.0774
	1739000
	-5778835

	Story6
	PF4CWCD1
	Top
	144319.5864
	-1229.5548
	-2236.3756
	-102833
	1985139
	-6603695

	Story6
	PF4CWCD1
	Bottom
	150536.0964
	-1229.5548
	-2236.3756
	-102833
	2077963
	-6891171

	Story5
	PF4CWCD1
	Top
	169175.2186
	-1332.5959
	-2544.5773
	-117857
	2324867
	-7704770

	Story5
	PF4CWCD1
	Bottom
	175135.9141
	-1332.5959
	-2544.5773
	-117857
	2413386
	-7968431

	Story4
	PF4CWCD1
	Top
	193911.4059
	-1428.1859
	-2830.4922
	-131794
	2661634
	-8790859

	Story4
	PF4CWCD1
	Bottom
	199853.6874
	-1428.1859
	-2830.4922
	-131794
	2750703
	-9054211

	Story3
	PF4CWCD1
	Top
	219908.5721
	-1522.969
	-3113.9937
	-145613
	3022852
	-9969735

	Story3
	PF4CWCD1
	Bottom
	226491.8658
	-1522.969
	-3113.9937
	-145613
	3121719
	-10271239

	Story2
	PF4CWCD1
	Top
	248514.625
	-1639.3962
	-3462.2338
	-162588
	3418018
	-11140320

	Story2
	PF4CWCD1
	Bottom
	260031.6013
	-1639.3962
	-3462.2338
	-162588
	3601145
	-11680205

	UPPER ROOF
	PF4CWCD2
	Top
	700.3781
	-20.7635
	-41.688
	-1675.6392
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCD2
	Bottom
	1352.2256
	-20.7635
	-41.688
	-1675.6392
	20485.4776
	-67303.2795

	PENTHOUSE
	PF4CWCD2
	Top
	7386.9752
	-160.9185
	-206.2552
	-7060.7682
	106736.7399
	-373275

	PENTHOUSE
	PF4CWCD2
	Bottom
	9767.7422
	-160.9185
	-206.2552
	-7060.7682
	141424.2313
	-491443

	Story14
	PF4CWCD2
	Top
	16967.9568
	-297.3405
	-366.8378
	-12182.8766
	242138.5004
	-857650

	Story14
	PF4CWCD2
	Bottom
	19323.0693
	-297.3405
	-366.8378
	-12182.8766
	277897.0084
	-976130

	Story13
	PF4CWCD2
	Top
	26370.3703
	-421.8752
	-518.1062
	-16978.0491
	374301.9217
	-1331873

	Story13
	PF4CWCD2
	Bottom
	28601.0128
	-421.8752
	-518.1062
	-16978.0491
	408222.4856
	-1444114

	Story12
	PF4CWCD2
	Top
	37789.6971
	-541.073
	-698.0758
	-22261.0646
	529916.0394
	-1868551

	Story12
	PF4CWCD2
	Bottom
	40245.3283
	-541.073
	-698.0758
	-22261.0646
	567808.6431
	-1987702

	Story11
	PF4CWCD2
	Top
	50048.7379
	-658.8989
	-883.1404
	-27894.5424
	698809.2874
	-2446105

	Story11
	PF4CWCD2
	Bottom
	52578.7317
	-658.8989
	-883.1404
	-27894.5424
	738246.5812
	-2571981

	Story10
	PF4CWCD2
	Top
	64404.2585
	-775.2252
	-1089.9889
	-34640.6014
	899096.3426
	-3154203

	Story10
	PF4CWCD2
	Bottom
	67511.3697
	-775.2252
	-1089.9889
	-34640.6014
	946947.8541
	-3308751

	Story9
	PF4CWCD2
	Top
	82238.4694
	-895.6092
	-1379.8582
	-41650.4087
	1141441
	-3940262

	Story9
	PF4CWCD2
	Bottom
	86834.3757
	-895.6092
	-1379.8582
	-41650.4087
	1208234
	-4129082

	Story8
	PF4CWCD2
	Top
	102038.9359
	-1012.1722
	-1660.5269
	-48437.7206
	1408052
	-4765130

	Story8
	PF4CWCD2
	Bottom
	106366.8072
	-1012.1722
	-1660.5269
	-48437.7206
	1470992
	-4939271

	Story7
	PF4CWCD2
	Top
	121743.7002
	-1121.0822
	-1929.3924
	-55159.0597
	1673346
	-5593365

	Story7
	PF4CWCD2
	Bottom
	126221.1364
	-1121.0822
	-1929.3924
	-55159.0597
	1739000
	-5778835

	Story6
	PF4CWCD2
	Top
	144319.5864
	-1229.5548
	-2236.3756
	-63751.4934
	1985139
	-6603695

	Story6
	PF4CWCD2
	Bottom
	150536.0964
	-1229.5548
	-2236.3756
	-63751.4934
	2077963
	-6891171

	Story5
	PF4CWCD2
	Top
	169175.2186
	-1332.5959
	-2544.5773
	-71613.6175
	2324867
	-7704770

	Story5
	PF4CWCD2
	Bottom
	175135.9141
	-1332.5959
	-2544.5773
	-71613.6175
	2413386
	-7968431

	Story4
	PF4CWCD2
	Top
	193911.4059
	-1428.1859
	-2830.4922
	-78907.213
	2661634
	-8790859

	Story4
	PF4CWCD2
	Bottom
	199853.6874
	-1428.1859
	-2830.4922
	-78907.213
	2750703
	-9054211

	Story3
	PF4CWCD2
	Top
	219908.5721
	-1522.969
	-3113.9937
	-86139.2422
	3022852
	-9969735

	Story3
	PF4CWCD2
	Bottom
	226491.8658
	-1522.969
	-3113.9937
	-86139.2422
	3121719
	-10271239

	Story2
	PF4CWCD2
	Top
	248514.625
	-1639.3962
	-3462.2338
	-95022.7324
	3418018
	-11140320

	Story2
	PF4CWCD2
	Bottom
	260031.6013
	-1639.3962
	-3462.2338
	-95022.7324
	3601145
	-11680205

	UPPER ROOF
	PF4CWCX
	Top
	700.3781
	-36.9129
	0
	526.9323
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCX
	Bottom
	1352.2256
	-36.9129
	0
	526.9323
	20304.1347
	-67373.5294

	PENTHOUSE
	PF4CWCX
	Top
	7386.9752
	-286.0773
	0
	4015.2332
	106555.397
	-373346

	PENTHOUSE
	PF4CWCX
	Bottom
	9767.7422
	-286.0773
	0
	4015.2332
	140527.1828
	-491948

	Story14
	PF4CWCX
	Top
	16967.9568
	-528.6053
	0
	7404.5625
	241241.452
	-858154

	Story14
	PF4CWCX
	Bottom
	19323.0693
	-528.6053
	0
	7404.5625
	275807.737
	-977386

	Story13
	PF4CWCX
	Top
	26370.3703
	-750.0003
	0
	10498.5573
	372212.6503
	-1333130

	Story13
	PF4CWCX
	Bottom
	28601.0128
	-750.0003
	0
	10498.5573
	404604.8008
	-1446338

	Story12
	PF4CWCX
	Top
	37789.6971
	-961.9075
	0
	13459.9609
	526298.3545
	-1870775

	Story12
	PF4CWCX
	Bottom
	40245.3283
	-961.9075
	0
	13459.9609
	562061.8272
	-1991210

	Story11
	PF4CWCX
	Top
	50048.7379
	-1171.3758
	0
	16387.2796
	693062.4715
	-2449613

	Story11
	PF4CWCX
	Bottom
	52578.7317
	-1171.3758
	0
	16387.2796
	729894.5011
	-2577000

	Story10
	PF4CWCX
	Top
	64404.2585
	-1378.1781
	0
	19277.3412
	890744.2626
	-3159223

	Story10
	PF4CWCX
	Bottom
	67511.3697
	-1378.1781
	0
	19277.3412
	935271.3079
	-3315609

	Story9
	PF4CWCX
	Top
	82238.4694
	-1592.1942
	0
	22268.2163
	1129764
	-3947120

	Story9
	PF4CWCX
	Bottom
	86834.3757
	-1592.1942
	0
	22268.2163
	1192073
	-4138204

	Story8
	PF4CWCX
	Top
	102038.9359
	-1799.4173
	0
	25164.1592
	1391890
	-4774252

	Story8
	PF4CWCX
	Bottom
	106366.8072
	-1799.4173
	0
	25164.1592
	1449933
	-4950715

	Story7
	PF4CWCX
	Top
	121743.7002
	-1993.0351
	0
	27869.9679
	1652287
	-5604810

	Story7
	PF4CWCX
	Bottom
	126221.1364
	-1993.0351
	0
	27869.9679
	1712249
	-5792852

	Story6
	PF4CWCX
	Top
	144319.5864
	-2185.8752
	0
	30564.9088
	1958387
	-6617712

	Story6
	PF4CWCX
	Bottom
	150536.0964
	-2185.8752
	0
	30564.9088
	2044391
	-6908105

	Story5
	PF4CWCX
	Top
	169175.2186
	-2369.0594
	0
	33124.9083
	2291295
	-7721703

	Story5
	PF4CWCX
	Bottom
	175135.9141
	-2369.0594
	0
	33124.9083
	2372714
	-7988257

	Story4
	PF4CWCX
	Top
	193911.4059
	-2538.9972
	0
	35499.7882
	2620962
	-8810685

	Story4
	PF4CWCX
	Bottom
	199853.6874
	-2538.9972
	0
	35499.7882
	2702135
	-9077136

	Story3
	PF4CWCX
	Top
	219908.5721
	-2707.5004
	0
	37854.6214
	2974283
	-9992660

	Story3
	PF4CWCX
	Bottom
	226491.8658
	-2707.5004
	0
	37854.6214
	3063964
	-10297659

	Story2
	PF4CWCX
	Top
	248514.625
	-2914.482
	0
	40747.1896
	3360263
	-11166739

	Story2
	PF4CWCX
	Bottom
	260031.6013
	-2914.482
	0
	40747.1896
	3528676
	-11712043

	UPPER ROOF
	PF4CWCXB1
	Top
	700.3781
	-27.6847
	0
	372.8784
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCXB1
	Bottom
	1352.2256
	-27.6847
	0
	372.8784
	20304.1347
	-67333.3866

	PENTHOUSE
	PF4CWCXB1
	Top
	7386.9752
	-214.558
	0
	2419.1407
	106555.397
	-373306

	PENTHOUSE
	PF4CWCXB1
	Bottom
	9767.7422
	-214.558
	0
	2419.1407
	140527.1828
	-491660

	Story14
	PF4CWCXB1
	Top
	16967.9568
	-396.454
	0
	4325.6384
	241241.452
	-857866

	Story14
	PF4CWCXB1
	Bottom
	19323.0693
	-396.454
	0
	4325.6384
	275807.737
	-976668

	Story13
	PF4CWCXB1
	Top
	26370.3703
	-562.5002
	0
	6066.0105
	372212.6503
	-1332412

	Story13
	PF4CWCXB1
	Bottom
	28601.0128
	-562.5002
	0
	6066.0105
	404604.8008
	-1445067

	Story12
	PF4CWCXB1
	Top
	37789.6971
	-721.4307
	0
	7731.8
	526298.3545
	-1869504

	Story12
	PF4CWCXB1
	Bottom
	40245.3283
	-721.4307
	0
	7731.8
	562061.8272
	-1989205

	Story11
	PF4CWCXB1
	Top
	50048.7379
	-878.5318
	0
	9378.4167
	693062.4715
	-2447609

	Story11
	PF4CWCXB1
	Bottom
	52578.7317
	-878.5318
	0
	9378.4167
	729894.5011
	-2574132

	Story10
	PF4CWCXB1
	Top
	64404.2585
	-1033.6335
	0
	11004.0764
	890744.2626
	-3156355

	Story10
	PF4CWCXB1
	Bottom
	67511.3697
	-1033.6335
	0
	11004.0764
	935271.3079
	-3311690

	Story9
	PF4CWCXB1
	Top
	82238.4694
	-1194.1456
	0
	12686.4437
	1129764
	-3943201

	Story9
	PF4CWCXB1
	Bottom
	86834.3757
	-1194.1456
	0
	12686.4437
	1192073
	-4132991

	Story8
	PF4CWCXB1
	Top
	102038.9359
	-1349.5629
	0
	14315.4115
	1391890
	-4769040

	Story8
	PF4CWCXB1
	Bottom
	106366.8072
	-1349.5629
	0
	14315.4115
	1449933
	-4944176

	Story7
	PF4CWCXB1
	Top
	121743.7002
	-1494.7763
	0
	15837.4289
	1652287
	-5598270

	Story7
	PF4CWCXB1
	Bottom
	126221.1364
	-1494.7763
	0
	15837.4289
	1712249
	-5784843

	Story6
	PF4CWCXB1
	Top
	144319.5864
	-1639.4064
	0
	17353.3332
	1958387
	-6609702

	Story6
	PF4CWCXB1
	Bottom
	150536.0964
	-1639.4064
	0
	17353.3332
	2044391
	-6898428

	Story5
	PF4CWCXB1
	Top
	169175.2186
	-1776.7946
	0
	18793.3329
	2291295
	-7712027

	Story5
	PF4CWCXB1
	Bottom
	175135.9141
	-1776.7946
	0
	18793.3329
	2372714
	-7976928

	Story4
	PF4CWCXB1
	Top
	193911.4059
	-1904.2479
	0
	20129.2028
	2620962
	-8799356

	Story4
	PF4CWCXB1
	Bottom
	199853.6874
	-1904.2479
	0
	20129.2028
	2702135
	-9064036

	Story3
	PF4CWCXB1
	Top
	219908.5721
	-2030.6253
	0
	21453.7965
	2974283
	-9979560

	Story3
	PF4CWCXB1
	Bottom
	226491.8658
	-2030.6253
	0
	21453.7965
	3063964
	-10282562

	Story2
	PF4CWCXB1
	Top
	248514.625
	-2185.8615
	0
	23080.8661
	3360263
	-11151642

	Story2
	PF4CWCXB1
	Bottom
	260031.6013
	-2185.8615
	0
	23080.8661
	3528676
	-11693850

	UPPER ROOF
	PF4CWCXB2
	Top
	700.3781
	-27.6847
	0
	417.52
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCXB2
	Bottom
	1352.2256
	-27.6847
	0
	417.52
	20304.1347
	-67333.3866

	PENTHOUSE
	PF4CWCXB2
	Top
	7386.9752
	-214.558
	0
	3603.7092
	106555.397
	-373306

	PENTHOUSE
	PF4CWCXB2
	Bottom
	9767.7422
	-214.558
	0
	3603.7092
	140527.1828
	-491660

	Story14
	PF4CWCXB2
	Top
	16967.9568
	-396.454
	0
	6781.2054
	241241.452
	-857866

	Story14
	PF4CWCXB2
	Bottom
	19323.0693
	-396.454
	0
	6781.2054
	275807.737
	-976668

	Story13
	PF4CWCXB2
	Top
	26370.3703
	-562.5002
	0
	9681.8255
	372212.6503
	-1332412

	Story13
	PF4CWCXB2
	Bottom
	28601.0128
	-562.5002
	0
	9681.8255
	404604.8008
	-1445067

	Story12
	PF4CWCXB2
	Top
	37789.6971
	-721.4307
	0
	12458.1414
	526298.3545
	-1869504

	Story12
	PF4CWCXB2
	Bottom
	40245.3283
	-721.4307
	0
	12458.1414
	562061.8272
	-1989205

	Story11
	PF4CWCXB2
	Top
	50048.7379
	-878.5318
	0
	15202.5026
	693062.4715
	-2447609

	Story11
	PF4CWCXB2
	Bottom
	52578.7317
	-878.5318
	0
	15202.5026
	729894.5011
	-2574132

	Story10
	PF4CWCXB2
	Top
	64404.2585
	-1033.6335
	0
	17911.9354
	890744.2626
	-3156355

	Story10
	PF4CWCXB2
	Bottom
	67511.3697
	-1033.6335
	0
	17911.9354
	935271.3079
	-3311690

	Story9
	PF4CWCXB2
	Top
	82238.4694
	-1194.1456
	0
	20715.8808
	1129764
	-3943201

	Story9
	PF4CWCXB2
	Bottom
	86834.3757
	-1194.1456
	0
	20715.8808
	1192073
	-4132991

	Story8
	PF4CWCXB2
	Top
	102038.9359
	-1349.5629
	0
	23430.8273
	1391890
	-4769040

	Story8
	PF4CWCXB2
	Bottom
	106366.8072
	-1349.5629
	0
	23430.8273
	1449933
	-4944176

	Story7
	PF4CWCXB2
	Top
	121743.7002
	-1494.7763
	0
	25967.5229
	1652287
	-5598270

	Story7
	PF4CWCXB2
	Bottom
	126221.1364
	-1494.7763
	0
	25967.5229
	1712249
	-5784843

	Story6
	PF4CWCXB2
	Top
	144319.5864
	-1639.4064
	0
	28494.03
	1958387
	-6609702

	Story6
	PF4CWCXB2
	Bottom
	150536.0964
	-1639.4064
	0
	28494.03
	2044391
	-6898428

	Story5
	PF4CWCXB2
	Top
	169175.2186
	-1776.7946
	0
	30894.0295
	2291295
	-7712027

	Story5
	PF4CWCXB2
	Bottom
	175135.9141
	-1776.7946
	0
	30894.0295
	2372714
	-7976928

	Story4
	PF4CWCXB2
	Top
	193911.4059
	-1904.2479
	0
	33120.4794
	2620962
	-8799356

	Story4
	PF4CWCXB2
	Bottom
	199853.6874
	-1904.2479
	0
	33120.4794
	2702135
	-9064036

	Story3
	PF4CWCXB2
	Top
	219908.5721
	-2030.6253
	0
	35328.1356
	2974283
	-9979560

	Story3
	PF4CWCXB2
	Bottom
	226491.8658
	-2030.6253
	0
	35328.1356
	3063964
	-10282562

	Story2
	PF4CWCXB2
	Top
	248514.625
	-2185.8615
	0
	38039.9182
	3360263
	-11151642

	Story2
	PF4CWCXB2
	Bottom
	260031.6013
	-2185.8615
	0
	38039.9182
	3528676
	-11693850

	UPPER ROOF
	PF4CWCY
	Top
	700.3781
	0
	-74.112
	-3655.5763
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCY
	Bottom
	1352.2256
	0
	-74.112
	-3655.5763
	20626.5221
	-67212.9581

	PENTHOUSE
	PF4CWCY
	Top
	7386.9752
	0
	-366.6759
	-18525.1355
	106877.7844
	-373185

	PENTHOUSE
	PF4CWCY
	Bottom
	9767.7422
	0
	-366.6759
	-18525.1355
	142121.9357
	-490795

	Story14
	PF4CWCY
	Top
	16967.9568
	0
	-652.1561
	-33041.8051
	242836.2048
	-857001

	Story14
	PF4CWCY
	Bottom
	19323.0693
	0
	-652.1561
	-33041.8051
	279521.9973
	-974515

	Story13
	PF4CWCY
	Top
	26370.3703
	0
	-921.0778
	-46575.286
	375926.9106
	-1330258

	Story13
	PF4CWCY
	Bottom
	28601.0128
	0
	-921.0778
	-46575.286
	411036.2405
	-1441254

	Story12
	PF4CWCY
	Top
	37789.6971
	0
	-1241.0236
	-61356.782
	532729.7942
	-1865691

	Story12
	PF4CWCY
	Bottom
	40245.3283
	0
	-1241.0236
	-61356.782
	572278.3888
	-1983192

	Story11
	PF4CWCY
	Top
	50048.7379
	0
	-1570.0274
	-76836.4103
	703279.0332
	-2441596

	Story11
	PF4CWCY
	Bottom
	52578.7317
	0
	-1570.0274
	-76836.4103
	744742.6434
	-2565527

	Story10
	PF4CWCY
	Top
	64404.2585
	0
	-1937.758
	-94726.508
	905592.4049
	-3147750

	Story10
	PF4CWCY
	Bottom
	67511.3697
	0
	-1937.758
	-94726.508
	956029.6123
	-3299933

	Story9
	PF4CWCY
	Top
	82238.4694
	0
	-2453.0813
	-115262
	1150523
	-3931444

	Story9
	PF4CWCY
	Bottom
	86834.3757
	0
	-2453.0813
	-115262
	1220803
	-4117353

	Story8
	PF4CWCY
	Top
	102038.9359
	0
	-2952.0478
	-135146
	1420621
	-4753401

	Story8
	PF4CWCY
	Bottom
	106366.8072
	0
	-2952.0478
	-135146
	1487372
	-4924556

	Story7
	PF4CWCY
	Top
	121743.7002
	0
	-3430.0309
	-154600
	1689726
	-5578651

	Story7
	PF4CWCY
	Bottom
	126221.1364
	0
	-3430.0309
	-154600
	1759806
	-5760814

	Story6
	PF4CWCY
	Top
	144319.5864
	0
	-3975.7788
	-178640
	2005945
	-6585673

	Story6
	PF4CWCY
	Bottom
	150536.0964
	0
	-3975.7788
	-178640
	2104075
	-6869399

	Story5
	PF4CWCY
	Top
	169175.2186
	0
	-4523.693
	-201543
	2350979
	-7682998

	Story5
	PF4CWCY
	Bottom
	175135.9141
	0
	-4523.693
	-201543
	2445019
	-7942941

	Story4
	PF4CWCY
	Top
	193911.4059
	0
	-5031.9862
	-222790
	2693267
	-8765369

	Story4
	PF4CWCY
	Bottom
	199853.6874
	0
	-5031.9862
	-222790
	2788479
	-9024737

	Story3
	PF4CWCY
	Top
	219908.5721
	0
	-5535.9888
	-243857
	3060627
	-9940261

	Story3
	PF4CWCY
	Bottom
	226491.8658
	0
	-5535.9888
	-243857
	3166639
	-10237272

	Story2
	PF4CWCY
	Top
	248514.625
	0
	-6155.0824
	-269735
	3462939
	-11106353

	Story2
	PF4CWCY
	Bottom
	260031.6013
	0
	-6155.0824
	-269735
	3657510
	-11639270

	UPPER ROOF
	PF4CWCYB1
	Top
	700.3781
	0
	-55.584
	-2651.7056
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCYB1
	Bottom
	1352.2256
	0
	-55.584
	-2651.7056
	20545.9252
	-67212.9581

	PENTHOUSE
	PF4CWCYB1
	Top
	7386.9752
	0
	-275.0069
	-13018.0667
	106797.1876
	-373185

	PENTHOUSE
	PF4CWCYB1
	Bottom
	9767.7422
	0
	-275.0069
	-13018.0667
	141723.2475
	-490795

	Story14
	PF4CWCYB1
	Top
	16967.9568
	0
	-489.1171
	-23025.0408
	242437.5166
	-857001

	Story14
	PF4CWCYB1
	Bottom
	19323.0693
	0
	-489.1171
	-23025.0408
	278593.4322
	-974515

	Story13
	PF4CWCYB1
	Top
	26370.3703
	0
	-690.8083
	-32319.2244
	374998.3455
	-1330258

	Story13
	PF4CWCYB1
	Bottom
	28601.0128
	0
	-690.8083
	-32319.2244
	409428.3806
	-1441254

	Story12
	PF4CWCYB1
	Top
	37789.6971
	0
	-930.7677
	-42139.5608
	531121.9343
	-1865691

	Story12
	PF4CWCYB1
	Bottom
	40245.3283
	0
	-930.7677
	-42139.5608
	569724.2484
	-1983192

	Story11
	PF4CWCYB1
	Top
	50048.7379
	0
	-1177.5205
	-52395.2258
	700724.8928
	-2441596

	Story11
	PF4CWCYB1
	Bottom
	52578.7317
	0
	-1177.5205
	-52395.2258
	741030.6079
	-2565527

	Story10
	PF4CWCYB1
	Top
	64404.2585
	0
	-1453.3185
	-64099.4039
	901880.3693
	-3147750

	Story10
	PF4CWCYB1
	Bottom
	67511.3697
	0
	-1453.3185
	-64099.4039
	950840.0362
	-3299933

	Story9
	PF4CWCYB1
	Top
	82238.4694
	0
	-1839.8109
	-76249.7591
	1145333
	-3931444

	Story9
	PF4CWCYB1
	Bottom
	86834.3757
	0
	-1839.8109
	-76249.7591
	1213621
	-4117353

	Story8
	PF4CWCYB1
	Top
	102038.9359
	0
	-2214.0359
	-88014.4548
	1413439
	-4753401

	Story8
	PF4CWCYB1
	Bottom
	106366.8072
	0
	-2214.0359
	-88014.4548
	1478012
	-4924556

	Story7
	PF4CWCYB1
	Top
	121743.7002
	0
	-2572.5232
	-99512.9359
	1680366
	-5578651

	Story7
	PF4CWCYB1
	Bottom
	126221.1364
	0
	-2572.5232
	-99512.9359
	1747917
	-5760814

	Story6
	PF4CWCYB1
	Top
	144319.5864
	0
	-2981.8341
	-113496
	1994056
	-6585673

	Story6
	PF4CWCYB1
	Bottom
	150536.0964
	0
	-2981.8341
	-113496
	2089154
	-6869399

	Story5
	PF4CWCYB1
	Top
	169175.2186
	0
	-3392.7698
	-126379
	2336058
	-7682998

	Story5
	PF4CWCYB1
	Bottom
	175135.9141
	0
	-3392.7698
	-126379
	2426943
	-7942941

	Story4
	PF4CWCYB1
	Top
	193911.4059
	0
	-3773.9897
	-138330
	2675191
	-8765369

	Story4
	PF4CWCYB1
	Bottom
	199853.6874
	0
	-3773.9897
	-138330
	2766893
	-9024737

	Story3
	PF4CWCYB1
	Top
	219908.5721
	0
	-4151.9916
	-150180
	3039041
	-9940261

	Story3
	PF4CWCYB1
	Bottom
	226491.8658
	0
	-4151.9916
	-150180
	3140971
	-10237272

	Story2
	PF4CWCYB1
	Top
	248514.625
	0
	-4616.3118
	-164737
	3437270
	-11106353

	Story2
	PF4CWCYB1
	Bottom
	260031.6013
	0
	-4616.3118
	-164737
	3625302
	-11639270

	UPPER ROOF
	PF4CWCYB2
	Top
	700.3781
	0
	-55.584
	-2831.6589
	9997.8972
	-34546.1492

	UPPER ROOF
	PF4CWCYB2
	Bottom
	1352.2256
	0
	-55.584
	-2831.6589
	20545.9252
	-67212.9581

	PENTHOUSE
	PF4CWCYB2
	Top
	7386.9752
	0
	-275.0069
	-14769.6366
	106797.1876
	-373185

	PENTHOUSE
	PF4CWCYB2
	Bottom
	9767.7422
	0
	-275.0069
	-14769.6366
	141723.2475
	-490795

	Story14
	PF4CWCYB2
	Top
	16967.9568
	0
	-489.1171
	-26537.6669
	242437.5166
	-857001

	Story14
	PF4CWCYB2
	Bottom
	19323.0693
	0
	-489.1171
	-26537.6669
	278593.4322
	-974515

	Story13
	PF4CWCYB2
	Top
	26370.3703
	0
	-690.8083
	-37543.7047
	374998.3455
	-1330258

	Story13
	PF4CWCYB2
	Bottom
	28601.0128
	0
	-690.8083
	-37543.7047
	409428.3806
	-1441254

	Story12
	PF4CWCYB2
	Top
	37789.6971
	0
	-930.7677
	-49895.6123
	531121.9343
	-1865691

	Story12
	PF4CWCYB2
	Bottom
	40245.3283
	0
	-930.7677
	-49895.6123
	569724.2484
	-1983192

	Story11
	PF4CWCYB2
	Top
	50048.7379
	0
	-1177.5205
	-62859.3897
	700724.8928
	-2441596

	Story11
	PF4CWCYB2
	Bottom
	52578.7317
	0
	-1177.5205
	-62859.3897
	741030.6079
	-2565527

	Story10
	PF4CWCYB2
	Top
	64404.2585
	0
	-1453.3185
	-77990.3581
	901880.3693
	-3147750

	Story10
	PF4CWCYB2
	Bottom
	67511.3697
	0
	-1453.3185
	-77990.3581
	950840.0362
	-3299933

	Story9
	PF4CWCYB2
	Top
	82238.4694
	0
	-1839.8109
	-96643.4482
	1145333
	-3931444

	Story9
	PF4CWCYB2
	Bottom
	86834.3757
	0
	-1839.8109
	-96643.4482
	1213621
	-4117353

	Story8
	PF4CWCYB2
	Top
	102038.9359
	0
	-2214.0359
	-114704
	1413439
	-4753401

	Story8
	PF4CWCYB2
	Bottom
	106366.8072
	0
	-2214.0359
	-114704
	1478012
	-4924556

	Story7
	PF4CWCYB2
	Top
	121743.7002
	0
	-2572.5232
	-132387
	1680366
	-5578651

	Story7
	PF4CWCYB2
	Bottom
	126221.1364
	0
	-2572.5232
	-132387
	1747917
	-5760814

	Story6
	PF4CWCYB2
	Top
	144319.5864
	0
	-2981.8341
	-154464
	1994056
	-6585673

	Story6
	PF4CWCYB2
	Bottom
	150536.0964
	0
	-2981.8341
	-154464
	2089154
	-6869399

	Story5
	PF4CWCYB2
	Top
	169175.2186
	0
	-3392.7698
	-175935
	2336058
	-7682998

	Story5
	PF4CWCYB2
	Bottom
	175135.9141
	0
	-3392.7698
	-175935
	2426943
	-7942941

	Story4
	PF4CWCYB2
	Top
	193911.4059
	0
	-3773.9897
	-195854
	2675191
	-8765369

	Story4
	PF4CWCYB2
	Bottom
	199853.6874
	0
	-3773.9897
	-195854
	2766893
	-9024737

	Story3
	PF4CWCYB2
	Top
	219908.5721
	0
	-4151.9916
	-215605
	3039041
	-9940261

	Story3
	PF4CWCYB2
	Bottom
	226491.8658
	0
	-4151.9916
	-215605
	3140971
	-10237272

	Story2
	PF4CWCYB2
	Top
	248514.625
	0
	-4616.3118
	-239866
	3437270
	-11106353

	Story2
	PF4CWCYB2
	Bottom
	260031.6013
	0
	-4616.3118
	-239866
	3625302
	-11639270

	UPPER ROOF
	PF4CYB1
	Top
	522.0469
	0
	-55.584
	-2651.7056
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4CYB1
	Bottom
	991.3771
	0
	-55.584
	-2651.7056
	15114.5007
	-49270.0645

	PENTHOUSE
	PF4CYB1
	Top
	5480.3544
	0
	-275.0069
	-13018.0667
	79227.5744
	-276892

	PENTHOUSE
	PF4CYB1
	Bottom
	7194.5066
	0
	-275.0069
	-13018.0667
	104641.5343
	-361571

	Story14
	PF4CYB1
	Top
	12539.4023
	0
	-489.1171
	-23025.0408
	179433.351
	-633321

	Story14
	PF4CYB1
	Bottom
	14235.0833
	0
	-489.1171
	-23025.0408
	205910.7068
	-717930

	Story13
	PF4CYB1
	Top
	19474.5276
	0
	-690.8083
	-32319.2244
	277580.3839
	-982410

	Story13
	PF4CYB1
	Bottom
	21080.5902
	0
	-690.8083
	-32319.2244
	302940.6168
	-1062327

	Story12
	PF4CYB1
	Top
	27895.9674
	0
	-930.7677
	-42139.5608
	393204.9026
	-1377257

	Story12
	PF4CYB1
	Bottom
	29664.0219
	0
	-930.7677
	-42139.5608
	421793.4444
	-1461858

	Story11
	PF4CYB1
	Top
	36937.6022
	0
	-1177.5205
	-52395.2258
	518995.0368
	-1802105

	Story11
	PF4CYB1
	Bottom
	38759.1977
	0
	-1177.5205
	-52395.2258
	548987.7836
	-1891336

	Story10
	PF4CYB1
	Top
	47521.016
	0
	-1453.3185
	-64099.4039
	668167.6278
	-2322593

	Story10
	PF4CYB1
	Bottom
	49758.1361
	0
	-1453.3185
	-64099.4039
	704659.7219
	-2432165

	Story9
	PF4CYB1
	Top
	60690.3505
	0
	-1839.8109
	-76249.7591
	849022.4567
	-2900573

	Story9
	PF4CYB1
	Bottom
	63999.403
	0
	-1839.8109
	-76249.7591
	899863.7753
	-3034428

	Story8
	PF4CYB1
	Top
	75285.0772
	0
	-2214.0359
	-88014.4548
	1048167
	-3506256

	Story8
	PF4CYB1
	Bottom
	78401.1445
	0
	-2214.0359
	-88014.4548
	1096489
	-3629488

	Story7
	PF4CYB1
	Top
	89815.2719
	0
	-2572.5232
	-99512.9359
	1246682
	-4114767

	Story7
	PF4CYB1
	Bottom
	93039.026
	0
	-2572.5232
	-99512.9359
	1297444
	-4245925

	Story6
	PF4CYB1
	Top
	106461.0433
	0
	-2981.8341
	-113496
	1479859
	-4857550

	Story6
	PF4CYB1
	Bottom
	110936.9305
	0
	-2981.8341
	-113496
	1550876
	-5061833

	Story5
	PF4CYB1
	Top
	124786.3698
	0
	-3392.7698
	-126379
	1734347
	-5666321

	Story5
	PF4CYB1
	Bottom
	129078.0706
	0
	-3392.7698
	-126379
	1802435
	-5853480

	Story4
	PF4CYB1
	Top
	143027.5611
	0
	-3773.9897
	-138330
	1986887
	-6464408

	Story4
	PF4CYB1
	Bottom
	147306.0038
	0
	-3773.9897
	-138330
	2055861
	-6651152

	Story3
	PF4CYB1
	Top
	162169.4956
	0
	-4151.9916
	-150180
	2257477
	-7328690

	Story3
	PF4CYB1
	Bottom
	166909.4671
	0
	-4151.9916
	-150180
	2334295
	-7542538

	Story2
	PF4CYB1
	Top
	183214.9809
	0
	-4616.3118
	-164737
	2553710
	-8187229

	Story2
	PF4CYB1
	Bottom
	191507.2038
	0
	-4616.3118
	-164737
	2694586
	-8570929

	UPPER ROOF
	PF4CYB2
	Top
	522.0469
	0
	-55.584
	-2831.6589
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4CYB2
	Bottom
	991.3771
	0
	-55.584
	-2831.6589
	15114.5007
	-49270.0645

	PENTHOUSE
	PF4CYB2
	Top
	5480.3544
	0
	-275.0069
	-14769.6366
	79227.5744
	-276892

	PENTHOUSE
	PF4CYB2
	Bottom
	7194.5066
	0
	-275.0069
	-14769.6366
	104641.5343
	-361571

	Story14
	PF4CYB2
	Top
	12539.4023
	0
	-489.1171
	-26537.6669
	179433.351
	-633321

	Story14
	PF4CYB2
	Bottom
	14235.0833
	0
	-489.1171
	-26537.6669
	205910.7068
	-717930

	Story13
	PF4CYB2
	Top
	19474.5276
	0
	-690.8083
	-37543.7047
	277580.3839
	-982410

	Story13
	PF4CYB2
	Bottom
	21080.5902
	0
	-690.8083
	-37543.7047
	302940.6168
	-1062327

	Story12
	PF4CYB2
	Top
	27895.9674
	0
	-930.7677
	-49895.6123
	393204.9026
	-1377257

	Story12
	PF4CYB2
	Bottom
	29664.0219
	0
	-930.7677
	-49895.6123
	421793.4444
	-1461858

	Story11
	PF4CYB2
	Top
	36937.6022
	0
	-1177.5205
	-62859.3897
	518995.0368
	-1802105

	Story11
	PF4CYB2
	Bottom
	38759.1977
	0
	-1177.5205
	-62859.3897
	548987.7836
	-1891336

	Story10
	PF4CYB2
	Top
	47521.016
	0
	-1453.3185
	-77990.3581
	668167.6278
	-2322593

	Story10
	PF4CYB2
	Bottom
	49758.1361
	0
	-1453.3185
	-77990.3581
	704659.7219
	-2432165

	Story9
	PF4CYB2
	Top
	60690.3505
	0
	-1839.8109
	-96643.4482
	849022.4567
	-2900573

	Story9
	PF4CYB2
	Bottom
	63999.403
	0
	-1839.8109
	-96643.4482
	899863.7753
	-3034428

	Story8
	PF4CYB2
	Top
	75285.0772
	0
	-2214.0359
	-114704
	1048167
	-3506256

	Story8
	PF4CYB2
	Bottom
	78401.1445
	0
	-2214.0359
	-114704
	1096489
	-3629488

	Story7
	PF4CYB2
	Top
	89815.2719
	0
	-2572.5232
	-132387
	1246682
	-4114767

	Story7
	PF4CYB2
	Bottom
	93039.026
	0
	-2572.5232
	-132387
	1297444
	-4245925

	Story6
	PF4CYB2
	Top
	106461.0433
	0
	-2981.8341
	-154464
	1479859
	-4857550

	Story6
	PF4CYB2
	Bottom
	110936.9305
	0
	-2981.8341
	-154464
	1550876
	-5061833

	Story5
	PF4CYB2
	Top
	124786.3698
	0
	-3392.7698
	-175935
	1734347
	-5666321

	Story5
	PF4CYB2
	Bottom
	129078.0706
	0
	-3392.7698
	-175935
	1802435
	-5853480

	Story4
	PF4CYB2
	Top
	143027.5611
	0
	-3773.9897
	-195854
	1986887
	-6464408

	Story4
	PF4CYB2
	Bottom
	147306.0038
	0
	-3773.9897
	-195854
	2055861
	-6651152

	Story3
	PF4CYB2
	Top
	162169.4956
	0
	-4151.9916
	-215605
	2257477
	-7328690

	Story3
	PF4CYB2
	Bottom
	166909.4671
	0
	-4151.9916
	-215605
	2334295
	-7542538

	Story2
	PF4CYB2
	Top
	183214.9809
	0
	-4616.3118
	-239866
	2553710
	-8187229

	Story2
	PF4CYB2
	Bottom
	191507.2038
	0
	-4616.3118
	-239866
	2694586
	-8570929

	UPPER ROOF
	PF4DWCC
	Top
	522.0469
	-27.6847
	-55.584
	-2346.483
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCC
	Bottom
	991.3771
	-27.6847
	-55.584
	-2346.483
	15114.5007
	-49390.493

	PENTHOUSE
	PF4DWCC
	Top
	5480.3544
	-214.558
	-275.0069
	-10882.4267
	79227.5744
	-277012

	PENTHOUSE
	PF4DWCC
	Bottom
	7194.5066
	-214.558
	-275.0069
	-10882.4267
	104641.5343
	-362436

	Story14
	PF4DWCC
	Top
	12539.4023
	-396.454
	-489.1171
	-19227.9319
	179433.351
	-634185

	Story14
	PF4DWCC
	Bottom
	14235.0833
	-396.454
	-489.1171
	-19227.9319
	205910.7068
	-720084

	Story13
	PF4DWCC
	Top
	19474.5276
	-562.5002
	-690.8083
	-27057.5465
	277580.3839
	-984563

	Story13
	PF4DWCC
	Bottom
	21080.5902
	-562.5002
	-690.8083
	-27057.5465
	302940.6168
	-1066140

	Story12
	PF4DWCC
	Top
	27895.9674
	-721.4307
	-930.7677
	-35922.6159
	393204.9026
	-1381070

	Story12
	PF4DWCC
	Bottom
	29664.0219
	-721.4307
	-930.7677
	-35922.6159
	421793.4444
	-1467871

	Story11
	PF4DWCC
	Top
	36937.6022
	-878.5318
	-1177.5205
	-45336.848
	518995.0368
	-1808118

	Story11
	PF4DWCC
	Bottom
	38759.1977
	-878.5318
	-1177.5205
	-45336.848
	548987.7836
	-1899941

	Story10
	PF4DWCC
	Top
	47521.016
	-1033.6335
	-1453.3185
	-56586.8751
	668167.6278
	-2331198

	Story10
	PF4DWCC
	Bottom
	49758.1361
	-1033.6335
	-1453.3185
	-56586.8751
	704659.7219
	-2443922

	Story9
	PF4DWCC
	Top
	60690.3505
	-1194.1456
	-1839.8109
	-69745.4414
	849022.4567
	-2912331

	Story9
	PF4DWCC
	Bottom
	63999.403
	-1194.1456
	-1839.8109
	-69745.4414
	899863.7753
	-3050066

	Story8
	PF4DWCC
	Top
	75285.0772
	-1349.5629
	-2214.0359
	-82486.3469
	1048167
	-3521895

	Story8
	PF4DWCC
	Bottom
	78401.1445
	-1349.5629
	-2214.0359
	-82486.3469
	1096489
	-3649107

	Story7
	PF4DWCC
	Top
	89815.2719
	-1494.7763
	-2572.5232
	-95047.4248
	1246682
	-4134387

	Story7
	PF4DWCC
	Bottom
	93039.026
	-1494.7763
	-2572.5232
	-95047.4248
	1297444
	-4269954

	Story6
	PF4DWCC
	Top
	106461.0433
	-1639.4064
	-2981.8341
	-111056
	1479859
	-4881579

	Story6
	PF4DWCC
	Bottom
	110936.9305
	-1639.4064
	-2981.8341
	-111056
	1550876
	-5090862

	Story5
	PF4DWCC
	Top
	124786.3698
	-1776.7946
	-3392.7698
	-126313
	1734347
	-5695350

	Story5
	PF4DWCC
	Bottom
	129078.0706
	-1776.7946
	-3392.7698
	-126313
	1802435
	-5887467

	Story4
	PF4DWCC
	Top
	143027.5611
	-1904.2479
	-3773.9897
	-140467
	1986887
	-6498394

	Story4
	PF4DWCC
	Bottom
	147306.0038
	-1904.2479
	-3773.9897
	-140467
	2055861
	-6690452

	Story3
	PF4DWCC
	Top
	162169.4956
	-2030.6253
	-4151.9916
	-154502
	2257477
	-7367989

	Story3
	PF4DWCC
	Bottom
	166909.4671
	-2030.6253
	-4151.9916
	-154502
	2334295
	-7587828

	Story2
	PF4DWCC
	Top
	183214.9809
	-2185.8615
	-4616.3118
	-171741
	2553710
	-8232519

	Story2
	PF4DWCC
	Bottom
	191507.2038
	-2185.8615
	-4616.3118
	-171741
	2694586
	-8625509

	UPPER ROOF
	PF4DWCD1
	Top
	522.0469
	-20.7635
	-41.688
	-1844.0854
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCD1
	Bottom
	991.3771
	-20.7635
	-41.688
	-1844.0854
	15054.053
	-49360.3859

	PENTHOUSE
	PF4DWCD1
	Top
	5480.3544
	-160.9185
	-206.2552
	-9262.8719
	79167.1268
	-276982

	PENTHOUSE
	PF4DWCD1
	Bottom
	7194.5066
	-160.9185
	-206.2552
	-9262.8719
	104342.5181
	-362220

	Story14
	PF4DWCD1
	Top
	12539.4023
	-297.3405
	-366.8378
	-16659.0213
	179134.3348
	-633969

	Story14
	PF4DWCD1
	Bottom
	14235.0833
	-297.3405
	-366.8378
	-16659.0213
	205214.283
	-719545

	Story13
	PF4DWCD1
	Top
	19474.5276
	-421.8752
	-518.1062
	-23608.2706
	276883.9601
	-984025

	Story13
	PF4DWCD1
	Bottom
	21080.5902
	-421.8752
	-518.1062
	-23608.2706
	301734.7219
	-1065187

	Story12
	PF4DWCD1
	Top
	27895.9674
	-541.073
	-698.0758
	-31622.8592
	391999.0077
	-1380116

	Story12
	PF4DWCD1
	Bottom
	29664.0219
	-541.073
	-698.0758
	-31622.8592
	419877.8391
	-1466368

	Story11
	PF4DWCD1
	Top
	36937.6022
	-658.8989
	-883.1404
	-40110.7297
	517079.4315
	-1806615

	Story11
	PF4DWCD1
	Bottom
	38759.1977
	-658.8989
	-883.1404
	-40110.7297
	546203.7569
	-1897790

	Story10
	PF4DWCD1
	Top
	47521.016
	-775.2252
	-1089.9889
	-50239.7112
	665383.6011
	-2329047

	Story10
	PF4DWCD1
	Bottom
	49758.1361
	-775.2252
	-1089.9889
	-50239.7112
	700767.5398
	-2440983

	Story9
	PF4DWCD1
	Top
	60690.3505
	-895.6092
	-1379.8582
	-62967.7534
	845130.2746
	-2909391

	Story9
	PF4DWCD1
	Bottom
	63999.403
	-895.6092
	-1379.8582
	-62967.7534
	894476.7469
	-3046157

	Story8
	PF4DWCD1
	Top
	75285.0772
	-1012.1722
	-1660.5269
	-75291.7998
	1042780
	-3517985

	Story8
	PF4DWCD1
	Bottom
	78401.1445
	-1012.1722
	-1660.5269
	-75291.7998
	1089469
	-3644202

	Story7
	PF4DWCD1
	Top
	89815.2719
	-1121.0822
	-1929.3924
	-87412.0774
	1239662
	-4129482

	Story7
	PF4DWCD1
	Bottom
	93039.026
	-1121.0822
	-1929.3924
	-87412.0774
	1288527
	-4263947

	Story6
	PF4DWCD1
	Top
	106461.0433
	-1229.5548
	-2236.3756
	-102833
	1470942
	-4875572

	Story6
	PF4DWCD1
	Bottom
	110936.9305
	-1229.5548
	-2236.3756
	-102833
	1539685
	-5083605

	Story5
	PF4DWCD1
	Top
	124786.3698
	-1332.5959
	-2544.5773
	-117857
	1723157
	-5688093

	Story5
	PF4DWCD1
	Bottom
	129078.0706
	-1332.5959
	-2544.5773
	-117857
	1788878
	-5878970

	Story4
	PF4DWCD1
	Top
	143027.5611
	-1428.1859
	-2830.4922
	-131794
	1973330
	-6489898

	Story4
	PF4DWCD1
	Bottom
	147306.0038
	-1428.1859
	-2830.4922
	-131794
	2039672
	-6680627

	Story3
	PF4DWCD1
	Top
	162169.4956
	-1522.969
	-3113.9937
	-145613
	2241287
	-7358165

	Story3
	PF4DWCD1
	Bottom
	166909.4671
	-1522.969
	-3113.9937
	-145613
	2315043
	-7576505

	Story2
	PF4DWCD1
	Top
	183214.9809
	-1639.3962
	-3462.2338
	-162588
	2534458
	-8221196

	Story2
	PF4DWCD1
	Bottom
	191507.2038
	-1639.3962
	-3462.2338
	-162588
	2670430
	-8611864

	UPPER ROOF
	PF4DWCD2
	Top
	522.0469
	-20.7635
	-41.688
	-1675.6392
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCD2
	Bottom
	991.3771
	-20.7635
	-41.688
	-1675.6392
	15054.053
	-49360.3859

	PENTHOUSE
	PF4DWCD2
	Top
	5480.3544
	-160.9185
	-206.2552
	-7060.7682
	79167.1268
	-276982

	PENTHOUSE
	PF4DWCD2
	Bottom
	7194.5066
	-160.9185
	-206.2552
	-7060.7682
	104342.5181
	-362220

	Story14
	PF4DWCD2
	Top
	12539.4023
	-297.3405
	-366.8378
	-12182.8766
	179134.3348
	-633969

	Story14
	PF4DWCD2
	Bottom
	14235.0833
	-297.3405
	-366.8378
	-12182.8766
	205214.283
	-719545

	Story13
	PF4DWCD2
	Top
	19474.5276
	-421.8752
	-518.1062
	-16978.0491
	276883.9601
	-984025

	Story13
	PF4DWCD2
	Bottom
	21080.5902
	-421.8752
	-518.1062
	-16978.0491
	301734.7219
	-1065187

	Story12
	PF4DWCD2
	Top
	27895.9674
	-541.073
	-698.0758
	-22261.0646
	391999.0077
	-1380116

	Story12
	PF4DWCD2
	Bottom
	29664.0219
	-541.073
	-698.0758
	-22261.0646
	419877.8391
	-1466368

	Story11
	PF4DWCD2
	Top
	36937.6022
	-658.8989
	-883.1404
	-27894.5424
	517079.4315
	-1806615

	Story11
	PF4DWCD2
	Bottom
	38759.1977
	-658.8989
	-883.1404
	-27894.5424
	546203.7569
	-1897790

	Story10
	PF4DWCD2
	Top
	47521.016
	-775.2252
	-1089.9889
	-34640.6014
	665383.6011
	-2329047

	Story10
	PF4DWCD2
	Bottom
	49758.1361
	-775.2252
	-1089.9889
	-34640.6014
	700767.5398
	-2440983

	Story9
	PF4DWCD2
	Top
	60690.3505
	-895.6092
	-1379.8582
	-41650.4087
	845130.2746
	-2909391

	Story9
	PF4DWCD2
	Bottom
	63999.403
	-895.6092
	-1379.8582
	-41650.4087
	894476.7469
	-3046157

	Story8
	PF4DWCD2
	Top
	75285.0772
	-1012.1722
	-1660.5269
	-48437.7206
	1042780
	-3517985

	Story8
	PF4DWCD2
	Bottom
	78401.1445
	-1012.1722
	-1660.5269
	-48437.7206
	1089469
	-3644202

	Story7
	PF4DWCD2
	Top
	89815.2719
	-1121.0822
	-1929.3924
	-55159.0597
	1239662
	-4129482

	Story7
	PF4DWCD2
	Bottom
	93039.026
	-1121.0822
	-1929.3924
	-55159.0597
	1288527
	-4263947

	Story6
	PF4DWCD2
	Top
	106461.0433
	-1229.5548
	-2236.3756
	-63751.4934
	1470942
	-4875572

	Story6
	PF4DWCD2
	Bottom
	110936.9305
	-1229.5548
	-2236.3756
	-63751.4934
	1539685
	-5083605

	Story5
	PF4DWCD2
	Top
	124786.3698
	-1332.5959
	-2544.5773
	-71613.6175
	1723157
	-5688093

	Story5
	PF4DWCD2
	Bottom
	129078.0706
	-1332.5959
	-2544.5773
	-71613.6175
	1788878
	-5878970

	Story4
	PF4DWCD2
	Top
	143027.5611
	-1428.1859
	-2830.4922
	-78907.213
	1973330
	-6489898

	Story4
	PF4DWCD2
	Bottom
	147306.0038
	-1428.1859
	-2830.4922
	-78907.213
	2039672
	-6680627

	Story3
	PF4DWCD2
	Top
	162169.4956
	-1522.969
	-3113.9937
	-86139.2422
	2241287
	-7358165

	Story3
	PF4DWCD2
	Bottom
	166909.4671
	-1522.969
	-3113.9937
	-86139.2422
	2315043
	-7576505

	Story2
	PF4DWCD2
	Top
	183214.9809
	-1639.3962
	-3462.2338
	-95022.7324
	2534458
	-8221196

	Story2
	PF4DWCD2
	Bottom
	191507.2038
	-1639.3962
	-3462.2338
	-95022.7324
	2670430
	-8611864

	UPPER ROOF
	PF4DWCX
	Top
	522.0469
	-36.9129
	0
	526.9323
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCX
	Bottom
	991.3771
	-36.9129
	0
	526.9323
	14872.7101
	-49430.6359

	PENTHOUSE
	PF4DWCX
	Top
	5480.3544
	-286.0773
	0
	4015.2332
	78985.7839
	-277052

	PENTHOUSE
	PF4DWCX
	Bottom
	7194.5066
	-286.0773
	0
	4015.2332
	103445.4697
	-362724

	Story14
	PF4DWCX
	Top
	12539.4023
	-528.6053
	0
	7404.5625
	178237.2864
	-634474

	Story14
	PF4DWCX
	Bottom
	14235.0833
	-528.6053
	0
	7404.5625
	203125.0116
	-720802

	Story13
	PF4DWCX
	Top
	19474.5276
	-750.0003
	0
	10498.5573
	274794.6887
	-985281

	Story13
	PF4DWCX
	Bottom
	21080.5902
	-750.0003
	0
	10498.5573
	298117.037
	-1067411

	Story12
	PF4DWCX
	Top
	27895.9674
	-961.9075
	0
	13459.9609
	388381.3228
	-1382341

	Story12
	PF4DWCX
	Bottom
	29664.0219
	-961.9075
	0
	13459.9609
	414131.0231
	-1469875

	Story11
	PF4DWCX
	Top
	36937.6022
	-1171.3758
	0
	16387.2796
	511332.6156
	-1810123

	Story11
	PF4DWCX
	Bottom
	38759.1977
	-1171.3758
	0
	16387.2796
	537851.6768
	-1902809

	Story10
	PF4DWCX
	Top
	47521.016
	-1378.1781
	0
	19277.3412
	657031.521
	-2334066

	Story10
	PF4DWCX
	Bottom
	49758.1361
	-1378.1781
	0
	19277.3412
	689090.9936
	-2447841

	Story9
	PF4DWCX
	Top
	60690.3505
	-1592.1942
	0
	22268.2163
	833453.7284
	-2916250

	Story9
	PF4DWCX
	Bottom
	63999.403
	-1592.1942
	0
	22268.2163
	878315.6614
	-3055279

	Story8
	PF4DWCX
	Top
	75285.0772
	-1799.4173
	0
	25164.1592
	1026619
	-3527108

	Story8
	PF4DWCX
	Bottom
	78401.1445
	-1799.4173
	0
	25164.1592
	1068409
	-3655647

	Story7
	PF4DWCX
	Top
	89815.2719
	-1993.0351
	0
	27869.9679
	1218603
	-4140927

	Story7
	PF4DWCX
	Bottom
	93039.026
	-1993.0351
	0
	27869.9679
	1261775
	-4277964

	Story6
	PF4DWCX
	Top
	106461.0433
	-2185.8752
	0
	30564.9088
	1444190
	-4889589

	Story6
	PF4DWCX
	Bottom
	110936.9305
	-2185.8752
	0
	30564.9088
	1506113
	-5100538

	Story5
	PF4DWCX
	Top
	124786.3698
	-2369.0594
	0
	33124.9083
	1689584
	-5705027

	Story5
	PF4DWCX
	Bottom
	129078.0706
	-2369.0594
	0
	33124.9083
	1748206
	-5898796

	Story4
	PF4DWCX
	Top
	143027.5611
	-2538.9972
	0
	35499.7882
	1932658
	-6509723

	Story4
	PF4DWCX
	Bottom
	147306.0038
	-2538.9972
	0
	35499.7882
	1991103
	-6703552

	Story3
	PF4DWCX
	Top
	162169.4956
	-2707.5004
	0
	37854.6214
	2192718
	-7381089

	Story3
	PF4DWCX
	Bottom
	166909.4671
	-2707.5004
	0
	37854.6214
	2257288
	-7602925

	Story2
	PF4DWCX
	Top
	183214.9809
	-2914.482
	0
	40747.1896
	2476703
	-8247615

	Story2
	PF4DWCX
	Bottom
	191507.2038
	-2914.482
	0
	40747.1896
	2597960
	-8643702

	UPPER ROOF
	PF4DWCXB1
	Top
	522.0469
	-27.6847
	0
	372.8784
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCXB1
	Bottom
	991.3771
	-27.6847
	0
	372.8784
	14872.7101
	-49390.493

	PENTHOUSE
	PF4DWCXB1
	Top
	5480.3544
	-214.558
	0
	2419.1407
	78985.7839
	-277012

	PENTHOUSE
	PF4DWCXB1
	Bottom
	7194.5066
	-214.558
	0
	2419.1407
	103445.4697
	-362436

	Story14
	PF4DWCXB1
	Top
	12539.4023
	-396.454
	0
	4325.6384
	178237.2864
	-634185

	Story14
	PF4DWCXB1
	Bottom
	14235.0833
	-396.454
	0
	4325.6384
	203125.0116
	-720084

	Story13
	PF4DWCXB1
	Top
	19474.5276
	-562.5002
	0
	6066.0105
	274794.6887
	-984563

	Story13
	PF4DWCXB1
	Bottom
	21080.5902
	-562.5002
	0
	6066.0105
	298117.037
	-1066140

	Story12
	PF4DWCXB1
	Top
	27895.9674
	-721.4307
	0
	7731.8
	388381.3228
	-1381070

	Story12
	PF4DWCXB1
	Bottom
	29664.0219
	-721.4307
	0
	7731.8
	414131.0231
	-1467871

	Story11
	PF4DWCXB1
	Top
	36937.6022
	-878.5318
	0
	9378.4167
	511332.6156
	-1808118

	Story11
	PF4DWCXB1
	Bottom
	38759.1977
	-878.5318
	0
	9378.4167
	537851.6768
	-1899941

	Story10
	PF4DWCXB1
	Top
	47521.016
	-1033.6335
	0
	11004.0764
	657031.521
	-2331198

	Story10
	PF4DWCXB1
	Bottom
	49758.1361
	-1033.6335
	0
	11004.0764
	689090.9936
	-2443922

	Story9
	PF4DWCXB1
	Top
	60690.3505
	-1194.1456
	0
	12686.4437
	833453.7284
	-2912331

	Story9
	PF4DWCXB1
	Bottom
	63999.403
	-1194.1456
	0
	12686.4437
	878315.6614
	-3050066

	Story8
	PF4DWCXB1
	Top
	75285.0772
	-1349.5629
	0
	14315.4115
	1026619
	-3521895

	Story8
	PF4DWCXB1
	Bottom
	78401.1445
	-1349.5629
	0
	14315.4115
	1068409
	-3649107

	Story7
	PF4DWCXB1
	Top
	89815.2719
	-1494.7763
	0
	15837.4289
	1218603
	-4134387

	Story7
	PF4DWCXB1
	Bottom
	93039.026
	-1494.7763
	0
	15837.4289
	1261775
	-4269954

	Story6
	PF4DWCXB1
	Top
	106461.0433
	-1639.4064
	0
	17353.3332
	1444190
	-4881579

	Story6
	PF4DWCXB1
	Bottom
	110936.9305
	-1639.4064
	0
	17353.3332
	1506113
	-5090862

	Story5
	PF4DWCXB1
	Top
	124786.3698
	-1776.7946
	0
	18793.3329
	1689584
	-5695350

	Story5
	PF4DWCXB1
	Bottom
	129078.0706
	-1776.7946
	0
	18793.3329
	1748206
	-5887467

	Story4
	PF4DWCXB1
	Top
	143027.5611
	-1904.2479
	0
	20129.2028
	1932658
	-6498394

	Story4
	PF4DWCXB1
	Bottom
	147306.0038
	-1904.2479
	0
	20129.2028
	1991103
	-6690452

	Story3
	PF4DWCXB1
	Top
	162169.4956
	-2030.6253
	0
	21453.7965
	2192718
	-7367989

	Story3
	PF4DWCXB1
	Bottom
	166909.4671
	-2030.6253
	0
	21453.7965
	2257288
	-7587828

	Story2
	PF4DWCXB1
	Top
	183214.9809
	-2185.8615
	0
	23080.8661
	2476703
	-8232519

	Story2
	PF4DWCXB1
	Bottom
	191507.2038
	-2185.8615
	0
	23080.8661
	2597960
	-8625509

	UPPER ROOF
	PF4DWCXB2
	Top
	522.0469
	-27.6847
	0
	417.52
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCXB2
	Bottom
	991.3771
	-27.6847
	0
	417.52
	14872.7101
	-49390.493

	PENTHOUSE
	PF4DWCXB2
	Top
	5480.3544
	-214.558
	0
	3603.7092
	78985.7839
	-277012

	PENTHOUSE
	PF4DWCXB2
	Bottom
	7194.5066
	-214.558
	0
	3603.7092
	103445.4697
	-362436

	Story14
	PF4DWCXB2
	Top
	12539.4023
	-396.454
	0
	6781.2054
	178237.2864
	-634185

	Story14
	PF4DWCXB2
	Bottom
	14235.0833
	-396.454
	0
	6781.2054
	203125.0116
	-720084

	Story13
	PF4DWCXB2
	Top
	19474.5276
	-562.5002
	0
	9681.8255
	274794.6887
	-984563

	Story13
	PF4DWCXB2
	Bottom
	21080.5902
	-562.5002
	0
	9681.8255
	298117.037
	-1066140

	Story12
	PF4DWCXB2
	Top
	27895.9674
	-721.4307
	0
	12458.1414
	388381.3228
	-1381070

	Story12
	PF4DWCXB2
	Bottom
	29664.0219
	-721.4307
	0
	12458.1414
	414131.0231
	-1467871

	Story11
	PF4DWCXB2
	Top
	36937.6022
	-878.5318
	0
	15202.5026
	511332.6156
	-1808118

	Story11
	PF4DWCXB2
	Bottom
	38759.1977
	-878.5318
	0
	15202.5026
	537851.6768
	-1899941

	Story10
	PF4DWCXB2
	Top
	47521.016
	-1033.6335
	0
	17911.9354
	657031.521
	-2331198

	Story10
	PF4DWCXB2
	Bottom
	49758.1361
	-1033.6335
	0
	17911.9354
	689090.9936
	-2443922

	Story9
	PF4DWCXB2
	Top
	60690.3505
	-1194.1456
	0
	20715.8808
	833453.7284
	-2912331

	Story9
	PF4DWCXB2
	Bottom
	63999.403
	-1194.1456
	0
	20715.8808
	878315.6614
	-3050066

	Story8
	PF4DWCXB2
	Top
	75285.0772
	-1349.5629
	0
	23430.8273
	1026619
	-3521895

	Story8
	PF4DWCXB2
	Bottom
	78401.1445
	-1349.5629
	0
	23430.8273
	1068409
	-3649107

	Story7
	PF4DWCXB2
	Top
	89815.2719
	-1494.7763
	0
	25967.5229
	1218603
	-4134387

	Story7
	PF4DWCXB2
	Bottom
	93039.026
	-1494.7763
	0
	25967.5229
	1261775
	-4269954

	Story6
	PF4DWCXB2
	Top
	106461.0433
	-1639.4064
	0
	28494.03
	1444190
	-4881579

	Story6
	PF4DWCXB2
	Bottom
	110936.9305
	-1639.4064
	0
	28494.03
	1506113
	-5090862

	Story5
	PF4DWCXB2
	Top
	124786.3698
	-1776.7946
	0
	30894.0295
	1689584
	-5695350

	Story5
	PF4DWCXB2
	Bottom
	129078.0706
	-1776.7946
	0
	30894.0295
	1748206
	-5887467

	Story4
	PF4DWCXB2
	Top
	143027.5611
	-1904.2479
	0
	33120.4794
	1932658
	-6498394

	Story4
	PF4DWCXB2
	Bottom
	147306.0038
	-1904.2479
	0
	33120.4794
	1991103
	-6690452

	Story3
	PF4DWCXB2
	Top
	162169.4956
	-2030.6253
	0
	35328.1356
	2192718
	-7367989

	Story3
	PF4DWCXB2
	Bottom
	166909.4671
	-2030.6253
	0
	35328.1356
	2257288
	-7587828

	Story2
	PF4DWCXB2
	Top
	183214.9809
	-2185.8615
	0
	38039.9182
	2476703
	-8232519

	Story2
	PF4DWCXB2
	Bottom
	191507.2038
	-2185.8615
	0
	38039.9182
	2597960
	-8625509

	UPPER ROOF
	PF4DWCY
	Top
	522.0469
	0
	-74.112
	-3655.5763
	7452.2191
	-25749.9621

	UPPER ROOF
	PF4DWCY
	Bottom
	991.3771
	0
	-74.112
	-3655.5763
	15195.0975
	-49270.0645

	PENTHOUSE
	PF4DWCY
	Top
	5480.3544
	0
	-366.6759
	-18525.1355
	79308.1713
	-276892

	PENTHOUSE
	PF4DWCY
	Bottom
	7194.5066
	0
	-366.6759
	-18525.1355
	105040.2225
	-361571

	Story14
	PF4DWCY
	Top
	12539.4023
	0
	-652.1561
	-33041.8051
	179832.0392
	-633321

	Story14
	PF4DWCY
	Bottom
	14235.0833
	0
	-652.1561
	-33041.8051
	206839.2719
	-717930

	Story13
	PF4DWCY
	Top
	19474.5276
	0
	-921.0778
	-46575.286
	278508.949
	-982410

	Story13
	PF4DWCY
	Bottom
	21080.5902
	0
	-921.0778
	-46575.286
	304548.4768
	-1062327

	Story12
	PF4DWCY
	Top
	27895.9674
	0
	-1241.0236
	-61356.782
	394812.7625
	-1377257

	Story12
	PF4DWCY
	Bottom
	29664.0219
	0
	-1241.0236
	-61356.782
	424347.5848
	-1461858

	Story11
	PF4DWCY
	Top
	36937.6022
	0
	-1570.0274
	-76836.4103
	521549.1772
	-1802105

	Story11
	PF4DWCY
	Bottom
	38759.1977
	0
	-1570.0274
	-76836.4103
	552699.8192
	-1891336

	Story10
	PF4DWCY
	Top
	47521.016
	0
	-1937.758
	-94726.508
	671879.6633
	-2322593

	Story10
	PF4DWCY
	Bottom
	49758.1361
	0
	-1937.758
	-94726.508
	709849.298
	-2432165

	Story9
	PF4DWCY
	Top
	60690.3505
	0
	-2453.0813
	-115262
	854212.0328
	-2900573

	Story9
	PF4DWCY
	Bottom
	63999.403
	0
	-2453.0813
	-115262
	907046.48
	-3034428

	Story8
	PF4DWCY
	Top
	75285.0772
	0
	-2952.0478
	-135146
	1055350
	-3506256

	Story8
	PF4DWCY
	Bottom
	78401.1445
	0
	-2952.0478
	-135146
	1105849
	-3629488

	Story7
	PF4DWCY
	Top
	89815.2719
	0
	-3430.0309
	-154600
	1256042
	-4114767

	Story7
	PF4DWCY
	Bottom
	93039.026
	0
	-3430.0309
	-154600
	1309333
	-4245925

	Story6
	PF4DWCY
	Top
	106461.0433
	0
	-3975.7788
	-178640
	1491748
	-4857550

	Story6
	PF4DWCY
	Bottom
	110936.9305
	0
	-3975.7788
	-178640
	1565797
	-5061833

	Story5
	PF4DWCY
	Top
	124786.3698
	0
	-4523.693
	-201543
	1749268
	-5666321

	Story5
	PF4DWCY
	Bottom
	129078.0706
	0
	-4523.693
	-201543
	1820511
	-5853480

	Story4
	PF4DWCY
	Top
	143027.5611
	0
	-5031.9862
	-222790
	2004964
	-6464408

	Story4
	PF4DWCY
	Bottom
	147306.0038
	0
	-5031.9862
	-222790
	2077447
	-6651152

	Story3
	PF4DWCY
	Top
	162169.4956
	0
	-5535.9888
	-243857
	2279063
	-7328690

	Story3
	PF4DWCY
	Bottom
	166909.4671
	0
	-5535.9888
	-243857
	2359964
	-7542538

	Story2
	PF4DWCY
	Top
	183214.9809
	0
	-6155.0824
	-269735
	2579379
	-8187229

	Story2
	PF4DWCY
	Bottom
	191507.2038
	0
	-6155.0824
	-269735
	2726795
	-8570929

	UPPER ROOF
	PF4WCC
	Top
	636.8972
	-27.6847
	-55.584
	-2346.483
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WCC
	Bottom
	1288.7447
	-27.6847
	-55.584
	-2346.483
	19639.7354
	-64202.1912

	PENTHOUSE
	PF4WCC
	Top
	6809.36
	-214.558
	-275.0069
	-10882.4267
	98704.6947
	-344025

	PENTHOUSE
	PF4WCC
	Bottom
	9190.127
	-214.558
	-275.0069
	-10882.4267
	133630.7545
	-462379

	Story14
	PF4WCC
	Top
	15816.2661
	-396.454
	-489.1171
	-19227.9319
	226210.9418
	-799723

	Story14
	PF4WCC
	Bottom
	18171.3786
	-396.454
	-489.1171
	-19227.9319
	262366.8574
	-918525

	Story13
	PF4WCC
	Top
	24628.0095
	-562.5002
	-690.8083
	-27057.5465
	350706.9867
	-1244469

	Story13
	PF4WCC
	Bottom
	26858.652
	-562.5002
	-690.8083
	-27057.5465
	385137.0217
	-1357125

	Story12
	PF4WCC
	Top
	35334.7489
	-721.4307
	-930.7677
	-35922.6159
	497384.4073
	-1748221

	Story12
	PF4WCC
	Bottom
	37790.3801
	-721.4307
	-930.7677
	-35922.6159
	535986.7214
	-1867923

	Story11
	PF4WCC
	Top
	46825.4848
	-878.5318
	-1177.5205
	-45336.848
	656697.6211
	-2289907

	Story11
	PF4WCC
	Bottom
	49355.4786
	-878.5318
	-1177.5205
	-45336.848
	697003.3362
	-2416431

	Story10
	PF4WCC
	Top
	60297.2945
	-1033.6335
	-1453.3185
	-56586.8751
	845824.4695
	-2955593

	Story10
	PF4WCC
	Bottom
	63404.4057
	-1033.6335
	-1453.3185
	-56586.8751
	894784.1364
	-3110929

	Story9
	PF4WCC
	Top
	76957.5676
	-1194.1456
	-1839.8109
	-69745.4414
	1073821
	-3693437

	Story9
	PF4WCC
	Bottom
	81553.4739
	-1194.1456
	-1839.8109
	-69745.4414
	1142108
	-3883227

	Story8
	PF4WCC
	Top
	95549.4954
	-1349.5629
	-2214.0359
	-82486.3469
	1326090
	-4469727

	Story8
	PF4WCC
	Bottom
	99877.3667
	-1349.5629
	-2214.0359
	-82486.3469
	1390664
	-4644863

	Story7
	PF4WCC
	Top
	114030.1011
	-1494.7763
	-2572.5232
	-95047.4248
	1576951
	-5247774

	Story7
	PF4WCC
	Bottom
	118507.5373
	-1494.7763
	-2572.5232
	-95047.4248
	1644502
	-5434346

	Story6
	PF4WCC
	Top
	135209.0826
	-1639.4064
	-2981.8341
	-111056
	1872086
	-6195897

	Story6
	PF4WCC
	Bottom
	141425.5926
	-1639.4064
	-2981.8341
	-111056
	1967184
	-6484623

	Story5
	PF4WCC
	Top
	158531.6029
	-1776.7946
	-3392.7698
	-126313
	2193729
	-7231446

	Story5
	PF4WCC
	Bottom
	164492.2984
	-1776.7946
	-3392.7698
	-126313
	2284614
	-7496347

	Story4
	PF4WCC
	Top
	181728.0169
	-1904.2479
	-3773.9897
	-140467
	2512456
	-8251707

	Story4
	PF4WCC
	Bottom
	187670.2984
	-1904.2479
	-3773.9897
	-140467
	2604158
	-8516387

	Story3
	PF4WCC
	Top
	206210.9876
	-2030.6253
	-4151.9916
	-154502
	2856061
	-9366338

	Story3
	PF4WCC
	Bottom
	212794.2813
	-2030.6253
	-4151.9916
	-154502
	2957990
	-9669340

	Story2
	PF4WCC
	Top
	233213.0148
	-2185.8615
	-4616.3118
	-171741
	3232579
	-10470732

	Story2
	PF4WCC
	Bottom
	244729.991
	-2185.8615
	-4616.3118
	-171741
	3420610
	-11012939

	UPPER ROOF
	PF4WCD1
	Top
	636.8972
	-20.7635
	-41.688
	-1844.0854
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WCD1
	Bottom
	1288.7447
	-20.7635
	-41.688
	-1844.0854
	19579.2877
	-64172.0841

	PENTHOUSE
	PF4WCD1
	Top
	6809.36
	-160.9185
	-206.2552
	-9262.8719
	98644.247
	-343994

	PENTHOUSE
	PF4WCD1
	Bottom
	9190.127
	-160.9185
	-206.2552
	-9262.8719
	133331.7384
	-462162

	Story14
	PF4WCD1
	Top
	15816.2661
	-297.3405
	-366.8378
	-16659.0213
	225911.9256
	-799507

	Story14
	PF4WCD1
	Bottom
	18171.3786
	-297.3405
	-366.8378
	-16659.0213
	261670.4336
	-917987

	Story13
	PF4WCD1
	Top
	24628.0095
	-421.8752
	-518.1062
	-23608.2706
	350010.5629
	-1243931

	Story13
	PF4WCD1
	Bottom
	26858.652
	-421.8752
	-518.1062
	-23608.2706
	383931.1268
	-1356171

	Story12
	PF4WCD1
	Top
	35334.7489
	-541.073
	-698.0758
	-31622.8592
	496178.5124
	-1747268

	Story12
	PF4WCD1
	Bottom
	37790.3801
	-541.073
	-698.0758
	-31622.8592
	534071.1161
	-1866419

	Story11
	PF4WCD1
	Top
	46825.4848
	-658.8989
	-883.1404
	-40110.7297
	654782.0158
	-2288404

	Story11
	PF4WCD1
	Bottom
	49355.4786
	-658.8989
	-883.1404
	-40110.7297
	694219.3095
	-2414279

	Story10
	PF4WCD1
	Top
	60297.2945
	-775.2252
	-1089.9889
	-50239.7112
	843040.4429
	-2953442

	Story10
	PF4WCD1
	Bottom
	63404.4057
	-775.2252
	-1089.9889
	-50239.7112
	890891.9543
	-3107990

	Story9
	PF4WCD1
	Top
	76957.5676
	-895.6092
	-1379.8582
	-62967.7534
	1069929
	-3690498

	Story9
	PF4WCD1
	Bottom
	81553.4739
	-895.6092
	-1379.8582
	-62967.7534
	1136721
	-3879318

	Story8
	PF4WCD1
	Top
	95549.4954
	-1012.1722
	-1660.5269
	-75291.7998
	1320703
	-4465818

	Story8
	PF4WCD1
	Bottom
	99877.3667
	-1012.1722
	-1660.5269
	-75291.7998
	1383644
	-4639958

	Story7
	PF4WCD1
	Top
	114030.1011
	-1121.0822
	-1929.3924
	-87412.0774
	1569931
	-5242869

	Story7
	PF4WCD1
	Bottom
	118507.5373
	-1121.0822
	-1929.3924
	-87412.0774
	1635585
	-5428339

	Story6
	PF4WCD1
	Top
	135209.0826
	-1229.5548
	-2236.3756
	-102833
	1863169
	-6189890

	Story6
	PF4WCD1
	Bottom
	141425.5926
	-1229.5548
	-2236.3756
	-102833
	1955994
	-6477366

	Story5
	PF4WCD1
	Top
	158531.6029
	-1332.5959
	-2544.5773
	-117857
	2182538
	-7224189

	Story5
	PF4WCD1
	Bottom
	164492.2984
	-1332.5959
	-2544.5773
	-117857
	2271057
	-7487851

	Story4
	PF4WCD1
	Top
	181728.0169
	-1428.1859
	-2830.4922
	-131794
	2498899
	-8243210

	Story4
	PF4WCD1
	Bottom
	187670.2984
	-1428.1859
	-2830.4922
	-131794
	2587969
	-8506563

	Story3
	PF4WCD1
	Top
	206210.9876
	-1522.969
	-3113.9937
	-145613
	2839871
	-9356513

	Story3
	PF4WCD1
	Bottom
	212794.2813
	-1522.969
	-3113.9937
	-145613
	2938739
	-9658017

	Story2
	PF4WCD1
	Top
	233213.0148
	-1639.3962
	-3462.2338
	-162588
	3213327
	-10459409

	Story2
	PF4WCD1
	Bottom
	244729.991
	-1639.3962
	-3462.2338
	-162588
	3396454
	-10999294

	UPPER ROOF
	PF4WCD2
	Top
	636.8972
	-20.7635
	-41.688
	-1675.6392
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WCD2
	Bottom
	1288.7447
	-20.7635
	-41.688
	-1675.6392
	19579.2877
	-64172.0841

	PENTHOUSE
	PF4WCD2
	Top
	6809.36
	-160.9185
	-206.2552
	-7060.7682
	98644.247
	-343994

	PENTHOUSE
	PF4WCD2
	Bottom
	9190.127
	-160.9185
	-206.2552
	-7060.7682
	133331.7384
	-462162

	Story14
	PF4WCD2
	Top
	15816.2661
	-297.3405
	-366.8378
	-12182.8766
	225911.9256
	-799507

	Story14
	PF4WCD2
	Bottom
	18171.3786
	-297.3405
	-366.8378
	-12182.8766
	261670.4336
	-917987

	Story13
	PF4WCD2
	Top
	24628.0095
	-421.8752
	-518.1062
	-16978.0491
	350010.5629
	-1243931

	Story13
	PF4WCD2
	Bottom
	26858.652
	-421.8752
	-518.1062
	-16978.0491
	383931.1268
	-1356171

	Story12
	PF4WCD2
	Top
	35334.7489
	-541.073
	-698.0758
	-22261.0646
	496178.5124
	-1747268

	Story12
	PF4WCD2
	Bottom
	37790.3801
	-541.073
	-698.0758
	-22261.0646
	534071.1161
	-1866419

	Story11
	PF4WCD2
	Top
	46825.4848
	-658.8989
	-883.1404
	-27894.5424
	654782.0158
	-2288404

	Story11
	PF4WCD2
	Bottom
	49355.4786
	-658.8989
	-883.1404
	-27894.5424
	694219.3095
	-2414279

	Story10
	PF4WCD2
	Top
	60297.2945
	-775.2252
	-1089.9889
	-34640.6014
	843040.4429
	-2953442

	Story10
	PF4WCD2
	Bottom
	63404.4057
	-775.2252
	-1089.9889
	-34640.6014
	890891.9543
	-3107990

	Story9
	PF4WCD2
	Top
	76957.5676
	-895.6092
	-1379.8582
	-41650.4087
	1069929
	-3690498

	Story9
	PF4WCD2
	Bottom
	81553.4739
	-895.6092
	-1379.8582
	-41650.4087
	1136721
	-3879318

	Story8
	PF4WCD2
	Top
	95549.4954
	-1012.1722
	-1660.5269
	-48437.7206
	1320703
	-4465818

	Story8
	PF4WCD2
	Bottom
	99877.3667
	-1012.1722
	-1660.5269
	-48437.7206
	1383644
	-4639958

	Story7
	PF4WCD2
	Top
	114030.1011
	-1121.0822
	-1929.3924
	-55159.0597
	1569931
	-5242869

	Story7
	PF4WCD2
	Bottom
	118507.5373
	-1121.0822
	-1929.3924
	-55159.0597
	1635585
	-5428339

	Story6
	PF4WCD2
	Top
	135209.0826
	-1229.5548
	-2236.3756
	-63751.4934
	1863169
	-6189890

	Story6
	PF4WCD2
	Bottom
	141425.5926
	-1229.5548
	-2236.3756
	-63751.4934
	1955994
	-6477366

	Story5
	PF4WCD2
	Top
	158531.6029
	-1332.5959
	-2544.5773
	-71613.6175
	2182538
	-7224189

	Story5
	PF4WCD2
	Bottom
	164492.2984
	-1332.5959
	-2544.5773
	-71613.6175
	2271057
	-7487851

	Story4
	PF4WCD2
	Top
	181728.0169
	-1428.1859
	-2830.4922
	-78907.213
	2498899
	-8243210

	Story4
	PF4WCD2
	Bottom
	187670.2984
	-1428.1859
	-2830.4922
	-78907.213
	2587969
	-8506563

	Story3
	PF4WCD2
	Top
	206210.9876
	-1522.969
	-3113.9937
	-86139.2422
	2839871
	-9356513

	Story3
	PF4WCD2
	Bottom
	212794.2813
	-1522.969
	-3113.9937
	-86139.2422
	2938739
	-9658017

	Story2
	PF4WCD2
	Top
	233213.0148
	-1639.3962
	-3462.2338
	-95022.7324
	3213327
	-10459409

	Story2
	PF4WCD2
	Bottom
	244729.991
	-1639.3962
	-3462.2338
	-95022.7324
	3396454
	-10999294

	UPPER ROOF
	PF4WX
	Top
	636.8972
	-36.9129
	0
	526.9323
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WX
	Bottom
	1288.7447
	-36.9129
	0
	526.9323
	19397.9449
	-64242.334

	PENTHOUSE
	PF4WX
	Top
	6809.36
	-286.0773
	0
	4015.2332
	98462.9041
	-344065

	PENTHOUSE
	PF4WX
	Bottom
	9190.127
	-286.0773
	0
	4015.2332
	132434.6899
	-462667

	Story14
	PF4WX
	Top
	15816.2661
	-528.6053
	0
	7404.5625
	225014.8772
	-800011

	Story14
	PF4WX
	Bottom
	18171.3786
	-528.6053
	0
	7404.5625
	259581.1622
	-919243

	Story13
	PF4WX
	Top
	24628.0095
	-750.0003
	0
	10498.5573
	347921.2915
	-1245187

	Story13
	PF4WX
	Bottom
	26858.652
	-750.0003
	0
	10498.5573
	380313.442
	-1358395

	Story12
	PF4WX
	Top
	35334.7489
	-961.9075
	0
	13459.9609
	492560.8275
	-1749492

	Story12
	PF4WX
	Bottom
	37790.3801
	-961.9075
	0
	13459.9609
	528324.3002
	-1869927

	Story11
	PF4WX
	Top
	46825.4848
	-1171.3758
	0
	16387.2796
	649035.1999
	-2291912

	Story11
	PF4WX
	Bottom
	49355.4786
	-1171.3758
	0
	16387.2796
	685867.2295
	-2419299

	Story10
	PF4WX
	Top
	60297.2945
	-1378.1781
	0
	19277.3412
	834688.3628
	-2958462

	Story10
	PF4WX
	Bottom
	63404.4057
	-1378.1781
	0
	19277.3412
	879215.4081
	-3114848

	Story9
	PF4WX
	Top
	76957.5676
	-1592.1942
	0
	22268.2163
	1058252
	-3697356

	Story9
	PF4WX
	Bottom
	81553.4739
	-1592.1942
	0
	22268.2163
	1120560
	-3888440

	Story8
	PF4WX
	Top
	95549.4954
	-1799.4173
	0
	25164.1592
	1304542
	-4474940

	Story8
	PF4WX
	Bottom
	99877.3667
	-1799.4173
	0
	25164.1592
	1362584
	-4651403

	Story7
	PF4WX
	Top
	114030.1011
	-1993.0351
	0
	27869.9679
	1548871
	-5254314

	Story7
	PF4WX
	Bottom
	118507.5373
	-1993.0351
	0
	27869.9679
	1608833
	-5442356

	Story6
	PF4WX
	Top
	135209.0826
	-2185.8752
	0
	30564.9088
	1836418
	-6203907

	Story6
	PF4WX
	Bottom
	141425.5926
	-2185.8752
	0
	30564.9088
	1922421
	-6494300

	Story5
	PF4WX
	Top
	158531.6029
	-2369.0594
	0
	33124.9083
	2148966
	-7241123

	Story5
	PF4WX
	Bottom
	164492.2984
	-2369.0594
	0
	33124.9083
	2230385
	-7507676

	Story4
	PF4WX
	Top
	181728.0169
	-2538.9972
	0
	35499.7882
	2458227
	-8263036

	Story4
	PF4WX
	Bottom
	187670.2984
	-2538.9972
	0
	35499.7882
	2539400
	-8529487

	Story3
	PF4WX
	Top
	206210.9876
	-2707.5004
	0
	37854.6214
	2791303
	-9379438

	Story3
	PF4WX
	Bottom
	212794.2813
	-2707.5004
	0
	37854.6214
	2880984
	-9684437

	Story2
	PF4WX
	Top
	233213.0148
	-2914.482
	0
	40747.1896
	3155572
	-10485828

	Story2
	PF4WX
	Bottom
	244729.991
	-2914.482
	0
	40747.1896
	3323984
	-11031132

	UPPER ROOF
	PF4WXB1
	Top
	636.8972
	-27.6847
	0
	372.8784
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WXB1
	Bottom
	1288.7447
	-27.6847
	0
	372.8784
	19397.9449
	-64202.1912

	PENTHOUSE
	PF4WXB1
	Top
	6809.36
	-214.558
	0
	2419.1407
	98462.9041
	-344025

	PENTHOUSE
	PF4WXB1
	Bottom
	9190.127
	-214.558
	0
	2419.1407
	132434.6899
	-462379

	Story14
	PF4WXB1
	Top
	15816.2661
	-396.454
	0
	4325.6384
	225014.8772
	-799723

	Story14
	PF4WXB1
	Bottom
	18171.3786
	-396.454
	0
	4325.6384
	259581.1622
	-918525

	Story13
	PF4WXB1
	Top
	24628.0095
	-562.5002
	0
	6066.0105
	347921.2915
	-1244469

	Story13
	PF4WXB1
	Bottom
	26858.652
	-562.5002
	0
	6066.0105
	380313.442
	-1357125

	Story12
	PF4WXB1
	Top
	35334.7489
	-721.4307
	0
	7731.8
	492560.8275
	-1748221

	Story12
	PF4WXB1
	Bottom
	37790.3801
	-721.4307
	0
	7731.8
	528324.3002
	-1867923

	Story11
	PF4WXB1
	Top
	46825.4848
	-878.5318
	0
	9378.4167
	649035.1999
	-2289907

	Story11
	PF4WXB1
	Bottom
	49355.4786
	-878.5318
	0
	9378.4167
	685867.2295
	-2416431

	Story10
	PF4WXB1
	Top
	60297.2945
	-1033.6335
	0
	11004.0764
	834688.3628
	-2955593

	Story10
	PF4WXB1
	Bottom
	63404.4057
	-1033.6335
	0
	11004.0764
	879215.4081
	-3110929

	Story9
	PF4WXB1
	Top
	76957.5676
	-1194.1456
	0
	12686.4437
	1058252
	-3693437

	Story9
	PF4WXB1
	Bottom
	81553.4739
	-1194.1456
	0
	12686.4437
	1120560
	-3883227

	Story8
	PF4WXB1
	Top
	95549.4954
	-1349.5629
	0
	14315.4115
	1304542
	-4469727

	Story8
	PF4WXB1
	Bottom
	99877.3667
	-1349.5629
	0
	14315.4115
	1362584
	-4644863

	Story7
	PF4WXB1
	Top
	114030.1011
	-1494.7763
	0
	15837.4289
	1548871
	-5247774

	Story7
	PF4WXB1
	Bottom
	118507.5373
	-1494.7763
	0
	15837.4289
	1608833
	-5434346

	Story6
	PF4WXB1
	Top
	135209.0826
	-1639.4064
	0
	17353.3332
	1836418
	-6195897

	Story6
	PF4WXB1
	Bottom
	141425.5926
	-1639.4064
	0
	17353.3332
	1922421
	-6484623

	Story5
	PF4WXB1
	Top
	158531.6029
	-1776.7946
	0
	18793.3329
	2148966
	-7231446

	Story5
	PF4WXB1
	Bottom
	164492.2984
	-1776.7946
	0
	18793.3329
	2230385
	-7496347

	Story4
	PF4WXB1
	Top
	181728.0169
	-1904.2479
	0
	20129.2028
	2458227
	-8251707

	Story4
	PF4WXB1
	Bottom
	187670.2984
	-1904.2479
	0
	20129.2028
	2539400
	-8516387

	Story3
	PF4WXB1
	Top
	206210.9876
	-2030.6253
	0
	21453.7965
	2791303
	-9366338

	Story3
	PF4WXB1
	Bottom
	212794.2813
	-2030.6253
	0
	21453.7965
	2880984
	-9669340

	Story2
	PF4WXB1
	Top
	233213.0148
	-2185.8615
	0
	23080.8661
	3155572
	-10470732

	Story2
	PF4WXB1
	Bottom
	244729.991
	-2185.8615
	0
	23080.8661
	3323984
	-11012939

	UPPER ROOF
	PF4WXB2
	Top
	636.8972
	-27.6847
	0
	417.52
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WXB2
	Bottom
	1288.7447
	-27.6847
	0
	417.52
	19397.9449
	-64202.1912

	PENTHOUSE
	PF4WXB2
	Top
	6809.36
	-214.558
	0
	3603.7092
	98462.9041
	-344025

	PENTHOUSE
	PF4WXB2
	Bottom
	9190.127
	-214.558
	0
	3603.7092
	132434.6899
	-462379

	Story14
	PF4WXB2
	Top
	15816.2661
	-396.454
	0
	6781.2054
	225014.8772
	-799723

	Story14
	PF4WXB2
	Bottom
	18171.3786
	-396.454
	0
	6781.2054
	259581.1622
	-918525

	Story13
	PF4WXB2
	Top
	24628.0095
	-562.5002
	0
	9681.8255
	347921.2915
	-1244469

	Story13
	PF4WXB2
	Bottom
	26858.652
	-562.5002
	0
	9681.8255
	380313.442
	-1357125

	Story12
	PF4WXB2
	Top
	35334.7489
	-721.4307
	0
	12458.1414
	492560.8275
	-1748221

	Story12
	PF4WXB2
	Bottom
	37790.3801
	-721.4307
	0
	12458.1414
	528324.3002
	-1867923

	Story11
	PF4WXB2
	Top
	46825.4848
	-878.5318
	0
	15202.5026
	649035.1999
	-2289907

	Story11
	PF4WXB2
	Bottom
	49355.4786
	-878.5318
	0
	15202.5026
	685867.2295
	-2416431

	Story10
	PF4WXB2
	Top
	60297.2945
	-1033.6335
	0
	17911.9354
	834688.3628
	-2955593

	Story10
	PF4WXB2
	Bottom
	63404.4057
	-1033.6335
	0
	17911.9354
	879215.4081
	-3110929

	Story9
	PF4WXB2
	Top
	76957.5676
	-1194.1456
	0
	20715.8808
	1058252
	-3693437

	Story9
	PF4WXB2
	Bottom
	81553.4739
	-1194.1456
	0
	20715.8808
	1120560
	-3883227

	Story8
	PF4WXB2
	Top
	95549.4954
	-1349.5629
	0
	23430.8273
	1304542
	-4469727

	Story8
	PF4WXB2
	Bottom
	99877.3667
	-1349.5629
	0
	23430.8273
	1362584
	-4644863

	Story7
	PF4WXB2
	Top
	114030.1011
	-1494.7763
	0
	25967.5229
	1548871
	-5247774

	Story7
	PF4WXB2
	Bottom
	118507.5373
	-1494.7763
	0
	25967.5229
	1608833
	-5434346

	Story6
	PF4WXB2
	Top
	135209.0826
	-1639.4064
	0
	28494.03
	1836418
	-6195897

	Story6
	PF4WXB2
	Bottom
	141425.5926
	-1639.4064
	0
	28494.03
	1922421
	-6484623

	Story5
	PF4WXB2
	Top
	158531.6029
	-1776.7946
	0
	30894.0295
	2148966
	-7231446

	Story5
	PF4WXB2
	Bottom
	164492.2984
	-1776.7946
	0
	30894.0295
	2230385
	-7496347

	Story4
	PF4WXB2
	Top
	181728.0169
	-1904.2479
	0
	33120.4794
	2458227
	-8251707

	Story4
	PF4WXB2
	Bottom
	187670.2984
	-1904.2479
	0
	33120.4794
	2539400
	-8516387

	Story3
	PF4WXB2
	Top
	206210.9876
	-2030.6253
	0
	35328.1356
	2791303
	-9366338

	Story3
	PF4WXB2
	Bottom
	212794.2813
	-2030.6253
	0
	35328.1356
	2880984
	-9669340

	Story2
	PF4WXB2
	Top
	233213.0148
	-2185.8615
	0
	38039.9182
	3155572
	-10470732

	Story2
	PF4WXB2
	Bottom
	244729.991
	-2185.8615
	0
	38039.9182
	3323984
	-11012939

	UPPER ROOF
	PF4WY
	Top
	636.8972
	0
	-74.112
	-3655.5763
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WY
	Bottom
	1288.7447
	0
	-74.112
	-3655.5763
	19720.3322
	-64081.7627

	PENTHOUSE
	PF4WY
	Top
	6809.36
	0
	-366.6759
	-18525.1355
	98785.2915
	-343904

	PENTHOUSE
	PF4WY
	Bottom
	9190.127
	0
	-366.6759
	-18525.1355
	134029.4427
	-461514

	Story14
	PF4WY
	Top
	15816.2661
	0
	-652.1561
	-33041.8051
	226609.63
	-798858

	Story14
	PF4WY
	Bottom
	18171.3786
	0
	-652.1561
	-33041.8051
	263295.4225
	-916372

	Story13
	PF4WY
	Top
	24628.0095
	0
	-921.0778
	-46575.286
	351635.5517
	-1242316

	Story13
	PF4WY
	Bottom
	26858.652
	0
	-921.0778
	-46575.286
	386744.8817
	-1353312

	Story12
	PF4WY
	Top
	35334.7489
	0
	-1241.0236
	-61356.782
	498992.2673
	-1744408

	Story12
	PF4WY
	Bottom
	37790.3801
	0
	-1241.0236
	-61356.782
	538540.8619
	-1861910

	Story11
	PF4WY
	Top
	46825.4848
	0
	-1570.0274
	-76836.4103
	659251.7615
	-2283894

	Story11
	PF4WY
	Bottom
	49355.4786
	0
	-1570.0274
	-76836.4103
	700715.3718
	-2407826

	Story10
	PF4WY
	Top
	60297.2945
	0
	-1937.758
	-94726.508
	849536.5051
	-2946989

	Story10
	PF4WY
	Bottom
	63404.4057
	0
	-1937.758
	-94726.508
	899973.7125
	-3099172

	Story9
	PF4WY
	Top
	76957.5676
	0
	-2453.0813
	-115262
	1079010
	-3681680

	Story9
	PF4WY
	Bottom
	81553.4739
	0
	-2453.0813
	-115262
	1149291
	-3867589

	Story8
	PF4WY
	Top
	95549.4954
	0
	-2952.0478
	-135146
	1333272
	-4454089

	Story8
	PF4WY
	Bottom
	99877.3667
	0
	-2952.0478
	-135146
	1400023
	-4625244

	Story7
	PF4WY
	Top
	114030.1011
	0
	-3430.0309
	-154600
	1586311
	-5228154

	Story7
	PF4WY
	Bottom
	118507.5373
	0
	-3430.0309
	-154600
	1656391
	-5410317

	Story6
	PF4WY
	Top
	135209.0826
	0
	-3975.7788
	-178640
	1883976
	-6171868

	Story6
	PF4WY
	Bottom
	141425.5926
	0
	-3975.7788
	-178640
	1982106
	-6455594

	Story5
	PF4WY
	Top
	158531.6029
	0
	-4523.693
	-201543
	2208650
	-7202417

	Story5
	PF4WY
	Bottom
	164492.2984
	0
	-4523.693
	-201543
	2302690
	-7462361

	Story4
	PF4WY
	Top
	181728.0169
	0
	-5031.9862
	-222790
	2530532
	-8217720

	Story4
	PF4WY
	Bottom
	187670.2984
	0
	-5031.9862
	-222790
	2625744
	-8477088

	Story3
	PF4WY
	Top
	206210.9876
	0
	-5535.9888
	-243857
	2877647
	-9327039

	Story3
	PF4WY
	Bottom
	212794.2813
	0
	-5535.9888
	-243857
	2983659
	-9624050

	Story2
	PF4WY
	Top
	233213.0148
	0
	-6155.0824
	-269735
	3258247
	-10425442

	Story2
	PF4WY
	Bottom
	244729.991
	0
	-6155.0824
	-269735
	3452819
	-10958359

	UPPER ROOF
	PF4WYB1
	Top
	636.8972
	0
	-55.584
	-2651.7056
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WYB1
	Bottom
	1288.7447
	0
	-55.584
	-2651.7056
	19639.7354
	-64081.7627

	PENTHOUSE
	PF4WYB1
	Top
	6809.36
	0
	-275.0069
	-13018.0667
	98704.6947
	-343904

	PENTHOUSE
	PF4WYB1
	Bottom
	9190.127
	0
	-275.0069
	-13018.0667
	133630.7545
	-461514

	Story14
	PF4WYB1
	Top
	15816.2661
	0
	-489.1171
	-23025.0408
	226210.9418
	-798858

	Story14
	PF4WYB1
	Bottom
	18171.3786
	0
	-489.1171
	-23025.0408
	262366.8574
	-916372

	Story13
	PF4WYB1
	Top
	24628.0095
	0
	-690.8083
	-32319.2244
	350706.9867
	-1242316

	Story13
	PF4WYB1
	Bottom
	26858.652
	0
	-690.8083
	-32319.2244
	385137.0217
	-1353312

	Story12
	PF4WYB1
	Top
	35334.7489
	0
	-930.7677
	-42139.5608
	497384.4073
	-1744408

	Story12
	PF4WYB1
	Bottom
	37790.3801
	0
	-930.7677
	-42139.5608
	535986.7214
	-1861910

	Story11
	PF4WYB1
	Top
	46825.4848
	0
	-1177.5205
	-52395.2258
	656697.6211
	-2283894

	Story11
	PF4WYB1
	Bottom
	49355.4786
	0
	-1177.5205
	-52395.2258
	697003.3362
	-2407826

	Story10
	PF4WYB1
	Top
	60297.2945
	0
	-1453.3185
	-64099.4039
	845824.4695
	-2946989

	Story10
	PF4WYB1
	Bottom
	63404.4057
	0
	-1453.3185
	-64099.4039
	894784.1364
	-3099172

	Story9
	PF4WYB1
	Top
	76957.5676
	0
	-1839.8109
	-76249.7591
	1073821
	-3681680

	Story9
	PF4WYB1
	Bottom
	81553.4739
	0
	-1839.8109
	-76249.7591
	1142108
	-3867589

	Story8
	PF4WYB1
	Top
	95549.4954
	0
	-2214.0359
	-88014.4548
	1326090
	-4454089

	Story8
	PF4WYB1
	Bottom
	99877.3667
	0
	-2214.0359
	-88014.4548
	1390664
	-4625244

	Story7
	PF4WYB1
	Top
	114030.1011
	0
	-2572.5232
	-99512.9359
	1576951
	-5228154

	Story7
	PF4WYB1
	Bottom
	118507.5373
	0
	-2572.5232
	-99512.9359
	1644502
	-5410317

	Story6
	PF4WYB1
	Top
	135209.0826
	0
	-2981.8341
	-113496
	1872086
	-6171868

	Story6
	PF4WYB1
	Bottom
	141425.5926
	0
	-2981.8341
	-113496
	1967184
	-6455594

	Story5
	PF4WYB1
	Top
	158531.6029
	0
	-3392.7698
	-126379
	2193729
	-7202417

	Story5
	PF4WYB1
	Bottom
	164492.2984
	0
	-3392.7698
	-126379
	2284614
	-7462361

	Story4
	PF4WYB1
	Top
	181728.0169
	0
	-3773.9897
	-138330
	2512456
	-8217720

	Story4
	PF4WYB1
	Bottom
	187670.2984
	0
	-3773.9897
	-138330
	2604158
	-8477088

	Story3
	PF4WYB1
	Top
	206210.9876
	0
	-4151.9916
	-150180
	2856061
	-9327039

	Story3
	PF4WYB1
	Bottom
	212794.2813
	0
	-4151.9916
	-150180
	2957990
	-9624050

	Story2
	PF4WYB1
	Top
	233213.0148
	0
	-4616.3118
	-164737
	3232579
	-10425442

	Story2
	PF4WYB1
	Bottom
	244729.991
	0
	-4616.3118
	-164737
	3420610
	-10958359

	UPPER ROOF
	PF4WYB2
	Top
	636.8972
	0
	-55.584
	-2831.6589
	9091.7074
	-31414.9538

	UPPER ROOF
	PF4WYB2
	Bottom
	1288.7447
	0
	-55.584
	-2831.6589
	19639.7354
	-64081.7627

	PENTHOUSE
	PF4WYB2
	Top
	6809.36
	0
	-275.0069
	-14769.6366
	98704.6947
	-343904

	PENTHOUSE
	PF4WYB2
	Bottom
	9190.127
	0
	-275.0069
	-14769.6366
	133630.7545
	-461514

	Story14
	PF4WYB2
	Top
	15816.2661
	0
	-489.1171
	-26537.6669
	226210.9418
	-798858

	Story14
	PF4WYB2
	Bottom
	18171.3786
	0
	-489.1171
	-26537.6669
	262366.8574
	-916372

	Story13
	PF4WYB2
	Top
	24628.0095
	0
	-690.8083
	-37543.7047
	350706.9867
	-1242316

	Story13
	PF4WYB2
	Bottom
	26858.652
	0
	-690.8083
	-37543.7047
	385137.0217
	-1353312

	Story12
	PF4WYB2
	Top
	35334.7489
	0
	-930.7677
	-49895.6123
	497384.4073
	-1744408

	Story12
	PF4WYB2
	Bottom
	37790.3801
	0
	-930.7677
	-49895.6123
	535986.7214
	-1861910

	Story11
	PF4WYB2
	Top
	46825.4848
	0
	-1177.5205
	-62859.3897
	656697.6211
	-2283894

	Story11
	PF4WYB2
	Bottom
	49355.4786
	0
	-1177.5205
	-62859.3897
	697003.3362
	-2407826

	Story10
	PF4WYB2
	Top
	60297.2945
	0
	-1453.3185
	-77990.3581
	845824.4695
	-2946989

	Story10
	PF4WYB2
	Bottom
	63404.4057
	0
	-1453.3185
	-77990.3581
	894784.1364
	-3099172

	Story9
	PF4WYB2
	Top
	76957.5676
	0
	-1839.8109
	-96643.4482
	1073821
	-3681680

	Story9
	PF4WYB2
	Bottom
	81553.4739
	0
	-1839.8109
	-96643.4482
	1142108
	-3867589

	Story8
	PF4WYB2
	Top
	95549.4954
	0
	-2214.0359
	-114704
	1326090
	-4454089

	Story8
	PF4WYB2
	Bottom
	99877.3667
	0
	-2214.0359
	-114704
	1390664
	-4625244

	Story7
	PF4WYB2
	Top
	114030.1011
	0
	-2572.5232
	-132387
	1576951
	-5228154

	Story7
	PF4WYB2
	Bottom
	118507.5373
	0
	-2572.5232
	-132387
	1644502
	-5410317

	Story6
	PF4WYB2
	Top
	135209.0826
	0
	-2981.8341
	-154464
	1872086
	-6171868

	Story6
	PF4WYB2
	Bottom
	141425.5926
	0
	-2981.8341
	-154464
	1967184
	-6455594

	Story5
	PF4WYB2
	Top
	158531.6029
	0
	-3392.7698
	-175935
	2193729
	-7202417

	Story5
	PF4WYB2
	Bottom
	164492.2984
	0
	-3392.7698
	-175935
	2284614
	-7462361

	Story4
	PF4WYB2
	Top
	181728.0169
	0
	-3773.9897
	-195854
	2512456
	-8217720

	Story4
	PF4WYB2
	Bottom
	187670.2984
	0
	-3773.9897
	-195854
	2604158
	-8477088

	Story3
	PF4WYB2
	Top
	206210.9876
	0
	-4151.9916
	-215605
	2856061
	-9327039

	Story3
	PF4WYB2
	Bottom
	212794.2813
	0
	-4151.9916
	-215605
	2957990
	-9624050

	Story2
	PF4WYB2
	Top
	233213.0148
	0
	-4616.3118
	-239866
	3232579
	-10425442

	Story2
	PF4WYB2
	Bottom
	244729.991
	0
	-4616.3118
	-239866
	3420610
	-10958359

	UPPER ROOF
	PFEQ1X
	Top
	509.5177
	-98.9751
	0
	1469.1475
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1X
	Bottom
	1030.9957
	-98.9751
	0
	1469.1475
	15518.3559
	-51695.9519

	PENTHOUSE
	PFEQ1X
	Top
	5447.488
	-747.6332
	0
	10830.0524
	78770.3233
	-275554

	PENTHOUSE
	PFEQ1X
	Bottom
	7352.1016
	-747.6332
	0
	10830.0524
	105947.7519
	-372236

	Story14
	PFEQ1X
	Top
	12653.0129
	-1525.0269
	0
	21789.4378
	180011.9017
	-642111

	Story14
	PFEQ1X
	Bottom
	14537.1029
	-1525.0269
	0
	21789.4378
	207664.9297
	-741079

	Story13
	PFEQ1X
	Top
	19702.4076
	-2216.5902
	0
	31436.0305
	278337.0332
	-1001834

	Story13
	PFEQ1X
	Bottom
	21486.9216
	-2216.5902
	0
	31436.0305
	304250.7536
	-1097170

	Story12
	PFEQ1X
	Top
	28267.7991
	-3005.3233
	0
	42123.2319
	394048.662
	-1410047

	Story12
	PFEQ1X
	Bottom
	30232.3041
	-3005.3233
	0
	42123.2319
	422659.4402
	-1513214

	Story11
	PFEQ1X
	Top
	37460.3878
	-3769.4878
	0
	52547.5374
	519228.1599
	-1850802

	Story11
	PFEQ1X
	Bottom
	39484.3828
	-3769.4878
	0
	52547.5374
	548693.7836
	-1961067

	Story10
	PFEQ1X
	Top
	48237.8356
	-4597.5529
	0
	63963.2195
	667750.6902
	-2392397

	Story10
	PFEQ1X
	Bottom
	50723.5246
	-4597.5529
	0
	63963.2195
	703372.3265
	-2528166

	Story9
	PFEQ1X
	Top
	61566.0541
	-5526.5135
	0
	76387.4462
	846601.6862
	-2994173

	Story9
	PFEQ1X
	Bottom
	65242.7791
	-5526.5135
	0
	76387.4462
	896448.2785
	-3160861

	Story8
	PFEQ1X
	Top
	76439.5963
	-6386.0384
	0
	87766.9977
	1043633
	-3630061

	Story8
	PFEQ1X
	Bottom
	79901.8933
	-6386.0384
	0
	87766.9977
	1090067
	-3785824

	Story7
	PFEQ1X
	Top
	91224.0808
	-7132.2681
	0
	97638.3535
	1239097
	-4268152

	Story7
	PFEQ1X
	Bottom
	94806.0298
	-7132.2681
	0
	97638.3535
	1287067
	-4434923

	Story6
	PFEQ1X
	Top
	108167.2661
	-7882.3745
	0
	107887.2924
	1469134
	-5044163

	Story6
	PFEQ1X
	Bottom
	113140.4741
	-7882.3745
	0
	107887.2924
	1537937
	-5295185

	Story5
	PFEQ1X
	Top
	126825.2823
	-8516.955
	0
	116381.3006
	1719173
	-5892644

	Story5
	PFEQ1X
	Bottom
	131593.8387
	-8516.955
	0
	116381.3006
	1784308
	-6124361

	Story4
	PFEQ1X
	Top
	145382.4135
	-9012.6772
	0
	122994.0814
	1966582
	-6728649

	Story4
	PFEQ1X
	Bottom
	150136.2387
	-9012.6772
	0
	122994.0814
	2031520
	-6961288

	Story3
	PFEQ1X
	Top
	164968.7901
	-9397.7437
	0
	128238.5119
	2233042
	-7641249

	Story3
	PFEQ1X
	Bottom
	170235.4251
	-9397.7437
	0
	128238.5119
	2304787
	-7906581

	Story2
	PFEQ1X
	Top
	186570.4118
	-9668.567
	0
	131955.0416
	2524457
	-8547695

	Story2
	PFEQ1X
	Bottom
	195783.9928
	-9668.567
	0
	131955.0416
	2659187
	-9015120

	UPPER ROOF
	PFEQ1XMAX
	Top
	509.5177
	-98.9751
	0
	1405.3085
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1XMAX
	Bottom
	1030.9957
	-98.9751
	0
	1405.3085
	15518.3559
	-51695.9519

	PENTHOUSE
	PFEQ1XMAX
	Top
	5447.488
	-747.6332
	0
	9183.4877
	78770.3233
	-275554

	PENTHOUSE
	PFEQ1XMAX
	Bottom
	7352.1016
	-747.6332
	0
	9183.4877
	105947.7519
	-372236

	Story14
	PFEQ1XMAX
	Top
	12653.0129
	-1525.0269
	0
	17970.0577
	180011.9017
	-642111

	Story14
	PFEQ1XMAX
	Bottom
	14537.1029
	-1525.0269
	0
	17970.0577
	207664.9297
	-741079

	Story13
	PFEQ1XMAX
	Top
	19702.4076
	-2216.5902
	0
	25683.731
	278337.0332
	-1001834

	Story13
	PFEQ1XMAX
	Bottom
	21486.9216
	-2216.5902
	0
	25683.731
	304250.7536
	-1097170

	Story12
	PFEQ1XMAX
	Top
	28267.7991
	-3005.3233
	0
	34166.4233
	394048.662
	-1410047

	Story12
	PFEQ1XMAX
	Bottom
	30232.3041
	-3005.3233
	0
	34166.4233
	422659.4402
	-1513214

	Story11
	PFEQ1XMAX
	Top
	37460.3878
	-3769.4878
	0
	42454.8892
	519228.1599
	-1850802

	Story11
	PFEQ1XMAX
	Bottom
	39484.3828
	-3769.4878
	0
	42454.8892
	548693.7836
	-1961067

	Story10
	PFEQ1XMAX
	Top
	48237.8356
	-4597.5529
	0
	51556.1292
	667750.6902
	-2392397

	Story10
	PFEQ1XMAX
	Bottom
	50723.5246
	-4597.5529
	0
	51556.1292
	703372.3265
	-2528166

	Story9
	PFEQ1XMAX
	Top
	61566.0541
	-5526.5135
	0
	61383.911
	846601.6862
	-2994173

	Story9
	PFEQ1XMAX
	Bottom
	65242.7791
	-5526.5135
	0
	61383.911
	896448.2785
	-3160861

	Story8
	PFEQ1XMAX
	Top
	76439.5963
	-6386.0384
	0
	70361.0905
	1043633
	-3630061

	Story8
	PFEQ1XMAX
	Bottom
	79901.8933
	-6386.0384
	0
	70361.0905
	1090067
	-3785824

	Story7
	PFEQ1XMAX
	Top
	91224.0808
	-7132.2681
	0
	78146.7342
	1239097
	-4268152

	Story7
	PFEQ1XMAX
	Bottom
	94806.0298
	-7132.2681
	0
	78146.7342
	1287067
	-4434923

	Story6
	PFEQ1XMAX
	Top
	108167.2661
	-7882.3745
	0
	86299.1257
	1469134
	-5044163

	Story6
	PFEQ1XMAX
	Bottom
	113140.4741
	-7882.3745
	0
	86299.1257
	1537937
	-5295185

	Story5
	PFEQ1XMAX
	Top
	126825.2823
	-8516.955
	0
	93019.4815
	1719173
	-5892644

	Story5
	PFEQ1XMAX
	Bottom
	131593.8387
	-8516.955
	0
	93019.4815
	1784308
	-6124361

	Story4
	PFEQ1XMAX
	Top
	145382.4135
	-9012.6772
	0
	98246.7188
	1966582
	-6728649

	Story4
	PFEQ1XMAX
	Bottom
	150136.2387
	-9012.6772
	0
	98246.7188
	2031520
	-6961288

	Story3
	PFEQ1XMAX
	Top
	164968.7901
	-9397.7437
	0
	102414.8884
	2233042
	-7641249

	Story3
	PFEQ1XMAX
	Bottom
	170235.4251
	-9397.7437
	0
	102414.8884
	2304787
	-7906581

	Story2
	PFEQ1XMAX
	Top
	186570.4118
	-9668.567
	0
	105375.4245
	2524457
	-8547695

	Story2
	PFEQ1XMAX
	Bottom
	195783.9928
	-9668.567
	0
	105375.4245
	2659187
	-9015120

	UPPER ROOF
	PFEQ1XMIN
	Top
	509.5177
	-98.9751
	0
	1532.9864
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1XMIN
	Bottom
	1030.9957
	-98.9751
	0
	1532.9864
	15518.3559
	-51695.9519

	PENTHOUSE
	PFEQ1XMIN
	Top
	5447.488
	-747.6332
	0
	12476.6171
	78770.3233
	-275554

	PENTHOUSE
	PFEQ1XMIN
	Bottom
	7352.1016
	-747.6332
	0
	12476.6171
	105947.7519
	-372236

	Story14
	PFEQ1XMIN
	Top
	12653.0129
	-1525.0269
	0
	25608.8179
	180011.9017
	-642111

	Story14
	PFEQ1XMIN
	Bottom
	14537.1029
	-1525.0269
	0
	25608.8179
	207664.9297
	-741079

	Story13
	PFEQ1XMIN
	Top
	19702.4076
	-2216.5902
	0
	37188.3299
	278337.0332
	-1001834

	Story13
	PFEQ1XMIN
	Bottom
	21486.9216
	-2216.5902
	0
	37188.3299
	304250.7536
	-1097170

	Story12
	PFEQ1XMIN
	Top
	28267.7991
	-3005.3233
	0
	50080.0405
	394048.662
	-1410047

	Story12
	PFEQ1XMIN
	Bottom
	30232.3041
	-3005.3233
	0
	50080.0405
	422659.4402
	-1513214

	Story11
	PFEQ1XMIN
	Top
	37460.3878
	-3769.4878
	0
	62640.1855
	519228.1599
	-1850802

	Story11
	PFEQ1XMIN
	Bottom
	39484.3828
	-3769.4878
	0
	62640.1855
	548693.7836
	-1961067

	Story10
	PFEQ1XMIN
	Top
	48237.8356
	-4597.5529
	0
	76370.3098
	667750.6902
	-2392397

	Story10
	PFEQ1XMIN
	Bottom
	50723.5246
	-4597.5529
	0
	76370.3098
	703372.3265
	-2528166

	Story9
	PFEQ1XMIN
	Top
	61566.0541
	-5526.5135
	0
	91390.9814
	846601.6862
	-2994173

	Story9
	PFEQ1XMIN
	Bottom
	65242.7791
	-5526.5135
	0
	91390.9814
	896448.2785
	-3160861

	Story8
	PFEQ1XMIN
	Top
	76439.5963
	-6386.0384
	0
	105172.9049
	1043633
	-3630061

	Story8
	PFEQ1XMIN
	Bottom
	79901.8933
	-6386.0384
	0
	105172.9049
	1090067
	-3785824

	Story7
	PFEQ1XMIN
	Top
	91224.0808
	-7132.2681
	0
	117129.9728
	1239097
	-4268152

	Story7
	PFEQ1XMIN
	Bottom
	94806.0298
	-7132.2681
	0
	117129.9728
	1287067
	-4434923

	Story6
	PFEQ1XMIN
	Top
	108167.2661
	-7882.3745
	0
	129475.4591
	1469134
	-5044163

	Story6
	PFEQ1XMIN
	Bottom
	113140.4741
	-7882.3745
	0
	129475.4591
	1537937
	-5295185

	Story5
	PFEQ1XMIN
	Top
	126825.2823
	-8516.955
	0
	139743.1198
	1719173
	-5892644

	Story5
	PFEQ1XMIN
	Bottom
	131593.8387
	-8516.955
	0
	139743.1198
	1784308
	-6124361

	Story4
	PFEQ1XMIN
	Top
	145382.4135
	-9012.6772
	0
	147741.444
	1966582
	-6728649

	Story4
	PFEQ1XMIN
	Bottom
	150136.2387
	-9012.6772
	0
	147741.444
	2031520
	-6961288

	Story3
	PFEQ1XMIN
	Top
	164968.7901
	-9397.7437
	0
	154062.1355
	2233042
	-7641249

	Story3
	PFEQ1XMIN
	Bottom
	170235.4251
	-9397.7437
	0
	154062.1355
	2304787
	-7906581

	Story2
	PFEQ1XMIN
	Top
	186570.4118
	-9668.567
	0
	158534.6586
	2524457
	-8547695

	Story2
	PFEQ1XMIN
	Bottom
	195783.9928
	-9668.567
	0
	158534.6586
	2659187
	-9015120

	UPPER ROOF
	PFEQ1Y
	Top
	509.5177
	0
	-111.1294
	-5513.9254
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1Y
	Bottom
	1030.9957
	0
	-111.1294
	-5513.9254
	16001.7686
	-51265.4102

	PENTHOUSE
	PFEQ1Y
	Top
	5447.488
	0
	-839.4434
	-42181.4795
	79253.736
	-275123

	PENTHOUSE
	PFEQ1Y
	Bottom
	7352.1016
	0
	-839.4434
	-42181.4795
	109344.0331
	-369211

	Story14
	PFEQ1Y
	Top
	12653.0129
	0
	-1712.3018
	-86353.4477
	183408.1829
	-639087

	Story14
	PFEQ1Y
	Bottom
	14537.1029
	0
	-1712.3018
	-86353.4477
	216626.1919
	-733097

	Story13
	PFEQ1Y
	Top
	19702.4076
	0
	-2488.7898
	-125410
	287298.2953
	-993853

	Story13
	PFEQ1Y
	Bottom
	21486.9216
	0
	-2488.7898
	-125410
	320553.9457
	-1082649

	Story12
	PFEQ1Y
	Top
	28267.7991
	0
	-3374.3803
	-166767
	410351.8542
	-1395527

	Story12
	PFEQ1Y
	Bottom
	30232.3041
	0
	-3374.3803
	-166767
	449254.4922
	-1489528

	Story11
	PFEQ1Y
	Top
	37460.3878
	0
	-4232.3849
	-207132
	545823.212
	-1827115

	Story11
	PFEQ1Y
	Bottom
	39484.3828
	0
	-4232.3849
	-207132
	587774.3712
	-1926261

	Story10
	PFEQ1Y
	Top
	48237.8356
	0
	-5162.1374
	-252932
	706831.2778
	-2357591

	Story10
	PFEQ1Y
	Bottom
	50723.5246
	0
	-5162.1374
	-252932
	758197.4331
	-2479337

	Story9
	PFEQ1Y
	Top
	61566.0541
	0
	-6205.1754
	-298120
	901426.7928
	-2945344

	Story9
	PFEQ1Y
	Bottom
	65242.7791
	0
	-6205.1754
	-298120
	971440.205
	-3094071

	Story8
	PFEQ1Y
	Top
	76439.5963
	0
	-7170.2508
	-338159
	1118625
	-3563271

	Story8
	PFEQ1Y
	Bottom
	79901.8933
	0
	-7170.2508
	-338159
	1186211
	-3700195

	Story7
	PFEQ1Y
	Top
	91224.0808
	0
	-8008.1184
	-373375
	1335241
	-4182523

	Story7
	PFEQ1Y
	Bottom
	94806.0298
	0
	-8008.1184
	-373375
	1406835
	-4328254

	Story6
	PFEQ1Y
	Top
	108167.2661
	0
	-8850.3386
	-411345
	1588902
	-4937494

	Story6
	PFEQ1Y
	Bottom
	113140.4741
	0
	-8850.3386
	-411345
	1684699
	-5164475

	Story5
	PFEQ1Y
	Top
	126825.2823
	0
	-9562.8463
	-442659
	1865934
	-5761934

	Story5
	PFEQ1Y
	Bottom
	131593.8387
	0
	-9562.8463
	-442659
	1957750
	-5969889

	Story4
	PFEQ1Y
	Top
	145382.4135
	0
	-10119.4437
	-467034
	2140024
	-6574176

	Story4
	PFEQ1Y
	Bottom
	150136.2387
	0
	-10119.4437
	-467034
	2233195
	-6781670

	Story3
	PFEQ1Y
	Top
	164968.7901
	0
	-10551.7968
	-486778
	2434717
	-7461631

	Story3
	PFEQ1Y
	Bottom
	170235.4251
	0
	-10551.7968
	-486778
	2537590
	-7699240

	Story2
	PFEQ1Y
	Top
	186570.4118
	0
	-10855.8774
	-499324
	2757261
	-8340354

	Story2
	PFEQ1Y
	Bottom
	195783.9928
	0
	-10855.8774
	-499324
	2938128
	-8766687

	UPPER ROOF
	PFEQ1YMAX
	Top
	509.5177
	0
	-111.1294
	-5370.0129
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1YMAX
	Bottom
	1030.9957
	0
	-111.1294
	-5370.0129
	16001.7686
	-51265.4102

	PENTHOUSE
	PFEQ1YMAX
	Top
	5447.488
	0
	-839.4434
	-39950.9474
	79253.736
	-275123

	PENTHOUSE
	PFEQ1YMAX
	Bottom
	7352.1016
	0
	-839.4434
	-39950.9474
	109344.0331
	-369211

	Story14
	PFEQ1YMAX
	Top
	12653.0129
	0
	-1712.3018
	-81251.2111
	183408.1829
	-639087

	Story14
	PFEQ1YMAX
	Bottom
	14537.1029
	0
	-1712.3018
	-81251.2111
	216626.1919
	-733097

	Story13
	PFEQ1YMAX
	Top
	19702.4076
	0
	-2488.7898
	-117671
	287298.2953
	-993853

	Story13
	PFEQ1YMAX
	Bottom
	21486.9216
	0
	-2488.7898
	-117671
	320553.9457
	-1082649

	Story12
	PFEQ1YMAX
	Top
	28267.7991
	0
	-3374.3803
	-155291
	410351.8542
	-1395527

	Story12
	PFEQ1YMAX
	Bottom
	30232.3041
	0
	-3374.3803
	-155291
	449254.4922
	-1489528

	Story11
	PFEQ1YMAX
	Top
	37460.3878
	0
	-4232.3849
	-191890
	545823.212
	-1827115

	Story11
	PFEQ1YMAX
	Bottom
	39484.3828
	0
	-4232.3849
	-191890
	587774.3712
	-1926261

	Story10
	PFEQ1YMAX
	Top
	48237.8356
	0
	-5162.1374
	-233069
	706831.2778
	-2357591

	Story10
	PFEQ1YMAX
	Bottom
	50723.5246
	0
	-5162.1374
	-233069
	758197.4331
	-2479337

	Story9
	PFEQ1YMAX
	Top
	61566.0541
	0
	-6205.1754
	-271238
	901426.7928
	-2945344

	Story9
	PFEQ1YMAX
	Bottom
	65242.7791
	0
	-6205.1754
	-271238
	971440.205
	-3094071

	Story8
	PFEQ1YMAX
	Top
	76439.5963
	0
	-7170.2508
	-304782
	1118625
	-3563271

	Story8
	PFEQ1YMAX
	Bottom
	79901.8933
	0
	-7170.2508
	-304782
	1186211
	-3700195

	Story7
	PFEQ1YMAX
	Top
	91224.0808
	0
	-8008.1184
	-334216
	1335241
	-4182523

	Story7
	PFEQ1YMAX
	Bottom
	94806.0298
	0
	-8008.1184
	-334216
	1406835
	-4328254

	Story6
	PFEQ1YMAX
	Top
	108167.2661
	0
	-8850.3386
	-365524
	1588902
	-4937494

	Story6
	PFEQ1YMAX
	Bottom
	113140.4741
	0
	-8850.3386
	-365524
	1684699
	-5164475

	Story5
	PFEQ1YMAX
	Top
	126825.2823
	0
	-9562.8463
	-390881
	1865934
	-5761934

	Story5
	PFEQ1YMAX
	Bottom
	131593.8387
	0
	-9562.8463
	-390881
	1957750
	-5969889

	Story4
	PFEQ1YMAX
	Top
	145382.4135
	0
	-10119.4437
	-410603
	2140024
	-6574176

	Story4
	PFEQ1YMAX
	Bottom
	150136.2387
	0
	-10119.4437
	-410603
	2233195
	-6781670

	Story3
	PFEQ1YMAX
	Top
	164968.7901
	0
	-10551.7968
	-426733
	2434717
	-7461631

	Story3
	PFEQ1YMAX
	Bottom
	170235.4251
	0
	-10551.7968
	-426733
	2537590
	-7699240

	Story2
	PFEQ1YMAX
	Top
	186570.4118
	0
	-10855.8774
	-436740
	2757261
	-8340354

	Story2
	PFEQ1YMAX
	Bottom
	195783.9928
	0
	-10855.8774
	-436740
	2938128
	-8766687

	UPPER ROOF
	PFEQ1YMIN
	Top
	509.5177
	0
	-111.1294
	-5657.8379
	7273.3659
	-25131.963

	UPPER ROOF
	PFEQ1YMIN
	Bottom
	1030.9957
	0
	-111.1294
	-5657.8379
	16001.7686
	-51265.4102

	PENTHOUSE
	PFEQ1YMIN
	Top
	5447.488
	0
	-839.4434
	-44412.0117
	79253.736
	-275123

	PENTHOUSE
	PFEQ1YMIN
	Bottom
	7352.1016
	0
	-839.4434
	-44412.0117
	109344.0331
	-369211

	Story14
	PFEQ1YMIN
	Top
	12653.0129
	0
	-1712.3018
	-91455.6843
	183408.1829
	-639087

	Story14
	PFEQ1YMIN
	Bottom
	14537.1029
	0
	-1712.3018
	-91455.6843
	216626.1919
	-733097

	Story13
	PFEQ1YMIN
	Top
	19702.4076
	0
	-2488.7898
	-133148
	287298.2953
	-993853

	Story13
	PFEQ1YMIN
	Bottom
	21486.9216
	0
	-2488.7898
	-133148
	320553.9457
	-1082649

	Story12
	PFEQ1YMIN
	Top
	28267.7991
	0
	-3374.3803
	-178242
	410351.8542
	-1395527

	Story12
	PFEQ1YMIN
	Bottom
	30232.3041
	0
	-3374.3803
	-178242
	449254.4922
	-1489528

	Story11
	PFEQ1YMIN
	Top
	37460.3878
	0
	-4232.3849
	-222374
	545823.212
	-1827115

	Story11
	PFEQ1YMIN
	Bottom
	39484.3828
	0
	-4232.3849
	-222374
	587774.3712
	-1926261

	Story10
	PFEQ1YMIN
	Top
	48237.8356
	0
	-5162.1374
	-272795
	706831.2778
	-2357591

	Story10
	PFEQ1YMIN
	Bottom
	50723.5246
	0
	-5162.1374
	-272795
	758197.4331
	-2479337

	Story9
	PFEQ1YMIN
	Top
	61566.0541
	0
	-6205.1754
	-325003
	901426.7928
	-2945344

	Story9
	PFEQ1YMIN
	Bottom
	65242.7791
	0
	-6205.1754
	-325003
	971440.205
	-3094071

	Story8
	PFEQ1YMIN
	Top
	76439.5963
	0
	-7170.2508
	-371537
	1118625
	-3563271

	Story8
	PFEQ1YMIN
	Bottom
	79901.8933
	0
	-7170.2508
	-371537
	1186211
	-3700195

	Story7
	PFEQ1YMIN
	Top
	91224.0808
	0
	-8008.1184
	-412534
	1335241
	-4182523

	Story7
	PFEQ1YMIN
	Bottom
	94806.0298
	0
	-8008.1184
	-412534
	1406835
	-4328254

	Story6
	PFEQ1YMIN
	Top
	108167.2661
	0
	-8850.3386
	-457166
	1588902
	-4937494

	Story6
	PFEQ1YMIN
	Bottom
	113140.4741
	0
	-8850.3386
	-457166
	1684699
	-5164475

	Story5
	PFEQ1YMIN
	Top
	126825.2823
	0
	-9562.8463
	-494436
	1865934
	-5761934

	Story5
	PFEQ1YMIN
	Bottom
	131593.8387
	0
	-9562.8463
	-494436
	1957750
	-5969889

	Story4
	PFEQ1YMIN
	Top
	145382.4135
	0
	-10119.4437
	-523465
	2140024
	-6574176

	Story4
	PFEQ1YMIN
	Bottom
	150136.2387
	0
	-10119.4437
	-523465
	2233195
	-6781670

	Story3
	PFEQ1YMIN
	Top
	164968.7901
	0
	-10551.7968
	-546823
	2434717
	-7461631

	Story3
	PFEQ1YMIN
	Bottom
	170235.4251
	0
	-10551.7968
	-546823
	2537590
	-7699240

	Story2
	PFEQ1YMIN
	Top
	186570.4118
	0
	-10855.8774
	-561908
	2757261
	-8340354

	Story2
	PFEQ1YMIN
	Bottom
	195783.9928
	0
	-10855.8774
	-561908
	2938128
	-8766687

	UPPER ROOF
	PFEQ2X
	Top
	572.9986
	-98.9751
	0
	1469.1475
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2X
	Bottom
	1094.4766
	-98.9751
	0
	1469.1475
	16424.5457
	-54827.1473

	PENTHOUSE
	PFEQ2X
	Top
	6025.1032
	-747.6332
	0
	10830.0524
	86862.8162
	-304835

	PENTHOUSE
	PFEQ2X
	Bottom
	7929.7168
	-747.6332
	0
	10830.0524
	114040.2449
	-401517

	Story14
	PFEQ2X
	Top
	13804.7036
	-1525.0269
	0
	21789.4378
	196238.4765
	-700254

	Story14
	PFEQ2X
	Bottom
	15688.7936
	-1525.0269
	0
	21789.4378
	223891.5045
	-799221

	Story13
	PFEQ2X
	Top
	21444.7684
	-2216.5902
	0
	31436.0305
	302628.392
	-1089776

	Story13
	PFEQ2X
	Bottom
	23229.2824
	-2216.5902
	0
	31436.0305
	328542.1124
	-1185112

	Story12
	PFEQ2X
	Top
	30722.7473
	-3005.3233
	0
	42123.2319
	427786.189
	-1531330

	Story12
	PFEQ2X
	Bottom
	32687.2523
	-3005.3233
	0
	42123.2319
	456396.9672
	-1634497

	Story11
	PFEQ2X
	Top
	40683.6409
	-3769.4878
	0
	52547.5374
	563255.4315
	-2008503

	Story11
	PFEQ2X
	Bottom
	42707.6359
	-3769.4878
	0
	52547.5374
	592721.0552
	-2118768

	Story10
	PFEQ2X
	Top
	52344.7996
	-4597.5529
	0
	63963.2195
	723806.59
	-2593158

	Story10
	PFEQ2X
	Bottom
	54830.4886
	-4597.5529
	0
	63963.2195
	759428.2263
	-2728927

	Story9
	PFEQ2X
	Top
	66846.9559
	-5526.5135
	0
	76387.4462
	918113.897
	-3243936

	Story9
	PFEQ2X
	Bottom
	70523.6809
	-5526.5135
	0
	76387.4462
	967960.4893
	-3410625

	Story8
	PFEQ2X
	Top
	82929.0368
	-6386.0384
	0
	87766.9977
	1130982
	-3929373

	Story8
	PFEQ2X
	Bottom
	86391.3338
	-6386.0384
	0
	87766.9977
	1177416
	-4085136

	Story7
	PFEQ2X
	Top
	98937.6799
	-7132.2681
	0
	97638.3535
	1342513
	-4618649

	Story7
	PFEQ2X
	Bottom
	102519.6289
	-7132.2681
	0
	97638.3535
	1390482
	-4785419

	Story6
	PFEQ2X
	Top
	117277.7699
	-7882.3745
	0
	107887.2924
	1591104
	-5457968

	Story6
	PFEQ2X
	Bottom
	122250.9779
	-7882.3745
	0
	107887.2924
	1659907
	-5708990

	Story5
	PFEQ2X
	Top
	137468.898
	-8516.955
	0
	116381.3006
	1861502
	-6373224

	Story5
	PFEQ2X
	Bottom
	142237.4544
	-8516.955
	0
	116381.3006
	1926637
	-6604942

	Story4
	PFEQ2X
	Top
	157565.8025
	-9012.6772
	0
	122994.0814
	2129317
	-7276298

	Story4
	PFEQ2X
	Bottom
	162319.6277
	-9012.6772
	0
	122994.0814
	2194255
	-7508937

	Story3
	PFEQ2X
	Top
	178666.3746
	-9397.7437
	0
	128238.5119
	2416022
	-8254471

	Story3
	PFEQ2X
	Bottom
	183933.0096
	-9397.7437
	0
	128238.5119
	2487767
	-8519803

	Story2
	PFEQ2X
	Top
	201872.0221
	-9668.567
	0
	131955.0416
	2729149
	-9228606

	Story2
	PFEQ2X
	Bottom
	211085.6031
	-9668.567
	0
	131955.0416
	2863879
	-9696031

	UPPER ROOF
	PFEQ2XMAX
	Top
	572.9986
	-98.9751
	0
	1405.3085
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2XMAX
	Bottom
	1094.4766
	-98.9751
	0
	1405.3085
	16424.5457
	-54827.1473

	PENTHOUSE
	PFEQ2XMAX
	Top
	6025.1032
	-747.6332
	0
	9183.4877
	86862.8162
	-304835

	PENTHOUSE
	PFEQ2XMAX
	Bottom
	7929.7168
	-747.6332
	0
	9183.4877
	114040.2449
	-401517

	Story14
	PFEQ2XMAX
	Top
	13804.7036
	-1525.0269
	0
	17970.0577
	196238.4765
	-700254

	Story14
	PFEQ2XMAX
	Bottom
	15688.7936
	-1525.0269
	0
	17970.0577
	223891.5045
	-799221

	Story13
	PFEQ2XMAX
	Top
	21444.7684
	-2216.5902
	0
	25683.731
	302628.392
	-1089776

	Story13
	PFEQ2XMAX
	Bottom
	23229.2824
	-2216.5902
	0
	25683.731
	328542.1124
	-1185112

	Story12
	PFEQ2XMAX
	Top
	30722.7473
	-3005.3233
	0
	34166.4233
	427786.189
	-1531330

	Story12
	PFEQ2XMAX
	Bottom
	32687.2523
	-3005.3233
	0
	34166.4233
	456396.9672
	-1634497

	Story11
	PFEQ2XMAX
	Top
	40683.6409
	-3769.4878
	0
	42454.8892
	563255.4315
	-2008503

	Story11
	PFEQ2XMAX
	Bottom
	42707.6359
	-3769.4878
	0
	42454.8892
	592721.0552
	-2118768

	Story10
	PFEQ2XMAX
	Top
	52344.7996
	-4597.5529
	0
	51556.1292
	723806.59
	-2593158

	Story10
	PFEQ2XMAX
	Bottom
	54830.4886
	-4597.5529
	0
	51556.1292
	759428.2263
	-2728927

	Story9
	PFEQ2XMAX
	Top
	66846.9559
	-5526.5135
	0
	61383.911
	918113.897
	-3243936

	Story9
	PFEQ2XMAX
	Bottom
	70523.6809
	-5526.5135
	0
	61383.911
	967960.4893
	-3410625

	Story8
	PFEQ2XMAX
	Top
	82929.0368
	-6386.0384
	0
	70361.0905
	1130982
	-3929373

	Story8
	PFEQ2XMAX
	Bottom
	86391.3338
	-6386.0384
	0
	70361.0905
	1177416
	-4085136

	Story7
	PFEQ2XMAX
	Top
	98937.6799
	-7132.2681
	0
	78146.7342
	1342513
	-4618649

	Story7
	PFEQ2XMAX
	Bottom
	102519.6289
	-7132.2681
	0
	78146.7342
	1390482
	-4785419

	Story6
	PFEQ2XMAX
	Top
	117277.7699
	-7882.3745
	0
	86299.1257
	1591104
	-5457968

	Story6
	PFEQ2XMAX
	Bottom
	122250.9779
	-7882.3745
	0
	86299.1257
	1659907
	-5708990

	Story5
	PFEQ2XMAX
	Top
	137468.898
	-8516.955
	0
	93019.4815
	1861502
	-6373224

	Story5
	PFEQ2XMAX
	Bottom
	142237.4544
	-8516.955
	0
	93019.4815
	1926637
	-6604942

	Story4
	PFEQ2XMAX
	Top
	157565.8025
	-9012.6772
	0
	98246.7188
	2129317
	-7276298

	Story4
	PFEQ2XMAX
	Bottom
	162319.6277
	-9012.6772
	0
	98246.7188
	2194255
	-7508937

	Story3
	PFEQ2XMAX
	Top
	178666.3746
	-9397.7437
	0
	102414.8884
	2416022
	-8254471

	Story3
	PFEQ2XMAX
	Bottom
	183933.0096
	-9397.7437
	0
	102414.8884
	2487767
	-8519803

	Story2
	PFEQ2XMAX
	Top
	201872.0221
	-9668.567
	0
	105375.4245
	2729149
	-9228606

	Story2
	PFEQ2XMAX
	Bottom
	211085.6031
	-9668.567
	0
	105375.4245
	2863879
	-9696031

	UPPER ROOF
	PFEQ2XMIN
	Top
	572.9986
	-98.9751
	0
	1532.9864
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2XMIN
	Bottom
	1094.4766
	-98.9751
	0
	1532.9864
	16424.5457
	-54827.1473

	PENTHOUSE
	PFEQ2XMIN
	Top
	6025.1032
	-747.6332
	0
	12476.6171
	86862.8162
	-304835

	PENTHOUSE
	PFEQ2XMIN
	Bottom
	7929.7168
	-747.6332
	0
	12476.6171
	114040.2449
	-401517

	Story14
	PFEQ2XMIN
	Top
	13804.7036
	-1525.0269
	0
	25608.8179
	196238.4765
	-700254

	Story14
	PFEQ2XMIN
	Bottom
	15688.7936
	-1525.0269
	0
	25608.8179
	223891.5045
	-799221

	Story13
	PFEQ2XMIN
	Top
	21444.7684
	-2216.5902
	0
	37188.3299
	302628.392
	-1089776

	Story13
	PFEQ2XMIN
	Bottom
	23229.2824
	-2216.5902
	0
	37188.3299
	328542.1124
	-1185112

	Story12
	PFEQ2XMIN
	Top
	30722.7473
	-3005.3233
	0
	50080.0405
	427786.189
	-1531330

	Story12
	PFEQ2XMIN
	Bottom
	32687.2523
	-3005.3233
	0
	50080.0405
	456396.9672
	-1634497

	Story11
	PFEQ2XMIN
	Top
	40683.6409
	-3769.4878
	0
	62640.1855
	563255.4315
	-2008503

	Story11
	PFEQ2XMIN
	Bottom
	42707.6359
	-3769.4878
	0
	62640.1855
	592721.0552
	-2118768

	Story10
	PFEQ2XMIN
	Top
	52344.7996
	-4597.5529
	0
	76370.3098
	723806.59
	-2593158

	Story10
	PFEQ2XMIN
	Bottom
	54830.4886
	-4597.5529
	0
	76370.3098
	759428.2263
	-2728927

	Story9
	PFEQ2XMIN
	Top
	66846.9559
	-5526.5135
	0
	91390.9814
	918113.897
	-3243936

	Story9
	PFEQ2XMIN
	Bottom
	70523.6809
	-5526.5135
	0
	91390.9814
	967960.4893
	-3410625

	Story8
	PFEQ2XMIN
	Top
	82929.0368
	-6386.0384
	0
	105172.9049
	1130982
	-3929373

	Story8
	PFEQ2XMIN
	Bottom
	86391.3338
	-6386.0384
	0
	105172.9049
	1177416
	-4085136

	Story7
	PFEQ2XMIN
	Top
	98937.6799
	-7132.2681
	0
	117129.9728
	1342513
	-4618649

	Story7
	PFEQ2XMIN
	Bottom
	102519.6289
	-7132.2681
	0
	117129.9728
	1390482
	-4785419

	Story6
	PFEQ2XMIN
	Top
	117277.7699
	-7882.3745
	0
	129475.4591
	1591104
	-5457968

	Story6
	PFEQ2XMIN
	Bottom
	122250.9779
	-7882.3745
	0
	129475.4591
	1659907
	-5708990

	Story5
	PFEQ2XMIN
	Top
	137468.898
	-8516.955
	0
	139743.1198
	1861502
	-6373224

	Story5
	PFEQ2XMIN
	Bottom
	142237.4544
	-8516.955
	0
	139743.1198
	1926637
	-6604942

	Story4
	PFEQ2XMIN
	Top
	157565.8025
	-9012.6772
	0
	147741.444
	2129317
	-7276298

	Story4
	PFEQ2XMIN
	Bottom
	162319.6277
	-9012.6772
	0
	147741.444
	2194255
	-7508937

	Story3
	PFEQ2XMIN
	Top
	178666.3746
	-9397.7437
	0
	154062.1355
	2416022
	-8254471

	Story3
	PFEQ2XMIN
	Bottom
	183933.0096
	-9397.7437
	0
	154062.1355
	2487767
	-8519803

	Story2
	PFEQ2XMIN
	Top
	201872.0221
	-9668.567
	0
	158534.6586
	2729149
	-9228606

	Story2
	PFEQ2XMIN
	Bottom
	211085.6031
	-9668.567
	0
	158534.6586
	2863879
	-9696031

	UPPER ROOF
	PFEQ2Y
	Top
	572.9986
	0
	-111.1294
	-5513.9254
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2Y
	Bottom
	1094.4766
	0
	-111.1294
	-5513.9254
	16907.9584
	-54396.6056

	PENTHOUSE
	PFEQ2Y
	Top
	6025.1032
	0
	-839.4434
	-42181.4795
	87346.2289
	-304404

	PENTHOUSE
	PFEQ2Y
	Bottom
	7929.7168
	0
	-839.4434
	-42181.4795
	117436.526
	-398492

	Story14
	PFEQ2Y
	Top
	13804.7036
	0
	-1712.3018
	-86353.4477
	199634.7577
	-697229

	Story14
	PFEQ2Y
	Bottom
	15688.7936
	0
	-1712.3018
	-86353.4477
	232852.7667
	-791240

	Story13
	PFEQ2Y
	Top
	21444.7684
	0
	-2488.7898
	-125410
	311589.6541
	-1081795

	Story13
	PFEQ2Y
	Bottom
	23229.2824
	0
	-2488.7898
	-125410
	344845.3046
	-1170592

	Story12
	PFEQ2Y
	Top
	30722.7473
	0
	-3374.3803
	-166767
	444089.3812
	-1516809

	Story12
	PFEQ2Y
	Bottom
	32687.2523
	0
	-3374.3803
	-166767
	482992.0192
	-1610810

	Story11
	PFEQ2Y
	Top
	40683.6409
	0
	-4232.3849
	-207132
	589850.4836
	-1984817

	Story11
	PFEQ2Y
	Bottom
	42707.6359
	0
	-4232.3849
	-207132
	631801.6428
	-2083962

	Story10
	PFEQ2Y
	Top
	52344.7996
	0
	-5162.1374
	-252932
	762887.1776
	-2558352

	Story10
	PFEQ2Y
	Bottom
	54830.4886
	0
	-5162.1374
	-252932
	814253.3329
	-2680098

	Story9
	PFEQ2Y
	Top
	66846.9559
	0
	-6205.1754
	-298120
	972939.0036
	-3195108

	Story9
	PFEQ2Y
	Bottom
	70523.6809
	0
	-6205.1754
	-298120
	1042952
	-3343835

	Story8
	PFEQ2Y
	Top
	82929.0368
	0
	-7170.2508
	-338159
	1205974
	-3862583

	Story8
	PFEQ2Y
	Bottom
	86391.3338
	0
	-7170.2508
	-338159
	1273560
	-3999507

	Story7
	PFEQ2Y
	Top
	98937.6799
	0
	-8008.1184
	-373375
	1438657
	-4533020

	Story7
	PFEQ2Y
	Bottom
	102519.6289
	0
	-8008.1184
	-373375
	1510250
	-4678750

	Story6
	PFEQ2Y
	Top
	117277.7699
	0
	-8850.3386
	-411345
	1710872
	-5351299

	Story6
	PFEQ2Y
	Bottom
	122250.9779
	0
	-8850.3386
	-411345
	1806668
	-5578280

	Story5
	PFEQ2Y
	Top
	137468.898
	0
	-9562.8463
	-442659
	2008263
	-6242514

	Story5
	PFEQ2Y
	Bottom
	142237.4544
	0
	-9562.8463
	-442659
	2100079
	-6450469

	Story4
	PFEQ2Y
	Top
	157565.8025
	0
	-10119.4437
	-467034
	2302759
	-7121825

	Story4
	PFEQ2Y
	Bottom
	162319.6277
	0
	-10119.4437
	-467034
	2395930
	-7329319

	Story3
	PFEQ2Y
	Top
	178666.3746
	0
	-10551.7968
	-486778
	2617698
	-8074853

	Story3
	PFEQ2Y
	Bottom
	183933.0096
	0
	-10551.7968
	-486778
	2720570
	-8312462

	Story2
	PFEQ2Y
	Top
	201872.0221
	0
	-10855.8774
	-499324
	2961952
	-9021264

	Story2
	PFEQ2Y
	Bottom
	211085.6031
	0
	-10855.8774
	-499324
	3142819
	-9447598

	UPPER ROOF
	PFEQ2YMAX
	Top
	572.9986
	0
	-111.1294
	-5370.0129
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2YMAX
	Bottom
	1094.4766
	0
	-111.1294
	-5370.0129
	16907.9584
	-54396.6056

	PENTHOUSE
	PFEQ2YMAX
	Top
	6025.1032
	0
	-839.4434
	-39950.9474
	87346.2289
	-304404

	PENTHOUSE
	PFEQ2YMAX
	Bottom
	7929.7168
	0
	-839.4434
	-39950.9474
	117436.526
	-398492

	Story14
	PFEQ2YMAX
	Top
	13804.7036
	0
	-1712.3018
	-81251.2111
	199634.7577
	-697229

	Story14
	PFEQ2YMAX
	Bottom
	15688.7936
	0
	-1712.3018
	-81251.2111
	232852.7667
	-791240

	Story13
	PFEQ2YMAX
	Top
	21444.7684
	0
	-2488.7898
	-117671
	311589.6541
	-1081795

	Story13
	PFEQ2YMAX
	Bottom
	23229.2824
	0
	-2488.7898
	-117671
	344845.3046
	-1170592

	Story12
	PFEQ2YMAX
	Top
	30722.7473
	0
	-3374.3803
	-155291
	444089.3812
	-1516809

	Story12
	PFEQ2YMAX
	Bottom
	32687.2523
	0
	-3374.3803
	-155291
	482992.0192
	-1610810

	Story11
	PFEQ2YMAX
	Top
	40683.6409
	0
	-4232.3849
	-191890
	589850.4836
	-1984817

	Story11
	PFEQ2YMAX
	Bottom
	42707.6359
	0
	-4232.3849
	-191890
	631801.6428
	-2083962

	Story10
	PFEQ2YMAX
	Top
	52344.7996
	0
	-5162.1374
	-233069
	762887.1776
	-2558352

	Story10
	PFEQ2YMAX
	Bottom
	54830.4886
	0
	-5162.1374
	-233069
	814253.3329
	-2680098

	Story9
	PFEQ2YMAX
	Top
	66846.9559
	0
	-6205.1754
	-271238
	972939.0036
	-3195108

	Story9
	PFEQ2YMAX
	Bottom
	70523.6809
	0
	-6205.1754
	-271238
	1042952
	-3343835

	Story8
	PFEQ2YMAX
	Top
	82929.0368
	0
	-7170.2508
	-304782
	1205974
	-3862583

	Story8
	PFEQ2YMAX
	Bottom
	86391.3338
	0
	-7170.2508
	-304782
	1273560
	-3999507

	Story7
	PFEQ2YMAX
	Top
	98937.6799
	0
	-8008.1184
	-334216
	1438657
	-4533020

	Story7
	PFEQ2YMAX
	Bottom
	102519.6289
	0
	-8008.1184
	-334216
	1510250
	-4678750

	Story6
	PFEQ2YMAX
	Top
	117277.7699
	0
	-8850.3386
	-365524
	1710872
	-5351299

	Story6
	PFEQ2YMAX
	Bottom
	122250.9779
	0
	-8850.3386
	-365524
	1806668
	-5578280

	Story5
	PFEQ2YMAX
	Top
	137468.898
	0
	-9562.8463
	-390881
	2008263
	-6242514

	Story5
	PFEQ2YMAX
	Bottom
	142237.4544
	0
	-9562.8463
	-390881
	2100079
	-6450469

	Story4
	PFEQ2YMAX
	Top
	157565.8025
	0
	-10119.4437
	-410603
	2302759
	-7121825

	Story4
	PFEQ2YMAX
	Bottom
	162319.6277
	0
	-10119.4437
	-410603
	2395930
	-7329319

	Story3
	PFEQ2YMAX
	Top
	178666.3746
	0
	-10551.7968
	-426733
	2617698
	-8074853

	Story3
	PFEQ2YMAX
	Bottom
	183933.0096
	0
	-10551.7968
	-426733
	2720570
	-8312462

	Story2
	PFEQ2YMAX
	Top
	201872.0221
	0
	-10855.8774
	-436740
	2961952
	-9021264

	Story2
	PFEQ2YMAX
	Bottom
	211085.6031
	0
	-10855.8774
	-436740
	3142819
	-9447598

	UPPER ROOF
	PFEQ2YMIN
	Top
	572.9986
	0
	-111.1294
	-5657.8379
	8179.5557
	-28263.1584

	UPPER ROOF
	PFEQ2YMIN
	Bottom
	1094.4766
	0
	-111.1294
	-5657.8379
	16907.9584
	-54396.6056

	PENTHOUSE
	PFEQ2YMIN
	Top
	6025.1032
	0
	-839.4434
	-44412.0117
	87346.2289
	-304404

	PENTHOUSE
	PFEQ2YMIN
	Bottom
	7929.7168
	0
	-839.4434
	-44412.0117
	117436.526
	-398492

	Story14
	PFEQ2YMIN
	Top
	13804.7036
	0
	-1712.3018
	-91455.6843
	199634.7577
	-697229

	Story14
	PFEQ2YMIN
	Bottom
	15688.7936
	0
	-1712.3018
	-91455.6843
	232852.7667
	-791240

	Story13
	PFEQ2YMIN
	Top
	21444.7684
	0
	-2488.7898
	-133148
	311589.6541
	-1081795

	Story13
	PFEQ2YMIN
	Bottom
	23229.2824
	0
	-2488.7898
	-133148
	344845.3046
	-1170592

	Story12
	PFEQ2YMIN
	Top
	30722.7473
	0
	-3374.3803
	-178242
	444089.3812
	-1516809

	Story12
	PFEQ2YMIN
	Bottom
	32687.2523
	0
	-3374.3803
	-178242
	482992.0192
	-1610810

	Story11
	PFEQ2YMIN
	Top
	40683.6409
	0
	-4232.3849
	-222374
	589850.4836
	-1984817

	Story11
	PFEQ2YMIN
	Bottom
	42707.6359
	0
	-4232.3849
	-222374
	631801.6428
	-2083962

	Story10
	PFEQ2YMIN
	Top
	52344.7996
	0
	-5162.1374
	-272795
	762887.1776
	-2558352

	Story10
	PFEQ2YMIN
	Bottom
	54830.4886
	0
	-5162.1374
	-272795
	814253.3329
	-2680098

	Story9
	PFEQ2YMIN
	Top
	66846.9559
	0
	-6205.1754
	-325003
	972939.0036
	-3195108

	Story9
	PFEQ2YMIN
	Bottom
	70523.6809
	0
	-6205.1754
	-325003
	1042952
	-3343835

	Story8
	PFEQ2YMIN
	Top
	82929.0368
	0
	-7170.2508
	-371537
	1205974
	-3862583

	Story8
	PFEQ2YMIN
	Bottom
	86391.3338
	0
	-7170.2508
	-371537
	1273560
	-3999507

	Story7
	PFEQ2YMIN
	Top
	98937.6799
	0
	-8008.1184
	-412534
	1438657
	-4533020

	Story7
	PFEQ2YMIN
	Bottom
	102519.6289
	0
	-8008.1184
	-412534
	1510250
	-4678750

	Story6
	PFEQ2YMIN
	Top
	117277.7699
	0
	-8850.3386
	-457166
	1710872
	-5351299

	Story6
	PFEQ2YMIN
	Bottom
	122250.9779
	0
	-8850.3386
	-457166
	1806668
	-5578280

	Story5
	PFEQ2YMIN
	Top
	137468.898
	0
	-9562.8463
	-494436
	2008263
	-6242514

	Story5
	PFEQ2YMIN
	Bottom
	142237.4544
	0
	-9562.8463
	-494436
	2100079
	-6450469

	Story4
	PFEQ2YMIN
	Top
	157565.8025
	0
	-10119.4437
	-523465
	2302759
	-7121825

	Story4
	PFEQ2YMIN
	Bottom
	162319.6277
	0
	-10119.4437
	-523465
	2395930
	-7329319

	Story3
	PFEQ2YMIN
	Top
	178666.3746
	0
	-10551.7968
	-546823
	2617698
	-8074853

	Story3
	PFEQ2YMIN
	Bottom
	183933.0096
	0
	-10551.7968
	-546823
	2720570
	-8312462

	Story2
	PFEQ2YMIN
	Top
	201872.0221
	0
	-10855.8774
	-561908
	2961952
	-9021264

	Story2
	PFEQ2YMIN
	Bottom
	211085.6031
	0
	-10855.8774
	-561908
	3142819
	-9447598

	UPPER ROOF
	WCC
	Top
	0
	-19.7748
	-39.7029
	-1676.0593
	0
	0

	UPPER ROOF
	WCC
	Bottom
	0
	-19.7748
	-39.7029
	-1676.0593
	172.7075
	-86.0203

	PENTHOUSE
	WCC
	Top
	0
	-153.2557
	-196.4335
	-7773.162
	172.7075
	-86.0203

	PENTHOUSE
	WCC
	Bottom
	0
	-153.2557
	-196.4335
	-7773.162
	854.3319
	-617.8176

	Story14
	WCC
	Top
	0
	-283.1814
	-349.3694
	-13734.2371
	854.3319
	-617.8176

	Story14
	WCC
	Bottom
	0
	-283.1814
	-349.3694
	-13734.2371
	1989.7823
	-1538.1573

	Story13
	WCC
	Top
	0
	-401.7859
	-493.4345
	-19326.8189
	1989.7823
	-1538.1573

	Story13
	WCC
	Bottom
	0
	-401.7859
	-493.4345
	-19326.8189
	3445.4141
	-2723.4256

	Story12
	WCC
	Top
	0
	-515.3076
	-664.8341
	-25659.0113
	3445.4141
	-2723.4256

	Story12
	WCC
	Bottom
	0
	-515.3076
	-664.8341
	-25659.0113
	5473.158
	-4295.1138

	Story11
	WCC
	Top
	0
	-627.5227
	-841.0861
	-32383.4629
	5473.158
	-4295.1138

	Story11
	WCC
	Bottom
	0
	-627.5227
	-841.0861
	-32383.4629
	7954.362
	-6146.3059

	Story10
	WCC
	Top
	0
	-738.3097
	-1038.0847
	-40419.1965
	7954.362
	-6146.3059

	Story10
	WCC
	Bottom
	0
	-738.3097
	-1038.0847
	-40419.1965
	11120.5202
	-8398.1504

	Story9
	WCC
	Top
	0
	-852.9612
	-1314.1507
	-49818.1724
	11120.5202
	-8398.1504

	Story9
	WCC
	Bottom
	0
	-852.9612
	-1314.1507
	-49818.1724
	15391.5099
	-11170.2742

	Story8
	WCC
	Top
	0
	-963.9735
	-1581.4542
	-58918.8192
	15391.5099
	-11170.2742

	Story8
	WCC
	Bottom
	0
	-963.9735
	-1581.4542
	-58918.8192
	20056.7998
	-14013.9961

	Story7
	WCC
	Top
	0
	-1067.6974
	-1837.5166
	-67891.0177
	20056.7998
	-14013.9961

	Story7
	WCC
	Bottom
	0
	-1067.6974
	-1837.5166
	-67891.0177
	25477.4736
	-17163.7033

	Story6
	WCC
	Top
	0
	-1171.0046
	-2129.8815
	-79325.976
	25477.4736
	-17163.7033

	Story6
	WCC
	Bottom
	0
	-1171.0046
	-2129.8815
	-79325.976
	31973.6123
	-20735.2672

	Story5
	WCC
	Top
	0
	-1269.139
	-2423.407
	-90223.9113
	31973.6123
	-20735.2672

	Story5
	WCC
	Bottom
	0
	-1269.139
	-2423.407
	-90223.9113
	38734.9177
	-24276.1649

	Story4
	WCC
	Top
	0
	-1360.177
	-2695.7069
	-100334
	38734.9177
	-24276.1649

	Story4
	WCC
	Bottom
	0
	-1360.177
	-2695.7069
	-100334
	46255.94
	-28071.0589

	Story3
	WCC
	Top
	0
	-1450.4467
	-2965.7083
	-110358
	46255.94
	-28071.0589

	Story3
	WCC
	Bottom
	0
	-1450.4467
	-2965.7083
	-110358
	55004.7795
	-32349.8765

	Story2
	WCC
	Top
	0
	-1561.3297
	-3297.3655
	-122672
	55004.7795
	-32349.8765

	Story2
	WCC
	Bottom
	0
	-1561.3297
	-3297.3655
	-122672
	69018.583
	-38985.5276

	UPPER ROOF
	WCD1
	Top
	0
	-14.8311
	-29.7772
	-1317.2038
	0
	0

	UPPER ROOF
	WCD1
	Bottom
	0
	-14.8311
	-29.7772
	-1317.2038
	129.5306
	-64.5153

	PENTHOUSE
	WCD1
	Top
	0
	-114.9418
	-147.3251
	-6616.3371
	129.5306
	-64.5153

	PENTHOUSE
	WCD1
	Bottom
	0
	-114.9418
	-147.3251
	-6616.3371
	640.7489
	-463.3632

	Story14
	WCD1
	Top
	0
	-212.3861
	-262.027
	-11899.301
	640.7489
	-463.3632

	Story14
	WCD1
	Bottom
	0
	-212.3861
	-262.027
	-11899.301
	1492.3367
	-1153.6179

	Story13
	WCD1
	Top
	0
	-301.3394
	-370.0759
	-16863.0505
	1492.3367
	-1153.6179

	Story13
	WCD1
	Bottom
	0
	-301.3394
	-370.0759
	-16863.0505
	2584.0606
	-2042.5692

	Story12
	WCD1
	Top
	0
	-386.4807
	-498.6255
	-22587.7566
	2584.0606
	-2042.5692

	Story12
	WCD1
	Bottom
	0
	-386.4807
	-498.6255
	-22587.7566
	4104.8685
	-3221.3354

	Story11
	WCD1
	Top
	0
	-470.6421
	-630.8146
	-28650.5212
	4104.8685
	-3221.3354

	Story11
	WCD1
	Bottom
	0
	-470.6421
	-630.8146
	-28650.5212
	5965.7715
	-4609.7294

	Story10
	WCD1
	Top
	0
	-553.7323
	-778.5635
	-35885.508
	5965.7715
	-4609.7294

	Story10
	WCD1
	Bottom
	0
	-553.7323
	-778.5635
	-35885.508
	8340.3902
	-6298.6128

	Story9
	WCD1
	Top
	0
	-639.7209
	-985.613
	-44976.9667
	8340.3902
	-6298.6128

	Story9
	WCD1
	Bottom
	0
	-639.7209
	-985.613
	-44976.9667
	11543.6324
	-8377.7056

	Story8
	WCD1
	Top
	0
	-722.9801
	-1186.0906
	-53779.857
	11543.6324
	-8377.7056

	Story8
	WCD1
	Bottom
	0
	-722.9801
	-1186.0906
	-53779.857
	15042.5998
	-10510.4971

	Story7
	WCD1
	Top
	0
	-800.773
	-1378.1374
	-62437.1982
	15042.5998
	-10510.4971

	Story7
	WCD1
	Bottom
	0
	-800.773
	-1378.1374
	-62437.1982
	19108.1052
	-12872.7774

	Story6
	WCD1
	Top
	0
	-878.2534
	-1597.4111
	-73452.183
	19108.1052
	-12872.7774

	Story6
	WCD1
	Bottom
	0
	-878.2534
	-1597.4111
	-73452.183
	23980.2092
	-15551.4504

	Story5
	WCD1
	Top
	0
	-951.8542
	-1817.5552
	-84183.2829
	23980.2092
	-15551.4504

	Story5
	WCD1
	Bottom
	0
	-951.8542
	-1817.5552
	-84183.2829
	29051.1883
	-18207.1237

	Story4
	WCD1
	Top
	0
	-1020.1328
	-2021.7802
	-94138.3917
	29051.1883
	-18207.1237

	Story4
	WCD1
	Bottom
	0
	-1020.1328
	-2021.7802
	-94138.3917
	34691.955
	-21053.2942

	Story3
	WCD1
	Top
	0
	-1087.835
	-2224.2812
	-104009
	34691.955
	-21053.2942

	Story3
	WCD1
	Bottom
	0
	-1087.835
	-2224.2812
	-104009
	41253.5846
	-24262.4074

	Story2
	WCD1
	Top
	0
	-1170.9973
	-2473.0242
	-116135
	41253.5846
	-24262.4074

	Story2
	WCD1
	Bottom
	0
	-1170.9973
	-2473.0242
	-116135
	51763.9373
	-29239.1457

	UPPER ROOF
	WCD2
	Top
	0
	-14.8311
	-29.7772
	-1196.8851
	0
	0

	UPPER ROOF
	WCD2
	Bottom
	0
	-14.8311
	-29.7772
	-1196.8851
	129.5306
	-64.5153

	PENTHOUSE
	WCD2
	Top
	0
	-114.9418
	-147.3251
	-5043.4058
	129.5306
	-64.5153

	PENTHOUSE
	WCD2
	Bottom
	0
	-114.9418
	-147.3251
	-5043.4058
	640.7489
	-463.3632

	Story14
	WCD2
	Top
	0
	-212.3861
	-262.027
	-8702.0547
	640.7489
	-463.3632

	Story14
	WCD2
	Bottom
	0
	-212.3861
	-262.027
	-8702.0547
	1492.3367
	-1153.6179

	Story13
	WCD2
	Top
	0
	-301.3394
	-370.0759
	-12127.178
	1492.3367
	-1153.6179

	Story13
	WCD2
	Bottom
	0
	-301.3394
	-370.0759
	-12127.178
	2584.0606
	-2042.5692

	Story12
	WCD2
	Top
	0
	-386.4807
	-498.6255
	-15900.7604
	2584.0606
	-2042.5692

	Story12
	WCD2
	Bottom
	0
	-386.4807
	-498.6255
	-15900.7604
	4104.8685
	-3221.3354

	Story11
	WCD2
	Top
	0
	-470.6421
	-630.8146
	-19924.6731
	4104.8685
	-3221.3354

	Story11
	WCD2
	Bottom
	0
	-470.6421
	-630.8146
	-19924.6731
	5965.7715
	-4609.7294

	Story10
	WCD2
	Top
	0
	-553.7323
	-778.5635
	-24743.2867
	5965.7715
	-4609.7294

	Story10
	WCD2
	Bottom
	0
	-553.7323
	-778.5635
	-24743.2867
	8340.3902
	-6298.6128

	Story9
	WCD2
	Top
	0
	-639.7209
	-985.613
	-29750.292
	8340.3902
	-6298.6128

	Story9
	WCD2
	Bottom
	0
	-639.7209
	-985.613
	-29750.292
	11543.6324
	-8377.7056

	Story8
	WCD2
	Top
	0
	-722.9801
	-1186.0906
	-34598.3719
	11543.6324
	-8377.7056

	Story8
	WCD2
	Bottom
	0
	-722.9801
	-1186.0906
	-34598.3719
	15042.5998
	-10510.4971

	Story7
	WCD2
	Top
	0
	-800.773
	-1378.1374
	-39399.3284
	15042.5998
	-10510.4971

	Story7
	WCD2
	Bottom
	0
	-800.773
	-1378.1374
	-39399.3284
	19108.1052
	-12872.7774

	Story6
	WCD2
	Top
	0
	-878.2534
	-1597.4111
	-45536.781
	19108.1052
	-12872.7774

	Story6
	WCD2
	Bottom
	0
	-878.2534
	-1597.4111
	-45536.781
	23980.2092
	-15551.4504

	Story5
	WCD2
	Top
	0
	-951.8542
	-1817.5552
	-51152.584
	23980.2092
	-15551.4504

	Story5
	WCD2
	Bottom
	0
	-951.8542
	-1817.5552
	-51152.584
	29051.1883
	-18207.1237

	Story4
	WCD2
	Top
	0
	-1020.1328
	-2021.7802
	-56362.295
	29051.1883
	-18207.1237

	Story4
	WCD2
	Bottom
	0
	-1020.1328
	-2021.7802
	-56362.295
	34691.955
	-21053.2942

	Story3
	WCD2
	Top
	0
	-1087.835
	-2224.2812
	-61528.0301
	34691.955
	-21053.2942

	Story3
	WCD2
	Bottom
	0
	-1087.835
	-2224.2812
	-61528.0301
	41253.5846
	-24262.4074

	Story2
	WCD2
	Top
	0
	-1170.9973
	-2473.0242
	-67873.3803
	41253.5846
	-24262.4074

	Story2
	WCD2
	Bottom
	0
	-1170.9973
	-2473.0242
	-67873.3803
	51763.9373
	-29239.1457

	UPPER ROOF
	WCX
	Top
	0
	-26.3664
	0
	376.3802
	0
	0

	UPPER ROOF
	WCX
	Bottom
	0
	-26.3664
	0
	376.3802
	0
	-114.6938

	PENTHOUSE
	WCX
	Top
	0
	-204.3409
	0
	2868.0237
	0
	-114.6938

	PENTHOUSE
	WCX
	Bottom
	0
	-204.3409
	0
	2868.0237
	0
	-823.7568

	Story14
	WCX
	Top
	0
	-377.5752
	0
	5288.9732
	0
	-823.7568

	Story14
	WCX
	Bottom
	0
	-377.5752
	0
	5288.9732
	0
	-2050.8763

	Story13
	WCX
	Top
	0
	-535.7145
	0
	7498.9695
	0
	-2050.8763

	Story13
	WCX
	Bottom
	0
	-535.7145
	0
	7498.9695
	0
	-3631.2341

	Story12
	WCX
	Top
	0
	-687.0768
	0
	9614.2578
	0
	-3631.2341

	Story12
	WCX
	Bottom
	0
	-687.0768
	0
	9614.2578
	0
	-5726.8184

	Story11
	WCX
	Top
	0
	-836.697
	0
	11705.1997
	0
	-5726.8184

	Story11
	WCX
	Bottom
	0
	-836.697
	0
	11705.1997
	0
	-8195.0745

	Story10
	WCX
	Top
	0
	-984.4129
	0
	13769.5295
	0
	-8195.0745

	Story10
	WCX
	Bottom
	0
	-984.4129
	0
	13769.5295
	0
	-11197.5339

	Story9
	WCX
	Top
	0
	-1137.2815
	0
	15905.8688
	0
	-11197.5339

	Story9
	WCX
	Bottom
	0
	-1137.2815
	0
	15905.8688
	0
	-14893.6989

	Story8
	WCX
	Top
	0
	-1285.298
	0
	17974.3994
	0
	-14893.6989

	Story8
	WCX
	Bottom
	0
	-1285.298
	0
	17974.3994
	0
	-18685.3281

	Story7
	WCX
	Top
	0
	-1423.5965
	0
	19907.1199
	0
	-18685.3281

	Story7
	WCX
	Bottom
	0
	-1423.5965
	0
	19907.1199
	0
	-22884.9377

	Story6
	WCX
	Top
	0
	-1561.3394
	0
	21832.0777
	0
	-22884.9377

	Story6
	WCX
	Bottom
	0
	-1561.3394
	0
	21832.0777
	0
	-27647.0229

	Story5
	WCX
	Top
	0
	-1692.1853
	0
	23660.6488
	0
	-27647.0229

	Story5
	WCX
	Bottom
	0
	-1692.1853
	0
	23660.6488
	0
	-32368.2199

	Story4
	WCX
	Top
	0
	-1813.5694
	0
	25356.9915
	0
	-32368.2199

	Story4
	WCX
	Bottom
	0
	-1813.5694
	0
	25356.9915
	0
	-37428.0785

	Story3
	WCX
	Top
	0
	-1933.9289
	0
	27039.0153
	0
	-37428.0785

	Story3
	WCX
	Bottom
	0
	-1933.9289
	0
	27039.0153
	0
	-43133.1687

	Story2
	WCX
	Top
	0
	-2081.7729
	0
	29105.1354
	0
	-43133.1687

	Story2
	WCX
	Bottom
	0
	-2081.7729
	0
	29105.1354
	0
	-51980.7035

	UPPER ROOF
	WCXB1
	Top
	0
	-19.7748
	0
	266.3417
	0
	0

	UPPER ROOF
	WCXB1
	Bottom
	0
	-19.7748
	0
	266.3417
	0
	-86.0203

	PENTHOUSE
	WCXB1
	Top
	0
	-153.2557
	0
	1727.9576
	0
	-86.0203

	PENTHOUSE
	WCXB1
	Bottom
	0
	-153.2557
	0
	1727.9576
	0
	-617.8176

	Story14
	WCXB1
	Top
	0
	-283.1814
	0
	3089.7417
	0
	-617.8176

	Story14
	WCXB1
	Bottom
	0
	-283.1814
	0
	3089.7417
	0
	-1538.1573

	Story13
	WCXB1
	Top
	0
	-401.7859
	0
	4332.8646
	0
	-1538.1573

	Story13
	WCXB1
	Bottom
	0
	-401.7859
	0
	4332.8646
	0
	-2723.4256

	Story12
	WCXB1
	Top
	0
	-515.3076
	0
	5522.7143
	0
	-2723.4256

	Story12
	WCXB1
	Bottom
	0
	-515.3076
	0
	5522.7143
	0
	-4295.1138

	Story11
	WCXB1
	Top
	0
	-627.5227
	0
	6698.8691
	0
	-4295.1138

	Story11
	WCXB1
	Bottom
	0
	-627.5227
	0
	6698.8691
	0
	-6146.3059

	Story10
	WCXB1
	Top
	0
	-738.3097
	0
	7860.0546
	0
	-6146.3059

	Story10
	WCXB1
	Bottom
	0
	-738.3097
	0
	7860.0546
	0
	-8398.1504

	Story9
	WCXB1
	Top
	0
	-852.9612
	0
	9061.7455
	0
	-8398.1504

	Story9
	WCXB1
	Bottom
	0
	-852.9612
	0
	9061.7455
	0
	-11170.2742

	Story8
	WCXB1
	Top
	0
	-963.9735
	0
	10225.294
	0
	-11170.2742

	Story8
	WCXB1
	Bottom
	0
	-963.9735
	0
	10225.294
	0
	-14013.9961

	Story7
	WCXB1
	Top
	0
	-1067.6974
	0
	11312.4492
	0
	-14013.9961

	Story7
	WCXB1
	Bottom
	0
	-1067.6974
	0
	11312.4492
	0
	-17163.7033

	Story6
	WCXB1
	Top
	0
	-1171.0046
	0
	12395.238
	0
	-17163.7033

	Story6
	WCXB1
	Bottom
	0
	-1171.0046
	0
	12395.238
	0
	-20735.2672

	Story5
	WCXB1
	Top
	0
	-1269.139
	0
	13423.8092
	0
	-20735.2672

	Story5
	WCXB1
	Bottom
	0
	-1269.139
	0
	13423.8092
	0
	-24276.1649

	Story4
	WCXB1
	Top
	0
	-1360.177
	0
	14378.002
	0
	-24276.1649

	Story4
	WCXB1
	Bottom
	0
	-1360.177
	0
	14378.002
	0
	-28071.0589

	Story3
	WCXB1
	Top
	0
	-1450.4467
	0
	15324.1404
	0
	-28071.0589

	Story3
	WCXB1
	Bottom
	0
	-1450.4467
	0
	15324.1404
	0
	-32349.8765

	Story2
	WCXB1
	Top
	0
	-1561.3297
	0
	16486.3329
	0
	-32349.8765

	Story2
	WCXB1
	Bottom
	0
	-1561.3297
	0
	16486.3329
	0
	-38985.5276

	UPPER ROOF
	WCXB2
	Top
	0
	-19.7748
	0
	298.2286
	0
	0

	UPPER ROOF
	WCXB2
	Bottom
	0
	-19.7748
	0
	298.2286
	0
	-86.0203

	PENTHOUSE
	WCXB2
	Top
	0
	-153.2557
	0
	2574.078
	0
	-86.0203

	PENTHOUSE
	WCXB2
	Bottom
	0
	-153.2557
	0
	2574.078
	0
	-617.8176

	Story14
	WCXB2
	Top
	0
	-283.1814
	0
	4843.7181
	0
	-617.8176

	Story14
	WCXB2
	Bottom
	0
	-283.1814
	0
	4843.7181
	0
	-1538.1573

	Story13
	WCXB2
	Top
	0
	-401.7859
	0
	6915.5897
	0
	-1538.1573

	Story13
	WCXB2
	Bottom
	0
	-401.7859
	0
	6915.5897
	0
	-2723.4256

	Story12
	WCXB2
	Top
	0
	-515.3076
	0
	8898.6724
	0
	-2723.4256

	Story12
	WCXB2
	Bottom
	0
	-515.3076
	0
	8898.6724
	0
	-4295.1138

	Story11
	WCXB2
	Top
	0
	-627.5227
	0
	10858.9305
	0
	-4295.1138

	Story11
	WCXB2
	Bottom
	0
	-627.5227
	0
	10858.9305
	0
	-6146.3059

	Story10
	WCXB2
	Top
	0
	-738.3097
	0
	12794.2396
	0
	-6146.3059

	Story10
	WCXB2
	Bottom
	0
	-738.3097
	0
	12794.2396
	0
	-8398.1504

	Story9
	WCXB2
	Top
	0
	-852.9612
	0
	14797.0577
	0
	-8398.1504

	Story9
	WCXB2
	Bottom
	0
	-852.9612
	0
	14797.0577
	0
	-11170.2742

	Story8
	WCXB2
	Top
	0
	-963.9735
	0
	16736.3052
	0
	-11170.2742

	Story8
	WCXB2
	Bottom
	0
	-963.9735
	0
	16736.3052
	0
	-14013.9961

	Story7
	WCXB2
	Top
	0
	-1067.6974
	0
	18548.2307
	0
	-14013.9961

	Story7
	WCXB2
	Bottom
	0
	-1067.6974
	0
	18548.2307
	0
	-17163.7033

	Story6
	WCXB2
	Top
	0
	-1171.0046
	0
	20352.8786
	0
	-17163.7033

	Story6
	WCXB2
	Bottom
	0
	-1171.0046
	0
	20352.8786
	0
	-20735.2672

	Story5
	WCXB2
	Top
	0
	-1269.139
	0
	22067.164
	0
	-20735.2672

	Story5
	WCXB2
	Bottom
	0
	-1269.139
	0
	22067.164
	0
	-24276.1649

	Story4
	WCXB2
	Top
	0
	-1360.177
	0
	23657.4853
	0
	-24276.1649

	Story4
	WCXB2
	Bottom
	0
	-1360.177
	0
	23657.4853
	0
	-28071.0589

	Story3
	WCXB2
	Top
	0
	-1450.4467
	0
	25234.3825
	0
	-28071.0589

	Story3
	WCXB2
	Bottom
	0
	-1450.4467
	0
	25234.3825
	0
	-32349.8765

	Story2
	WCXB2
	Top
	0
	-1561.3297
	0
	27171.3702
	0
	-32349.8765

	Story2
	WCXB2
	Bottom
	0
	-1561.3297
	0
	27171.3702
	0
	-38985.5276

	UPPER ROOF
	WCY
	Top
	0
	0
	-52.9372
	-2611.126
	0
	0

	UPPER ROOF
	WCY
	Bottom
	0
	0
	-52.9372
	-2611.126
	230.2767
	0

	PENTHOUSE
	WCY
	Top
	0
	0
	-261.9114
	-13232.2397
	230.2767
	0

	PENTHOUSE
	WCY
	Bottom
	0
	0
	-261.9114
	-13232.2397
	1139.1092
	0

	Story14
	WCY
	Top
	0
	0
	-465.8258
	-23601.2894
	1139.1092
	0

	Story14
	WCY
	Bottom
	0
	0
	-465.8258
	-23601.2894
	2653.0431
	0

	Story13
	WCY
	Top
	0
	0
	-657.9127
	-33268.0615
	2653.0431
	0

	Story13
	WCY
	Bottom
	0
	0
	-657.9127
	-33268.0615
	4593.8855
	0

	Story12
	WCY
	Top
	0
	0
	-886.4454
	-43826.2729
	4593.8855
	0

	Story12
	WCY
	Bottom
	0
	0
	-886.4454
	-43826.2729
	7297.544
	0

	Story11
	WCY
	Top
	0
	0
	-1121.4481
	-54883.1502
	7297.544
	0

	Story11
	WCY
	Bottom
	0
	0
	-1121.4481
	-54883.1502
	10605.816
	0

	Story10
	WCY
	Top
	0
	0
	-1384.1129
	-67661.7914
	10605.816
	0

	Story10
	WCY
	Bottom
	0
	0
	-1384.1129
	-67661.7914
	14827.3603
	0

	Story9
	WCY
	Top
	0
	0
	-1752.2009
	-82330.0987
	14827.3603
	0

	Story9
	WCY
	Bottom
	0
	0
	-1752.2009
	-82330.0987
	20522.0132
	0

	Story8
	WCY
	Top
	0
	0
	-2108.6056
	-96532.8251
	20522.0132
	0

	Story8
	WCY
	Bottom
	0
	0
	-2108.6056
	-96532.8251
	26742.3997
	0

	Story7
	WCY
	Top
	0
	0
	-2450.0221
	-110428
	26742.3997
	0

	Story7
	WCY
	Bottom
	0
	0
	-2450.0221
	-110428
	33969.9648
	0

	Story6
	WCY
	Top
	0
	0
	-2839.842
	-127600
	33969.9648
	0

	Story6
	WCY
	Bottom
	0
	0
	-2839.842
	-127600
	42631.483
	0

	Story5
	WCY
	Top
	0
	0
	-3231.2093
	-143959
	42631.483
	0

	Story5
	WCY
	Bottom
	0
	0
	-3231.2093
	-143959
	51646.557
	0

	Story4
	WCY
	Top
	0
	0
	-3594.2759
	-159135
	51646.557
	0

	Story4
	WCY
	Bottom
	0
	0
	-3594.2759
	-159135
	61674.5866
	0

	Story3
	WCY
	Top
	0
	0
	-3954.2777
	-174183
	61674.5866
	0

	Story3
	WCY
	Bottom
	0
	0
	-3954.2777
	-174183
	73339.706
	0

	Story2
	WCY
	Top
	0
	0
	-4396.4874
	-192668
	73339.706
	0

	Story2
	WCY
	Bottom
	0
	0
	-4396.4874
	-192668
	92024.7774
	0

	UPPER ROOF
	WCYB1
	Top
	0
	0
	-39.7029
	-1894.0754
	0
	0

	UPPER ROOF
	WCYB1
	Bottom
	0
	0
	-39.7029
	-1894.0754
	172.7075
	0

	PENTHOUSE
	WCYB1
	Top
	0
	0
	-196.4335
	-9298.6191
	172.7075
	0

	PENTHOUSE
	WCYB1
	Bottom
	0
	0
	-196.4335
	-9298.6191
	854.3319
	0

	Story14
	WCYB1
	Top
	0
	0
	-349.3694
	-16446.4577
	854.3319
	0

	Story14
	WCYB1
	Bottom
	0
	0
	-349.3694
	-16446.4577
	1989.7823
	0

	Story13
	WCYB1
	Top
	0
	0
	-493.4345
	-23085.1603
	1989.7823
	0

	Story13
	WCYB1
	Bottom
	0
	0
	-493.4345
	-23085.1603
	3445.4141
	0

	Story12
	WCYB1
	Top
	0
	0
	-664.8341
	-30099.6863
	3445.4141
	0

	Story12
	WCYB1
	Bottom
	0
	0
	-664.8341
	-30099.6863
	5473.158
	0

	Story11
	WCYB1
	Top
	0
	0
	-841.0861
	-37425.1613
	5473.158
	0

	Story11
	WCYB1
	Bottom
	0
	0
	-841.0861
	-37425.1613
	7954.362
	0

	Story10
	WCYB1
	Top
	0
	0
	-1038.0847
	-45785.2885
	7954.362
	0

	Story10
	WCYB1
	Bottom
	0
	0
	-1038.0847
	-45785.2885
	11120.5202
	0

	Story9
	WCYB1
	Top
	0
	0
	-1314.1507
	-54464.1137
	11120.5202
	0

	Story9
	WCYB1
	Bottom
	0
	0
	-1314.1507
	-54464.1137
	15391.5099
	0

	Story8
	WCYB1
	Top
	0
	0
	-1581.4542
	-62867.4677
	15391.5099
	0

	Story8
	WCYB1
	Bottom
	0
	0
	-1581.4542
	-62867.4677
	20056.7998
	0

	Story7
	WCYB1
	Top
	0
	0
	-1837.5166
	-71080.6685
	20056.7998
	0

	Story7
	WCYB1
	Bottom
	0
	0
	-1837.5166
	-71080.6685
	25477.4736
	0

	Story6
	WCYB1
	Top
	0
	0
	-2129.8815
	-81068.5866
	25477.4736
	0

	Story6
	WCYB1
	Bottom
	0
	0
	-2129.8815
	-81068.5866
	31973.6123
	0

	Story5
	WCYB1
	Top
	0
	0
	-2423.407
	-90270.6092
	31973.6123
	0

	Story5
	WCYB1
	Bottom
	0
	0
	-2423.407
	-90270.6092
	38734.9177
	0

	Story4
	WCYB1
	Top
	0
	0
	-2695.7069
	-98807.212
	38734.9177
	0

	Story4
	WCYB1
	Bottom
	0
	0
	-2695.7069
	-98807.212
	46255.94
	0

	Story3
	WCYB1
	Top
	0
	0
	-2965.7083
	-107272
	46255.94
	0

	Story3
	WCYB1
	Bottom
	0
	0
	-2965.7083
	-107272
	55004.7795
	0

	Story2
	WCYB1
	Top
	0
	0
	-3297.3655
	-117669
	55004.7795
	0

	Story2
	WCYB1
	Bottom
	0
	0
	-3297.3655
	-117669
	69018.5831
	0

	UPPER ROOF
	WCYB2
	Top
	0
	0
	-39.7029
	-2022.6135
	0
	0

	UPPER ROOF
	WCYB2
	Bottom
	0
	0
	-39.7029
	-2022.6135
	172.7075
	0

	PENTHOUSE
	WCYB2
	Top
	0
	0
	-196.4335
	-10549.7404
	172.7075
	0

	PENTHOUSE
	WCYB2
	Bottom
	0
	0
	-196.4335
	-10549.7404
	854.3319
	0

	Story14
	WCYB2
	Top
	0
	0
	-349.3694
	-18955.4763
	854.3319
	0

	Story14
	WCYB2
	Bottom
	0
	0
	-349.3694
	-18955.4763
	1989.7823
	0

	Story13
	WCYB2
	Top
	0
	0
	-493.4345
	-26816.9319
	1989.7823
	0

	Story13
	WCYB2
	Bottom
	0
	0
	-493.4345
	-26816.9319
	3445.4141
	0

	Story12
	WCYB2
	Top
	0
	0
	-664.8341
	-35639.723
	3445.4141
	0

	Story12
	WCYB2
	Bottom
	0
	0
	-664.8341
	-35639.723
	5473.158
	0

	Story11
	WCYB2
	Top
	0
	0
	-841.0861
	-44899.564
	5473.158
	0

	Story11
	WCYB2
	Bottom
	0
	0
	-841.0861
	-44899.564
	7954.362
	0

	Story10
	WCYB2
	Top
	0
	0
	-1038.0847
	-55707.3986
	7954.362
	0

	Story10
	WCYB2
	Bottom
	0
	0
	-1038.0847
	-55707.3986
	11120.5202
	0

	Story9
	WCYB2
	Top
	0
	0
	-1314.1507
	-69031.0344
	11120.5202
	0

	Story9
	WCYB2
	Bottom
	0
	0
	-1314.1507
	-69031.0344
	15391.5099
	0

	Story8
	WCYB2
	Top
	0
	0
	-1581.4542
	-81931.7699
	15391.5099
	0

	Story8
	WCYB2
	Bottom
	0
	0
	-1581.4542
	-81931.7699
	20056.7998
	0

	Story7
	WCYB2
	Top
	0
	0
	-1837.5166
	-94562.0468
	20056.7998
	0

	Story7
	WCYB2
	Bottom
	0
	0
	-1837.5166
	-94562.0468
	25477.4736
	0

	Story6
	WCYB2
	Top
	0
	0
	-2129.8815
	-110331
	25477.4736
	0

	Story6
	WCYB2
	Bottom
	0
	0
	-2129.8815
	-110331
	31973.6123
	0

	Story5
	WCYB2
	Top
	0
	0
	-2423.407
	-125668
	31973.6123
	0

	Story5
	WCYB2
	Bottom
	0
	0
	-2423.407
	-125668
	38734.9177
	0

	Story4
	WCYB2
	Top
	0
	0
	-2695.7069
	-139896
	38734.9177
	0

	Story4
	WCYB2
	Bottom
	0
	0
	-2695.7069
	-139896
	46255.94
	0

	Story3
	WCYB2
	Top
	0
	0
	-2965.7083
	-154003
	46255.94
	6.125E-07

	Story3
	WCYB2
	Bottom
	0
	0
	-2965.7083
	-154003
	55004.7795
	5.799E-07

	Story2
	WCYB2
	Top
	0
	0
	-3297.3655
	-171333
	55004.7795
	6.141E-07

	Story2
	WCYB2
	Bottom
	0
	0
	-3297.3655
	-171333
	69018.583
	5.692E-07



3.3 Modal Results
Table 3.6 - Modal Periods and Frequencies
	Case
	Mode
	Period
sec
	Frequency
cyc/sec
	Circular Frequency
rad/sec
	Eigenvalue
rad²/sec²

	Modal
	1
	0.661
	1.512
	9.5023
	90.294

	Modal
	2
	0.554
	1.804
	11.3348
	128.4781

	Modal
	3
	0.404
	2.473
	15.5401
	241.4946



Table 3.7 - Modal Participating Mass Ratios (Part 1 of 2)
	Case
	Mode
	Period
sec
	UX
	UY
	UZ
	Sum UX
	Sum UY
	Sum UZ

	Modal
	1
	0.661
	0.5524
	1.217E-06
	0
	0.5524
	1.217E-06
	0

	Modal
	2
	0.554
	0.0001
	0.3356
	0
	0.5525
	0.3356
	0

	Modal
	3
	0.404
	4.653E-05
	0.1589
	0
	0.5525
	0.4945
	0



Table 3.7 - Modal Participating Mass Ratios (Part 2 of 2)
	Case
	Mode
	RX
	RY
	RZ
	Sum RX
	Sum RY
	Sum RZ

	Modal
	1
	0
	0.4846
	2.664E-06
	0
	0.4846
	2.664E-06

	Modal
	2
	0.3968
	5.98E-06
	0.1317
	0.3968
	0.4846
	0.1317

	Modal
	3
	0.1152
	0.0002
	0.1309
	0.512
	0.4848
	0.2626



Table 3.8 - Modal Load Participation Ratios
	Case
	Item Type
	Item
	Static
%
	Dynamic
%

	Modal
	Acceleration
	UX
	96.17
	55.25

	Modal
	Acceleration
	UY
	93.19
	49.45

	Modal
	Acceleration
	UZ
	0
	0



Table 3.9 - Modal Direction Factors
	Case
	Mode
	Period
sec
	UX
	UY
	UZ
	RZ

	Modal
	1
	0.661
	0.999
	0
	0
	0.001

	Modal
	2
	0.554
	0
	0.735
	0
	0.265

	Modal
	3
	0.404
	0.001
	0.269
	0
	0.73
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