ALEXANDRA PARK

Model File: ETABSALEXANDRAPARK, Revision 0

2015-01-22

| Table of Contents |  |
| --- | --- |
| 1. Structure Data | 4 |
| 1.1 Story Data | 4 |
| 1.2 Mass | 4 |
| 2. Loads | 7 |
| 2.1 Load Patterns | 7 |
| 2.2 Auto Wind Loading | 7 |
| 2.3 Auto Seismic Loading | 20 |
| 2.4 Load Cases | 39 |
| 2.5 Load Combinations | 39 |
| 3. Analysis Results | 45 |
| 3.1 Structure Results | 45 |
| 3.2 Story Results | 47 |
| 3.3 Modal Results | 171 |

| List of Tables |  |
| --- | --- |
| Table 1.1 Story Data | 4 |
| Table 1.2 Mass Source | 4 |
| Table 1.3 Centers of Mass and Rigidity | 4 |
| Table 1.4 Mass Summary by Diaphragm | 5 |
| Table 1.5 Mass Summary by Story | 5 |
| Table 2.1 Load Patterns | 7 |
| Table 2.2 Auto Wind - NBCC 2005 | 7 |
| Table 2.9 Auto Seismic - NBCC 2005 | 20 |
| Table 2.16 Load Cases - Summary | 39 |
| Table 2.17 Load Combinations | 39 |
| Table 3.1 Base Reactions | 45 |
| Table 3.2 Centers of Mass and Rigidity | 46 |
| Table 3.3 Story Max/Avg Displacements | 47 |
| Table 3.4 Story Drifts | 73 |
| Table 3.5 Story Forces | 124 |
| Table 3.6 Modal Periods and Frequencies | 171 |
| Table 3.7 Modal Participating Mass Ratios | 171 |
| Table 3.8 Modal Load Participation Ratios | 172 |
| Table 3.9 Modal Direction Factors | 172 |

# 1 Structure Data

This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.

## 1.1 Story Data

Table 1.1 - Story Data

| Name | Height mm | Elevation mm | Master Story | Similar To | Splice Story |
| --- | --- | --- | --- | --- | --- |
| UPPER ROOF | 4350 | 48050 | Yes | None | No |
| PENTHOUSE | 3470 | 43700 | No | UPPER ROOF | No |
| Story14 | 3250 | 40230 | No | UPPER ROOF | No |
| Story13 | 2950 | 36980 | No | UPPER ROOF | No |
| Story12 | 3050 | 34030 | No | UPPER ROOF | No |
| Story11 | 2950 | 30980 | No | UPPER ROOF | No |
| Story10 | 3050 | 28030 | No | UPPER ROOF | No |
| Story9 | 3250 | 24980 | No | UPPER ROOF | No |
| Story8 | 2950 | 21730 | No | UPPER ROOF | No |
| Story7 | 2950 | 18780 | No | UPPER ROOF | No |
| Story6 | 3050 | 15830 | No | UPPER ROOF | No |
| Story5 | 2790 | 12780 | No | UPPER ROOF | No |
| Story4 | 2790 | 9990 | No | UPPER ROOF | No |
| Story3 | 2950 | 7200 | No | UPPER ROOF | No |
| Story2 | 4250 | 4250 | No | UPPER ROOF | No |
| GROUND | 4000 | 0 | No | UPPER ROOF | No |
| PARKING | 0 | -4000 | No | None | No |

## 1.2 Mass

Table 1.2 - Mass Source

| Include Elements | Include Added Mass | Include Loads | Lateral Only | Lump at Stories | Load Pattern | Multiplier |
| --- | --- | --- | --- | --- | --- | --- |
| Yes | Yes | Yes | Yes | Yes | EQDL | 1 |
| No | No | No | No | No | FACADE | 1 |

Table 1.3 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kg | Mass Y kg | XCM m | YCM m | Cumulative X kg | Cumulative Y kg | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UPPER ROOF | D2 | 70425.82 | 70425.82 | 49.6172 | 14.8436 | 70425.82 | 70425.82 | 49.6172 | 14.8436 | 49.4888 | 15.8515 |
| PENTHOUSE | D2 | 507497.29 | 507497.29 | 50.3458 | 14.4312 | 577923.11 | 577923.11 | 50.257 | 14.4814 | 48.436 | 14.2185 |
| Story14 | D2 | 660678.7 | 660678.7 | 50.6061 | 14.0976 | 1238601.81 | 1238601.81 | 50.4432 | 14.2767 | 47.5983 | 13.9349 |
| Story13 | D2 | 639387.8 | 639387.8 | 50.2985 | 13.949 | 1877989.61 | 1877989.61 | 50.3939 | 14.1651 | 46.4486 | 13.7981 |
| Story12 | D2 | 792441.99 | 792441.99 | 46.7002 | 13.5498 | 2670431.6 | 2670431.6 | 49.2978 | 13.9825 | 45.2049 | 14.0778 |
| Story11 | D2 | 843343.93 | 843343.93 | 47.0455 | 13.6414 | 3513775.53 | 3513775.53 | 48.7573 | 13.9007 | 43.2455 | 14.2841 |
| Story10 | D2 | 1010045.04 | 1010045.04 | 49.2602 | 13.786 | 4523820.57 | 4523820.57 | 48.8695 | 13.8751 | 41.3915 | 14.9688 |
| Story9 | D2 | 1271464.37 | 1271464.37 | 43.3239 | 13.3743 | 5795284.94 | 5795284.94 | 47.6528 | 13.7652 | 40.9437 | 15.1108 |
| Story8 | D2 | 1352377.81 | 1352377.81 | 41.488 | 13.2394 | 7147662.75 | 7147662.75 | 46.4864 | 13.6657 | 41.2145 | 15.1202 |
| Story7 | D2 | 1358552.09 | 1358552.09 | 42.0304 | 13.2283 | 8506214.84 | 8506214.84 | 45.7747 | 13.5958 | 41.5697 | 15.1617 |
| Story6 | D2 | 1620097.99 | 1620097.99 | 45.0826 | 13.6633 | 10126312.83 | 10126312.83 | 45.664 | 13.6066 | 41.7727 | 15.2375 |
| Story5 | D2 | 1697677.48 | 1697677.48 | 43.9488 | 13.3852 | 11823990.31 | 11823990.31 | 45.4177 | 13.5749 | 41.2204 | 15.3251 |
| Story4 | D2 | 1696571.45 | 1696571.45 | 43.7934 | 13.3397 | 13520561.77 | 13520561.77 | 45.2139 | 13.5453 | 40.7145 | 15.206 |
| Story3 | D2 | 1828532.26 | 1828532.26 | 45.6672 | 13.6195 | 15349094.02 | 15349094.02 | 45.2679 | 13.5542 | 39.4827 | 14.71 |
| Story2 | D2 | 2175938.66 | 2175938.66 | 41.255 | 13.7141 | 17525032.69 | 17525032.69 | 44.7697 | 13.574 | 40.652 | 13.5308 |

Table 1.4 - Mass Summary by Diaphragm

| Story | Diaphragm | Mass X kg | Mass Y kg | Mass Moment of Inertia kN-m-s² | X Mass Center m | Y Mass Center m |
| --- | --- | --- | --- | --- | --- | --- |
| UPPER ROOF | D2 | 70425.82 | 70425.82 | 1142.4322 | 49.6172 | 14.8436 |
| PENTHOUSE | D2 | 507497.29 | 507497.29 | 53226.6558 | 50.3458 | 14.4312 |
| Story14 | D2 | 660678.7 | 660678.7 | 86696.7273 | 50.6061 | 14.0976 |
| Story13 | D2 | 639387.8 | 639387.8 | 85734.852 | 50.2985 | 13.949 |
| Story12 | D2 | 792441.99 | 792441.99 | 135219.0427 | 46.7002 | 13.5498 |
| Story11 | D2 | 843343.93 | 843343.93 | 156891.5998 | 47.0455 | 13.6414 |
| Story10 | D2 | 1010045.04 | 1010045.04 | 235777.194 | 49.2602 | 13.786 |
| Story9 | D2 | 1271464.37 | 1271464.37 | 470242.2512 | 43.3239 | 13.3743 |
| Story8 | D2 | 1352377.81 | 1352377.81 | 542437.1802 | 41.488 | 13.2394 |
| Story7 | D2 | 1358552.09 | 1358552.09 | 562987.3983 | 42.0304 | 13.2283 |
| Story6 | D2 | 1620097.99 | 1620097.99 | 790376.8916 | 45.0826 | 13.6633 |
| Story5 | D2 | 1697677.48 | 1697677.48 | 967391.3441 | 43.9488 | 13.3852 |
| Story4 | D2 | 1696571.45 | 1696571.45 | 1005595 | 43.7934 | 13.3397 |
| Story3 | D2 | 1828532.26 | 1828532.26 | 1096671 | 45.6672 | 13.6195 |
| Story2 | D2 | 2175938.66 | 2175938.66 | 1246700 | 41.255 | 13.7141 |

Table 1.5 - Mass Summary by Story

| Story | UX kg | UY kg | UZ kg |
| --- | --- | --- | --- |
| UPPER ROOF | 70425.82 | 70425.82 | 0 |
| PENTHOUSE | 507497.29 | 507497.29 | 0 |
| Story14 | 660678.7 | 660678.7 | 0 |
| Story13 | 639387.8 | 639387.8 | 0 |
| Story12 | 792441.99 | 792441.99 | 0 |
| Story11 | 843343.93 | 843343.93 | 0 |
| Story10 | 1010045.04 | 1010045.04 | 0 |
| Story9 | 1271464.37 | 1271464.37 | 0 |
| Story8 | 1352377.81 | 1352377.81 | 0 |
| Story7 | 1358552.09 | 1358552.09 | 0 |
| Story6 | 1620097.99 | 1620097.99 | 0 |
| Story5 | 1697677.48 | 1697677.48 | 0 |
| Story4 | 1696571.45 | 1696571.45 | 0 |
| Story3 | 1828532.26 | 1828532.26 | 0 |
| Story2 | 2178694.46 | 2178694.46 | 0 |
| GROUND | 460679.05 | 460679.05 | 0 |
| PARKING | 0 | 0 | 0 |

# 2 Loads

This chapter provides loading information as applied to the model.

## 2.1 Load Patterns

Table 2.1 - Load Patterns

| Name | Type | Self Weight Multiplier | Auto Load |
| --- | --- | --- | --- |
| OW | Dead | 1 |  |
| EQDL | Superimposed Dead | 0 |  |
| LL | Live | 0 |  |
| FACADE | Superimposed Dead | 0 |  |
| EQX | Seismic | 0 | NBCC 2005 |
| EQY | Seismic | 0 | NBCC 2005 |
| EQXMIN | Seismic | 0 | NBCC 2005 |
| EQXMAX | Seismic | 0 | NBCC 2005 |
| EQYMIN | Seismic | 0 | NBCC 2005 |
| EQYMAX | Seismic | 0 | NBCC 2005 |
| WCX | Wind | 0 | NBCC 2005 |
| WCY | Wind | 0 | NBCC 2005 |
| WCXB1 | Wind | 0 | NBCC 2005 |
| DELDL | Superimposed Dead | 0 |  |
| WCXB2 | Wind | 0 | NBCC 2005 |
| WCYB2 | Wind | 0 | NBCC 2005 |
| WCYB1 | Wind | 0 | NBCC 2005 |

## 2.2 Auto Wind Loading

Table 2.2 - Auto Wind - NBCC 2005

| Load Pattern | Loading Method | Exposure Width Type | Angle deg | Cp,wind | Cp,lee | Top Story | Bottom Story | Include Parapet | Velocity Pressure kpa | Cg | Iw |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WCX | Diaphragms | From Diaphragms | 0 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |
| WCY | Diaphragms | From Diaphragms | 90 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |
| WCXB1 | Diaphragms | User Specified | 0 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |
| WCXB2 | Diaphragms | User Specified | 0 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |
| WCYB2 | Diaphragms | User Specified | 0 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |
| WCYB1 | Diaphragms | User Specified | 0 | 0.8 | 0.5 | UPPER ROOF | GROUND | No | 0.45 | 2.48 | 1 |

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCX according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 0 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 26.3664; 0. PENTHOUSE; 43.7; 177.9745; 0. Story14; 40.23; 173.2343; 0. Story13; 36.98; 158.1393; 0. Story12; 34.03; 151.3623; 0. Story11; 30.98; 149.6202; 0. Story10; 28.03; 147.7159; 0. Story9; 24.98; 152.8686; 0. Story8; 21.73; 148.0165; 0. Story7; 18.78; 138.2984; 0. Story6; 15.83; 137.743; 0. Story5; 12.78; 130.8459; 0. Story4; 9.99; 121.3841; 0. Story3; 7.2; 120.3595; 0. Story2; 4.25; 147.844; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCY according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 90 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 52.9372. PENTHOUSE; 43.7; 0; 208.9742. Story14; 40.23; 0; 203.9144. Story13; 36.98; 0; 192.0869. Story12; 34.03; 0; 228.5327. Story11; 30.98; 0; 235.0027. Story10; 28.03; 0; 262.6648. Story9; 24.98; 0; 368.088. Story8; 21.73; 0; 356.4047. Story7; 18.78; 0; 341.4165. Story6; 15.83; 0; 389.82. Story5; 12.78; 0; 391.3673. Story4; 9.99; 0; 363.0666. Story3; 7.2; 0; 360.0019. Story2; 4.25; 0; 442.2097. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCXB1 according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 0 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 19.7748; 0. PENTHOUSE; 43.7; 133.4809; 0. Story14; 40.23; 129.9257; 0. Story13; 36.98; 118.6045; 0. Story12; 34.03; 113.5217; 0. Story11; 30.98; 112.2151; 0. Story10; 28.03; 110.7869; 0. Story9; 24.98; 114.6515; 0. Story8; 21.73; 111.0124; 0. Story7; 18.78; 103.7238; 0. Story6; 15.83; 103.3072; 0. Story5; 12.78; 98.1344; 0. Story4; 9.99; 91.0381; 0. Story3; 7.2; 90.2696; 0. Story2; 4.25; 110.883; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCXB2 according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 0 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 19.7748; 0. PENTHOUSE; 43.7; 133.4809; 0. Story14; 40.23; 129.9257; 0. Story13; 36.98; 118.6045; 0. Story12; 34.03; 113.5217; 0. Story11; 30.98; 112.2151; 0. Story10; 28.03; 110.7869; 0. Story9; 24.98; 114.6515; 0. Story8; 21.73; 111.0124; 0. Story7; 18.78; 103.7238; 0. Story6; 15.83; 103.3072; 0. Story5; 12.78; 98.1344; 0. Story4; 9.99; 91.0381; 0. Story3; 7.2; 90.2696; 0. Story2; 4.25; 110.883; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCYB2 according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 0 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 39.7029. PENTHOUSE; 43.7; 0; 156.7307. Story14; 40.23; 0; 152.9358. Story13; 36.98; 0; 144.0652. Story12; 34.03; 0; 171.3995. Story11; 30.98; 0; 176.252. Story10; 28.03; 0; 196.9986. Story9; 24.98; 0; 276.066. Story8; 21.73; 0; 267.3035. Story7; 18.78; 0; 256.0624. Story6; 15.83; 0; 292.365. Story5; 12.78; 0; 293.5254. Story4; 9.99; 0; 272.2999. Story3; 7.2; 0; 270.0014. Story2; 4.25; 0; 331.6572. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Wind Load Calculation

This calculation presents the automatically generated lateral wind loads for load pattern WCYB1 according to NBCC 2005, as calculated by ETABS.

### Exposure Parameters

Exposure From = Diaphragms

Wind Direction = 0 degrees

| Windward Coefficient, Cp,wind | Cq,wind=0.8 |
| --- | --- |
| Leeward Coefficient, Cp,lee | Cq,lee=0.5 |

Top Story = UPPER ROOF

Bottom Story = GROUND

Include Parapet = No

### Factors and Coefficients

| Importance Factor, Iw [NBCC Table 4.1.7.1] | Iw=1 |
| --- | --- |
| Gust Effect Factor, Cg [NBCC 4.1.7.1.6] | Cg=2.48 |
| Exposure Factor, Ce,wind [NBCC 4.1.7.1.5] | Ce,wind=(h10≥ 0.9 |
| Exposure Factor, Ce,lee [NBCC 4.1.7.1.5] | Ce,lee=(hmid10≥ 0.9 |

### Lateral Loading

| Reference Velocity Pressure, q [NBCC 4.1.7.1.4] | q=0.45 |
| --- | --- |
| Design Wind Pressure, p [NBCC 4.1.7.1.1] | p=IwqCg(Ce,windCp,wind+Ce,leeCp,lee) |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 39.7029. PENTHOUSE; 43.7; 0; 156.7307. Story14; 40.23; 0; 152.9358. Story13; 36.98; 0; 144.0652. Story12; 34.03; 0; 171.3995. Story11; 30.98; 0; 176.252. Story10; 28.03; 0; 196.9986. Story9; 24.98; 0; 276.066. Story8; 21.73; 0; 267.3035. Story7; 18.78; 0; 256.0624. Story6; 15.83; 0; 292.365. Story5; 12.78; 0; 293.5254. Story4; 9.99; 0; 272.2999. Story3; 7.2; 0; 270.0014. Story2; 4.25; 0; 331.6572. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

## 2.3 Auto Seismic Loading

Table 2.9 - Auto Seismic - NBCC 2005 (Part 1 of 3)

| Load Pattern | Type | Direction | Eccentricity % | Ecc. Overridden | Structure Type | Period Method | Top Story | Bottom Story | PGA | Sa(0.2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EQX | Seismic | X |  | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |
| EQY | Seismic | Y |  | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |
| EQXMIN | Seismic | X + Ecc. Y | 10 | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |
| EQXMAX | Seismic | X - Ecc. Y | 10 | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |
| EQYMIN | Seismic | Y + Ecc. X | 10 | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |
| EQYMAX | Seismic | Y - Ecc. X | 10 | No | Shear Wall | Program Calculated | UPPER ROOF | GROUND | 0.12 | 0.22 |

Table 2.9 - Auto Seismic - NBCC 2005 (Part 2 of 3)

| Sa(0.5) | Sa(1.0) | Sa(2.0) | Site Class | Fa | Fv | Ie | Mv | Rd | Ro | Period Used sec | Coeff Used | Weight Used kN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.661 | 0.056249 | 171888.8905 |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.554 | 0.063156 | 171888.8905 |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.661 | 0.056249 | 171888.8905 |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.661 | 0.056249 | 171888.8905 |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.554 | 0.063156 | 171888.8905 |
| 0.13 | 0.067 | 0.021 | C | 1 | 1 | 1 | 1 | 1.5 | 1.3 | 0.554 | 0.063156 | 171888.8905 |

Table 2.9 - Auto Seismic - NBCC 2005 (Part 3 of 3)

| Base Shear kN | Ft Used kN |
| --- | --- |
| 9668.567 | 0 |
| 10855.8774 | 0 |
| 9668.567 | 0 |
| 9668.567 | 0 |
| 10855.8774 | 0 |
| 10855.8774 | 0 |

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQX according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = X

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.661 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| X | 0.661 | 171888.8905 | 9668.567 | 0 |

### Applied Story Forces

| Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 98.9751; 0. PENTHOUSE; 43.7; 648.6581; 0. Story14; 40.23; 777.3937; 0. Story13; 36.98; 691.5633; 0. Story12; 34.03; 788.7332; 0. Story11; 30.98; 764.1644; 0. Story10; 28.03; 828.0652; 0. Story9; 24.98; 928.9606; 0. Story8; 21.73; 859.5248; 0. Story7; 18.78; 746.2297; 0. Story6; 15.83; 750.1064; 0. Story5; 12.78; 634.5805; 0. Story4; 9.99; 495.7221; 0. Story3; 7.2; 385.0666; 0. Story2; 4.25; 270.8232; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0. |  |
| --- | --- |

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQY according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = Y

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.554 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| Y | 0.554 | 171888.8905 | 10855.8774 | 0 |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 111.1294. PENTHOUSE; 43.7; 0; 728.314. Story14; 40.23; 0; 872.8585. Story13; 36.98; 0; 776.488. Story12; 34.03; 0; 885.5904. Story11; 30.98; 0; 858.0046. Story10; 28.03; 0; 929.7525. Story9; 24.98; 0; 1043.038. Story8; 21.73; 0; 965.0754. Story7; 18.78; 0; 837.8676. Story6; 15.83; 0; 842.2203. Story5; 12.78; 0; 712.5077. Story4; 9.99; 0; 556.5974. Story3; 7.2; 0; 432.3531. Story2; 4.25; 0; 304.0806. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQXMIN according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = X + Eccentricity Y

Eccentricity Ratio = 10% for all diaphragms

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.661 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| X + Ecc. Y | 0.661 | 171888.8905 | 9668.567 | 0 |

### Applied Story Forces

| Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 98.9751; 0. PENTHOUSE; 43.7; 648.6581; 0. Story14; 40.23; 777.3937; 0. Story13; 36.98; 691.5633; 0. Story12; 34.03; 788.7332; 0. Story11; 30.98; 764.1644; 0. Story10; 28.03; 828.0652; 0. Story9; 24.98; 928.9606; 0. Story8; 21.73; 859.5248; 0. Story7; 18.78; 746.2297; 0. Story6; 15.83; 750.1064; 0. Story5; 12.78; 634.5805; 0. Story4; 9.99; 495.7221; 0. Story3; 7.2; 385.0666; 0. Story2; 4.25; 270.8232; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0. |  |
| --- | --- |

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQXMAX according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = X - Eccentricity Y

Eccentricity Ratio = 10% for all diaphragms

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.661 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| X - Ecc. Y | 0.661 | 171888.8905 | 9668.567 | 0 |

### Applied Story Forces

| Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 98.9751; 0. PENTHOUSE; 43.7; 648.6581; 0. Story14; 40.23; 777.3937; 0. Story13; 36.98; 691.5633; 0. Story12; 34.03; 788.7332; 0. Story11; 30.98; 764.1644; 0. Story10; 28.03; 828.0652; 0. Story9; 24.98; 928.9606; 0. Story8; 21.73; 859.5248; 0. Story7; 18.78; 746.2297; 0. Story6; 15.83; 750.1064; 0. Story5; 12.78; 634.5805; 0. Story4; 9.99; 495.7221; 0. Story3; 7.2; 385.0666; 0. Story2; 4.25; 270.8232; 0. GROUND; 0; 0; 0. PARKING; -4; 0; 0. |  |
| --- | --- |

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQYMIN according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = Y + Eccentricity X

Eccentricity Ratio = 10% for all diaphragms

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.554 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| Y + Ecc. X | 0.554 | 171888.8905 | 10855.8774 | 0 |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 111.1294. PENTHOUSE; 43.7; 0; 728.314. Story14; 40.23; 0; 872.8585. Story13; 36.98; 0; 776.488. Story12; 34.03; 0; 885.5904. Story11; 30.98; 0; 858.0046. Story10; 28.03; 0; 929.7525. Story9; 24.98; 0; 1043.038. Story8; 21.73; 0; 965.0754. Story7; 18.78; 0; 837.8676. Story6; 15.83; 0; 842.2203. Story5; 12.78; 0; 712.5077. Story4; 9.99; 0; 556.5974. Story3; 7.2; 0; 432.3531. Story2; 4.25; 0; 304.0806. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

# NBCC 2005 Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EQYMAX according to NBCC 2005, as calculated by ETABS.

### Direction and Eccentricity

Direction = Y - Eccentricity X

Eccentricity Ratio = 10% for all diaphragms

### Structural Period

Structure Type = Shear Wall

Period Calculation Method = Program Calculated

| Structure Height Above Base, hn |  | hn=48.05 m |
| --- | --- | --- |
| Approximate Fundamental Period, Ta [NBCC 4.1.8.11.3.c] | Ta=0.05hn34 | Ta=0.554 sec |
| Program Calculated Period, Ta [NBCC 4.1.8.11.3.d] | T≤2.0Ta |  |

### Factors and Coefficients

| Ductility Modifier, Rd [NBCC Table 4.1.8.9] | Rd=1.5 |
| --- | --- |
| Overstrength Modifier, Ro [NBCC Table 4.1.8.9] | Ro=1.3 |
| Higher Mode Factor, Mv [NBCC Table 4.1.8.11] | Mv=1 |
| Importance Factor, IE [NBCC Table 4.1.8.5] | IE=1 |

Spectral Acceleration, Sa (0.2) = 0.22

Spectral Acceleration, Sa (0.5) = 0.13

Spectral Acceleration, Sa (1.0) = 0.067

Spectral Acceleration, Sa (2.0) = 0.021

Site Class [NBCC Table 4.1.8.4.A] = C

| Site Coefficient, Fa [NBCC Table 4.1.8.4.B] | Fa=1 |
| --- | --- |
| Site Coefficient, Fv [NBCC Table 4.1.8.4.C] | Fv=1 |

### Seismic Response

| Design Spectral Acceleration, S(T) [NBCC 4.1.8.4.6] | S(T)=FaSa(0.2) for T≤0.2 sec |
| --- | --- |
|  | =min(FvSa(0.5),FaSa(0.2)) forT=0.5 sec |
|  | =FvSa(1.0) forT=1.0 sec |
|  | =FvSa(2.0) forT=2.0 sec |
|  | =FvSa(2.0)2 forT≥4.0 sec |

### Equivalent Lateral Forces

| Seismic Response Coefficient [NBCC 4.1.8.11.2] | =S(Ta)MvIERdRo |
| --- | --- |
| [NBCC 4.1.8.11.2] | min=S(2.0)MvIERdRo=0.010769 |
| [NBCC 4.1.8.11.2] | max=23S(0.2)IERdRo=0.075214 |
|  | min≤Coeff≤max |

### Calculated Base Shear

| Direction | Period Used (sec) | W (kN) | V (kN) | Ft (kN) |
| --- | --- | --- | --- | --- |
| Y - Ecc. X | 0.554 | 171888.8905 | 10855.8774 | 0 |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kN; kN. UPPER ROOF; 48.05; 0; 111.1294. PENTHOUSE; 43.7; 0; 728.314. Story14; 40.23; 0; 872.8585. Story13; 36.98; 0; 776.488. Story12; 34.03; 0; 885.5904. Story11; 30.98; 0; 858.0046. Story10; 28.03; 0; 929.7525. Story9; 24.98; 0; 1043.038. Story8; 21.73; 0; 965.0754. Story7; 18.78; 0; 837.8676. Story6; 15.83; 0; 842.2203. Story5; 12.78; 0; 712.5077. Story4; 9.99; 0; 556.5974. Story3; 7.2; 0; 432.3531. Story2; 4.25; 0; 304.0806. GROUND; 0; 0; 0. PARKING; -4; 0; 0.

## 2.4 Load Cases

Table 2.16 - Load Cases - Summary

| Name | Type |
| --- | --- |
| OW | Linear Static |
| EQDL | Linear Static |
| LL | Linear Static |
| FACADE | Linear Static |
| EQX | Linear Static |
| EQY | Linear Static |
| EQXMIN | Linear Static |
| EQXMAX | Linear Static |
| EQYMIN | Linear Static |
| EQYMAX | Linear Static |
| WCX | Linear Static |
| WCY | Linear Static |
| WCXB1 | Linear Static |
| DELDL | Linear Static |
| WCXB2 | Linear Static |
| WCYB2 | Linear Static |
| WCYB1 | Linear Static |

## 2.5 Load Combinations

Table 2.17 - Load Combinations

| Name | Load Case/Combo | Scale Factor | Type | Auto |
| --- | --- | --- | --- | --- |
| WCC | WCX | 0.75 | Linear Add | No |
| WCC | WCY | 0.75 |  | No |
| WCD1 | WCXB1 | 0.75 | Linear Add | No |
| WCD1 | WCYB2 | 0.75 |  | No |
| WCD2 | WCXB2 | 0.75 | Linear Add | No |
| WCD2 | WCYB1 | 0.75 |  | No |
| PF1 | OW | 1.4 | Linear Add | No |
| PF1 | DELDL | 1.4 |  | No |
| PF1 | FACADE | 1.4 |  | No |
| PF2 | OW | 1.25 | Linear Add | No |
| PF2 | DELDL | 1.25 |  | No |
| PF2 | FACADE | 1.25 |  | No |
| PF2 | LL | 1.2 |  | No |
| PF4WX | OW | 1.25 | Linear Add | No |
| PF4WX | DELDL | 1.25 |  | No |
| PF4WX | FACADE | 1.25 |  | No |
| PF4WX | WCX | 1.4 |  | No |
| PF4WY | OW | 1.25 | Linear Add | No |
| PF4WY | DELDL | 1.25 |  | No |
| PF4WY | FACADE | 1.25 |  | No |
| PF4WY | WCY | 1.4 |  | No |
| PF4WXB1 | OW | 1.25 | Linear Add | No |
| PF4WXB1 | DELDL | 1.25 |  | No |
| PF4WXB1 | FACADE | 1.25 |  | No |
| PF4WXB1 | WCXB1 | 1.4 |  | No |
| PF4WXB2 | OW | 1.25 | Linear Add | No |
| PF4WXB2 | DELDL | 1.25 |  | No |
| PF4WXB2 | FACADE | 1.25 |  | No |
| PF4WXB2 | WCXB2 | 1.4 |  | No |
| PF4WYB1 | OW | 1.25 | Linear Add | No |
| PF4WYB1 | DELDL | 1.25 |  | No |
| PF4WYB1 | FACADE | 1.25 |  | No |
| PF4WYB1 | WCYB1 | 1.4 |  | No |
| PF4WYB2 | OW | 1.25 | Linear Add | No |
| PF4WYB2 | DELDL | 1.25 |  | No |
| PF4WYB2 | FACADE | 1.25 |  | No |
| PF4WYB2 | WCYB2 | 1.4 |  | No |
| PF4WCC | OW | 1.25 | Linear Add | No |
| PF4WCC | DELDL | 1.25 |  | No |
| PF4WCC | FACADE | 1.25 |  | No |
| PF4WCC | WCC | 1.4 |  | No |
| PF4WCD1 | OW | 1.25 | Linear Add | No |
| PF4WCD1 | DELDL | 1.25 |  | No |
| PF4WCD1 | FACADE | 1.25 |  | No |
| PF4WCD1 | WCD1 | 1.4 |  | No |
| PF4WCD2 | OW | 1.25 | Linear Add | No |
| PF4WCD2 | DELDL | 1.25 |  | No |
| PF4WCD2 | FACADE | 1.25 |  | No |
| PF4WCD2 | WCD2 | 1.4 |  | No |
| PF4BWCD2 | OW | 0.9 | Linear Add | No |
| PF4BWCD2 | DELDL | 0.9 |  | No |
| PF4BWCD2 | FACADE | 0.9 |  | No |
| PF4BWCD2 | WCD2 | 1.4 |  | No |
| PF4BWCX | OW | 0.9 | Linear Add | No |
| PF4BWCX | DELDL | 0.9 |  | No |
| PF4BWCX | FACADE | 0.9 |  | No |
| PF4BWCX | WCX | 1.4 |  | No |
| PF4BWCY | OW | 0.9 | Linear Add | No |
| PF4BWCY | DELDL | 0.9 |  | No |
| PF4BWCY | FACADE | 0.9 |  | No |
| PF4BWCY | WCY | 1.4 |  | No |
| PF4BWCXB1 | OW | 0.9 | Linear Add | No |
| PF4BWCXB1 | DELDL | 0.9 |  | No |
| PF4BWCXB1 | FACADE | 0.9 |  | No |
| PF4BWCXB1 | WCXB1 | 1.4 |  | No |
| PF4BWCXB2 | OW | 0.9 | Linear Add | No |
| PF4BWCXB2 | DELDL | 0.9 |  | No |
| PF4BWCXB2 | FACADE | 0.9 |  | No |
| PF4BWCXB2 | WCXB2 | 1.4 |  | No |
| PF4BWCYB1 | OW | 0.9 | Linear Add | No |
| PF4BWCYB1 | DELDL | 0.9 |  | No |
| PF4BWCYB1 | FACADE | 0.9 |  | No |
| PF4BWCYB1 | WCYB1 | 1.4 |  | No |
| PF4BWCYB2 | OW | 0.9 | Linear Add | No |
| PF4BWCYB2 | DELDL | 0.9 |  | No |
| PF4BWCYB2 | FACADE | 0.9 |  | No |
| PF4BWCYB2 | WCYB2 | 1.4 |  | No |
| PF4BWCC | OW | 0.9 | Linear Add | No |
| PF4BWCC | DELDL | 0.9 |  | No |
| PF4BWCC | FACADE | 0.9 |  | No |
| PF4BWCC | WCC | 1.4 |  | No |
| PF4BWCD1 | OW | 0.9 | Linear Add | No |
| PF4BWCD1 | DELDL | 0.9 |  | No |
| PF4BWCD1 | FACADE | 0.9 |  | No |
| PF4BWCD1 | WCD1 | 1.4 |  | No |
| PF4DWCX | OW | 0.9 | Linear Add | No |
| PF4DWCX | DELDL | 0.9 |  | No |
| PF4DWCX | FACADE | 0.9 |  | No |
| PF4DWCX | WCX | 1.4 |  | No |
| PF4DWCX | LL | 0.4 |  | No |
| PF4DWCY | OW | 0.9 | Linear Add | No |
| PF4DWCY | DELDL | 0.9 |  | No |
| PF4DWCY | FACADE | 0.9 |  | No |
| PF4DWCY | WCY | 1.4 |  | No |
| PF4DWCY | LL | 0.4 |  | No |
| PF4DWCXB1 | OW | 0.9 | Linear Add | No |
| PF4DWCXB1 | DELDL | 0.9 |  | No |
| PF4DWCXB1 | FACADE | 0.9 |  | No |
| PF4DWCXB1 | WCXB1 | 1.4 |  | No |
| PF4DWCXB1 | LL | 0.4 |  | No |
| PF4DWCXB2 | OW | 0.9 | Linear Add | No |
| PF4DWCXB2 | DELDL | 0.9 |  | No |
| PF4DWCXB2 | FACADE | 0.9 |  | No |
| PF4DWCXB2 | WCXB2 | 1.4 |  | No |
| PF4DWCXB2 | LL | 0.4 |  | No |
| PF4CYB1 | OW | 0.9 | Linear Add | No |
| PF4CYB1 | DELDL | 0.9 |  | No |
| PF4CYB1 | FACADE | 0.9 |  | No |
| PF4CYB1 | WCYB1 | 1.4 |  | No |
| PF4CYB1 | LL | 0.4 |  | No |
| PF4CYB2 | OW | 0.9 | Linear Add | No |
| PF4CYB2 | DELDL | 0.9 |  | No |
| PF4CYB2 | FACADE | 0.9 |  | No |
| PF4CYB2 | WCYB2 | 1.4 |  | No |
| PF4CYB2 | LL | 0.4 |  | No |
| PF4DWCC | OW | 0.9 | Linear Add | No |
| PF4DWCC | DELDL | 0.9 |  | No |
| PF4DWCC | FACADE | 0.9 |  | No |
| PF4DWCC | WCC | 1.4 |  | No |
| PF4DWCC | LL | 0.4 |  | No |
| PF4DWCD1 | OW | 0.9 | Linear Add | No |
| PF4DWCD1 | DELDL | 0.9 |  | No |
| PF4DWCD1 | FACADE | 0.9 |  | No |
| PF4DWCD1 | WCD1 | 1.4 |  | No |
| PF4DWCD1 | LL | 0.4 |  | No |
| PF4DWCD2 | OW | 0.9 | Linear Add | No |
| PF4DWCD2 | DELDL | 0.9 |  | No |
| PF4DWCD2 | FACADE | 0.9 |  | No |
| PF4DWCD2 | WCD2 | 1.4 |  | No |
| PF4DWCD2 | LL | 0.4 |  | No |
| PF4CWCX | OW | 1.25 | Linear Add | No |
| PF4CWCX | DELDL | 1.25 |  | No |
| PF4CWCX | FACADE | 1.25 |  | No |
| PF4CWCX | WCX | 1.4 |  | No |
| PF4CWCX | LL | 0.4 |  | No |
| PF4CWCY | OW | 1.25 | Linear Add | No |
| PF4CWCY | DELDL | 1.25 |  | No |
| PF4CWCY | FACADE | 1.25 |  | No |
| PF4CWCY | WCY | 1.4 |  | No |
| PF4CWCY | LL | 0.4 |  | No |
| PF4CWCXB1 | OW | 1.25 | Linear Add | No |
| PF4CWCXB1 | DELDL | 1.25 |  | No |
| PF4CWCXB1 | FACADE | 1.25 |  | No |
| PF4CWCXB1 | WCXB1 | 1.4 |  | No |
| PF4CWCXB1 | LL | 0.4 |  | No |
| PF4CWCXB2 | OW | 1.25 | Linear Add | No |
| PF4CWCXB2 | DELDL | 1.25 |  | No |
| PF4CWCXB2 | FACADE | 1.25 |  | No |
| PF4CWCXB2 | WCXB2 | 1.4 |  | No |
| PF4CWCXB2 | LL | 0.4 |  | No |
| PF4CWCYB1 | OW | 1.25 | Linear Add | No |
| PF4CWCYB1 | DELDL | 1.25 |  | No |
| PF4CWCYB1 | FACADE | 1.25 |  | No |
| PF4CWCYB1 | WCYB1 | 1.4 |  | No |
| PF4CWCYB1 | LL | 0.4 |  | No |
| PF4CWCYB2 | OW | 1.25 | Linear Add | No |
| PF4CWCYB2 | DELDL | 1.25 |  | No |
| PF4CWCYB2 | FACADE | 1.25 |  | No |
| PF4CWCYB2 | WCYB2 | 1.4 |  | No |
| PF4CWCYB2 | LL | 0.4 |  | No |
| PF4CWCC | OW | 1.25 | Linear Add | No |
| PF4CWCC | DELDL | 1.25 |  | No |
| PF4CWCC | FACADE | 1.25 |  | No |
| PF4CWCC | WCC | 1.4 |  | No |
| PF4CWCC | LL | 0.4 |  | No |
| PF4CWCD1 | OW | 1.25 | Linear Add | No |
| PF4CWCD1 | DELDL | 1.25 |  | No |
| PF4CWCD1 | FACADE | 1.25 |  | No |
| PF4CWCD1 | WCD1 | 1.4 |  | No |
| PF4CWCD1 | LL | 0.4 |  | No |
| PF4CWCD2 | OW | 1.25 | Linear Add | No |
| PF4CWCD2 | DELDL | 1.25 |  | No |
| PF4CWCD2 | FACADE | 1.25 |  | No |
| PF4CWCD2 | WCD2 | 1.4 |  | No |
| PF4CWCD2 | LL | 0.4 |  | No |
| PFEQ2X | OW | 1 | Linear Add | No |
| PFEQ2X | DELDL | 1 |  | No |
| PFEQ2X | FACADE | 1 |  | No |
| PFEQ2X | LL | 0.4 |  | No |
| PFEQ2X | EQX | 1 |  | No |
| PFEQ2Y | OW | 1 | Linear Add | No |
| PFEQ2Y | DELDL | 1 |  | No |
| PFEQ2Y | FACADE | 1 |  | No |
| PFEQ2Y | LL | 0.4 |  | No |
| PFEQ2Y | EQY | 1 |  | No |
| PFEQ2XMIN | OW | 1 | Linear Add | No |
| PFEQ2XMIN | DELDL | 1 |  | No |
| PFEQ2XMIN | FACADE | 1 |  | No |
| PFEQ2XMIN | LL | 0.4 |  | No |
| PFEQ2XMIN | EQXMIN | 1 |  | No |
| PFEQ2XMAX | OW | 1 | Linear Add | No |
| PFEQ2XMAX | DELDL | 1 |  | No |
| PFEQ2XMAX | FACADE | 1 |  | No |
| PFEQ2XMAX | LL | 0.4 |  | No |
| PFEQ2XMAX | EQXMAX | 1 |  | No |
| PFEQ2YMIN | OW | 1 | Linear Add | No |
| PFEQ2YMIN | DELDL | 1 |  | No |
| PFEQ2YMIN | FACADE | 1 |  | No |
| PFEQ2YMIN | LL | 0.4 |  | No |
| PFEQ2YMIN | EQYMIN | 1 |  | No |
| PFEQ2YMAX | OW | 1 | Linear Add | No |
| PFEQ2YMAX | DELDL | 1 |  | No |
| PFEQ2YMAX | FACADE | 1 |  | No |
| PFEQ2YMAX | LL | 0.4 |  | No |
| PFEQ2YMAX | EQYMAX | 1 |  | No |
| PFEQ1X | OW | 1 | Linear Add | No |
| PFEQ1X | DELDL | 1 |  | No |
| PFEQ1X | FACADE | 1 |  | No |
| PFEQ1X | EQX | 1 |  | No |
| PFEQ1Y | OW | 1 | Linear Add | No |
| PFEQ1Y | DELDL | 1 |  | No |
| PFEQ1Y | FACADE | 1 |  | No |
| PFEQ1Y | EQY | 1 |  | No |
| PFEQ1XMIN | OW | 1 | Linear Add | No |
| PFEQ1XMIN | DELDL | 1 |  | No |
| PFEQ1XMIN | FACADE | 1 |  | No |
| PFEQ1XMIN | EQXMIN | 1 |  | No |
| PFEQ1XMAX | OW | 1 | Linear Add | No |
| PFEQ1XMAX | DELDL | 1 |  | No |
| PFEQ1XMAX | FACADE | 1 |  | No |
| PFEQ1XMAX | EQXMAX | 1 |  | No |
| PFEQ1YMIN | OW | 1 | Linear Add | No |
| PFEQ1YMIN | DELDL | 1 |  | No |
| PFEQ1YMIN | FACADE | 1 |  | No |
| PFEQ1YMIN | EQYMIN | 1 |  | No |
| PFEQ1YMAX | OW | 1 | Linear Add | No |
| PFEQ1YMAX | DELDL | 1 |  | No |
| PFEQ1YMAX | FACADE | 1 |  | No |
| PFEQ1YMAX | EQYMAX | 1 |  | No |

# 3 Analysis Results

This chapter provides analysis results.

## 3.1 Structure Results

Table 3.1 - Base Reactions

| Load Case/Combo | FX kN | FY kN | FZ kN | MX kN-m | MY kN-m | MZ kN-m | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OW | 0 | 0 | 161040.7858 | 2193552 | -7226492 | 1.093E-06 | 0 | 0 | -4 |
| EQDL | 0 | 0 | 10066.8488 | 134665.5041 | -447968 | 0 | 0 | 0 | -4 |
| LL | 0 | 0 | 38254.0256 | 511728.9157 | -1702277 | 0 | 0 | 0 | -4 |
| FACADE | 0 | 0 | 8569.4 | 115505.015 | -375480 | 0 | 0 | 0 | -4 |
| EQX | -9668.567 | 0 | 0 | 0 | -287107 | 131955.0415 | 0 | 0 | -4 |
| EQY | 0 | -10855.8774 | 0 | 322364.0267 | 1.58E-06 | -499324 | 0 | 0 | -4 |
| EQXMIN | -9668.567 | 0 | 0 | 6.34E-07 | -287107 | 158534.6586 | 0 | 0 | -4 |
| EQXMAX | -9668.567 | 0 | 0 | 0 | -287107 | 105375.4245 | 0 | 0 | -4 |
| EQYMIN | 0 | -10855.8774 | 0 | 322364.0267 | 2.342E-06 | -561908 | 0 | 0 | -4 |
| EQYMAX | 0 | -10855.8774 | 0 | 322364.0267 | 8.182E-07 | -436740 | 0 | 0 | -4 |
| WCX | -2081.7729 | 0 | 0 | 0 | -60307.795 | 29105.1354 | 0 | 0 | -4 |
| WCY | 0 | -4396.4874 | 0 | 109610.727 | 0 | -192668 | 0 | 0 | -4 |
| WCXB1 | -1561.3297 | 0 | 0 | 0 | -45230.8463 | 16486.3329 | 0 | 0 | -4 |
| DELDL | 0 | 0 | 26173.807 | 350130.3107 | -1164716 | 0 | 0 | 0 | -4 |
| WCXB2 | -1561.3297 | 0 | 0 | 0 | -45230.8463 | 27171.3702 | 0 | 0 | -4 |
| WCYB2 | 0 | -3297.3655 | 0 | 82208.0452 | 5.268E-07 | -171333 | 0 | 0 | -4 |
| WCYB1 | 0 | -3297.3655 | 0 | 82208.0452 | 0 | -117669 | 0 | 0 | -4 |
| WCC | -1561.3297 | -3297.3655 | 0 | 82208.0452 | -45230.8463 | -122672 | 0 | 0 | -4 |
| WCD1 | -1170.9973 | -2473.0242 | 0 | 61656.0339 | -33923.1347 | -116135 | 0 | 0 | -4 |
| WCD2 | -1170.9973 | -2473.0242 | 0 | 61656.0339 | -33923.1347 | -67873.3803 | 0 | 0 | -4 |
| PF1 | 0 | 0 | 274097.59 | 3722862 | -12273362 | 2.055E-06 | 0 | 0 | -4 |
| PF2 | 0 | 0 | 290634.8217 | 3938059 | -13001091 | 2.25E-06 | 0 | 0 | -4 |
| PF4WX | -2914.482 | 0 | 244729.991 | 3323984 | -11042790 | 40747.1896 | 0 | 0 | -4 |
| PF4WY | 0 | -6155.0824 | 244729.991 | 3477439 | -10958359 | -269735 | 0 | 0 | -4 |
| PF4WXB1 | -2185.8615 | 0 | 244729.991 | 3323984 | -11021682 | 23080.8661 | 0 | 0 | -4 |
| PF4WXB2 | -2185.8615 | 0 | 244729.991 | 3323984 | -11021682 | 38039.9182 | 0 | 0 | -4 |
| PF4WYB1 | 0 | -4616.3118 | 244729.991 | 3439075 | -10958359 | -164737 | 0 | 0 | -4 |
| PF4WYB2 | 0 | -4616.3118 | 244729.991 | 3439075 | -10958359 | -239866 | 0 | 0 | -4 |
| PF4WCC | -2185.8615 | -4616.3118 | 244729.991 | 3439075 | -11021682 | -171741 | 0 | 0 | -4 |
| PF4WCD1 | -1639.3962 | -3462.2338 | 244729.991 | 3410303 | -11005852 | -162588 | 0 | 0 | -4 |
| PF4WCD2 | -1639.3962 | -3462.2338 | 244729.991 | 3410303 | -11005852 | -95022.7324 | 0 | 0 | -4 |
| PF4BWCD2 | -1639.3962 | -3462.2338 | 176205.5935 | 2479587 | -7937511 | -95022.7324 | 0 | 0 | -4 |
| PF4BWCX | -2914.482 | 0 | 176205.5935 | 2393269 | -7974450 | 40747.1896 | 0 | 0 | -4 |
| PF4BWCY | 0 | -6155.0824 | 176205.5935 | 2546724 | -7890019 | -269735 | 0 | 0 | -4 |
| PF4BWCXB1 | -2185.8615 | 0 | 176205.5935 | 2393269 | -7953342 | 23080.8661 | 0 | 0 | -4 |
| PF4BWCXB2 | -2185.8615 | 0 | 176205.5935 | 2393269 | -7953342 | 38039.9182 | 0 | 0 | -4 |
| PF4BWCYB1 | 0 | -4616.3118 | 176205.5935 | 2508360 | -7890019 | -164737 | 0 | 0 | -4 |
| PF4BWCYB2 | 0 | -4616.3118 | 176205.5935 | 2508360 | -7890019 | -239866 | 0 | 0 | -4 |
| PF4BWCC | -2185.8615 | -4616.3118 | 176205.5935 | 2508360 | -7953342 | -171741 | 0 | 0 | -4 |
| PF4BWCD1 | -1639.3962 | -3462.2338 | 176205.5935 | 2479587 | -7937511 | -162588 | 0 | 0 | -4 |
| PF4DWCX | -2914.482 | 0 | 191507.2038 | 2597960 | -8655360 | 40747.1896 | 0 | 0 | -4 |
| PF4DWCY | 0 | -6155.0824 | 191507.2038 | 2751415 | -8570929 | -269735 | 0 | 0 | -4 |
| PF4DWCXB1 | -2185.8615 | 0 | 191507.2038 | 2597960 | -8634252 | 23080.8661 | 0 | 0 | -4 |
| PF4DWCXB2 | -2185.8615 | 0 | 191507.2038 | 2597960 | -8634252 | 38039.9182 | 0 | 0 | -4 |
| PF4CYB1 | 0 | -4616.3118 | 191507.2038 | 2713051 | -8570929 | -164737 | 0 | 0 | -4 |
| PF4CYB2 | 0 | -4616.3118 | 191507.2038 | 2713051 | -8570929 | -239866 | 0 | 0 | -4 |
| PF4DWCC | -2185.8615 | -4616.3118 | 191507.2038 | 2713051 | -8634252 | -171741 | 0 | 0 | -4 |
| PF4DWCD1 | -1639.3962 | -3462.2338 | 191507.2038 | 2684279 | -8618422 | -162588 | 0 | 0 | -4 |
| PF4DWCD2 | -1639.3962 | -3462.2338 | 191507.2038 | 2684279 | -8618422 | -95022.7324 | 0 | 0 | -4 |
| PF4CWCX | -2914.482 | 0 | 260031.6013 | 3528676 | -11723701 | 40747.1896 | 0 | 0 | -4 |
| PF4CWCY | 0 | -6155.0824 | 260031.6013 | 3682131 | -11639270 | -269735 | 0 | 0 | -4 |
| PF4CWCXB1 | -2185.8615 | 0 | 260031.6013 | 3528676 | -11702593 | 23080.8661 | 0 | 0 | -4 |
| PF4CWCXB2 | -2185.8615 | 0 | 260031.6013 | 3528676 | -11702593 | 38039.9182 | 0 | 0 | -4 |
| PF4CWCYB1 | 0 | -4616.3118 | 260031.6013 | 3643767 | -11639270 | -164737 | 0 | 0 | -4 |
| PF4CWCYB2 | 0 | -4616.3118 | 260031.6013 | 3643767 | -11639270 | -239866 | 0 | 0 | -4 |
| PF4CWCC | -2185.8615 | -4616.3118 | 260031.6013 | 3643767 | -11702593 | -171741 | 0 | 0 | -4 |
| PF4CWCD1 | -1639.3962 | -3462.2338 | 260031.6013 | 3614994 | -11686762 | -162588 | 0 | 0 | -4 |
| PF4CWCD2 | -1639.3962 | -3462.2338 | 260031.6013 | 3614994 | -11686762 | -95022.7324 | 0 | 0 | -4 |
| PFEQ2X | -9668.567 | 0 | 211085.6031 | 2863879 | -9734705 | 131955.0416 | 0 | 0 | -4 |
| PFEQ2Y | 0 | -10855.8774 | 211085.6031 | 3186243 | -9447598 | -499324 | 0 | 0 | -4 |
| PFEQ2XMIN | -9668.567 | 0 | 211085.6031 | 2863879 | -9734705 | 158534.6586 | 0 | 0 | -4 |
| PFEQ2XMAX | -9668.567 | 0 | 211085.6031 | 2863879 | -9734705 | 105375.4245 | 0 | 0 | -4 |
| PFEQ2YMIN | 0 | -10855.8774 | 211085.6031 | 3186243 | -9447598 | -561908 | 0 | 0 | -4 |
| PFEQ2YMAX | 0 | -10855.8774 | 211085.6031 | 3186243 | -9447598 | -436740 | 0 | 0 | -4 |
| PFEQ1X | -9668.567 | 0 | 195783.9928 | 2659187 | -9053794 | 131955.0416 | 0 | 0 | -4 |
| PFEQ1Y | 0 | -10855.8774 | 195783.9928 | 2981551 | -8766687 | -499324 | 0 | 0 | -4 |
| PFEQ1XMIN | -9668.567 | 0 | 195783.9928 | 2659187 | -9053794 | 158534.6586 | 0 | 0 | -4 |
| PFEQ1XMAX | -9668.567 | 0 | 195783.9928 | 2659187 | -9053794 | 105375.4245 | 0 | 0 | -4 |
| PFEQ1YMIN | 0 | -10855.8774 | 195783.9928 | 2981551 | -8766687 | -561908 | 0 | 0 | -4 |
| PFEQ1YMAX | 0 | -10855.8774 | 195783.9928 | 2981551 | -8766687 | -436740 | 0 | 0 | -4 |

Table 3.2 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kg | Mass Y kg | XCM m | YCM m | Cumulative X kg | Cumulative Y kg | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UPPER ROOF | D2 | 70425.82 | 70425.82 | 49.6172 | 14.8436 | 70425.82 | 70425.82 | 49.6172 | 14.8436 | 49.4888 | 15.8515 |
| PENTHOUSE | D2 | 507497.29 | 507497.29 | 50.3458 | 14.4312 | 577923.11 | 577923.11 | 50.257 | 14.4814 | 48.436 | 14.2185 |
| Story14 | D2 | 660678.7 | 660678.7 | 50.6061 | 14.0976 | 1238601.81 | 1238601.81 | 50.4432 | 14.2767 | 47.5983 | 13.9349 |
| Story13 | D2 | 639387.8 | 639387.8 | 50.2985 | 13.949 | 1877989.61 | 1877989.61 | 50.3939 | 14.1651 | 46.4486 | 13.7981 |
| Story12 | D2 | 792441.99 | 792441.99 | 46.7002 | 13.5498 | 2670431.6 | 2670431.6 | 49.2978 | 13.9825 | 45.2049 | 14.0778 |
| Story11 | D2 | 843343.93 | 843343.93 | 47.0455 | 13.6414 | 3513775.53 | 3513775.53 | 48.7573 | 13.9007 | 43.2455 | 14.2841 |
| Story10 | D2 | 1010045.04 | 1010045.04 | 49.2602 | 13.786 | 4523820.57 | 4523820.57 | 48.8695 | 13.8751 | 41.3915 | 14.9688 |
| Story9 | D2 | 1271464.37 | 1271464.37 | 43.3239 | 13.3743 | 5795284.94 | 5795284.94 | 47.6528 | 13.7652 | 40.9437 | 15.1108 |
| Story8 | D2 | 1352377.81 | 1352377.81 | 41.488 | 13.2394 | 7147662.75 | 7147662.75 | 46.4864 | 13.6657 | 41.2145 | 15.1202 |
| Story7 | D2 | 1358552.09 | 1358552.09 | 42.0304 | 13.2283 | 8506214.84 | 8506214.84 | 45.7747 | 13.5958 | 41.5697 | 15.1617 |
| Story6 | D2 | 1620097.99 | 1620097.99 | 45.0826 | 13.6633 | 10126312.83 | 10126312.83 | 45.664 | 13.6066 | 41.7727 | 15.2375 |
| Story5 | D2 | 1697677.48 | 1697677.48 | 43.9488 | 13.3852 | 11823990.31 | 11823990.31 | 45.4177 | 13.5749 | 41.2204 | 15.3251 |
| Story4 | D2 | 1696571.45 | 1696571.45 | 43.7934 | 13.3397 | 13520561.77 | 13520561.77 | 45.2139 | 13.5453 | 40.7145 | 15.206 |
| Story3 | D2 | 1828532.26 | 1828532.26 | 45.6672 | 13.6195 | 15349094.02 | 15349094.02 | 45.2679 | 13.5542 | 39.4827 | 14.71 |
| Story2 | D2 | 2175938.66 | 2175938.66 | 41.255 | 13.7141 | 17525032.69 | 17525032.69 | 44.7697 | 13.574 | 40.652 | 13.5308 |

## 3.2 Story Results

Table 3.3 - Story Max/Avg Displacements

| Story | Load Case/Combo | Direction | Maximum mm | Average mm | Ratio |
| --- | --- | --- | --- | --- | --- |
| UPPER ROOF | OW | Y | 1.7 | 1 | 1.806025 |
| PENTHOUSE | OW | Y | 3.6 | 1.3 | 2.757284 |
| Story14 | OW | Y | 3.1 | 1.2 | 2.657508 |
| Story13 | OW | Y | 2.6 | 0.9 | 3.024557 |
| Story12 | OW | Y | 2.2 | 0.5 | 4.135982 |
| Story11 | OW | Y | 2 | 0.6 | 3.295711 |
| Story10 | OW | Y | 1.8 | 0.5 | 3.301729 |
| Story9 | OW | X | 0.7 | 0.1 | 4.583741 |
| Story8 | OW | X | 0.5 | 0.1 | 5.52776 |
| Story7 | OW | Y | 1 | 0.1 | 11.586978 |
| Story6 | OW | Y | 0.9 | 0.1 | 9.848607 |
| Story5 | OW | Y | 0.7 | 0.02908 | 23.225949 |
| Story4 | OW | Y | 0.5 | 0.01155 | 41.195795 |
| Story3 | OW | X | 0.1 | 0.03396 | 3.201853 |
| Story2 | OW | Y | 0.1 | 0.03512 | 1.943873 |
| GROUND | OW | Y | 0 | 0 |  |
| PARKING | OW | Y | 0 | 0 |  |
| UPPER ROOF | EQDL | Y | 0.1 | 0.1 | 1.666465 |
| PENTHOUSE | EQDL | Y | 0.3 | 0.1 | 2.486333 |
| Story14 | EQDL | Y | 0.2 | 0.1 | 2.427065 |
| Story13 | EQDL | Y | 0.2 | 0.1 | 2.74385 |
| Story12 | EQDL | Y | 0.2 | 0.04604 | 3.67062 |
| Story11 | EQDL | Y | 0.2 | 0.1 | 3.134142 |
| Story10 | EQDL | Y | 0.1 | 0.04305 | 3.262924 |
| Story9 | EQDL | X | 0.1 | 0.01275 | 4.242156 |
| Story8 | EQDL | X | 0.04048 | 0.00711 | 5.692748 |
| Story7 | EQDL | Y | 0.1 | 0.006552 | 12.159531 |
| Story6 | EQDL | Y | 0.1 | 0.006706 | 10.434466 |
| Story5 | EQDL | X | 0.01765 | 0.002786 | 6.334387 |
| Story4 | EQDL | X | 0.01176 | 0.001212 | 9.699866 |
| Story3 | EQDL | X | 0.007315 | 0.001631 | 4.483613 |
| Story2 | EQDL | Y | 0.00486 | 0.00242 | 2.008305 |
| GROUND | EQDL | Y | 0 | 0 |  |
| PARKING | EQDL | Y | 0 | 0 |  |
| UPPER ROOF | LL | Y | 0.5 | 0.3 | 1.666465 |
| PENTHOUSE | LL | Y | 1 | 0.4 | 2.486333 |
| Story14 | LL | Y | 0.9 | 0.4 | 2.427065 |
| Story13 | LL | Y | 0.8 | 0.3 | 2.74385 |
| Story12 | LL | Y | 0.6 | 0.2 | 3.67062 |
| Story11 | LL | Y | 0.6 | 0.2 | 3.134142 |
| Story10 | LL | Y | 0.5 | 0.2 | 3.262924 |
| Story9 | LL | X | 0.2 | 0.04847 | 4.242156 |
| Story8 | LL | X | 0.2 | 0.02702 | 5.692748 |
| Story7 | LL | Y | 0.3 | 0.0249 | 12.159531 |
| Story6 | LL | Y | 0.3 | 0.02548 | 10.434466 |
| Story5 | LL | X | 0.1 | 0.01059 | 6.334387 |
| Story4 | LL | X | 0.04469 | 0.004607 | 9.699866 |
| Story3 | LL | X | 0.0278 | 0.0062 | 4.483613 |
| Story2 | LL | Y | 0.01847 | 0.009196 | 2.008305 |
| GROUND | LL | Y | 0 | 0 |  |
| PARKING | LL | Y | 0 | 0 |  |
| UPPER ROOF | FACADE | Y | 0.2 | 0.2 | 1.170313 |
| PENTHOUSE | FACADE | Y | 0.2 | 0.1 | 1.644413 |
| Story14 | FACADE | Y | 0.2 | 0.1 | 1.702084 |
| Story13 | FACADE | Y | 0.2 | 0.1 | 1.867545 |
| Story12 | FACADE | Y | 0.2 | 0.1 | 2.227014 |
| Story11 | FACADE | Y | 0.2 | 0.1 | 2.257233 |
| Story10 | FACADE | Y | 0.2 | 0.1 | 2.509118 |
| Story9 | FACADE | Y | 0.1 | 0.02923 | 5.088766 |
| Story8 | FACADE | Y | 0.1 | 0.02371 | 5.16359 |
| Story7 | FACADE | Y | 0.1 | 0.02331 | 4.617166 |
| Story6 | FACADE | Y | 0.1 | 0.02078 | 4.569469 |
| Story5 | FACADE | Y | 0.1 | 0.01024 | 6.594612 |
| Story4 | FACADE | Y | 0.04386 | 0.005205 | 8.427148 |
| Story3 | FACADE | X | 0.006814 | 0.001125 | 6.058595 |
| Story2 | FACADE | Y | 0.00486 | 0.002411 | 2.015333 |
| GROUND | FACADE | Y | 0 | 0 |  |
| PARKING | FACADE | Y | 0 | 0 |  |
| UPPER ROOF | EQX | X | 17 | 16.9 | 1.007739 |
| PENTHOUSE | EQX | X | 15.8 | 15.2 | 1.041782 |
| Story14 | EQX | X | 14.4 | 14 | 1.031804 |
| Story13 | EQX | X | 13 | 12.8 | 1.019903 |
| Story12 | EQX | X | 11.8 | 11.7 | 1.004499 |
| Story11 | EQX | X | 10.6 | 10.5 | 1.006979 |
| Story10 | EQX | X | 9.5 | 9.3 | 1.017002 |
| Story9 | EQX | X | 7.9 | 7.8 | 1.017968 |
| Story8 | EQX | X | 6.3 | 6.2 | 1.018146 |
| Story7 | EQX | X | 4.9 | 4.8 | 1.018033 |
| Story6 | EQX | X | 3.6 | 3.5 | 1.017348 |
| Story5 | EQX | X | 2.4 | 2.3 | 1.015339 |
| Story4 | EQX | X | 1.4 | 1.4 | 1.0144 |
| Story3 | EQX | X | 0.5 | 0.5 | 1.014699 |
| Story2 | EQX | X | 0.1 | 0.1 | 1.030596 |
| GROUND | EQX | Y | 0 | 0 |  |
| PARKING | EQX | Y | 0 | 0 |  |
| UPPER ROOF | EQY | Y | 13.9 | 13.1 | 1.065848 |
| PENTHOUSE | EQY | Y | 14.5 | 11.8 | 1.222906 |
| Story14 | EQY | Y | 13 | 10.6 | 1.225661 |
| Story13 | EQY | Y | 11.5 | 9.1 | 1.265632 |
| Story12 | EQY | Y | 10.2 | 7.6 | 1.352124 |
| Story11 | EQY | Y | 9.3 | 6.7 | 1.391825 |
| Story10 | EQY | Y | 8.2 | 5.6 | 1.470443 |
| Story9 | EQY | Y | 6.7 | 3.9 | 1.688763 |
| Story8 | EQY | Y | 5 | 3.1 | 1.612886 |
| Story7 | EQY | Y | 3.8 | 2.5 | 1.539651 |
| Story6 | EQY | Y | 2.8 | 1.8 | 1.490302 |
| Story5 | EQY | Y | 2 | 1.3 | 1.545669 |
| Story4 | EQY | Y | 1.3 | 0.8 | 1.546234 |
| Story3 | EQY | Y | 0.7 | 0.5 | 1.567731 |
| Story2 | EQY | Y | 0.2 | 0.2 | 1.484096 |
| GROUND | EQY | Y | 0 | 0 |  |
| PARKING | EQY | Y | 0 | 0 |  |
| UPPER ROOF | EQXMIN | X | 17.6 | 17.1 | 1.031264 |
| PENTHOUSE | EQXMIN | X | 17.8 | 15.2 | 1.173077 |
| Story14 | EQXMIN | X | 16.1 | 14 | 1.149893 |
| Story13 | EQXMIN | X | 14.4 | 12.8 | 1.122289 |
| Story12 | EQXMIN | X | 12.8 | 11.8 | 1.090383 |
| Story11 | EQXMIN | X | 11.2 | 10.6 | 1.062009 |
| Story10 | EQXMIN | X | 9.7 | 9.3 | 1.035912 |
| Story9 | EQXMIN | X | 8.1 | 7.8 | 1.02894 |
| Story8 | EQXMIN | X | 6.4 | 6.2 | 1.026164 |
| Story7 | EQXMIN | X | 4.9 | 4.8 | 1.023703 |
| Story6 | EQXMIN | X | 3.6 | 3.5 | 1.020845 |
| Story5 | EQXMIN | X | 2.4 | 2.3 | 1.023323 |
| Story4 | EQXMIN | X | 1.4 | 1.4 | 1.028759 |
| Story3 | EQXMIN | X | 0.5 | 0.5 | 1.046545 |
| Story2 | EQXMIN | X | 0.1 | 0.1 | 1.112373 |
| GROUND | EQXMIN | Y | 0 | 0 |  |
| PARKING | EQXMIN | Y | 0 | 0 |  |
| UPPER ROOF | EQXMAX | X | 16.9 | 16.6 | 1.01647 |
| PENTHOUSE | EQXMAX | X | 16.6 | 15.2 | 1.089133 |
| Story14 | EQXMAX | X | 15.2 | 14 | 1.086198 |
| Story13 | EQXMAX | X | 13.8 | 12.8 | 1.082689 |
| Story12 | EQXMAX | X | 12.7 | 11.7 | 1.081746 |
| Story11 | EQXMAX | X | 11.3 | 10.5 | 1.076395 |
| Story10 | EQXMAX | X | 9.9 | 9.3 | 1.070358 |
| Story9 | EQXMAX | X | 8.3 | 7.8 | 1.065236 |
| Story8 | EQXMAX | X | 6.6 | 6.2 | 1.062729 |
| Story7 | EQXMAX | X | 5.1 | 4.8 | 1.059972 |
| Story6 | EQXMAX | X | 3.7 | 3.5 | 1.055678 |
| Story5 | EQXMAX | X | 2.5 | 2.3 | 1.054071 |
| Story4 | EQXMAX | X | 1.4 | 1.4 | 1.057546 |
| Story3 | EQXMAX | X | 0.5 | 0.5 | 1.075688 |
| Story2 | EQXMAX | X | 0.1 | 0.1 | 1.051471 |
| GROUND | EQXMAX | Y | 0 | 0 |  |
| PARKING | EQXMAX | Y | 0 | 0 |  |
| UPPER ROOF | EQYMIN | Y | 16.4 | 14.2 | 1.157865 |
| PENTHOUSE | EQYMIN | Y | 19.5 | 13.1 | 1.482297 |
| Story14 | EQYMIN | Y | 17.2 | 11.8 | 1.466922 |
| Story13 | EQYMIN | Y | 15.1 | 9.9 | 1.526991 |
| Story12 | EQYMIN | Y | 13.2 | 7.9 | 1.679196 |
| Story11 | EQYMIN | Y | 12.1 | 7.2 | 1.667166 |
| Story10 | EQYMIN | Y | 10.5 | 6.1 | 1.727045 |
| Story9 | EQYMIN | Y | 8.4 | 3.9 | 2.171335 |
| Story8 | EQYMIN | Y | 6.4 | 3.1 | 2.082476 |
| Story7 | EQYMIN | Y | 4.9 | 2.5 | 1.983103 |
| Story6 | EQYMIN | Y | 3.7 | 1.9 | 1.950307 |
| Story5 | EQYMIN | Y | 2.6 | 1.3 | 2.052225 |
| Story4 | EQYMIN | Y | 1.7 | 0.8 | 2.042389 |
| Story3 | EQYMIN | Y | 1 | 0.5 | 2.039284 |
| Story2 | EQYMIN | Y | 0.3 | 0.2 | 1.881739 |
| GROUND | EQYMIN | Y | 0 | 0 |  |
| PARKING | EQYMIN | Y | 0 | 0 |  |
| UPPER ROOF | EQYMAX | Y | 12.5 | 12 | 1.04274 |
| PENTHOUSE | EQYMAX | Y | 11.6 | 10.5 | 1.100143 |
| Story14 | EQYMAX | Y | 10.1 | 9.4 | 1.076077 |
| Story13 | EQYMAX | Y | 8.7 | 8.3 | 1.04553 |
| Story12 | EQYMAX | Y | 7.3 | 7.3 | 1.001734 |
| Story11 | EQYMAX | Y | 6.6 | 6.1 | 1.067328 |
| Story10 | EQYMAX | Y | 5.9 | 5.1 | 1.163693 |
| Story9 | EQYMAX | Y | 4.9 | 4 | 1.218269 |
| Story8 | EQYMAX | Y | 3.7 | 3.2 | 1.158329 |
| Story7 | EQYMAX | Y | 2.7 | 2.5 | 1.094132 |
| Story6 | EQYMAX | Y | 1.8 | 1.8 | 1.014529 |
| Story5 | EQYMAX | Y | 1.3 | 1.3 | 1.043281 |
| Story4 | EQYMAX | Y | 0.9 | 0.8 | 1.050657 |
| Story3 | EQYMAX | Y | 0.5 | 0.5 | 1.089039 |
| Story2 | EQYMAX | Y | 0.2 | 0.2 | 1.072198 |
| GROUND | EQYMAX | Y | 0 | 0 |  |
| PARKING | EQYMAX | Y | 0 | 0 |  |
| UPPER ROOF | WCX | X | 3.6 | 3.6 | 1.004988 |
| PENTHOUSE | WCX | X | 3.3 | 3.2 | 1.034116 |
| Story14 | WCX | X | 3 | 2.9 | 1.02753 |
| Story13 | WCX | X | 2.7 | 2.7 | 1.018811 |
| Story12 | WCX | X | 2.5 | 2.4 | 1.005909 |
| Story11 | WCX | X | 2.2 | 2.2 | 1.004278 |
| Story10 | WCX | X | 1.9 | 1.9 | 1.013427 |
| Story9 | WCX | X | 1.6 | 1.6 | 1.014187 |
| Story8 | WCX | X | 1.3 | 1.3 | 1.014304 |
| Story7 | WCX | X | 1 | 1 | 1.014191 |
| Story6 | WCX | X | 0.7 | 0.7 | 1.013617 |
| Story5 | WCX | X | 0.5 | 0.5 | 1.011353 |
| Story4 | WCX | X | 0.3 | 0.3 | 1.009783 |
| Story3 | WCX | X | 0.1 | 0.1 | 1.007862 |
| Story2 | WCX | X | 0.02741 | 0.02638 | 1.039378 |
| GROUND | WCX | Y | 0 | 0 |  |
| PARKING | WCX | Y | 0 | 0 |  |
| UPPER ROOF | WCY | Y | 4 | 3.8 | 1.05724 |
| PENTHOUSE | WCY | Y | 4.1 | 3.4 | 1.198617 |
| Story14 | WCY | Y | 3.7 | 3.1 | 1.198533 |
| Story13 | WCY | Y | 3.3 | 2.7 | 1.229425 |
| Story12 | WCY | Y | 2.9 | 2.2 | 1.29624 |
| Story11 | WCY | Y | 2.6 | 2 | 1.325462 |
| Story10 | WCY | Y | 2.3 | 1.7 | 1.383538 |
| Story9 | WCY | Y | 1.9 | 1.2 | 1.530072 |
| Story8 | WCY | Y | 1.5 | 1 | 1.458506 |
| Story7 | WCY | Y | 1.1 | 0.8 | 1.392012 |
| Story6 | WCY | Y | 0.8 | 0.6 | 1.339198 |
| Story5 | WCY | Y | 0.6 | 0.4 | 1.377568 |
| Story4 | WCY | Y | 0.4 | 0.3 | 1.37654 |
| Story3 | WCY | Y | 0.2 | 0.2 | 1.397798 |
| Story2 | WCY | Y | 0.1 | 0.1 | 1.316675 |
| GROUND | WCY | Y | 0 | 0 |  |
| PARKING | WCY | Y | 0 | 0 |  |
| UPPER ROOF | WCXB1 | X | 2.7 | 2.6 | 1.027594 |
| PENTHOUSE | WCXB1 | X | 2.8 | 2.4 | 1.139633 |
| Story14 | WCXB1 | X | 2.5 | 2.2 | 1.128359 |
| Story13 | WCXB1 | X | 2.2 | 2 | 1.115826 |
| Story12 | WCXB1 | X | 2 | 1.8 | 1.106112 |
| Story11 | WCXB1 | X | 1.8 | 1.6 | 1.093417 |
| Story10 | WCXB1 | X | 1.5 | 1.4 | 1.080855 |
| Story9 | WCXB1 | X | 1.3 | 1.2 | 1.073664 |
| Story8 | WCXB1 | X | 1 | 0.9 | 1.070374 |
| Story7 | WCXB1 | X | 0.8 | 0.7 | 1.066908 |
| Story6 | WCXB1 | X | 0.6 | 0.5 | 1.061774 |
| Story5 | WCXB1 | X | 0.4 | 0.4 | 1.060024 |
| Story4 | WCXB1 | X | 0.2 | 0.2 | 1.064001 |
| Story3 | WCXB1 | X | 0.1 | 0.1 | 1.084292 |
| Story2 | WCXB1 | X | 0.02098 | 0.01973 | 1.063534 |
| GROUND | WCXB1 | Y | 0 | 0 |  |
| PARKING | WCXB1 | Y | 0 | 0 |  |
| UPPER ROOF | DELDL | Y | 0.4 | 0.2 | 1.666465 |
| PENTHOUSE | DELDL | Y | 0.7 | 0.3 | 2.486333 |
| Story14 | DELDL | Y | 0.6 | 0.3 | 2.427065 |
| Story13 | DELDL | Y | 0.5 | 0.2 | 2.74385 |
| Story12 | DELDL | Y | 0.4 | 0.1 | 3.67062 |
| Story11 | DELDL | Y | 0.4 | 0.1 | 3.134142 |
| Story10 | DELDL | Y | 0.4 | 0.1 | 3.262924 |
| Story9 | DELDL | X | 0.1 | 0.03316 | 4.242156 |
| Story8 | DELDL | X | 0.1 | 0.01849 | 5.692748 |
| Story7 | DELDL | Y | 0.2 | 0.01704 | 12.159531 |
| Story6 | DELDL | Y | 0.2 | 0.01744 | 10.434466 |
| Story5 | DELDL | X | 0.04588 | 0.007243 | 6.334387 |
| Story4 | DELDL | X | 0.03057 | 0.003152 | 9.699866 |
| Story3 | DELDL | X | 0.01902 | 0.004242 | 4.483613 |
| Story2 | DELDL | Y | 0.01264 | 0.006292 | 2.008305 |
| GROUND | DELDL | Y | 0 | 0 |  |
| PARKING | DELDL | Y | 0 | 0 |  |
| UPPER ROOF | WCXB2 | X | 2.8 | 2.7 | 1.036368 |
| PENTHOUSE | WCXB2 | X | 2.9 | 2.4 | 1.208523 |
| Story14 | WCXB2 | X | 2.6 | 2.2 | 1.183467 |
| Story13 | WCXB2 | X | 2.3 | 2 | 1.15292 |
| Story12 | WCXB2 | X | 2.1 | 1.8 | 1.117107 |
| Story11 | WCXB2 | X | 1.8 | 1.6 | 1.083952 |
| Story10 | WCXB2 | X | 1.5 | 1.4 | 1.053112 |
| Story9 | WCXB2 | X | 1.3 | 1.2 | 1.044564 |
| Story8 | WCXB2 | X | 1 | 1 | 1.041199 |
| Story7 | WCXB2 | X | 0.8 | 0.7 | 1.038094 |
| Story6 | WCXB2 | X | 0.6 | 0.5 | 1.034233 |
| Story5 | WCXB2 | X | 0.4 | 0.4 | 1.037122 |
| Story4 | WCXB2 | X | 0.2 | 0.2 | 1.04437 |
| Story3 | WCXB2 | X | 0.1 | 0.1 | 1.068864 |
| Story2 | WCXB2 | X | 0.02265 | 0.01983 | 1.14175 |
| GROUND | WCXB2 | Y | 0 | 0 |  |
| PARKING | WCXB2 | Y | 0 | 0 |  |
| UPPER ROOF | WCYB2 | Y | 3.7 | 3.2 | 1.169773 |
| PENTHOUSE | WCYB2 | Y | 4.4 | 2.9 | 1.511309 |
| Story14 | WCYB2 | Y | 3.9 | 2.6 | 1.490801 |
| Story13 | WCYB2 | Y | 3.5 | 2.2 | 1.548961 |
| Story12 | WCYB2 | Y | 3 | 1.8 | 1.700323 |
| Story11 | WCYB2 | Y | 2.8 | 1.7 | 1.676042 |
| Story10 | WCYB2 | Y | 2.4 | 1.4 | 1.724372 |
| Story9 | WCYB2 | Y | 2 | 0.9 | 2.160575 |
| Story8 | WCYB2 | Y | 1.5 | 0.7 | 2.074766 |
| Story7 | WCYB2 | Y | 1.2 | 0.6 | 1.981393 |
| Story6 | WCYB2 | Y | 0.9 | 0.5 | 1.959031 |
| Story5 | WCYB2 | Y | 0.7 | 0.3 | 2.06178 |
| Story4 | WCYB2 | Y | 0.4 | 0.2 | 2.051174 |
| Story3 | WCYB2 | Y | 0.3 | 0.1 | 2.045941 |
| Story2 | WCYB2 | Y | 0.1 | 0.1 | 1.882569 |
| GROUND | WCYB2 | Y | 0 | 0 |  |
| PARKING | WCYB2 | Y | 0 | 0 |  |
| UPPER ROOF | WCYB1 | Y | 2.7 | 2.5 | 1.08368 |
| PENTHOUSE | WCYB1 | Y | 2.7 | 2.2 | 1.22113 |
| Story14 | WCYB1 | Y | 2.3 | 2 | 1.196132 |
| Story13 | WCYB1 | Y | 2.1 | 1.8 | 1.175965 |
| Story12 | WCYB1 | Y | 1.8 | 1.6 | 1.15712 |
| Story11 | WCYB1 | Y | 1.5 | 1.3 | 1.111911 |
| Story10 | WCYB1 | Y | 1.2 | 1.1 | 1.048137 |
| Story9 | WCYB1 | Y | 1 | 0.9 | 1.077133 |
| Story8 | WCYB1 | Y | 0.9 | 0.8 | 1.130322 |
| Story7 | WCYB1 | Y | 0.7 | 0.6 | 1.200755 |
| Story6 | WCYB1 | Y | 0.6 | 0.4 | 1.311442 |
| Story5 | WCYB1 | Y | 0.4 | 0.3 | 1.300262 |
| Story4 | WCYB1 | Y | 0.3 | 0.2 | 1.298356 |
| Story3 | WCYB1 | Y | 0.2 | 0.1 | 1.265337 |
| Story2 | WCYB1 | Y | 0.1 | 0.04812 | 1.273559 |
| GROUND | WCYB1 | Y | 0 | 0 |  |
| PARKING | WCYB1 | Y | 0 | 0 |  |
| UPPER ROOF | WCC | Y | 3 | 2.8 | 1.047476 |
| PENTHOUSE | WCC | Y | 3 | 2.6 | 1.161664 |
| Story14 | WCC | Y | 2.7 | 2.3 | 1.168018 |
| Story13 | WCC | X | 2.3 | 2 | 1.15677 |
| Story12 | WCC | X | 2.1 | 1.8 | 1.167239 |
| Story11 | WCC | X | 1.9 | 1.6 | 1.175485 |
| Story10 | WCC | X | 1.7 | 1.5 | 1.183269 |
| Story9 | WCC | X | 1.4 | 1.2 | 1.169015 |
| Story8 | WCC | X | 1.1 | 1 | 1.150072 |
| Story7 | WCC | X | 0.8 | 0.7 | 1.12836 |
| Story6 | WCC | X | 0.6 | 0.5 | 1.10165 |
| Story5 | WCC | X | 0.4 | 0.4 | 1.109903 |
| Story4 | WCC | Y | 0.3 | 0.2 | 1.405763 |
| Story3 | WCC | Y | 0.2 | 0.1 | 1.410867 |
| Story2 | WCC | Y | 0.1 | 0.04952 | 1.268145 |
| GROUND | WCC | Y | 0 | 0 |  |
| PARKING | WCC | Y | 0 | 0 |  |
| UPPER ROOF | WCD1 | Y | 3 | 2.4 | 1.213614 |
| PENTHOUSE | WCD1 | Y | 3.7 | 2.3 | 1.619572 |
| Story14 | WCD1 | Y | 3.3 | 2.1 | 1.5902 |
| Story13 | WCD1 | Y | 2.9 | 1.7 | 1.66043 |
| Story12 | WCD1 | X | 2.1 | 1.4 | 1.541005 |
| Story11 | WCD1 | Y | 2.3 | 1.3 | 1.805926 |
| Story10 | WCD1 | Y | 2 | 1.1 | 1.852348 |
| Story9 | WCD1 | X | 1.3 | 0.9 | 1.408996 |
| Story8 | WCD1 | X | 1 | 0.7 | 1.382821 |
| Story7 | WCD1 | X | 0.8 | 0.6 | 1.353932 |
| Story6 | WCD1 | X | 0.5 | 0.4 | 1.31624 |
| Story5 | WCD1 | X | 0.4 | 0.3 | 1.333847 |
| Story4 | WCD1 | Y | 0.4 | 0.2 | 2.249807 |
| Story3 | WCD1 | Y | 0.2 | 0.1 | 2.207214 |
| Story2 | WCD1 | Y | 0.1 | 0.03813 | 1.943629 |
| GROUND | WCD1 | Y | 0 | 0 |  |
| PARKING | WCD1 | Y | 0 | 0 |  |
| UPPER ROOF | WCD2 | X | 2.2 | 2 | 1.072666 |
| PENTHOUSE | WCD2 | X | 2.5 | 1.8 | 1.387406 |
| Story14 | WCD2 | X | 2.2 | 1.6 | 1.336313 |
| Story13 | WCD2 | X | 1.9 | 1.5 | 1.272859 |
| Story12 | WCD2 | X | 1.7 | 1.4 | 1.203403 |
| Story11 | WCD2 | X | 1.4 | 1.2 | 1.135528 |
| Story10 | WCD2 | X | 1.2 | 1.1 | 1.071148 |
| Story9 | WCD2 | X | 1 | 0.9 | 1.066837 |
| Story8 | WCD2 | X | 0.8 | 0.7 | 1.080026 |
| Story7 | WCD2 | X | 0.6 | 0.6 | 1.09586 |
| Story6 | WCD2 | X | 0.5 | 0.4 | 1.11286 |
| Story5 | WCD2 | X | 0.3 | 0.3 | 1.116118 |
| Story4 | WCD2 | Y | 0.2 | 0.2 | 1.439047 |
| Story3 | WCD2 | Y | 0.1 | 0.1 | 1.4084 |
| Story2 | WCD2 | Y | 0.1 | 0.03615 | 1.444318 |
| GROUND | WCD2 | Y | 0 | 0 |  |
| PARKING | WCD2 | Y | 0 | 0 |  |
| UPPER ROOF | PF1 | Y | 3.2 | 1.9 | 1.711012 |
| PENTHOUSE | PF1 | Y | 6.3 | 2.4 | 2.616986 |
| Story14 | PF1 | Y | 5.5 | 2.2 | 2.536712 |
| Story13 | PF1 | Y | 4.7 | 1.6 | 2.868526 |
| Story12 | PF1 | Y | 3.9 | 1 | 3.840292 |
| Story11 | PF1 | Y | 3.7 | 1.2 | 3.167363 |
| Story10 | PF1 | Y | 3.2 | 1 | 3.218134 |
| Story9 | PF1 | X | 1.2 | 0.3 | 4.44183 |
| Story8 | PF1 | X | 0.9 | 0.2 | 5.550038 |
| Story7 | PF1 | Y | 1.9 | 0.2 | 10.395336 |
| Story6 | PF1 | Y | 1.7 | 0.2 | 9.081849 |
| Story5 | PF1 | Y | 1.2 | 0.1 | 19.779574 |
| Story4 | PF1 | Y | 0.9 | 0.02607 | 32.961904 |
| Story3 | PF1 | X | 0.2 | 0.1 | 3.421779 |
| Story2 | PF1 | Y | 0.1 | 0.1 | 1.957056 |
| GROUND | PF1 | Y | 0 | 0 |  |
| PARKING | PF1 | Y | 0 | 0 |  |
| UPPER ROOF | PF2 | Y | 3.5 | 2 | 1.702762 |
| PENTHOUSE | PF2 | Y | 6.9 | 2.7 | 2.592374 |
| Story14 | PF2 | Y | 6 | 2.4 | 2.516201 |
| Story13 | PF2 | Y | 5.1 | 1.8 | 2.845188 |
| Story12 | PF2 | Y | 4.3 | 1.1 | 3.808411 |
| Story11 | PF2 | Y | 4 | 1.3 | 3.161279 |
| Story10 | PF2 | Y | 3.5 | 1.1 | 3.226215 |
| Story9 | PF2 | X | 1.3 | 0.3 | 4.403448 |
| Story8 | PF2 | X | 1 | 0.2 | 5.575397 |
| Story7 | PF2 | Y | 2 | 0.2 | 10.672689 |
| Story6 | PF2 | Y | 1.8 | 0.2 | 9.296387 |
| Story5 | PF2 | Y | 1.3 | 0.1 | 20.729478 |
| Story4 | PF2 | Y | 0.9 | 0.02655 | 35.112796 |
| Story3 | PF2 | X | 0.2 | 0.1 | 3.561339 |
| Story2 | PF2 | Y | 0.1 | 0.1 | 1.965649 |
| GROUND | PF2 | Y | 0 | 0 |  |
| PARKING | PF2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WX | X | 5.8 | 5.2 | 1.099368 |
| PENTHOUSE | PF4WX | X | 7.9 | 5.1 | 1.558361 |
| Story14 | PF4WX | X | 7 | 4.6 | 1.532789 |
| Story13 | PF4WX | X | 6.1 | 4 | 1.502713 |
| Story12 | PF4WX | X | 5.1 | 3.5 | 1.462878 |
| Story11 | PF4WX | X | 4.2 | 2.9 | 1.451273 |
| Story10 | PF4WX | X | 3.4 | 2.4 | 1.437941 |
| Story9 | PF4WX | X | 2.9 | 2 | 1.436541 |
| Story8 | PF4WX | X | 2.3 | 1.6 | 1.435335 |
| Story7 | PF4WX | X | 1.9 | 1.3 | 1.428914 |
| Story6 | PF4WX | X | 1.5 | 1 | 1.409691 |
| Story5 | PF4WX | X | 1 | 0.7 | 1.450953 |
| Story4 | PF4WX | X | 0.6 | 0.4 | 1.574686 |
| Story3 | PF4WX | X | 0.2 | 0.1 | 2.250645 |
| Story2 | PF4WX | Y | 0.1 | 0.1 | 1.890284 |
| GROUND | PF4WX | Y | 0 | 0 |  |
| PARKING | PF4WX | Y | 0 | 0 |  |
| UPPER ROOF | PF4WY | Y | 8.5 | 7 | 1.212249 |
| PENTHOUSE | PF4WY | Y | 11.4 | 6.9 | 1.639589 |
| Story14 | PF4WY | Y | 10.1 | 6.2 | 1.615519 |
| Story13 | PF4WY | Y | 8.8 | 5.2 | 1.692301 |
| Story12 | PF4WY | Y | 7.5 | 4 | 1.867382 |
| Story11 | PF4WY | Y | 7 | 3.8 | 1.8247 |
| Story10 | PF4WY | Y | 6.1 | 3.2 | 1.887488 |
| Story9 | PF4WY | Y | 5 | 1.9 | 2.631857 |
| Story8 | PF4WY | Y | 3.9 | 1.5 | 2.597698 |
| Story7 | PF4WY | Y | 3.2 | 1.3 | 2.520021 |
| Story6 | PF4WY | Y | 2.6 | 1 | 2.587355 |
| Story5 | PF4WY | Y | 1.9 | 0.7 | 2.945555 |
| Story4 | PF4WY | Y | 1.3 | 0.4 | 3.098849 |
| Story3 | PF4WY | Y | 0.7 | 0.2 | 3.32529 |
| Story2 | PF4WY | Y | 0.1 | 0.03697 | 3.203766 |
| GROUND | PF4WY | Y | 0 | 0 |  |
| PARKING | PF4WY | Y | 0 | 0 |  |
| UPPER ROOF | PF4WXB1 | X | 4.6 | 3.9 | 1.165614 |
| PENTHOUSE | PF4WXB1 | X | 7.4 | 3.9 | 1.877632 |
| Story14 | PF4WXB1 | X | 6.5 | 3.5 | 1.833562 |
| Story13 | PF4WXB1 | X | 5.5 | 3.1 | 1.784276 |
| Story12 | PF4WXB1 | X | 4.6 | 2.6 | 1.725003 |
| Story11 | PF4WXB1 | X | 3.6 | 2.1 | 1.709053 |
| Story10 | PF4WXB1 | X | 2.9 | 1.7 | 1.688654 |
| Story9 | PF4WXB1 | X | 2.4 | 1.4 | 1.675147 |
| Story8 | PF4WXB1 | X | 2 | 1.2 | 1.660042 |
| Story7 | PF4WXB1 | X | 1.6 | 1 | 1.632991 |
| Story6 | PF4WXB1 | X | 1.2 | 0.8 | 1.583568 |
| Story5 | PF4WXB1 | X | 0.9 | 0.5 | 1.634584 |
| Story4 | PF4WXB1 | X | 0.5 | 0.3 | 1.813617 |
| Story3 | PF4WXB1 | X | 0.2 | 0.1 | 3.137527 |
| Story2 | PF4WXB1 | Y | 0.1 | 0.1 | 2.068926 |
| GROUND | PF4WXB1 | Y | 0 | 0 |  |
| PARKING | PF4WXB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WXB2 | X | 4.5 | 4.1 | 1.100164 |
| PENTHOUSE | PF4WXB2 | X | 6.2 | 3.9 | 1.579574 |
| Story14 | PF4WXB2 | X | 5.5 | 3.5 | 1.559965 |
| Story13 | PF4WXB2 | X | 4.8 | 3.1 | 1.53759 |
| Story12 | PF4WXB2 | X | 4 | 2.7 | 1.504313 |
| Story11 | PF4WXB2 | X | 3.3 | 2.2 | 1.512926 |
| Story10 | PF4WXB2 | X | 2.6 | 1.7 | 1.521709 |
| Story9 | PF4WXB2 | X | 2.2 | 1.4 | 1.528388 |
| Story8 | PF4WXB2 | X | 1.8 | 1.2 | 1.527689 |
| Story7 | PF4WXB2 | X | 1.5 | 1 | 1.517251 |
| Story6 | PF4WXB2 | X | 1.2 | 0.8 | 1.488579 |
| Story5 | PF4WXB2 | X | 0.8 | 0.5 | 1.541573 |
| Story4 | PF4WXB2 | X | 0.5 | 0.3 | 1.706163 |
| Story3 | PF4WXB2 | X | 0.2 | 0.1 | 2.872558 |
| Story2 | PF4WXB2 | Y | 0.1 | 0.1 | 1.747704 |
| GROUND | PF4WXB2 | Y | 0 | 0 |  |
| PARKING | PF4WXB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WYB1 | Y | 6.1 | 5.2 | 1.169168 |
| PENTHOUSE | PF4WYB1 | Y | 8 | 5.2 | 1.538619 |
| Story14 | PF4WYB1 | Y | 7.1 | 4.7 | 1.522921 |
| Story13 | PF4WYB1 | Y | 6.2 | 3.9 | 1.586867 |
| Story12 | PF4WYB1 | Y | 5.4 | 3.1 | 1.713752 |
| Story11 | PF4WYB1 | Y | 4.9 | 2.9 | 1.703604 |
| Story10 | PF4WYB1 | Y | 4.4 | 2.5 | 1.776726 |
| Story9 | PF4WYB1 | Y | 3.6 | 1.5 | 2.396677 |
| Story8 | PF4WYB1 | Y | 2.8 | 1.2 | 2.380251 |
| Story7 | PF4WYB1 | Y | 2.3 | 1 | 2.341726 |
| Story6 | PF4WYB1 | Y | 1.9 | 0.8 | 2.434315 |
| Story5 | PF4WYB1 | Y | 1.4 | 0.5 | 2.79878 |
| Story4 | PF4WYB1 | Y | 1 | 0.3 | 3.005669 |
| Story3 | PF4WYB1 | Y | 0.5 | 0.2 | 3.33567 |
| Story2 | PF4WYB1 | X | 0.03936 | 0.02778 | 1.41694 |
| GROUND | PF4WYB1 | Y | 0 | 0 |  |
| PARKING | PF4WYB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WYB2 | Y | 8 | 6.1 | 1.316709 |
| PENTHOUSE | PF4WYB2 | Y | 11.9 | 6.3 | 1.891879 |
| Story14 | PF4WYB2 | Y | 10.4 | 5.6 | 1.85098 |
| Story13 | PF4WYB2 | Y | 9 | 4.6 | 1.970337 |
| Story12 | PF4WYB2 | Y | 7.7 | 3.4 | 2.272564 |
| Story11 | PF4WYB2 | Y | 7.2 | 3.4 | 2.136433 |
| Story10 | PF4WYB2 | Y | 6.3 | 2.9 | 2.189256 |
| Story9 | PF4WYB2 | Y | 5.1 | 1.5 | 3.531127 |
| Story8 | PF4WYB2 | Y | 4 | 1.1 | 3.516493 |
| Story7 | PF4WYB2 | Y | 3.3 | 1 | 3.327365 |
| Story6 | PF4WYB2 | Y | 2.7 | 0.8 | 3.384427 |
| Story5 | PF4WYB2 | Y | 2 | 0.5 | 4.027295 |
| Story4 | PF4WYB2 | Y | 1.4 | 0.3 | 4.25802 |
| Story3 | PF4WYB2 | Y | 0.7 | 0.2 | 4.762243 |
| Story2 | PF4WYB2 | X | 0.1 | 0.02805 | 2.389617 |
| GROUND | PF4WYB2 | Y | 0 | 0 |  |
| PARKING | PF4WYB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WCC | Y | 7 | 5.6 | 1.243016 |
| PENTHOUSE | PF4WCC | Y | 9.8 | 5.7 | 1.710044 |
| Story14 | PF4WCC | Y | 8.7 | 5.2 | 1.684284 |
| Story13 | PF4WCC | Y | 7.6 | 4.3 | 1.776949 |
| Story12 | PF4WCC | Y | 6.5 | 3.3 | 1.995646 |
| Story11 | PF4WCC | Y | 6.1 | 3.1 | 1.940529 |
| Story10 | PF4WCC | Y | 5.4 | 2.7 | 2.018255 |
| Story9 | PF4WCC | Y | 4.4 | 1.5 | 3.011977 |
| Story8 | PF4WCC | X | 2.1 | 1.2 | 1.739434 |
| Story7 | PF4WCC | Y | 2.9 | 1 | 2.876168 |
| Story6 | PF4WCC | X | 1.3 | 0.8 | 1.612706 |
| Story5 | PF4WCC | X | 0.9 | 0.5 | 1.673452 |
| Story4 | PF4WCC | Y | 1.2 | 0.3 | 3.647329 |
| Story3 | PF4WCC | Y | 0.6 | 0.2 | 4.048578 |
| Story2 | PF4WCC | Y | 0.1 | 0.01455 | 5.880662 |
| GROUND | PF4WCC | Y | 0 | 0 |  |
| PARKING | PF4WCC | Y | 0 | 0 |  |
| UPPER ROOF | PF4WCD1 | Y | 7 | 5.1 | 1.37581 |
| PENTHOUSE | PF4WCD1 | Y | 10.9 | 5.4 | 2.019976 |
| Story14 | PF4WCD1 | Y | 9.5 | 4.8 | 1.969908 |
| Story13 | PF4WCD1 | Y | 8.2 | 3.9 | 2.114984 |
| Story12 | PF4WCD1 | Y | 7 | 2.8 | 2.499857 |
| Story11 | PF4WCD1 | Y | 6.5 | 2.8 | 2.302927 |
| Story10 | PF4WCD1 | Y | 5.7 | 2.4 | 2.35371 |
| Story9 | PF4WCD1 | Y | 4.7 | 1.1 | 4.162251 |
| Story8 | PF4WCD1 | Y | 3.7 | 0.9 | 4.166265 |
| Story7 | PF4WCD1 | Y | 3.1 | 0.8 | 3.860736 |
| Story6 | PF4WCD1 | Y | 2.5 | 0.7 | 3.885426 |
| Story5 | PF4WCD1 | X | 0.9 | 0.4 | 2.047802 |
| Story4 | PF4WCD1 | Y | 1.3 | 0.3 | 5.090167 |
| Story3 | PF4WCD1 | Y | 0.7 | 0.1 | 5.986972 |
| Story2 | PF4WCD1 | X | 0.04212 | 0.007102 | 5.930493 |
| GROUND | PF4WCD1 | Y | 0 | 0 |  |
| PARKING | PF4WCD1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4WCD2 | Y | 4.9 | 4.2 | 1.174364 |
| PENTHOUSE | PF4WCD2 | Y | 6.7 | 4.3 | 1.549937 |
| Story14 | PF4WCD2 | Y | 5.9 | 3.9 | 1.540244 |
| Story13 | PF4WCD2 | Y | 5.2 | 3.2 | 1.61687 |
| Story12 | PF4WCD2 | Y | 4.5 | 2.5 | 1.769673 |
| Story11 | PF4WCD2 | Y | 4.2 | 2.4 | 1.774922 |
| Story10 | PF4WCD2 | Y | 3.8 | 2 | 1.878749 |
| Story9 | PF4WCD2 | Y | 3.1 | 1.2 | 2.693134 |
| Story8 | PF4WCD2 | Y | 2.5 | 0.9 | 2.699289 |
| Story7 | PF4WCD2 | Y | 2.1 | 0.8 | 2.650263 |
| Story6 | PF4WCD2 | Y | 1.7 | 0.6 | 2.768195 |
| Story5 | PF4WCD2 | X | 0.7 | 0.4 | 1.641676 |
| Story4 | PF4WCD2 | Y | 0.9 | 0.3 | 3.559975 |
| Story3 | PF4WCD2 | Y | 0.5 | 0.1 | 4.181102 |
| Story2 | PF4WCD2 | X | 0.01698 | 0.006786 | 2.502917 |
| GROUND | PF4WCD2 | Y | 0 | 0 |  |
| PARKING | PF4WCD2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCD2 | Y | 4.1 | 3.7 | 1.107384 |
| PENTHOUSE | PF4BWCD2 | Y | 5.1 | 3.7 | 1.375192 |
| Story14 | PF4BWCD2 | Y | 4.6 | 3.3 | 1.376503 |
| Story13 | PF4BWCD2 | Y | 4 | 2.8 | 1.434607 |
| Story12 | PF4BWCD2 | Y | 3.5 | 2.3 | 1.540338 |
| Story11 | PF4BWCD2 | Y | 3.3 | 2.1 | 1.580985 |
| Story10 | PF4BWCD2 | Y | 3 | 1.8 | 1.68838 |
| Story9 | PF4BWCD2 | Y | 2.5 | 1.1 | 2.2176 |
| Story8 | PF4BWCD2 | X | 1.3 | 0.9 | 1.451966 |
| Story7 | PF4BWCD2 | X | 1.1 | 0.7 | 1.426401 |
| Story6 | PF4BWCD2 | X | 0.8 | 0.6 | 1.387426 |
| Story5 | PF4BWCD2 | X | 0.6 | 0.4 | 1.442629 |
| Story4 | PF4BWCD2 | Y | 0.7 | 0.2 | 2.7777 |
| Story3 | PF4BWCD2 | Y | 0.4 | 0.1 | 3.039991 |
| Story2 | PF4BWCD2 | Y | 0.02643 | 0.01117 | 2.365984 |
| GROUND | PF4BWCD2 | Y | 0 | 0 |  |
| PARKING | PF4BWCD2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCX | X | 5.5 | 5.2 | 1.071007 |
| PENTHOUSE | PF4BWCX | X | 6.9 | 4.9 | 1.40554 |
| Story14 | PF4BWCX | X | 6.2 | 4.4 | 1.386846 |
| Story13 | PF4BWCX | X | 5.4 | 4 | 1.364186 |
| Story12 | PF4BWCX | X | 4.6 | 3.5 | 1.333863 |
| Story11 | PF4BWCX | X | 3.9 | 3 | 1.321637 |
| Story10 | PF4BWCX | X | 3.2 | 2.5 | 1.308557 |
| Story9 | PF4BWCX | X | 2.7 | 2.1 | 1.30822 |
| Story8 | PF4BWCX | X | 2.2 | 1.7 | 1.309814 |
| Story7 | PF4BWCX | X | 1.7 | 1.3 | 1.30938 |
| Story6 | PF4BWCX | X | 1.3 | 1 | 1.301469 |
| Story5 | PF4BWCX | X | 0.9 | 0.7 | 1.332305 |
| Story4 | PF4BWCX | X | 0.6 | 0.4 | 1.417943 |
| Story3 | PF4BWCX | X | 0.2 | 0.1 | 1.790565 |
| Story2 | PF4BWCX | Y | 0.1 | 0.03875 | 1.863858 |
| GROUND | PF4BWCX | Y | 0 | 0 |  |
| PARKING | PF4BWCX | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCY | Y | 7.7 | 6.5 | 1.176782 |
| PENTHOUSE | PF4BWCY | Y | 9.8 | 6.3 | 1.546391 |
| Story14 | PF4BWCY | Y | 8.7 | 5.7 | 1.527462 |
| Story13 | PF4BWCY | Y | 7.6 | 4.8 | 1.59131 |
| Story12 | PF4BWCY | Y | 6.6 | 3.8 | 1.735046 |
| Story11 | PF4BWCY | Y | 6 | 3.5 | 1.714433 |
| Story10 | PF4BWCY | Y | 5.3 | 3 | 1.776615 |
| Story9 | PF4BWCY | Y | 4.4 | 1.9 | 2.344783 |
| Story8 | PF4BWCY | Y | 3.4 | 1.5 | 2.298096 |
| Story7 | PF4BWCY | Y | 2.8 | 1.2 | 2.233706 |
| Story6 | PF4BWCY | Y | 2.2 | 1 | 2.280352 |
| Story5 | PF4BWCY | Y | 1.6 | 0.6 | 2.534111 |
| Story4 | PF4BWCY | Y | 1.1 | 0.4 | 2.63583 |
| Story3 | PF4BWCY | Y | 0.6 | 0.2 | 2.74705 |
| Story2 | PF4BWCY | Y | 0.1 | 0.1 | 2.277005 |
| GROUND | PF4BWCY | Y | 0 | 0 |  |
| PARKING | PF4BWCY | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCXB1 | X | 4.3 | 3.9 | 1.128496 |
| PENTHOUSE | PF4BWCXB1 | X | 6.4 | 3.8 | 1.692112 |
| Story14 | PF4BWCXB1 | X | 5.6 | 3.4 | 1.654055 |
| Story13 | PF4BWCXB1 | X | 4.9 | 3 | 1.609735 |
| Story12 | PF4BWCXB1 | X | 4.1 | 2.6 | 1.555657 |
| Story11 | PF4BWCXB1 | X | 3.3 | 2.2 | 1.528309 |
| Story10 | PF4BWCXB1 | X | 2.7 | 1.8 | 1.497621 |
| Story9 | PF4BWCXB1 | X | 2.2 | 1.5 | 1.486934 |
| Story8 | PF4BWCXB1 | X | 1.8 | 1.2 | 1.480287 |
| Story7 | PF4BWCXB1 | X | 1.4 | 1 | 1.46819 |
| Story6 | PF4BWCXB1 | X | 1.1 | 0.8 | 1.442148 |
| Story5 | PF4BWCXB1 | X | 0.8 | 0.5 | 1.481366 |
| Story4 | PF4BWCXB1 | X | 0.5 | 0.3 | 1.606249 |
| Story3 | PF4BWCXB1 | X | 0.2 | 0.1 | 2.286767 |
| Story2 | PF4BWCXB1 | Y | 0.1 | 0.03853 | 2.113462 |
| GROUND | PF4BWCXB1 | Y | 0 | 0 |  |
| PARKING | PF4BWCXB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCXB2 | X | 4.2 | 4 | 1.063392 |
| PENTHOUSE | PF4BWCXB2 | X | 5.2 | 3.8 | 1.381537 |
| Story14 | PF4BWCXB2 | X | 4.7 | 3.4 | 1.370732 |
| Story13 | PF4BWCXB2 | X | 4.1 | 3 | 1.357241 |
| Story12 | PF4BWCXB2 | X | 3.5 | 2.6 | 1.334246 |
| Story11 | PF4BWCXB2 | X | 2.9 | 2.2 | 1.337776 |
| Story10 | PF4BWCXB2 | X | 2.4 | 1.8 | 1.341333 |
| Story9 | PF4BWCXB2 | X | 2 | 1.5 | 1.349359 |
| Story8 | PF4BWCXB2 | X | 1.7 | 1.2 | 1.354424 |
| Story7 | PF4BWCXB2 | X | 1.3 | 1 | 1.355629 |
| Story6 | PF4BWCXB2 | X | 1.1 | 0.8 | 1.346855 |
| Story5 | PF4BWCXB2 | X | 0.7 | 0.5 | 1.387223 |
| Story4 | PF4BWCXB2 | X | 0.4 | 0.3 | 1.498538 |
| Story3 | PF4BWCXB2 | X | 0.2 | 0.1 | 2.066626 |
| Story2 | PF4BWCXB2 | Y | 0.1 | 0.03932 | 1.666048 |
| GROUND | PF4BWCXB2 | Y | 0 | 0 |  |
| PARKING | PF4BWCXB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCYB1 | Y | 5.3 | 4.7 | 1.116175 |
| PENTHOUSE | PF4BWCYB1 | Y | 6.5 | 4.6 | 1.397483 |
| Story14 | PF4BWCYB1 | Y | 5.8 | 4.1 | 1.389646 |
| Story13 | PF4BWCYB1 | Y | 5.1 | 3.5 | 1.437348 |
| Story12 | PF4BWCYB1 | Y | 4.4 | 2.9 | 1.525435 |
| Story11 | PF4BWCYB1 | Y | 4 | 2.6 | 1.540633 |
| Story10 | PF4BWCYB1 | Y | 3.5 | 2.2 | 1.613159 |
| Story9 | PF4BWCYB1 | Y | 2.9 | 1.5 | 2.020731 |
| Story8 | PF4BWCYB1 | Y | 2.3 | 1.2 | 1.990171 |
| Story7 | PF4BWCYB1 | Y | 1.9 | 1 | 1.962171 |
| Story6 | PF4BWCYB1 | Y | 1.5 | 0.7 | 2.023232 |
| Story5 | PF4BWCYB1 | Y | 1.1 | 0.5 | 2.259082 |
| Story4 | PF4BWCYB1 | Y | 0.8 | 0.3 | 2.394393 |
| Story3 | PF4BWCYB1 | Y | 0.4 | 0.2 | 2.535449 |
| Story2 | PF4BWCYB1 | Y | 0.04724 | 0.02792 | 1.691795 |
| GROUND | PF4BWCYB1 | Y | 0 | 0 |  |
| PARKING | PF4BWCYB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCYB2 | Y | 7.2 | 5.6 | 1.284271 |
| PENTHOUSE | PF4BWCYB2 | Y | 10.3 | 5.7 | 1.814543 |
| Story14 | PF4BWCYB2 | Y | 9.1 | 5.1 | 1.777804 |
| Story13 | PF4BWCYB2 | Y | 7.9 | 4.2 | 1.882142 |
| Story12 | PF4BWCYB2 | Y | 6.7 | 3.1 | 2.145682 |
| Story11 | PF4BWCYB2 | Y | 6.2 | 3.1 | 2.038888 |
| Story10 | PF4BWCYB2 | Y | 5.5 | 2.6 | 2.09104 |
| Story9 | PF4BWCYB2 | Y | 4.5 | 1.4 | 3.182711 |
| Story8 | PF4BWCYB2 | Y | 3.5 | 1.1 | 3.145535 |
| Story7 | PF4BWCYB2 | Y | 2.9 | 1 | 2.995935 |
| Story6 | PF4BWCYB2 | Y | 2.3 | 0.8 | 3.046235 |
| Story5 | PF4BWCYB2 | Y | 1.7 | 0.5 | 3.522318 |
| Story4 | PF4BWCYB2 | Y | 1.2 | 0.3 | 3.672515 |
| Story3 | PF4BWCYB2 | Y | 0.6 | 0.2 | 3.928412 |
| Story2 | PF4BWCYB2 | Y | 0.1 | 0.03082 | 4.236548 |
| GROUND | PF4BWCYB2 | Y | 0 | 0 |  |
| PARKING | PF4BWCYB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCC | Y | 6.2 | 5.2 | 1.200926 |
| PENTHOUSE | PF4BWCC | Y | 8.2 | 5.1 | 1.603069 |
| Story14 | PF4BWCC | Y | 7.3 | 4.6 | 1.583623 |
| Story13 | PF4BWCC | Y | 6.4 | 3.9 | 1.660606 |
| Story12 | PF4BWCC | Y | 5.5 | 3 | 1.839942 |
| Story11 | PF4BWCC | Y | 5.1 | 2.8 | 1.815149 |
| Story10 | PF4BWCC | Y | 4.6 | 2.4 | 1.893951 |
| Story9 | PF4BWCC | X | 2.4 | 1.5 | 1.586454 |
| Story8 | PF4BWCC | X | 1.9 | 1.2 | 1.56002 |
| Story7 | PF4BWCC | X | 1.5 | 1 | 1.524935 |
| Story6 | PF4BWCC | X | 1.2 | 0.8 | 1.474116 |
| Story5 | PF4BWCC | X | 0.8 | 0.5 | 1.523067 |
| Story4 | PF4BWCC | Y | 1 | 0.3 | 3.052442 |
| Story3 | PF4BWCC | Y | 0.5 | 0.2 | 3.23862 |
| Story2 | PF4BWCC | Y | 0.1 | 0.02989 | 2.884905 |
| GROUND | PF4BWCC | Y | 0 | 0 |  |
| PARKING | PF4BWCC | Y | 0 | 0 |  |
| UPPER ROOF | PF4BWCD1 | Y | 6.2 | 4.6 | 1.342129 |
| PENTHOUSE | PF4BWCD1 | Y | 9.3 | 4.8 | 1.944372 |
| Story14 | PF4BWCD1 | Y | 8.2 | 4.3 | 1.898185 |
| Story13 | PF4BWCD1 | Y | 7.1 | 3.5 | 2.026249 |
| Story12 | PF4BWCD1 | Y | 6 | 2.5 | 2.366183 |
| Story11 | PF4BWCD1 | Y | 5.6 | 2.5 | 2.204508 |
| Story10 | PF4BWCD1 | Y | 4.9 | 2.2 | 2.254682 |
| Story9 | PF4BWCD1 | X | 2.2 | 1.1 | 2.032643 |
| Story8 | PF4BWCD1 | X | 1.8 | 0.9 | 1.977476 |
| Story7 | PF4BWCD1 | Y | 2.6 | 0.7 | 3.468506 |
| Story6 | PF4BWCD1 | Y | 2.1 | 0.6 | 3.497823 |
| Story5 | PF4BWCD1 | X | 0.8 | 0.4 | 1.860163 |
| Story4 | PF4BWCD1 | Y | 1.1 | 0.2 | 4.349231 |
| Story3 | PF4BWCD1 | Y | 0.6 | 0.1 | 4.789912 |
| Story2 | PF4BWCD1 | Y | 0.1 | 0.01394 | 7.320593 |
| GROUND | PF4BWCD1 | Y | 0 | 0 |  |
| PARKING | PF4BWCD1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCX | X | 5.6 | 5.2 | 1.078624 |
| PENTHOUSE | PF4DWCX | X | 7.1 | 4.9 | 1.447034 |
| Story14 | PF4DWCX | X | 6.4 | 4.5 | 1.426335 |
| Story13 | PF4DWCX | X | 5.6 | 4 | 1.40159 |
| Story12 | PF4DWCX | X | 4.8 | 3.5 | 1.368619 |
| Story11 | PF4DWCX | X | 4 | 2.9 | 1.356238 |
| Story10 | PF4DWCX | X | 3.3 | 2.4 | 1.342704 |
| Story9 | PF4DWCX | X | 2.7 | 2 | 1.341812 |
| Story8 | PF4DWCX | X | 2.2 | 1.7 | 1.342428 |
| Story7 | PF4DWCX | X | 1.8 | 1.3 | 1.340337 |
| Story6 | PF4DWCX | X | 1.4 | 1 | 1.329508 |
| Story5 | PF4DWCX | X | 1 | 0.7 | 1.362632 |
| Story4 | PF4DWCX | X | 0.6 | 0.4 | 1.456865 |
| Story3 | PF4DWCX | X | 0.2 | 0.1 | 1.889254 |
| Story2 | PF4DWCX | Y | 0.1 | 0.04243 | 1.876379 |
| GROUND | PF4DWCX | Y | 0 | 0 |  |
| PARKING | PF4DWCX | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCY | Y | 7.9 | 6.6 | 1.186027 |
| PENTHOUSE | PF4DWCY | Y | 10.2 | 6.5 | 1.57052 |
| Story14 | PF4DWCY | Y | 9.1 | 5.8 | 1.550417 |
| Story13 | PF4DWCY | Y | 7.9 | 4.9 | 1.617817 |
| Story12 | PF4DWCY | Y | 6.8 | 3.9 | 1.770158 |
| Story11 | PF4DWCY | Y | 6.3 | 3.6 | 1.744884 |
| Story10 | PF4DWCY | Y | 5.5 | 3.1 | 1.808375 |
| Story9 | PF4DWCY | Y | 4.5 | 1.9 | 2.424194 |
| Story8 | PF4DWCY | Y | 3.5 | 1.5 | 2.380669 |
| Story7 | PF4DWCY | Y | 2.9 | 1.2 | 2.313201 |
| Story6 | PF4DWCY | Y | 2.3 | 1 | 2.365946 |
| Story5 | PF4DWCY | Y | 1.7 | 0.6 | 2.645955 |
| Story4 | PF4DWCY | Y | 1.2 | 0.4 | 2.759488 |
| Story3 | PF4DWCY | Y | 0.6 | 0.2 | 2.893932 |
| Story2 | PF4DWCY | Y | 0.1 | 0.04863 | 2.44985 |
| GROUND | PF4DWCY | Y | 0 | 0 |  |
| PARKING | PF4DWCY | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCXB1 | X | 4.4 | 3.8 | 1.138876 |
| PENTHOUSE | PF4DWCXB1 | X | 6.6 | 3.8 | 1.744494 |
| Story14 | PF4DWCXB1 | X | 5.8 | 3.4 | 1.704386 |
| Story13 | PF4DWCXB1 | X | 5 | 3 | 1.658344 |
| Story12 | PF4DWCXB1 | X | 4.2 | 2.6 | 1.602364 |
| Story11 | PF4DWCXB1 | X | 3.4 | 2.2 | 1.577088 |
| Story10 | PF4DWCXB1 | X | 2.7 | 1.8 | 1.547857 |
| Story9 | PF4DWCXB1 | X | 2.3 | 1.5 | 1.535863 |
| Story8 | PF4DWCXB1 | X | 1.8 | 1.2 | 1.526613 |
| Story7 | PF4DWCXB1 | X | 1.5 | 1 | 1.510542 |
| Story6 | PF4DWCXB1 | X | 1.2 | 0.8 | 1.478557 |
| Story5 | PF4DWCXB1 | X | 0.8 | 0.5 | 1.52013 |
| Story4 | PF4DWCXB1 | X | 0.5 | 0.3 | 1.656764 |
| Story3 | PF4DWCXB1 | X | 0.2 | 0.1 | 2.4527 |
| Story2 | PF4DWCXB1 | Y | 0.1 | 0.0422 | 2.104297 |
| GROUND | PF4DWCXB1 | Y | 0 | 0 |  |
| PARKING | PF4DWCXB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCXB2 | X | 4.3 | 4 | 1.073259 |
| PENTHOUSE | PF4DWCXB2 | X | 5.4 | 3.8 | 1.435594 |
| Story14 | PF4DWCXB2 | X | 4.9 | 3.4 | 1.422211 |
| Story13 | PF4DWCXB2 | X | 4.3 | 3 | 1.406174 |
| Story12 | PF4DWCXB2 | X | 3.6 | 2.6 | 1.380183 |
| Story11 | PF4DWCXB2 | X | 3 | 2.2 | 1.384449 |
| Story10 | PF4DWCXB2 | X | 2.5 | 1.8 | 1.388553 |
| Story9 | PF4DWCXB2 | X | 2.1 | 1.5 | 1.395832 |
| Story8 | PF4DWCXB2 | X | 1.7 | 1.2 | 1.399122 |
| Story7 | PF4DWCXB2 | X | 1.4 | 1 | 1.397298 |
| Story6 | PF4DWCXB2 | X | 1.1 | 0.8 | 1.383542 |
| Story5 | PF4DWCXB2 | X | 0.8 | 0.5 | 1.42659 |
| Story4 | PF4DWCXB2 | X | 0.5 | 0.3 | 1.549665 |
| Story3 | PF4DWCXB2 | X | 0.2 | 0.1 | 2.225845 |
| Story2 | PF4DWCXB2 | Y | 0.1 | 0.043 | 1.695324 |
| GROUND | PF4DWCXB2 | Y | 0 | 0 |  |
| PARKING | PF4DWCXB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CYB1 | Y | 5.5 | 4.9 | 1.130364 |
| PENTHOUSE | PF4CYB1 | Y | 6.9 | 4.8 | 1.435484 |
| Story14 | PF4CYB1 | Y | 6.1 | 4.3 | 1.425707 |
| Story13 | PF4CYB1 | Y | 5.4 | 3.6 | 1.477841 |
| Story12 | PF4CYB1 | Y | 4.6 | 2.9 | 1.576514 |
| Story11 | PF4CYB1 | Y | 4.3 | 2.7 | 1.586618 |
| Story10 | PF4CYB1 | Y | 3.8 | 2.3 | 1.6608 |
| Story9 | PF4CYB1 | Y | 3.1 | 1.5 | 2.124886 |
| Story8 | PF4CYB1 | Y | 2.4 | 1.2 | 2.097688 |
| Story7 | PF4CYB1 | Y | 2 | 1 | 2.067789 |
| Story6 | PF4CYB1 | Y | 1.6 | 0.7 | 2.138364 |
| Story5 | PF4CYB1 | Y | 1.2 | 0.5 | 2.405975 |
| Story4 | PF4CYB1 | Y | 0.8 | 0.3 | 2.557827 |
| Story3 | PF4CYB1 | Y | 0.4 | 0.2 | 2.737037 |
| Story2 | PF4CYB1 | Y | 0.04727 | 0.02425 | 1.949708 |
| GROUND | PF4CYB1 | Y | 0 | 0 |  |
| PARKING | PF4CYB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CYB2 | Y | 7.4 | 5.8 | 1.292594 |
| PENTHOUSE | PF4CYB2 | Y | 10.7 | 5.8 | 1.833774 |
| Story14 | PF4CYB2 | Y | 9.4 | 5.2 | 1.796244 |
| Story13 | PF4CYB2 | Y | 8.2 | 4.3 | 1.904732 |
| Story12 | PF4CYB2 | Y | 7 | 3.2 | 2.178936 |
| Story11 | PF4CYB2 | Y | 6.5 | 3.1 | 2.065865 |
| Story10 | PF4CYB2 | Y | 5.7 | 2.7 | 2.119639 |
| Story9 | PF4CYB2 | Y | 4.6 | 1.4 | 3.280855 |
| Story8 | PF4CYB2 | Y | 3.6 | 1.1 | 3.249934 |
| Story7 | PF4CYB2 | Y | 3 | 1 | 3.090374 |
| Story6 | PF4CYB2 | Y | 2.4 | 0.8 | 3.143361 |
| Story5 | PF4CYB2 | Y | 1.8 | 0.5 | 3.662804 |
| Story4 | PF4CYB2 | Y | 1.2 | 0.3 | 3.83154 |
| Story3 | PF4CYB2 | Y | 0.7 | 0.2 | 4.138757 |
| Story2 | PF4CYB2 | Y | 0.1 | 0.02714 | 4.811768 |
| GROUND | PF4CYB2 | Y | 0 | 0 |  |
| PARKING | PF4CYB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCC | Y | 6.4 | 5.3 | 1.211987 |
| PENTHOUSE | PF4DWCC | Y | 8.6 | 5.3 | 1.630947 |
| Story14 | PF4DWCC | Y | 7.7 | 4.8 | 1.610052 |
| Story13 | PF4DWCC | Y | 6.7 | 4 | 1.691361 |
| Story12 | PF4DWCC | Y | 5.8 | 3.1 | 1.881537 |
| Story11 | PF4DWCC | Y | 5.4 | 2.9 | 1.85017 |
| Story10 | PF4DWCC | Y | 4.8 | 2.5 | 1.930133 |
| Story9 | PF4DWCC | X | 2.5 | 1.5 | 1.635845 |
| Story8 | PF4DWCC | X | 2 | 1.2 | 1.606259 |
| Story7 | PF4DWCC | X | 1.6 | 1 | 1.566696 |
| Story6 | PF4DWCC | X | 1.2 | 0.8 | 1.509726 |
| Story5 | PF4DWCC | X | 0.8 | 0.5 | 1.56097 |
| Story4 | PF4DWCC | Y | 1 | 0.3 | 3.212751 |
| Story3 | PF4DWCC | Y | 0.5 | 0.2 | 3.442859 |
| Story2 | PF4DWCC | Y | 0.1 | 0.02621 | 3.290935 |
| GROUND | PF4DWCC | Y | 0 | 0 |  |
| PARKING | PF4DWCC | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCD1 | Y | 6.4 | 4.7 | 1.350715 |
| PENTHOUSE | PF4DWCD1 | Y | 9.7 | 4.9 | 1.962694 |
| Story14 | PF4DWCD1 | Y | 8.5 | 4.4 | 1.915904 |
| Story13 | PF4DWCD1 | Y | 7.4 | 3.6 | 2.048692 |
| Story12 | PF4DWCD1 | Y | 6.3 | 2.6 | 2.401055 |
| Story11 | PF4DWCD1 | Y | 5.9 | 2.6 | 2.231923 |
| Story10 | PF4DWCD1 | Y | 5.1 | 2.2 | 2.284067 |
| Story9 | PF4DWCD1 | Y | 4.2 | 1.1 | 3.85813 |
| Story8 | PF4DWCD1 | X | 1.8 | 0.9 | 2.046696 |
| Story7 | PF4DWCD1 | Y | 2.7 | 0.8 | 3.582828 |
| Story6 | PF4DWCD1 | Y | 2.2 | 0.6 | 3.612025 |
| Story5 | PF4DWCD1 | X | 0.8 | 0.4 | 1.906125 |
| Story4 | PF4DWCD1 | Y | 1.1 | 0.2 | 4.553269 |
| Story3 | PF4DWCD1 | Y | 0.6 | 0.1 | 5.088822 |
| Story2 | PF4DWCD1 | Y | 0.1 | 0.01026 | 9.947216 |
| GROUND | PF4DWCD1 | Y | 0 | 0 |  |
| PARKING | PF4DWCD1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4DWCD2 | Y | 4.3 | 3.8 | 1.125651 |
| PENTHOUSE | PF4DWCD2 | Y | 5.5 | 3.9 | 1.423293 |
| Story14 | PF4DWCD2 | Y | 4.9 | 3.5 | 1.421755 |
| Story13 | PF4DWCD2 | Y | 4.4 | 2.9 | 1.48487 |
| Story12 | PF4DWCD2 | Y | 3.8 | 2.4 | 1.603402 |
| Story11 | PF4DWCD2 | Y | 3.5 | 2.2 | 1.63665 |
| Story10 | PF4DWCD2 | Y | 3.2 | 1.8 | 1.744919 |
| Story9 | PF4DWCD2 | Y | 2.7 | 1.1 | 2.350676 |
| Story8 | PF4DWCD2 | Y | 2.1 | 0.9 | 2.34246 |
| Story7 | PF4DWCD2 | Y | 1.7 | 0.8 | 2.314018 |
| Story6 | PF4DWCD2 | X | 0.9 | 0.6 | 1.43492 |
| Story5 | PF4DWCD2 | X | 0.6 | 0.4 | 1.493312 |
| Story4 | PF4DWCD2 | Y | 0.7 | 0.2 | 2.988876 |
| Story3 | PF4DWCD2 | Y | 0.4 | 0.1 | 3.324341 |
| Story2 | PF4DWCD2 | Y | 0.02646 | 0.007492 | 3.531595 |
| GROUND | PF4DWCD2 | Y | 0 | 0 |  |
| PARKING | PF4DWCD2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCX | X | 5.8 | 5.2 | 1.106947 |
| PENTHOUSE | PF4CWCX | X | 8.1 | 5.1 | 1.598076 |
| Story14 | PF4CWCX | X | 7.2 | 4.6 | 1.570801 |
| Story13 | PF4CWCX | X | 6.2 | 4 | 1.539179 |
| Story12 | PF4CWCX | X | 5.2 | 3.5 | 1.497595 |
| Story11 | PF4CWCX | X | 4.3 | 2.9 | 1.487176 |
| Story10 | PF4CWCX | X | 3.5 | 2.4 | 1.474736 |
| Story9 | PF4CWCX | X | 2.9 | 2 | 1.47255 |
| Story8 | PF4CWCX | X | 2.4 | 1.6 | 1.469637 |
| Story7 | PF4CWCX | X | 1.9 | 1.3 | 1.460487 |
| Story6 | PF4CWCX | X | 1.5 | 1 | 1.437042 |
| Story5 | PF4CWCX | X | 1 | 0.7 | 1.480154 |
| Story4 | PF4CWCX | X | 0.6 | 0.4 | 1.612738 |
| Story3 | PF4CWCX | X | 0.2 | 0.1 | 2.376028 |
| Story2 | PF4CWCX | Y | 0.1 | 0.1 | 1.897799 |
| GROUND | PF4CWCX | Y | 0 | 0 |  |
| PARKING | PF4CWCX | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCY | Y | 8.7 | 7.1 | 1.220265 |
| PENTHOUSE | PF4CWCY | Y | 11.8 | 7.1 | 1.659477 |
| Story14 | PF4CWCY | Y | 10.4 | 6.4 | 1.634463 |
| Story13 | PF4CWCY | Y | 9.1 | 5.3 | 1.714613 |
| Story12 | PF4CWCY | Y | 7.8 | 4.1 | 1.898073 |
| Story11 | PF4CWCY | Y | 7.2 | 3.9 | 1.850696 |
| Story10 | PF4CWCY | Y | 6.3 | 3.3 | 1.914663 |
| Story9 | PF4CWCY | Y | 5.2 | 1.9 | 2.707444 |
| Story8 | PF4CWCY | Y | 4.1 | 1.5 | 2.676913 |
| Story7 | PF4CWCY | Y | 3.3 | 1.3 | 2.594536 |
| Story6 | PF4CWCY | Y | 2.7 | 1 | 2.666045 |
| Story5 | PF4CWCY | Y | 2 | 0.7 | 3.052881 |
| Story4 | PF4CWCY | Y | 1.4 | 0.4 | 3.219444 |
| Story3 | PF4CWCY | Y | 0.7 | 0.2 | 3.480757 |
| Story2 | PF4CWCY | Y | 0.1 | 0.03329 | 3.558618 |
| GROUND | PF4CWCY | Y | 0 | 0 |  |
| PARKING | PF4CWCY | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCXB1 | X | 4.6 | 3.9 | 1.175921 |
| PENTHOUSE | PF4CWCXB1 | X | 7.6 | 3.9 | 1.927163 |
| Story14 | PF4CWCXB1 | X | 6.7 | 3.5 | 1.881487 |
| Story13 | PF4CWCXB1 | X | 5.7 | 3.1 | 1.831307 |
| Story12 | PF4CWCXB1 | X | 4.7 | 2.6 | 1.771631 |
| Story11 | PF4CWCXB1 | X | 3.7 | 2.1 | 1.760323 |
| Story10 | PF4CWCXB1 | X | 2.9 | 1.7 | 1.744391 |
| Story9 | PF4CWCXB1 | X | 2.4 | 1.4 | 1.729042 |
| Story8 | PF4CWCXB1 | X | 2 | 1.2 | 1.709706 |
| Story7 | PF4CWCXB1 | X | 1.6 | 1 | 1.676491 |
| Story6 | PF4CWCXB1 | X | 1.3 | 0.8 | 1.618792 |
| Story5 | PF4CWCXB1 | X | 0.9 | 0.5 | 1.671447 |
| Story4 | PF4CWCXB1 | X | 0.6 | 0.3 | 1.86261 |
| Story3 | PF4CWCXB1 | X | 0.2 | 0.1 | 3.379842 |
| Story2 | PF4CWCXB1 | Y | 0.1 | 0.1 | 2.065051 |
| GROUND | PF4CWCXB1 | Y | 0 | 0 |  |
| PARKING | PF4CWCXB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCXB2 | X | 4.5 | 4 | 1.109967 |
| PENTHOUSE | PF4CWCXB2 | X | 6.4 | 3.9 | 1.630648 |
| Story14 | PF4CWCXB2 | X | 5.7 | 3.5 | 1.608961 |
| Story13 | PF4CWCXB2 | X | 4.9 | 3.1 | 1.58493 |
| Story12 | PF4CWCXB2 | X | 4.1 | 2.7 | 1.550179 |
| Story11 | PF4CWCXB2 | X | 3.3 | 2.1 | 1.561975 |
| Story10 | PF4CWCXB2 | X | 2.7 | 1.7 | 1.574032 |
| Story9 | PF4CWCXB2 | X | 2.3 | 1.4 | 1.579512 |
| Story8 | PF4CWCXB2 | X | 1.9 | 1.2 | 1.57557 |
| Story7 | PF4CWCXB2 | X | 1.5 | 1 | 1.560038 |
| Story6 | PF4CWCXB2 | X | 1.2 | 0.8 | 1.524084 |
| Story5 | PF4CWCXB2 | X | 0.9 | 0.5 | 1.579027 |
| Story4 | PF4CWCXB2 | X | 0.5 | 0.3 | 1.755766 |
| Story3 | PF4CWCXB2 | X | 0.2 | 0.1 | 3.105159 |
| Story2 | PF4CWCXB2 | Y | 0.1 | 0.1 | 1.764134 |
| GROUND | PF4CWCXB2 | Y | 0 | 0 |  |
| PARKING | PF4CWCXB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCYB1 | Y | 6.3 | 5.3 | 1.180875 |
| PENTHOUSE | PF4CWCYB1 | Y | 8.5 | 5.4 | 1.567985 |
| Story14 | PF4CWCYB1 | Y | 7.5 | 4.8 | 1.55081 |
| Story13 | PF4CWCYB1 | Y | 6.5 | 4 | 1.619083 |
| Story12 | PF4CWCYB1 | Y | 5.6 | 3.2 | 1.756639 |
| Story11 | PF4CWCYB1 | Y | 5.2 | 3 | 1.740857 |
| Story10 | PF4CWCYB1 | Y | 4.6 | 2.5 | 1.815384 |
| Story9 | PF4CWCYB1 | Y | 3.8 | 1.5 | 2.494469 |
| Story8 | PF4CWCYB1 | Y | 3 | 1.2 | 2.482214 |
| Story7 | PF4CWCYB1 | Y | 2.5 | 1 | 2.438881 |
| Story6 | PF4CWCYB1 | Y | 2 | 0.8 | 2.537525 |
| Story5 | PF4CWCYB1 | Y | 1.5 | 0.5 | 2.938026 |
| Story4 | PF4CWCYB1 | Y | 1 | 0.3 | 3.163807 |
| Story3 | PF4CWCYB1 | Y | 0.5 | 0.2 | 3.553858 |
| Story2 | PF4CWCYB1 | X | 0.04238 | 0.02953 | 1.434904 |
| GROUND | PF4CWCYB1 | Y | 0 | 0 |  |
| PARKING | PF4CWCYB1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCYB2 | Y | 8.2 | 6.2 | 1.323759 |
| PENTHOUSE | PF4CWCYB2 | Y | 12.3 | 6.4 | 1.907298 |
| Story14 | PF4CWCYB2 | Y | 10.8 | 5.8 | 1.865805 |
| Story13 | PF4CWCYB2 | Y | 9.4 | 4.7 | 1.988845 |
| Story12 | PF4CWCYB2 | Y | 8 | 3.5 | 2.300814 |
| Story11 | PF4CWCYB2 | Y | 7.4 | 3.4 | 2.158931 |
| Story10 | PF4CWCYB2 | Y | 6.5 | 2.9 | 2.213226 |
| Story9 | PF4CWCYB2 | Y | 5.3 | 1.5 | 3.623123 |
| Story8 | PF4CWCYB2 | Y | 4.2 | 1.2 | 3.615327 |
| Story7 | PF4CWCYB2 | Y | 3.5 | 1 | 3.414351 |
| Story6 | PF4CWCYB2 | Y | 2.8 | 0.8 | 3.471978 |
| Story5 | PF4CWCYB2 | Y | 2.1 | 0.5 | 4.160472 |
| Story4 | PF4CWCYB2 | Y | 1.4 | 0.3 | 4.411925 |
| Story3 | PF4CWCYB2 | Y | 0.8 | 0.2 | 4.989446 |
| Story2 | PF4CWCYB2 | X | 0.1 | 0.02981 | 2.350062 |
| GROUND | PF4CWCYB2 | Y | 0 | 0 |  |
| PARKING | PF4CWCYB2 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCC | Y | 7.2 | 5.7 | 1.252264 |
| PENTHOUSE | PF4CWCC | Y | 10.2 | 5.9 | 1.732034 |
| Story14 | PF4CWCC | Y | 9 | 5.3 | 1.705169 |
| Story13 | PF4CWCC | Y | 7.9 | 4.4 | 1.801825 |
| Story12 | PF4CWCC | Y | 6.8 | 3.3 | 2.030803 |
| Story11 | PF4CWCC | Y | 6.3 | 3.2 | 1.969354 |
| Story10 | PF4CWCC | Y | 5.6 | 2.7 | 2.048138 |
| Story9 | PF4CWCC | Y | 4.6 | 1.5 | 3.107255 |
| Story8 | PF4CWCC | X | 2.1 | 1.2 | 1.788947 |
| Story7 | PF4CWCC | Y | 3 | 1 | 2.967822 |
| Story6 | PF4CWCC | Y | 2.5 | 0.8 | 3.045247 |
| Story5 | PF4CWCC | X | 0.9 | 0.5 | 1.709517 |
| Story4 | PF4CWCC | Y | 1.3 | 0.3 | 3.802486 |
| Story3 | PF4CWCC | Y | 0.7 | 0.2 | 4.26925 |
| Story2 | PF4CWCC | Y | 0.1 | 0.01087 | 7.873028 |
| GROUND | PF4CWCC | Y | 0 | 0 |  |
| PARKING | PF4CWCC | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCD1 | Y | 7.2 | 5.2 | 1.382818 |
| PENTHOUSE | PF4CWCD1 | Y | 11.3 | 5.5 | 2.034023 |
| Story14 | PF4CWCD1 | Y | 9.9 | 5 | 1.983555 |
| Story13 | PF4CWCD1 | Y | 8.6 | 4 | 2.132639 |
| Story12 | PF4CWCD1 | Y | 7.3 | 2.9 | 2.528387 |
| Story11 | PF4CWCD1 | Y | 6.8 | 2.9 | 2.325 |
| Story10 | PF4CWCD1 | Y | 5.9 | 2.5 | 2.377557 |
| Story9 | PF4CWCD1 | Y | 4.9 | 1.1 | 4.274536 |
| Story8 | PF4CWCD1 | Y | 3.8 | 0.9 | 4.288993 |
| Story7 | PF4CWCD1 | Y | 3.2 | 0.8 | 3.963794 |
| Story6 | PF4CWCD1 | Y | 2.6 | 0.7 | 3.985877 |
| Story5 | PF4CWCD1 | X | 0.9 | 0.4 | 2.09082 |
| Story4 | PF4CWCD1 | Y | 1.3 | 0.3 | 5.285746 |
| Story3 | PF4CWCD1 | Y | 0.7 | 0.1 | 6.319248 |
| Story2 | PF4CWCD1 | X | 0.04514 | 0.00886 | 5.094941 |
| GROUND | PF4CWCD1 | Y | 0 | 0 |  |
| PARKING | PF4CWCD1 | Y | 0 | 0 |  |
| UPPER ROOF | PF4CWCD2 | Y | 5.1 | 4.3 | 1.18871 |
| PENTHOUSE | PF4CWCD2 | Y | 7.1 | 4.5 | 1.584983 |
| Story14 | PF4CWCD2 | Y | 6.3 | 4 | 1.573253 |
| Story13 | PF4CWCD2 | Y | 5.5 | 3.3 | 1.654821 |
| Story12 | PF4CWCD2 | Y | 4.8 | 2.6 | 1.820486 |
| Story11 | PF4CWCD2 | Y | 4.4 | 2.4 | 1.817869 |
| Story10 | PF4CWCD2 | Y | 4 | 2.1 | 1.922462 |
| Story9 | PF4CWCD2 | Y | 3.3 | 1.2 | 2.815816 |
| Story8 | PF4CWCD2 | Y | 2.6 | 0.9 | 2.827903 |
| Story7 | PF4CWCD2 | Y | 2.2 | 0.8 | 2.769208 |
| Story6 | PF4CWCD2 | Y | 1.8 | 0.6 | 2.891233 |
| Story5 | PF4CWCD2 | X | 0.7 | 0.4 | 1.689166 |
| Story4 | PF4CWCD2 | Y | 1 | 0.3 | 3.762324 |
| Story3 | PF4CWCD2 | Y | 0.5 | 0.1 | 4.498338 |
| Story2 | PF4CWCD2 | X | 0.02 | 0.008543 | 2.341588 |
| GROUND | PF4CWCD2 | Y | 0 | 0 |  |
| PARKING | PF4CWCD2 | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2X | X | 17.4 | 17 | 1.020263 |
| PENTHOUSE | PFEQ2X | X | 17.6 | 15.6 | 1.125019 |
| Story14 | PFEQ2X | X | 16.1 | 14.3 | 1.12356 |
| Story13 | PFEQ2X | X | 14.6 | 13 | 1.121117 |
| Story12 | PFEQ2X | X | 13.2 | 11.8 | 1.117216 |
| Story11 | PFEQ2X | X | 11.6 | 10.4 | 1.116432 |
| Story10 | PFEQ2X | X | 10.1 | 9 | 1.115151 |
| Story9 | PFEQ2X | X | 8.5 | 7.6 | 1.115393 |
| Story8 | PFEQ2X | X | 6.8 | 6.1 | 1.116784 |
| Story7 | PFEQ2X | X | 5.3 | 4.8 | 1.118389 |
| Story6 | PFEQ2X | X | 4 | 3.6 | 1.118364 |
| Story5 | PFEQ2X | X | 2.7 | 2.4 | 1.128837 |
| Story4 | PFEQ2X | X | 1.6 | 1.4 | 1.156519 |
| Story3 | PFEQ2X | X | 0.6 | 0.5 | 1.241425 |
| Story2 | PFEQ2X | X | 0.1 | 0.1 | 1.116589 |
| GROUND | PFEQ2X | Y | 0 | 0 |  |
| PARKING | PFEQ2X | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2Y | Y | 16.4 | 14.5 | 1.129867 |
| PENTHOUSE | PFEQ2Y | Y | 19.4 | 13.7 | 1.413853 |
| Story14 | PFEQ2Y | Y | 17.3 | 12.3 | 1.406169 |
| Story13 | PFEQ2Y | Y | 15.2 | 10.4 | 1.462419 |
| Story12 | PFEQ2Y | Y | 13.3 | 8.4 | 1.587788 |
| Story11 | PFEQ2Y | Y | 12.2 | 7.6 | 1.603037 |
| Story10 | PFEQ2Y | Y | 10.7 | 6.4 | 1.684214 |
| Story9 | PFEQ2Y | Y | 8.7 | 4.1 | 2.13295 |
| Story8 | PFEQ2Y | Y | 6.7 | 3.2 | 2.076231 |
| Story7 | PFEQ2Y | Y | 5.3 | 2.6 | 2.012986 |
| Story6 | PFEQ2Y | Y | 4 | 2 | 2.032466 |
| Story5 | PFEQ2Y | Y | 2.9 | 1.3 | 2.217587 |
| Story4 | PFEQ2Y | Y | 2 | 0.9 | 2.289147 |
| Story3 | PFEQ2Y | Y | 1.1 | 0.4 | 2.368283 |
| Story2 | PFEQ2Y | Y | 0.2 | 0.1 | 2.057587 |
| GROUND | PFEQ2Y | Y | 0 | 0 |  |
| PARKING | PFEQ2Y | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2XMIN | X | 17.3 | 17.3 | 1.003435 |
| PENTHOUSE | PFEQ2XMIN | X | 15.7 | 15.6 | 1.002281 |
| Story14 | PFEQ2XMIN | X | 14.5 | 14.3 | 1.008476 |
| Story13 | PFEQ2XMIN | X | 13.3 | 13 | 1.020415 |
| Story12 | PFEQ2XMIN | X | 12.2 | 11.8 | 1.031523 |
| Story11 | PFEQ2XMIN | X | 10.9 | 10.4 | 1.046206 |
| Story10 | PFEQ2XMIN | X | 9.6 | 9.1 | 1.060251 |
| Story9 | PFEQ2XMIN | X | 8.1 | 7.6 | 1.06678 |
| Story8 | PFEQ2XMIN | X | 6.5 | 6.1 | 1.071213 |
| Story7 | PFEQ2XMIN | X | 5.1 | 4.8 | 1.076001 |
| Story6 | PFEQ2XMIN | X | 3.9 | 3.6 | 1.080331 |
| Story5 | PFEQ2XMIN | X | 2.6 | 2.4 | 1.090593 |
| Story4 | PFEQ2XMIN | X | 1.5 | 1.4 | 1.113563 |
| Story3 | PFEQ2XMIN | X | 0.5 | 0.5 | 1.175129 |
| Story2 | PFEQ2XMIN | X | 0.1 | 0.1 | 1.015502 |
| GROUND | PFEQ2XMIN | Y | 0 | 0 |  |
| PARKING | PFEQ2XMIN | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2XMAX | X | 17.5 | 16.8 | 1.044643 |
| PENTHOUSE | PFEQ2XMAX | X | 19.6 | 15.7 | 1.251962 |
| Story14 | PFEQ2XMAX | X | 17.8 | 14.3 | 1.238562 |
| Story13 | PFEQ2XMAX | X | 15.9 | 13 | 1.222018 |
| Story12 | PFEQ2XMAX | X | 14.2 | 11.8 | 1.203269 |
| Story11 | PFEQ2XMAX | X | 12.3 | 10.4 | 1.1871 |
| Story10 | PFEQ2XMAX | X | 10.5 | 9 | 1.170523 |
| Story9 | PFEQ2XMAX | X | 8.8 | 7.6 | 1.164389 |
| Story8 | PFEQ2XMAX | X | 7 | 6.1 | 1.162642 |
| Story7 | PFEQ2XMAX | X | 5.5 | 4.7 | 1.160984 |
| Story6 | PFEQ2XMAX | X | 4.1 | 3.6 | 1.156531 |
| Story5 | PFEQ2XMAX | X | 2.8 | 2.4 | 1.167149 |
| Story4 | PFEQ2XMAX | X | 1.6 | 1.4 | 1.199462 |
| Story3 | PFEQ2XMAX | X | 0.6 | 0.5 | 1.307421 |
| Story2 | PFEQ2XMAX | X | 0.1 | 0.1 | 1.21812 |
| GROUND | PFEQ2XMAX | Y | 0 | 0 |  |
| PARKING | PFEQ2XMAX | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2YMIN | Y | 18.9 | 15.6 | 1.208902 |
| PENTHOUSE | PFEQ2YMIN | Y | 24.4 | 15 | 1.624065 |
| Story14 | PFEQ2YMIN | Y | 21.6 | 13.5 | 1.601096 |
| Story13 | PFEQ2YMIN | Y | 18.8 | 11.2 | 1.67982 |
| Story12 | PFEQ2YMIN | Y | 16.2 | 8.6 | 1.876666 |
| Story11 | PFEQ2YMIN | Y | 14.9 | 8.1 | 1.833561 |
| Story10 | PFEQ2YMIN | Y | 13 | 6.9 | 1.896272 |
| Story9 | PFEQ2YMIN | Y | 10.5 | 4 | 2.602469 |
| Story8 | PFEQ2YMIN | Y | 8.1 | 3.2 | 2.537338 |
| Story7 | PFEQ2YMIN | Y | 6.4 | 2.6 | 2.432083 |
| Story6 | PFEQ2YMIN | Y | 4.9 | 2 | 2.452179 |
| Story5 | PFEQ2YMIN | Y | 3.5 | 1.3 | 2.70852 |
| Story4 | PFEQ2YMIN | Y | 2.4 | 0.9 | 2.774335 |
| Story3 | PFEQ2YMIN | Y | 1.3 | 0.5 | 2.853283 |
| Story2 | PFEQ2YMIN | Y | 0.3 | 0.1 | 2.595477 |
| GROUND | PFEQ2YMIN | Y | 0 | 0 |  |
| PARKING | PFEQ2YMIN | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ2YMAX | Y | 14 | 13.4 | 1.038132 |
| PENTHOUSE | PFEQ2YMAX | Y | 14.4 | 12.4 | 1.159918 |
| Story14 | PFEQ2YMAX | Y | 13 | 11.1 | 1.169874 |
| Story13 | PFEQ2YMAX | Y | 11.6 | 9.6 | 1.209134 |
| Story12 | PFEQ2YMAX | Y | 10.3 | 8.1 | 1.277588 |
| Story11 | PFEQ2YMAX | Y | 9.4 | 7 | 1.336644 |
| Story10 | PFEQ2YMAX | Y | 8.4 | 5.9 | 1.436201 |
| Story9 | PFEQ2YMAX | Y | 6.9 | 4.1 | 1.674743 |
| Story8 | PFEQ2YMAX | Y | 5.3 | 3.3 | 1.629401 |
| Story7 | PFEQ2YMAX | Y | 4.2 | 2.6 | 1.59204 |
| Story6 | PFEQ2YMAX | Y | 3.1 | 2 | 1.599397 |
| Story5 | PFEQ2YMAX | Y | 2.3 | 1.3 | 1.730548 |
| Story4 | PFEQ2YMAX | Y | 1.6 | 0.9 | 1.804511 |
| Story3 | PFEQ2YMAX | Y | 0.8 | 0.4 | 1.87563 |
| Story2 | PFEQ2YMAX | Y | 0.2 | 0.1 | 1.492568 |
| GROUND | PFEQ2YMAX | Y | 0 | 0 |  |
| PARKING | PFEQ2YMAX | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1X | X | 17.3 | 17 | 1.017977 |
| PENTHOUSE | PFEQ1X | X | 17.4 | 15.6 | 1.11163 |
| Story14 | PFEQ1X | X | 15.9 | 14.3 | 1.111029 |
| Story13 | PFEQ1X | X | 14.4 | 13 | 1.109606 |
| Story12 | PFEQ1X | X | 13.1 | 11.8 | 1.107056 |
| Story11 | PFEQ1X | X | 11.5 | 10.4 | 1.107034 |
| Story10 | PFEQ1X | X | 10 | 9.1 | 1.106492 |
| Story9 | PFEQ1X | X | 8.4 | 7.6 | 1.106841 |
| Story8 | PFEQ1X | X | 6.7 | 6.1 | 1.108243 |
| Story7 | PFEQ1X | X | 5.3 | 4.8 | 1.109856 |
| Story6 | PFEQ1X | X | 3.9 | 3.6 | 1.109994 |
| Story5 | PFEQ1X | X | 2.7 | 2.4 | 1.119553 |
| Story4 | PFEQ1X | X | 1.6 | 1.4 | 1.144909 |
| Story3 | PFEQ1X | X | 0.6 | 0.5 | 1.221491 |
| Story2 | PFEQ1X | X | 0.1 | 0.1 | 1.102269 |
| GROUND | PFEQ1X | Y | 0 | 0 |  |
| PARKING | PFEQ1X | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1Y | Y | 16.2 | 14.4 | 1.125192 |
| PENTHOUSE | PFEQ1Y | Y | 19 | 13.6 | 1.400631 |
| Story14 | PFEQ1Y | Y | 16.9 | 12.1 | 1.393628 |
| Story13 | PFEQ1Y | Y | 14.9 | 10.3 | 1.448398 |
| Story12 | PFEQ1Y | Y | 13 | 8.3 | 1.57019 |
| Story11 | PFEQ1Y | Y | 11.9 | 7.5 | 1.587292 |
| Story10 | PFEQ1Y | Y | 10.5 | 6.3 | 1.667859 |
| Story9 | PFEQ1Y | Y | 8.6 | 4.1 | 2.095909 |
| Story8 | PFEQ1Y | Y | 6.6 | 3.2 | 2.037517 |
| Story7 | PFEQ1Y | Y | 5.2 | 2.6 | 1.974281 |
| Story6 | PFEQ1Y | Y | 3.9 | 2 | 1.989105 |
| Story5 | PFEQ1Y | Y | 2.8 | 1.3 | 2.162445 |
| Story4 | PFEQ1Y | Y | 1.9 | 0.9 | 2.227974 |
| Story3 | PFEQ1Y | Y | 1 | 0.5 | 2.299113 |
| Story2 | PFEQ1Y | Y | 0.2 | 0.1 | 1.995994 |
| GROUND | PFEQ1Y | Y | 0 | 0 |  |
| PARKING | PFEQ1Y | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1XMIN | X | 17.4 | 17.3 | 1.005678 |
| PENTHOUSE | PFEQ1XMIN | X | 15.9 | 15.6 | 1.015838 |
| Story14 | PFEQ1XMIN | X | 14.4 | 14.3 | 1.00417 |
| Story13 | PFEQ1XMIN | X | 13.1 | 13 | 1.008868 |
| Story12 | PFEQ1XMIN | X | 12.1 | 11.8 | 1.02142 |
| Story11 | PFEQ1XMIN | X | 10.8 | 10.4 | 1.036958 |
| Story10 | PFEQ1XMIN | X | 9.6 | 9.1 | 1.051785 |
| Story9 | PFEQ1XMIN | X | 8.1 | 7.6 | 1.058386 |
| Story8 | PFEQ1XMIN | X | 6.5 | 6.1 | 1.06278 |
| Story7 | PFEQ1XMIN | X | 5.1 | 4.8 | 1.067515 |
| Story6 | PFEQ1XMIN | X | 3.8 | 3.6 | 1.071933 |
| Story5 | PFEQ1XMIN | X | 2.6 | 2.4 | 1.08125 |
| Story4 | PFEQ1XMIN | X | 1.5 | 1.4 | 1.101893 |
| Story3 | PFEQ1XMIN | X | 0.5 | 0.5 | 1.155506 |
| Story2 | PFEQ1XMIN | X | 0.1 | 0.1 | 1.002942 |
| GROUND | PFEQ1XMIN | Y | 0 | 0 |  |
| PARKING | PFEQ1XMIN | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1XMAX | X | 17.5 | 16.8 | 1.042311 |
| PENTHOUSE | PFEQ1XMAX | X | 19.4 | 15.7 | 1.238739 |
| Story14 | PFEQ1XMAX | X | 17.6 | 14.3 | 1.226145 |
| Story13 | PFEQ1XMAX | X | 15.7 | 13 | 1.210542 |
| Story12 | PFEQ1XMAX | X | 14 | 11.8 | 1.193049 |
| Story11 | PFEQ1XMAX | X | 12.2 | 10.4 | 1.17755 |
| Story10 | PFEQ1XMAX | X | 10.5 | 9 | 1.161668 |
| Story9 | PFEQ1XMAX | X | 8.8 | 7.6 | 1.155679 |
| Story8 | PFEQ1XMAX | X | 7 | 6.1 | 1.153993 |
| Story7 | PFEQ1XMAX | X | 5.5 | 4.7 | 1.152406 |
| Story6 | PFEQ1XMAX | X | 4.1 | 3.6 | 1.148191 |
| Story5 | PFEQ1XMAX | X | 2.7 | 2.4 | 1.157926 |
| Story4 | PFEQ1XMAX | X | 1.6 | 1.4 | 1.187912 |
| Story3 | PFEQ1XMAX | X | 0.6 | 0.5 | 1.287179 |
| Story2 | PFEQ1XMAX | X | 0.1 | 0.1 | 1.202024 |
| GROUND | PFEQ1XMAX | Y | 0 | 0 |  |
| PARKING | PFEQ1XMAX | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1YMIN | Y | 18.7 | 15.5 | 1.205194 |
| PENTHOUSE | PFEQ1YMIN | Y | 24 | 14.8 | 1.614359 |
| Story14 | PFEQ1YMIN | Y | 21.2 | 13.3 | 1.591849 |
| Story13 | PFEQ1YMIN | Y | 18.5 | 11.1 | 1.669011 |
| Story12 | PFEQ1YMIN | Y | 16 | 8.6 | 1.862034 |
| Story11 | PFEQ1YMIN | Y | 14.7 | 8.1 | 1.821095 |
| Story10 | PFEQ1YMIN | Y | 12.8 | 6.8 | 1.88315 |
| Story9 | PFEQ1YMIN | Y | 10.3 | 4 | 2.566332 |
| Story8 | PFEQ1YMIN | Y | 7.9 | 3.2 | 2.499086 |
| Story7 | PFEQ1YMIN | Y | 6.3 | 2.6 | 2.395058 |
| Story6 | PFEQ1YMIN | Y | 4.8 | 2 | 2.411622 |
| Story5 | PFEQ1YMIN | Y | 3.5 | 1.3 | 2.654268 |
| Story4 | PFEQ1YMIN | Y | 2.3 | 0.9 | 2.713744 |
| Story3 | PFEQ1YMIN | Y | 1.3 | 0.5 | 2.782956 |
| Story2 | PFEQ1YMIN | Y | 0.3 | 0.1 | 2.519656 |
| GROUND | PFEQ1YMIN | Y | 0 | 0 |  |
| PARKING | PFEQ1YMIN | Y | 0 | 0 |  |
| UPPER ROOF | PFEQ1YMAX | Y | 13.8 | 13.3 | 1.032214 |
| PENTHOUSE | PFEQ1YMAX | Y | 14 | 12.3 | 1.141842 |
| Story14 | PFEQ1YMAX | Y | 12.6 | 11 | 1.152771 |
| Story13 | PFEQ1YMAX | Y | 11.3 | 9.5 | 1.19094 |
| Story12 | PFEQ1YMAX | Y | 10 | 8 | 1.256617 |
| Story11 | PFEQ1YMAX | Y | 9.2 | 7 | 1.316705 |
| Story10 | PFEQ1YMAX | Y | 8.2 | 5.8 | 1.415654 |
| Story9 | PFEQ1YMAX | Y | 6.8 | 4.1 | 1.636851 |
| Story8 | PFEQ1YMAX | Y | 5.2 | 3.3 | 1.590271 |
| Story7 | PFEQ1YMAX | Y | 4 | 2.6 | 1.551639 |
| Story6 | PFEQ1YMAX | Y | 3 | 1.9 | 1.553072 |
| Story5 | PFEQ1YMAX | Y | 2.2 | 1.3 | 1.674531 |
| Story4 | PFEQ1YMAX | Y | 1.5 | 0.9 | 1.742757 |
| Story3 | PFEQ1YMAX | Y | 0.8 | 0.4 | 1.807662 |
| Story2 | PFEQ1YMAX | Y | 0.2 | 0.1 | 1.446727 |
| GROUND | PFEQ1YMAX | Y | 0 | 0 |  |
| PARKING | PFEQ1YMAX | Y | 0 | 0 |  |

Table 3.4 - Story Drifts

| Story | Load Case/Combo | Label | Item | Drift | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- |
| UPPER ROOF | OW | 209 | Max Drift X | 0.000131 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | OW | 210 | Max Drift Y | 0.000324 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQDL | 209 | Max Drift X | 3E-06 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | EQDL | 210 | Max Drift Y | 2.6E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | LL | 209 | Max Drift X | 1.1E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | LL | 210 | Max Drift Y | 0.0001 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | FACADE | 205 | Max Drift X | 2.8E-05 | 51.4 | 14.75 | 48.05 |
| UPPER ROOF | FACADE | 210 | Max Drift Y | 3.8E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQX | 210 | Max Drift X | 0.003864 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQX | 210 | Max Drift Y | 5.2E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQY | 205 | Max Drift X | 9.4E-05 | 51.4 | 14.75 | 48.05 |
| UPPER ROOF | EQY | 210 | Max Drift Y | 0.003122 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQXMIN | 210 | Max Drift X | 0.003888 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQXMIN | 210 | Max Drift Y | 0.0003 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQXMAX | 209 | Max Drift X | 0.003865 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | EQXMAX | 210 | Max Drift Y | 0.000195 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQYMIN | 205 | Max Drift X | 0.000129 | 51.4 | 14.75 | 48.05 |
| UPPER ROOF | EQYMIN | 210 | Max Drift Y | 0.003554 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | EQYMAX | 209 | Max Drift X | 8.1E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | EQYMAX | 179 | Max Drift Y | 0.002855 | 46.1 | 14.75 | 48.05 |
| UPPER ROOF | WCX | 210 | Max Drift X | 0.000824 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCX | 210 | Max Drift Y | 1.2E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCY | 205 | Max Drift X | 2.7E-05 | 51.4 | 14.75 | 48.05 |
| UPPER ROOF | WCY | 210 | Max Drift Y | 0.000904 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCXB1 | 209 | Max Drift X | 0.00062 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | WCXB1 | 210 | Max Drift Y | 4.1E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | DELDL | 209 | Max Drift X | 8E-06 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | DELDL | 210 | Max Drift Y | 6.8E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCXB2 | 210 | Max Drift X | 0.000623 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCXB2 | 210 | Max Drift Y | 5.9E-05 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCYB2 | 205 | Max Drift X | 2.8E-05 | 51.4 | 14.75 | 48.05 |
| UPPER ROOF | WCYB2 | 210 | Max Drift Y | 0.000802 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCYB1 | 209 | Max Drift X | 2.1E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | WCYB1 | 179 | Max Drift Y | 0.000623 | 46.1 | 14.75 | 48.05 |
| UPPER ROOF | WCC | 209 | Max Drift X | 0.000603 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | WCC | 210 | Max Drift Y | 0.000669 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCD1 | 209 | Max Drift X | 0.00046 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | WCD1 | 210 | Max Drift Y | 0.000632 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCD2 | 210 | Max Drift X | 0.000458 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | WCD2 | 179 | Max Drift Y | 0.000475 | 46.1 | 14.75 | 48.05 |
| UPPER ROOF | PF1 | 209 | Max Drift X | 0.000157 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF1 | 210 | Max Drift Y | 0.000603 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF2 | 209 | Max Drift X | 0.000154 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF2 | 210 | Max Drift Y | 0.000658 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WX | 209 | Max Drift X | 0.001292 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WX | 210 | Max Drift Y | 0.000521 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WY | 209 | Max Drift X | 0.000116 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WY | 210 | Max Drift Y | 0.001804 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WXB1 | 209 | Max Drift X | 0.001008 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WXB1 | 210 | Max Drift Y | 0.000595 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WXB2 | 209 | Max Drift X | 0.001 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WXB2 | 210 | Max Drift Y | 0.000455 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WYB1 | 209 | Max Drift X | 0.000111 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WYB1 | 210 | Max Drift Y | 0.001314 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WYB2 | 209 | Max Drift X | 0.000132 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WYB2 | 210 | Max Drift Y | 0.001661 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WCC | 209 | Max Drift X | 0.000985 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WCC | 210 | Max Drift Y | 0.001475 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WCD1 | 209 | Max Drift X | 0.000785 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WCD1 | 210 | Max Drift Y | 0.001423 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4WCD2 | 209 | Max Drift X | 0.000763 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4WCD2 | 210 | Max Drift Y | 0.001058 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCD2 | 209 | Max Drift X | 0.000724 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCD2 | 210 | Max Drift Y | 0.000907 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCX | 209 | Max Drift X | 0.001252 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCX | 210 | Max Drift Y | 0.00037 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCY | 209 | Max Drift X | 7.6E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCY | 210 | Max Drift Y | 0.001653 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCXB1 | 209 | Max Drift X | 0.000969 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCXB1 | 210 | Max Drift Y | 0.000444 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCXB2 | 209 | Max Drift X | 0.00096 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCXB2 | 210 | Max Drift Y | 0.000305 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCYB1 | 209 | Max Drift X | 7.2E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCYB1 | 210 | Max Drift Y | 0.001164 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCYB2 | 209 | Max Drift X | 9.3E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCYB2 | 210 | Max Drift Y | 0.00151 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCC | 209 | Max Drift X | 0.000946 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCC | 210 | Max Drift Y | 0.001324 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4BWCD1 | 209 | Max Drift X | 0.000746 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4BWCD1 | 210 | Max Drift Y | 0.001272 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCX | 209 | Max Drift X | 0.001257 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCX | 210 | Max Drift Y | 0.00041 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCY | 209 | Max Drift X | 8.1E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCY | 210 | Max Drift Y | 0.001693 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCXB1 | 209 | Max Drift X | 0.000973 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCXB1 | 210 | Max Drift Y | 0.000484 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCXB2 | 209 | Max Drift X | 0.000965 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCXB2 | 210 | Max Drift Y | 0.000345 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CYB1 | 209 | Max Drift X | 7.7E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CYB1 | 210 | Max Drift Y | 0.001204 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CYB2 | 209 | Max Drift X | 9.7E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CYB2 | 210 | Max Drift Y | 0.00155 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCC | 209 | Max Drift X | 0.00095 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCC | 210 | Max Drift Y | 0.001364 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCD1 | 209 | Max Drift X | 0.00075 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCD1 | 210 | Max Drift Y | 0.001312 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4DWCD2 | 209 | Max Drift X | 0.000728 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4DWCD2 | 210 | Max Drift Y | 0.000948 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCX | 209 | Max Drift X | 0.001296 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCX | 210 | Max Drift Y | 0.000561 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCY | 209 | Max Drift X | 0.00012 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCY | 210 | Max Drift Y | 0.001844 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCXB1 | 209 | Max Drift X | 0.001012 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCXB1 | 210 | Max Drift Y | 0.000635 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCXB2 | 209 | Max Drift X | 0.001004 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCXB2 | 210 | Max Drift Y | 0.000495 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCYB1 | 209 | Max Drift X | 0.000116 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCYB1 | 210 | Max Drift Y | 0.001354 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCYB2 | 209 | Max Drift X | 0.000137 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCYB2 | 210 | Max Drift Y | 0.001701 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCC | 209 | Max Drift X | 0.00099 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCC | 210 | Max Drift Y | 0.001515 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCD1 | 209 | Max Drift X | 0.000789 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCD1 | 210 | Max Drift Y | 0.001463 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PF4CWCD2 | 209 | Max Drift X | 0.000768 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PF4CWCD2 | 210 | Max Drift Y | 0.001098 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2X | 209 | Max Drift X | 0.003969 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ2X | 210 | Max Drift Y | 0.000418 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2Y | 209 | Max Drift X | 5.8E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ2Y | 210 | Max Drift Y | 0.003593 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2XMIN | 210 | Max Drift X | 0.003962 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2XMIN | 179 | Max Drift Y | 0.000212 | 46.1 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2XMAX | 209 | Max Drift X | 0.003982 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ2XMAX | 210 | Max Drift Y | 0.000666 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2YMIN | 209 | Max Drift X | 8E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ2YMIN | 210 | Max Drift Y | 0.004025 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ2YMAX | 209 | Max Drift X | 3.6E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ2YMAX | 210 | Max Drift Y | 0.00316 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1X | 209 | Max Drift X | 0.003965 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ1X | 210 | Max Drift Y | 0.000378 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1Y | 209 | Max Drift X | 5.4E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ1Y | 210 | Max Drift Y | 0.003553 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1XMIN | 210 | Max Drift X | 0.003961 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1XMIN | 179 | Max Drift Y | 0.000199 | 46.1 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1XMAX | 209 | Max Drift X | 0.003977 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ1XMAX | 210 | Max Drift Y | 0.000626 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1YMIN | 209 | Max Drift X | 7.6E-05 | 52.3 | 13.95 | 48.05 |
| UPPER ROOF | PFEQ1YMIN | 210 | Max Drift Y | 0.003985 | 52.3 | 14.75 | 48.05 |
| UPPER ROOF | PFEQ1YMAX | 162 | Max Drift X | 3.7E-05 | 54.15 | 11.05 | 48.05 |
| UPPER ROOF | PFEQ1YMAX | 210 | Max Drift Y | 0.00312 | 52.3 | 14.75 | 48.05 |
| PENTHOUSE | OW | 156 | Max Drift X | 0.000112 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | OW | 368 | Max Drift Y | 0.000136 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQDL | 156 | Max Drift X | 7E-06 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | EQDL | 368 | Max Drift Y | 1E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | LL | 156 | Max Drift X | 2.5E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | LL | 368 | Max Drift Y | 3.9E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | FACADE | 358 | Max Drift X | 5E-06 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | FACADE | 368 | Max Drift Y | 4E-06 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQX | 358 | Max Drift X | 0.000408 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | EQX | 99 | Max Drift Y | 7.2E-05 | 65.15 | 9.5 | 43.7 |
| PENTHOUSE | EQY | 263 | Max Drift X | 7.7E-05 | 46.9 | 26.2 | 43.7 |
| PENTHOUSE | EQY | 368 | Max Drift Y | 0.000432 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQXMIN | 358 | Max Drift X | 0.000502 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | EQXMIN | 368 | Max Drift Y | 0.000207 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQXMAX | 156 | Max Drift X | 0.000402 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | EQXMAX | 368 | Max Drift Y | 6.2E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQYMIN | 358 | Max Drift X | 0.000216 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | EQYMIN | 368 | Max Drift Y | 0.000635 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | EQYMAX | 156 | Max Drift X | 0.000106 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | EQYMAX | 248 | Max Drift Y | 0.000425 | 36.5 | 24.05 | 43.7 |
| PENTHOUSE | WCX | 358 | Max Drift X | 8.8E-05 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | WCX | 368 | Max Drift Y | 1.2E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCY | 263 | Max Drift X | 2.2E-05 | 46.9 | 26.2 | 43.7 |
| PENTHOUSE | WCY | 368 | Max Drift Y | 0.000122 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCXB1 | 156 | Max Drift X | 7.6E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | WCXB1 | 58 | Max Drift Y | 2.1E-05 | 65.15 | 5.35 | 43.7 |
| PENTHOUSE | DELDL | 156 | Max Drift X | 1.7E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | DELDL | 368 | Max Drift Y | 2.7E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCXB2 | 263 | Max Drift X | 8.7E-05 | 46.9 | 26.2 | 43.7 |
| PENTHOUSE | WCXB2 | 366 | Max Drift Y | 3.8E-05 | 65.15 | 19.3 | 43.7 |
| PENTHOUSE | WCYB2 | 358 | Max Drift X | 5.2E-05 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | WCYB2 | 368 | Max Drift Y | 0.000145 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCYB1 | 156 | Max Drift X | 3E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | WCYB1 | 248 | Max Drift Y | 9.6E-05 | 36.5 | 24.05 | 43.7 |
| PENTHOUSE | WCC | 156 | Max Drift X | 6.3E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | WCC | 368 | Max Drift Y | 8.3E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCD1 | 156 | Max Drift X | 9.4E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | WCD1 | 368 | Max Drift Y | 0.000124 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | WCD2 | 263 | Max Drift X | 8E-05 | 46.9 | 26.2 | 43.7 |
| PENTHOUSE | WCD2 | 234 | Max Drift Y | 9.3E-05 | 36.5 | 13.95 | 43.7 |
| PENTHOUSE | PF1 | 156 | Max Drift X | 0.000174 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF1 | 368 | Max Drift Y | 0.000234 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF2 | 156 | Max Drift X | 0.000185 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF2 | 368 | Max Drift Y | 0.000255 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WX | 156 | Max Drift X | 0.000255 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WX | 366 | Max Drift Y | 0.000192 | 65.15 | 19.3 | 43.7 |
| PENTHOUSE | PF4WY | 156 | Max Drift X | 0.000173 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WY | 368 | Max Drift Y | 0.00038 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WXB1 | 156 | Max Drift X | 0.000262 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WXB1 | 58 | Max Drift Y | 0.000238 | 65.15 | 5.35 | 43.7 |
| PENTHOUSE | PF4WXB2 | 156 | Max Drift X | 0.000197 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WXB2 | 368 | Max Drift Y | 0.000155 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WYB1 | 156 | Max Drift X | 0.000114 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WYB1 | 368 | Max Drift Y | 0.000262 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WYB2 | 156 | Max Drift X | 0.000224 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WYB2 | 368 | Max Drift Y | 0.000412 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WCC | 156 | Max Drift X | 0.000243 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WCC | 368 | Max Drift Y | 0.000325 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WCD1 | 156 | Max Drift X | 0.000287 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WCD1 | 368 | Max Drift Y | 0.000383 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4WCD2 | 156 | Max Drift X | 0.000156 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4WCD2 | 368 | Max Drift Y | 0.000209 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCD2 | 156 | Max Drift X | 0.000112 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCD2 | 368 | Max Drift Y | 0.00015 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCX | 156 | Max Drift X | 0.000211 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCX | 368 | Max Drift Y | 0.000134 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCY | 156 | Max Drift X | 0.00013 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCY | 368 | Max Drift Y | 0.000322 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCXB1 | 156 | Max Drift X | 0.000219 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCXB1 | 58 | Max Drift Y | 0.000179 | 65.15 | 5.35 | 43.7 |
| PENTHOUSE | PF4BWCXB2 | 156 | Max Drift X | 0.000154 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCXB2 | 368 | Max Drift Y | 9.7E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCYB1 | 156 | Max Drift X | 7E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCYB1 | 368 | Max Drift Y | 0.000204 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCYB2 | 156 | Max Drift X | 0.00018 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCYB2 | 368 | Max Drift Y | 0.000354 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCC | 156 | Max Drift X | 0.0002 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCC | 368 | Max Drift Y | 0.000266 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4BWCD1 | 156 | Max Drift X | 0.000243 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4BWCD1 | 368 | Max Drift Y | 0.000324 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCX | 156 | Max Drift X | 0.000221 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCX | 368 | Max Drift Y | 0.000149 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCY | 156 | Max Drift X | 0.00014 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCY | 368 | Max Drift Y | 0.000337 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCXB1 | 156 | Max Drift X | 0.000229 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCXB1 | 58 | Max Drift Y | 0.000195 | 65.15 | 5.35 | 43.7 |
| PENTHOUSE | PF4DWCXB2 | 156 | Max Drift X | 0.000164 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCXB2 | 368 | Max Drift Y | 0.000112 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CYB1 | 156 | Max Drift X | 8E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CYB1 | 368 | Max Drift Y | 0.000219 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CYB2 | 156 | Max Drift X | 0.00019 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CYB2 | 368 | Max Drift Y | 0.000369 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCC | 156 | Max Drift X | 0.00021 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCC | 368 | Max Drift Y | 0.000282 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCD1 | 156 | Max Drift X | 0.000253 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCD1 | 368 | Max Drift Y | 0.00034 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4DWCD2 | 156 | Max Drift X | 0.000122 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4DWCD2 | 368 | Max Drift Y | 0.000166 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCX | 156 | Max Drift X | 0.000265 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCX | 366 | Max Drift Y | 0.000208 | 65.15 | 19.3 | 43.7 |
| PENTHOUSE | PF4CWCY | 156 | Max Drift X | 0.000183 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCY | 368 | Max Drift Y | 0.000395 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCXB1 | 156 | Max Drift X | 0.000272 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCXB1 | 58 | Max Drift Y | 0.000253 | 65.15 | 5.35 | 43.7 |
| PENTHOUSE | PF4CWCXB2 | 156 | Max Drift X | 0.000207 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCXB2 | 368 | Max Drift Y | 0.000171 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCYB1 | 156 | Max Drift X | 0.000124 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCYB1 | 368 | Max Drift Y | 0.000278 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCYB2 | 156 | Max Drift X | 0.000234 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCYB2 | 368 | Max Drift Y | 0.000427 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCC | 156 | Max Drift X | 0.000253 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCC | 368 | Max Drift Y | 0.00034 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCD1 | 156 | Max Drift X | 0.000297 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCD1 | 368 | Max Drift Y | 0.000398 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PF4CWCD2 | 156 | Max Drift X | 0.000166 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PF4CWCD2 | 368 | Max Drift Y | 0.000224 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ2X | 156 | Max Drift X | 0.000432 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ2X | 368 | Max Drift Y | 0.00011 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ2Y | 156 | Max Drift X | 0.000179 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ2Y | 368 | Max Drift Y | 0.000614 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ2XMIN | 358 | Max Drift X | 0.000419 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | PFEQ2XMIN | 21 | Max Drift Y | 8.2E-05 | 36.5 | 26.2 | 43.7 |
| PENTHOUSE | PFEQ2XMAX | 156 | Max Drift X | 0.000536 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ2XMAX | 368 | Max Drift Y | 0.000245 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ2YMIN | 156 | Max Drift X | 0.00033 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ2YMIN | 368 | Max Drift Y | 0.000817 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ2YMAX | 156 | Max Drift X | 2.9E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ2YMAX | 368 | Max Drift Y | 0.000411 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ1X | 156 | Max Drift X | 0.000422 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ1X | 368 | Max Drift Y | 9.5E-05 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ1Y | 156 | Max Drift X | 0.000169 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ1Y | 368 | Max Drift Y | 0.000599 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ1XMIN | 358 | Max Drift X | 0.000427 | 64.35 | 26.2 | 43.7 |
| PENTHOUSE | PFEQ1XMIN | 21 | Max Drift Y | 8.7E-05 | 36.5 | 26.2 | 43.7 |
| PENTHOUSE | PFEQ1XMAX | 156 | Max Drift X | 0.000526 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ1XMAX | 368 | Max Drift Y | 0.000229 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ1YMIN | 156 | Max Drift X | 0.00032 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ1YMIN | 368 | Max Drift Y | 0.000801 | 65.15 | 24.05 | 43.7 |
| PENTHOUSE | PFEQ1YMAX | 156 | Max Drift X | 1.9E-05 | 54.15 | 1.8 | 43.7 |
| PENTHOUSE | PFEQ1YMAX | 368 | Max Drift Y | 0.000396 | 65.15 | 24.05 | 43.7 |
| Story14 | OW | 434 | Max Drift X | 0.000141 | 51.4 | 0 | 40.23 |
| Story14 | OW | 432 | Max Drift Y | 0.00016 | 67.3 | 10.6 | 40.23 |
| Story14 | EQDL | 434 | Max Drift X | 9E-06 | 51.4 | 0 | 40.23 |
| Story14 | EQDL | 432 | Max Drift Y | 1.2E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | LL | 434 | Max Drift X | 3.3E-05 | 51.4 | 0 | 40.23 |
| Story14 | LL | 432 | Max Drift Y | 4.5E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | FACADE | 428 | Max Drift X | 7E-06 | 52.3 | 27.95 | 40.23 |
| Story14 | FACADE | 432 | Max Drift Y | 7E-06 | 67.3 | 10.6 | 40.23 |
| Story14 | EQX | 430 | Max Drift X | 0.000431 | 55.8 | 27.95 | 40.23 |
| Story14 | EQX | 432 | Max Drift Y | 8.5E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | EQY | 428 | Max Drift X | 8E-05 | 52.3 | 27.95 | 40.23 |
| Story14 | EQY | 432 | Max Drift Y | 0.00045 | 67.3 | 10.6 | 40.23 |
| Story14 | EQXMIN | 430 | Max Drift X | 0.000545 | 55.8 | 27.95 | 40.23 |
| Story14 | EQXMIN | 432 | Max Drift Y | 0.000245 | 67.3 | 10.6 | 40.23 |
| Story14 | EQXMAX | 434 | Max Drift X | 0.000422 | 51.4 | 0 | 40.23 |
| Story14 | EQXMAX | 432 | Max Drift Y | 7.4E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | EQYMIN | 428 | Max Drift X | 0.000246 | 52.3 | 27.95 | 40.23 |
| Story14 | EQYMIN | 432 | Max Drift Y | 0.000689 | 67.3 | 10.6 | 40.23 |
| Story14 | EQYMAX | 434 | Max Drift X | 0.000137 | 51.4 | 0 | 40.23 |
| Story14 | EQYMAX | 421 | Max Drift Y | 0.000476 | 34.4 | 6.45 | 40.23 |
| Story14 | WCX | 430 | Max Drift X | 9.3E-05 | 55.8 | 27.95 | 40.23 |
| Story14 | WCX | 432 | Max Drift Y | 1.5E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | WCY | 428 | Max Drift X | 2.2E-05 | 52.3 | 27.95 | 40.23 |
| Story14 | WCY | 432 | Max Drift Y | 0.000127 | 67.3 | 10.6 | 40.23 |
| Story14 | WCXB1 | 434 | Max Drift X | 8.1E-05 | 51.4 | 0 | 40.23 |
| Story14 | WCXB1 | 432 | Max Drift Y | 2.4E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | DELDL | 434 | Max Drift X | 2.2E-05 | 51.4 | 0 | 40.23 |
| Story14 | DELDL | 432 | Max Drift Y | 3.1E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | WCXB2 | 430 | Max Drift X | 9.4E-05 | 55.8 | 27.95 | 40.23 |
| Story14 | WCXB2 | 432 | Max Drift Y | 4.5E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | WCYB2 | 428 | Max Drift X | 6E-05 | 52.3 | 27.95 | 40.23 |
| Story14 | WCYB2 | 432 | Max Drift Y | 0.000157 | 67.3 | 10.6 | 40.23 |
| Story14 | WCYB1 | 434 | Max Drift X | 3.7E-05 | 51.4 | 0 | 40.23 |
| Story14 | WCYB1 | 421 | Max Drift Y | 0.000107 | 34.4 | 6.45 | 40.23 |
| Story14 | WCC | 434 | Max Drift X | 6.3E-05 | 51.4 | 0 | 40.23 |
| Story14 | WCC | 432 | Max Drift Y | 8.4E-05 | 67.3 | 10.6 | 40.23 |
| Story14 | WCD1 | 434 | Max Drift X | 0.000103 | 51.4 | 0 | 40.23 |
| Story14 | WCD1 | 432 | Max Drift Y | 0.000136 | 67.3 | 10.6 | 40.23 |
| Story14 | WCD2 | 428 | Max Drift X | 9E-05 | 52.3 | 27.95 | 40.23 |
| Story14 | WCD2 | 417 | Max Drift Y | 0.000107 | 34.4 | 20.5 | 40.23 |
| Story14 | PF1 | 434 | Max Drift X | 0.000225 | 51.4 | 0 | 40.23 |
| Story14 | PF1 | 432 | Max Drift Y | 0.000276 | 67.3 | 10.6 | 40.23 |
| Story14 | PF2 | 434 | Max Drift X | 0.000241 | 51.4 | 0 | 40.23 |
| Story14 | PF2 | 432 | Max Drift Y | 0.000301 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WX | 434 | Max Drift X | 0.0003 | 51.4 | 0 | 40.23 |
| Story14 | PF4WX | 432 | Max Drift Y | 0.000226 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WY | 434 | Max Drift X | 0.000219 | 51.4 | 0 | 40.23 |
| Story14 | PF4WY | 432 | Max Drift Y | 0.000424 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WXB1 | 434 | Max Drift X | 0.000314 | 51.4 | 0 | 40.23 |
| Story14 | PF4WXB1 | 432 | Max Drift Y | 0.00028 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WXB2 | 434 | Max Drift X | 0.000237 | 51.4 | 0 | 40.23 |
| Story14 | PF4WXB2 | 432 | Max Drift Y | 0.000183 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WYB1 | 434 | Max Drift X | 0.00015 | 51.4 | 0 | 40.23 |
| Story14 | PF4WYB1 | 432 | Max Drift Y | 0.000293 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WYB2 | 434 | Max Drift X | 0.00028 | 51.4 | 0 | 40.23 |
| Story14 | PF4WYB2 | 432 | Max Drift Y | 0.000467 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WCC | 434 | Max Drift X | 0.000289 | 51.4 | 0 | 40.23 |
| Story14 | PF4WCC | 432 | Max Drift Y | 0.000365 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WCD1 | 434 | Max Drift X | 0.000345 | 51.4 | 0 | 40.23 |
| Story14 | PF4WCD1 | 432 | Max Drift Y | 0.000437 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4WCD2 | 434 | Max Drift X | 0.000189 | 51.4 | 0 | 40.23 |
| Story14 | PF4WCD2 | 432 | Max Drift Y | 0.000234 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCD2 | 434 | Max Drift X | 0.000133 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCD2 | 432 | Max Drift Y | 0.000165 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCX | 434 | Max Drift X | 0.000244 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCX | 432 | Max Drift Y | 0.000157 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCY | 434 | Max Drift X | 0.000163 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCY | 432 | Max Drift Y | 0.000355 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCXB1 | 434 | Max Drift X | 0.000258 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCXB1 | 432 | Max Drift Y | 0.000211 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCXB2 | 434 | Max Drift X | 0.000181 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCXB2 | 432 | Max Drift Y | 0.000114 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCYB1 | 434 | Max Drift X | 9.3E-05 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCYB1 | 432 | Max Drift Y | 0.000224 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCYB2 | 434 | Max Drift X | 0.000224 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCYB2 | 432 | Max Drift Y | 0.000398 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCC | 434 | Max Drift X | 0.000233 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCC | 432 | Max Drift Y | 0.000296 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4BWCD1 | 434 | Max Drift X | 0.000289 | 51.4 | 0 | 40.23 |
| Story14 | PF4BWCD1 | 432 | Max Drift Y | 0.000368 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCX | 434 | Max Drift X | 0.000257 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCX | 432 | Max Drift Y | 0.000175 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCY | 434 | Max Drift X | 0.000176 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCY | 432 | Max Drift Y | 0.000373 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCXB1 | 434 | Max Drift X | 0.000271 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCXB1 | 432 | Max Drift Y | 0.000229 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCXB2 | 434 | Max Drift X | 0.000194 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCXB2 | 432 | Max Drift Y | 0.000132 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CYB1 | 434 | Max Drift X | 0.000106 | 51.4 | 0 | 40.23 |
| Story14 | PF4CYB1 | 432 | Max Drift Y | 0.000242 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CYB2 | 434 | Max Drift X | 0.000237 | 51.4 | 0 | 40.23 |
| Story14 | PF4CYB2 | 432 | Max Drift Y | 0.000416 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCC | 434 | Max Drift X | 0.000246 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCC | 432 | Max Drift Y | 0.000314 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCD1 | 434 | Max Drift X | 0.000302 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCD1 | 432 | Max Drift Y | 0.000385 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4DWCD2 | 434 | Max Drift X | 0.000146 | 51.4 | 0 | 40.23 |
| Story14 | PF4DWCD2 | 432 | Max Drift Y | 0.000183 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCX | 434 | Max Drift X | 0.000314 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCX | 432 | Max Drift Y | 0.000244 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCY | 434 | Max Drift X | 0.000232 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCY | 432 | Max Drift Y | 0.000442 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCXB1 | 434 | Max Drift X | 0.000327 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCXB1 | 432 | Max Drift Y | 0.000298 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCXB2 | 434 | Max Drift X | 0.00025 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCXB2 | 432 | Max Drift Y | 0.000201 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCYB1 | 434 | Max Drift X | 0.000163 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCYB1 | 432 | Max Drift Y | 0.000311 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCYB2 | 434 | Max Drift X | 0.000293 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCYB2 | 432 | Max Drift Y | 0.000485 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCC | 434 | Max Drift X | 0.000302 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCC | 432 | Max Drift Y | 0.000383 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCD1 | 434 | Max Drift X | 0.000358 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCD1 | 432 | Max Drift Y | 0.000455 | 67.3 | 10.6 | 40.23 |
| Story14 | PF4CWCD2 | 434 | Max Drift X | 0.000203 | 51.4 | 0 | 40.23 |
| Story14 | PF4CWCD2 | 432 | Max Drift Y | 0.000252 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ2X | 434 | Max Drift X | 0.000471 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ2X | 432 | Max Drift Y | 0.00013 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ2Y | 434 | Max Drift X | 0.000219 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ2Y | 432 | Max Drift Y | 0.000666 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ2XMIN | 430 | Max Drift X | 0.000448 | 55.8 | 27.95 | 40.23 |
| Story14 | PFEQ2XMIN | 421 | Max Drift Y | 9.1E-05 | 34.4 | 6.45 | 40.23 |
| Story14 | PFEQ2XMAX | 434 | Max Drift X | 0.000596 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ2XMAX | 432 | Max Drift Y | 0.000289 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ2YMIN | 434 | Max Drift X | 0.0004 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ2YMIN | 432 | Max Drift Y | 0.000904 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ2YMAX | 434 | Max Drift X | 3.7E-05 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ2YMAX | 432 | Max Drift Y | 0.000427 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ1X | 434 | Max Drift X | 0.000458 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ1X | 432 | Max Drift Y | 0.000112 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ1Y | 434 | Max Drift X | 0.000205 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ1Y | 432 | Max Drift Y | 0.000648 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ1XMIN | 430 | Max Drift X | 0.000457 | 55.8 | 27.95 | 40.23 |
| Story14 | PFEQ1XMIN | 421 | Max Drift Y | 9.8E-05 | 34.4 | 6.45 | 40.23 |
| Story14 | PFEQ1XMAX | 434 | Max Drift X | 0.000583 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ1XMAX | 432 | Max Drift Y | 0.000271 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ1YMIN | 434 | Max Drift X | 0.000387 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ1YMIN | 432 | Max Drift Y | 0.000886 | 67.3 | 10.6 | 40.23 |
| Story14 | PFEQ1YMAX | 434 | Max Drift X | 2.4E-05 | 51.4 | 0 | 40.23 |
| Story14 | PFEQ1YMAX | 432 | Max Drift Y | 0.000409 | 67.3 | 10.6 | 40.23 |
| Story13 | OW | 472 | Max Drift X | 0.00017 | 48.9 | 0 | 36.98 |
| Story13 | OW | 468 | Max Drift Y | 0.000176 | 67.3 | 6.45 | 36.98 |
| Story13 | EQDL | 472 | Max Drift X | 1.1E-05 | 48.9 | 0 | 36.98 |
| Story13 | EQDL | 468 | Max Drift Y | 1.3E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | LL | 472 | Max Drift X | 4E-05 | 48.9 | 0 | 36.98 |
| Story13 | LL | 468 | Max Drift Y | 4.9E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | FACADE | 430 | Max Drift X | 7E-06 | 55.8 | 27.95 | 36.98 |
| Story13 | FACADE | 468 | Max Drift Y | 8E-06 | 67.3 | 6.45 | 36.98 |
| Story13 | EQX | 430 | Max Drift X | 0.00044 | 55.8 | 27.95 | 36.98 |
| Story13 | EQX | 468 | Max Drift Y | 9.8E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | EQY | 430 | Max Drift X | 8.1E-05 | 55.8 | 27.95 | 36.98 |
| Story13 | EQY | 468 | Max Drift Y | 0.000456 | 67.3 | 6.45 | 36.98 |
| Story13 | EQXMIN | 423 | Max Drift X | 0.000553 | 46.9 | 27.95 | 36.98 |
| Story13 | EQXMIN | 436 | Max Drift Y | 0.000256 | 67.3 | 22.05 | 36.98 |
| Story13 | EQXMAX | 472 | Max Drift X | 0.000405 | 48.9 | 0 | 36.98 |
| Story13 | EQXMAX | 468 | Max Drift Y | 6E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | EQYMIN | 430 | Max Drift X | 0.000248 | 55.8 | 27.95 | 36.98 |
| Story13 | EQYMIN | 468 | Max Drift Y | 0.000693 | 67.3 | 6.45 | 36.98 |
| Story13 | EQYMAX | 472 | Max Drift X | 0.000133 | 48.9 | 0 | 36.98 |
| Story13 | EQYMAX | 483 | Max Drift Y | 0.000486 | 33.35 | 14.75 | 36.98 |
| Story13 | WCX | 430 | Max Drift X | 9.5E-05 | 55.8 | 27.95 | 36.98 |
| Story13 | WCX | 468 | Max Drift Y | 1.8E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | WCY | 430 | Max Drift X | 2.3E-05 | 55.8 | 27.95 | 36.98 |
| Story13 | WCY | 468 | Max Drift Y | 0.000128 | 67.3 | 6.45 | 36.98 |
| Story13 | WCXB1 | 472 | Max Drift X | 7.7E-05 | 48.9 | 0 | 36.98 |
| Story13 | WCXB1 | 468 | Max Drift Y | 2E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | DELDL | 472 | Max Drift X | 2.7E-05 | 48.9 | 0 | 36.98 |
| Story13 | DELDL | 468 | Max Drift Y | 3.3E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | WCXB2 | 423 | Max Drift X | 9.6E-05 | 46.9 | 27.95 | 36.98 |
| Story13 | WCXB2 | 468 | Max Drift Y | 4.7E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | WCYB2 | 430 | Max Drift X | 6E-05 | 55.8 | 27.95 | 36.98 |
| Story13 | WCYB2 | 468 | Max Drift Y | 0.000158 | 67.3 | 6.45 | 36.98 |
| Story13 | WCYB1 | 472 | Max Drift X | 3.6E-05 | 48.9 | 0 | 36.98 |
| Story13 | WCYB1 | 483 | Max Drift Y | 0.000109 | 33.35 | 14.75 | 36.98 |
| Story13 | WCC | 472 | Max Drift X | 5.9E-05 | 48.9 | 0 | 36.98 |
| Story13 | WCC | 468 | Max Drift Y | 8.2E-05 | 67.3 | 6.45 | 36.98 |
| Story13 | WCD1 | 472 | Max Drift X | 9.8E-05 | 48.9 | 0 | 36.98 |
| Story13 | WCD1 | 468 | Max Drift Y | 0.000133 | 67.3 | 6.45 | 36.98 |
| Story13 | WCD2 | 423 | Max Drift X | 9.1E-05 | 46.9 | 27.95 | 36.98 |
| Story13 | WCD2 | 483 | Max Drift Y | 0.000112 | 33.35 | 14.75 | 36.98 |
| Story13 | PF1 | 472 | Max Drift X | 0.000275 | 48.9 | 0 | 36.98 |
| Story13 | PF1 | 468 | Max Drift Y | 0.000304 | 67.3 | 6.45 | 36.98 |
| Story13 | PF2 | 472 | Max Drift X | 0.000294 | 48.9 | 0 | 36.98 |
| Story13 | PF2 | 468 | Max Drift Y | 0.00033 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WX | 472 | Max Drift X | 0.000339 | 48.9 | 0 | 36.98 |
| Story13 | PF4WX | 468 | Max Drift Y | 0.000247 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WY | 472 | Max Drift X | 0.000264 | 48.9 | 0 | 36.98 |
| Story13 | PF4WY | 468 | Max Drift Y | 0.000451 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WXB1 | 472 | Max Drift X | 0.000353 | 48.9 | 0 | 36.98 |
| Story13 | PF4WXB1 | 468 | Max Drift Y | 0.0003 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WXB2 | 472 | Max Drift X | 0.000279 | 48.9 | 0 | 36.98 |
| Story13 | PF4WXB2 | 468 | Max Drift Y | 0.000205 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WYB1 | 472 | Max Drift X | 0.000196 | 48.9 | 0 | 36.98 |
| Story13 | PF4WYB1 | 468 | Max Drift Y | 0.00032 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WYB2 | 472 | Max Drift X | 0.000322 | 48.9 | 0 | 36.98 |
| Story13 | PF4WYB2 | 468 | Max Drift Y | 0.000492 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WCC | 472 | Max Drift X | 0.000329 | 48.9 | 0 | 36.98 |
| Story13 | PF4WCC | 468 | Max Drift Y | 0.000387 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WCD1 | 472 | Max Drift X | 0.000384 | 48.9 | 0 | 36.98 |
| Story13 | PF4WCD1 | 468 | Max Drift Y | 0.000459 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4WCD2 | 472 | Max Drift X | 0.000233 | 48.9 | 0 | 36.98 |
| Story13 | PF4WCD2 | 468 | Max Drift Y | 0.000258 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCD2 | 472 | Max Drift X | 0.000164 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCD2 | 468 | Max Drift Y | 0.000182 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCX | 472 | Max Drift X | 0.00027 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCX | 468 | Max Drift Y | 0.00017 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCY | 472 | Max Drift X | 0.000195 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCY | 468 | Max Drift Y | 0.000375 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCXB1 | 472 | Max Drift X | 0.000284 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCXB1 | 468 | Max Drift Y | 0.000224 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCXB2 | 472 | Max Drift X | 0.00021 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCXB2 | 468 | Max Drift Y | 0.000129 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCYB1 | 472 | Max Drift X | 0.000127 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCYB1 | 468 | Max Drift Y | 0.000244 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCYB2 | 472 | Max Drift X | 0.000253 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCYB2 | 468 | Max Drift Y | 0.000416 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCC | 472 | Max Drift X | 0.00026 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCC | 468 | Max Drift Y | 0.000311 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4BWCD1 | 472 | Max Drift X | 0.000315 | 48.9 | 0 | 36.98 |
| Story13 | PF4BWCD1 | 468 | Max Drift Y | 0.000382 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCX | 472 | Max Drift X | 0.000286 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCX | 468 | Max Drift Y | 0.00019 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCY | 472 | Max Drift X | 0.000211 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCY | 468 | Max Drift Y | 0.000395 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCXB1 | 472 | Max Drift X | 0.0003 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCXB1 | 468 | Max Drift Y | 0.000244 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCXB2 | 472 | Max Drift X | 0.000226 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCXB2 | 468 | Max Drift Y | 0.000149 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CYB1 | 472 | Max Drift X | 0.000143 | 48.9 | 0 | 36.98 |
| Story13 | PF4CYB1 | 468 | Max Drift Y | 0.000264 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CYB2 | 472 | Max Drift X | 0.000269 | 48.9 | 0 | 36.98 |
| Story13 | PF4CYB2 | 468 | Max Drift Y | 0.000436 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCC | 472 | Max Drift X | 0.000276 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCC | 468 | Max Drift Y | 0.000331 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCD1 | 472 | Max Drift X | 0.000331 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCD1 | 468 | Max Drift Y | 0.000402 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4DWCD2 | 472 | Max Drift X | 0.00018 | 48.9 | 0 | 36.98 |
| Story13 | PF4DWCD2 | 468 | Max Drift Y | 0.000202 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCX | 472 | Max Drift X | 0.000355 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCX | 468 | Max Drift Y | 0.000266 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCY | 472 | Max Drift X | 0.00028 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCY | 468 | Max Drift Y | 0.000471 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCXB1 | 472 | Max Drift X | 0.000369 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCXB1 | 468 | Max Drift Y | 0.00032 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCXB2 | 472 | Max Drift X | 0.000295 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCXB2 | 468 | Max Drift Y | 0.000225 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCYB1 | 472 | Max Drift X | 0.000212 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCYB1 | 468 | Max Drift Y | 0.00034 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCYB2 | 472 | Max Drift X | 0.000338 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCYB2 | 468 | Max Drift Y | 0.000512 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCC | 472 | Max Drift X | 0.000345 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCC | 468 | Max Drift Y | 0.000407 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCD1 | 472 | Max Drift X | 0.0004 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCD1 | 468 | Max Drift Y | 0.000478 | 67.3 | 6.45 | 36.98 |
| Story13 | PF4CWCD2 | 472 | Max Drift X | 0.000249 | 48.9 | 0 | 36.98 |
| Story13 | PF4CWCD2 | 468 | Max Drift Y | 0.000278 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ2X | 472 | Max Drift X | 0.000496 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ2X | 467 | Max Drift Y | 0.000139 | 67.3 | 20.5 | 36.98 |
| Story13 | PFEQ2Y | 472 | Max Drift X | 0.000256 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ2Y | 468 | Max Drift Y | 0.000693 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ2XMIN | 423 | Max Drift X | 0.000457 | 46.9 | 27.95 | 36.98 |
| Story13 | PFEQ2XMIN | 483 | Max Drift Y | 8.1E-05 | 33.35 | 14.75 | 36.98 |
| Story13 | PFEQ2XMAX | 472 | Max Drift X | 0.000618 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ2XMAX | 468 | Max Drift Y | 0.000297 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ2YMIN | 472 | Max Drift X | 0.000434 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ2YMIN | 468 | Max Drift Y | 0.00093 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ2YMAX | 472 | Max Drift X | 7.9E-05 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ2YMAX | 468 | Max Drift Y | 0.000456 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ1X | 472 | Max Drift X | 0.00048 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ1X | 467 | Max Drift Y | 0.000119 | 67.3 | 20.5 | 36.98 |
| Story13 | PFEQ1Y | 472 | Max Drift X | 0.00024 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ1Y | 468 | Max Drift Y | 0.000674 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ1XMIN | 423 | Max Drift X | 0.000465 | 46.9 | 27.95 | 36.98 |
| Story13 | PFEQ1XMIN | 483 | Max Drift Y | 9.1E-05 | 33.35 | 14.75 | 36.98 |
| Story13 | PFEQ1XMAX | 472 | Max Drift X | 0.000602 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ1XMAX | 468 | Max Drift Y | 0.000277 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ1YMIN | 472 | Max Drift X | 0.000418 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ1YMIN | 468 | Max Drift Y | 0.000911 | 67.3 | 6.45 | 36.98 |
| Story13 | PFEQ1YMAX | 472 | Max Drift X | 6.3E-05 | 48.9 | 0 | 36.98 |
| Story13 | PFEQ1YMAX | 468 | Max Drift Y | 0.000436 | 67.3 | 6.45 | 36.98 |
| Story12 | OW | 559 | Max Drift X | 0.000143 | 54.15 | 0 | 34.03 |
| Story12 | OW | 468 | Max Drift Y | 0.000144 | 67.3 | 6.45 | 34.03 |
| Story12 | EQDL | 559 | Max Drift X | 9E-06 | 54.15 | 0 | 34.03 |
| Story12 | EQDL | 468 | Max Drift Y | 1.1E-05 | 67.3 | 6.45 | 34.03 |
| Story12 | LL | 559 | Max Drift X | 3.3E-05 | 54.15 | 0 | 34.03 |
| Story12 | LL | 468 | Max Drift Y | 4E-05 | 67.3 | 6.45 | 34.03 |
| Story12 | FACADE | 423 | Max Drift X | 6E-06 | 46.9 | 27.95 | 34.03 |
| Story12 | FACADE | 468 | Max Drift Y | 7E-06 | 67.3 | 6.45 | 34.03 |
| Story12 | EQX | 430 | Max Drift X | 0.000443 | 55.8 | 27.95 | 34.03 |
| Story12 | EQX | 554 | Max Drift Y | 8.1E-05 | 25.1 | 18.6 | 34.03 |
| Story12 | EQY | 423 | Max Drift X | 7.9E-05 | 46.9 | 27.95 | 34.03 |
| Story12 | EQY | 468 | Max Drift Y | 0.000463 | 67.3 | 6.45 | 34.03 |
| Story12 | EQXMIN | 430 | Max Drift X | 0.000546 | 55.8 | 27.95 | 34.03 |
| Story12 | EQXMIN | 558 | Max Drift Y | 0.000253 | 25.1 | 10.6 | 34.03 |
| Story12 | EQXMAX | 559 | Max Drift X | 0.000456 | 54.15 | 0 | 34.03 |
| Story12 | EQXMAX | 558 | Max Drift Y | 9.2E-05 | 25.1 | 10.6 | 34.03 |
| Story12 | EQYMIN | 423 | Max Drift X | 0.000235 | 46.9 | 27.95 | 34.03 |
| Story12 | EQYMIN | 468 | Max Drift Y | 0.00069 | 67.3 | 6.45 | 34.03 |
| Story12 | EQYMAX | 559 | Max Drift X | 0.000109 | 54.15 | 0 | 34.03 |
| Story12 | EQYMAX | 558 | Max Drift Y | 0.000517 | 25.1 | 10.6 | 34.03 |
| Story12 | WCX | 430 | Max Drift X | 9.5E-05 | 55.8 | 27.95 | 34.03 |
| Story12 | WCX | 558 | Max Drift Y | 1.5E-05 | 25.1 | 10.6 | 34.03 |
| Story12 | WCY | 423 | Max Drift X | 2.1E-05 | 46.9 | 27.95 | 34.03 |
| Story12 | WCY | 468 | Max Drift Y | 0.000129 | 67.3 | 6.45 | 34.03 |
| Story12 | WCXB1 | 559 | Max Drift X | 8.1E-05 | 54.15 | 0 | 34.03 |
| Story12 | WCXB1 | 558 | Max Drift Y | 2.6E-05 | 25.1 | 10.6 | 34.03 |
| Story12 | DELDL | 559 | Max Drift X | 2.2E-05 | 54.15 | 0 | 34.03 |
| Story12 | DELDL | 468 | Max Drift Y | 2.7E-05 | 67.3 | 6.45 | 34.03 |
| Story12 | WCXB2 | 430 | Max Drift X | 9.3E-05 | 55.8 | 27.95 | 34.03 |
| Story12 | WCXB2 | 493 | Max Drift Y | 4.8E-05 | 25.1 | 5.35 | 34.03 |
| Story12 | WCYB2 | 423 | Max Drift X | 5.6E-05 | 46.9 | 27.95 | 34.03 |
| Story12 | WCYB2 | 468 | Max Drift Y | 0.000156 | 67.3 | 6.45 | 34.03 |
| Story12 | WCYB1 | 559 | Max Drift X | 3.1E-05 | 54.15 | 0 | 34.03 |
| Story12 | WCYB1 | 558 | Max Drift Y | 0.00012 | 25.1 | 10.6 | 34.03 |
| Story12 | WCC | 559 | Max Drift X | 6.9E-05 | 54.15 | 0 | 34.03 |
| Story12 | WCC | 468 | Max Drift Y | 8.8E-05 | 67.3 | 6.45 | 34.03 |
| Story12 | WCD1 | 559 | Max Drift X | 0.0001 | 54.15 | 0 | 34.03 |
| Story12 | WCD1 | 468 | Max Drift Y | 0.000133 | 67.3 | 6.45 | 34.03 |
| Story12 | WCD2 | 423 | Max Drift X | 8.8E-05 | 46.9 | 27.95 | 34.03 |
| Story12 | WCD2 | 493 | Max Drift Y | 0.000126 | 25.1 | 5.35 | 34.03 |
| Story12 | PF1 | 559 | Max Drift X | 0.000229 | 54.15 | 0 | 34.03 |
| Story12 | PF1 | 468 | Max Drift Y | 0.000249 | 67.3 | 6.45 | 34.03 |
| Story12 | PF2 | 559 | Max Drift X | 0.000244 | 54.15 | 0 | 34.03 |
| Story12 | PF2 | 468 | Max Drift Y | 0.00027 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WX | 559 | Max Drift X | 0.000313 | 54.15 | 0 | 34.03 |
| Story12 | PF4WX | 468 | Max Drift Y | 0.000205 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WY | 559 | Max Drift X | 0.000225 | 54.15 | 0 | 34.03 |
| Story12 | PF4WY | 468 | Max Drift Y | 0.000403 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WXB1 | 559 | Max Drift X | 0.000318 | 54.15 | 0 | 34.03 |
| Story12 | PF4WXB1 | 468 | Max Drift Y | 0.000253 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WXB2 | 559 | Max Drift X | 0.000254 | 54.15 | 0 | 34.03 |
| Story12 | PF4WXB2 | 468 | Max Drift Y | 0.000166 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WYB1 | 559 | Max Drift X | 0.000162 | 54.15 | 0 | 34.03 |
| Story12 | PF4WYB1 | 468 | Max Drift Y | 0.000275 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WYB2 | 559 | Max Drift X | 0.000278 | 54.15 | 0 | 34.03 |
| Story12 | PF4WYB2 | 468 | Max Drift Y | 0.00044 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WCC | 559 | Max Drift X | 0.000301 | 54.15 | 0 | 34.03 |
| Story12 | PF4WCC | 468 | Max Drift Y | 0.000345 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WCD1 | 559 | Max Drift X | 0.000345 | 54.15 | 0 | 34.03 |
| Story12 | PF4WCD1 | 468 | Max Drift Y | 0.000408 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4WCD2 | 559 | Max Drift X | 0.000209 | 54.15 | 0 | 34.03 |
| Story12 | PF4WCD2 | 468 | Max Drift Y | 0.00022 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCD2 | 559 | Max Drift X | 0.000152 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCD2 | 468 | Max Drift Y | 0.000158 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCX | 559 | Max Drift X | 0.000256 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCX | 468 | Max Drift Y | 0.000143 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCY | 559 | Max Drift X | 0.000168 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCY | 468 | Max Drift Y | 0.000341 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCXB1 | 559 | Max Drift X | 0.000261 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCXB1 | 468 | Max Drift Y | 0.00019 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCXB2 | 559 | Max Drift X | 0.000196 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCXB2 | 468 | Max Drift Y | 0.000104 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCYB1 | 559 | Max Drift X | 0.000104 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCYB1 | 468 | Max Drift Y | 0.000213 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCYB2 | 559 | Max Drift X | 0.000221 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCYB2 | 468 | Max Drift Y | 0.000378 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCC | 559 | Max Drift X | 0.000244 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCC | 468 | Max Drift Y | 0.000283 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4BWCD1 | 559 | Max Drift X | 0.000288 | 54.15 | 0 | 34.03 |
| Story12 | PF4BWCD1 | 468 | Max Drift Y | 0.000346 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCX | 559 | Max Drift X | 0.000269 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCX | 468 | Max Drift Y | 0.000159 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCY | 559 | Max Drift X | 0.000181 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCY | 468 | Max Drift Y | 0.000357 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCXB1 | 559 | Max Drift X | 0.000274 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCXB1 | 468 | Max Drift Y | 0.000206 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCXB2 | 559 | Max Drift X | 0.00021 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCXB2 | 468 | Max Drift Y | 0.00012 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CYB1 | 559 | Max Drift X | 0.000117 | 54.15 | 0 | 34.03 |
| Story12 | PF4CYB1 | 468 | Max Drift Y | 0.000229 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CYB2 | 559 | Max Drift X | 0.000234 | 54.15 | 0 | 34.03 |
| Story12 | PF4CYB2 | 468 | Max Drift Y | 0.000394 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCC | 559 | Max Drift X | 0.000257 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCC | 468 | Max Drift Y | 0.000299 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCD1 | 559 | Max Drift X | 0.000301 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCD1 | 468 | Max Drift Y | 0.000362 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4DWCD2 | 559 | Max Drift X | 0.000165 | 54.15 | 0 | 34.03 |
| Story12 | PF4DWCD2 | 468 | Max Drift Y | 0.000174 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCX | 559 | Max Drift X | 0.000326 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCX | 468 | Max Drift Y | 0.000221 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCY | 559 | Max Drift X | 0.000238 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCY | 468 | Max Drift Y | 0.000419 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCXB1 | 559 | Max Drift X | 0.000331 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCXB1 | 468 | Max Drift Y | 0.000269 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCXB2 | 559 | Max Drift X | 0.000267 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCXB2 | 468 | Max Drift Y | 0.000182 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCYB1 | 559 | Max Drift X | 0.000175 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCYB1 | 468 | Max Drift Y | 0.000291 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCYB2 | 559 | Max Drift X | 0.000291 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCYB2 | 468 | Max Drift Y | 0.000456 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCC | 559 | Max Drift X | 0.000314 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCC | 468 | Max Drift Y | 0.000361 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCD1 | 559 | Max Drift X | 0.000358 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCD1 | 468 | Max Drift Y | 0.000424 | 67.3 | 6.45 | 34.03 |
| Story12 | PF4CWCD2 | 559 | Max Drift X | 0.000222 | 54.15 | 0 | 34.03 |
| Story12 | PF4CWCD2 | 468 | Max Drift Y | 0.000236 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ2X | 559 | Max Drift X | 0.000525 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ2X | 468 | Max Drift Y | 0.000131 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ2Y | 559 | Max Drift X | 0.000231 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ2Y | 468 | Max Drift Y | 0.000657 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ2XMIN | 430 | Max Drift X | 0.000498 | 55.8 | 27.95 | 34.03 |
| Story12 | PFEQ2XMIN | 558 | Max Drift Y | 0.000108 | 25.1 | 10.6 | 34.03 |
| Story12 | PFEQ2XMAX | 559 | Max Drift X | 0.000633 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ2XMAX | 468 | Max Drift Y | 0.000278 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ2YMIN | 559 | Max Drift X | 0.000395 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ2YMIN | 468 | Max Drift Y | 0.000884 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ2YMAX | 559 | Max Drift X | 6.7E-05 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ2YMAX | 468 | Max Drift Y | 0.00043 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ1X | 559 | Max Drift X | 0.000512 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ1X | 468 | Max Drift Y | 0.000115 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ1Y | 559 | Max Drift X | 0.000218 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ1Y | 468 | Max Drift Y | 0.000641 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ1XMIN | 430 | Max Drift X | 0.000503 | 55.8 | 27.95 | 34.03 |
| Story12 | PFEQ1XMIN | 558 | Max Drift Y | 0.000118 | 25.1 | 10.6 | 34.03 |
| Story12 | PFEQ1XMAX | 559 | Max Drift X | 0.00062 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ1XMAX | 468 | Max Drift Y | 0.000262 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ1YMIN | 559 | Max Drift X | 0.000382 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ1YMIN | 468 | Max Drift Y | 0.000868 | 67.3 | 6.45 | 34.03 |
| Story12 | PFEQ1YMAX | 559 | Max Drift X | 5.4E-05 | 54.15 | 0 | 34.03 |
| Story12 | PFEQ1YMAX | 468 | Max Drift Y | 0.000414 | 67.3 | 6.45 | 34.03 |
| Story11 | OW | 580 | Max Drift X | 0.000117 | 45.3 | 0 | 30.98 |
| Story11 | OW | 590 | Max Drift Y | 0.000137 | 69 | 6.45 | 30.98 |
| Story11 | EQDL | 580 | Max Drift X | 7E-06 | 45.3 | 0 | 30.98 |
| Story11 | EQDL | 590 | Max Drift Y | 1E-05 | 69 | 6.45 | 30.98 |
| Story11 | LL | 580 | Max Drift X | 2.6E-05 | 45.3 | 0 | 30.98 |
| Story11 | LL | 590 | Max Drift Y | 3.9E-05 | 69 | 6.45 | 30.98 |
| Story11 | FACADE | 567 | Max Drift X | 6E-06 | 42.85 | 27.95 | 30.98 |
| Story11 | FACADE | 590 | Max Drift Y | 7E-06 | 69 | 6.45 | 30.98 |
| Story11 | EQX | 567 | Max Drift X | 0.000447 | 42.85 | 27.95 | 30.98 |
| Story11 | EQX | 554 | Max Drift Y | 5.6E-05 | 25.1 | 18.6 | 30.98 |
| Story11 | EQY | 567 | Max Drift X | 7.8E-05 | 42.85 | 27.95 | 30.98 |
| Story11 | EQY | 590 | Max Drift Y | 0.000466 | 69 | 6.45 | 30.98 |
| Story11 | EQXMIN | 567 | Max Drift X | 0.000536 | 42.85 | 27.95 | 30.98 |
| Story11 | EQXMIN | 558 | Max Drift Y | 0.0002 | 25.1 | 10.6 | 30.98 |
| Story11 | EQXMAX | 580 | Max Drift X | 0.000475 | 45.3 | 0 | 30.98 |
| Story11 | EQXMAX | 590 | Max Drift Y | 9.4E-05 | 69 | 6.45 | 30.98 |
| Story11 | EQYMIN | 567 | Max Drift X | 0.000215 | 42.85 | 27.95 | 30.98 |
| Story11 | EQYMIN | 590 | Max Drift Y | 0.00069 | 69 | 6.45 | 30.98 |
| Story11 | EQYMAX | 580 | Max Drift X | 8.5E-05 | 45.3 | 0 | 30.98 |
| Story11 | EQYMAX | 558 | Max Drift Y | 0.000468 | 25.1 | 10.6 | 30.98 |
| Story11 | WCX | 567 | Max Drift X | 9.6E-05 | 42.85 | 27.95 | 30.98 |
| Story11 | WCX | 558 | Max Drift Y | 1E-05 | 25.1 | 10.6 | 30.98 |
| Story11 | WCY | 567 | Max Drift X | 2.1E-05 | 42.85 | 27.95 | 30.98 |
| Story11 | WCY | 590 | Max Drift Y | 0.000129 | 69 | 6.45 | 30.98 |
| Story11 | WCXB1 | 580 | Max Drift X | 8.2E-05 | 45.3 | 0 | 30.98 |
| Story11 | WCXB1 | 558 | Max Drift Y | 2.2E-05 | 25.1 | 10.6 | 30.98 |
| Story11 | DELDL | 580 | Max Drift X | 1.8E-05 | 45.3 | 0 | 30.98 |
| Story11 | DELDL | 590 | Max Drift Y | 2.6E-05 | 69 | 6.45 | 30.98 |
| Story11 | WCXB2 | 567 | Max Drift X | 9E-05 | 42.85 | 27.95 | 30.98 |
| Story11 | WCXB2 | 558 | Max Drift Y | 3.8E-05 | 25.1 | 10.6 | 30.98 |
| Story11 | WCYB2 | 423 | Max Drift X | 5.1E-05 | 46.9 | 27.95 | 30.98 |
| Story11 | WCYB2 | 590 | Max Drift Y | 0.000155 | 69 | 6.45 | 30.98 |
| Story11 | WCYB1 | 580 | Max Drift X | 2.5E-05 | 45.3 | 0 | 30.98 |
| Story11 | WCYB1 | 558 | Max Drift Y | 0.00011 | 25.1 | 10.6 | 30.98 |
| Story11 | WCC | 580 | Max Drift X | 7.4E-05 | 45.3 | 0 | 30.98 |
| Story11 | WCC | 590 | Max Drift Y | 9E-05 | 69 | 6.45 | 30.98 |
| Story11 | WCD1 | 580 | Max Drift X | 9.8E-05 | 45.3 | 0 | 30.98 |
| Story11 | WCD1 | 590 | Max Drift Y | 0.000133 | 69 | 6.45 | 30.98 |
| Story11 | WCD2 | 567 | Max Drift X | 8.3E-05 | 42.85 | 27.95 | 30.98 |
| Story11 | WCD2 | 558 | Max Drift Y | 0.000111 | 25.1 | 10.6 | 30.98 |
| Story11 | PF1 | 580 | Max Drift X | 0.000187 | 45.3 | 0 | 30.98 |
| Story11 | PF1 | 590 | Max Drift Y | 0.000239 | 69 | 6.45 | 30.98 |
| Story11 | PF2 | 580 | Max Drift X | 0.000198 | 45.3 | 0 | 30.98 |
| Story11 | PF2 | 590 | Max Drift Y | 0.00026 | 69 | 6.45 | 30.98 |
| Story11 | PF4WX | 580 | Max Drift X | 0.000283 | 45.3 | 0 | 30.98 |
| Story11 | PF4WX | 590 | Max Drift Y | 0.0002 | 69 | 6.45 | 30.98 |
| Story11 | PF4WY | 580 | Max Drift X | 0.000189 | 45.3 | 0 | 30.98 |
| Story11 | PF4WY | 590 | Max Drift Y | 0.000394 | 69 | 6.45 | 30.98 |
| Story11 | PF4WXB1 | 580 | Max Drift X | 0.000281 | 45.3 | 0 | 30.98 |
| Story11 | PF4WXB1 | 590 | Max Drift Y | 0.000245 | 69 | 6.45 | 30.98 |
| Story11 | PF4WXB2 | 580 | Max Drift X | 0.000227 | 45.3 | 0 | 30.98 |
| Story11 | PF4WXB2 | 590 | Max Drift Y | 0.000163 | 69 | 6.45 | 30.98 |
| Story11 | PF4WYB1 | 580 | Max Drift X | 0.000131 | 45.3 | 0 | 30.98 |
| Story11 | PF4WYB1 | 590 | Max Drift Y | 0.000267 | 69 | 6.45 | 30.98 |
| Story11 | PF4WYB2 | 580 | Max Drift X | 0.000235 | 45.3 | 0 | 30.98 |
| Story11 | PF4WYB2 | 590 | Max Drift Y | 0.000431 | 69 | 6.45 | 30.98 |
| Story11 | PF4WCC | 580 | Max Drift X | 0.00027 | 45.3 | 0 | 30.98 |
| Story11 | PF4WCC | 590 | Max Drift Y | 0.000339 | 69 | 6.45 | 30.98 |
| Story11 | PF4WCD1 | 580 | Max Drift X | 0.000304 | 45.3 | 0 | 30.98 |
| Story11 | PF4WCD1 | 590 | Max Drift Y | 0.0004 | 69 | 6.45 | 30.98 |
| Story11 | PF4WCD2 | 580 | Max Drift X | 0.000185 | 45.3 | 0 | 30.98 |
| Story11 | PF4WCD2 | 590 | Max Drift Y | 0.000216 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCD2 | 580 | Max Drift X | 0.000138 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCD2 | 590 | Max Drift Y | 0.000156 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCX | 580 | Max Drift X | 0.000236 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCX | 590 | Max Drift Y | 0.000141 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCY | 580 | Max Drift X | 0.000142 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCY | 590 | Max Drift Y | 0.000335 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCXB1 | 580 | Max Drift X | 0.000235 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCXB1 | 590 | Max Drift Y | 0.000185 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCXB2 | 580 | Max Drift X | 0.00018 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCXB2 | 590 | Max Drift Y | 0.000103 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCYB1 | 580 | Max Drift X | 8.5E-05 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCYB1 | 590 | Max Drift Y | 0.000207 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCYB2 | 580 | Max Drift X | 0.000188 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCYB2 | 590 | Max Drift Y | 0.000371 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCC | 580 | Max Drift X | 0.000224 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCC | 590 | Max Drift Y | 0.000279 | 69 | 6.45 | 30.98 |
| Story11 | PF4BWCD1 | 580 | Max Drift X | 0.000257 | 45.3 | 0 | 30.98 |
| Story11 | PF4BWCD1 | 590 | Max Drift Y | 0.00034 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCX | 580 | Max Drift X | 0.000247 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCX | 590 | Max Drift Y | 0.000156 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCY | 580 | Max Drift X | 0.000152 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCY | 590 | Max Drift Y | 0.00035 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCXB1 | 580 | Max Drift X | 0.000245 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCXB1 | 590 | Max Drift Y | 0.000201 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCXB2 | 580 | Max Drift X | 0.000191 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCXB2 | 590 | Max Drift Y | 0.000118 | 69 | 6.45 | 30.98 |
| Story11 | PF4CYB1 | 580 | Max Drift X | 9.5E-05 | 45.3 | 0 | 30.98 |
| Story11 | PF4CYB1 | 590 | Max Drift Y | 0.000223 | 69 | 6.45 | 30.98 |
| Story11 | PF4CYB2 | 580 | Max Drift X | 0.000199 | 45.3 | 0 | 30.98 |
| Story11 | PF4CYB2 | 590 | Max Drift Y | 0.000387 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCC | 580 | Max Drift X | 0.000234 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCC | 590 | Max Drift Y | 0.000295 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCD1 | 580 | Max Drift X | 0.000268 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCD1 | 590 | Max Drift Y | 0.000356 | 69 | 6.45 | 30.98 |
| Story11 | PF4DWCD2 | 580 | Max Drift X | 0.000149 | 45.3 | 0 | 30.98 |
| Story11 | PF4DWCD2 | 590 | Max Drift Y | 0.000171 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCX | 580 | Max Drift X | 0.000294 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCX | 590 | Max Drift Y | 0.000216 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCY | 580 | Max Drift X | 0.000199 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCY | 590 | Max Drift Y | 0.00041 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCXB1 | 580 | Max Drift X | 0.000292 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCXB1 | 590 | Max Drift Y | 0.00026 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCXB2 | 580 | Max Drift X | 0.000237 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCXB2 | 590 | Max Drift Y | 0.000178 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCYB1 | 580 | Max Drift X | 0.000142 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCYB1 | 590 | Max Drift Y | 0.000283 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCYB2 | 580 | Max Drift X | 0.000246 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCYB2 | 590 | Max Drift Y | 0.000447 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCC | 580 | Max Drift X | 0.000281 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCC | 590 | Max Drift Y | 0.000355 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCD1 | 580 | Max Drift X | 0.000314 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCD1 | 590 | Max Drift Y | 0.000416 | 69 | 6.45 | 30.98 |
| Story11 | PF4CWCD2 | 580 | Max Drift X | 0.000196 | 45.3 | 0 | 30.98 |
| Story11 | PF4CWCD2 | 590 | Max Drift Y | 0.000231 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ2X | 580 | Max Drift X | 0.000525 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ2X | 590 | Max Drift Y | 0.000139 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ2Y | 580 | Max Drift X | 0.000204 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ2Y | 590 | Max Drift Y | 0.000652 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ2XMIN | 567 | Max Drift X | 0.000483 | 42.85 | 27.95 | 30.98 |
| Story11 | PFEQ2XMIN | 558 | Max Drift Y | 7.6E-05 | 25.1 | 10.6 | 30.98 |
| Story11 | PFEQ2XMAX | 580 | Max Drift X | 0.000619 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ2XMAX | 590 | Max Drift Y | 0.000281 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ2YMIN | 580 | Max Drift X | 0.000348 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ2YMIN | 590 | Max Drift Y | 0.000876 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ2YMAX | 580 | Max Drift X | 5.9E-05 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ2YMAX | 601 | Max Drift Y | 0.000428 | 69 | 20.5 | 30.98 |
| Story11 | PFEQ1X | 580 | Max Drift X | 0.000515 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ1X | 590 | Max Drift Y | 0.000124 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ1Y | 580 | Max Drift X | 0.000193 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ1Y | 590 | Max Drift Y | 0.000637 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ1XMIN | 567 | Max Drift X | 0.000488 | 42.85 | 27.95 | 30.98 |
| Story11 | PFEQ1XMIN | 558 | Max Drift Y | 8.5E-05 | 25.1 | 10.6 | 30.98 |
| Story11 | PFEQ1XMAX | 580 | Max Drift X | 0.000608 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ1XMAX | 590 | Max Drift Y | 0.000265 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ1YMIN | 580 | Max Drift X | 0.000338 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ1YMIN | 590 | Max Drift Y | 0.000861 | 69 | 6.45 | 30.98 |
| Story11 | PFEQ1YMAX | 580 | Max Drift X | 4.9E-05 | 45.3 | 0 | 30.98 |
| Story11 | PFEQ1YMAX | 601 | Max Drift Y | 0.000413 | 69 | 20.5 | 30.98 |
| Story10 | OW | 567 | Max Drift X | 4.7E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | OW | 659 | Max Drift Y | 0.000104 | 73.5 | 19.3 | 28.03 |
| Story10 | EQDL | 567 | Max Drift X | 4E-06 | 42.85 | 27.95 | 28.03 |
| Story10 | EQDL | 659 | Max Drift Y | 8E-06 | 73.5 | 19.3 | 28.03 |
| Story10 | LL | 428 | Max Drift X | 1.7E-05 | 52.3 | 27.95 | 28.03 |
| Story10 | LL | 659 | Max Drift Y | 3.2E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | FACADE | 567 | Max Drift X | 7E-06 | 42.85 | 27.95 | 28.03 |
| Story10 | FACADE | 659 | Max Drift Y | 9E-06 | 73.5 | 19.3 | 28.03 |
| Story10 | EQX | 618 | Max Drift X | 0.000495 | 71.7 | 0 | 28.03 |
| Story10 | EQX | 652 | Max Drift Y | 1.4E-05 | 23.8 | 14.75 | 28.03 |
| Story10 | EQY | 618 | Max Drift X | 0.000117 | 71.7 | 0 | 28.03 |
| Story10 | EQY | 659 | Max Drift Y | 0.000535 | 73.5 | 19.3 | 28.03 |
| Story10 | EQXMIN | 567 | Max Drift X | 0.000532 | 42.85 | 27.95 | 28.03 |
| Story10 | EQXMIN | 659 | Max Drift Y | 9.4E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | EQXMAX | 618 | Max Drift X | 0.00054 | 71.7 | 0 | 28.03 |
| Story10 | EQXMAX | 659 | Max Drift Y | 0.000114 | 73.5 | 19.3 | 28.03 |
| Story10 | EQYMIN | 428 | Max Drift X | 0.000196 | 52.3 | 27.95 | 28.03 |
| Story10 | EQYMIN | 659 | Max Drift Y | 0.000712 | 73.5 | 19.3 | 28.03 |
| Story10 | EQYMAX | 618 | Max Drift X | 4E-05 | 71.7 | 0 | 28.03 |
| Story10 | EQYMAX | 659 | Max Drift Y | 0.000359 | 73.5 | 19.3 | 28.03 |
| Story10 | WCX | 618 | Max Drift X | 0.000105 | 71.7 | 0 | 28.03 |
| Story10 | WCX | 646 | Max Drift Y | 3E-06 | 23.8 | 12.85 | 28.03 |
| Story10 | WCY | 618 | Max Drift X | 2.9E-05 | 71.7 | 0 | 28.03 |
| Story10 | WCY | 659 | Max Drift Y | 0.000146 | 73.5 | 19.3 | 28.03 |
| Story10 | WCXB1 | 618 | Max Drift X | 8.7E-05 | 71.7 | 0 | 28.03 |
| Story10 | WCXB1 | 659 | Max Drift Y | 2.2E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | DELDL | 567 | Max Drift X | 1.2E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | DELDL | 659 | Max Drift Y | 2.2E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | WCXB2 | 567 | Max Drift X | 8.7E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | WCXB2 | 659 | Max Drift Y | 2E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | WCYB2 | 567 | Max Drift X | 4.4E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | WCYB2 | 659 | Max Drift Y | 0.000158 | 73.5 | 19.3 | 28.03 |
| Story10 | WCYB1 | 618 | Max Drift X | 1E-06 | 71.7 | 0 | 28.03 |
| Story10 | WCYB1 | 659 | Max Drift Y | 6.1E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | WCC | 618 | Max Drift X | 0.000101 | 71.7 | 0 | 28.03 |
| Story10 | WCC | 659 | Max Drift Y | 0.000111 | 73.5 | 19.3 | 28.03 |
| Story10 | WCD1 | 618 | Max Drift X | 9.8E-05 | 71.7 | 0 | 28.03 |
| Story10 | WCD1 | 659 | Max Drift Y | 0.000135 | 73.5 | 19.3 | 28.03 |
| Story10 | WCD2 | 567 | Max Drift X | 6.6E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | WCD2 | 652 | Max Drift Y | 5.4E-05 | 23.8 | 14.75 | 28.03 |
| Story10 | PF1 | 567 | Max Drift X | 9.2E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PF1 | 659 | Max Drift Y | 0.000189 | 73.5 | 19.3 | 28.03 |
| Story10 | PF2 | 428 | Max Drift X | 0.000102 | 52.3 | 27.95 | 28.03 |
| Story10 | PF2 | 659 | Max Drift Y | 0.000207 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WX | 618 | Max Drift X | 0.00019 | 71.7 | 0 | 28.03 |
| Story10 | PF4WX | 659 | Max Drift Y | 0.00017 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WY | 567 | Max Drift X | 0.000123 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4WY | 659 | Max Drift Y | 0.000373 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WXB1 | 618 | Max Drift X | 0.000166 | 71.7 | 0 | 28.03 |
| Story10 | PF4WXB1 | 659 | Max Drift Y | 0.000199 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WXB2 | 618 | Max Drift X | 0.000141 | 71.7 | 0 | 28.03 |
| Story10 | PF4WXB2 | 659 | Max Drift Y | 0.000141 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WYB1 | 567 | Max Drift X | 8.1E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4WYB1 | 659 | Max Drift Y | 0.000254 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WYB2 | 567 | Max Drift X | 0.000144 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4WYB2 | 659 | Max Drift Y | 0.000389 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WCC | 618 | Max Drift X | 0.000184 | 71.7 | 0 | 28.03 |
| Story10 | PF4WCC | 659 | Max Drift Y | 0.000323 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WCD1 | 618 | Max Drift X | 0.00018 | 71.7 | 0 | 28.03 |
| Story10 | PF4WCD1 | 659 | Max Drift Y | 0.000357 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4WCD2 | 618 | Max Drift X | 0.000118 | 71.7 | 0 | 28.03 |
| Story10 | PF4WCD2 | 659 | Max Drift Y | 0.000212 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCD2 | 618 | Max Drift X | 0.000106 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCD2 | 659 | Max Drift Y | 0.000165 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCX | 618 | Max Drift X | 0.000178 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCX | 659 | Max Drift Y | 0.000123 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCY | 567 | Max Drift X | 0.0001 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4BWCY | 659 | Max Drift Y | 0.000326 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCXB1 | 618 | Max Drift X | 0.000154 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCXB1 | 659 | Max Drift Y | 0.000152 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCXB2 | 618 | Max Drift X | 0.000129 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCXB2 | 659 | Max Drift Y | 9.4E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCYB1 | 567 | Max Drift X | 5.8E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4BWCYB1 | 659 | Max Drift Y | 0.000207 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCYB2 | 567 | Max Drift X | 0.000121 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4BWCYB2 | 659 | Max Drift Y | 0.000342 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCC | 618 | Max Drift X | 0.000172 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCC | 659 | Max Drift Y | 0.000276 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4BWCD1 | 618 | Max Drift X | 0.000168 | 71.7 | 0 | 28.03 |
| Story10 | PF4BWCD1 | 659 | Max Drift Y | 0.00031 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCX | 618 | Max Drift X | 0.00018 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCX | 659 | Max Drift Y | 0.000136 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCY | 567 | Max Drift X | 0.000106 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4DWCY | 659 | Max Drift Y | 0.000339 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCXB1 | 618 | Max Drift X | 0.000156 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCXB1 | 659 | Max Drift Y | 0.000165 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCXB2 | 618 | Max Drift X | 0.000131 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCXB2 | 659 | Max Drift Y | 0.000106 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CYB1 | 567 | Max Drift X | 6.5E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4CYB1 | 659 | Max Drift Y | 0.00022 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CYB2 | 567 | Max Drift X | 0.000128 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4CYB2 | 659 | Max Drift Y | 0.000355 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCC | 618 | Max Drift X | 0.000175 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCC | 659 | Max Drift Y | 0.000289 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCD1 | 618 | Max Drift X | 0.000171 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCD1 | 659 | Max Drift Y | 0.000323 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4DWCD2 | 618 | Max Drift X | 0.000108 | 71.7 | 0 | 28.03 |
| Story10 | PF4DWCD2 | 659 | Max Drift Y | 0.000178 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCX | 618 | Max Drift X | 0.000193 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCX | 659 | Max Drift Y | 0.000183 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCY | 567 | Max Drift X | 0.000129 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4CWCY | 659 | Max Drift Y | 0.000386 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCXB1 | 618 | Max Drift X | 0.000168 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCXB1 | 659 | Max Drift Y | 0.000212 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCXB2 | 618 | Max Drift X | 0.000144 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCXB2 | 659 | Max Drift Y | 0.000154 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCYB1 | 567 | Max Drift X | 8.8E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4CWCYB1 | 659 | Max Drift Y | 0.000267 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCYB2 | 567 | Max Drift X | 0.000151 | 42.85 | 27.95 | 28.03 |
| Story10 | PF4CWCYB2 | 659 | Max Drift Y | 0.000402 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCC | 618 | Max Drift X | 0.000187 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCC | 659 | Max Drift Y | 0.000336 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCD1 | 618 | Max Drift X | 0.000183 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCD1 | 659 | Max Drift Y | 0.00037 | 73.5 | 19.3 | 28.03 |
| Story10 | PF4CWCD2 | 618 | Max Drift X | 0.00012 | 71.7 | 0 | 28.03 |
| Story10 | PF4CWCD2 | 659 | Max Drift Y | 0.000225 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2X | 618 | Max Drift X | 0.000533 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ2X | 659 | Max Drift Y | 0.000158 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2Y | 428 | Max Drift X | 0.000185 | 52.3 | 27.95 | 28.03 |
| Story10 | PFEQ2Y | 659 | Max Drift Y | 0.000683 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2XMIN | 618 | Max Drift X | 0.000488 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ2XMIN | 659 | Max Drift Y | 5.4E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2XMAX | 618 | Max Drift X | 0.000577 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ2XMAX | 659 | Max Drift Y | 0.000262 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2YMIN | 428 | Max Drift X | 0.000269 | 52.3 | 27.95 | 28.03 |
| Story10 | PFEQ2YMIN | 659 | Max Drift Y | 0.000859 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ2YMAX | 567 | Max Drift X | 0.000102 | 42.85 | 27.95 | 28.03 |
| Story10 | PFEQ2YMAX | 659 | Max Drift Y | 0.000506 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1X | 618 | Max Drift X | 0.00053 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ1X | 659 | Max Drift Y | 0.000145 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1Y | 428 | Max Drift X | 0.000179 | 52.3 | 27.95 | 28.03 |
| Story10 | PFEQ1Y | 659 | Max Drift Y | 0.00067 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1XMIN | 618 | Max Drift X | 0.000485 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ1XMIN | 659 | Max Drift Y | 4.1E-05 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1XMAX | 618 | Max Drift X | 0.000575 | 71.7 | 0 | 28.03 |
| Story10 | PFEQ1XMAX | 659 | Max Drift Y | 0.000249 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1YMIN | 428 | Max Drift X | 0.000262 | 52.3 | 27.95 | 28.03 |
| Story10 | PFEQ1YMIN | 659 | Max Drift Y | 0.000846 | 73.5 | 19.3 | 28.03 |
| Story10 | PFEQ1YMAX | 567 | Max Drift X | 9.5E-05 | 42.85 | 27.95 | 28.03 |
| Story10 | PFEQ1YMAX | 659 | Max Drift Y | 0.000494 | 73.5 | 19.3 | 28.03 |
| Story9 | OW | 792 | Max Drift X | 5E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | OW | 790 | Max Drift Y | 9.3E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | EQDL | 792 | Max Drift X | 5E-06 | 45.3 | 27.95 | 24.98 |
| Story9 | EQDL | 790 | Max Drift Y | 8E-06 | 73.5 | 6.45 | 24.98 |
| Story9 | LL | 792 | Max Drift X | 1.7E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | LL | 790 | Max Drift Y | 2.9E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | FACADE | 792 | Max Drift X | 6E-06 | 45.3 | 27.95 | 24.98 |
| Story9 | FACADE | 790 | Max Drift Y | 8E-06 | 73.5 | 6.45 | 24.98 |
| Story9 | EQX | 786 | Max Drift X | 0.000502 | 10 | 0 | 24.98 |
| Story9 | EQX | 789 | Max Drift Y | 3.1E-05 | 6.2 | 15.95 | 24.98 |
| Story9 | EQY | 786 | Max Drift X | 0.00011 | 10 | 0 | 24.98 |
| Story9 | EQY | 790 | Max Drift Y | 0.000512 | 73.5 | 6.45 | 24.98 |
| Story9 | EQXMIN | 792 | Max Drift X | 0.000518 | 45.3 | 27.95 | 24.98 |
| Story9 | EQXMIN | 790 | Max Drift Y | 6.2E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | EQXMAX | 786 | Max Drift X | 0.000531 | 10 | 0 | 24.98 |
| Story9 | EQXMAX | 789 | Max Drift Y | 0.000107 | 6.2 | 15.95 | 24.98 |
| Story9 | EQYMIN | 792 | Max Drift X | 0.000167 | 45.3 | 27.95 | 24.98 |
| Story9 | EQYMIN | 790 | Max Drift Y | 0.000652 | 73.5 | 6.45 | 24.98 |
| Story9 | EQYMAX | 786 | Max Drift X | 5.5E-05 | 10 | 0 | 24.98 |
| Story9 | EQYMAX | 790 | Max Drift Y | 0.000371 | 73.5 | 6.45 | 24.98 |
| Story9 | WCX | 786 | Max Drift X | 0.000104 | 10 | 0 | 24.98 |
| Story9 | WCX | 789 | Max Drift Y | 5E-06 | 6.2 | 15.95 | 24.98 |
| Story9 | WCY | 786 | Max Drift X | 2.7E-05 | 10 | 0 | 24.98 |
| Story9 | WCY | 790 | Max Drift Y | 0.000139 | 73.5 | 6.45 | 24.98 |
| Story9 | WCXB1 | 786 | Max Drift X | 8.4E-05 | 10 | 0 | 24.98 |
| Story9 | WCXB1 | 789 | Max Drift Y | 1.9E-05 | 6.2 | 15.95 | 24.98 |
| Story9 | DELDL | 792 | Max Drift X | 1.2E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | DELDL | 790 | Max Drift Y | 2E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | WCXB2 | 792 | Max Drift X | 8.3E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | WCXB2 | 790 | Max Drift Y | 1.4E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | WCYB2 | 792 | Max Drift X | 3.7E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | WCYB2 | 790 | Max Drift Y | 0.000144 | 73.5 | 6.45 | 24.98 |
| Story9 | WCYB1 | 786 | Max Drift X | 5E-06 | 10 | 0 | 24.98 |
| Story9 | WCYB1 | 790 | Max Drift Y | 6.5E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | WCC | 786 | Max Drift X | 9.9E-05 | 10 | 0 | 24.98 |
| Story9 | WCC | 790 | Max Drift Y | 0.000106 | 73.5 | 6.45 | 24.98 |
| Story9 | WCD1 | 786 | Max Drift X | 9E-05 | 10 | 0 | 24.98 |
| Story9 | WCD1 | 790 | Max Drift Y | 0.000121 | 73.5 | 6.45 | 24.98 |
| Story9 | WCD2 | 792 | Max Drift X | 6E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | WCD2 | 789 | Max Drift Y | 4.4E-05 | 6.2 | 15.95 | 24.98 |
| Story9 | PF1 | 792 | Max Drift X | 9.5E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF1 | 790 | Max Drift Y | 0.00017 | 73.5 | 6.45 | 24.98 |
| Story9 | PF2 | 792 | Max Drift X | 0.000106 | 45.3 | 27.95 | 24.98 |
| Story9 | PF2 | 790 | Max Drift Y | 0.000186 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WX | 786 | Max Drift X | 0.000173 | 10 | 0 | 24.98 |
| Story9 | PF4WX | 790 | Max Drift Y | 0.000155 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WY | 792 | Max Drift X | 0.000122 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4WY | 790 | Max Drift Y | 0.000347 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WXB1 | 786 | Max Drift X | 0.000144 | 10 | 0 | 24.98 |
| Story9 | PF4WXB1 | 790 | Max Drift Y | 0.000176 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WXB2 | 786 | Max Drift X | 0.000129 | 10 | 0 | 24.98 |
| Story9 | PF4WXB2 | 790 | Max Drift Y | 0.000132 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WYB1 | 792 | Max Drift X | 8.9E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4WYB1 | 790 | Max Drift Y | 0.000242 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WYB2 | 792 | Max Drift X | 0.000137 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4WYB2 | 790 | Max Drift Y | 0.000354 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WCC | 786 | Max Drift X | 0.000165 | 10 | 0 | 24.98 |
| Story9 | PF4WCC | 790 | Max Drift Y | 0.000301 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WCD1 | 786 | Max Drift X | 0.000153 | 10 | 0 | 24.98 |
| Story9 | PF4WCD1 | 790 | Max Drift Y | 0.000321 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4WCD2 | 786 | Max Drift X | 0.000108 | 10 | 0 | 24.98 |
| Story9 | PF4WCD2 | 790 | Max Drift Y | 0.000205 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCD2 | 786 | Max Drift X | 0.000101 | 10 | 0 | 24.98 |
| Story9 | PF4BWCD2 | 790 | Max Drift Y | 0.000163 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCX | 786 | Max Drift X | 0.000166 | 10 | 0 | 24.98 |
| Story9 | PF4BWCX | 790 | Max Drift Y | 0.000112 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCY | 792 | Max Drift X | 9.8E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4BWCY | 790 | Max Drift Y | 0.000304 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCXB1 | 786 | Max Drift X | 0.000137 | 10 | 0 | 24.98 |
| Story9 | PF4BWCXB1 | 790 | Max Drift Y | 0.000133 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCXB2 | 786 | Max Drift X | 0.000121 | 10 | 0 | 24.98 |
| Story9 | PF4BWCXB2 | 790 | Max Drift Y | 9E-05 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCYB1 | 792 | Max Drift X | 6.5E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4BWCYB1 | 790 | Max Drift Y | 0.0002 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCYB2 | 792 | Max Drift X | 0.000113 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4BWCYB2 | 790 | Max Drift Y | 0.000311 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCC | 786 | Max Drift X | 0.000158 | 10 | 0 | 24.98 |
| Story9 | PF4BWCC | 790 | Max Drift Y | 0.000258 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4BWCD1 | 786 | Max Drift X | 0.000145 | 10 | 0 | 24.98 |
| Story9 | PF4BWCD1 | 790 | Max Drift Y | 0.000279 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCX | 786 | Max Drift X | 0.000167 | 10 | 0 | 24.98 |
| Story9 | PF4DWCX | 790 | Max Drift Y | 0.000124 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCY | 792 | Max Drift X | 0.000105 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4DWCY | 790 | Max Drift Y | 0.000316 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCXB1 | 786 | Max Drift X | 0.000138 | 10 | 0 | 24.98 |
| Story9 | PF4DWCXB1 | 790 | Max Drift Y | 0.000145 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCXB2 | 786 | Max Drift X | 0.000123 | 10 | 0 | 24.98 |
| Story9 | PF4DWCXB2 | 790 | Max Drift Y | 0.000102 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CYB1 | 792 | Max Drift X | 7.2E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4CYB1 | 790 | Max Drift Y | 0.000211 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CYB2 | 792 | Max Drift X | 0.00012 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4CYB2 | 790 | Max Drift Y | 0.000323 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCC | 786 | Max Drift X | 0.000159 | 10 | 0 | 24.98 |
| Story9 | PF4DWCC | 790 | Max Drift Y | 0.00027 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCD1 | 786 | Max Drift X | 0.000147 | 10 | 0 | 24.98 |
| Story9 | PF4DWCD1 | 790 | Max Drift Y | 0.000291 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4DWCD2 | 786 | Max Drift X | 0.000102 | 10 | 0 | 24.98 |
| Story9 | PF4DWCD2 | 790 | Max Drift Y | 0.000174 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCX | 786 | Max Drift X | 0.000175 | 10 | 0 | 24.98 |
| Story9 | PF4CWCX | 790 | Max Drift Y | 0.000167 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCY | 792 | Max Drift X | 0.000129 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4CWCY | 790 | Max Drift Y | 0.000358 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCXB1 | 786 | Max Drift X | 0.000146 | 10 | 0 | 24.98 |
| Story9 | PF4CWCXB1 | 790 | Max Drift Y | 0.000187 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCXB2 | 786 | Max Drift X | 0.00013 | 10 | 0 | 24.98 |
| Story9 | PF4CWCXB2 | 790 | Max Drift Y | 0.000144 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCYB1 | 792 | Max Drift X | 9.5E-05 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4CWCYB1 | 790 | Max Drift Y | 0.000254 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCYB2 | 792 | Max Drift X | 0.000144 | 45.3 | 27.95 | 24.98 |
| Story9 | PF4CWCYB2 | 790 | Max Drift Y | 0.000365 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCC | 786 | Max Drift X | 0.000167 | 10 | 0 | 24.98 |
| Story9 | PF4CWCC | 790 | Max Drift Y | 0.000312 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCD1 | 786 | Max Drift X | 0.000155 | 10 | 0 | 24.98 |
| Story9 | PF4CWCD1 | 790 | Max Drift Y | 0.000333 | 73.5 | 6.45 | 24.98 |
| Story9 | PF4CWCD2 | 786 | Max Drift X | 0.00011 | 10 | 0 | 24.98 |
| Story9 | PF4CWCD2 | 790 | Max Drift Y | 0.000217 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ2X | 786 | Max Drift X | 0.000526 | 10 | 0 | 24.98 |
| Story9 | PFEQ2X | 790 | Max Drift Y | 0.000149 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ2Y | 792 | Max Drift X | 0.00018 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ2Y | 790 | Max Drift Y | 0.000644 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ2XMIN | 786 | Max Drift X | 0.000497 | 10 | 0 | 24.98 |
| Story9 | PFEQ2XMIN | 709 | Max Drift Y | 7.1E-05 | 73.5 | 22.05 | 24.98 |
| Story9 | PFEQ2XMAX | 786 | Max Drift X | 0.000555 | 10 | 0 | 24.98 |
| Story9 | PFEQ2XMAX | 790 | Max Drift Y | 0.000228 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ2YMIN | 792 | Max Drift X | 0.000242 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ2YMIN | 790 | Max Drift Y | 0.000785 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ2YMAX | 792 | Max Drift X | 0.000119 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ2YMAX | 790 | Max Drift Y | 0.000504 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ1X | 786 | Max Drift X | 0.000524 | 10 | 0 | 24.98 |
| Story9 | PFEQ1X | 790 | Max Drift Y | 0.000138 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ1Y | 792 | Max Drift X | 0.000173 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ1Y | 790 | Max Drift Y | 0.000633 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ1XMIN | 786 | Max Drift X | 0.000495 | 10 | 0 | 24.98 |
| Story9 | PFEQ1XMIN | 709 | Max Drift Y | 5.9E-05 | 73.5 | 22.05 | 24.98 |
| Story9 | PFEQ1XMAX | 786 | Max Drift X | 0.000553 | 10 | 0 | 24.98 |
| Story9 | PFEQ1XMAX | 790 | Max Drift Y | 0.000216 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ1YMIN | 792 | Max Drift X | 0.000235 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ1YMIN | 790 | Max Drift Y | 0.000773 | 73.5 | 6.45 | 24.98 |
| Story9 | PFEQ1YMAX | 792 | Max Drift X | 0.000112 | 45.3 | 27.95 | 24.98 |
| Story9 | PFEQ1YMAX | 790 | Max Drift Y | 0.000492 | 73.5 | 6.45 | 24.98 |
| Story8 | OW | 712 | Max Drift X | 5.2E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | OW | 790 | Max Drift Y | 8.8E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | EQDL | 712 | Max Drift X | 4E-06 | 62.3 | 27.95 | 21.73 |
| Story8 | EQDL | 790 | Max Drift Y | 7E-06 | 73.5 | 6.45 | 21.73 |
| Story8 | LL | 712 | Max Drift X | 1.7E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | LL | 790 | Max Drift Y | 2.7E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | FACADE | 712 | Max Drift X | 5E-06 | 62.3 | 27.95 | 21.73 |
| Story8 | FACADE | 790 | Max Drift Y | 8E-06 | 73.5 | 6.45 | 21.73 |
| Story8 | EQX | 815 | Max Drift X | 0.000486 | 18.3 | 0 | 21.73 |
| Story8 | EQX | 803 | Max Drift Y | 3E-05 | 6.2 | 1.8 | 21.73 |
| Story8 | EQY | 815 | Max Drift X | 9.7E-05 | 18.3 | 0 | 21.73 |
| Story8 | EQY | 790 | Max Drift Y | 0.00047 | 73.5 | 6.45 | 21.73 |
| Story8 | EQXMIN | 712 | Max Drift X | 0.000497 | 62.3 | 27.95 | 21.73 |
| Story8 | EQXMIN | 709 | Max Drift Y | 5.2E-05 | 73.5 | 22.05 | 21.73 |
| Story8 | EQXMAX | 815 | Max Drift X | 0.000513 | 18.3 | 0 | 21.73 |
| Story8 | EQXMAX | 818 | Max Drift Y | 9.9E-05 | 6.2 | 19.3 | 21.73 |
| Story8 | EQYMIN | 712 | Max Drift X | 0.00015 | 62.3 | 27.95 | 21.73 |
| Story8 | EQYMIN | 790 | Max Drift Y | 0.0006 | 73.5 | 6.45 | 21.73 |
| Story8 | EQYMAX | 815 | Max Drift X | 4.6E-05 | 18.3 | 0 | 21.73 |
| Story8 | EQYMAX | 790 | Max Drift Y | 0.00034 | 73.5 | 6.45 | 21.73 |
| Story8 | WCX | 815 | Max Drift X | 0.0001 | 18.3 | 0 | 21.73 |
| Story8 | WCX | 818 | Max Drift Y | 5E-06 | 6.2 | 19.3 | 21.73 |
| Story8 | WCY | 815 | Max Drift X | 2.4E-05 | 18.3 | 0 | 21.73 |
| Story8 | WCY | 790 | Max Drift Y | 0.000129 | 73.5 | 6.45 | 21.73 |
| Story8 | WCXB1 | 815 | Max Drift X | 8E-05 | 18.3 | 0 | 21.73 |
| Story8 | WCXB1 | 818 | Max Drift Y | 1.7E-05 | 6.2 | 19.3 | 21.73 |
| Story8 | DELDL | 712 | Max Drift X | 1.2E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | DELDL | 790 | Max Drift Y | 1.9E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | WCXB2 | 712 | Max Drift X | 7.9E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | WCXB2 | 790 | Max Drift Y | 1.2E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | WCYB2 | 712 | Max Drift X | 3.4E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | WCYB2 | 790 | Max Drift Y | 0.000134 | 73.5 | 6.45 | 21.73 |
| Story8 | WCYB1 | 815 | Max Drift X | 3E-06 | 18.3 | 0 | 21.73 |
| Story8 | WCYB1 | 790 | Max Drift Y | 5.9E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | WCC | 815 | Max Drift X | 9.3E-05 | 18.3 | 0 | 21.73 |
| Story8 | WCC | 790 | Max Drift Y | 9.9E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | WCD1 | 815 | Max Drift X | 8.5E-05 | 18.3 | 0 | 21.73 |
| Story8 | WCD1 | 790 | Max Drift Y | 0.000113 | 73.5 | 6.45 | 21.73 |
| Story8 | WCD2 | 712 | Max Drift X | 5.8E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | WCD2 | 818 | Max Drift Y | 4.4E-05 | 6.2 | 19.3 | 21.73 |
| Story8 | PF1 | 712 | Max Drift X | 9.6E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF1 | 790 | Max Drift Y | 0.000161 | 73.5 | 6.45 | 21.73 |
| Story8 | PF2 | 712 | Max Drift X | 0.000106 | 62.3 | 27.95 | 21.73 |
| Story8 | PF2 | 790 | Max Drift Y | 0.000176 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WX | 815 | Max Drift X | 0.000161 | 18.3 | 0 | 21.73 |
| Story8 | PF4WX | 790 | Max Drift Y | 0.000147 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WY | 712 | Max Drift X | 0.000118 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4WY | 790 | Max Drift Y | 0.000324 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WXB1 | 815 | Max Drift X | 0.000133 | 18.3 | 0 | 21.73 |
| Story8 | PF4WXB1 | 790 | Max Drift Y | 0.000166 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WXB2 | 815 | Max Drift X | 0.000119 | 18.3 | 0 | 21.73 |
| Story8 | PF4WXB2 | 790 | Max Drift Y | 0.000127 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WYB1 | 712 | Max Drift X | 8.8E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4WYB1 | 790 | Max Drift Y | 0.000226 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WYB2 | 712 | Max Drift X | 0.000133 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4WYB2 | 790 | Max Drift Y | 0.000332 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WCC | 815 | Max Drift X | 0.000151 | 18.3 | 0 | 21.73 |
| Story8 | PF4WCC | 790 | Max Drift Y | 0.000282 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WCD1 | 815 | Max Drift X | 0.00014 | 18.3 | 0 | 21.73 |
| Story8 | PF4WCD1 | 790 | Max Drift Y | 0.000301 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4WCD2 | 815 | Max Drift X | 9.7E-05 | 18.3 | 0 | 21.73 |
| Story8 | PF4WCD2 | 790 | Max Drift Y | 0.000193 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCD2 | 815 | Max Drift X | 9.1E-05 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCD2 | 790 | Max Drift Y | 0.000153 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCX | 815 | Max Drift X | 0.000155 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCX | 790 | Max Drift Y | 0.000107 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCY | 712 | Max Drift X | 9.4E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4BWCY | 790 | Max Drift Y | 0.000284 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCXB1 | 815 | Max Drift X | 0.000127 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCXB1 | 790 | Max Drift Y | 0.000125 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCXB2 | 815 | Max Drift X | 0.000113 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCXB2 | 790 | Max Drift Y | 8.7E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCYB1 | 712 | Max Drift X | 6.4E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4BWCYB1 | 790 | Max Drift Y | 0.000186 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCYB2 | 712 | Max Drift X | 0.000109 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4BWCYB2 | 790 | Max Drift Y | 0.000291 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCC | 815 | Max Drift X | 0.000145 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCC | 790 | Max Drift Y | 0.000242 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4BWCD1 | 815 | Max Drift X | 0.000134 | 18.3 | 0 | 21.73 |
| Story8 | PF4BWCD1 | 790 | Max Drift Y | 0.000261 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCX | 815 | Max Drift X | 0.000156 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCX | 790 | Max Drift Y | 0.000118 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCY | 712 | Max Drift X | 0.000101 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4DWCY | 790 | Max Drift Y | 0.000295 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCXB1 | 815 | Max Drift X | 0.000128 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCXB1 | 790 | Max Drift Y | 0.000136 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCXB2 | 815 | Max Drift X | 0.000114 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCXB2 | 790 | Max Drift Y | 9.8E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CYB1 | 712 | Max Drift X | 7.1E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4CYB1 | 790 | Max Drift Y | 0.000197 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CYB2 | 712 | Max Drift X | 0.000116 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4CYB2 | 790 | Max Drift Y | 0.000302 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCC | 815 | Max Drift X | 0.000146 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCC | 790 | Max Drift Y | 0.000253 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCD1 | 815 | Max Drift X | 0.000135 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCD1 | 790 | Max Drift Y | 0.000272 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4DWCD2 | 815 | Max Drift X | 9.3E-05 | 18.3 | 0 | 21.73 |
| Story8 | PF4DWCD2 | 790 | Max Drift Y | 0.000164 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCX | 815 | Max Drift X | 0.000162 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCX | 790 | Max Drift Y | 0.000158 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCY | 712 | Max Drift X | 0.000125 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4CWCY | 790 | Max Drift Y | 0.000335 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCXB1 | 815 | Max Drift X | 0.000134 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCXB1 | 790 | Max Drift Y | 0.000176 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCXB2 | 815 | Max Drift X | 0.00012 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCXB2 | 790 | Max Drift Y | 0.000138 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCYB1 | 712 | Max Drift X | 9.5E-05 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4CWCYB1 | 790 | Max Drift Y | 0.000237 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCYB2 | 712 | Max Drift X | 0.00014 | 62.3 | 27.95 | 21.73 |
| Story8 | PF4CWCYB2 | 790 | Max Drift Y | 0.000342 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCC | 815 | Max Drift X | 0.000152 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCC | 790 | Max Drift Y | 0.000293 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCD1 | 815 | Max Drift X | 0.000141 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCD1 | 790 | Max Drift Y | 0.000312 | 73.5 | 6.45 | 21.73 |
| Story8 | PF4CWCD2 | 815 | Max Drift X | 9.9E-05 | 18.3 | 0 | 21.73 |
| Story8 | PF4CWCD2 | 790 | Max Drift Y | 0.000204 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2X | 815 | Max Drift X | 0.000504 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ2X | 790 | Max Drift Y | 0.000144 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2Y | 712 | Max Drift X | 0.000169 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ2Y | 790 | Max Drift Y | 0.000596 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2XMIN | 815 | Max Drift X | 0.000478 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ2XMIN | 790 | Max Drift Y | 7.4E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2XMAX | 815 | Max Drift X | 0.000531 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ2XMAX | 790 | Max Drift Y | 0.000215 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2YMIN | 712 | Max Drift X | 0.000225 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ2YMIN | 790 | Max Drift Y | 0.000726 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ2YMAX | 712 | Max Drift X | 0.000113 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ2YMAX | 790 | Max Drift Y | 0.000466 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1X | 815 | Max Drift X | 0.000503 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ1X | 790 | Max Drift Y | 0.000133 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1Y | 712 | Max Drift X | 0.000162 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ1Y | 790 | Max Drift Y | 0.000585 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1XMIN | 815 | Max Drift X | 0.000476 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ1XMIN | 790 | Max Drift Y | 6.3E-05 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1XMAX | 815 | Max Drift X | 0.000529 | 18.3 | 0 | 21.73 |
| Story8 | PFEQ1XMAX | 790 | Max Drift Y | 0.000204 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1YMIN | 712 | Max Drift X | 0.000218 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ1YMIN | 790 | Max Drift Y | 0.000715 | 73.5 | 6.45 | 21.73 |
| Story8 | PFEQ1YMAX | 712 | Max Drift X | 0.000106 | 62.3 | 27.95 | 21.73 |
| Story8 | PFEQ1YMAX | 790 | Max Drift Y | 0.000455 | 73.5 | 6.45 | 21.73 |
| Story7 | OW | 712 | Max Drift X | 5E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | OW | 847 | Max Drift Y | 8.8E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | EQDL | 712 | Max Drift X | 4E-06 | 62.3 | 27.95 | 18.78 |
| Story7 | EQDL | 847 | Max Drift Y | 7E-06 | 75.2 | 20.5 | 18.78 |
| Story7 | LL | 712 | Max Drift X | 1.6E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | LL | 847 | Max Drift Y | 2.7E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | FACADE | 712 | Max Drift X | 5E-06 | 62.3 | 27.95 | 18.78 |
| Story7 | FACADE | 847 | Max Drift Y | 9E-06 | 75.2 | 20.5 | 18.78 |
| Story7 | EQX | 848 | Max Drift X | 0.000441 | 13.35 | 0 | 18.78 |
| Story7 | EQX | 801 | Max Drift Y | 2.8E-05 | 6.2 | 5.35 | 18.78 |
| Story7 | EQY | 848 | Max Drift X | 8.1E-05 | 13.35 | 0 | 18.78 |
| Story7 | EQY | 847 | Max Drift Y | 0.000418 | 75.2 | 20.5 | 18.78 |
| Story7 | EQXMIN | 712 | Max Drift X | 0.000449 | 62.3 | 27.95 | 18.78 |
| Story7 | EQXMIN | 846 | Max Drift Y | 4.4E-05 | 75.2 | 17.5 | 18.78 |
| Story7 | EQXMAX | 848 | Max Drift X | 0.000465 | 13.35 | 0 | 18.78 |
| Story7 | EQXMAX | 801 | Max Drift Y | 9E-05 | 6.2 | 5.35 | 18.78 |
| Story7 | EQYMIN | 848 | Max Drift X | 0.000128 | 13.35 | 0 | 18.78 |
| Story7 | EQYMIN | 847 | Max Drift Y | 0.000539 | 75.2 | 20.5 | 18.78 |
| Story7 | EQYMAX | 848 | Max Drift X | 3.4E-05 | 13.35 | 0 | 18.78 |
| Story7 | EQYMAX | 847 | Max Drift Y | 0.000296 | 75.2 | 20.5 | 18.78 |
| Story7 | WCX | 848 | Max Drift X | 9E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCX | 801 | Max Drift Y | 5E-06 | 6.2 | 5.35 | 18.78 |
| Story7 | WCY | 848 | Max Drift X | 2E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCY | 847 | Max Drift Y | 0.000115 | 75.2 | 20.5 | 18.78 |
| Story7 | WCXB1 | 848 | Max Drift X | 7.2E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCXB1 | 801 | Max Drift Y | 1.5E-05 | 6.2 | 5.35 | 18.78 |
| Story7 | DELDL | 423 | Max Drift X | 1.1E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | DELDL | 847 | Max Drift Y | 1.8E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | WCXB2 | 712 | Max Drift X | 7E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | WCXB2 | 847 | Max Drift Y | 1E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | WCYB2 | 848 | Max Drift X | 2.9E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCYB2 | 847 | Max Drift Y | 0.000123 | 75.2 | 20.5 | 18.78 |
| Story7 | WCYB1 | 712 | Max Drift X | 1E-06 | 62.3 | 27.95 | 18.78 |
| Story7 | WCYB1 | 801 | Max Drift Y | 5.1E-05 | 6.2 | 5.35 | 18.78 |
| Story7 | WCC | 848 | Max Drift X | 8.2E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCC | 847 | Max Drift Y | 8.9E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | WCD1 | 848 | Max Drift X | 7.6E-05 | 13.35 | 0 | 18.78 |
| Story7 | WCD1 | 847 | Max Drift Y | 0.000103 | 75.2 | 20.5 | 18.78 |
| Story7 | WCD2 | 712 | Max Drift X | 5.3E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | WCD2 | 801 | Max Drift Y | 4.5E-05 | 6.2 | 5.35 | 18.78 |
| Story7 | PF1 | 712 | Max Drift X | 9.1E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | PF1 | 847 | Max Drift Y | 0.000161 | 75.2 | 20.5 | 18.78 |
| Story7 | PF2 | 423 | Max Drift X | 0.0001 | 46.9 | 27.95 | 18.78 |
| Story7 | PF2 | 847 | Max Drift Y | 0.000176 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WX | 848 | Max Drift X | 0.000147 | 13.35 | 0 | 18.78 |
| Story7 | PF4WX | 847 | Max Drift Y | 0.000148 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WY | 423 | Max Drift X | 0.000107 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4WY | 847 | Max Drift Y | 0.000305 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WXB1 | 848 | Max Drift X | 0.000122 | 13.35 | 0 | 18.78 |
| Story7 | PF4WXB1 | 847 | Max Drift Y | 0.000164 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WXB2 | 848 | Max Drift X | 0.00011 | 13.35 | 0 | 18.78 |
| Story7 | PF4WXB2 | 847 | Max Drift Y | 0.000129 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WYB1 | 423 | Max Drift X | 8E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4WYB1 | 847 | Max Drift Y | 0.000214 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WYB2 | 423 | Max Drift X | 0.000121 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4WYB2 | 847 | Max Drift Y | 0.000315 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WCC | 848 | Max Drift X | 0.000137 | 13.35 | 0 | 18.78 |
| Story7 | PF4WCC | 847 | Max Drift Y | 0.000268 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WCD1 | 848 | Max Drift X | 0.000127 | 13.35 | 0 | 18.78 |
| Story7 | PF4WCD1 | 847 | Max Drift Y | 0.000288 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4WCD2 | 848 | Max Drift X | 8.8E-05 | 13.35 | 0 | 18.78 |
| Story7 | PF4WCD2 | 847 | Max Drift Y | 0.000186 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCD2 | 848 | Max Drift X | 8.2E-05 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCD2 | 847 | Max Drift Y | 0.000146 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCX | 848 | Max Drift X | 0.000141 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCX | 847 | Max Drift Y | 0.000108 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCY | 423 | Max Drift X | 8.4E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4BWCY | 847 | Max Drift Y | 0.000265 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCXB1 | 848 | Max Drift X | 0.000116 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCXB1 | 847 | Max Drift Y | 0.000124 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCXB2 | 848 | Max Drift X | 0.000104 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCXB2 | 847 | Max Drift Y | 8.9E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCYB1 | 423 | Max Drift X | 5.8E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4BWCYB1 | 847 | Max Drift Y | 0.000174 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCYB2 | 423 | Max Drift X | 9.8E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4BWCYB2 | 847 | Max Drift Y | 0.000275 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCC | 848 | Max Drift X | 0.000131 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCC | 847 | Max Drift Y | 0.000228 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4BWCD1 | 848 | Max Drift X | 0.000121 | 13.35 | 0 | 18.78 |
| Story7 | PF4BWCD1 | 847 | Max Drift Y | 0.000248 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCX | 848 | Max Drift X | 0.000143 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCX | 847 | Max Drift Y | 0.000119 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCY | 423 | Max Drift X | 9.1E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4DWCY | 847 | Max Drift Y | 0.000276 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCXB1 | 848 | Max Drift X | 0.000118 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCXB1 | 847 | Max Drift Y | 0.000135 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCXB2 | 848 | Max Drift X | 0.000105 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCXB2 | 847 | Max Drift Y | 0.0001 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CYB1 | 712 | Max Drift X | 6.4E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | PF4CYB1 | 847 | Max Drift Y | 0.000185 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CYB2 | 423 | Max Drift X | 0.000105 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4CYB2 | 847 | Max Drift Y | 0.000286 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCC | 848 | Max Drift X | 0.000132 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCC | 847 | Max Drift Y | 0.000239 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCD1 | 848 | Max Drift X | 0.000123 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCD1 | 847 | Max Drift Y | 0.000258 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4DWCD2 | 848 | Max Drift X | 8.4E-05 | 13.35 | 0 | 18.78 |
| Story7 | PF4DWCD2 | 847 | Max Drift Y | 0.000157 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCX | 848 | Max Drift X | 0.000149 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCX | 847 | Max Drift Y | 0.000159 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCY | 423 | Max Drift X | 0.000114 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4CWCY | 847 | Max Drift Y | 0.000316 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCXB1 | 848 | Max Drift X | 0.000124 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCXB1 | 847 | Max Drift Y | 0.000175 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCXB2 | 848 | Max Drift X | 0.000111 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCXB2 | 847 | Max Drift Y | 0.00014 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCYB1 | 712 | Max Drift X | 8.7E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | PF4CWCYB1 | 847 | Max Drift Y | 0.000225 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCYB2 | 423 | Max Drift X | 0.000128 | 46.9 | 27.95 | 18.78 |
| Story7 | PF4CWCYB2 | 847 | Max Drift Y | 0.000326 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCC | 848 | Max Drift X | 0.000138 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCC | 847 | Max Drift Y | 0.000279 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCD1 | 848 | Max Drift X | 0.000129 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCD1 | 847 | Max Drift Y | 0.000298 | 75.2 | 20.5 | 18.78 |
| Story7 | PF4CWCD2 | 848 | Max Drift X | 9E-05 | 13.35 | 0 | 18.78 |
| Story7 | PF4CWCD2 | 847 | Max Drift Y | 0.000197 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2X | 848 | Max Drift X | 0.00046 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ2X | 847 | Max Drift Y | 0.000146 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2Y | 423 | Max Drift X | 0.000146 | 46.9 | 27.95 | 18.78 |
| Story7 | PFEQ2Y | 847 | Max Drift Y | 0.000543 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2XMIN | 848 | Max Drift X | 0.000436 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ2XMIN | 847 | Max Drift Y | 8.2E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2XMAX | 848 | Max Drift X | 0.000484 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ2XMAX | 847 | Max Drift Y | 0.000211 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2YMIN | 712 | Max Drift X | 0.000196 | 62.3 | 27.95 | 18.78 |
| Story7 | PFEQ2YMIN | 847 | Max Drift Y | 0.000665 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ2YMAX | 423 | Max Drift X | 9.6E-05 | 46.9 | 27.95 | 18.78 |
| Story7 | PFEQ2YMAX | 847 | Max Drift Y | 0.000422 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1X | 848 | Max Drift X | 0.000458 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ1X | 847 | Max Drift Y | 0.000136 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1Y | 423 | Max Drift X | 0.00014 | 46.9 | 27.95 | 18.78 |
| Story7 | PFEQ1Y | 847 | Max Drift Y | 0.000532 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1XMIN | 848 | Max Drift X | 0.000435 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ1XMIN | 847 | Max Drift Y | 7.1E-05 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1XMAX | 848 | Max Drift X | 0.000482 | 13.35 | 0 | 18.78 |
| Story7 | PFEQ1XMAX | 847 | Max Drift Y | 0.0002 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1YMIN | 423 | Max Drift X | 0.00019 | 46.9 | 27.95 | 18.78 |
| Story7 | PFEQ1YMIN | 847 | Max Drift Y | 0.000654 | 75.2 | 20.5 | 18.78 |
| Story7 | PFEQ1YMAX | 712 | Max Drift X | 9E-05 | 62.3 | 27.95 | 18.78 |
| Story7 | PFEQ1YMAX | 847 | Max Drift Y | 0.000411 | 75.2 | 20.5 | 18.78 |
| Story6 | OW | 815 | Max Drift X | 2.4E-05 | 18.3 | 0 | 15.83 |
| Story6 | OW | 899 | Max Drift Y | 7.7E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | EQDL | 423 | Max Drift X | 2E-06 | 46.9 | 27.95 | 15.83 |
| Story6 | EQDL | 899 | Max Drift Y | 6E-06 | 83.6 | 16.6 | 15.83 |
| Story6 | LL | 423 | Max Drift X | 7E-06 | 46.9 | 27.95 | 15.83 |
| Story6 | LL | 899 | Max Drift Y | 2.3E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | FACADE | 423 | Max Drift X | 2E-06 | 46.9 | 27.95 | 15.83 |
| Story6 | FACADE | 899 | Max Drift Y | 9E-06 | 83.6 | 16.6 | 15.83 |
| Story6 | EQX | 815 | Max Drift X | 0.000397 | 18.3 | 0 | 15.83 |
| Story6 | EQX | 899 | Max Drift Y | 2.8E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | EQY | 815 | Max Drift X | 3.5E-05 | 18.3 | 0 | 15.83 |
| Story6 | EQY | 899 | Max Drift Y | 0.000263 | 83.6 | 16.6 | 15.83 |
| Story6 | EQXMIN | 909 | Max Drift X | 0.000396 | 64.35 | 27.95 | 15.83 |
| Story6 | EQXMIN | 907 | Max Drift Y | 2E-05 | 4.5 | 13.95 | 15.83 |
| Story6 | EQXMAX | 815 | Max Drift X | 0.000412 | 18.3 | 0 | 15.83 |
| Story6 | EQXMAX | 899 | Max Drift Y | 7.6E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | EQYMIN | 815 | Max Drift X | 6.6E-05 | 18.3 | 0 | 15.83 |
| Story6 | EQYMIN | 899 | Max Drift Y | 0.000357 | 83.6 | 16.6 | 15.83 |
| Story6 | EQYMAX | 909 | Max Drift X | 1E-05 | 64.35 | 27.95 | 15.83 |
| Story6 | EQYMAX | 907 | Max Drift Y | 0.000185 | 4.5 | 13.95 | 15.83 |
| Story6 | WCX | 815 | Max Drift X | 8E-05 | 18.3 | 0 | 15.83 |
| Story6 | WCX | 899 | Max Drift Y | 5E-06 | 83.6 | 16.6 | 15.83 |
| Story6 | WCY | 815 | Max Drift X | 8E-06 | 18.3 | 0 | 15.83 |
| Story6 | WCY | 899 | Max Drift Y | 7.3E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | WCXB1 | 815 | Max Drift X | 6.3E-05 | 18.3 | 0 | 15.83 |
| Story6 | WCXB1 | 899 | Max Drift Y | 1.3E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | DELDL | 909 | Max Drift X | 5E-06 | 64.35 | 27.95 | 15.83 |
| Story6 | DELDL | 899 | Max Drift Y | 1.6E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | WCXB2 | 909 | Max Drift X | 6.1E-05 | 64.35 | 27.95 | 15.83 |
| Story6 | WCXB2 | 899 | Max Drift Y | 6E-06 | 83.6 | 16.6 | 15.83 |
| Story6 | WCYB2 | 815 | Max Drift X | 1.6E-05 | 18.3 | 0 | 15.83 |
| Story6 | WCYB2 | 899 | Max Drift Y | 8.4E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | WCYB1 | 909 | Max Drift X | 7E-06 | 64.35 | 27.95 | 15.83 |
| Story6 | WCYB1 | 907 | Max Drift Y | 5.7E-05 | 4.5 | 13.95 | 15.83 |
| Story6 | WCC | 815 | Max Drift X | 6.6E-05 | 18.3 | 0 | 15.83 |
| Story6 | WCC | 899 | Max Drift Y | 5.9E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | WCD1 | 815 | Max Drift X | 5.9E-05 | 18.3 | 0 | 15.83 |
| Story6 | WCD1 | 899 | Max Drift Y | 7.3E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | WCD2 | 909 | Max Drift X | 5.1E-05 | 64.35 | 27.95 | 15.83 |
| Story6 | WCD2 | 907 | Max Drift Y | 4.6E-05 | 4.5 | 13.95 | 15.83 |
| Story6 | PF1 | 815 | Max Drift X | 4.3E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF1 | 899 | Max Drift Y | 0.000143 | 83.6 | 16.6 | 15.83 |
| Story6 | PF2 | 423 | Max Drift X | 4.7E-05 | 46.9 | 27.95 | 15.83 |
| Story6 | PF2 | 899 | Max Drift Y | 0.000155 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WX | 815 | Max Drift X | 0.000151 | 18.3 | 0 | 15.83 |
| Story6 | PF4WX | 899 | Max Drift Y | 0.000134 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WY | 815 | Max Drift X | 4.9E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4WY | 899 | Max Drift Y | 0.00023 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WXB1 | 815 | Max Drift X | 0.000127 | 18.3 | 0 | 15.83 |
| Story6 | PF4WXB1 | 899 | Max Drift Y | 0.000145 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WXB2 | 815 | Max Drift X | 0.000119 | 18.3 | 0 | 15.83 |
| Story6 | PF4WXB2 | 899 | Max Drift Y | 0.00012 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WYB1 | 815 | Max Drift X | 3.3E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4WYB1 | 899 | Max Drift Y | 0.000163 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WYB2 | 815 | Max Drift X | 6.1E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4WYB2 | 899 | Max Drift Y | 0.000246 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WCC | 815 | Max Drift X | 0.000131 | 18.3 | 0 | 15.83 |
| Story6 | PF4WCC | 899 | Max Drift Y | 0.00021 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WCD1 | 815 | Max Drift X | 0.000121 | 18.3 | 0 | 15.83 |
| Story6 | PF4WCD1 | 899 | Max Drift Y | 0.00023 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4WCD2 | 815 | Max Drift X | 9.5E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4WCD2 | 899 | Max Drift Y | 0.000148 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCD2 | 815 | Max Drift X | 8.4E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCD2 | 899 | Max Drift Y | 0.000113 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCX | 815 | Max Drift X | 0.00014 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCX | 899 | Max Drift Y | 9.9E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCY | 815 | Max Drift X | 3.9E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCY | 899 | Max Drift Y | 0.000194 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCXB1 | 815 | Max Drift X | 0.000116 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCXB1 | 899 | Max Drift Y | 0.00011 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCXB2 | 815 | Max Drift X | 0.000108 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCXB2 | 899 | Max Drift Y | 8.4E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCYB1 | 815 | Max Drift X | 2.2E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCYB1 | 899 | Max Drift Y | 0.000127 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCYB2 | 815 | Max Drift X | 5E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCYB2 | 899 | Max Drift Y | 0.00021 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCC | 815 | Max Drift X | 0.00012 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCC | 899 | Max Drift Y | 0.000174 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4BWCD1 | 815 | Max Drift X | 0.000111 | 18.3 | 0 | 15.83 |
| Story6 | PF4BWCD1 | 899 | Max Drift Y | 0.000194 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCX | 815 | Max Drift X | 0.000143 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCX | 899 | Max Drift Y | 0.000108 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCY | 815 | Max Drift X | 4.2E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCY | 899 | Max Drift Y | 0.000204 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCXB1 | 815 | Max Drift X | 0.000119 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCXB1 | 899 | Max Drift Y | 0.000119 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCXB2 | 815 | Max Drift X | 0.000111 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCXB2 | 899 | Max Drift Y | 9.3E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CYB1 | 815 | Max Drift X | 2.5E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CYB1 | 899 | Max Drift Y | 0.000137 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CYB2 | 815 | Max Drift X | 5.3E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CYB2 | 899 | Max Drift Y | 0.000219 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCC | 815 | Max Drift X | 0.000123 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCC | 899 | Max Drift Y | 0.000183 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCD1 | 815 | Max Drift X | 0.000114 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCD1 | 899 | Max Drift Y | 0.000203 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4DWCD2 | 815 | Max Drift X | 8.7E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4DWCD2 | 899 | Max Drift Y | 0.000122 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCX | 815 | Max Drift X | 0.000154 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCX | 899 | Max Drift Y | 0.000144 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCY | 815 | Max Drift X | 5.2E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCY | 899 | Max Drift Y | 0.000239 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCXB1 | 815 | Max Drift X | 0.00013 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCXB1 | 899 | Max Drift Y | 0.000155 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCXB2 | 815 | Max Drift X | 0.000122 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCXB2 | 899 | Max Drift Y | 0.000129 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCYB1 | 815 | Max Drift X | 3.6E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCYB1 | 899 | Max Drift Y | 0.000172 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCYB2 | 815 | Max Drift X | 6.4E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCYB2 | 899 | Max Drift Y | 0.000255 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCC | 815 | Max Drift X | 0.000134 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCC | 899 | Max Drift Y | 0.000219 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCD1 | 815 | Max Drift X | 0.000124 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCD1 | 899 | Max Drift Y | 0.000239 | 83.6 | 16.6 | 15.83 |
| Story6 | PF4CWCD2 | 815 | Max Drift X | 9.8E-05 | 18.3 | 0 | 15.83 |
| Story6 | PF4CWCD2 | 899 | Max Drift Y | 0.000158 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2X | 815 | Max Drift X | 0.000431 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2X | 899 | Max Drift Y | 0.000139 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2Y | 815 | Max Drift X | 6.9E-05 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2Y | 899 | Max Drift Y | 0.000374 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2XMIN | 815 | Max Drift X | 0.000416 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2XMIN | 899 | Max Drift Y | 9.1E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2XMAX | 815 | Max Drift X | 0.000446 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2XMAX | 899 | Max Drift Y | 0.000187 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2YMIN | 815 | Max Drift X | 0.0001 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2YMIN | 899 | Max Drift Y | 0.000469 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ2YMAX | 815 | Max Drift X | 3.8E-05 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ2YMAX | 899 | Max Drift Y | 0.000279 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1X | 815 | Max Drift X | 0.000428 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1X | 899 | Max Drift Y | 0.00013 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1Y | 815 | Max Drift X | 6.6E-05 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1Y | 899 | Max Drift Y | 0.000365 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1XMIN | 815 | Max Drift X | 0.000413 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1XMIN | 899 | Max Drift Y | 8.2E-05 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1XMAX | 815 | Max Drift X | 0.000443 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1XMAX | 899 | Max Drift Y | 0.000178 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1YMIN | 815 | Max Drift X | 9.7E-05 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1YMIN | 899 | Max Drift Y | 0.000459 | 83.6 | 16.6 | 15.83 |
| Story6 | PFEQ1YMAX | 815 | Max Drift X | 3.5E-05 | 18.3 | 0 | 15.83 |
| Story6 | PFEQ1YMAX | 899 | Max Drift Y | 0.00027 | 83.6 | 16.6 | 15.83 |
| Story5 | OW | 938 | Max Drift X | 2.9E-05 | 4.5 | 0 | 12.78 |
| Story5 | OW | 955 | Max Drift Y | 7.4E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | EQDL | 938 | Max Drift X | 2E-06 | 4.5 | 0 | 12.78 |
| Story5 | EQDL | 955 | Max Drift Y | 6E-06 | 83.6 | 13.95 | 12.78 |
| Story5 | LL | 938 | Max Drift X | 9E-06 | 4.5 | 0 | 12.78 |
| Story5 | LL | 955 | Max Drift Y | 2.2E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | FACADE | 938 | Max Drift X | 3E-06 | 4.5 | 0 | 12.78 |
| Story5 | FACADE | 955 | Max Drift Y | 9E-06 | 83.6 | 13.95 | 12.78 |
| Story5 | EQX | 938 | Max Drift X | 0.000363 | 4.5 | 0 | 12.78 |
| Story5 | EQX | 955 | Max Drift Y | 2.1E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | EQY | 938 | Max Drift X | 3.2E-05 | 4.5 | 0 | 12.78 |
| Story5 | EQY | 955 | Max Drift Y | 0.00024 | 83.6 | 13.95 | 12.78 |
| Story5 | EQXMIN | 929 | Max Drift X | 0.000364 | 82.05 | 27.95 | 12.78 |
| Story5 | EQXMIN | 969 | Max Drift Y | 2.1E-05 | 0 | 16.6 | 12.78 |
| Story5 | EQXMAX | 938 | Max Drift X | 0.000376 | 4.5 | 0 | 12.78 |
| Story5 | EQXMAX | 953 | Max Drift Y | 6.1E-05 | 83.6 | 24.05 | 12.78 |
| Story5 | EQYMIN | 938 | Max Drift X | 5.8E-05 | 4.5 | 0 | 12.78 |
| Story5 | EQYMIN | 955 | Max Drift Y | 0.000321 | 83.6 | 13.95 | 12.78 |
| Story5 | EQYMAX | 938 | Max Drift X | 5E-06 | 4.5 | 0 | 12.78 |
| Story5 | EQYMAX | 955 | Max Drift Y | 0.00016 | 83.6 | 13.95 | 12.78 |
| Story5 | WCX | 938 | Max Drift X | 7.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | WCX | 955 | Max Drift Y | 4E-06 | 83.6 | 13.95 | 12.78 |
| Story5 | WCY | 938 | Max Drift X | 7E-06 | 4.5 | 0 | 12.78 |
| Story5 | WCY | 955 | Max Drift Y | 6.9E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | WCXB1 | 938 | Max Drift X | 5.7E-05 | 4.5 | 0 | 12.78 |
| Story5 | WCXB1 | 955 | Max Drift Y | 1E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | DELDL | 938 | Max Drift X | 6E-06 | 4.5 | 0 | 12.78 |
| Story5 | DELDL | 955 | Max Drift Y | 1.5E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | WCXB2 | 929 | Max Drift X | 5.6E-05 | 82.05 | 27.95 | 12.78 |
| Story5 | WCXB2 | 969 | Max Drift Y | 5E-06 | 0 | 16.6 | 12.78 |
| Story5 | WCYB2 | 938 | Max Drift X | 1.4E-05 | 4.5 | 0 | 12.78 |
| Story5 | WCYB2 | 955 | Max Drift Y | 7.7E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | WCYB1 | 792 | Max Drift X | 4E-06 | 45.3 | 27.95 | 12.78 |
| Story5 | WCYB1 | 969 | Max Drift Y | 4.9E-05 | 0 | 16.6 | 12.78 |
| Story5 | WCC | 938 | Max Drift X | 6E-05 | 4.5 | 0 | 12.78 |
| Story5 | WCC | 955 | Max Drift Y | 5.4E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | WCD1 | 938 | Max Drift X | 5.4E-05 | 4.5 | 0 | 12.78 |
| Story5 | WCD1 | 955 | Max Drift Y | 6.6E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | WCD2 | 929 | Max Drift X | 4.5E-05 | 82.05 | 27.95 | 12.78 |
| Story5 | WCD2 | 969 | Max Drift Y | 4.1E-05 | 0 | 16.6 | 12.78 |
| Story5 | PF1 | 938 | Max Drift X | 5.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF1 | 955 | Max Drift Y | 0.000137 | 83.6 | 13.95 | 12.78 |
| Story5 | PF2 | 938 | Max Drift X | 5.8E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF2 | 955 | Max Drift Y | 0.000149 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WX | 938 | Max Drift X | 0.00015 | 4.5 | 0 | 12.78 |
| Story5 | PF4WX | 955 | Max Drift Y | 0.000127 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WY | 938 | Max Drift X | 5.7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4WY | 955 | Max Drift Y | 0.000218 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WXB1 | 938 | Max Drift X | 0.000127 | 4.5 | 0 | 12.78 |
| Story5 | PF4WXB1 | 955 | Max Drift Y | 0.000137 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WXB2 | 938 | Max Drift X | 0.000121 | 4.5 | 0 | 12.78 |
| Story5 | PF4WXB2 | 955 | Max Drift Y | 0.000115 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WYB1 | 938 | Max Drift X | 4.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4WYB1 | 955 | Max Drift Y | 0.000158 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WYB2 | 938 | Max Drift X | 6.7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4WYB2 | 955 | Max Drift Y | 0.00023 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WCC | 938 | Max Drift X | 0.000132 | 4.5 | 0 | 12.78 |
| Story5 | PF4WCC | 955 | Max Drift Y | 0.000198 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WCD1 | 938 | Max Drift X | 0.000122 | 4.5 | 0 | 12.78 |
| Story5 | PF4WCD1 | 955 | Max Drift Y | 0.000214 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4WCD2 | 938 | Max Drift X | 9.9E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4WCD2 | 955 | Max Drift Y | 0.000144 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCD2 | 938 | Max Drift X | 8.6E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCD2 | 955 | Max Drift Y | 0.00011 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCX | 938 | Max Drift X | 0.000137 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCX | 955 | Max Drift Y | 9.3E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCY | 938 | Max Drift X | 4.4E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCY | 955 | Max Drift Y | 0.000184 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCXB1 | 938 | Max Drift X | 0.000114 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCXB1 | 955 | Max Drift Y | 0.000102 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCXB2 | 938 | Max Drift X | 0.000108 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCXB2 | 955 | Max Drift Y | 8.1E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCYB1 | 938 | Max Drift X | 2.9E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCYB1 | 955 | Max Drift Y | 0.000124 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCYB2 | 938 | Max Drift X | 5.4E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCYB2 | 955 | Max Drift Y | 0.000196 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCC | 938 | Max Drift X | 0.000119 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCC | 955 | Max Drift Y | 0.000164 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4BWCD1 | 938 | Max Drift X | 0.000109 | 4.5 | 0 | 12.78 |
| Story5 | PF4BWCD1 | 955 | Max Drift Y | 0.00018 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCX | 938 | Max Drift X | 0.00014 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCX | 955 | Max Drift Y | 0.000102 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCY | 938 | Max Drift X | 4.8E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCY | 955 | Max Drift Y | 0.000193 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCXB1 | 938 | Max Drift X | 0.000118 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCXB1 | 955 | Max Drift Y | 0.000111 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCXB2 | 938 | Max Drift X | 0.000111 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCXB2 | 955 | Max Drift Y | 9E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CYB1 | 938 | Max Drift X | 3.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4CYB1 | 955 | Max Drift Y | 0.000133 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CYB2 | 938 | Max Drift X | 5.7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4CYB2 | 955 | Max Drift Y | 0.000205 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCC | 938 | Max Drift X | 0.000122 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCC | 955 | Max Drift Y | 0.000173 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCD1 | 938 | Max Drift X | 0.000113 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCD1 | 955 | Max Drift Y | 0.000189 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4DWCD2 | 938 | Max Drift X | 8.9E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4DWCD2 | 955 | Max Drift Y | 0.000119 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCX | 938 | Max Drift X | 0.000153 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCX | 955 | Max Drift Y | 0.000136 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCY | 938 | Max Drift X | 6.1E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCY | 955 | Max Drift Y | 0.000227 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCXB1 | 938 | Max Drift X | 0.000131 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCXB1 | 955 | Max Drift Y | 0.000146 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCXB2 | 938 | Max Drift X | 0.000125 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCXB2 | 955 | Max Drift Y | 0.000124 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCYB1 | 938 | Max Drift X | 4.6E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCYB1 | 955 | Max Drift Y | 0.000167 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCYB2 | 938 | Max Drift X | 7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCYB2 | 955 | Max Drift Y | 0.000239 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCC | 938 | Max Drift X | 0.000135 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCC | 955 | Max Drift Y | 0.000207 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCD1 | 938 | Max Drift X | 0.000126 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCD1 | 955 | Max Drift Y | 0.000223 | 83.6 | 13.95 | 12.78 |
| Story5 | PF4CWCD2 | 938 | Max Drift X | 0.000103 | 4.5 | 0 | 12.78 |
| Story5 | PF4CWCD2 | 955 | Max Drift Y | 0.000153 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ2X | 938 | Max Drift X | 0.000405 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2X | 955 | Max Drift Y | 0.000128 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ2Y | 938 | Max Drift X | 7.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2Y | 955 | Max Drift Y | 0.000347 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ2XMIN | 938 | Max Drift X | 0.000392 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2XMIN | 955 | Max Drift Y | 8.8E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ2XMAX | 938 | Max Drift X | 0.000417 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2XMAX | 953 | Max Drift Y | 0.000168 | 83.6 | 24.05 | 12.78 |
| Story5 | PFEQ2YMIN | 938 | Max Drift X | 9.9E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2YMIN | 955 | Max Drift Y | 0.000427 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ2YMAX | 938 | Max Drift X | 4.7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ2YMAX | 955 | Max Drift Y | 0.000267 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ1X | 938 | Max Drift X | 0.000401 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1X | 955 | Max Drift Y | 0.000119 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ1Y | 938 | Max Drift X | 7E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1Y | 955 | Max Drift Y | 0.000338 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ1XMIN | 938 | Max Drift X | 0.000388 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1XMIN | 955 | Max Drift Y | 7.9E-05 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ1XMAX | 938 | Max Drift X | 0.000413 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1XMAX | 953 | Max Drift Y | 0.000159 | 83.6 | 24.05 | 12.78 |
| Story5 | PFEQ1YMIN | 938 | Max Drift X | 9.6E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1YMIN | 955 | Max Drift Y | 0.000418 | 83.6 | 13.95 | 12.78 |
| Story5 | PFEQ1YMAX | 938 | Max Drift X | 4.3E-05 | 4.5 | 0 | 12.78 |
| Story5 | PFEQ1YMAX | 955 | Max Drift Y | 0.000258 | 83.6 | 13.95 | 12.78 |
| Story4 | OW | 973 | Max Drift X | 3.8E-05 | 82.05 | 0 | 9.99 |
| Story4 | OW | 899 | Max Drift Y | 8.9E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | EQDL | 973 | Max Drift X | 3E-06 | 82.05 | 0 | 9.99 |
| Story4 | EQDL | 899 | Max Drift Y | 7E-06 | 83.6 | 16.6 | 9.99 |
| Story4 | LL | 973 | Max Drift X | 1.1E-05 | 82.05 | 0 | 9.99 |
| Story4 | LL | 899 | Max Drift Y | 2.6E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | FACADE | 973 | Max Drift X | 4E-06 | 82.05 | 0 | 9.99 |
| Story4 | FACADE | 899 | Max Drift Y | 9E-06 | 83.6 | 16.6 | 9.99 |
| Story4 | EQX | 973 | Max Drift X | 0.000309 | 82.05 | 0 | 9.99 |
| Story4 | EQX | 899 | Max Drift Y | 1.6E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | EQY | 973 | Max Drift X | 2.6E-05 | 82.05 | 0 | 9.99 |
| Story4 | EQY | 899 | Max Drift Y | 0.000205 | 83.6 | 16.6 | 9.99 |
| Story4 | EQXMIN | 982 | Max Drift X | 0.000311 | 53.225 | 27.95 | 9.99 |
| Story4 | EQXMIN | 980 | Max Drift Y | 2E-05 | 0 | 18.6 | 9.99 |
| Story4 | EQXMAX | 973 | Max Drift X | 0.00032 | 82.05 | 0 | 9.99 |
| Story4 | EQXMAX | 899 | Max Drift Y | 4.9E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | EQYMIN | 973 | Max Drift X | 5E-05 | 82.05 | 0 | 9.99 |
| Story4 | EQYMIN | 899 | Max Drift Y | 0.000274 | 83.6 | 16.6 | 9.99 |
| Story4 | EQYMAX | 973 | Max Drift X | 2E-06 | 82.05 | 0 | 9.99 |
| Story4 | EQYMAX | 899 | Max Drift Y | 0.000135 | 83.6 | 16.6 | 9.99 |
| Story4 | WCX | 973 | Max Drift X | 6.3E-05 | 82.05 | 0 | 9.99 |
| Story4 | WCX | 899 | Max Drift Y | 2E-06 | 83.6 | 16.6 | 9.99 |
| Story4 | WCY | 973 | Max Drift X | 6E-06 | 82.05 | 0 | 9.99 |
| Story4 | WCY | 899 | Max Drift Y | 5.9E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | WCXB1 | 973 | Max Drift X | 4.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | WCXB1 | 899 | Max Drift Y | 8E-06 | 83.6 | 16.6 | 9.99 |
| Story4 | DELDL | 973 | Max Drift X | 8E-06 | 82.05 | 0 | 9.99 |
| Story4 | DELDL | 899 | Max Drift Y | 1.7E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | WCXB2 | 982 | Max Drift X | 4.8E-05 | 53.225 | 27.95 | 9.99 |
| Story4 | WCXB2 | 980 | Max Drift Y | 5E-06 | 0 | 18.6 | 9.99 |
| Story4 | WCYB2 | 973 | Max Drift X | 1.2E-05 | 82.05 | 0 | 9.99 |
| Story4 | WCYB2 | 899 | Max Drift Y | 6.7E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | WCYB1 | 982 | Max Drift X | 4E-06 | 53.225 | 27.95 | 9.99 |
| Story4 | WCYB1 | 980 | Max Drift Y | 4.4E-05 | 0 | 18.6 | 9.99 |
| Story4 | WCC | 973 | Max Drift X | 5.1E-05 | 82.05 | 0 | 9.99 |
| Story4 | WCC | 899 | Max Drift Y | 4.6E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | WCD1 | 973 | Max Drift X | 4.6E-05 | 82.05 | 0 | 9.99 |
| Story4 | WCD1 | 899 | Max Drift Y | 5.7E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | WCD2 | 982 | Max Drift X | 3.9E-05 | 53.225 | 27.95 | 9.99 |
| Story4 | WCD2 | 980 | Max Drift Y | 3.7E-05 | 0 | 18.6 | 9.99 |
| Story4 | PF1 | 973 | Max Drift X | 6.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF1 | 899 | Max Drift Y | 0.000161 | 83.6 | 16.6 | 9.99 |
| Story4 | PF2 | 973 | Max Drift X | 7.5E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF2 | 899 | Max Drift Y | 0.000175 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WX | 973 | Max Drift X | 0.000149 | 82.05 | 0 | 9.99 |
| Story4 | PF4WX | 899 | Max Drift Y | 0.000147 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WY | 973 | Max Drift X | 6.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4WY | 899 | Max Drift Y | 0.000227 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WXB1 | 973 | Max Drift X | 0.00013 | 82.05 | 0 | 9.99 |
| Story4 | PF4WXB1 | 899 | Max Drift Y | 0.000156 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WXB2 | 973 | Max Drift X | 0.000124 | 82.05 | 0 | 9.99 |
| Story4 | PF4WXB2 | 899 | Max Drift Y | 0.000137 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WYB1 | 973 | Max Drift X | 5.6E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4WYB1 | 899 | Max Drift Y | 0.000174 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WYB2 | 973 | Max Drift X | 7.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4WYB2 | 899 | Max Drift Y | 0.000238 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WCC | 973 | Max Drift X | 0.000133 | 82.05 | 0 | 9.99 |
| Story4 | PF4WCC | 899 | Max Drift Y | 0.000209 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WCD1 | 973 | Max Drift X | 0.000126 | 82.05 | 0 | 9.99 |
| Story4 | PF4WCD1 | 899 | Max Drift Y | 0.000223 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4WCD2 | 973 | Max Drift X | 0.000105 | 82.05 | 0 | 9.99 |
| Story4 | PF4WCD2 | 899 | Max Drift Y | 0.000161 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCD2 | 973 | Max Drift X | 8.7E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCD2 | 899 | Max Drift Y | 0.000121 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCX | 973 | Max Drift X | 0.000132 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCX | 899 | Max Drift Y | 0.000107 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCY | 973 | Max Drift X | 5.2E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCY | 899 | Max Drift Y | 0.000186 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCXB1 | 973 | Max Drift X | 0.000113 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCXB1 | 899 | Max Drift Y | 0.000115 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCXB2 | 973 | Max Drift X | 0.000107 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCXB2 | 899 | Max Drift Y | 9.7E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCYB1 | 973 | Max Drift X | 3.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCYB1 | 899 | Max Drift Y | 0.000134 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCYB2 | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCYB2 | 899 | Max Drift Y | 0.000198 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCC | 973 | Max Drift X | 0.000116 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCC | 899 | Max Drift Y | 0.000168 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4BWCD1 | 973 | Max Drift X | 0.000109 | 82.05 | 0 | 9.99 |
| Story4 | PF4BWCD1 | 899 | Max Drift Y | 0.000183 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCX | 973 | Max Drift X | 0.000136 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCX | 899 | Max Drift Y | 0.000117 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCY | 973 | Max Drift X | 5.7E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCY | 899 | Max Drift Y | 0.000197 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCXB1 | 973 | Max Drift X | 0.000117 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCXB1 | 899 | Max Drift Y | 0.000125 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCXB2 | 973 | Max Drift X | 0.000112 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCXB2 | 899 | Max Drift Y | 0.000107 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CYB1 | 973 | Max Drift X | 4.4E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4CYB1 | 899 | Max Drift Y | 0.000144 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CYB2 | 973 | Max Drift X | 6.6E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4CYB2 | 899 | Max Drift Y | 0.000208 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCC | 973 | Max Drift X | 0.000121 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCC | 899 | Max Drift Y | 0.000179 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCD1 | 973 | Max Drift X | 0.000113 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCD1 | 899 | Max Drift Y | 0.000193 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4DWCD2 | 973 | Max Drift X | 9.2E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4DWCD2 | 899 | Max Drift Y | 0.000131 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCX | 973 | Max Drift X | 0.000154 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCX | 899 | Max Drift Y | 0.000158 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCY | 973 | Max Drift X | 7.4E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCY | 899 | Max Drift Y | 0.000237 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCXB1 | 973 | Max Drift X | 0.000135 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCXB1 | 899 | Max Drift Y | 0.000166 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCXB2 | 973 | Max Drift X | 0.000129 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCXB2 | 899 | Max Drift Y | 0.000148 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCYB1 | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCYB1 | 899 | Max Drift Y | 0.000184 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCYB2 | 973 | Max Drift X | 8.3E-05 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCYB2 | 899 | Max Drift Y | 0.000249 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCC | 973 | Max Drift X | 0.000138 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCC | 899 | Max Drift Y | 0.000219 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCD1 | 973 | Max Drift X | 0.00013 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCD1 | 899 | Max Drift Y | 0.000234 | 83.6 | 16.6 | 9.99 |
| Story4 | PF4CWCD2 | 973 | Max Drift X | 0.000109 | 82.05 | 0 | 9.99 |
| Story4 | PF4CWCD2 | 899 | Max Drift Y | 0.000172 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2X | 973 | Max Drift X | 0.000363 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2X | 899 | Max Drift Y | 0.000141 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2Y | 973 | Max Drift X | 8E-05 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2Y | 899 | Max Drift Y | 0.00033 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2XMIN | 973 | Max Drift X | 0.000352 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2XMIN | 899 | Max Drift Y | 0.000107 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2XMAX | 973 | Max Drift X | 0.000374 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2XMAX | 899 | Max Drift Y | 0.000175 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2YMIN | 973 | Max Drift X | 0.000103 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2YMIN | 899 | Max Drift Y | 0.0004 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ2YMAX | 973 | Max Drift X | 5.6E-05 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ2YMAX | 899 | Max Drift Y | 0.00026 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1X | 973 | Max Drift X | 0.000359 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1X | 899 | Max Drift Y | 0.000131 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1Y | 973 | Max Drift X | 7.5E-05 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1Y | 899 | Max Drift Y | 0.00032 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1XMIN | 973 | Max Drift X | 0.000347 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1XMIN | 899 | Max Drift Y | 9.7E-05 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1XMAX | 973 | Max Drift X | 0.00037 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1XMAX | 899 | Max Drift Y | 0.000165 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1YMIN | 973 | Max Drift X | 9.9E-05 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1YMIN | 899 | Max Drift Y | 0.000389 | 83.6 | 16.6 | 9.99 |
| Story4 | PFEQ1YMAX | 973 | Max Drift X | 5.1E-05 | 82.05 | 0 | 9.99 |
| Story4 | PFEQ1YMAX | 899 | Max Drift Y | 0.00025 | 83.6 | 16.6 | 9.99 |
| Story3 | OW | 792 | Max Drift X | 3.1E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | OW | 997 | Max Drift Y | 8.4E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | EQDL | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 7.2 |
| Story3 | EQDL | 997 | Max Drift Y | 6E-06 | 83.6 | 9.5 | 7.2 |
| Story3 | LL | 792 | Max Drift X | 8E-06 | 45.3 | 27.95 | 7.2 |
| Story3 | LL | 997 | Max Drift Y | 2.4E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | FACADE | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 7.2 |
| Story3 | FACADE | 997 | Max Drift Y | 7E-06 | 83.6 | 9.5 | 7.2 |
| Story3 | EQX | 973 | Max Drift X | 0.000132 | 82.05 | 0 | 7.2 |
| Story3 | EQX | 997 | Max Drift Y | 1.4E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | EQY | 973 | Max Drift X | 2.5E-05 | 82.05 | 0 | 7.2 |
| Story3 | EQY | 997 | Max Drift Y | 0.000167 | 83.6 | 9.5 | 7.2 |
| Story3 | EQXMIN | 982 | Max Drift X | 0.000132 | 53.225 | 27.95 | 7.2 |
| Story3 | EQXMIN | 980 | Max Drift Y | 1.4E-05 | 0 | 18.6 | 7.2 |
| Story3 | EQXMAX | 973 | Max Drift X | 0.000141 | 82.05 | 0 | 7.2 |
| Story3 | EQXMAX | 997 | Max Drift Y | 4E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | EQYMIN | 973 | Max Drift X | 4.4E-05 | 82.05 | 0 | 7.2 |
| Story3 | EQYMIN | 997 | Max Drift Y | 0.000222 | 83.6 | 9.5 | 7.2 |
| Story3 | EQYMAX | 973 | Max Drift X | 6E-06 | 82.05 | 0 | 7.2 |
| Story3 | EQYMAX | 997 | Max Drift Y | 0.000112 | 83.6 | 9.5 | 7.2 |
| Story3 | WCX | 973 | Max Drift X | 2.7E-05 | 82.05 | 0 | 7.2 |
| Story3 | WCX | 997 | Max Drift Y | 2E-06 | 83.6 | 9.5 | 7.2 |
| Story3 | WCY | 973 | Max Drift X | 6E-06 | 82.05 | 0 | 7.2 |
| Story3 | WCY | 997 | Max Drift Y | 5E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | WCXB1 | 973 | Max Drift X | 2.2E-05 | 82.05 | 0 | 7.2 |
| Story3 | WCXB1 | 997 | Max Drift Y | 7E-06 | 83.6 | 9.5 | 7.2 |
| Story3 | DELDL | 982 | Max Drift X | 5E-06 | 53.225 | 27.95 | 7.2 |
| Story3 | DELDL | 997 | Max Drift Y | 1.6E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | WCXB2 | 982 | Max Drift X | 2.1E-05 | 53.225 | 27.95 | 7.2 |
| Story3 | WCXB2 | 980 | Max Drift Y | 3E-06 | 0 | 18.6 | 7.2 |
| Story3 | WCYB2 | 973 | Max Drift X | 1.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | WCYB2 | 997 | Max Drift Y | 5.7E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | WCYB1 | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 7.2 |
| Story3 | WCYB1 | 980 | Max Drift Y | 3.2E-05 | 0 | 18.6 | 7.2 |
| Story3 | WCC | 973 | Max Drift X | 2.5E-05 | 82.05 | 0 | 7.2 |
| Story3 | WCC | 997 | Max Drift Y | 4E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | WCD1 | 973 | Max Drift X | 2.5E-05 | 82.05 | 0 | 7.2 |
| Story3 | WCD1 | 997 | Max Drift Y | 4.8E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | WCD2 | 982 | Max Drift X | 1.7E-05 | 53.225 | 27.95 | 7.2 |
| Story3 | WCD2 | 980 | Max Drift Y | 2.7E-05 | 0 | 18.6 | 7.2 |
| Story3 | PF1 | 792 | Max Drift X | 5.3E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF1 | 997 | Max Drift Y | 0.00015 | 83.6 | 9.5 | 7.2 |
| Story3 | PF2 | 792 | Max Drift X | 5.7E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF2 | 997 | Max Drift Y | 0.000163 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WX | 973 | Max Drift X | 7E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WX | 997 | Max Drift Y | 0.000137 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WY | 792 | Max Drift X | 5.4E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4WY | 997 | Max Drift Y | 0.000204 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WXB1 | 973 | Max Drift X | 6.3E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WXB1 | 997 | Max Drift Y | 0.000143 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WXB2 | 973 | Max Drift X | 5.9E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WXB2 | 997 | Max Drift Y | 0.000129 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WYB1 | 792 | Max Drift X | 4.4E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4WYB1 | 997 | Max Drift Y | 0.00016 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WYB2 | 792 | Max Drift X | 6E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4WYB2 | 997 | Max Drift Y | 0.000213 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WCC | 973 | Max Drift X | 6.8E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WCC | 997 | Max Drift Y | 0.000189 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WCD1 | 973 | Max Drift X | 6.8E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WCD1 | 997 | Max Drift Y | 0.000201 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4WCD2 | 973 | Max Drift X | 5E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4WCD2 | 997 | Max Drift Y | 0.00015 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCD2 | 973 | Max Drift X | 4.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCD2 | 997 | Max Drift Y | 0.000113 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCX | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCX | 997 | Max Drift Y | 9.9E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCY | 792 | Max Drift X | 4E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4BWCY | 997 | Max Drift Y | 0.000167 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCXB1 | 973 | Max Drift X | 5.4E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCXB1 | 997 | Max Drift Y | 0.000106 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCXB2 | 973 | Max Drift X | 4.9E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCXB2 | 997 | Max Drift Y | 9.2E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCYB1 | 792 | Max Drift X | 3.1E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4BWCYB1 | 997 | Max Drift Y | 0.000122 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCYB2 | 792 | Max Drift X | 4.7E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4BWCYB2 | 997 | Max Drift Y | 0.000176 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCC | 973 | Max Drift X | 5.8E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCC | 997 | Max Drift Y | 0.000152 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4BWCD1 | 973 | Max Drift X | 5.9E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4BWCD1 | 997 | Max Drift Y | 0.000163 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCX | 973 | Max Drift X | 6.4E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCX | 997 | Max Drift Y | 0.000109 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCY | 792 | Max Drift X | 4.3E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4DWCY | 997 | Max Drift Y | 0.000177 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCXB1 | 973 | Max Drift X | 5.7E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCXB1 | 997 | Max Drift Y | 0.000115 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCXB2 | 973 | Max Drift X | 5.2E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCXB2 | 997 | Max Drift Y | 0.000101 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CYB1 | 792 | Max Drift X | 3.4E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4CYB1 | 997 | Max Drift Y | 0.000132 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CYB2 | 792 | Max Drift X | 5E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4CYB2 | 997 | Max Drift Y | 0.000186 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCC | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCC | 997 | Max Drift Y | 0.000161 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCD1 | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCD1 | 997 | Max Drift Y | 0.000173 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4DWCD2 | 973 | Max Drift X | 4.4E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4DWCD2 | 997 | Max Drift Y | 0.000122 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCX | 973 | Max Drift X | 7.3E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCX | 997 | Max Drift Y | 0.000147 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCY | 792 | Max Drift X | 5.7E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4CWCY | 997 | Max Drift Y | 0.000214 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCXB1 | 973 | Max Drift X | 6.6E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCXB1 | 997 | Max Drift Y | 0.000153 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCXB2 | 973 | Max Drift X | 6.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCXB2 | 997 | Max Drift Y | 0.000139 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCYB1 | 792 | Max Drift X | 4.7E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PF4CWCYB1 | 997 | Max Drift Y | 0.000169 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCYB2 | 982 | Max Drift X | 6.3E-05 | 53.225 | 27.95 | 7.2 |
| Story3 | PF4CWCYB2 | 997 | Max Drift Y | 0.000223 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCC | 973 | Max Drift X | 7E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCC | 997 | Max Drift Y | 0.000199 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCD1 | 973 | Max Drift X | 7.1E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCD1 | 997 | Max Drift Y | 0.00021 | 83.6 | 9.5 | 7.2 |
| Story3 | PF4CWCD2 | 973 | Max Drift X | 5.3E-05 | 82.05 | 0 | 7.2 |
| Story3 | PF4CWCD2 | 997 | Max Drift Y | 0.00016 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2X | 973 | Max Drift X | 0.000161 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ2X | 997 | Max Drift Y | 0.000131 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2Y | 792 | Max Drift X | 5.9E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ2Y | 997 | Max Drift Y | 0.000284 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2XMIN | 973 | Max Drift X | 0.000152 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ2XMIN | 997 | Max Drift Y | 0.000105 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2XMAX | 973 | Max Drift X | 0.00017 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ2XMAX | 997 | Max Drift Y | 0.000157 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2YMIN | 792 | Max Drift X | 7.6E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ2YMIN | 997 | Max Drift Y | 0.000339 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ2YMAX | 792 | Max Drift X | 4.2E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ2YMAX | 997 | Max Drift Y | 0.000229 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1X | 973 | Max Drift X | 0.000159 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ1X | 997 | Max Drift Y | 0.000121 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1Y | 792 | Max Drift X | 5.6E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ1Y | 997 | Max Drift Y | 0.000274 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1XMIN | 973 | Max Drift X | 0.00015 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ1XMIN | 997 | Max Drift Y | 9.5E-05 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1XMAX | 973 | Max Drift X | 0.000168 | 82.05 | 0 | 7.2 |
| Story3 | PFEQ1XMAX | 997 | Max Drift Y | 0.000147 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1YMIN | 792 | Max Drift X | 7.2E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ1YMIN | 997 | Max Drift Y | 0.000329 | 83.6 | 9.5 | 7.2 |
| Story3 | PFEQ1YMAX | 792 | Max Drift X | 3.9E-05 | 45.3 | 27.95 | 7.2 |
| Story3 | PFEQ1YMAX | 997 | Max Drift Y | 0.000219 | 83.6 | 9.5 | 7.2 |
| Story2 | OW | 929 | Max Drift X | 7E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | OW | 965 | Max Drift Y | 1.6E-05 | 0 | 14.75 | 4.25 |
| Story2 | EQDL | 929 | Max Drift X | 4.677E-07 | 82.05 | 27.95 | 4.25 |
| Story2 | EQDL | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| Story2 | LL | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | LL | 965 | Max Drift Y | 4E-06 | 0 | 14.75 | 4.25 |
| Story2 | FACADE | 929 | Max Drift X | 3.908E-07 | 82.05 | 27.95 | 4.25 |
| Story2 | FACADE | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| Story2 | EQX | 929 | Max Drift X | 3E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | EQX | 936 | Max Drift Y | 3E-06 | 0 | 17.5 | 4.25 |
| Story2 | EQY | 792 | Max Drift X | 7E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | EQY | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | EQXMIN | 929 | Max Drift X | 3.3E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | EQXMIN | 965 | Max Drift Y | 1E-05 | 0 | 14.75 | 4.25 |
| Story2 | EQXMAX | 972 | Max Drift X | 3.1E-05 | 78.6 | 0 | 4.25 |
| Story2 | EQXMAX | 891 | Max Drift Y | 5E-06 | 82.05 | 12.85 | 4.25 |
| Story2 | EQYMIN | 792 | Max Drift X | 1.3E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | EQYMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | EQYMAX | 792 | Max Drift X | 1E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | EQYMAX | 929 | Max Drift Y | 4.1E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | WCX | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | WCX | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| Story2 | WCY | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | WCY | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | WCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| Story2 | WCXB1 | 891 | Max Drift Y | 1E-06 | 82.05 | 12.85 | 4.25 |
| Story2 | DELDL | 929 | Max Drift X | 1E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | DELDL | 965 | Max Drift Y | 3E-06 | 0 | 14.75 | 4.25 |
| Story2 | WCXB2 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | WCXB2 | 965 | Max Drift Y | 2E-06 | 0 | 14.75 | 4.25 |
| Story2 | WCYB2 | 792 | Max Drift X | 4E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | WCYB2 | 891 | Max Drift Y | 2.2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | WCYB1 | 972 | Max Drift X | 1E-06 | 78.6 | 0 | 4.25 |
| Story2 | WCYB1 | 965 | Max Drift Y | 1.4E-05 | 0 | 14.75 | 4.25 |
| Story2 | WCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | WCC | 929 | Max Drift Y | 1.5E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | WCD1 | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | WCD1 | 891 | Max Drift Y | 1.7E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | WCD2 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | WCD2 | 965 | Max Drift Y | 1.2E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF1 | 929 | Max Drift X | 1.2E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF1 | 965 | Max Drift Y | 2.8E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF2 | 929 | Max Drift X | 1.3E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF2 | 965 | Max Drift Y | 3E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4WX | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4WX | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4WY | 792 | Max Drift X | 1.3E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4WY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4WXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4WXB1 | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4WXB2 | 972 | Max Drift X | 3E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4WXB2 | 965 | Max Drift Y | 2.2E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4WYB1 | 929 | Max Drift X | 9E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4WYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4WYB2 | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4WYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4WCC | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4WCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4WCD1 | 792 | Max Drift X | 1E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4WCD1 | 965 | Max Drift Y | 2.5E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4WCD2 | 929 | Max Drift X | 4E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4WCD2 | 965 | Max Drift Y | 8E-06 | 0 | 14.75 | 4.25 |
| Story2 | PF4BWCD2 | 972 | Max Drift X | 1E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCD2 | 891 | Max Drift Y | 6E-06 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4BWCX | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCX | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4BWCY | 929 | Max Drift X | 1E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4BWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4BWCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCXB1 | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4BWCXB2 | 972 | Max Drift X | 4E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCXB2 | 965 | Max Drift Y | 1.5E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4BWCYB1 | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4BWCYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4BWCYB2 | 929 | Max Drift X | 1.3E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4BWCYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4BWCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4BWCD1 | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4BWCD1 | 891 | Max Drift Y | 2.4E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4DWCX | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4DWCX | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4DWCY | 929 | Max Drift X | 1.1E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4DWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4DWCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4DWCXB1 | 965 | Max Drift Y | 2.1E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4DWCXB2 | 972 | Max Drift X | 4E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4DWCXB2 | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4CYB1 | 929 | Max Drift X | 7E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4CYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CYB2 | 929 | Max Drift X | 1.4E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4CYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4DWCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4DWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4DWCD1 | 792 | Max Drift X | 8E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4DWCD1 | 891 | Max Drift Y | 2.4E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4DWCD2 | 929 | Max Drift X | 2E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4DWCD2 | 891 | Max Drift Y | 6E-06 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CWCX | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| Story2 | PF4CWCX | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4CWCY | 792 | Max Drift X | 1.4E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4CWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CWCXB1 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4CWCXB1 | 965 | Max Drift Y | 2.8E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4CWCXB2 | 929 | Max Drift X | 4E-06 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4CWCXB2 | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4CWCYB1 | 929 | Max Drift X | 1E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PF4CWCYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CWCYB2 | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4CWCYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CWCC | 792 | Max Drift X | 6E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4CWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PF4CWCD1 | 792 | Max Drift X | 1.1E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4CWCD1 | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| Story2 | PF4CWCD2 | 792 | Max Drift X | 5E-06 | 45.3 | 27.95 | 4.25 |
| Story2 | PF4CWCD2 | 965 | Max Drift Y | 1E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ2X | 972 | Max Drift X | 2.6E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ2X | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ2Y | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PFEQ2Y | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PFEQ2XMIN | 972 | Max Drift X | 2.4E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ2XMIN | 965 | Max Drift Y | 1.2E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ2XMAX | 972 | Max Drift X | 2.9E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ2XMAX | 965 | Max Drift Y | 2.5E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ2YMIN | 792 | Max Drift X | 2.2E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PFEQ2YMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PFEQ2YMAX | 792 | Max Drift X | 1.1E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PFEQ2YMAX | 891 | Max Drift Y | 4.1E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PFEQ1X | 972 | Max Drift X | 2.7E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ1X | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ1Y | 929 | Max Drift X | 1.5E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PFEQ1Y | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PFEQ1XMIN | 972 | Max Drift X | 2.4E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ1XMIN | 30 | Max Drift Y | 1.1E-05 | 46.1 | 19.3 | 4.25 |
| Story2 | PFEQ1XMAX | 972 | Max Drift X | 2.9E-05 | 78.6 | 0 | 4.25 |
| Story2 | PFEQ1XMAX | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| Story2 | PFEQ1YMIN | 929 | Max Drift X | 2.1E-05 | 82.05 | 27.95 | 4.25 |
| Story2 | PFEQ1YMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| Story2 | PFEQ1YMAX | 792 | Max Drift X | 1E-05 | 45.3 | 27.95 | 4.25 |
| Story2 | PFEQ1YMAX | 891 | Max Drift Y | 4.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | OW | 929 | Max Drift X | 7E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | OW | 965 | Max Drift Y | 1.6E-05 | 0 | 14.75 | 4.25 |
| GROUND | EQDL | 929 | Max Drift X | 4.677E-07 | 82.05 | 27.95 | 4.25 |
| GROUND | EQDL | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| GROUND | LL | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | LL | 965 | Max Drift Y | 4E-06 | 0 | 14.75 | 4.25 |
| GROUND | FACADE | 929 | Max Drift X | 3.908E-07 | 82.05 | 27.95 | 4.25 |
| GROUND | FACADE | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| GROUND | EQX | 929 | Max Drift X | 3E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | EQX | 936 | Max Drift Y | 3E-06 | 0 | 17.5 | 4.25 |
| GROUND | EQY | 792 | Max Drift X | 7E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | EQY | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | EQXMIN | 929 | Max Drift X | 3.3E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | EQXMIN | 965 | Max Drift Y | 1E-05 | 0 | 14.75 | 4.25 |
| GROUND | EQXMAX | 972 | Max Drift X | 3.1E-05 | 78.6 | 0 | 4.25 |
| GROUND | EQXMAX | 891 | Max Drift Y | 5E-06 | 82.05 | 12.85 | 4.25 |
| GROUND | EQYMIN | 792 | Max Drift X | 1.3E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | EQYMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | EQYMAX | 792 | Max Drift X | 1E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | EQYMAX | 929 | Max Drift Y | 4.1E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | WCX | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | WCX | 965 | Max Drift Y | 1E-06 | 0 | 14.75 | 4.25 |
| GROUND | WCY | 792 | Max Drift X | 2E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | WCY | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | WCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| GROUND | WCXB1 | 891 | Max Drift Y | 1E-06 | 82.05 | 12.85 | 4.25 |
| GROUND | DELDL | 929 | Max Drift X | 1E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | DELDL | 965 | Max Drift Y | 3E-06 | 0 | 14.75 | 4.25 |
| GROUND | WCXB2 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | WCXB2 | 965 | Max Drift Y | 2E-06 | 0 | 14.75 | 4.25 |
| GROUND | WCYB2 | 792 | Max Drift X | 4E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | WCYB2 | 891 | Max Drift Y | 2.2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | WCYB1 | 972 | Max Drift X | 1E-06 | 78.6 | 0 | 4.25 |
| GROUND | WCYB1 | 965 | Max Drift Y | 1.4E-05 | 0 | 14.75 | 4.25 |
| GROUND | WCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | WCC | 929 | Max Drift Y | 1.5E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | WCD1 | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | WCD1 | 891 | Max Drift Y | 1.7E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | WCD2 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | WCD2 | 965 | Max Drift Y | 1.2E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF1 | 929 | Max Drift X | 1.2E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF1 | 965 | Max Drift Y | 2.8E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF2 | 929 | Max Drift X | 1.3E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF2 | 965 | Max Drift Y | 3E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4WX | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4WX | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4WY | 792 | Max Drift X | 1.3E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4WY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4WXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4WXB1 | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4WXB2 | 972 | Max Drift X | 3E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4WXB2 | 965 | Max Drift Y | 2.2E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4WYB1 | 929 | Max Drift X | 9E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4WYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4WYB2 | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4WYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4WCC | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4WCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4WCD1 | 792 | Max Drift X | 1E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4WCD1 | 965 | Max Drift Y | 2.5E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4WCD2 | 929 | Max Drift X | 4E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4WCD2 | 965 | Max Drift Y | 8E-06 | 0 | 14.75 | 4.25 |
| GROUND | PF4BWCD2 | 972 | Max Drift X | 1E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCD2 | 891 | Max Drift Y | 6E-06 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4BWCX | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCX | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4BWCY | 929 | Max Drift X | 1E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4BWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4BWCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCXB1 | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4BWCXB2 | 972 | Max Drift X | 4E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCXB2 | 965 | Max Drift Y | 1.5E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4BWCYB1 | 929 | Max Drift X | 6E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4BWCYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4BWCYB2 | 929 | Max Drift X | 1.3E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4BWCYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4BWCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4BWCD1 | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4BWCD1 | 891 | Max Drift Y | 2.4E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4DWCX | 972 | Max Drift X | 7E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4DWCX | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4DWCY | 929 | Max Drift X | 1.1E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4DWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4DWCXB1 | 972 | Max Drift X | 5E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4DWCXB1 | 965 | Max Drift Y | 2.1E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4DWCXB2 | 972 | Max Drift X | 4E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4DWCXB2 | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4CYB1 | 929 | Max Drift X | 7E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4CYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CYB2 | 929 | Max Drift X | 1.4E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4CYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4DWCC | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4DWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4DWCD1 | 792 | Max Drift X | 8E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4DWCD1 | 891 | Max Drift Y | 2.4E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4DWCD2 | 929 | Max Drift X | 2E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4DWCD2 | 891 | Max Drift Y | 6E-06 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CWCX | 972 | Max Drift X | 6E-06 | 78.6 | 0 | 4.25 |
| GROUND | PF4CWCX | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4CWCY | 792 | Max Drift X | 1.4E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4CWCY | 891 | Max Drift Y | 2.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CWCXB1 | 929 | Max Drift X | 5E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4CWCXB1 | 965 | Max Drift Y | 2.8E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4CWCXB2 | 929 | Max Drift X | 4E-06 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4CWCXB2 | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4CWCYB1 | 929 | Max Drift X | 1E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PF4CWCYB1 | 891 | Max Drift Y | 1.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CWCYB2 | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4CWCYB2 | 891 | Max Drift Y | 3.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CWCC | 792 | Max Drift X | 6E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4CWCC | 891 | Max Drift Y | 2E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PF4CWCD1 | 792 | Max Drift X | 1.1E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4CWCD1 | 965 | Max Drift Y | 2.6E-05 | 0 | 14.75 | 4.25 |
| GROUND | PF4CWCD2 | 792 | Max Drift X | 5E-06 | 45.3 | 27.95 | 4.25 |
| GROUND | PF4CWCD2 | 965 | Max Drift Y | 1E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ2X | 972 | Max Drift X | 2.6E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ2X | 965 | Max Drift Y | 1.9E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ2Y | 792 | Max Drift X | 1.6E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PFEQ2Y | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PFEQ2XMIN | 972 | Max Drift X | 2.4E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ2XMIN | 965 | Max Drift Y | 1.2E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ2XMAX | 972 | Max Drift X | 2.9E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ2XMAX | 965 | Max Drift Y | 2.5E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ2YMIN | 792 | Max Drift X | 2.2E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PFEQ2YMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PFEQ2YMAX | 792 | Max Drift X | 1.1E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PFEQ2YMAX | 891 | Max Drift Y | 4.1E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PFEQ1X | 972 | Max Drift X | 2.7E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ1X | 965 | Max Drift Y | 1.7E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ1Y | 929 | Max Drift X | 1.5E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PFEQ1Y | 891 | Max Drift Y | 5.8E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PFEQ1XMIN | 972 | Max Drift X | 2.4E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ1XMIN | 30 | Max Drift Y | 1.1E-05 | 46.1 | 19.3 | 4.25 |
| GROUND | PFEQ1XMAX | 972 | Max Drift X | 2.9E-05 | 78.6 | 0 | 4.25 |
| GROUND | PFEQ1XMAX | 965 | Max Drift Y | 2.4E-05 | 0 | 14.75 | 4.25 |
| GROUND | PFEQ1YMIN | 929 | Max Drift X | 2.1E-05 | 82.05 | 27.95 | 4.25 |
| GROUND | PFEQ1YMIN | 891 | Max Drift Y | 7.5E-05 | 82.05 | 12.85 | 4.25 |
| GROUND | PFEQ1YMAX | 792 | Max Drift X | 1E-05 | 45.3 | 27.95 | 4.25 |
| GROUND | PFEQ1YMAX | 891 | Max Drift Y | 4.1E-05 | 82.05 | 12.85 | 4.25 |

Table 3.5 - Story Forces

| Story | Load Case/Combo | Location | P kN | VX kN | VY kN | T kN-m | MX kN-m | MY kN-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UPPER ROOF | DELDL | Top | 108.5857 | 0 | 0 | 0 | 1550.0616 | -5355.9921 |
| UPPER ROOF | DELDL | Bottom | 108.5857 | 0 | 0 | 0 | 1550.0616 | -5355.9921 |
| PENTHOUSE | DELDL | Top | 988.026 | 0 | 0 | 0 | 13842.4221 | -50085.8143 |
| PENTHOUSE | DELDL | Bottom | 988.026 | 0 | 0 | 0 | 13842.4221 | -50085.8143 |
| Story14 | DELDL | Top | 1969.9973 | 0 | 0 | 0 | 27755.9832 | -99454.5447 |
| Story14 | DELDL | Bottom | 1969.9973 | 0 | 0 | 0 | 27755.9832 | -99454.5447 |
| Story13 | DELDL | Top | 2980.354 | 0 | 0 | 0 | 41551.0085 | -150428 |
| Story13 | DELDL | Bottom | 2980.354 | 0 | 0 | 0 | 41551.0085 | -150428 |
| Story12 | DELDL | Top | 4199.2535 | 0 | 0 | 0 | 57708.9277 | -207457 |
| Story12 | DELDL | Bottom | 4199.2535 | 0 | 0 | 0 | 57708.9277 | -207457 |
| Story11 | DELDL | Top | 5513.4592 | 0 | 0 | 0 | 75309.8067 | -269753 |
| Story11 | DELDL | Bottom | 5513.4592 | 0 | 0 | 0 | 75309.8067 | -269753 |
| Story10 | DELDL | Top | 7025.07 | 0 | 0 | 0 | 95885.0917 | -343407 |
| Story10 | DELDL | Bottom | 7025.07 | 0 | 0 | 0 | 95885.0917 | -343407 |
| Story9 | DELDL | Top | 9033.1215 | 0 | 0 | 0 | 122323.5185 | -427228 |
| Story9 | DELDL | Bottom | 9033.1215 | 0 | 0 | 0 | 122323.5185 | -427228 |
| Story8 | DELDL | Top | 11100.3587 | 0 | 0 | 0 | 149412.4743 | -511982 |
| Story8 | DELDL | Bottom | 11100.3587 | 0 | 0 | 0 | 149412.4743 | -511982 |
| Story7 | DELDL | Top | 13194.3142 | 0 | 0 | 0 | 176894.623 | -599533 |
| Story7 | DELDL | Bottom | 13194.3142 | 0 | 0 | 0 | 176894.623 | -599533 |
| Story6 | DELDL | Top | 15583.7565 | 0 | 0 | 0 | 208631.8522 | -707824 |
| Story6 | DELDL | Bottom | 15583.7565 | 0 | 0 | 0 | 208631.8522 | -707824 |
| Story5 | DELDL | Top | 18206.1847 | 0 | 0 | 0 | 243457.3343 | -822046 |
| Story5 | DELDL | Bottom | 18206.1847 | 0 | 0 | 0 | 243457.3343 | -822046 |
| Story4 | DELDL | Top | 20840.0075 | 0 | 0 | 0 | 278362.3754 | -936768 |
| Story4 | DELDL | Bottom | 20840.0075 | 0 | 0 | 0 | 278362.3754 | -936768 |
| Story3 | DELDL | Top | 23430.0788 | 0 | 0 | 0 | 312992.6377 | -1048932 |
| Story3 | DELDL | Bottom | 23430.0788 | 0 | 0 | 0 | 312992.6377 | -1048932 |
| Story2 | DELDL | Top | 26173.807 | 0 | 0 | 0 | 350130.3107 | -1164716 |
| Story2 | DELDL | Bottom | 26173.807 | 0 | 0 | 0 | 350130.3107 | -1164716 |
| UPPER ROOF | EQDL | Top | 41.7637 | 0 | 0 | 0 | 596.1775 | -2059.997 |
| UPPER ROOF | EQDL | Bottom | 41.7637 | 0 | 0 | 0 | 596.1775 | -2059.997 |
| PENTHOUSE | EQDL | Top | 380.01 | 0 | 0 | 0 | 5324.0085 | -19263.7747 |
| PENTHOUSE | EQDL | Bottom | 380.01 | 0 | 0 | 0 | 5324.0085 | -19263.7747 |
| Story14 | EQDL | Top | 757.6913 | 0 | 0 | 0 | 10675.3782 | -38251.748 |
| Story14 | EQDL | Bottom | 757.6913 | 0 | 0 | 0 | 10675.3782 | -38251.748 |
| Story13 | EQDL | Top | 1146.29 | 0 | 0 | 0 | 15981.1571 | -57857.0667 |
| Story13 | EQDL | Bottom | 1146.29 | 0 | 0 | 0 | 15981.1571 | -57857.0667 |
| Story12 | EQDL | Top | 1615.0975 | 0 | 0 | 0 | 22195.7414 | -79791.2967 |
| Story12 | EQDL | Bottom | 1615.0975 | 0 | 0 | 0 | 22195.7414 | -79791.2967 |
| Story11 | EQDL | Top | 2120.5612 | 0 | 0 | 0 | 28965.3103 | -103751 |
| Story11 | EQDL | Bottom | 2120.5612 | 0 | 0 | 0 | 28965.3103 | -103751 |
| Story10 | EQDL | Top | 2701.95 | 0 | 0 | 0 | 36878.8814 | -132080 |
| Story10 | EQDL | Bottom | 2701.95 | 0 | 0 | 0 | 36878.8814 | -132080 |
| Story9 | EQDL | Top | 3474.2775 | 0 | 0 | 0 | 47047.5071 | -164318 |
| Story9 | EQDL | Bottom | 3474.2775 | 0 | 0 | 0 | 47047.5071 | -164318 |
| Story8 | EQDL | Top | 4269.3687 | 0 | 0 | 0 | 57466.3363 | -196916 |
| Story8 | EQDL | Bottom | 4269.3687 | 0 | 0 | 0 | 57466.3363 | -196916 |
| Story7 | EQDL | Top | 5074.7362 | 0 | 0 | 0 | 68036.3935 | -230590 |
| Story7 | EQDL | Bottom | 5074.7362 | 0 | 0 | 0 | 68036.3935 | -230590 |
| Story6 | EQDL | Top | 5993.7525 | 0 | 0 | 0 | 80243.0201 | -272240 |
| Story6 | EQDL | Bottom | 5993.7525 | 0 | 0 | 0 | 80243.0201 | -272240 |
| Story5 | EQDL | Top | 7002.3787 | 0 | 0 | 0 | 93637.4363 | -316171 |
| Story5 | EQDL | Bottom | 7002.3787 | 0 | 0 | 0 | 93637.4363 | -316171 |
| Story4 | EQDL | Top | 8015.3875 | 0 | 0 | 0 | 107062.4521 | -360295 |
| Story4 | EQDL | Bottom | 8015.3875 | 0 | 0 | 0 | 107062.4521 | -360295 |
| Story3 | EQDL | Top | 9011.5688 | 0 | 0 | 0 | 120381.7837 | -403436 |
| Story3 | EQDL | Bottom | 9011.5688 | 0 | 0 | 0 | 120381.7837 | -403436 |
| Story2 | EQDL | Top | 10066.8488 | 0 | 0 | 0 | 134665.5041 | -447968 |
| Story2 | EQDL | Bottom | 10066.8488 | 0 | 0 | 0 | 134665.5041 | -447968 |
| UPPER ROOF | EQX | Top | 0 | -98.9751 | 0 | 1469.1475 | 0 | 0 |
| UPPER ROOF | EQX | Bottom | 0 | -98.9751 | 0 | 1469.1475 | 0 | -430.5417 |
| PENTHOUSE | EQX | Top | 0 | -747.6332 | 0 | 10830.0524 | 0 | -430.5417 |
| PENTHOUSE | EQX | Bottom | 0 | -747.6332 | 0 | 10830.0524 | 0 | -3024.8289 |
| Story14 | EQX | Top | 0 | -1525.0269 | 0 | 21789.4378 | 0 | -3024.8289 |
| Story14 | EQX | Bottom | 0 | -1525.0269 | 0 | 21789.4378 | 0 | -7981.1663 |
| Story13 | EQX | Top | 0 | -2216.5902 | 0 | 31436.0305 | 0 | -7981.1663 |
| Story13 | EQX | Bottom | 0 | -2216.5902 | 0 | 31436.0305 | 0 | -14520.1073 |
| Story12 | EQX | Top | 0 | -3005.3233 | 0 | 42123.2319 | 0 | -14520.1073 |
| Story12 | EQX | Bottom | 0 | -3005.3233 | 0 | 42123.2319 | 0 | -23686.3435 |
| Story11 | EQX | Top | 0 | -3769.4878 | 0 | 52547.5374 | 0 | -23686.3435 |
| Story11 | EQX | Bottom | 0 | -3769.4878 | 0 | 52547.5374 | 0 | -34806.3323 |
| Story10 | EQX | Top | 0 | -4597.5529 | 0 | 63963.2195 | 0 | -34806.3323 |
| Story10 | EQX | Bottom | 0 | -4597.5529 | 0 | 63963.2195 | 0 | -48828.8687 |
| Story9 | EQX | Top | 0 | -5526.5135 | 0 | 76387.4462 | 0 | -48828.8687 |
| Story9 | EQX | Bottom | 0 | -5526.5135 | 0 | 76387.4462 | 0 | -66790.0377 |
| Story8 | EQX | Top | 0 | -6386.0384 | 0 | 87766.9977 | 0 | -66790.0377 |
| Story8 | EQX | Bottom | 0 | -6386.0384 | 0 | 87766.9977 | 0 | -85628.8509 |
| Story7 | EQX | Top | 0 | -7132.2681 | 0 | 97638.3535 | 0 | -85628.8509 |
| Story7 | EQX | Bottom | 0 | -7132.2681 | 0 | 97638.3535 | 0 | -106669 |
| Story6 | EQX | Top | 0 | -7882.3745 | 0 | 107887.2924 | 0 | -106669 |
| Story6 | EQX | Bottom | 0 | -7882.3745 | 0 | 107887.2924 | 0 | -130710 |
| Story5 | EQX | Top | 0 | -8516.955 | 0 | 116381.3006 | 0 | -130710 |
| Story5 | EQX | Bottom | 0 | -8516.955 | 0 | 116381.3006 | 0 | -154473 |
| Story4 | EQX | Top | 0 | -9012.6772 | 0 | 122994.0814 | 0 | -154473 |
| Story4 | EQX | Bottom | 0 | -9012.6772 | 0 | 122994.0814 | -5.131E-07 | -179618 |
| Story3 | EQX | Top | 0 | -9397.7437 | 0 | 128238.5119 | 0 | -179618 |
| Story3 | EQX | Bottom | 0 | -9397.7437 | 0 | 128238.5119 | 0 | -207341 |
| Story2 | EQX | Top | 0 | -9668.567 | 0 | 131955.0415 | 0 | -207341 |
| Story2 | EQX | Bottom | 0 | -9668.567 | 0 | 131955.0415 | 0 | -248433 |
| UPPER ROOF | EQXMAX | Top | 0 | -98.9751 | 0 | 1405.3085 | 0 | 0 |
| UPPER ROOF | EQXMAX | Bottom | 0 | -98.9751 | 0 | 1405.3085 | 0 | -430.5417 |
| PENTHOUSE | EQXMAX | Top | 0 | -747.6332 | 0 | 9183.4877 | 0 | -430.5417 |
| PENTHOUSE | EQXMAX | Bottom | 0 | -747.6332 | 0 | 9183.4877 | 0 | -3024.8289 |
| Story14 | EQXMAX | Top | 0 | -1525.0269 | 0 | 17970.0577 | 0 | -3024.8289 |
| Story14 | EQXMAX | Bottom | 0 | -1525.0269 | 0 | 17970.0577 | 0 | -7981.1663 |
| Story13 | EQXMAX | Top | 0 | -2216.5902 | 0 | 25683.731 | 0 | -7981.1663 |
| Story13 | EQXMAX | Bottom | 0 | -2216.5902 | 0 | 25683.731 | 0 | -14520.1073 |
| Story12 | EQXMAX | Top | 0 | -3005.3233 | 0 | 34166.4233 | 0 | -14520.1073 |
| Story12 | EQXMAX | Bottom | 0 | -3005.3233 | 0 | 34166.4233 | 0 | -23686.3435 |
| Story11 | EQXMAX | Top | 0 | -3769.4878 | 0 | 42454.8892 | 0 | -23686.3435 |
| Story11 | EQXMAX | Bottom | 0 | -3769.4878 | 0 | 42454.8892 | 0 | -34806.3323 |
| Story10 | EQXMAX | Top | 0 | -4597.5529 | 0 | 51556.1292 | 0 | -34806.3323 |
| Story10 | EQXMAX | Bottom | 0 | -4597.5529 | 0 | 51556.1292 | 0 | -48828.8687 |
| Story9 | EQXMAX | Top | 0 | -5526.5135 | 0 | 61383.911 | 0 | -48828.8687 |
| Story9 | EQXMAX | Bottom | 0 | -5526.5135 | 0 | 61383.911 | 0 | -66790.0377 |
| Story8 | EQXMAX | Top | 0 | -6386.0384 | 0 | 70361.0905 | 0 | -66790.0377 |
| Story8 | EQXMAX | Bottom | 0 | -6386.0384 | 0 | 70361.0905 | -5.14E-07 | -85628.8509 |
| Story7 | EQXMAX | Top | 0 | -7132.2681 | 0 | 78146.7342 | -5.322E-07 | -85628.8509 |
| Story7 | EQXMAX | Bottom | 0 | -7132.2681 | 0 | 78146.7342 | -5.683E-07 | -106669 |
| Story6 | EQXMAX | Top | 0 | -7882.3745 | 0 | 86299.1257 | -5.075E-07 | -106669 |
| Story6 | EQXMAX | Bottom | 0 | -7882.3745 | 0 | 86299.1257 | -5.474E-07 | -130710 |
| Story5 | EQXMAX | Top | 0 | -8516.955 | 0 | 93019.4815 | -5.773E-07 | -130710 |
| Story5 | EQXMAX | Bottom | 0 | -8516.955 | 0 | 93019.4815 | -6.138E-07 | -154473 |
| Story4 | EQXMAX | Top | 0 | -9012.6772 | 0 | 98246.7188 | -6.684E-07 | -154473 |
| Story4 | EQXMAX | Bottom | 0 | -9012.6772 | 0 | 98246.7188 | -7.047E-07 | -179618 |
| Story3 | EQXMAX | Top | 0 | -9397.7437 | 0 | 102414.8884 | 0 | -179618 |
| Story3 | EQXMAX | Bottom | 0 | -9397.7437 | 0 | 102414.8884 | 0 | -207341 |
| Story2 | EQXMAX | Top | 0 | -9668.567 | 0 | 105375.4245 | 0 | -207341 |
| Story2 | EQXMAX | Bottom | 0 | -9668.567 | 0 | 105375.4245 | 0 | -248433 |
| UPPER ROOF | EQXMIN | Top | 0 | -98.9751 | 0 | 1532.9864 | 0 | 0 |
| UPPER ROOF | EQXMIN | Bottom | 0 | -98.9751 | 0 | 1532.9864 | 0 | -430.5417 |
| PENTHOUSE | EQXMIN | Top | 0 | -747.6332 | 0 | 12476.6171 | 0 | -430.5417 |
| PENTHOUSE | EQXMIN | Bottom | 0 | -747.6332 | 0 | 12476.6171 | 0 | -3024.8289 |
| Story14 | EQXMIN | Top | 0 | -1525.0269 | 0 | 25608.8179 | 0 | -3024.8289 |
| Story14 | EQXMIN | Bottom | 0 | -1525.0269 | 0 | 25608.8179 | 0 | -7981.1663 |
| Story13 | EQXMIN | Top | 0 | -2216.5902 | 0 | 37188.3299 | 0 | -7981.1663 |
| Story13 | EQXMIN | Bottom | 0 | -2216.5902 | 0 | 37188.3299 | 0 | -14520.1073 |
| Story12 | EQXMIN | Top | 0 | -3005.3233 | 0 | 50080.0405 | 0 | -14520.1073 |
| Story12 | EQXMIN | Bottom | 0 | -3005.3233 | 0 | 50080.0405 | 0 | -23686.3435 |
| Story11 | EQXMIN | Top | 0 | -3769.4878 | 0 | 62640.1855 | 0 | -23686.3435 |
| Story11 | EQXMIN | Bottom | 0 | -3769.4878 | 0 | 62640.1855 | 0 | -34806.3323 |
| Story10 | EQXMIN | Top | 0 | -4597.5529 | 0 | 76370.3098 | 0 | -34806.3323 |
| Story10 | EQXMIN | Bottom | 0 | -4597.5529 | 0 | 76370.3098 | 0 | -48828.8687 |
| Story9 | EQXMIN | Top | 0 | -5526.5135 | 0 | 91390.9814 | 0 | -48828.8687 |
| Story9 | EQXMIN | Bottom | 0 | -5526.5135 | 0 | 91390.9814 | 0 | -66790.0377 |
| Story8 | EQXMIN | Top | 0 | -6386.0384 | 0 | 105172.9049 | 0 | -66790.0377 |
| Story8 | EQXMIN | Bottom | 0 | -6386.0384 | 0 | 105172.9049 | 0 | -85628.8509 |
| Story7 | EQXMIN | Top | 0 | -7132.2681 | 0 | 117129.9728 | 0 | -85628.8509 |
| Story7 | EQXMIN | Bottom | 0 | -7132.2681 | 0 | 117129.9728 | 0 | -106669 |
| Story6 | EQXMIN | Top | 0 | -7882.3745 | 0 | 129475.4591 | 0 | -106669 |
| Story6 | EQXMIN | Bottom | 0 | -7882.3745 | 0 | 129475.4591 | 0 | -130710 |
| Story5 | EQXMIN | Top | 0 | -8516.955 | 0 | 139743.1198 | 0 | -130710 |
| Story5 | EQXMIN | Bottom | 0 | -8516.955 | 0 | 139743.1198 | 0 | -154473 |
| Story4 | EQXMIN | Top | 0 | -9012.6772 | 0 | 147741.444 | 0 | -154473 |
| Story4 | EQXMIN | Bottom | 0 | -9012.6772 | 0 | 147741.444 | 0 | -179618 |
| Story3 | EQXMIN | Top | 0 | -9397.7437 | 0 | 154062.1355 | 6.299E-07 | -179618 |
| Story3 | EQXMIN | Bottom | 0 | -9397.7437 | 0 | 154062.1355 | 6.411E-07 | -207341 |
| Story2 | EQXMIN | Top | 0 | -9668.567 | 0 | 158534.6586 | 6.026E-07 | -207341 |
| Story2 | EQXMIN | Bottom | 0 | -9668.567 | 0 | 158534.6586 | 6.189E-07 | -248433 |
| UPPER ROOF | EQY | Top | 0 | 0 | -111.1294 | -5513.9254 | 0 | 0 |
| UPPER ROOF | EQY | Bottom | 0 | 0 | -111.1294 | -5513.9254 | 483.4127 | 0 |
| PENTHOUSE | EQY | Top | 0 | 0 | -839.4434 | -42181.4795 | 483.4127 | 0 |
| PENTHOUSE | EQY | Bottom | 0 | 0 | -839.4434 | -42181.4795 | 3396.2811 | 0 |
| Story14 | EQY | Top | 0 | 0 | -1712.3018 | -86353.4477 | 3396.2811 | 0 |
| Story14 | EQY | Bottom | 0 | 0 | -1712.3018 | -86353.4477 | 8961.2621 | 0 |
| Story13 | EQY | Top | 0 | 0 | -2488.7898 | -125410 | 8961.2621 | 0 |
| Story13 | EQY | Bottom | 0 | 0 | -2488.7898 | -125410 | 16303.1922 | 0 |
| Story12 | EQY | Top | 0 | 0 | -3374.3803 | -166767 | 16303.1922 | 0 |
| Story12 | EQY | Bottom | 0 | 0 | -3374.3803 | -166767 | 26595.0521 | 0 |
| Story11 | EQY | Top | 0 | 0 | -4232.3849 | -207132 | 26595.0521 | 0 |
| Story11 | EQY | Bottom | 0 | 0 | -4232.3849 | -207132 | 39080.5876 | 0 |
| Story10 | EQY | Top | 0 | 0 | -5162.1374 | -252932 | 39080.5876 | 0 |
| Story10 | EQY | Bottom | 0 | 0 | -5162.1374 | -252932 | 54825.1066 | 0 |
| Story9 | EQY | Top | 0 | 0 | -6205.1754 | -298120 | 54825.1066 | 0 |
| Story9 | EQY | Bottom | 0 | 0 | -6205.1754 | -298120 | 74991.9265 | 0 |
| Story8 | EQY | Top | 0 | 0 | -7170.2508 | -338159 | 74991.9265 | 0 |
| Story8 | EQY | Bottom | 0 | 0 | -7170.2508 | -338159 | 96144.1664 | 0 |
| Story7 | EQY | Top | 0 | 0 | -8008.1184 | -373375 | 96144.1664 | 0 |
| Story7 | EQY | Bottom | 0 | 0 | -8008.1184 | -373375 | 119768.1155 | 0 |
| Story6 | EQY | Top | 0 | 0 | -8850.3386 | -411345 | 119768.1155 | 0 |
| Story6 | EQY | Bottom | 0 | 0 | -8850.3386 | -411345 | 146761.6484 | 0 |
| Story5 | EQY | Top | 0 | 0 | -9562.8463 | -442659 | 146761.6484 | -5.04E-07 |
| Story5 | EQY | Bottom | 0 | 0 | -9562.8463 | -442659 | 173441.9896 | 0 |
| Story4 | EQY | Top | 0 | 0 | -10119.4437 | -467034 | 173441.9896 | -9.742E-07 |
| Story4 | EQY | Bottom | 0 | 0 | -10119.4437 | -467034 | 201675.2374 | -1.017E-06 |
| Story3 | EQY | Top | 0 | 0 | -10551.7968 | -486778 | 201675.2374 | 1.705E-06 |
| Story3 | EQY | Bottom | 0 | 0 | -10551.7968 | -486778 | 232803.0379 | 1.641E-06 |
| Story2 | EQY | Top | 0 | 0 | -10855.8774 | -499324 | 232803.0379 | 1.748E-06 |
| Story2 | EQY | Bottom | 0 | 0 | -10855.8774 | -499324 | 278940.517 | 1.662E-06 |
| UPPER ROOF | EQYMAX | Top | 0 | 0 | -111.1294 | -5370.0129 | 0 | 0 |
| UPPER ROOF | EQYMAX | Bottom | 0 | 0 | -111.1294 | -5370.0129 | 483.4127 | 0 |
| PENTHOUSE | EQYMAX | Top | 0 | 0 | -839.4434 | -39950.9474 | 483.4127 | 0 |
| PENTHOUSE | EQYMAX | Bottom | 0 | 0 | -839.4434 | -39950.9474 | 3396.2811 | 0 |
| Story14 | EQYMAX | Top | 0 | 0 | -1712.3018 | -81251.2111 | 3396.2811 | 0 |
| Story14 | EQYMAX | Bottom | 0 | 0 | -1712.3018 | -81251.2111 | 8961.2621 | 0 |
| Story13 | EQYMAX | Top | 0 | 0 | -2488.7898 | -117671 | 8961.2621 | 0 |
| Story13 | EQYMAX | Bottom | 0 | 0 | -2488.7898 | -117671 | 16303.1922 | 0 |
| Story12 | EQYMAX | Top | 0 | 0 | -3374.3803 | -155291 | 16303.1922 | 0 |
| Story12 | EQYMAX | Bottom | 0 | 0 | -3374.3803 | -155291 | 26595.0521 | 0 |
| Story11 | EQYMAX | Top | 0 | 0 | -4232.3849 | -191890 | 26595.0521 | 0 |
| Story11 | EQYMAX | Bottom | 0 | 0 | -4232.3849 | -191890 | 39080.5876 | 0 |
| Story10 | EQYMAX | Top | 0 | 0 | -5162.1374 | -233069 | 39080.5876 | 0 |
| Story10 | EQYMAX | Bottom | 0 | 0 | -5162.1374 | -233069 | 54825.1066 | 0 |
| Story9 | EQYMAX | Top | 0 | 0 | -6205.1754 | -271238 | 54825.1066 | 0 |
| Story9 | EQYMAX | Bottom | 0 | 0 | -6205.1754 | -271238 | 74991.9265 | 0 |
| Story8 | EQYMAX | Top | 0 | 0 | -7170.2508 | -304782 | 74991.9265 | 0 |
| Story8 | EQYMAX | Bottom | 0 | 0 | -7170.2508 | -304782 | 96144.1664 | 0 |
| Story7 | EQYMAX | Top | 0 | 0 | -8008.1184 | -334216 | 96144.1664 | 0 |
| Story7 | EQYMAX | Bottom | 0 | 0 | -8008.1184 | -334216 | 119768.1155 | 0 |
| Story6 | EQYMAX | Top | 0 | 0 | -8850.3386 | -365524 | 119768.1155 | 0 |
| Story6 | EQYMAX | Bottom | 0 | 0 | -8850.3386 | -365524 | 146761.6484 | 0 |
| Story5 | EQYMAX | Top | 0 | 0 | -9562.8463 | -390881 | 146761.6484 | -7.94E-07 |
| Story5 | EQYMAX | Bottom | 0 | 0 | -9562.8463 | -390881 | 173441.9896 | -7.862E-07 |
| Story4 | EQYMAX | Top | 0 | 0 | -10119.4437 | -410603 | 173441.9896 | -1.379E-06 |
| Story4 | EQYMAX | Bottom | 0 | 0 | -10119.4437 | -410603 | 201675.2374 | -1.378E-06 |
| Story3 | EQYMAX | Top | 0 | 0 | -10551.7968 | -426733 | 201675.2374 | 7.445E-07 |
| Story3 | EQYMAX | Bottom | 0 | 0 | -10551.7968 | -426733 | 232803.0379 | 7.411E-07 |
| Story2 | EQYMAX | Top | 0 | 0 | -10855.8774 | -436740 | 232803.0379 | 8.244E-07 |
| Story2 | EQYMAX | Bottom | 0 | 0 | -10855.8774 | -436740 | 278940.517 | 8.216E-07 |
| UPPER ROOF | EQYMIN | Top | 0 | 0 | -111.1294 | -5657.8379 | 0 | 0 |
| UPPER ROOF | EQYMIN | Bottom | 0 | 0 | -111.1294 | -5657.8379 | 483.4127 | 0 |
| PENTHOUSE | EQYMIN | Top | 0 | 0 | -839.4434 | -44412.0117 | 483.4127 | 0 |
| PENTHOUSE | EQYMIN | Bottom | 0 | 0 | -839.4434 | -44412.0117 | 3396.2811 | 0 |
| Story14 | EQYMIN | Top | 0 | 0 | -1712.3018 | -91455.6843 | 3396.2811 | 0 |
| Story14 | EQYMIN | Bottom | 0 | 0 | -1712.3018 | -91455.6843 | 8961.2621 | 0 |
| Story13 | EQYMIN | Top | 0 | 0 | -2488.7898 | -133148 | 8961.2621 | 0 |
| Story13 | EQYMIN | Bottom | 0 | 0 | -2488.7898 | -133148 | 16303.1922 | 0 |
| Story12 | EQYMIN | Top | 0 | 0 | -3374.3803 | -178242 | 16303.1922 | 0 |
| Story12 | EQYMIN | Bottom | 0 | 0 | -3374.3803 | -178242 | 26595.0521 | 0 |
| Story11 | EQYMIN | Top | 0 | 0 | -4232.3849 | -222374 | 26595.0521 | 0 |
| Story11 | EQYMIN | Bottom | 0 | 0 | -4232.3849 | -222374 | 39080.5876 | 0 |
| Story10 | EQYMIN | Top | 0 | 0 | -5162.1374 | -272795 | 39080.5876 | 0 |
| Story10 | EQYMIN | Bottom | 0 | 0 | -5162.1374 | -272795 | 54825.1066 | 0 |
| Story9 | EQYMIN | Top | 0 | 0 | -6205.1754 | -325003 | 54825.1066 | 0 |
| Story9 | EQYMIN | Bottom | 0 | 0 | -6205.1754 | -325003 | 74991.9265 | 0 |
| Story8 | EQYMIN | Top | 0 | 0 | -7170.2508 | -371537 | 74991.9265 | 0 |
| Story8 | EQYMIN | Bottom | 0 | 0 | -7170.2508 | -371537 | 96144.1664 | 0 |
| Story7 | EQYMIN | Top | 0 | 0 | -8008.1184 | -412534 | 96144.1664 | 0 |
| Story7 | EQYMIN | Bottom | 0 | 0 | -8008.1184 | -412534 | 119768.1155 | 5.166E-07 |
| Story6 | EQYMIN | Top | 0 | 0 | -8850.3386 | -457166 | 119768.1155 | 5.417E-07 |
| Story6 | EQYMIN | Bottom | 0 | 0 | -8850.3386 | -457166 | 146761.6484 | 5.766E-07 |
| Story5 | EQYMIN | Top | 0 | 0 | -9562.8463 | -494436 | 146761.6484 | 0 |
| Story5 | EQYMIN | Bottom | 0 | 0 | -9562.8463 | -494436 | 173441.9896 | 0 |
| Story4 | EQYMIN | Top | 0 | 0 | -10119.4437 | -523465 | 173441.9896 | -5.693E-07 |
| Story4 | EQYMIN | Bottom | 0 | 0 | -10119.4437 | -523465 | 201675.2374 | -6.548E-07 |
| Story3 | EQYMIN | Top | 0 | 0 | -10551.7968 | -546823 | 201675.2374 | 2.664E-06 |
| Story3 | EQYMIN | Bottom | 0 | 0 | -10551.7968 | -546823 | 232803.0379 | 2.541E-06 |
| Story2 | EQYMIN | Top | 0 | 0 | -10855.8774 | -561908 | 232803.0379 | 2.669E-06 |
| Story2 | EQYMIN | Bottom | 0 | 0 | -10855.8774 | -561908 | 278940.517 | 2.501E-06 |
| UPPER ROOF | FACADE | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| UPPER ROOF | FACADE | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| PENTHOUSE | FACADE | Top | 155.2 | 0 | 0 | 0 | 2215.48 | -7655.24 |
| PENTHOUSE | FACADE | Bottom | 155.2 | 0 | 0 | 0 | 2215.48 | -7655.24 |
| Story14 | FACADE | Top | 579.6 | 0 | 0 | 0 | 8157.08 | -29225.37 |
| Story14 | FACADE | Bottom | 579.6 | 0 | 0 | 0 | 8157.08 | -29225.37 |
| Story13 | FACADE | Top | 1004 | 0 | 0 | 0 | 14098.68 | -50795.5 |
| Story13 | FACADE | Bottom | 1004 | 0 | 0 | 0 | 14098.68 | -50795.5 |
| Story12 | FACADE | Top | 1505.2 | 0 | 0 | 0 | 20956.12 | -74022.59 |
| Story12 | FACADE | Bottom | 1505.2 | 0 | 0 | 0 | 20956.12 | -74022.59 |
| Story11 | FACADE | Top | 2006.4 | 0 | 0 | 0 | 27813.56 | -97249.68 |
| Story11 | FACADE | Bottom | 2006.4 | 0 | 0 | 0 | 27813.56 | -97249.68 |
| Story10 | FACADE | Top | 2560 | 0 | 0 | 0 | 35404.6 | -124702 |
| Story10 | FACADE | Bottom | 2560 | 0 | 0 | 0 | 35404.6 | -124702 |
| Story9 | FACADE | Top | 3138.4 | 0 | 0 | 0 | 43301.3 | -152609 |
| Story9 | FACADE | Bottom | 3138.4 | 0 | 0 | 0 | 43301.3 | -152609 |
| Story8 | FACADE | Top | 3844.4 | 0 | 0 | 0 | 52709.71 | -181166 |
| Story8 | FACADE | Bottom | 3844.4 | 0 | 0 | 0 | 52709.71 | -181166 |
| Story7 | FACADE | Top | 4550.4 | 0 | 0 | 0 | 62118.12 | -209723 |
| Story7 | FACADE | Bottom | 4550.4 | 0 | 0 | 0 | 62118.12 | -209723 |
| Story6 | FACADE | Top | 5284.4 | 0 | 0 | 0 | 72014.71 | -240465 |
| Story6 | FACADE | Bottom | 5284.4 | 0 | 0 | 0 | 72014.71 | -240465 |
| Story5 | FACADE | Top | 6045.2 | 0 | 0 | 0 | 82180.64 | -271247 |
| Story5 | FACADE | Bottom | 6045.2 | 0 | 0 | 0 | 82180.64 | -271247 |
| Story4 | FACADE | Top | 6896.8 | 0 | 0 | 0 | 93458.85 | -306828 |
| Story4 | FACADE | Bottom | 6896.8 | 0 | 0 | 0 | 93458.85 | -306828 |
| Story3 | FACADE | Top | 7748.4 | 0 | 0 | 0 | 104737.06 | -342409 |
| Story3 | FACADE | Bottom | 7748.4 | 0 | 0 | 0 | 104737.06 | -342409 |
| Story2 | FACADE | Top | 8569.4 | 0 | 0 | 0 | 115505.015 | -375480 |
| Story2 | FACADE | Bottom | 8569.4 | 0 | 0 | 0 | 115505.015 | -375480 |
| UPPER ROOF | LL | Top | 158.7022 | 0 | 0 | 0 | 2265.4746 | -7827.9885 |
| UPPER ROOF | LL | Bottom | 158.7022 | 0 | 0 | 0 | 2265.4746 | -7827.9885 |
| PENTHOUSE | LL | Top | 1444.038 | 0 | 0 | 0 | 20231.2323 | -73202.344 |
| PENTHOUSE | LL | Bottom | 1444.038 | 0 | 0 | 0 | 20231.2323 | -73202.344 |
| Story14 | LL | Top | 2879.2268 | 0 | 0 | 0 | 40566.437 | -145357 |
| Story14 | LL | Bottom | 2879.2268 | 0 | 0 | 0 | 40566.437 | -145357 |
| Story13 | LL | Top | 4355.902 | 0 | 0 | 0 | 60728.3971 | -219857 |
| Story13 | LL | Bottom | 4355.902 | 0 | 0 | 0 | 60728.3971 | -219857 |
| Story12 | LL | Top | 6137.3705 | 0 | 0 | 0 | 84343.8175 | -303207 |
| Story12 | LL | Bottom | 6137.3705 | 0 | 0 | 0 | 84343.8175 | -303207 |
| Story11 | LL | Top | 8058.1327 | 0 | 0 | 0 | 110068.1791 | -394254 |
| Story11 | LL | Bottom | 8058.1327 | 0 | 0 | 0 | 110068.1791 | -394254 |
| Story10 | LL | Top | 10267.41 | 0 | 0 | 0 | 140139.7495 | -501903 |
| Story10 | LL | Bottom | 10267.41 | 0 | 0 | 0 | 140139.7495 | -501903 |
| Story9 | LL | Top | 13202.2545 | 0 | 0 | 0 | 178780.5271 | -624410 |
| Story9 | LL | Bottom | 13202.2545 | 0 | 0 | 0 | 178780.5271 | -624410 |
| Story8 | LL | Top | 16223.6012 | 0 | 0 | 0 | 218372.0779 | -748281 |
| Story8 | LL | Bottom | 16223.6012 | 0 | 0 | 0 | 218372.0779 | -748281 |
| Story7 | LL | Top | 19283.9977 | 0 | 0 | 0 | 258538.2952 | -876241 |
| Story7 | LL | Bottom | 19283.9977 | 0 | 0 | 0 | 258538.2952 | -876241 |
| Story6 | LL | Top | 22776.2595 | 0 | 0 | 0 | 304923.4762 | -1034513 |
| Story6 | LL | Bottom | 22776.2595 | 0 | 0 | 0 | 304923.4762 | -1034513 |
| Story5 | LL | Top | 26609.0392 | 0 | 0 | 0 | 355822.2579 | -1201452 |
| Story5 | LL | Bottom | 26609.0392 | 0 | 0 | 0 | 355822.2579 | -1201452 |
| Story4 | LL | Top | 30458.4725 | 0 | 0 | 0 | 406837.3178 | -1369122 |
| Story4 | LL | Bottom | 30458.4725 | 0 | 0 | 0 | 406837.3178 | -1369122 |
| Story3 | LL | Top | 34243.9613 | 0 | 0 | 0 | 457450.7781 | -1533055 |
| Story3 | LL | Bottom | 34243.9613 | 0 | 0 | 0 | 457450.7781 | -1533055 |
| Story2 | LL | Top | 38254.0256 | 0 | 0 | 0 | 511728.9157 | -1702277 |
| Story2 | LL | Bottom | 38254.0256 | 0 | 0 | 0 | 511728.9157 | -1702277 |
| UPPER ROOF | OW | Top | 400.932 | 0 | 0 | 0 | 5723.3043 | -19775.9709 |
| UPPER ROOF | OW | Bottom | 922.41 | 0 | 0 | 0 | 13968.2943 | -45909.418 |
| PENTHOUSE | OW | Top | 4304.262 | 0 | 0 | 0 | 62712.4212 | -217382 |
| PENTHOUSE | OW | Bottom | 6208.8756 | 0 | 0 | 0 | 89889.8498 | -311470 |
| Story14 | OW | Top | 10103.4156 | 0 | 0 | 0 | 144098.8385 | -510407 |
| Story14 | OW | Bottom | 11987.5056 | 0 | 0 | 0 | 171751.8665 | -604418 |
| Story13 | OW | Top | 15718.0536 | 0 | 0 | 0 | 222687.3446 | -792629 |
| Story13 | OW | Bottom | 17502.5676 | 0 | 0 | 0 | 248601.065 | -881426 |
| Story12 | OW | Top | 22563.3456 | 0 | 0 | 0 | 315383.6143 | -1114047 |
| Story12 | OW | Bottom | 24527.8506 | 0 | 0 | 0 | 343994.3924 | -1208048 |
| Story11 | OW | Top | 29940.5286 | 0 | 0 | 0 | 416104.7932 | -1460113 |
| Story11 | OW | Bottom | 31964.5236 | 0 | 0 | 0 | 445570.4168 | -1559258 |
| Story10 | OW | Top | 38652.7656 | 0 | 0 | 0 | 536460.9985 | -1889482 |
| Story10 | OW | Bottom | 41138.4546 | 0 | 0 | 0 | 572082.6347 | -2011229 |
| Story9 | OW | Top | 49394.5326 | 0 | 0 | 0 | 680976.8677 | -2365507 |
| Story9 | OW | Bottom | 53071.2576 | 0 | 0 | 0 | 730823.4599 | -2514234 |
| Story8 | OW | Top | 61494.8376 | 0 | 0 | 0 | 841511.1134 | -2870124 |
| Story8 | OW | Bottom | 64957.1346 | 0 | 0 | 0 | 887945.0014 | -3007048 |
| Story7 | OW | Top | 73479.3666 | 0 | 0 | 0 | 1000084 | -3373267 |
| Story7 | OW | Bottom | 77061.3156 | 0 | 0 | 0 | 1048054 | -3518998 |
| Story6 | OW | Top | 87299.1096 | 0 | 0 | 0 | 1188488 | -3989205 |
| Story6 | OW | Bottom | 92272.3176 | 0 | 0 | 0 | 1257291 | -4216186 |
| Story5 | OW | Top | 102573.8976 | 0 | 0 | 0 | 1393535 | -4668641 |
| Story5 | OW | Bottom | 107342.454 | 0 | 0 | 0 | 1458670 | -4876596 |
| Story4 | OW | Top | 117645.606 | 0 | 0 | 7.914E-07 | 1594760 | -5330580 |
| Story4 | OW | Bottom | 122399.4312 | 0 | 0 | 7.92E-07 | 1659699 | -5538074 |
| Story3 | OW | Top | 133790.3113 | 0 | 0 | 1.109E-06 | 1815312 | -6070289 |
| Story3 | OW | Bottom | 139056.9463 | 0 | 0 | 1.109E-06 | 1887057 | -6307898 |
| Story2 | OW | Top | 151827.2048 | 0 | 0 | 1.093E-06 | 2058822 | -6800158 |
| Story2 | OW | Bottom | 161040.7858 | 0 | 0 | 1.093E-06 | 2193552 | -7226492 |
| UPPER ROOF | PF1 | Top | 713.3248 | 0 | 0 | 0 | 10182.7122 | -35184.7482 |
| UPPER ROOF | PF1 | Bottom | 1443.394 | 0 | 0 | 0 | 21725.6982 | -71771.5742 |
| PENTHOUSE | PF1 | Top | 7626.4832 | 0 | 0 | 0 | 110278.4526 | -385173 |
| PENTHOUSE | PF1 | Bottom | 10292.9422 | 0 | 0 | 0 | 148326.8527 | -516895 |
| Story14 | PF1 | Top | 17714.218 | 0 | 0 | 0 | 252016.6624 | -894721 |
| Story14 | PF1 | Bottom | 20351.944 | 0 | 0 | 0 | 290730.9016 | -1026336 |
| Story13 | PF1 | Top | 27583.3706 | 0 | 0 | 0 | 389671.8464 | -1391394 |
| Story13 | PF1 | Bottom | 30081.6902 | 0 | 0 | 0 | 425951.055 | -1515709 |
| Story12 | PF1 | Top | 39574.9187 | 0 | 0 | 0 | 551668.1268 | -1953737 |
| Story12 | PF1 | Bottom | 42325.2257 | 0 | 0 | 0 | 591723.2162 | -2085339 |
| Story11 | PF1 | Top | 52444.543 | 0 | 0 | 5.047E-07 | 726919.4239 | -2557961 |
| Story11 | PF1 | Bottom | 55278.136 | 0 | 0 | 5.014E-07 | 768171.297 | -2696765 |
| Story10 | PF1 | Top | 67532.9698 | 0 | 0 | 6.191E-07 | 934850.9663 | -3300627 |
| Story10 | PF1 | Bottom | 71012.9344 | 0 | 0 | 6.23E-07 | 984721.2571 | -3471072 |
| Story9 | PF1 | Top | 86192.4757 | 0 | 0 | 7.003E-07 | 1185242 | -4123481 |
| Story9 | PF1 | Bottom | 91339.8907 | 0 | 0 | 7.032E-07 | 1255028 | -4331700 |
| Story8 | PF1 | Top | 107015.4349 | 0 | 0 | 5.217E-07 | 1461087 | -4988580 |
| Story8 | PF1 | Bottom | 111862.6507 | 0 | 0 | 5.205E-07 | 1526094 | -5180273 |
| Story7 | PF1 | Top | 127713.7132 | 0 | 0 | 0 | 1734736 | -5855533 |
| Story7 | PF1 | Bottom | 132728.4418 | 0 | 0 | 0 | 1801893 | -6059555 |
| Story6 | PF1 | Top | 151434.1725 | 0 | 0 | 0 | 2056788 | -6912492 |
| Story6 | PF1 | Bottom | 158396.6637 | 0 | 0 | 0 | 2153112 | -7230265 |
| Story5 | PF1 | Top | 177555.3953 | 0 | 0 | 6.78E-07 | 2406842 | -8066707 |
| Story5 | PF1 | Bottom | 184231.3742 | 0 | 0 | 6.808E-07 | 2498031 | -8357844 |
| Story4 | PF1 | Top | 203535.3789 | 0 | 0 | 1.454E-06 | 2753214 | -9203847 |
| Story4 | PF1 | Bottom | 210190.7342 | 0 | 0 | 1.455E-06 | 2844128 | -9494338 |
| Story3 | PF1 | Top | 230956.3061 | 0 | 0 | 2.082E-06 | 3126259 | -10446283 |
| Story3 | PF1 | Bottom | 238329.5951 | 0 | 0 | 2.082E-06 | 3226702 | -10778936 |
| Story2 | PF1 | Top | 261198.5766 | 0 | 0 | 2.055E-06 | 3534240 | -11676495 |
| Story2 | PF1 | Bottom | 274097.59 | 0 | 0 | 2.055E-06 | 3722862 | -12273362 |
| UPPER ROOF | PF2 | Top | 827.3399 | 0 | 0 | 0 | 11810.2769 | -40808.54 |
| UPPER ROOF | PF2 | Bottom | 1479.1874 | 0 | 0 | 0 | 22116.5144 | -73475.3489 |
| PENTHOUSE | PF2 | Top | 8542.2056 | 0 | 0 | 0 | 122740.3829 | -431747 |
| PENTHOUSE | PF2 | Bottom | 10922.9726 | 0 | 0 | 0 | 156712.1687 | -549357 |
| Story14 | PF2 | Top | 19271.3382 | 0 | 0 | 0 | 273694.6016 | -973286 |
| Story14 | PF2 | Bottom | 21626.4507 | 0 | 0 | 0 | 308260.8866 | -1090800 |
| Story13 | PF2 | Top | 29855.0919 | 0 | 0 | 0 | 420795.3679 | -1506144 |
| Story13 | PF2 | Bottom | 32085.7344 | 0 | 0 | 0 | 453187.5184 | -1617140 |
| Story12 | PF2 | Top | 42699.5935 | 0 | 0 | 0 | 593773.4085 | -2108257 |
| Story12 | PF2 | Bottom | 45155.2247 | 0 | 0 | 0 | 629536.8812 | -2225758 |
| Story11 | PF2 | Top | 56495.2441 | 0 | 0 | 5.59E-07 | 781117.0148 | -2756998 |
| Story11 | PF2 | Bottom | 59025.2379 | 0 | 0 | 5.555E-07 | 817949.0443 | -2880930 |
| Story10 | PF2 | Top | 72618.1865 | 0 | 0 | 6.83E-07 | 1002856 | -3549272 |
| Story10 | PF2 | Bottom | 75725.2977 | 0 | 0 | 6.873E-07 | 1047383 | -3701455 |
| Story9 | PF2 | Top | 92800.273 | 0 | 0 | 7.711E-07 | 1272789 | -4430971 |
| Story9 | PF2 | Bottom | 97396.1793 | 0 | 0 | 7.745E-07 | 1335097 | -4616881 |
| Story8 | PF2 | Top | 115017.8169 | 0 | 0 | 5.775E-07 | 1566588 | -5352026 |
| Story8 | PF2 | Bottom | 119345.6882 | 0 | 0 | 5.761E-07 | 1624630 | -5523181 |
| Story7 | PF2 | Top | 137170.8984 | 0 | 0 | 0 | 1859117 | -6279643 |
| Story7 | PF2 | Bottom | 141648.3346 | 0 | 0 | 0 | 1919079 | -6461806 |
| Story6 | PF2 | Top | 162540.594 | 0 | 0 | 0 | 2202326 | -7413283 |
| Story6 | PF2 | Bottom | 168757.104 | 0 | 0 | 0 | 2288330 | -7697009 |
| Story5 | PF2 | Top | 190462.45 | 0 | 0 | 7.496E-07 | 2575952 | -8644159 |
| Story5 | PF2 | Bottom | 196423.1455 | 0 | 0 | 7.526E-07 | 2657372 | -8904103 |
| Story4 | PF2 | Top | 218278.1839 | 0 | 0 | 1.592E-06 | 2946432 | -9860667 |
| Story4 | PF2 | Bottom | 224220.4654 | 0 | 0 | 1.593E-06 | 3027605 | -10120035 |
| Story3 | PF2 | Top | 247303.7411 | 0 | 0 | 2.278E-06 | 3340244 | -11166705 |
| Story3 | PF2 | Bottom | 253887.0348 | 0 | 0 | 2.278E-06 | 3429924 | -11463716 |
| Story2 | PF2 | Top | 279117.8455 | 0 | 0 | 2.25E-06 | 3769647 | -12468174 |
| Story2 | PF2 | Bottom | 290634.8217 | 0 | 0 | 2.25E-06 | 3938059 | -13001091 |
| UPPER ROOF | PF4BWCC | Top | 458.566 | -27.6847 | -55.584 | -2346.483 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCC | Bottom | 927.8962 | -27.6847 | -55.584 | -2346.483 | 14208.3108 | -46259.2976 |
| PENTHOUSE | PF4BWCC | Top | 4902.7392 | -214.558 | -275.0069 | -10882.4267 | 71135.0815 | -247731 |
| PENTHOUSE | PF4BWCC | Bottom | 6616.8914 | -214.558 | -275.0069 | -10882.4267 | 96549.0414 | -333155 |
| Story14 | PF4BWCC | Top | 11387.7116 | -396.454 | -489.1171 | -19227.9319 | 163206.7762 | -576043 |
| Story14 | PF4BWCC | Bottom | 13083.3926 | -396.454 | -489.1171 | -19227.9319 | 189684.132 | -661941 |
| Story13 | PF4BWCC | Top | 17732.1668 | -562.5002 | -690.8083 | -27057.5465 | 253289.0251 | -896621 |
| Story13 | PF4BWCC | Bottom | 19338.2294 | -562.5002 | -690.8083 | -27057.5465 | 278649.258 | -978197 |
| Story12 | PF4BWCC | Top | 25441.0192 | -721.4307 | -930.7677 | -35922.6159 | 359467.3756 | -1259787 |
| Story12 | PF4BWCC | Bottom | 27209.0737 | -721.4307 | -930.7677 | -35922.6159 | 388055.9174 | -1346588 |
| Story11 | PF4BWCC | Top | 33714.3491 | -878.5318 | -1177.5205 | -45336.848 | 474967.7652 | -1650417 |
| Story11 | PF4BWCC | Bottom | 35535.9446 | -878.5318 | -1177.5205 | -45336.848 | 504960.512 | -1742239 |
| Story10 | PF4BWCC | Top | 43414.052 | -1033.6335 | -1453.3185 | -56586.8751 | 612111.728 | -2130437 |
| Story10 | PF4BWCC | Bottom | 45651.1721 | -1033.6335 | -1453.3185 | -56586.8751 | 648603.8221 | -2243161 |
| Story9 | PF4BWCC | Top | 55409.4487 | -1194.1456 | -1839.8109 | -69745.4414 | 777510.2459 | -2662567 |
| Story9 | PF4BWCC | Bottom | 58718.5012 | -1194.1456 | -1839.8109 | -69745.4414 | 828351.5645 | -2800302 |
| Story8 | PF4BWCC | Top | 68795.6367 | -1349.5629 | -2214.0359 | -82486.3469 | 960818.0819 | -3222582 |
| Story8 | PF4BWCC | Bottom | 71911.704 | -1349.5629 | -2214.0359 | -82486.3469 | 1009140 | -3349795 |
| Story7 | PF4BWCC | Top | 82101.6728 | -1494.7763 | -2572.5232 | -95047.4248 | 1143267 | -3783891 |
| Story7 | PF4BWCC | Bottom | 85325.4269 | -1494.7763 | -2572.5232 | -95047.4248 | 1194028 | -3919457 |
| Story6 | PF4BWCC | Top | 97350.5395 | -1639.4064 | -2981.8341 | -111056 | 1357889 | -4467774 |
| Story6 | PF4BWCC | Bottom | 101826.4267 | -1639.4064 | -2981.8341 | -111056 | 1428906 | -4677057 |
| Story5 | PF4BWCC | Top | 114142.7541 | -1776.7946 | -3392.7698 | -126313 | 1592018 | -5214770 |
| Story5 | PF4BWCC | Bottom | 118434.4549 | -1776.7946 | -3392.7698 | -126313 | 1660106 | -5406886 |
| Story4 | PF4BWCC | Top | 130844.1721 | -1904.2479 | -3773.9897 | -140467 | 1824152 | -5950745 |
| Story4 | PF4BWCC | Bottom | 135122.6148 | -1904.2479 | -3773.9897 | -140467 | 1893126 | -6142803 |
| Story3 | PF4BWCC | Top | 148471.9111 | -2030.6253 | -4151.9916 | -154502 | 2074496 | -6754767 |
| Story3 | PF4BWCC | Bottom | 153211.8826 | -2030.6253 | -4151.9916 | -154502 | 2151315 | -6974606 |
| Story2 | PF4BWCC | Top | 167913.3706 | -2185.8615 | -4616.3118 | -171741 | 2349018 | -7551608 |
| Story2 | PF4BWCC | Bottom | 176205.5935 | -2185.8615 | -4616.3118 | -171741 | 2489895 | -7944598 |
| UPPER ROOF | PF4BWCD1 | Top | 458.566 | -20.7635 | -41.688 | -1844.0854 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCD1 | Bottom | 927.8962 | -20.7635 | -41.688 | -1844.0854 | 14147.8632 | -46229.1905 |
| PENTHOUSE | PF4BWCD1 | Top | 4902.7392 | -160.9185 | -206.2552 | -9262.8719 | 71074.6339 | -247701 |
| PENTHOUSE | PF4BWCD1 | Bottom | 6616.8914 | -160.9185 | -206.2552 | -9262.8719 | 96250.0252 | -332939 |
| Story14 | PF4BWCD1 | Top | 11387.7116 | -297.3405 | -366.8378 | -16659.0213 | 162907.76 | -575827 |
| Story14 | PF4BWCD1 | Bottom | 13083.3926 | -297.3405 | -366.8378 | -16659.0213 | 188987.7082 | -661403 |
| Story13 | PF4BWCD1 | Top | 17732.1668 | -421.8752 | -518.1062 | -23608.2706 | 252592.6013 | -896082 |
| Story13 | PF4BWCD1 | Bottom | 19338.2294 | -421.8752 | -518.1062 | -23608.2706 | 277443.3631 | -977244 |
| Story12 | PF4BWCD1 | Top | 25441.0192 | -541.073 | -698.0758 | -31622.8592 | 358261.4807 | -1258834 |
| Story12 | PF4BWCD1 | Bottom | 27209.0737 | -541.073 | -698.0758 | -31622.8592 | 386140.3121 | -1345085 |
| Story11 | PF4BWCD1 | Top | 33714.3491 | -658.8989 | -883.1404 | -40110.7297 | 473052.1598 | -1648914 |
| Story11 | PF4BWCD1 | Bottom | 35535.9446 | -658.8989 | -883.1404 | -40110.7297 | 502176.4853 | -1740088 |
| Story10 | PF4BWCD1 | Top | 43414.052 | -775.2252 | -1089.9889 | -50239.7112 | 609327.7013 | -2128285 |
| Story10 | PF4BWCD1 | Bottom | 45651.1721 | -775.2252 | -1089.9889 | -50239.7112 | 644711.6401 | -2240222 |
| Story9 | PF4BWCD1 | Top | 55409.4487 | -895.6092 | -1379.8582 | -62967.7534 | 773618.0638 | -2659627 |
| Story9 | PF4BWCD1 | Bottom | 58718.5012 | -895.6092 | -1379.8582 | -62967.7534 | 822964.536 | -2796393 |
| Story8 | PF4BWCD1 | Top | 68795.6367 | -1012.1722 | -1660.5269 | -75291.7998 | 955431.0534 | -3218673 |
| Story8 | PF4BWCD1 | Bottom | 71911.704 | -1012.1722 | -1660.5269 | -75291.7998 | 1002120 | -3344890 |
| Story7 | PF4BWCD1 | Top | 82101.6728 | -1121.0822 | -1929.3924 | -87412.0774 | 1136247 | -3778986 |
| Story7 | PF4BWCD1 | Bottom | 85325.4269 | -1121.0822 | -1929.3924 | -87412.0774 | 1185111 | -3913450 |
| Story6 | PF4BWCD1 | Top | 97350.5395 | -1229.5548 | -2236.3756 | -102833 | 1348972 | -4461767 |
| Story6 | PF4BWCD1 | Bottom | 101826.4267 | -1229.5548 | -2236.3756 | -102833 | 1417716 | -4669800 |
| Story5 | PF4BWCD1 | Top | 114142.7541 | -1332.5959 | -2544.5773 | -117857 | 1580828 | -5207512 |
| Story5 | PF4BWCD1 | Bottom | 118434.4549 | -1332.5959 | -2544.5773 | -117857 | 1646549 | -5398390 |
| Story4 | PF4BWCD1 | Top | 130844.1721 | -1428.1859 | -2830.4922 | -131794 | 1810595 | -5942249 |
| Story4 | PF4BWCD1 | Bottom | 135122.6148 | -1428.1859 | -2830.4922 | -131794 | 1876937 | -6132978 |
| Story3 | PF4BWCD1 | Top | 148471.9111 | -1522.969 | -3113.9937 | -145613 | 2058307 | -6744943 |
| Story3 | PF4BWCD1 | Bottom | 153211.8826 | -1522.969 | -3113.9937 | -145613 | 2132063 | -6963283 |
| Story2 | PF4BWCD1 | Top | 167913.3706 | -1639.3962 | -3462.2338 | -162588 | 2329767 | -7540286 |
| Story2 | PF4BWCD1 | Bottom | 176205.5935 | -1639.3962 | -3462.2338 | -162588 | 2465738 | -7930953 |
| UPPER ROOF | PF4BWCD2 | Top | 458.566 | -20.7635 | -41.688 | -1675.6392 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCD2 | Bottom | 927.8962 | -20.7635 | -41.688 | -1675.6392 | 14147.8632 | -46229.1905 |
| PENTHOUSE | PF4BWCD2 | Top | 4902.7392 | -160.9185 | -206.2552 | -7060.7682 | 71074.6339 | -247701 |
| PENTHOUSE | PF4BWCD2 | Bottom | 6616.8914 | -160.9185 | -206.2552 | -7060.7682 | 96250.0252 | -332939 |
| Story14 | PF4BWCD2 | Top | 11387.7116 | -297.3405 | -366.8378 | -12182.8766 | 162907.76 | -575827 |
| Story14 | PF4BWCD2 | Bottom | 13083.3926 | -297.3405 | -366.8378 | -12182.8766 | 188987.7082 | -661403 |
| Story13 | PF4BWCD2 | Top | 17732.1668 | -421.8752 | -518.1062 | -16978.0491 | 252592.6013 | -896082 |
| Story13 | PF4BWCD2 | Bottom | 19338.2294 | -421.8752 | -518.1062 | -16978.0491 | 277443.3631 | -977244 |
| Story12 | PF4BWCD2 | Top | 25441.0192 | -541.073 | -698.0758 | -22261.0646 | 358261.4807 | -1258834 |
| Story12 | PF4BWCD2 | Bottom | 27209.0737 | -541.073 | -698.0758 | -22261.0646 | 386140.3121 | -1345085 |
| Story11 | PF4BWCD2 | Top | 33714.3491 | -658.8989 | -883.1404 | -27894.5424 | 473052.1598 | -1648914 |
| Story11 | PF4BWCD2 | Bottom | 35535.9446 | -658.8989 | -883.1404 | -27894.5424 | 502176.4853 | -1740088 |
| Story10 | PF4BWCD2 | Top | 43414.052 | -775.2252 | -1089.9889 | -34640.6014 | 609327.7013 | -2128285 |
| Story10 | PF4BWCD2 | Bottom | 45651.1721 | -775.2252 | -1089.9889 | -34640.6014 | 644711.6401 | -2240222 |
| Story9 | PF4BWCD2 | Top | 55409.4487 | -895.6092 | -1379.8582 | -41650.4087 | 773618.0638 | -2659627 |
| Story9 | PF4BWCD2 | Bottom | 58718.5012 | -895.6092 | -1379.8582 | -41650.4087 | 822964.536 | -2796393 |
| Story8 | PF4BWCD2 | Top | 68795.6367 | -1012.1722 | -1660.5269 | -48437.7206 | 955431.0534 | -3218673 |
| Story8 | PF4BWCD2 | Bottom | 71911.704 | -1012.1722 | -1660.5269 | -48437.7206 | 1002120 | -3344890 |
| Story7 | PF4BWCD2 | Top | 82101.6728 | -1121.0822 | -1929.3924 | -55159.0597 | 1136247 | -3778986 |
| Story7 | PF4BWCD2 | Bottom | 85325.4269 | -1121.0822 | -1929.3924 | -55159.0597 | 1185111 | -3913450 |
| Story6 | PF4BWCD2 | Top | 97350.5395 | -1229.5548 | -2236.3756 | -63751.4934 | 1348972 | -4461767 |
| Story6 | PF4BWCD2 | Bottom | 101826.4267 | -1229.5548 | -2236.3756 | -63751.4934 | 1417716 | -4669800 |
| Story5 | PF4BWCD2 | Top | 114142.7541 | -1332.5959 | -2544.5773 | -71613.6175 | 1580828 | -5207512 |
| Story5 | PF4BWCD2 | Bottom | 118434.4549 | -1332.5959 | -2544.5773 | -71613.6175 | 1646549 | -5398390 |
| Story4 | PF4BWCD2 | Top | 130844.1721 | -1428.1859 | -2830.4922 | -78907.213 | 1810595 | -5942249 |
| Story4 | PF4BWCD2 | Bottom | 135122.6148 | -1428.1859 | -2830.4922 | -78907.213 | 1876937 | -6132978 |
| Story3 | PF4BWCD2 | Top | 148471.9111 | -1522.969 | -3113.9937 | -86139.2422 | 2058307 | -6744943 |
| Story3 | PF4BWCD2 | Bottom | 153211.8826 | -1522.969 | -3113.9937 | -86139.2422 | 2132063 | -6963283 |
| Story2 | PF4BWCD2 | Top | 167913.3706 | -1639.3962 | -3462.2338 | -95022.7324 | 2329767 | -7540286 |
| Story2 | PF4BWCD2 | Bottom | 176205.5935 | -1639.3962 | -3462.2338 | -95022.7324 | 2465738 | -7930953 |
| UPPER ROOF | PF4BWCX | Top | 458.566 | -36.9129 | 0 | 526.9323 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCX | Bottom | 927.8962 | -36.9129 | 0 | 526.9323 | 13966.5203 | -46299.4405 |
| PENTHOUSE | PF4BWCX | Top | 4902.7392 | -286.0773 | 0 | 4015.2332 | 70893.291 | -247772 |
| PENTHOUSE | PF4BWCX | Bottom | 6616.8914 | -286.0773 | 0 | 4015.2332 | 95352.9767 | -333443 |
| Story14 | PF4BWCX | Top | 11387.7116 | -528.6053 | 0 | 7404.5625 | 162010.7116 | -576331 |
| Story14 | PF4BWCX | Bottom | 13083.3926 | -528.6053 | 0 | 7404.5625 | 186898.4368 | -662659 |
| Story13 | PF4BWCX | Top | 17732.1668 | -750.0003 | 0 | 10498.5573 | 250503.3298 | -897338 |
| Story13 | PF4BWCX | Bottom | 19338.2294 | -750.0003 | 0 | 10498.5573 | 273825.6782 | -979468 |
| Story12 | PF4BWCX | Top | 25441.0192 | -961.9075 | 0 | 13459.9609 | 354643.7958 | -1261058 |
| Story12 | PF4BWCX | Bottom | 27209.0737 | -961.9075 | 0 | 13459.9609 | 380393.4962 | -1348592 |
| Story11 | PF4BWCX | Top | 33714.3491 | -1171.3758 | 0 | 16387.2796 | 467305.3439 | -1652421 |
| Story11 | PF4BWCX | Bottom | 35535.9446 | -1171.3758 | 0 | 16387.2796 | 493824.4052 | -1745108 |
| Story10 | PF4BWCX | Top | 43414.052 | -1378.1781 | 0 | 19277.3412 | 600975.6212 | -2133305 |
| Story10 | PF4BWCX | Bottom | 45651.1721 | -1378.1781 | 0 | 19277.3412 | 633035.0938 | -2247080 |
| Story9 | PF4BWCX | Top | 55409.4487 | -1592.1942 | 0 | 22268.2163 | 761941.5176 | -2666486 |
| Story9 | PF4BWCX | Bottom | 58718.5012 | -1592.1942 | 0 | 22268.2163 | 806803.4506 | -2805515 |
| Story8 | PF4BWCX | Top | 68795.6367 | -1799.4173 | 0 | 25164.1592 | 939269.968 | -3227795 |
| Story8 | PF4BWCX | Bottom | 71911.704 | -1799.4173 | 0 | 25164.1592 | 981060.4671 | -3356335 |
| Story7 | PF4BWCX | Top | 82101.6728 | -1993.0351 | 0 | 27869.9679 | 1115187 | -3790430 |
| Story7 | PF4BWCX | Bottom | 85325.4269 | -1993.0351 | 0 | 27869.9679 | 1158360 | -3927467 |
| Story6 | PF4BWCX | Top | 97350.5395 | -2185.8752 | 0 | 30564.9088 | 1322221 | -4475784 |
| Story6 | PF4BWCX | Bottom | 101826.4267 | -2185.8752 | 0 | 30564.9088 | 1384143 | -4686733 |
| Story5 | PF4BWCX | Top | 114142.7541 | -2369.0594 | 0 | 33124.9083 | 1547255 | -5224446 |
| Story5 | PF4BWCX | Bottom | 118434.4549 | -2369.0594 | 0 | 33124.9083 | 1605877 | -5418215 |
| Story4 | PF4BWCX | Top | 130844.1721 | -2538.9972 | 0 | 35499.7882 | 1769924 | -5962074 |
| Story4 | PF4BWCX | Bottom | 135122.6148 | -2538.9972 | 0 | 35499.7882 | 1828368 | -6155903 |
| Story3 | PF4BWCX | Top | 148471.9111 | -2707.5004 | 0 | 37854.6214 | 2009738 | -6767867 |
| Story3 | PF4BWCX | Bottom | 153211.8826 | -2707.5004 | 0 | 37854.6214 | 2074308 | -6989703 |
| Story2 | PF4BWCX | Top | 167913.3706 | -2914.482 | 0 | 40747.1896 | 2272012 | -7566705 |
| Story2 | PF4BWCX | Bottom | 176205.5935 | -2914.482 | 0 | 40747.1896 | 2393269 | -7962792 |
| UPPER ROOF | PF4BWCXB1 | Top | 458.566 | -27.6847 | 0 | 372.8784 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCXB1 | Bottom | 927.8962 | -27.6847 | 0 | 372.8784 | 13966.5203 | -46259.2976 |
| PENTHOUSE | PF4BWCXB1 | Top | 4902.7392 | -214.558 | 0 | 2419.1407 | 70893.291 | -247731 |
| PENTHOUSE | PF4BWCXB1 | Bottom | 6616.8914 | -214.558 | 0 | 2419.1407 | 95352.9767 | -333155 |
| Story14 | PF4BWCXB1 | Top | 11387.7116 | -396.454 | 0 | 4325.6384 | 162010.7116 | -576043 |
| Story14 | PF4BWCXB1 | Bottom | 13083.3926 | -396.454 | 0 | 4325.6384 | 186898.4368 | -661941 |
| Story13 | PF4BWCXB1 | Top | 17732.1668 | -562.5002 | 0 | 6066.0105 | 250503.3298 | -896621 |
| Story13 | PF4BWCXB1 | Bottom | 19338.2294 | -562.5002 | 0 | 6066.0105 | 273825.6782 | -978197 |
| Story12 | PF4BWCXB1 | Top | 25441.0192 | -721.4307 | 0 | 7731.8 | 354643.7958 | -1259787 |
| Story12 | PF4BWCXB1 | Bottom | 27209.0737 | -721.4307 | 0 | 7731.8 | 380393.4962 | -1346588 |
| Story11 | PF4BWCXB1 | Top | 33714.3491 | -878.5318 | 0 | 9378.4167 | 467305.3439 | -1650417 |
| Story11 | PF4BWCXB1 | Bottom | 35535.9446 | -878.5318 | 0 | 9378.4167 | 493824.4052 | -1742239 |
| Story10 | PF4BWCXB1 | Top | 43414.052 | -1033.6335 | 0 | 11004.0764 | 600975.6212 | -2130437 |
| Story10 | PF4BWCXB1 | Bottom | 45651.1721 | -1033.6335 | 0 | 11004.0764 | 633035.0938 | -2243161 |
| Story9 | PF4BWCXB1 | Top | 55409.4487 | -1194.1456 | 0 | 12686.4437 | 761941.5176 | -2662567 |
| Story9 | PF4BWCXB1 | Bottom | 58718.5012 | -1194.1456 | 0 | 12686.4437 | 806803.4506 | -2800302 |
| Story8 | PF4BWCXB1 | Top | 68795.6367 | -1349.5629 | 0 | 14315.4115 | 939269.968 | -3222582 |
| Story8 | PF4BWCXB1 | Bottom | 71911.704 | -1349.5629 | 0 | 14315.4115 | 981060.4671 | -3349795 |
| Story7 | PF4BWCXB1 | Top | 82101.6728 | -1494.7763 | 0 | 15837.4289 | 1115187 | -3783891 |
| Story7 | PF4BWCXB1 | Bottom | 85325.4269 | -1494.7763 | 0 | 15837.4289 | 1158360 | -3919457 |
| Story6 | PF4BWCXB1 | Top | 97350.5395 | -1639.4064 | 0 | 17353.3332 | 1322221 | -4467774 |
| Story6 | PF4BWCXB1 | Bottom | 101826.4267 | -1639.4064 | 0 | 17353.3332 | 1384143 | -4677057 |
| Story5 | PF4BWCXB1 | Top | 114142.7541 | -1776.7946 | 0 | 18793.3329 | 1547255 | -5214770 |
| Story5 | PF4BWCXB1 | Bottom | 118434.4549 | -1776.7946 | 0 | 18793.3329 | 1605877 | -5406886 |
| Story4 | PF4BWCXB1 | Top | 130844.1721 | -1904.2479 | 0 | 20129.2028 | 1769924 | -5950745 |
| Story4 | PF4BWCXB1 | Bottom | 135122.6148 | -1904.2479 | 0 | 20129.2028 | 1828368 | -6142803 |
| Story3 | PF4BWCXB1 | Top | 148471.9111 | -2030.6253 | 0 | 21453.7965 | 2009738 | -6754767 |
| Story3 | PF4BWCXB1 | Bottom | 153211.8826 | -2030.6253 | 0 | 21453.7965 | 2074308 | -6974606 |
| Story2 | PF4BWCXB1 | Top | 167913.3706 | -2185.8615 | 0 | 23080.8661 | 2272012 | -7551608 |
| Story2 | PF4BWCXB1 | Bottom | 176205.5935 | -2185.8615 | 0 | 23080.8661 | 2393269 | -7944598 |
| UPPER ROOF | PF4BWCXB2 | Top | 458.566 | -27.6847 | 0 | 417.52 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCXB2 | Bottom | 927.8962 | -27.6847 | 0 | 417.52 | 13966.5203 | -46259.2976 |
| PENTHOUSE | PF4BWCXB2 | Top | 4902.7392 | -214.558 | 0 | 3603.7092 | 70893.291 | -247731 |
| PENTHOUSE | PF4BWCXB2 | Bottom | 6616.8914 | -214.558 | 0 | 3603.7092 | 95352.9767 | -333155 |
| Story14 | PF4BWCXB2 | Top | 11387.7116 | -396.454 | 0 | 6781.2054 | 162010.7116 | -576043 |
| Story14 | PF4BWCXB2 | Bottom | 13083.3926 | -396.454 | 0 | 6781.2054 | 186898.4368 | -661941 |
| Story13 | PF4BWCXB2 | Top | 17732.1668 | -562.5002 | 0 | 9681.8255 | 250503.3298 | -896621 |
| Story13 | PF4BWCXB2 | Bottom | 19338.2294 | -562.5002 | 0 | 9681.8255 | 273825.6782 | -978197 |
| Story12 | PF4BWCXB2 | Top | 25441.0192 | -721.4307 | 0 | 12458.1414 | 354643.7958 | -1259787 |
| Story12 | PF4BWCXB2 | Bottom | 27209.0737 | -721.4307 | 0 | 12458.1414 | 380393.4962 | -1346588 |
| Story11 | PF4BWCXB2 | Top | 33714.3491 | -878.5318 | 0 | 15202.5026 | 467305.3439 | -1650417 |
| Story11 | PF4BWCXB2 | Bottom | 35535.9446 | -878.5318 | 0 | 15202.5026 | 493824.4052 | -1742239 |
| Story10 | PF4BWCXB2 | Top | 43414.052 | -1033.6335 | 0 | 17911.9354 | 600975.6212 | -2130437 |
| Story10 | PF4BWCXB2 | Bottom | 45651.1721 | -1033.6335 | 0 | 17911.9354 | 633035.0938 | -2243161 |
| Story9 | PF4BWCXB2 | Top | 55409.4487 | -1194.1456 | 0 | 20715.8808 | 761941.5176 | -2662567 |
| Story9 | PF4BWCXB2 | Bottom | 58718.5012 | -1194.1456 | 0 | 20715.8808 | 806803.4506 | -2800302 |
| Story8 | PF4BWCXB2 | Top | 68795.6367 | -1349.5629 | 0 | 23430.8273 | 939269.968 | -3222582 |
| Story8 | PF4BWCXB2 | Bottom | 71911.704 | -1349.5629 | 0 | 23430.8273 | 981060.4671 | -3349795 |
| Story7 | PF4BWCXB2 | Top | 82101.6728 | -1494.7763 | 0 | 25967.5229 | 1115187 | -3783891 |
| Story7 | PF4BWCXB2 | Bottom | 85325.4269 | -1494.7763 | 0 | 25967.5229 | 1158360 | -3919457 |
| Story6 | PF4BWCXB2 | Top | 97350.5395 | -1639.4064 | 0 | 28494.03 | 1322221 | -4467774 |
| Story6 | PF4BWCXB2 | Bottom | 101826.4267 | -1639.4064 | 0 | 28494.03 | 1384143 | -4677057 |
| Story5 | PF4BWCXB2 | Top | 114142.7541 | -1776.7946 | 0 | 30894.0295 | 1547255 | -5214770 |
| Story5 | PF4BWCXB2 | Bottom | 118434.4549 | -1776.7946 | 0 | 30894.0295 | 1605877 | -5406886 |
| Story4 | PF4BWCXB2 | Top | 130844.1721 | -1904.2479 | 0 | 33120.4794 | 1769924 | -5950745 |
| Story4 | PF4BWCXB2 | Bottom | 135122.6148 | -1904.2479 | 0 | 33120.4794 | 1828368 | -6142803 |
| Story3 | PF4BWCXB2 | Top | 148471.9111 | -2030.6253 | 0 | 35328.1356 | 2009738 | -6754767 |
| Story3 | PF4BWCXB2 | Bottom | 153211.8826 | -2030.6253 | 0 | 35328.1356 | 2074308 | -6974606 |
| Story2 | PF4BWCXB2 | Top | 167913.3706 | -2185.8615 | 0 | 38039.9182 | 2272012 | -7551608 |
| Story2 | PF4BWCXB2 | Bottom | 176205.5935 | -2185.8615 | 0 | 38039.9182 | 2393269 | -7944598 |
| UPPER ROOF | PF4BWCY | Top | 458.566 | 0 | -74.112 | -3655.5763 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCY | Bottom | 927.8962 | 0 | -74.112 | -3655.5763 | 14288.9077 | -46138.8692 |
| PENTHOUSE | PF4BWCY | Top | 4902.7392 | 0 | -366.6759 | -18525.1355 | 71215.6783 | -247611 |
| PENTHOUSE | PF4BWCY | Bottom | 6616.8914 | 0 | -366.6759 | -18525.1355 | 96947.7296 | -332290 |
| Story14 | PF4BWCY | Top | 11387.7116 | 0 | -652.1561 | -33041.8051 | 163605.4644 | -575178 |
| Story14 | PF4BWCY | Bottom | 13083.3926 | 0 | -652.1561 | -33041.8051 | 190612.6971 | -659788 |
| Story13 | PF4BWCY | Top | 17732.1668 | 0 | -921.0778 | -46575.286 | 254217.5901 | -894467 |
| Story13 | PF4BWCY | Bottom | 19338.2294 | 0 | -921.0778 | -46575.286 | 280257.1179 | -974384 |
| Story12 | PF4BWCY | Top | 25441.0192 | 0 | -1241.0236 | -61356.782 | 361075.2355 | -1255974 |
| Story12 | PF4BWCY | Bottom | 27209.0737 | 0 | -1241.0236 | -61356.782 | 390610.0578 | -1340575 |
| Story11 | PF4BWCY | Top | 33714.3491 | 0 | -1570.0274 | -76836.4103 | 477521.9056 | -1644404 |
| Story11 | PF4BWCY | Bottom | 35535.9446 | 0 | -1570.0274 | -76836.4103 | 508672.5476 | -1733635 |
| Story10 | PF4BWCY | Top | 43414.052 | 0 | -1937.758 | -94726.508 | 615823.7636 | -2121832 |
| Story10 | PF4BWCY | Bottom | 45651.1721 | 0 | -1937.758 | -94726.508 | 653793.3982 | -2231404 |
| Story9 | PF4BWCY | Top | 55409.4487 | 0 | -2453.0813 | -115262 | 782699.822 | -2650809 |
| Story9 | PF4BWCY | Bottom | 58718.5012 | 0 | -2453.0813 | -115262 | 835534.2691 | -2784664 |
| Story8 | PF4BWCY | Top | 68795.6367 | 0 | -2952.0478 | -135146 | 968000.7865 | -3206944 |
| Story8 | PF4BWCY | Bottom | 71911.704 | 0 | -2952.0478 | -135146 | 1018500 | -3330175 |
| Story7 | PF4BWCY | Top | 82101.6728 | 0 | -3430.0309 | -154600 | 1152627 | -3764271 |
| Story7 | PF4BWCY | Bottom | 85325.4269 | 0 | -3430.0309 | -154600 | 1205918 | -3895428 |
| Story6 | PF4BWCY | Top | 97350.5395 | 0 | -3975.7788 | -178640 | 1369779 | -4443745 |
| Story6 | PF4BWCY | Bottom | 101826.4267 | 0 | -3975.7788 | -178640 | 1443828 | -4648028 |
| Story5 | PF4BWCY | Top | 114142.7541 | 0 | -4523.693 | -201543 | 1606939 | -5185740 |
| Story5 | PF4BWCY | Bottom | 118434.4549 | 0 | -4523.693 | -201543 | 1678183 | -5372900 |
| Story4 | PF4BWCY | Top | 130844.1721 | 0 | -5031.9862 | -222790 | 1842229 | -5916759 |
| Story4 | PF4BWCY | Bottom | 135122.6148 | 0 | -5031.9862 | -222790 | 1914712 | -6103503 |
| Story3 | PF4BWCY | Top | 148471.9111 | 0 | -5535.9888 | -243857 | 2096082 | -6715468 |
| Story3 | PF4BWCY | Bottom | 153211.8826 | 0 | -5535.9888 | -243857 | 2176984 | -6929316 |
| Story2 | PF4BWCY | Top | 167913.3706 | 0 | -6155.0824 | -269735 | 2374687 | -7506318 |
| Story2 | PF4BWCY | Bottom | 176205.5935 | 0 | -6155.0824 | -269735 | 2522103 | -7890019 |
| UPPER ROOF | PF4BWCYB1 | Top | 458.566 | 0 | -55.584 | -2651.7056 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCYB1 | Bottom | 927.8962 | 0 | -55.584 | -2651.7056 | 14208.3108 | -46138.8692 |
| PENTHOUSE | PF4BWCYB1 | Top | 4902.7392 | 0 | -275.0069 | -13018.0667 | 71135.0815 | -247611 |
| PENTHOUSE | PF4BWCYB1 | Bottom | 6616.8914 | 0 | -275.0069 | -13018.0667 | 96549.0414 | -332290 |
| Story14 | PF4BWCYB1 | Top | 11387.7116 | 0 | -489.1171 | -23025.0408 | 163206.7762 | -575178 |
| Story14 | PF4BWCYB1 | Bottom | 13083.3926 | 0 | -489.1171 | -23025.0408 | 189684.132 | -659788 |
| Story13 | PF4BWCYB1 | Top | 17732.1668 | 0 | -690.8083 | -32319.2244 | 253289.0251 | -894467 |
| Story13 | PF4BWCYB1 | Bottom | 19338.2294 | 0 | -690.8083 | -32319.2244 | 278649.258 | -974384 |
| Story12 | PF4BWCYB1 | Top | 25441.0192 | 0 | -930.7677 | -42139.5608 | 359467.3756 | -1255974 |
| Story12 | PF4BWCYB1 | Bottom | 27209.0737 | 0 | -930.7677 | -42139.5608 | 388055.9174 | -1340575 |
| Story11 | PF4BWCYB1 | Top | 33714.3491 | 0 | -1177.5205 | -52395.2258 | 474967.7652 | -1644404 |
| Story11 | PF4BWCYB1 | Bottom | 35535.9446 | 0 | -1177.5205 | -52395.2258 | 504960.512 | -1733635 |
| Story10 | PF4BWCYB1 | Top | 43414.052 | 0 | -1453.3185 | -64099.4039 | 612111.728 | -2121832 |
| Story10 | PF4BWCYB1 | Bottom | 45651.1721 | 0 | -1453.3185 | -64099.4039 | 648603.8221 | -2231404 |
| Story9 | PF4BWCYB1 | Top | 55409.4487 | 0 | -1839.8109 | -76249.7591 | 777510.2459 | -2650809 |
| Story9 | PF4BWCYB1 | Bottom | 58718.5012 | 0 | -1839.8109 | -76249.7591 | 828351.5645 | -2784664 |
| Story8 | PF4BWCYB1 | Top | 68795.6367 | 0 | -2214.0359 | -88014.4548 | 960818.0819 | -3206944 |
| Story8 | PF4BWCYB1 | Bottom | 71911.704 | 0 | -2214.0359 | -88014.4548 | 1009140 | -3330175 |
| Story7 | PF4BWCYB1 | Top | 82101.6728 | 0 | -2572.5232 | -99512.9359 | 1143267 | -3764271 |
| Story7 | PF4BWCYB1 | Bottom | 85325.4269 | 0 | -2572.5232 | -99512.9359 | 1194028 | -3895428 |
| Story6 | PF4BWCYB1 | Top | 97350.5395 | 0 | -2981.8341 | -113496 | 1357889 | -4443745 |
| Story6 | PF4BWCYB1 | Bottom | 101826.4267 | 0 | -2981.8341 | -113496 | 1428906 | -4648028 |
| Story5 | PF4BWCYB1 | Top | 114142.7541 | 0 | -3392.7698 | -126379 | 1592018 | -5185740 |
| Story5 | PF4BWCYB1 | Bottom | 118434.4549 | 0 | -3392.7698 | -126379 | 1660106 | -5372900 |
| Story4 | PF4BWCYB1 | Top | 130844.1721 | 0 | -3773.9897 | -138330 | 1824152 | -5916759 |
| Story4 | PF4BWCYB1 | Bottom | 135122.6148 | 0 | -3773.9897 | -138330 | 1893126 | -6103503 |
| Story3 | PF4BWCYB1 | Top | 148471.9111 | 0 | -4151.9916 | -150180 | 2074496 | -6715468 |
| Story3 | PF4BWCYB1 | Bottom | 153211.8826 | 0 | -4151.9916 | -150180 | 2151315 | -6929316 |
| Story2 | PF4BWCYB1 | Top | 167913.3706 | 0 | -4616.3118 | -164737 | 2349018 | -7506318 |
| Story2 | PF4BWCYB1 | Bottom | 176205.5935 | 0 | -4616.3118 | -164737 | 2489895 | -7890019 |
| UPPER ROOF | PF4BWCYB2 | Top | 458.566 | 0 | -55.584 | -2831.6589 | 6546.0293 | -22618.7667 |
| UPPER ROOF | PF4BWCYB2 | Bottom | 927.8962 | 0 | -55.584 | -2831.6589 | 14208.3108 | -46138.8692 |
| PENTHOUSE | PF4BWCYB2 | Top | 4902.7392 | 0 | -275.0069 | -14769.6366 | 71135.0815 | -247611 |
| PENTHOUSE | PF4BWCYB2 | Bottom | 6616.8914 | 0 | -275.0069 | -14769.6366 | 96549.0414 | -332290 |
| Story14 | PF4BWCYB2 | Top | 11387.7116 | 0 | -489.1171 | -26537.6669 | 163206.7762 | -575178 |
| Story14 | PF4BWCYB2 | Bottom | 13083.3926 | 0 | -489.1171 | -26537.6669 | 189684.132 | -659788 |
| Story13 | PF4BWCYB2 | Top | 17732.1668 | 0 | -690.8083 | -37543.7047 | 253289.0251 | -894467 |
| Story13 | PF4BWCYB2 | Bottom | 19338.2294 | 0 | -690.8083 | -37543.7047 | 278649.258 | -974384 |
| Story12 | PF4BWCYB2 | Top | 25441.0192 | 0 | -930.7677 | -49895.6123 | 359467.3756 | -1255974 |
| Story12 | PF4BWCYB2 | Bottom | 27209.0737 | 0 | -930.7677 | -49895.6123 | 388055.9174 | -1340575 |
| Story11 | PF4BWCYB2 | Top | 33714.3491 | 0 | -1177.5205 | -62859.3897 | 474967.7652 | -1644404 |
| Story11 | PF4BWCYB2 | Bottom | 35535.9446 | 0 | -1177.5205 | -62859.3897 | 504960.512 | -1733635 |
| Story10 | PF4BWCYB2 | Top | 43414.052 | 0 | -1453.3185 | -77990.3581 | 612111.728 | -2121832 |
| Story10 | PF4BWCYB2 | Bottom | 45651.1721 | 0 | -1453.3185 | -77990.3581 | 648603.8221 | -2231404 |
| Story9 | PF4BWCYB2 | Top | 55409.4487 | 0 | -1839.8109 | -96643.4482 | 777510.2459 | -2650809 |
| Story9 | PF4BWCYB2 | Bottom | 58718.5012 | 0 | -1839.8109 | -96643.4482 | 828351.5645 | -2784664 |
| Story8 | PF4BWCYB2 | Top | 68795.6367 | 0 | -2214.0359 | -114704 | 960818.0819 | -3206944 |
| Story8 | PF4BWCYB2 | Bottom | 71911.704 | 0 | -2214.0359 | -114704 | 1009140 | -3330175 |
| Story7 | PF4BWCYB2 | Top | 82101.6728 | 0 | -2572.5232 | -132387 | 1143267 | -3764271 |
| Story7 | PF4BWCYB2 | Bottom | 85325.4269 | 0 | -2572.5232 | -132387 | 1194028 | -3895428 |
| Story6 | PF4BWCYB2 | Top | 97350.5395 | 0 | -2981.8341 | -154464 | 1357889 | -4443745 |
| Story6 | PF4BWCYB2 | Bottom | 101826.4267 | 0 | -2981.8341 | -154464 | 1428906 | -4648028 |
| Story5 | PF4BWCYB2 | Top | 114142.7541 | 0 | -3392.7698 | -175935 | 1592018 | -5185740 |
| Story5 | PF4BWCYB2 | Bottom | 118434.4549 | 0 | -3392.7698 | -175935 | 1660106 | -5372900 |
| Story4 | PF4BWCYB2 | Top | 130844.1721 | 0 | -3773.9897 | -195854 | 1824152 | -5916759 |
| Story4 | PF4BWCYB2 | Bottom | 135122.6148 | 0 | -3773.9897 | -195854 | 1893126 | -6103503 |
| Story3 | PF4BWCYB2 | Top | 148471.9111 | 0 | -4151.9916 | -215605 | 2074496 | -6715468 |
| Story3 | PF4BWCYB2 | Bottom | 153211.8826 | 0 | -4151.9916 | -215605 | 2151315 | -6929316 |
| Story2 | PF4BWCYB2 | Top | 167913.3706 | 0 | -4616.3118 | -239866 | 2349018 | -7506318 |
| Story2 | PF4BWCYB2 | Bottom | 176205.5935 | 0 | -4616.3118 | -239866 | 2489895 | -7890019 |
| UPPER ROOF | PF4CWCC | Top | 700.3781 | -27.6847 | -55.584 | -2346.483 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCC | Bottom | 1352.2256 | -27.6847 | -55.584 | -2346.483 | 20545.9252 | -67333.3866 |
| PENTHOUSE | PF4CWCC | Top | 7386.9752 | -214.558 | -275.0069 | -10882.4267 | 106797.1876 | -373306 |
| PENTHOUSE | PF4CWCC | Bottom | 9767.7422 | -214.558 | -275.0069 | -10882.4267 | 141723.2475 | -491660 |
| Story14 | PF4CWCC | Top | 16967.9568 | -396.454 | -489.1171 | -19227.9319 | 242437.5166 | -857866 |
| Story14 | PF4CWCC | Bottom | 19323.0693 | -396.454 | -489.1171 | -19227.9319 | 278593.4322 | -976668 |
| Story13 | PF4CWCC | Top | 26370.3703 | -562.5002 | -690.8083 | -27057.5465 | 374998.3455 | -1332412 |
| Story13 | PF4CWCC | Bottom | 28601.0128 | -562.5002 | -690.8083 | -27057.5465 | 409428.3806 | -1445067 |
| Story12 | PF4CWCC | Top | 37789.6971 | -721.4307 | -930.7677 | -35922.6159 | 531121.9343 | -1869504 |
| Story12 | PF4CWCC | Bottom | 40245.3283 | -721.4307 | -930.7677 | -35922.6159 | 569724.2484 | -1989205 |
| Story11 | PF4CWCC | Top | 50048.7379 | -878.5318 | -1177.5205 | -45336.848 | 700724.8928 | -2447609 |
| Story11 | PF4CWCC | Bottom | 52578.7317 | -878.5318 | -1177.5205 | -45336.848 | 741030.6079 | -2574132 |
| Story10 | PF4CWCC | Top | 64404.2585 | -1033.6335 | -1453.3185 | -56586.8751 | 901880.3693 | -3156355 |
| Story10 | PF4CWCC | Bottom | 67511.3697 | -1033.6335 | -1453.3185 | -56586.8751 | 950840.0362 | -3311690 |
| Story9 | PF4CWCC | Top | 82238.4694 | -1194.1456 | -1839.8109 | -69745.4414 | 1145333 | -3943201 |
| Story9 | PF4CWCC | Bottom | 86834.3757 | -1194.1456 | -1839.8109 | -69745.4414 | 1213621 | -4132991 |
| Story8 | PF4CWCC | Top | 102038.9359 | -1349.5629 | -2214.0359 | -82486.3469 | 1413439 | -4769040 |
| Story8 | PF4CWCC | Bottom | 106366.8072 | -1349.5629 | -2214.0359 | -82486.3469 | 1478012 | -4944176 |
| Story7 | PF4CWCC | Top | 121743.7002 | -1494.7763 | -2572.5232 | -95047.4248 | 1680366 | -5598270 |
| Story7 | PF4CWCC | Bottom | 126221.1364 | -1494.7763 | -2572.5232 | -95047.4248 | 1747917 | -5784843 |
| Story6 | PF4CWCC | Top | 144319.5864 | -1639.4064 | -2981.8341 | -111056 | 1994056 | -6609702 |
| Story6 | PF4CWCC | Bottom | 150536.0964 | -1639.4064 | -2981.8341 | -111056 | 2089154 | -6898428 |
| Story5 | PF4CWCC | Top | 169175.2186 | -1776.7946 | -3392.7698 | -126313 | 2336058 | -7712027 |
| Story5 | PF4CWCC | Bottom | 175135.9141 | -1776.7946 | -3392.7698 | -126313 | 2426943 | -7976928 |
| Story4 | PF4CWCC | Top | 193911.4059 | -1904.2479 | -3773.9897 | -140467 | 2675191 | -8799356 |
| Story4 | PF4CWCC | Bottom | 199853.6874 | -1904.2479 | -3773.9897 | -140467 | 2766893 | -9064036 |
| Story3 | PF4CWCC | Top | 219908.5721 | -2030.6253 | -4151.9916 | -154502 | 3039041 | -9979560 |
| Story3 | PF4CWCC | Bottom | 226491.8658 | -2030.6253 | -4151.9916 | -154502 | 3140971 | -10282562 |
| Story2 | PF4CWCC | Top | 248514.625 | -2185.8615 | -4616.3118 | -171741 | 3437270 | -11151642 |
| Story2 | PF4CWCC | Bottom | 260031.6013 | -2185.8615 | -4616.3118 | -171741 | 3625302 | -11693850 |
| UPPER ROOF | PF4CWCD1 | Top | 700.3781 | -20.7635 | -41.688 | -1844.0854 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCD1 | Bottom | 1352.2256 | -20.7635 | -41.688 | -1844.0854 | 20485.4776 | -67303.2795 |
| PENTHOUSE | PF4CWCD1 | Top | 7386.9752 | -160.9185 | -206.2552 | -9262.8719 | 106736.7399 | -373275 |
| PENTHOUSE | PF4CWCD1 | Bottom | 9767.7422 | -160.9185 | -206.2552 | -9262.8719 | 141424.2313 | -491443 |
| Story14 | PF4CWCD1 | Top | 16967.9568 | -297.3405 | -366.8378 | -16659.0213 | 242138.5004 | -857650 |
| Story14 | PF4CWCD1 | Bottom | 19323.0693 | -297.3405 | -366.8378 | -16659.0213 | 277897.0084 | -976130 |
| Story13 | PF4CWCD1 | Top | 26370.3703 | -421.8752 | -518.1062 | -23608.2706 | 374301.9217 | -1331873 |
| Story13 | PF4CWCD1 | Bottom | 28601.0128 | -421.8752 | -518.1062 | -23608.2706 | 408222.4856 | -1444114 |
| Story12 | PF4CWCD1 | Top | 37789.6971 | -541.073 | -698.0758 | -31622.8592 | 529916.0394 | -1868551 |
| Story12 | PF4CWCD1 | Bottom | 40245.3283 | -541.073 | -698.0758 | -31622.8592 | 567808.6431 | -1987702 |
| Story11 | PF4CWCD1 | Top | 50048.7379 | -658.8989 | -883.1404 | -40110.7297 | 698809.2874 | -2446105 |
| Story11 | PF4CWCD1 | Bottom | 52578.7317 | -658.8989 | -883.1404 | -40110.7297 | 738246.5812 | -2571981 |
| Story10 | PF4CWCD1 | Top | 64404.2585 | -775.2252 | -1089.9889 | -50239.7112 | 899096.3426 | -3154203 |
| Story10 | PF4CWCD1 | Bottom | 67511.3697 | -775.2252 | -1089.9889 | -50239.7112 | 946947.8541 | -3308751 |
| Story9 | PF4CWCD1 | Top | 82238.4694 | -895.6092 | -1379.8582 | -62967.7534 | 1141441 | -3940262 |
| Story9 | PF4CWCD1 | Bottom | 86834.3757 | -895.6092 | -1379.8582 | -62967.7534 | 1208234 | -4129082 |
| Story8 | PF4CWCD1 | Top | 102038.9359 | -1012.1722 | -1660.5269 | -75291.7998 | 1408052 | -4765130 |
| Story8 | PF4CWCD1 | Bottom | 106366.8072 | -1012.1722 | -1660.5269 | -75291.7998 | 1470992 | -4939271 |
| Story7 | PF4CWCD1 | Top | 121743.7002 | -1121.0822 | -1929.3924 | -87412.0774 | 1673346 | -5593365 |
| Story7 | PF4CWCD1 | Bottom | 126221.1364 | -1121.0822 | -1929.3924 | -87412.0774 | 1739000 | -5778835 |
| Story6 | PF4CWCD1 | Top | 144319.5864 | -1229.5548 | -2236.3756 | -102833 | 1985139 | -6603695 |
| Story6 | PF4CWCD1 | Bottom | 150536.0964 | -1229.5548 | -2236.3756 | -102833 | 2077963 | -6891171 |
| Story5 | PF4CWCD1 | Top | 169175.2186 | -1332.5959 | -2544.5773 | -117857 | 2324867 | -7704770 |
| Story5 | PF4CWCD1 | Bottom | 175135.9141 | -1332.5959 | -2544.5773 | -117857 | 2413386 | -7968431 |
| Story4 | PF4CWCD1 | Top | 193911.4059 | -1428.1859 | -2830.4922 | -131794 | 2661634 | -8790859 |
| Story4 | PF4CWCD1 | Bottom | 199853.6874 | -1428.1859 | -2830.4922 | -131794 | 2750703 | -9054211 |
| Story3 | PF4CWCD1 | Top | 219908.5721 | -1522.969 | -3113.9937 | -145613 | 3022852 | -9969735 |
| Story3 | PF4CWCD1 | Bottom | 226491.8658 | -1522.969 | -3113.9937 | -145613 | 3121719 | -10271239 |
| Story2 | PF4CWCD1 | Top | 248514.625 | -1639.3962 | -3462.2338 | -162588 | 3418018 | -11140320 |
| Story2 | PF4CWCD1 | Bottom | 260031.6013 | -1639.3962 | -3462.2338 | -162588 | 3601145 | -11680205 |
| UPPER ROOF | PF4CWCD2 | Top | 700.3781 | -20.7635 | -41.688 | -1675.6392 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCD2 | Bottom | 1352.2256 | -20.7635 | -41.688 | -1675.6392 | 20485.4776 | -67303.2795 |
| PENTHOUSE | PF4CWCD2 | Top | 7386.9752 | -160.9185 | -206.2552 | -7060.7682 | 106736.7399 | -373275 |
| PENTHOUSE | PF4CWCD2 | Bottom | 9767.7422 | -160.9185 | -206.2552 | -7060.7682 | 141424.2313 | -491443 |
| Story14 | PF4CWCD2 | Top | 16967.9568 | -297.3405 | -366.8378 | -12182.8766 | 242138.5004 | -857650 |
| Story14 | PF4CWCD2 | Bottom | 19323.0693 | -297.3405 | -366.8378 | -12182.8766 | 277897.0084 | -976130 |
| Story13 | PF4CWCD2 | Top | 26370.3703 | -421.8752 | -518.1062 | -16978.0491 | 374301.9217 | -1331873 |
| Story13 | PF4CWCD2 | Bottom | 28601.0128 | -421.8752 | -518.1062 | -16978.0491 | 408222.4856 | -1444114 |
| Story12 | PF4CWCD2 | Top | 37789.6971 | -541.073 | -698.0758 | -22261.0646 | 529916.0394 | -1868551 |
| Story12 | PF4CWCD2 | Bottom | 40245.3283 | -541.073 | -698.0758 | -22261.0646 | 567808.6431 | -1987702 |
| Story11 | PF4CWCD2 | Top | 50048.7379 | -658.8989 | -883.1404 | -27894.5424 | 698809.2874 | -2446105 |
| Story11 | PF4CWCD2 | Bottom | 52578.7317 | -658.8989 | -883.1404 | -27894.5424 | 738246.5812 | -2571981 |
| Story10 | PF4CWCD2 | Top | 64404.2585 | -775.2252 | -1089.9889 | -34640.6014 | 899096.3426 | -3154203 |
| Story10 | PF4CWCD2 | Bottom | 67511.3697 | -775.2252 | -1089.9889 | -34640.6014 | 946947.8541 | -3308751 |
| Story9 | PF4CWCD2 | Top | 82238.4694 | -895.6092 | -1379.8582 | -41650.4087 | 1141441 | -3940262 |
| Story9 | PF4CWCD2 | Bottom | 86834.3757 | -895.6092 | -1379.8582 | -41650.4087 | 1208234 | -4129082 |
| Story8 | PF4CWCD2 | Top | 102038.9359 | -1012.1722 | -1660.5269 | -48437.7206 | 1408052 | -4765130 |
| Story8 | PF4CWCD2 | Bottom | 106366.8072 | -1012.1722 | -1660.5269 | -48437.7206 | 1470992 | -4939271 |
| Story7 | PF4CWCD2 | Top | 121743.7002 | -1121.0822 | -1929.3924 | -55159.0597 | 1673346 | -5593365 |
| Story7 | PF4CWCD2 | Bottom | 126221.1364 | -1121.0822 | -1929.3924 | -55159.0597 | 1739000 | -5778835 |
| Story6 | PF4CWCD2 | Top | 144319.5864 | -1229.5548 | -2236.3756 | -63751.4934 | 1985139 | -6603695 |
| Story6 | PF4CWCD2 | Bottom | 150536.0964 | -1229.5548 | -2236.3756 | -63751.4934 | 2077963 | -6891171 |
| Story5 | PF4CWCD2 | Top | 169175.2186 | -1332.5959 | -2544.5773 | -71613.6175 | 2324867 | -7704770 |
| Story5 | PF4CWCD2 | Bottom | 175135.9141 | -1332.5959 | -2544.5773 | -71613.6175 | 2413386 | -7968431 |
| Story4 | PF4CWCD2 | Top | 193911.4059 | -1428.1859 | -2830.4922 | -78907.213 | 2661634 | -8790859 |
| Story4 | PF4CWCD2 | Bottom | 199853.6874 | -1428.1859 | -2830.4922 | -78907.213 | 2750703 | -9054211 |
| Story3 | PF4CWCD2 | Top | 219908.5721 | -1522.969 | -3113.9937 | -86139.2422 | 3022852 | -9969735 |
| Story3 | PF4CWCD2 | Bottom | 226491.8658 | -1522.969 | -3113.9937 | -86139.2422 | 3121719 | -10271239 |
| Story2 | PF4CWCD2 | Top | 248514.625 | -1639.3962 | -3462.2338 | -95022.7324 | 3418018 | -11140320 |
| Story2 | PF4CWCD2 | Bottom | 260031.6013 | -1639.3962 | -3462.2338 | -95022.7324 | 3601145 | -11680205 |
| UPPER ROOF | PF4CWCX | Top | 700.3781 | -36.9129 | 0 | 526.9323 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCX | Bottom | 1352.2256 | -36.9129 | 0 | 526.9323 | 20304.1347 | -67373.5294 |
| PENTHOUSE | PF4CWCX | Top | 7386.9752 | -286.0773 | 0 | 4015.2332 | 106555.397 | -373346 |
| PENTHOUSE | PF4CWCX | Bottom | 9767.7422 | -286.0773 | 0 | 4015.2332 | 140527.1828 | -491948 |
| Story14 | PF4CWCX | Top | 16967.9568 | -528.6053 | 0 | 7404.5625 | 241241.452 | -858154 |
| Story14 | PF4CWCX | Bottom | 19323.0693 | -528.6053 | 0 | 7404.5625 | 275807.737 | -977386 |
| Story13 | PF4CWCX | Top | 26370.3703 | -750.0003 | 0 | 10498.5573 | 372212.6503 | -1333130 |
| Story13 | PF4CWCX | Bottom | 28601.0128 | -750.0003 | 0 | 10498.5573 | 404604.8008 | -1446338 |
| Story12 | PF4CWCX | Top | 37789.6971 | -961.9075 | 0 | 13459.9609 | 526298.3545 | -1870775 |
| Story12 | PF4CWCX | Bottom | 40245.3283 | -961.9075 | 0 | 13459.9609 | 562061.8272 | -1991210 |
| Story11 | PF4CWCX | Top | 50048.7379 | -1171.3758 | 0 | 16387.2796 | 693062.4715 | -2449613 |
| Story11 | PF4CWCX | Bottom | 52578.7317 | -1171.3758 | 0 | 16387.2796 | 729894.5011 | -2577000 |
| Story10 | PF4CWCX | Top | 64404.2585 | -1378.1781 | 0 | 19277.3412 | 890744.2626 | -3159223 |
| Story10 | PF4CWCX | Bottom | 67511.3697 | -1378.1781 | 0 | 19277.3412 | 935271.3079 | -3315609 |
| Story9 | PF4CWCX | Top | 82238.4694 | -1592.1942 | 0 | 22268.2163 | 1129764 | -3947120 |
| Story9 | PF4CWCX | Bottom | 86834.3757 | -1592.1942 | 0 | 22268.2163 | 1192073 | -4138204 |
| Story8 | PF4CWCX | Top | 102038.9359 | -1799.4173 | 0 | 25164.1592 | 1391890 | -4774252 |
| Story8 | PF4CWCX | Bottom | 106366.8072 | -1799.4173 | 0 | 25164.1592 | 1449933 | -4950715 |
| Story7 | PF4CWCX | Top | 121743.7002 | -1993.0351 | 0 | 27869.9679 | 1652287 | -5604810 |
| Story7 | PF4CWCX | Bottom | 126221.1364 | -1993.0351 | 0 | 27869.9679 | 1712249 | -5792852 |
| Story6 | PF4CWCX | Top | 144319.5864 | -2185.8752 | 0 | 30564.9088 | 1958387 | -6617712 |
| Story6 | PF4CWCX | Bottom | 150536.0964 | -2185.8752 | 0 | 30564.9088 | 2044391 | -6908105 |
| Story5 | PF4CWCX | Top | 169175.2186 | -2369.0594 | 0 | 33124.9083 | 2291295 | -7721703 |
| Story5 | PF4CWCX | Bottom | 175135.9141 | -2369.0594 | 0 | 33124.9083 | 2372714 | -7988257 |
| Story4 | PF4CWCX | Top | 193911.4059 | -2538.9972 | 0 | 35499.7882 | 2620962 | -8810685 |
| Story4 | PF4CWCX | Bottom | 199853.6874 | -2538.9972 | 0 | 35499.7882 | 2702135 | -9077136 |
| Story3 | PF4CWCX | Top | 219908.5721 | -2707.5004 | 0 | 37854.6214 | 2974283 | -9992660 |
| Story3 | PF4CWCX | Bottom | 226491.8658 | -2707.5004 | 0 | 37854.6214 | 3063964 | -10297659 |
| Story2 | PF4CWCX | Top | 248514.625 | -2914.482 | 0 | 40747.1896 | 3360263 | -11166739 |
| Story2 | PF4CWCX | Bottom | 260031.6013 | -2914.482 | 0 | 40747.1896 | 3528676 | -11712043 |
| UPPER ROOF | PF4CWCXB1 | Top | 700.3781 | -27.6847 | 0 | 372.8784 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCXB1 | Bottom | 1352.2256 | -27.6847 | 0 | 372.8784 | 20304.1347 | -67333.3866 |
| PENTHOUSE | PF4CWCXB1 | Top | 7386.9752 | -214.558 | 0 | 2419.1407 | 106555.397 | -373306 |
| PENTHOUSE | PF4CWCXB1 | Bottom | 9767.7422 | -214.558 | 0 | 2419.1407 | 140527.1828 | -491660 |
| Story14 | PF4CWCXB1 | Top | 16967.9568 | -396.454 | 0 | 4325.6384 | 241241.452 | -857866 |
| Story14 | PF4CWCXB1 | Bottom | 19323.0693 | -396.454 | 0 | 4325.6384 | 275807.737 | -976668 |
| Story13 | PF4CWCXB1 | Top | 26370.3703 | -562.5002 | 0 | 6066.0105 | 372212.6503 | -1332412 |
| Story13 | PF4CWCXB1 | Bottom | 28601.0128 | -562.5002 | 0 | 6066.0105 | 404604.8008 | -1445067 |
| Story12 | PF4CWCXB1 | Top | 37789.6971 | -721.4307 | 0 | 7731.8 | 526298.3545 | -1869504 |
| Story12 | PF4CWCXB1 | Bottom | 40245.3283 | -721.4307 | 0 | 7731.8 | 562061.8272 | -1989205 |
| Story11 | PF4CWCXB1 | Top | 50048.7379 | -878.5318 | 0 | 9378.4167 | 693062.4715 | -2447609 |
| Story11 | PF4CWCXB1 | Bottom | 52578.7317 | -878.5318 | 0 | 9378.4167 | 729894.5011 | -2574132 |
| Story10 | PF4CWCXB1 | Top | 64404.2585 | -1033.6335 | 0 | 11004.0764 | 890744.2626 | -3156355 |
| Story10 | PF4CWCXB1 | Bottom | 67511.3697 | -1033.6335 | 0 | 11004.0764 | 935271.3079 | -3311690 |
| Story9 | PF4CWCXB1 | Top | 82238.4694 | -1194.1456 | 0 | 12686.4437 | 1129764 | -3943201 |
| Story9 | PF4CWCXB1 | Bottom | 86834.3757 | -1194.1456 | 0 | 12686.4437 | 1192073 | -4132991 |
| Story8 | PF4CWCXB1 | Top | 102038.9359 | -1349.5629 | 0 | 14315.4115 | 1391890 | -4769040 |
| Story8 | PF4CWCXB1 | Bottom | 106366.8072 | -1349.5629 | 0 | 14315.4115 | 1449933 | -4944176 |
| Story7 | PF4CWCXB1 | Top | 121743.7002 | -1494.7763 | 0 | 15837.4289 | 1652287 | -5598270 |
| Story7 | PF4CWCXB1 | Bottom | 126221.1364 | -1494.7763 | 0 | 15837.4289 | 1712249 | -5784843 |
| Story6 | PF4CWCXB1 | Top | 144319.5864 | -1639.4064 | 0 | 17353.3332 | 1958387 | -6609702 |
| Story6 | PF4CWCXB1 | Bottom | 150536.0964 | -1639.4064 | 0 | 17353.3332 | 2044391 | -6898428 |
| Story5 | PF4CWCXB1 | Top | 169175.2186 | -1776.7946 | 0 | 18793.3329 | 2291295 | -7712027 |
| Story5 | PF4CWCXB1 | Bottom | 175135.9141 | -1776.7946 | 0 | 18793.3329 | 2372714 | -7976928 |
| Story4 | PF4CWCXB1 | Top | 193911.4059 | -1904.2479 | 0 | 20129.2028 | 2620962 | -8799356 |
| Story4 | PF4CWCXB1 | Bottom | 199853.6874 | -1904.2479 | 0 | 20129.2028 | 2702135 | -9064036 |
| Story3 | PF4CWCXB1 | Top | 219908.5721 | -2030.6253 | 0 | 21453.7965 | 2974283 | -9979560 |
| Story3 | PF4CWCXB1 | Bottom | 226491.8658 | -2030.6253 | 0 | 21453.7965 | 3063964 | -10282562 |
| Story2 | PF4CWCXB1 | Top | 248514.625 | -2185.8615 | 0 | 23080.8661 | 3360263 | -11151642 |
| Story2 | PF4CWCXB1 | Bottom | 260031.6013 | -2185.8615 | 0 | 23080.8661 | 3528676 | -11693850 |
| UPPER ROOF | PF4CWCXB2 | Top | 700.3781 | -27.6847 | 0 | 417.52 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCXB2 | Bottom | 1352.2256 | -27.6847 | 0 | 417.52 | 20304.1347 | -67333.3866 |
| PENTHOUSE | PF4CWCXB2 | Top | 7386.9752 | -214.558 | 0 | 3603.7092 | 106555.397 | -373306 |
| PENTHOUSE | PF4CWCXB2 | Bottom | 9767.7422 | -214.558 | 0 | 3603.7092 | 140527.1828 | -491660 |
| Story14 | PF4CWCXB2 | Top | 16967.9568 | -396.454 | 0 | 6781.2054 | 241241.452 | -857866 |
| Story14 | PF4CWCXB2 | Bottom | 19323.0693 | -396.454 | 0 | 6781.2054 | 275807.737 | -976668 |
| Story13 | PF4CWCXB2 | Top | 26370.3703 | -562.5002 | 0 | 9681.8255 | 372212.6503 | -1332412 |
| Story13 | PF4CWCXB2 | Bottom | 28601.0128 | -562.5002 | 0 | 9681.8255 | 404604.8008 | -1445067 |
| Story12 | PF4CWCXB2 | Top | 37789.6971 | -721.4307 | 0 | 12458.1414 | 526298.3545 | -1869504 |
| Story12 | PF4CWCXB2 | Bottom | 40245.3283 | -721.4307 | 0 | 12458.1414 | 562061.8272 | -1989205 |
| Story11 | PF4CWCXB2 | Top | 50048.7379 | -878.5318 | 0 | 15202.5026 | 693062.4715 | -2447609 |
| Story11 | PF4CWCXB2 | Bottom | 52578.7317 | -878.5318 | 0 | 15202.5026 | 729894.5011 | -2574132 |
| Story10 | PF4CWCXB2 | Top | 64404.2585 | -1033.6335 | 0 | 17911.9354 | 890744.2626 | -3156355 |
| Story10 | PF4CWCXB2 | Bottom | 67511.3697 | -1033.6335 | 0 | 17911.9354 | 935271.3079 | -3311690 |
| Story9 | PF4CWCXB2 | Top | 82238.4694 | -1194.1456 | 0 | 20715.8808 | 1129764 | -3943201 |
| Story9 | PF4CWCXB2 | Bottom | 86834.3757 | -1194.1456 | 0 | 20715.8808 | 1192073 | -4132991 |
| Story8 | PF4CWCXB2 | Top | 102038.9359 | -1349.5629 | 0 | 23430.8273 | 1391890 | -4769040 |
| Story8 | PF4CWCXB2 | Bottom | 106366.8072 | -1349.5629 | 0 | 23430.8273 | 1449933 | -4944176 |
| Story7 | PF4CWCXB2 | Top | 121743.7002 | -1494.7763 | 0 | 25967.5229 | 1652287 | -5598270 |
| Story7 | PF4CWCXB2 | Bottom | 126221.1364 | -1494.7763 | 0 | 25967.5229 | 1712249 | -5784843 |
| Story6 | PF4CWCXB2 | Top | 144319.5864 | -1639.4064 | 0 | 28494.03 | 1958387 | -6609702 |
| Story6 | PF4CWCXB2 | Bottom | 150536.0964 | -1639.4064 | 0 | 28494.03 | 2044391 | -6898428 |
| Story5 | PF4CWCXB2 | Top | 169175.2186 | -1776.7946 | 0 | 30894.0295 | 2291295 | -7712027 |
| Story5 | PF4CWCXB2 | Bottom | 175135.9141 | -1776.7946 | 0 | 30894.0295 | 2372714 | -7976928 |
| Story4 | PF4CWCXB2 | Top | 193911.4059 | -1904.2479 | 0 | 33120.4794 | 2620962 | -8799356 |
| Story4 | PF4CWCXB2 | Bottom | 199853.6874 | -1904.2479 | 0 | 33120.4794 | 2702135 | -9064036 |
| Story3 | PF4CWCXB2 | Top | 219908.5721 | -2030.6253 | 0 | 35328.1356 | 2974283 | -9979560 |
| Story3 | PF4CWCXB2 | Bottom | 226491.8658 | -2030.6253 | 0 | 35328.1356 | 3063964 | -10282562 |
| Story2 | PF4CWCXB2 | Top | 248514.625 | -2185.8615 | 0 | 38039.9182 | 3360263 | -11151642 |
| Story2 | PF4CWCXB2 | Bottom | 260031.6013 | -2185.8615 | 0 | 38039.9182 | 3528676 | -11693850 |
| UPPER ROOF | PF4CWCY | Top | 700.3781 | 0 | -74.112 | -3655.5763 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCY | Bottom | 1352.2256 | 0 | -74.112 | -3655.5763 | 20626.5221 | -67212.9581 |
| PENTHOUSE | PF4CWCY | Top | 7386.9752 | 0 | -366.6759 | -18525.1355 | 106877.7844 | -373185 |
| PENTHOUSE | PF4CWCY | Bottom | 9767.7422 | 0 | -366.6759 | -18525.1355 | 142121.9357 | -490795 |
| Story14 | PF4CWCY | Top | 16967.9568 | 0 | -652.1561 | -33041.8051 | 242836.2048 | -857001 |
| Story14 | PF4CWCY | Bottom | 19323.0693 | 0 | -652.1561 | -33041.8051 | 279521.9973 | -974515 |
| Story13 | PF4CWCY | Top | 26370.3703 | 0 | -921.0778 | -46575.286 | 375926.9106 | -1330258 |
| Story13 | PF4CWCY | Bottom | 28601.0128 | 0 | -921.0778 | -46575.286 | 411036.2405 | -1441254 |
| Story12 | PF4CWCY | Top | 37789.6971 | 0 | -1241.0236 | -61356.782 | 532729.7942 | -1865691 |
| Story12 | PF4CWCY | Bottom | 40245.3283 | 0 | -1241.0236 | -61356.782 | 572278.3888 | -1983192 |
| Story11 | PF4CWCY | Top | 50048.7379 | 0 | -1570.0274 | -76836.4103 | 703279.0332 | -2441596 |
| Story11 | PF4CWCY | Bottom | 52578.7317 | 0 | -1570.0274 | -76836.4103 | 744742.6434 | -2565527 |
| Story10 | PF4CWCY | Top | 64404.2585 | 0 | -1937.758 | -94726.508 | 905592.4049 | -3147750 |
| Story10 | PF4CWCY | Bottom | 67511.3697 | 0 | -1937.758 | -94726.508 | 956029.6123 | -3299933 |
| Story9 | PF4CWCY | Top | 82238.4694 | 0 | -2453.0813 | -115262 | 1150523 | -3931444 |
| Story9 | PF4CWCY | Bottom | 86834.3757 | 0 | -2453.0813 | -115262 | 1220803 | -4117353 |
| Story8 | PF4CWCY | Top | 102038.9359 | 0 | -2952.0478 | -135146 | 1420621 | -4753401 |
| Story8 | PF4CWCY | Bottom | 106366.8072 | 0 | -2952.0478 | -135146 | 1487372 | -4924556 |
| Story7 | PF4CWCY | Top | 121743.7002 | 0 | -3430.0309 | -154600 | 1689726 | -5578651 |
| Story7 | PF4CWCY | Bottom | 126221.1364 | 0 | -3430.0309 | -154600 | 1759806 | -5760814 |
| Story6 | PF4CWCY | Top | 144319.5864 | 0 | -3975.7788 | -178640 | 2005945 | -6585673 |
| Story6 | PF4CWCY | Bottom | 150536.0964 | 0 | -3975.7788 | -178640 | 2104075 | -6869399 |
| Story5 | PF4CWCY | Top | 169175.2186 | 0 | -4523.693 | -201543 | 2350979 | -7682998 |
| Story5 | PF4CWCY | Bottom | 175135.9141 | 0 | -4523.693 | -201543 | 2445019 | -7942941 |
| Story4 | PF4CWCY | Top | 193911.4059 | 0 | -5031.9862 | -222790 | 2693267 | -8765369 |
| Story4 | PF4CWCY | Bottom | 199853.6874 | 0 | -5031.9862 | -222790 | 2788479 | -9024737 |
| Story3 | PF4CWCY | Top | 219908.5721 | 0 | -5535.9888 | -243857 | 3060627 | -9940261 |
| Story3 | PF4CWCY | Bottom | 226491.8658 | 0 | -5535.9888 | -243857 | 3166639 | -10237272 |
| Story2 | PF4CWCY | Top | 248514.625 | 0 | -6155.0824 | -269735 | 3462939 | -11106353 |
| Story2 | PF4CWCY | Bottom | 260031.6013 | 0 | -6155.0824 | -269735 | 3657510 | -11639270 |
| UPPER ROOF | PF4CWCYB1 | Top | 700.3781 | 0 | -55.584 | -2651.7056 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCYB1 | Bottom | 1352.2256 | 0 | -55.584 | -2651.7056 | 20545.9252 | -67212.9581 |
| PENTHOUSE | PF4CWCYB1 | Top | 7386.9752 | 0 | -275.0069 | -13018.0667 | 106797.1876 | -373185 |
| PENTHOUSE | PF4CWCYB1 | Bottom | 9767.7422 | 0 | -275.0069 | -13018.0667 | 141723.2475 | -490795 |
| Story14 | PF4CWCYB1 | Top | 16967.9568 | 0 | -489.1171 | -23025.0408 | 242437.5166 | -857001 |
| Story14 | PF4CWCYB1 | Bottom | 19323.0693 | 0 | -489.1171 | -23025.0408 | 278593.4322 | -974515 |
| Story13 | PF4CWCYB1 | Top | 26370.3703 | 0 | -690.8083 | -32319.2244 | 374998.3455 | -1330258 |
| Story13 | PF4CWCYB1 | Bottom | 28601.0128 | 0 | -690.8083 | -32319.2244 | 409428.3806 | -1441254 |
| Story12 | PF4CWCYB1 | Top | 37789.6971 | 0 | -930.7677 | -42139.5608 | 531121.9343 | -1865691 |
| Story12 | PF4CWCYB1 | Bottom | 40245.3283 | 0 | -930.7677 | -42139.5608 | 569724.2484 | -1983192 |
| Story11 | PF4CWCYB1 | Top | 50048.7379 | 0 | -1177.5205 | -52395.2258 | 700724.8928 | -2441596 |
| Story11 | PF4CWCYB1 | Bottom | 52578.7317 | 0 | -1177.5205 | -52395.2258 | 741030.6079 | -2565527 |
| Story10 | PF4CWCYB1 | Top | 64404.2585 | 0 | -1453.3185 | -64099.4039 | 901880.3693 | -3147750 |
| Story10 | PF4CWCYB1 | Bottom | 67511.3697 | 0 | -1453.3185 | -64099.4039 | 950840.0362 | -3299933 |
| Story9 | PF4CWCYB1 | Top | 82238.4694 | 0 | -1839.8109 | -76249.7591 | 1145333 | -3931444 |
| Story9 | PF4CWCYB1 | Bottom | 86834.3757 | 0 | -1839.8109 | -76249.7591 | 1213621 | -4117353 |
| Story8 | PF4CWCYB1 | Top | 102038.9359 | 0 | -2214.0359 | -88014.4548 | 1413439 | -4753401 |
| Story8 | PF4CWCYB1 | Bottom | 106366.8072 | 0 | -2214.0359 | -88014.4548 | 1478012 | -4924556 |
| Story7 | PF4CWCYB1 | Top | 121743.7002 | 0 | -2572.5232 | -99512.9359 | 1680366 | -5578651 |
| Story7 | PF4CWCYB1 | Bottom | 126221.1364 | 0 | -2572.5232 | -99512.9359 | 1747917 | -5760814 |
| Story6 | PF4CWCYB1 | Top | 144319.5864 | 0 | -2981.8341 | -113496 | 1994056 | -6585673 |
| Story6 | PF4CWCYB1 | Bottom | 150536.0964 | 0 | -2981.8341 | -113496 | 2089154 | -6869399 |
| Story5 | PF4CWCYB1 | Top | 169175.2186 | 0 | -3392.7698 | -126379 | 2336058 | -7682998 |
| Story5 | PF4CWCYB1 | Bottom | 175135.9141 | 0 | -3392.7698 | -126379 | 2426943 | -7942941 |
| Story4 | PF4CWCYB1 | Top | 193911.4059 | 0 | -3773.9897 | -138330 | 2675191 | -8765369 |
| Story4 | PF4CWCYB1 | Bottom | 199853.6874 | 0 | -3773.9897 | -138330 | 2766893 | -9024737 |
| Story3 | PF4CWCYB1 | Top | 219908.5721 | 0 | -4151.9916 | -150180 | 3039041 | -9940261 |
| Story3 | PF4CWCYB1 | Bottom | 226491.8658 | 0 | -4151.9916 | -150180 | 3140971 | -10237272 |
| Story2 | PF4CWCYB1 | Top | 248514.625 | 0 | -4616.3118 | -164737 | 3437270 | -11106353 |
| Story2 | PF4CWCYB1 | Bottom | 260031.6013 | 0 | -4616.3118 | -164737 | 3625302 | -11639270 |
| UPPER ROOF | PF4CWCYB2 | Top | 700.3781 | 0 | -55.584 | -2831.6589 | 9997.8972 | -34546.1492 |
| UPPER ROOF | PF4CWCYB2 | Bottom | 1352.2256 | 0 | -55.584 | -2831.6589 | 20545.9252 | -67212.9581 |
| PENTHOUSE | PF4CWCYB2 | Top | 7386.9752 | 0 | -275.0069 | -14769.6366 | 106797.1876 | -373185 |
| PENTHOUSE | PF4CWCYB2 | Bottom | 9767.7422 | 0 | -275.0069 | -14769.6366 | 141723.2475 | -490795 |
| Story14 | PF4CWCYB2 | Top | 16967.9568 | 0 | -489.1171 | -26537.6669 | 242437.5166 | -857001 |
| Story14 | PF4CWCYB2 | Bottom | 19323.0693 | 0 | -489.1171 | -26537.6669 | 278593.4322 | -974515 |
| Story13 | PF4CWCYB2 | Top | 26370.3703 | 0 | -690.8083 | -37543.7047 | 374998.3455 | -1330258 |
| Story13 | PF4CWCYB2 | Bottom | 28601.0128 | 0 | -690.8083 | -37543.7047 | 409428.3806 | -1441254 |
| Story12 | PF4CWCYB2 | Top | 37789.6971 | 0 | -930.7677 | -49895.6123 | 531121.9343 | -1865691 |
| Story12 | PF4CWCYB2 | Bottom | 40245.3283 | 0 | -930.7677 | -49895.6123 | 569724.2484 | -1983192 |
| Story11 | PF4CWCYB2 | Top | 50048.7379 | 0 | -1177.5205 | -62859.3897 | 700724.8928 | -2441596 |
| Story11 | PF4CWCYB2 | Bottom | 52578.7317 | 0 | -1177.5205 | -62859.3897 | 741030.6079 | -2565527 |
| Story10 | PF4CWCYB2 | Top | 64404.2585 | 0 | -1453.3185 | -77990.3581 | 901880.3693 | -3147750 |
| Story10 | PF4CWCYB2 | Bottom | 67511.3697 | 0 | -1453.3185 | -77990.3581 | 950840.0362 | -3299933 |
| Story9 | PF4CWCYB2 | Top | 82238.4694 | 0 | -1839.8109 | -96643.4482 | 1145333 | -3931444 |
| Story9 | PF4CWCYB2 | Bottom | 86834.3757 | 0 | -1839.8109 | -96643.4482 | 1213621 | -4117353 |
| Story8 | PF4CWCYB2 | Top | 102038.9359 | 0 | -2214.0359 | -114704 | 1413439 | -4753401 |
| Story8 | PF4CWCYB2 | Bottom | 106366.8072 | 0 | -2214.0359 | -114704 | 1478012 | -4924556 |
| Story7 | PF4CWCYB2 | Top | 121743.7002 | 0 | -2572.5232 | -132387 | 1680366 | -5578651 |
| Story7 | PF4CWCYB2 | Bottom | 126221.1364 | 0 | -2572.5232 | -132387 | 1747917 | -5760814 |
| Story6 | PF4CWCYB2 | Top | 144319.5864 | 0 | -2981.8341 | -154464 | 1994056 | -6585673 |
| Story6 | PF4CWCYB2 | Bottom | 150536.0964 | 0 | -2981.8341 | -154464 | 2089154 | -6869399 |
| Story5 | PF4CWCYB2 | Top | 169175.2186 | 0 | -3392.7698 | -175935 | 2336058 | -7682998 |
| Story5 | PF4CWCYB2 | Bottom | 175135.9141 | 0 | -3392.7698 | -175935 | 2426943 | -7942941 |
| Story4 | PF4CWCYB2 | Top | 193911.4059 | 0 | -3773.9897 | -195854 | 2675191 | -8765369 |
| Story4 | PF4CWCYB2 | Bottom | 199853.6874 | 0 | -3773.9897 | -195854 | 2766893 | -9024737 |
| Story3 | PF4CWCYB2 | Top | 219908.5721 | 0 | -4151.9916 | -215605 | 3039041 | -9940261 |
| Story3 | PF4CWCYB2 | Bottom | 226491.8658 | 0 | -4151.9916 | -215605 | 3140971 | -10237272 |
| Story2 | PF4CWCYB2 | Top | 248514.625 | 0 | -4616.3118 | -239866 | 3437270 | -11106353 |
| Story2 | PF4CWCYB2 | Bottom | 260031.6013 | 0 | -4616.3118 | -239866 | 3625302 | -11639270 |
| UPPER ROOF | PF4CYB1 | Top | 522.0469 | 0 | -55.584 | -2651.7056 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4CYB1 | Bottom | 991.3771 | 0 | -55.584 | -2651.7056 | 15114.5007 | -49270.0645 |
| PENTHOUSE | PF4CYB1 | Top | 5480.3544 | 0 | -275.0069 | -13018.0667 | 79227.5744 | -276892 |
| PENTHOUSE | PF4CYB1 | Bottom | 7194.5066 | 0 | -275.0069 | -13018.0667 | 104641.5343 | -361571 |
| Story14 | PF4CYB1 | Top | 12539.4023 | 0 | -489.1171 | -23025.0408 | 179433.351 | -633321 |
| Story14 | PF4CYB1 | Bottom | 14235.0833 | 0 | -489.1171 | -23025.0408 | 205910.7068 | -717930 |
| Story13 | PF4CYB1 | Top | 19474.5276 | 0 | -690.8083 | -32319.2244 | 277580.3839 | -982410 |
| Story13 | PF4CYB1 | Bottom | 21080.5902 | 0 | -690.8083 | -32319.2244 | 302940.6168 | -1062327 |
| Story12 | PF4CYB1 | Top | 27895.9674 | 0 | -930.7677 | -42139.5608 | 393204.9026 | -1377257 |
| Story12 | PF4CYB1 | Bottom | 29664.0219 | 0 | -930.7677 | -42139.5608 | 421793.4444 | -1461858 |
| Story11 | PF4CYB1 | Top | 36937.6022 | 0 | -1177.5205 | -52395.2258 | 518995.0368 | -1802105 |
| Story11 | PF4CYB1 | Bottom | 38759.1977 | 0 | -1177.5205 | -52395.2258 | 548987.7836 | -1891336 |
| Story10 | PF4CYB1 | Top | 47521.016 | 0 | -1453.3185 | -64099.4039 | 668167.6278 | -2322593 |
| Story10 | PF4CYB1 | Bottom | 49758.1361 | 0 | -1453.3185 | -64099.4039 | 704659.7219 | -2432165 |
| Story9 | PF4CYB1 | Top | 60690.3505 | 0 | -1839.8109 | -76249.7591 | 849022.4567 | -2900573 |
| Story9 | PF4CYB1 | Bottom | 63999.403 | 0 | -1839.8109 | -76249.7591 | 899863.7753 | -3034428 |
| Story8 | PF4CYB1 | Top | 75285.0772 | 0 | -2214.0359 | -88014.4548 | 1048167 | -3506256 |
| Story8 | PF4CYB1 | Bottom | 78401.1445 | 0 | -2214.0359 | -88014.4548 | 1096489 | -3629488 |
| Story7 | PF4CYB1 | Top | 89815.2719 | 0 | -2572.5232 | -99512.9359 | 1246682 | -4114767 |
| Story7 | PF4CYB1 | Bottom | 93039.026 | 0 | -2572.5232 | -99512.9359 | 1297444 | -4245925 |
| Story6 | PF4CYB1 | Top | 106461.0433 | 0 | -2981.8341 | -113496 | 1479859 | -4857550 |
| Story6 | PF4CYB1 | Bottom | 110936.9305 | 0 | -2981.8341 | -113496 | 1550876 | -5061833 |
| Story5 | PF4CYB1 | Top | 124786.3698 | 0 | -3392.7698 | -126379 | 1734347 | -5666321 |
| Story5 | PF4CYB1 | Bottom | 129078.0706 | 0 | -3392.7698 | -126379 | 1802435 | -5853480 |
| Story4 | PF4CYB1 | Top | 143027.5611 | 0 | -3773.9897 | -138330 | 1986887 | -6464408 |
| Story4 | PF4CYB1 | Bottom | 147306.0038 | 0 | -3773.9897 | -138330 | 2055861 | -6651152 |
| Story3 | PF4CYB1 | Top | 162169.4956 | 0 | -4151.9916 | -150180 | 2257477 | -7328690 |
| Story3 | PF4CYB1 | Bottom | 166909.4671 | 0 | -4151.9916 | -150180 | 2334295 | -7542538 |
| Story2 | PF4CYB1 | Top | 183214.9809 | 0 | -4616.3118 | -164737 | 2553710 | -8187229 |
| Story2 | PF4CYB1 | Bottom | 191507.2038 | 0 | -4616.3118 | -164737 | 2694586 | -8570929 |
| UPPER ROOF | PF4CYB2 | Top | 522.0469 | 0 | -55.584 | -2831.6589 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4CYB2 | Bottom | 991.3771 | 0 | -55.584 | -2831.6589 | 15114.5007 | -49270.0645 |
| PENTHOUSE | PF4CYB2 | Top | 5480.3544 | 0 | -275.0069 | -14769.6366 | 79227.5744 | -276892 |
| PENTHOUSE | PF4CYB2 | Bottom | 7194.5066 | 0 | -275.0069 | -14769.6366 | 104641.5343 | -361571 |
| Story14 | PF4CYB2 | Top | 12539.4023 | 0 | -489.1171 | -26537.6669 | 179433.351 | -633321 |
| Story14 | PF4CYB2 | Bottom | 14235.0833 | 0 | -489.1171 | -26537.6669 | 205910.7068 | -717930 |
| Story13 | PF4CYB2 | Top | 19474.5276 | 0 | -690.8083 | -37543.7047 | 277580.3839 | -982410 |
| Story13 | PF4CYB2 | Bottom | 21080.5902 | 0 | -690.8083 | -37543.7047 | 302940.6168 | -1062327 |
| Story12 | PF4CYB2 | Top | 27895.9674 | 0 | -930.7677 | -49895.6123 | 393204.9026 | -1377257 |
| Story12 | PF4CYB2 | Bottom | 29664.0219 | 0 | -930.7677 | -49895.6123 | 421793.4444 | -1461858 |
| Story11 | PF4CYB2 | Top | 36937.6022 | 0 | -1177.5205 | -62859.3897 | 518995.0368 | -1802105 |
| Story11 | PF4CYB2 | Bottom | 38759.1977 | 0 | -1177.5205 | -62859.3897 | 548987.7836 | -1891336 |
| Story10 | PF4CYB2 | Top | 47521.016 | 0 | -1453.3185 | -77990.3581 | 668167.6278 | -2322593 |
| Story10 | PF4CYB2 | Bottom | 49758.1361 | 0 | -1453.3185 | -77990.3581 | 704659.7219 | -2432165 |
| Story9 | PF4CYB2 | Top | 60690.3505 | 0 | -1839.8109 | -96643.4482 | 849022.4567 | -2900573 |
| Story9 | PF4CYB2 | Bottom | 63999.403 | 0 | -1839.8109 | -96643.4482 | 899863.7753 | -3034428 |
| Story8 | PF4CYB2 | Top | 75285.0772 | 0 | -2214.0359 | -114704 | 1048167 | -3506256 |
| Story8 | PF4CYB2 | Bottom | 78401.1445 | 0 | -2214.0359 | -114704 | 1096489 | -3629488 |
| Story7 | PF4CYB2 | Top | 89815.2719 | 0 | -2572.5232 | -132387 | 1246682 | -4114767 |
| Story7 | PF4CYB2 | Bottom | 93039.026 | 0 | -2572.5232 | -132387 | 1297444 | -4245925 |
| Story6 | PF4CYB2 | Top | 106461.0433 | 0 | -2981.8341 | -154464 | 1479859 | -4857550 |
| Story6 | PF4CYB2 | Bottom | 110936.9305 | 0 | -2981.8341 | -154464 | 1550876 | -5061833 |
| Story5 | PF4CYB2 | Top | 124786.3698 | 0 | -3392.7698 | -175935 | 1734347 | -5666321 |
| Story5 | PF4CYB2 | Bottom | 129078.0706 | 0 | -3392.7698 | -175935 | 1802435 | -5853480 |
| Story4 | PF4CYB2 | Top | 143027.5611 | 0 | -3773.9897 | -195854 | 1986887 | -6464408 |
| Story4 | PF4CYB2 | Bottom | 147306.0038 | 0 | -3773.9897 | -195854 | 2055861 | -6651152 |
| Story3 | PF4CYB2 | Top | 162169.4956 | 0 | -4151.9916 | -215605 | 2257477 | -7328690 |
| Story3 | PF4CYB2 | Bottom | 166909.4671 | 0 | -4151.9916 | -215605 | 2334295 | -7542538 |
| Story2 | PF4CYB2 | Top | 183214.9809 | 0 | -4616.3118 | -239866 | 2553710 | -8187229 |
| Story2 | PF4CYB2 | Bottom | 191507.2038 | 0 | -4616.3118 | -239866 | 2694586 | -8570929 |
| UPPER ROOF | PF4DWCC | Top | 522.0469 | -27.6847 | -55.584 | -2346.483 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCC | Bottom | 991.3771 | -27.6847 | -55.584 | -2346.483 | 15114.5007 | -49390.493 |
| PENTHOUSE | PF4DWCC | Top | 5480.3544 | -214.558 | -275.0069 | -10882.4267 | 79227.5744 | -277012 |
| PENTHOUSE | PF4DWCC | Bottom | 7194.5066 | -214.558 | -275.0069 | -10882.4267 | 104641.5343 | -362436 |
| Story14 | PF4DWCC | Top | 12539.4023 | -396.454 | -489.1171 | -19227.9319 | 179433.351 | -634185 |
| Story14 | PF4DWCC | Bottom | 14235.0833 | -396.454 | -489.1171 | -19227.9319 | 205910.7068 | -720084 |
| Story13 | PF4DWCC | Top | 19474.5276 | -562.5002 | -690.8083 | -27057.5465 | 277580.3839 | -984563 |
| Story13 | PF4DWCC | Bottom | 21080.5902 | -562.5002 | -690.8083 | -27057.5465 | 302940.6168 | -1066140 |
| Story12 | PF4DWCC | Top | 27895.9674 | -721.4307 | -930.7677 | -35922.6159 | 393204.9026 | -1381070 |
| Story12 | PF4DWCC | Bottom | 29664.0219 | -721.4307 | -930.7677 | -35922.6159 | 421793.4444 | -1467871 |
| Story11 | PF4DWCC | Top | 36937.6022 | -878.5318 | -1177.5205 | -45336.848 | 518995.0368 | -1808118 |
| Story11 | PF4DWCC | Bottom | 38759.1977 | -878.5318 | -1177.5205 | -45336.848 | 548987.7836 | -1899941 |
| Story10 | PF4DWCC | Top | 47521.016 | -1033.6335 | -1453.3185 | -56586.8751 | 668167.6278 | -2331198 |
| Story10 | PF4DWCC | Bottom | 49758.1361 | -1033.6335 | -1453.3185 | -56586.8751 | 704659.7219 | -2443922 |
| Story9 | PF4DWCC | Top | 60690.3505 | -1194.1456 | -1839.8109 | -69745.4414 | 849022.4567 | -2912331 |
| Story9 | PF4DWCC | Bottom | 63999.403 | -1194.1456 | -1839.8109 | -69745.4414 | 899863.7753 | -3050066 |
| Story8 | PF4DWCC | Top | 75285.0772 | -1349.5629 | -2214.0359 | -82486.3469 | 1048167 | -3521895 |
| Story8 | PF4DWCC | Bottom | 78401.1445 | -1349.5629 | -2214.0359 | -82486.3469 | 1096489 | -3649107 |
| Story7 | PF4DWCC | Top | 89815.2719 | -1494.7763 | -2572.5232 | -95047.4248 | 1246682 | -4134387 |
| Story7 | PF4DWCC | Bottom | 93039.026 | -1494.7763 | -2572.5232 | -95047.4248 | 1297444 | -4269954 |
| Story6 | PF4DWCC | Top | 106461.0433 | -1639.4064 | -2981.8341 | -111056 | 1479859 | -4881579 |
| Story6 | PF4DWCC | Bottom | 110936.9305 | -1639.4064 | -2981.8341 | -111056 | 1550876 | -5090862 |
| Story5 | PF4DWCC | Top | 124786.3698 | -1776.7946 | -3392.7698 | -126313 | 1734347 | -5695350 |
| Story5 | PF4DWCC | Bottom | 129078.0706 | -1776.7946 | -3392.7698 | -126313 | 1802435 | -5887467 |
| Story4 | PF4DWCC | Top | 143027.5611 | -1904.2479 | -3773.9897 | -140467 | 1986887 | -6498394 |
| Story4 | PF4DWCC | Bottom | 147306.0038 | -1904.2479 | -3773.9897 | -140467 | 2055861 | -6690452 |
| Story3 | PF4DWCC | Top | 162169.4956 | -2030.6253 | -4151.9916 | -154502 | 2257477 | -7367989 |
| Story3 | PF4DWCC | Bottom | 166909.4671 | -2030.6253 | -4151.9916 | -154502 | 2334295 | -7587828 |
| Story2 | PF4DWCC | Top | 183214.9809 | -2185.8615 | -4616.3118 | -171741 | 2553710 | -8232519 |
| Story2 | PF4DWCC | Bottom | 191507.2038 | -2185.8615 | -4616.3118 | -171741 | 2694586 | -8625509 |
| UPPER ROOF | PF4DWCD1 | Top | 522.0469 | -20.7635 | -41.688 | -1844.0854 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCD1 | Bottom | 991.3771 | -20.7635 | -41.688 | -1844.0854 | 15054.053 | -49360.3859 |
| PENTHOUSE | PF4DWCD1 | Top | 5480.3544 | -160.9185 | -206.2552 | -9262.8719 | 79167.1268 | -276982 |
| PENTHOUSE | PF4DWCD1 | Bottom | 7194.5066 | -160.9185 | -206.2552 | -9262.8719 | 104342.5181 | -362220 |
| Story14 | PF4DWCD1 | Top | 12539.4023 | -297.3405 | -366.8378 | -16659.0213 | 179134.3348 | -633969 |
| Story14 | PF4DWCD1 | Bottom | 14235.0833 | -297.3405 | -366.8378 | -16659.0213 | 205214.283 | -719545 |
| Story13 | PF4DWCD1 | Top | 19474.5276 | -421.8752 | -518.1062 | -23608.2706 | 276883.9601 | -984025 |
| Story13 | PF4DWCD1 | Bottom | 21080.5902 | -421.8752 | -518.1062 | -23608.2706 | 301734.7219 | -1065187 |
| Story12 | PF4DWCD1 | Top | 27895.9674 | -541.073 | -698.0758 | -31622.8592 | 391999.0077 | -1380116 |
| Story12 | PF4DWCD1 | Bottom | 29664.0219 | -541.073 | -698.0758 | -31622.8592 | 419877.8391 | -1466368 |
| Story11 | PF4DWCD1 | Top | 36937.6022 | -658.8989 | -883.1404 | -40110.7297 | 517079.4315 | -1806615 |
| Story11 | PF4DWCD1 | Bottom | 38759.1977 | -658.8989 | -883.1404 | -40110.7297 | 546203.7569 | -1897790 |
| Story10 | PF4DWCD1 | Top | 47521.016 | -775.2252 | -1089.9889 | -50239.7112 | 665383.6011 | -2329047 |
| Story10 | PF4DWCD1 | Bottom | 49758.1361 | -775.2252 | -1089.9889 | -50239.7112 | 700767.5398 | -2440983 |
| Story9 | PF4DWCD1 | Top | 60690.3505 | -895.6092 | -1379.8582 | -62967.7534 | 845130.2746 | -2909391 |
| Story9 | PF4DWCD1 | Bottom | 63999.403 | -895.6092 | -1379.8582 | -62967.7534 | 894476.7469 | -3046157 |
| Story8 | PF4DWCD1 | Top | 75285.0772 | -1012.1722 | -1660.5269 | -75291.7998 | 1042780 | -3517985 |
| Story8 | PF4DWCD1 | Bottom | 78401.1445 | -1012.1722 | -1660.5269 | -75291.7998 | 1089469 | -3644202 |
| Story7 | PF4DWCD1 | Top | 89815.2719 | -1121.0822 | -1929.3924 | -87412.0774 | 1239662 | -4129482 |
| Story7 | PF4DWCD1 | Bottom | 93039.026 | -1121.0822 | -1929.3924 | -87412.0774 | 1288527 | -4263947 |
| Story6 | PF4DWCD1 | Top | 106461.0433 | -1229.5548 | -2236.3756 | -102833 | 1470942 | -4875572 |
| Story6 | PF4DWCD1 | Bottom | 110936.9305 | -1229.5548 | -2236.3756 | -102833 | 1539685 | -5083605 |
| Story5 | PF4DWCD1 | Top | 124786.3698 | -1332.5959 | -2544.5773 | -117857 | 1723157 | -5688093 |
| Story5 | PF4DWCD1 | Bottom | 129078.0706 | -1332.5959 | -2544.5773 | -117857 | 1788878 | -5878970 |
| Story4 | PF4DWCD1 | Top | 143027.5611 | -1428.1859 | -2830.4922 | -131794 | 1973330 | -6489898 |
| Story4 | PF4DWCD1 | Bottom | 147306.0038 | -1428.1859 | -2830.4922 | -131794 | 2039672 | -6680627 |
| Story3 | PF4DWCD1 | Top | 162169.4956 | -1522.969 | -3113.9937 | -145613 | 2241287 | -7358165 |
| Story3 | PF4DWCD1 | Bottom | 166909.4671 | -1522.969 | -3113.9937 | -145613 | 2315043 | -7576505 |
| Story2 | PF4DWCD1 | Top | 183214.9809 | -1639.3962 | -3462.2338 | -162588 | 2534458 | -8221196 |
| Story2 | PF4DWCD1 | Bottom | 191507.2038 | -1639.3962 | -3462.2338 | -162588 | 2670430 | -8611864 |
| UPPER ROOF | PF4DWCD2 | Top | 522.0469 | -20.7635 | -41.688 | -1675.6392 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCD2 | Bottom | 991.3771 | -20.7635 | -41.688 | -1675.6392 | 15054.053 | -49360.3859 |
| PENTHOUSE | PF4DWCD2 | Top | 5480.3544 | -160.9185 | -206.2552 | -7060.7682 | 79167.1268 | -276982 |
| PENTHOUSE | PF4DWCD2 | Bottom | 7194.5066 | -160.9185 | -206.2552 | -7060.7682 | 104342.5181 | -362220 |
| Story14 | PF4DWCD2 | Top | 12539.4023 | -297.3405 | -366.8378 | -12182.8766 | 179134.3348 | -633969 |
| Story14 | PF4DWCD2 | Bottom | 14235.0833 | -297.3405 | -366.8378 | -12182.8766 | 205214.283 | -719545 |
| Story13 | PF4DWCD2 | Top | 19474.5276 | -421.8752 | -518.1062 | -16978.0491 | 276883.9601 | -984025 |
| Story13 | PF4DWCD2 | Bottom | 21080.5902 | -421.8752 | -518.1062 | -16978.0491 | 301734.7219 | -1065187 |
| Story12 | PF4DWCD2 | Top | 27895.9674 | -541.073 | -698.0758 | -22261.0646 | 391999.0077 | -1380116 |
| Story12 | PF4DWCD2 | Bottom | 29664.0219 | -541.073 | -698.0758 | -22261.0646 | 419877.8391 | -1466368 |
| Story11 | PF4DWCD2 | Top | 36937.6022 | -658.8989 | -883.1404 | -27894.5424 | 517079.4315 | -1806615 |
| Story11 | PF4DWCD2 | Bottom | 38759.1977 | -658.8989 | -883.1404 | -27894.5424 | 546203.7569 | -1897790 |
| Story10 | PF4DWCD2 | Top | 47521.016 | -775.2252 | -1089.9889 | -34640.6014 | 665383.6011 | -2329047 |
| Story10 | PF4DWCD2 | Bottom | 49758.1361 | -775.2252 | -1089.9889 | -34640.6014 | 700767.5398 | -2440983 |
| Story9 | PF4DWCD2 | Top | 60690.3505 | -895.6092 | -1379.8582 | -41650.4087 | 845130.2746 | -2909391 |
| Story9 | PF4DWCD2 | Bottom | 63999.403 | -895.6092 | -1379.8582 | -41650.4087 | 894476.7469 | -3046157 |
| Story8 | PF4DWCD2 | Top | 75285.0772 | -1012.1722 | -1660.5269 | -48437.7206 | 1042780 | -3517985 |
| Story8 | PF4DWCD2 | Bottom | 78401.1445 | -1012.1722 | -1660.5269 | -48437.7206 | 1089469 | -3644202 |
| Story7 | PF4DWCD2 | Top | 89815.2719 | -1121.0822 | -1929.3924 | -55159.0597 | 1239662 | -4129482 |
| Story7 | PF4DWCD2 | Bottom | 93039.026 | -1121.0822 | -1929.3924 | -55159.0597 | 1288527 | -4263947 |
| Story6 | PF4DWCD2 | Top | 106461.0433 | -1229.5548 | -2236.3756 | -63751.4934 | 1470942 | -4875572 |
| Story6 | PF4DWCD2 | Bottom | 110936.9305 | -1229.5548 | -2236.3756 | -63751.4934 | 1539685 | -5083605 |
| Story5 | PF4DWCD2 | Top | 124786.3698 | -1332.5959 | -2544.5773 | -71613.6175 | 1723157 | -5688093 |
| Story5 | PF4DWCD2 | Bottom | 129078.0706 | -1332.5959 | -2544.5773 | -71613.6175 | 1788878 | -5878970 |
| Story4 | PF4DWCD2 | Top | 143027.5611 | -1428.1859 | -2830.4922 | -78907.213 | 1973330 | -6489898 |
| Story4 | PF4DWCD2 | Bottom | 147306.0038 | -1428.1859 | -2830.4922 | -78907.213 | 2039672 | -6680627 |
| Story3 | PF4DWCD2 | Top | 162169.4956 | -1522.969 | -3113.9937 | -86139.2422 | 2241287 | -7358165 |
| Story3 | PF4DWCD2 | Bottom | 166909.4671 | -1522.969 | -3113.9937 | -86139.2422 | 2315043 | -7576505 |
| Story2 | PF4DWCD2 | Top | 183214.9809 | -1639.3962 | -3462.2338 | -95022.7324 | 2534458 | -8221196 |
| Story2 | PF4DWCD2 | Bottom | 191507.2038 | -1639.3962 | -3462.2338 | -95022.7324 | 2670430 | -8611864 |
| UPPER ROOF | PF4DWCX | Top | 522.0469 | -36.9129 | 0 | 526.9323 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCX | Bottom | 991.3771 | -36.9129 | 0 | 526.9323 | 14872.7101 | -49430.6359 |
| PENTHOUSE | PF4DWCX | Top | 5480.3544 | -286.0773 | 0 | 4015.2332 | 78985.7839 | -277052 |
| PENTHOUSE | PF4DWCX | Bottom | 7194.5066 | -286.0773 | 0 | 4015.2332 | 103445.4697 | -362724 |
| Story14 | PF4DWCX | Top | 12539.4023 | -528.6053 | 0 | 7404.5625 | 178237.2864 | -634474 |
| Story14 | PF4DWCX | Bottom | 14235.0833 | -528.6053 | 0 | 7404.5625 | 203125.0116 | -720802 |
| Story13 | PF4DWCX | Top | 19474.5276 | -750.0003 | 0 | 10498.5573 | 274794.6887 | -985281 |
| Story13 | PF4DWCX | Bottom | 21080.5902 | -750.0003 | 0 | 10498.5573 | 298117.037 | -1067411 |
| Story12 | PF4DWCX | Top | 27895.9674 | -961.9075 | 0 | 13459.9609 | 388381.3228 | -1382341 |
| Story12 | PF4DWCX | Bottom | 29664.0219 | -961.9075 | 0 | 13459.9609 | 414131.0231 | -1469875 |
| Story11 | PF4DWCX | Top | 36937.6022 | -1171.3758 | 0 | 16387.2796 | 511332.6156 | -1810123 |
| Story11 | PF4DWCX | Bottom | 38759.1977 | -1171.3758 | 0 | 16387.2796 | 537851.6768 | -1902809 |
| Story10 | PF4DWCX | Top | 47521.016 | -1378.1781 | 0 | 19277.3412 | 657031.521 | -2334066 |
| Story10 | PF4DWCX | Bottom | 49758.1361 | -1378.1781 | 0 | 19277.3412 | 689090.9936 | -2447841 |
| Story9 | PF4DWCX | Top | 60690.3505 | -1592.1942 | 0 | 22268.2163 | 833453.7284 | -2916250 |
| Story9 | PF4DWCX | Bottom | 63999.403 | -1592.1942 | 0 | 22268.2163 | 878315.6614 | -3055279 |
| Story8 | PF4DWCX | Top | 75285.0772 | -1799.4173 | 0 | 25164.1592 | 1026619 | -3527108 |
| Story8 | PF4DWCX | Bottom | 78401.1445 | -1799.4173 | 0 | 25164.1592 | 1068409 | -3655647 |
| Story7 | PF4DWCX | Top | 89815.2719 | -1993.0351 | 0 | 27869.9679 | 1218603 | -4140927 |
| Story7 | PF4DWCX | Bottom | 93039.026 | -1993.0351 | 0 | 27869.9679 | 1261775 | -4277964 |
| Story6 | PF4DWCX | Top | 106461.0433 | -2185.8752 | 0 | 30564.9088 | 1444190 | -4889589 |
| Story6 | PF4DWCX | Bottom | 110936.9305 | -2185.8752 | 0 | 30564.9088 | 1506113 | -5100538 |
| Story5 | PF4DWCX | Top | 124786.3698 | -2369.0594 | 0 | 33124.9083 | 1689584 | -5705027 |
| Story5 | PF4DWCX | Bottom | 129078.0706 | -2369.0594 | 0 | 33124.9083 | 1748206 | -5898796 |
| Story4 | PF4DWCX | Top | 143027.5611 | -2538.9972 | 0 | 35499.7882 | 1932658 | -6509723 |
| Story4 | PF4DWCX | Bottom | 147306.0038 | -2538.9972 | 0 | 35499.7882 | 1991103 | -6703552 |
| Story3 | PF4DWCX | Top | 162169.4956 | -2707.5004 | 0 | 37854.6214 | 2192718 | -7381089 |
| Story3 | PF4DWCX | Bottom | 166909.4671 | -2707.5004 | 0 | 37854.6214 | 2257288 | -7602925 |
| Story2 | PF4DWCX | Top | 183214.9809 | -2914.482 | 0 | 40747.1896 | 2476703 | -8247615 |
| Story2 | PF4DWCX | Bottom | 191507.2038 | -2914.482 | 0 | 40747.1896 | 2597960 | -8643702 |
| UPPER ROOF | PF4DWCXB1 | Top | 522.0469 | -27.6847 | 0 | 372.8784 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCXB1 | Bottom | 991.3771 | -27.6847 | 0 | 372.8784 | 14872.7101 | -49390.493 |
| PENTHOUSE | PF4DWCXB1 | Top | 5480.3544 | -214.558 | 0 | 2419.1407 | 78985.7839 | -277012 |
| PENTHOUSE | PF4DWCXB1 | Bottom | 7194.5066 | -214.558 | 0 | 2419.1407 | 103445.4697 | -362436 |
| Story14 | PF4DWCXB1 | Top | 12539.4023 | -396.454 | 0 | 4325.6384 | 178237.2864 | -634185 |
| Story14 | PF4DWCXB1 | Bottom | 14235.0833 | -396.454 | 0 | 4325.6384 | 203125.0116 | -720084 |
| Story13 | PF4DWCXB1 | Top | 19474.5276 | -562.5002 | 0 | 6066.0105 | 274794.6887 | -984563 |
| Story13 | PF4DWCXB1 | Bottom | 21080.5902 | -562.5002 | 0 | 6066.0105 | 298117.037 | -1066140 |
| Story12 | PF4DWCXB1 | Top | 27895.9674 | -721.4307 | 0 | 7731.8 | 388381.3228 | -1381070 |
| Story12 | PF4DWCXB1 | Bottom | 29664.0219 | -721.4307 | 0 | 7731.8 | 414131.0231 | -1467871 |
| Story11 | PF4DWCXB1 | Top | 36937.6022 | -878.5318 | 0 | 9378.4167 | 511332.6156 | -1808118 |
| Story11 | PF4DWCXB1 | Bottom | 38759.1977 | -878.5318 | 0 | 9378.4167 | 537851.6768 | -1899941 |
| Story10 | PF4DWCXB1 | Top | 47521.016 | -1033.6335 | 0 | 11004.0764 | 657031.521 | -2331198 |
| Story10 | PF4DWCXB1 | Bottom | 49758.1361 | -1033.6335 | 0 | 11004.0764 | 689090.9936 | -2443922 |
| Story9 | PF4DWCXB1 | Top | 60690.3505 | -1194.1456 | 0 | 12686.4437 | 833453.7284 | -2912331 |
| Story9 | PF4DWCXB1 | Bottom | 63999.403 | -1194.1456 | 0 | 12686.4437 | 878315.6614 | -3050066 |
| Story8 | PF4DWCXB1 | Top | 75285.0772 | -1349.5629 | 0 | 14315.4115 | 1026619 | -3521895 |
| Story8 | PF4DWCXB1 | Bottom | 78401.1445 | -1349.5629 | 0 | 14315.4115 | 1068409 | -3649107 |
| Story7 | PF4DWCXB1 | Top | 89815.2719 | -1494.7763 | 0 | 15837.4289 | 1218603 | -4134387 |
| Story7 | PF4DWCXB1 | Bottom | 93039.026 | -1494.7763 | 0 | 15837.4289 | 1261775 | -4269954 |
| Story6 | PF4DWCXB1 | Top | 106461.0433 | -1639.4064 | 0 | 17353.3332 | 1444190 | -4881579 |
| Story6 | PF4DWCXB1 | Bottom | 110936.9305 | -1639.4064 | 0 | 17353.3332 | 1506113 | -5090862 |
| Story5 | PF4DWCXB1 | Top | 124786.3698 | -1776.7946 | 0 | 18793.3329 | 1689584 | -5695350 |
| Story5 | PF4DWCXB1 | Bottom | 129078.0706 | -1776.7946 | 0 | 18793.3329 | 1748206 | -5887467 |
| Story4 | PF4DWCXB1 | Top | 143027.5611 | -1904.2479 | 0 | 20129.2028 | 1932658 | -6498394 |
| Story4 | PF4DWCXB1 | Bottom | 147306.0038 | -1904.2479 | 0 | 20129.2028 | 1991103 | -6690452 |
| Story3 | PF4DWCXB1 | Top | 162169.4956 | -2030.6253 | 0 | 21453.7965 | 2192718 | -7367989 |
| Story3 | PF4DWCXB1 | Bottom | 166909.4671 | -2030.6253 | 0 | 21453.7965 | 2257288 | -7587828 |
| Story2 | PF4DWCXB1 | Top | 183214.9809 | -2185.8615 | 0 | 23080.8661 | 2476703 | -8232519 |
| Story2 | PF4DWCXB1 | Bottom | 191507.2038 | -2185.8615 | 0 | 23080.8661 | 2597960 | -8625509 |
| UPPER ROOF | PF4DWCXB2 | Top | 522.0469 | -27.6847 | 0 | 417.52 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCXB2 | Bottom | 991.3771 | -27.6847 | 0 | 417.52 | 14872.7101 | -49390.493 |
| PENTHOUSE | PF4DWCXB2 | Top | 5480.3544 | -214.558 | 0 | 3603.7092 | 78985.7839 | -277012 |
| PENTHOUSE | PF4DWCXB2 | Bottom | 7194.5066 | -214.558 | 0 | 3603.7092 | 103445.4697 | -362436 |
| Story14 | PF4DWCXB2 | Top | 12539.4023 | -396.454 | 0 | 6781.2054 | 178237.2864 | -634185 |
| Story14 | PF4DWCXB2 | Bottom | 14235.0833 | -396.454 | 0 | 6781.2054 | 203125.0116 | -720084 |
| Story13 | PF4DWCXB2 | Top | 19474.5276 | -562.5002 | 0 | 9681.8255 | 274794.6887 | -984563 |
| Story13 | PF4DWCXB2 | Bottom | 21080.5902 | -562.5002 | 0 | 9681.8255 | 298117.037 | -1066140 |
| Story12 | PF4DWCXB2 | Top | 27895.9674 | -721.4307 | 0 | 12458.1414 | 388381.3228 | -1381070 |
| Story12 | PF4DWCXB2 | Bottom | 29664.0219 | -721.4307 | 0 | 12458.1414 | 414131.0231 | -1467871 |
| Story11 | PF4DWCXB2 | Top | 36937.6022 | -878.5318 | 0 | 15202.5026 | 511332.6156 | -1808118 |
| Story11 | PF4DWCXB2 | Bottom | 38759.1977 | -878.5318 | 0 | 15202.5026 | 537851.6768 | -1899941 |
| Story10 | PF4DWCXB2 | Top | 47521.016 | -1033.6335 | 0 | 17911.9354 | 657031.521 | -2331198 |
| Story10 | PF4DWCXB2 | Bottom | 49758.1361 | -1033.6335 | 0 | 17911.9354 | 689090.9936 | -2443922 |
| Story9 | PF4DWCXB2 | Top | 60690.3505 | -1194.1456 | 0 | 20715.8808 | 833453.7284 | -2912331 |
| Story9 | PF4DWCXB2 | Bottom | 63999.403 | -1194.1456 | 0 | 20715.8808 | 878315.6614 | -3050066 |
| Story8 | PF4DWCXB2 | Top | 75285.0772 | -1349.5629 | 0 | 23430.8273 | 1026619 | -3521895 |
| Story8 | PF4DWCXB2 | Bottom | 78401.1445 | -1349.5629 | 0 | 23430.8273 | 1068409 | -3649107 |
| Story7 | PF4DWCXB2 | Top | 89815.2719 | -1494.7763 | 0 | 25967.5229 | 1218603 | -4134387 |
| Story7 | PF4DWCXB2 | Bottom | 93039.026 | -1494.7763 | 0 | 25967.5229 | 1261775 | -4269954 |
| Story6 | PF4DWCXB2 | Top | 106461.0433 | -1639.4064 | 0 | 28494.03 | 1444190 | -4881579 |
| Story6 | PF4DWCXB2 | Bottom | 110936.9305 | -1639.4064 | 0 | 28494.03 | 1506113 | -5090862 |
| Story5 | PF4DWCXB2 | Top | 124786.3698 | -1776.7946 | 0 | 30894.0295 | 1689584 | -5695350 |
| Story5 | PF4DWCXB2 | Bottom | 129078.0706 | -1776.7946 | 0 | 30894.0295 | 1748206 | -5887467 |
| Story4 | PF4DWCXB2 | Top | 143027.5611 | -1904.2479 | 0 | 33120.4794 | 1932658 | -6498394 |
| Story4 | PF4DWCXB2 | Bottom | 147306.0038 | -1904.2479 | 0 | 33120.4794 | 1991103 | -6690452 |
| Story3 | PF4DWCXB2 | Top | 162169.4956 | -2030.6253 | 0 | 35328.1356 | 2192718 | -7367989 |
| Story3 | PF4DWCXB2 | Bottom | 166909.4671 | -2030.6253 | 0 | 35328.1356 | 2257288 | -7587828 |
| Story2 | PF4DWCXB2 | Top | 183214.9809 | -2185.8615 | 0 | 38039.9182 | 2476703 | -8232519 |
| Story2 | PF4DWCXB2 | Bottom | 191507.2038 | -2185.8615 | 0 | 38039.9182 | 2597960 | -8625509 |
| UPPER ROOF | PF4DWCY | Top | 522.0469 | 0 | -74.112 | -3655.5763 | 7452.2191 | -25749.9621 |
| UPPER ROOF | PF4DWCY | Bottom | 991.3771 | 0 | -74.112 | -3655.5763 | 15195.0975 | -49270.0645 |
| PENTHOUSE | PF4DWCY | Top | 5480.3544 | 0 | -366.6759 | -18525.1355 | 79308.1713 | -276892 |
| PENTHOUSE | PF4DWCY | Bottom | 7194.5066 | 0 | -366.6759 | -18525.1355 | 105040.2225 | -361571 |
| Story14 | PF4DWCY | Top | 12539.4023 | 0 | -652.1561 | -33041.8051 | 179832.0392 | -633321 |
| Story14 | PF4DWCY | Bottom | 14235.0833 | 0 | -652.1561 | -33041.8051 | 206839.2719 | -717930 |
| Story13 | PF4DWCY | Top | 19474.5276 | 0 | -921.0778 | -46575.286 | 278508.949 | -982410 |
| Story13 | PF4DWCY | Bottom | 21080.5902 | 0 | -921.0778 | -46575.286 | 304548.4768 | -1062327 |
| Story12 | PF4DWCY | Top | 27895.9674 | 0 | -1241.0236 | -61356.782 | 394812.7625 | -1377257 |
| Story12 | PF4DWCY | Bottom | 29664.0219 | 0 | -1241.0236 | -61356.782 | 424347.5848 | -1461858 |
| Story11 | PF4DWCY | Top | 36937.6022 | 0 | -1570.0274 | -76836.4103 | 521549.1772 | -1802105 |
| Story11 | PF4DWCY | Bottom | 38759.1977 | 0 | -1570.0274 | -76836.4103 | 552699.8192 | -1891336 |
| Story10 | PF4DWCY | Top | 47521.016 | 0 | -1937.758 | -94726.508 | 671879.6633 | -2322593 |
| Story10 | PF4DWCY | Bottom | 49758.1361 | 0 | -1937.758 | -94726.508 | 709849.298 | -2432165 |
| Story9 | PF4DWCY | Top | 60690.3505 | 0 | -2453.0813 | -115262 | 854212.0328 | -2900573 |
| Story9 | PF4DWCY | Bottom | 63999.403 | 0 | -2453.0813 | -115262 | 907046.48 | -3034428 |
| Story8 | PF4DWCY | Top | 75285.0772 | 0 | -2952.0478 | -135146 | 1055350 | -3506256 |
| Story8 | PF4DWCY | Bottom | 78401.1445 | 0 | -2952.0478 | -135146 | 1105849 | -3629488 |
| Story7 | PF4DWCY | Top | 89815.2719 | 0 | -3430.0309 | -154600 | 1256042 | -4114767 |
| Story7 | PF4DWCY | Bottom | 93039.026 | 0 | -3430.0309 | -154600 | 1309333 | -4245925 |
| Story6 | PF4DWCY | Top | 106461.0433 | 0 | -3975.7788 | -178640 | 1491748 | -4857550 |
| Story6 | PF4DWCY | Bottom | 110936.9305 | 0 | -3975.7788 | -178640 | 1565797 | -5061833 |
| Story5 | PF4DWCY | Top | 124786.3698 | 0 | -4523.693 | -201543 | 1749268 | -5666321 |
| Story5 | PF4DWCY | Bottom | 129078.0706 | 0 | -4523.693 | -201543 | 1820511 | -5853480 |
| Story4 | PF4DWCY | Top | 143027.5611 | 0 | -5031.9862 | -222790 | 2004964 | -6464408 |
| Story4 | PF4DWCY | Bottom | 147306.0038 | 0 | -5031.9862 | -222790 | 2077447 | -6651152 |
| Story3 | PF4DWCY | Top | 162169.4956 | 0 | -5535.9888 | -243857 | 2279063 | -7328690 |
| Story3 | PF4DWCY | Bottom | 166909.4671 | 0 | -5535.9888 | -243857 | 2359964 | -7542538 |
| Story2 | PF4DWCY | Top | 183214.9809 | 0 | -6155.0824 | -269735 | 2579379 | -8187229 |
| Story2 | PF4DWCY | Bottom | 191507.2038 | 0 | -6155.0824 | -269735 | 2726795 | -8570929 |
| UPPER ROOF | PF4WCC | Top | 636.8972 | -27.6847 | -55.584 | -2346.483 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WCC | Bottom | 1288.7447 | -27.6847 | -55.584 | -2346.483 | 19639.7354 | -64202.1912 |
| PENTHOUSE | PF4WCC | Top | 6809.36 | -214.558 | -275.0069 | -10882.4267 | 98704.6947 | -344025 |
| PENTHOUSE | PF4WCC | Bottom | 9190.127 | -214.558 | -275.0069 | -10882.4267 | 133630.7545 | -462379 |
| Story14 | PF4WCC | Top | 15816.2661 | -396.454 | -489.1171 | -19227.9319 | 226210.9418 | -799723 |
| Story14 | PF4WCC | Bottom | 18171.3786 | -396.454 | -489.1171 | -19227.9319 | 262366.8574 | -918525 |
| Story13 | PF4WCC | Top | 24628.0095 | -562.5002 | -690.8083 | -27057.5465 | 350706.9867 | -1244469 |
| Story13 | PF4WCC | Bottom | 26858.652 | -562.5002 | -690.8083 | -27057.5465 | 385137.0217 | -1357125 |
| Story12 | PF4WCC | Top | 35334.7489 | -721.4307 | -930.7677 | -35922.6159 | 497384.4073 | -1748221 |
| Story12 | PF4WCC | Bottom | 37790.3801 | -721.4307 | -930.7677 | -35922.6159 | 535986.7214 | -1867923 |
| Story11 | PF4WCC | Top | 46825.4848 | -878.5318 | -1177.5205 | -45336.848 | 656697.6211 | -2289907 |
| Story11 | PF4WCC | Bottom | 49355.4786 | -878.5318 | -1177.5205 | -45336.848 | 697003.3362 | -2416431 |
| Story10 | PF4WCC | Top | 60297.2945 | -1033.6335 | -1453.3185 | -56586.8751 | 845824.4695 | -2955593 |
| Story10 | PF4WCC | Bottom | 63404.4057 | -1033.6335 | -1453.3185 | -56586.8751 | 894784.1364 | -3110929 |
| Story9 | PF4WCC | Top | 76957.5676 | -1194.1456 | -1839.8109 | -69745.4414 | 1073821 | -3693437 |
| Story9 | PF4WCC | Bottom | 81553.4739 | -1194.1456 | -1839.8109 | -69745.4414 | 1142108 | -3883227 |
| Story8 | PF4WCC | Top | 95549.4954 | -1349.5629 | -2214.0359 | -82486.3469 | 1326090 | -4469727 |
| Story8 | PF4WCC | Bottom | 99877.3667 | -1349.5629 | -2214.0359 | -82486.3469 | 1390664 | -4644863 |
| Story7 | PF4WCC | Top | 114030.1011 | -1494.7763 | -2572.5232 | -95047.4248 | 1576951 | -5247774 |
| Story7 | PF4WCC | Bottom | 118507.5373 | -1494.7763 | -2572.5232 | -95047.4248 | 1644502 | -5434346 |
| Story6 | PF4WCC | Top | 135209.0826 | -1639.4064 | -2981.8341 | -111056 | 1872086 | -6195897 |
| Story6 | PF4WCC | Bottom | 141425.5926 | -1639.4064 | -2981.8341 | -111056 | 1967184 | -6484623 |
| Story5 | PF4WCC | Top | 158531.6029 | -1776.7946 | -3392.7698 | -126313 | 2193729 | -7231446 |
| Story5 | PF4WCC | Bottom | 164492.2984 | -1776.7946 | -3392.7698 | -126313 | 2284614 | -7496347 |
| Story4 | PF4WCC | Top | 181728.0169 | -1904.2479 | -3773.9897 | -140467 | 2512456 | -8251707 |
| Story4 | PF4WCC | Bottom | 187670.2984 | -1904.2479 | -3773.9897 | -140467 | 2604158 | -8516387 |
| Story3 | PF4WCC | Top | 206210.9876 | -2030.6253 | -4151.9916 | -154502 | 2856061 | -9366338 |
| Story3 | PF4WCC | Bottom | 212794.2813 | -2030.6253 | -4151.9916 | -154502 | 2957990 | -9669340 |
| Story2 | PF4WCC | Top | 233213.0148 | -2185.8615 | -4616.3118 | -171741 | 3232579 | -10470732 |
| Story2 | PF4WCC | Bottom | 244729.991 | -2185.8615 | -4616.3118 | -171741 | 3420610 | -11012939 |
| UPPER ROOF | PF4WCD1 | Top | 636.8972 | -20.7635 | -41.688 | -1844.0854 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WCD1 | Bottom | 1288.7447 | -20.7635 | -41.688 | -1844.0854 | 19579.2877 | -64172.0841 |
| PENTHOUSE | PF4WCD1 | Top | 6809.36 | -160.9185 | -206.2552 | -9262.8719 | 98644.247 | -343994 |
| PENTHOUSE | PF4WCD1 | Bottom | 9190.127 | -160.9185 | -206.2552 | -9262.8719 | 133331.7384 | -462162 |
| Story14 | PF4WCD1 | Top | 15816.2661 | -297.3405 | -366.8378 | -16659.0213 | 225911.9256 | -799507 |
| Story14 | PF4WCD1 | Bottom | 18171.3786 | -297.3405 | -366.8378 | -16659.0213 | 261670.4336 | -917987 |
| Story13 | PF4WCD1 | Top | 24628.0095 | -421.8752 | -518.1062 | -23608.2706 | 350010.5629 | -1243931 |
| Story13 | PF4WCD1 | Bottom | 26858.652 | -421.8752 | -518.1062 | -23608.2706 | 383931.1268 | -1356171 |
| Story12 | PF4WCD1 | Top | 35334.7489 | -541.073 | -698.0758 | -31622.8592 | 496178.5124 | -1747268 |
| Story12 | PF4WCD1 | Bottom | 37790.3801 | -541.073 | -698.0758 | -31622.8592 | 534071.1161 | -1866419 |
| Story11 | PF4WCD1 | Top | 46825.4848 | -658.8989 | -883.1404 | -40110.7297 | 654782.0158 | -2288404 |
| Story11 | PF4WCD1 | Bottom | 49355.4786 | -658.8989 | -883.1404 | -40110.7297 | 694219.3095 | -2414279 |
| Story10 | PF4WCD1 | Top | 60297.2945 | -775.2252 | -1089.9889 | -50239.7112 | 843040.4429 | -2953442 |
| Story10 | PF4WCD1 | Bottom | 63404.4057 | -775.2252 | -1089.9889 | -50239.7112 | 890891.9543 | -3107990 |
| Story9 | PF4WCD1 | Top | 76957.5676 | -895.6092 | -1379.8582 | -62967.7534 | 1069929 | -3690498 |
| Story9 | PF4WCD1 | Bottom | 81553.4739 | -895.6092 | -1379.8582 | -62967.7534 | 1136721 | -3879318 |
| Story8 | PF4WCD1 | Top | 95549.4954 | -1012.1722 | -1660.5269 | -75291.7998 | 1320703 | -4465818 |
| Story8 | PF4WCD1 | Bottom | 99877.3667 | -1012.1722 | -1660.5269 | -75291.7998 | 1383644 | -4639958 |
| Story7 | PF4WCD1 | Top | 114030.1011 | -1121.0822 | -1929.3924 | -87412.0774 | 1569931 | -5242869 |
| Story7 | PF4WCD1 | Bottom | 118507.5373 | -1121.0822 | -1929.3924 | -87412.0774 | 1635585 | -5428339 |
| Story6 | PF4WCD1 | Top | 135209.0826 | -1229.5548 | -2236.3756 | -102833 | 1863169 | -6189890 |
| Story6 | PF4WCD1 | Bottom | 141425.5926 | -1229.5548 | -2236.3756 | -102833 | 1955994 | -6477366 |
| Story5 | PF4WCD1 | Top | 158531.6029 | -1332.5959 | -2544.5773 | -117857 | 2182538 | -7224189 |
| Story5 | PF4WCD1 | Bottom | 164492.2984 | -1332.5959 | -2544.5773 | -117857 | 2271057 | -7487851 |
| Story4 | PF4WCD1 | Top | 181728.0169 | -1428.1859 | -2830.4922 | -131794 | 2498899 | -8243210 |
| Story4 | PF4WCD1 | Bottom | 187670.2984 | -1428.1859 | -2830.4922 | -131794 | 2587969 | -8506563 |
| Story3 | PF4WCD1 | Top | 206210.9876 | -1522.969 | -3113.9937 | -145613 | 2839871 | -9356513 |
| Story3 | PF4WCD1 | Bottom | 212794.2813 | -1522.969 | -3113.9937 | -145613 | 2938739 | -9658017 |
| Story2 | PF4WCD1 | Top | 233213.0148 | -1639.3962 | -3462.2338 | -162588 | 3213327 | -10459409 |
| Story2 | PF4WCD1 | Bottom | 244729.991 | -1639.3962 | -3462.2338 | -162588 | 3396454 | -10999294 |
| UPPER ROOF | PF4WCD2 | Top | 636.8972 | -20.7635 | -41.688 | -1675.6392 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WCD2 | Bottom | 1288.7447 | -20.7635 | -41.688 | -1675.6392 | 19579.2877 | -64172.0841 |
| PENTHOUSE | PF4WCD2 | Top | 6809.36 | -160.9185 | -206.2552 | -7060.7682 | 98644.247 | -343994 |
| PENTHOUSE | PF4WCD2 | Bottom | 9190.127 | -160.9185 | -206.2552 | -7060.7682 | 133331.7384 | -462162 |
| Story14 | PF4WCD2 | Top | 15816.2661 | -297.3405 | -366.8378 | -12182.8766 | 225911.9256 | -799507 |
| Story14 | PF4WCD2 | Bottom | 18171.3786 | -297.3405 | -366.8378 | -12182.8766 | 261670.4336 | -917987 |
| Story13 | PF4WCD2 | Top | 24628.0095 | -421.8752 | -518.1062 | -16978.0491 | 350010.5629 | -1243931 |
| Story13 | PF4WCD2 | Bottom | 26858.652 | -421.8752 | -518.1062 | -16978.0491 | 383931.1268 | -1356171 |
| Story12 | PF4WCD2 | Top | 35334.7489 | -541.073 | -698.0758 | -22261.0646 | 496178.5124 | -1747268 |
| Story12 | PF4WCD2 | Bottom | 37790.3801 | -541.073 | -698.0758 | -22261.0646 | 534071.1161 | -1866419 |
| Story11 | PF4WCD2 | Top | 46825.4848 | -658.8989 | -883.1404 | -27894.5424 | 654782.0158 | -2288404 |
| Story11 | PF4WCD2 | Bottom | 49355.4786 | -658.8989 | -883.1404 | -27894.5424 | 694219.3095 | -2414279 |
| Story10 | PF4WCD2 | Top | 60297.2945 | -775.2252 | -1089.9889 | -34640.6014 | 843040.4429 | -2953442 |
| Story10 | PF4WCD2 | Bottom | 63404.4057 | -775.2252 | -1089.9889 | -34640.6014 | 890891.9543 | -3107990 |
| Story9 | PF4WCD2 | Top | 76957.5676 | -895.6092 | -1379.8582 | -41650.4087 | 1069929 | -3690498 |
| Story9 | PF4WCD2 | Bottom | 81553.4739 | -895.6092 | -1379.8582 | -41650.4087 | 1136721 | -3879318 |
| Story8 | PF4WCD2 | Top | 95549.4954 | -1012.1722 | -1660.5269 | -48437.7206 | 1320703 | -4465818 |
| Story8 | PF4WCD2 | Bottom | 99877.3667 | -1012.1722 | -1660.5269 | -48437.7206 | 1383644 | -4639958 |
| Story7 | PF4WCD2 | Top | 114030.1011 | -1121.0822 | -1929.3924 | -55159.0597 | 1569931 | -5242869 |
| Story7 | PF4WCD2 | Bottom | 118507.5373 | -1121.0822 | -1929.3924 | -55159.0597 | 1635585 | -5428339 |
| Story6 | PF4WCD2 | Top | 135209.0826 | -1229.5548 | -2236.3756 | -63751.4934 | 1863169 | -6189890 |
| Story6 | PF4WCD2 | Bottom | 141425.5926 | -1229.5548 | -2236.3756 | -63751.4934 | 1955994 | -6477366 |
| Story5 | PF4WCD2 | Top | 158531.6029 | -1332.5959 | -2544.5773 | -71613.6175 | 2182538 | -7224189 |
| Story5 | PF4WCD2 | Bottom | 164492.2984 | -1332.5959 | -2544.5773 | -71613.6175 | 2271057 | -7487851 |
| Story4 | PF4WCD2 | Top | 181728.0169 | -1428.1859 | -2830.4922 | -78907.213 | 2498899 | -8243210 |
| Story4 | PF4WCD2 | Bottom | 187670.2984 | -1428.1859 | -2830.4922 | -78907.213 | 2587969 | -8506563 |
| Story3 | PF4WCD2 | Top | 206210.9876 | -1522.969 | -3113.9937 | -86139.2422 | 2839871 | -9356513 |
| Story3 | PF4WCD2 | Bottom | 212794.2813 | -1522.969 | -3113.9937 | -86139.2422 | 2938739 | -9658017 |
| Story2 | PF4WCD2 | Top | 233213.0148 | -1639.3962 | -3462.2338 | -95022.7324 | 3213327 | -10459409 |
| Story2 | PF4WCD2 | Bottom | 244729.991 | -1639.3962 | -3462.2338 | -95022.7324 | 3396454 | -10999294 |
| UPPER ROOF | PF4WX | Top | 636.8972 | -36.9129 | 0 | 526.9323 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WX | Bottom | 1288.7447 | -36.9129 | 0 | 526.9323 | 19397.9449 | -64242.334 |
| PENTHOUSE | PF4WX | Top | 6809.36 | -286.0773 | 0 | 4015.2332 | 98462.9041 | -344065 |
| PENTHOUSE | PF4WX | Bottom | 9190.127 | -286.0773 | 0 | 4015.2332 | 132434.6899 | -462667 |
| Story14 | PF4WX | Top | 15816.2661 | -528.6053 | 0 | 7404.5625 | 225014.8772 | -800011 |
| Story14 | PF4WX | Bottom | 18171.3786 | -528.6053 | 0 | 7404.5625 | 259581.1622 | -919243 |
| Story13 | PF4WX | Top | 24628.0095 | -750.0003 | 0 | 10498.5573 | 347921.2915 | -1245187 |
| Story13 | PF4WX | Bottom | 26858.652 | -750.0003 | 0 | 10498.5573 | 380313.442 | -1358395 |
| Story12 | PF4WX | Top | 35334.7489 | -961.9075 | 0 | 13459.9609 | 492560.8275 | -1749492 |
| Story12 | PF4WX | Bottom | 37790.3801 | -961.9075 | 0 | 13459.9609 | 528324.3002 | -1869927 |
| Story11 | PF4WX | Top | 46825.4848 | -1171.3758 | 0 | 16387.2796 | 649035.1999 | -2291912 |
| Story11 | PF4WX | Bottom | 49355.4786 | -1171.3758 | 0 | 16387.2796 | 685867.2295 | -2419299 |
| Story10 | PF4WX | Top | 60297.2945 | -1378.1781 | 0 | 19277.3412 | 834688.3628 | -2958462 |
| Story10 | PF4WX | Bottom | 63404.4057 | -1378.1781 | 0 | 19277.3412 | 879215.4081 | -3114848 |
| Story9 | PF4WX | Top | 76957.5676 | -1592.1942 | 0 | 22268.2163 | 1058252 | -3697356 |
| Story9 | PF4WX | Bottom | 81553.4739 | -1592.1942 | 0 | 22268.2163 | 1120560 | -3888440 |
| Story8 | PF4WX | Top | 95549.4954 | -1799.4173 | 0 | 25164.1592 | 1304542 | -4474940 |
| Story8 | PF4WX | Bottom | 99877.3667 | -1799.4173 | 0 | 25164.1592 | 1362584 | -4651403 |
| Story7 | PF4WX | Top | 114030.1011 | -1993.0351 | 0 | 27869.9679 | 1548871 | -5254314 |
| Story7 | PF4WX | Bottom | 118507.5373 | -1993.0351 | 0 | 27869.9679 | 1608833 | -5442356 |
| Story6 | PF4WX | Top | 135209.0826 | -2185.8752 | 0 | 30564.9088 | 1836418 | -6203907 |
| Story6 | PF4WX | Bottom | 141425.5926 | -2185.8752 | 0 | 30564.9088 | 1922421 | -6494300 |
| Story5 | PF4WX | Top | 158531.6029 | -2369.0594 | 0 | 33124.9083 | 2148966 | -7241123 |
| Story5 | PF4WX | Bottom | 164492.2984 | -2369.0594 | 0 | 33124.9083 | 2230385 | -7507676 |
| Story4 | PF4WX | Top | 181728.0169 | -2538.9972 | 0 | 35499.7882 | 2458227 | -8263036 |
| Story4 | PF4WX | Bottom | 187670.2984 | -2538.9972 | 0 | 35499.7882 | 2539400 | -8529487 |
| Story3 | PF4WX | Top | 206210.9876 | -2707.5004 | 0 | 37854.6214 | 2791303 | -9379438 |
| Story3 | PF4WX | Bottom | 212794.2813 | -2707.5004 | 0 | 37854.6214 | 2880984 | -9684437 |
| Story2 | PF4WX | Top | 233213.0148 | -2914.482 | 0 | 40747.1896 | 3155572 | -10485828 |
| Story2 | PF4WX | Bottom | 244729.991 | -2914.482 | 0 | 40747.1896 | 3323984 | -11031132 |
| UPPER ROOF | PF4WXB1 | Top | 636.8972 | -27.6847 | 0 | 372.8784 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WXB1 | Bottom | 1288.7447 | -27.6847 | 0 | 372.8784 | 19397.9449 | -64202.1912 |
| PENTHOUSE | PF4WXB1 | Top | 6809.36 | -214.558 | 0 | 2419.1407 | 98462.9041 | -344025 |
| PENTHOUSE | PF4WXB1 | Bottom | 9190.127 | -214.558 | 0 | 2419.1407 | 132434.6899 | -462379 |
| Story14 | PF4WXB1 | Top | 15816.2661 | -396.454 | 0 | 4325.6384 | 225014.8772 | -799723 |
| Story14 | PF4WXB1 | Bottom | 18171.3786 | -396.454 | 0 | 4325.6384 | 259581.1622 | -918525 |
| Story13 | PF4WXB1 | Top | 24628.0095 | -562.5002 | 0 | 6066.0105 | 347921.2915 | -1244469 |
| Story13 | PF4WXB1 | Bottom | 26858.652 | -562.5002 | 0 | 6066.0105 | 380313.442 | -1357125 |
| Story12 | PF4WXB1 | Top | 35334.7489 | -721.4307 | 0 | 7731.8 | 492560.8275 | -1748221 |
| Story12 | PF4WXB1 | Bottom | 37790.3801 | -721.4307 | 0 | 7731.8 | 528324.3002 | -1867923 |
| Story11 | PF4WXB1 | Top | 46825.4848 | -878.5318 | 0 | 9378.4167 | 649035.1999 | -2289907 |
| Story11 | PF4WXB1 | Bottom | 49355.4786 | -878.5318 | 0 | 9378.4167 | 685867.2295 | -2416431 |
| Story10 | PF4WXB1 | Top | 60297.2945 | -1033.6335 | 0 | 11004.0764 | 834688.3628 | -2955593 |
| Story10 | PF4WXB1 | Bottom | 63404.4057 | -1033.6335 | 0 | 11004.0764 | 879215.4081 | -3110929 |
| Story9 | PF4WXB1 | Top | 76957.5676 | -1194.1456 | 0 | 12686.4437 | 1058252 | -3693437 |
| Story9 | PF4WXB1 | Bottom | 81553.4739 | -1194.1456 | 0 | 12686.4437 | 1120560 | -3883227 |
| Story8 | PF4WXB1 | Top | 95549.4954 | -1349.5629 | 0 | 14315.4115 | 1304542 | -4469727 |
| Story8 | PF4WXB1 | Bottom | 99877.3667 | -1349.5629 | 0 | 14315.4115 | 1362584 | -4644863 |
| Story7 | PF4WXB1 | Top | 114030.1011 | -1494.7763 | 0 | 15837.4289 | 1548871 | -5247774 |
| Story7 | PF4WXB1 | Bottom | 118507.5373 | -1494.7763 | 0 | 15837.4289 | 1608833 | -5434346 |
| Story6 | PF4WXB1 | Top | 135209.0826 | -1639.4064 | 0 | 17353.3332 | 1836418 | -6195897 |
| Story6 | PF4WXB1 | Bottom | 141425.5926 | -1639.4064 | 0 | 17353.3332 | 1922421 | -6484623 |
| Story5 | PF4WXB1 | Top | 158531.6029 | -1776.7946 | 0 | 18793.3329 | 2148966 | -7231446 |
| Story5 | PF4WXB1 | Bottom | 164492.2984 | -1776.7946 | 0 | 18793.3329 | 2230385 | -7496347 |
| Story4 | PF4WXB1 | Top | 181728.0169 | -1904.2479 | 0 | 20129.2028 | 2458227 | -8251707 |
| Story4 | PF4WXB1 | Bottom | 187670.2984 | -1904.2479 | 0 | 20129.2028 | 2539400 | -8516387 |
| Story3 | PF4WXB1 | Top | 206210.9876 | -2030.6253 | 0 | 21453.7965 | 2791303 | -9366338 |
| Story3 | PF4WXB1 | Bottom | 212794.2813 | -2030.6253 | 0 | 21453.7965 | 2880984 | -9669340 |
| Story2 | PF4WXB1 | Top | 233213.0148 | -2185.8615 | 0 | 23080.8661 | 3155572 | -10470732 |
| Story2 | PF4WXB1 | Bottom | 244729.991 | -2185.8615 | 0 | 23080.8661 | 3323984 | -11012939 |
| UPPER ROOF | PF4WXB2 | Top | 636.8972 | -27.6847 | 0 | 417.52 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WXB2 | Bottom | 1288.7447 | -27.6847 | 0 | 417.52 | 19397.9449 | -64202.1912 |
| PENTHOUSE | PF4WXB2 | Top | 6809.36 | -214.558 | 0 | 3603.7092 | 98462.9041 | -344025 |
| PENTHOUSE | PF4WXB2 | Bottom | 9190.127 | -214.558 | 0 | 3603.7092 | 132434.6899 | -462379 |
| Story14 | PF4WXB2 | Top | 15816.2661 | -396.454 | 0 | 6781.2054 | 225014.8772 | -799723 |
| Story14 | PF4WXB2 | Bottom | 18171.3786 | -396.454 | 0 | 6781.2054 | 259581.1622 | -918525 |
| Story13 | PF4WXB2 | Top | 24628.0095 | -562.5002 | 0 | 9681.8255 | 347921.2915 | -1244469 |
| Story13 | PF4WXB2 | Bottom | 26858.652 | -562.5002 | 0 | 9681.8255 | 380313.442 | -1357125 |
| Story12 | PF4WXB2 | Top | 35334.7489 | -721.4307 | 0 | 12458.1414 | 492560.8275 | -1748221 |
| Story12 | PF4WXB2 | Bottom | 37790.3801 | -721.4307 | 0 | 12458.1414 | 528324.3002 | -1867923 |
| Story11 | PF4WXB2 | Top | 46825.4848 | -878.5318 | 0 | 15202.5026 | 649035.1999 | -2289907 |
| Story11 | PF4WXB2 | Bottom | 49355.4786 | -878.5318 | 0 | 15202.5026 | 685867.2295 | -2416431 |
| Story10 | PF4WXB2 | Top | 60297.2945 | -1033.6335 | 0 | 17911.9354 | 834688.3628 | -2955593 |
| Story10 | PF4WXB2 | Bottom | 63404.4057 | -1033.6335 | 0 | 17911.9354 | 879215.4081 | -3110929 |
| Story9 | PF4WXB2 | Top | 76957.5676 | -1194.1456 | 0 | 20715.8808 | 1058252 | -3693437 |
| Story9 | PF4WXB2 | Bottom | 81553.4739 | -1194.1456 | 0 | 20715.8808 | 1120560 | -3883227 |
| Story8 | PF4WXB2 | Top | 95549.4954 | -1349.5629 | 0 | 23430.8273 | 1304542 | -4469727 |
| Story8 | PF4WXB2 | Bottom | 99877.3667 | -1349.5629 | 0 | 23430.8273 | 1362584 | -4644863 |
| Story7 | PF4WXB2 | Top | 114030.1011 | -1494.7763 | 0 | 25967.5229 | 1548871 | -5247774 |
| Story7 | PF4WXB2 | Bottom | 118507.5373 | -1494.7763 | 0 | 25967.5229 | 1608833 | -5434346 |
| Story6 | PF4WXB2 | Top | 135209.0826 | -1639.4064 | 0 | 28494.03 | 1836418 | -6195897 |
| Story6 | PF4WXB2 | Bottom | 141425.5926 | -1639.4064 | 0 | 28494.03 | 1922421 | -6484623 |
| Story5 | PF4WXB2 | Top | 158531.6029 | -1776.7946 | 0 | 30894.0295 | 2148966 | -7231446 |
| Story5 | PF4WXB2 | Bottom | 164492.2984 | -1776.7946 | 0 | 30894.0295 | 2230385 | -7496347 |
| Story4 | PF4WXB2 | Top | 181728.0169 | -1904.2479 | 0 | 33120.4794 | 2458227 | -8251707 |
| Story4 | PF4WXB2 | Bottom | 187670.2984 | -1904.2479 | 0 | 33120.4794 | 2539400 | -8516387 |
| Story3 | PF4WXB2 | Top | 206210.9876 | -2030.6253 | 0 | 35328.1356 | 2791303 | -9366338 |
| Story3 | PF4WXB2 | Bottom | 212794.2813 | -2030.6253 | 0 | 35328.1356 | 2880984 | -9669340 |
| Story2 | PF4WXB2 | Top | 233213.0148 | -2185.8615 | 0 | 38039.9182 | 3155572 | -10470732 |
| Story2 | PF4WXB2 | Bottom | 244729.991 | -2185.8615 | 0 | 38039.9182 | 3323984 | -11012939 |
| UPPER ROOF | PF4WY | Top | 636.8972 | 0 | -74.112 | -3655.5763 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WY | Bottom | 1288.7447 | 0 | -74.112 | -3655.5763 | 19720.3322 | -64081.7627 |
| PENTHOUSE | PF4WY | Top | 6809.36 | 0 | -366.6759 | -18525.1355 | 98785.2915 | -343904 |
| PENTHOUSE | PF4WY | Bottom | 9190.127 | 0 | -366.6759 | -18525.1355 | 134029.4427 | -461514 |
| Story14 | PF4WY | Top | 15816.2661 | 0 | -652.1561 | -33041.8051 | 226609.63 | -798858 |
| Story14 | PF4WY | Bottom | 18171.3786 | 0 | -652.1561 | -33041.8051 | 263295.4225 | -916372 |
| Story13 | PF4WY | Top | 24628.0095 | 0 | -921.0778 | -46575.286 | 351635.5517 | -1242316 |
| Story13 | PF4WY | Bottom | 26858.652 | 0 | -921.0778 | -46575.286 | 386744.8817 | -1353312 |
| Story12 | PF4WY | Top | 35334.7489 | 0 | -1241.0236 | -61356.782 | 498992.2673 | -1744408 |
| Story12 | PF4WY | Bottom | 37790.3801 | 0 | -1241.0236 | -61356.782 | 538540.8619 | -1861910 |
| Story11 | PF4WY | Top | 46825.4848 | 0 | -1570.0274 | -76836.4103 | 659251.7615 | -2283894 |
| Story11 | PF4WY | Bottom | 49355.4786 | 0 | -1570.0274 | -76836.4103 | 700715.3718 | -2407826 |
| Story10 | PF4WY | Top | 60297.2945 | 0 | -1937.758 | -94726.508 | 849536.5051 | -2946989 |
| Story10 | PF4WY | Bottom | 63404.4057 | 0 | -1937.758 | -94726.508 | 899973.7125 | -3099172 |
| Story9 | PF4WY | Top | 76957.5676 | 0 | -2453.0813 | -115262 | 1079010 | -3681680 |
| Story9 | PF4WY | Bottom | 81553.4739 | 0 | -2453.0813 | -115262 | 1149291 | -3867589 |
| Story8 | PF4WY | Top | 95549.4954 | 0 | -2952.0478 | -135146 | 1333272 | -4454089 |
| Story8 | PF4WY | Bottom | 99877.3667 | 0 | -2952.0478 | -135146 | 1400023 | -4625244 |
| Story7 | PF4WY | Top | 114030.1011 | 0 | -3430.0309 | -154600 | 1586311 | -5228154 |
| Story7 | PF4WY | Bottom | 118507.5373 | 0 | -3430.0309 | -154600 | 1656391 | -5410317 |
| Story6 | PF4WY | Top | 135209.0826 | 0 | -3975.7788 | -178640 | 1883976 | -6171868 |
| Story6 | PF4WY | Bottom | 141425.5926 | 0 | -3975.7788 | -178640 | 1982106 | -6455594 |
| Story5 | PF4WY | Top | 158531.6029 | 0 | -4523.693 | -201543 | 2208650 | -7202417 |
| Story5 | PF4WY | Bottom | 164492.2984 | 0 | -4523.693 | -201543 | 2302690 | -7462361 |
| Story4 | PF4WY | Top | 181728.0169 | 0 | -5031.9862 | -222790 | 2530532 | -8217720 |
| Story4 | PF4WY | Bottom | 187670.2984 | 0 | -5031.9862 | -222790 | 2625744 | -8477088 |
| Story3 | PF4WY | Top | 206210.9876 | 0 | -5535.9888 | -243857 | 2877647 | -9327039 |
| Story3 | PF4WY | Bottom | 212794.2813 | 0 | -5535.9888 | -243857 | 2983659 | -9624050 |
| Story2 | PF4WY | Top | 233213.0148 | 0 | -6155.0824 | -269735 | 3258247 | -10425442 |
| Story2 | PF4WY | Bottom | 244729.991 | 0 | -6155.0824 | -269735 | 3452819 | -10958359 |
| UPPER ROOF | PF4WYB1 | Top | 636.8972 | 0 | -55.584 | -2651.7056 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WYB1 | Bottom | 1288.7447 | 0 | -55.584 | -2651.7056 | 19639.7354 | -64081.7627 |
| PENTHOUSE | PF4WYB1 | Top | 6809.36 | 0 | -275.0069 | -13018.0667 | 98704.6947 | -343904 |
| PENTHOUSE | PF4WYB1 | Bottom | 9190.127 | 0 | -275.0069 | -13018.0667 | 133630.7545 | -461514 |
| Story14 | PF4WYB1 | Top | 15816.2661 | 0 | -489.1171 | -23025.0408 | 226210.9418 | -798858 |
| Story14 | PF4WYB1 | Bottom | 18171.3786 | 0 | -489.1171 | -23025.0408 | 262366.8574 | -916372 |
| Story13 | PF4WYB1 | Top | 24628.0095 | 0 | -690.8083 | -32319.2244 | 350706.9867 | -1242316 |
| Story13 | PF4WYB1 | Bottom | 26858.652 | 0 | -690.8083 | -32319.2244 | 385137.0217 | -1353312 |
| Story12 | PF4WYB1 | Top | 35334.7489 | 0 | -930.7677 | -42139.5608 | 497384.4073 | -1744408 |
| Story12 | PF4WYB1 | Bottom | 37790.3801 | 0 | -930.7677 | -42139.5608 | 535986.7214 | -1861910 |
| Story11 | PF4WYB1 | Top | 46825.4848 | 0 | -1177.5205 | -52395.2258 | 656697.6211 | -2283894 |
| Story11 | PF4WYB1 | Bottom | 49355.4786 | 0 | -1177.5205 | -52395.2258 | 697003.3362 | -2407826 |
| Story10 | PF4WYB1 | Top | 60297.2945 | 0 | -1453.3185 | -64099.4039 | 845824.4695 | -2946989 |
| Story10 | PF4WYB1 | Bottom | 63404.4057 | 0 | -1453.3185 | -64099.4039 | 894784.1364 | -3099172 |
| Story9 | PF4WYB1 | Top | 76957.5676 | 0 | -1839.8109 | -76249.7591 | 1073821 | -3681680 |
| Story9 | PF4WYB1 | Bottom | 81553.4739 | 0 | -1839.8109 | -76249.7591 | 1142108 | -3867589 |
| Story8 | PF4WYB1 | Top | 95549.4954 | 0 | -2214.0359 | -88014.4548 | 1326090 | -4454089 |
| Story8 | PF4WYB1 | Bottom | 99877.3667 | 0 | -2214.0359 | -88014.4548 | 1390664 | -4625244 |
| Story7 | PF4WYB1 | Top | 114030.1011 | 0 | -2572.5232 | -99512.9359 | 1576951 | -5228154 |
| Story7 | PF4WYB1 | Bottom | 118507.5373 | 0 | -2572.5232 | -99512.9359 | 1644502 | -5410317 |
| Story6 | PF4WYB1 | Top | 135209.0826 | 0 | -2981.8341 | -113496 | 1872086 | -6171868 |
| Story6 | PF4WYB1 | Bottom | 141425.5926 | 0 | -2981.8341 | -113496 | 1967184 | -6455594 |
| Story5 | PF4WYB1 | Top | 158531.6029 | 0 | -3392.7698 | -126379 | 2193729 | -7202417 |
| Story5 | PF4WYB1 | Bottom | 164492.2984 | 0 | -3392.7698 | -126379 | 2284614 | -7462361 |
| Story4 | PF4WYB1 | Top | 181728.0169 | 0 | -3773.9897 | -138330 | 2512456 | -8217720 |
| Story4 | PF4WYB1 | Bottom | 187670.2984 | 0 | -3773.9897 | -138330 | 2604158 | -8477088 |
| Story3 | PF4WYB1 | Top | 206210.9876 | 0 | -4151.9916 | -150180 | 2856061 | -9327039 |
| Story3 | PF4WYB1 | Bottom | 212794.2813 | 0 | -4151.9916 | -150180 | 2957990 | -9624050 |
| Story2 | PF4WYB1 | Top | 233213.0148 | 0 | -4616.3118 | -164737 | 3232579 | -10425442 |
| Story2 | PF4WYB1 | Bottom | 244729.991 | 0 | -4616.3118 | -164737 | 3420610 | -10958359 |
| UPPER ROOF | PF4WYB2 | Top | 636.8972 | 0 | -55.584 | -2831.6589 | 9091.7074 | -31414.9538 |
| UPPER ROOF | PF4WYB2 | Bottom | 1288.7447 | 0 | -55.584 | -2831.6589 | 19639.7354 | -64081.7627 |
| PENTHOUSE | PF4WYB2 | Top | 6809.36 | 0 | -275.0069 | -14769.6366 | 98704.6947 | -343904 |
| PENTHOUSE | PF4WYB2 | Bottom | 9190.127 | 0 | -275.0069 | -14769.6366 | 133630.7545 | -461514 |
| Story14 | PF4WYB2 | Top | 15816.2661 | 0 | -489.1171 | -26537.6669 | 226210.9418 | -798858 |
| Story14 | PF4WYB2 | Bottom | 18171.3786 | 0 | -489.1171 | -26537.6669 | 262366.8574 | -916372 |
| Story13 | PF4WYB2 | Top | 24628.0095 | 0 | -690.8083 | -37543.7047 | 350706.9867 | -1242316 |
| Story13 | PF4WYB2 | Bottom | 26858.652 | 0 | -690.8083 | -37543.7047 | 385137.0217 | -1353312 |
| Story12 | PF4WYB2 | Top | 35334.7489 | 0 | -930.7677 | -49895.6123 | 497384.4073 | -1744408 |
| Story12 | PF4WYB2 | Bottom | 37790.3801 | 0 | -930.7677 | -49895.6123 | 535986.7214 | -1861910 |
| Story11 | PF4WYB2 | Top | 46825.4848 | 0 | -1177.5205 | -62859.3897 | 656697.6211 | -2283894 |
| Story11 | PF4WYB2 | Bottom | 49355.4786 | 0 | -1177.5205 | -62859.3897 | 697003.3362 | -2407826 |
| Story10 | PF4WYB2 | Top | 60297.2945 | 0 | -1453.3185 | -77990.3581 | 845824.4695 | -2946989 |
| Story10 | PF4WYB2 | Bottom | 63404.4057 | 0 | -1453.3185 | -77990.3581 | 894784.1364 | -3099172 |
| Story9 | PF4WYB2 | Top | 76957.5676 | 0 | -1839.8109 | -96643.4482 | 1073821 | -3681680 |
| Story9 | PF4WYB2 | Bottom | 81553.4739 | 0 | -1839.8109 | -96643.4482 | 1142108 | -3867589 |
| Story8 | PF4WYB2 | Top | 95549.4954 | 0 | -2214.0359 | -114704 | 1326090 | -4454089 |
| Story8 | PF4WYB2 | Bottom | 99877.3667 | 0 | -2214.0359 | -114704 | 1390664 | -4625244 |
| Story7 | PF4WYB2 | Top | 114030.1011 | 0 | -2572.5232 | -132387 | 1576951 | -5228154 |
| Story7 | PF4WYB2 | Bottom | 118507.5373 | 0 | -2572.5232 | -132387 | 1644502 | -5410317 |
| Story6 | PF4WYB2 | Top | 135209.0826 | 0 | -2981.8341 | -154464 | 1872086 | -6171868 |
| Story6 | PF4WYB2 | Bottom | 141425.5926 | 0 | -2981.8341 | -154464 | 1967184 | -6455594 |
| Story5 | PF4WYB2 | Top | 158531.6029 | 0 | -3392.7698 | -175935 | 2193729 | -7202417 |
| Story5 | PF4WYB2 | Bottom | 164492.2984 | 0 | -3392.7698 | -175935 | 2284614 | -7462361 |
| Story4 | PF4WYB2 | Top | 181728.0169 | 0 | -3773.9897 | -195854 | 2512456 | -8217720 |
| Story4 | PF4WYB2 | Bottom | 187670.2984 | 0 | -3773.9897 | -195854 | 2604158 | -8477088 |
| Story3 | PF4WYB2 | Top | 206210.9876 | 0 | -4151.9916 | -215605 | 2856061 | -9327039 |
| Story3 | PF4WYB2 | Bottom | 212794.2813 | 0 | -4151.9916 | -215605 | 2957990 | -9624050 |
| Story2 | PF4WYB2 | Top | 233213.0148 | 0 | -4616.3118 | -239866 | 3232579 | -10425442 |
| Story2 | PF4WYB2 | Bottom | 244729.991 | 0 | -4616.3118 | -239866 | 3420610 | -10958359 |
| UPPER ROOF | PFEQ1X | Top | 509.5177 | -98.9751 | 0 | 1469.1475 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1X | Bottom | 1030.9957 | -98.9751 | 0 | 1469.1475 | 15518.3559 | -51695.9519 |
| PENTHOUSE | PFEQ1X | Top | 5447.488 | -747.6332 | 0 | 10830.0524 | 78770.3233 | -275554 |
| PENTHOUSE | PFEQ1X | Bottom | 7352.1016 | -747.6332 | 0 | 10830.0524 | 105947.7519 | -372236 |
| Story14 | PFEQ1X | Top | 12653.0129 | -1525.0269 | 0 | 21789.4378 | 180011.9017 | -642111 |
| Story14 | PFEQ1X | Bottom | 14537.1029 | -1525.0269 | 0 | 21789.4378 | 207664.9297 | -741079 |
| Story13 | PFEQ1X | Top | 19702.4076 | -2216.5902 | 0 | 31436.0305 | 278337.0332 | -1001834 |
| Story13 | PFEQ1X | Bottom | 21486.9216 | -2216.5902 | 0 | 31436.0305 | 304250.7536 | -1097170 |
| Story12 | PFEQ1X | Top | 28267.7991 | -3005.3233 | 0 | 42123.2319 | 394048.662 | -1410047 |
| Story12 | PFEQ1X | Bottom | 30232.3041 | -3005.3233 | 0 | 42123.2319 | 422659.4402 | -1513214 |
| Story11 | PFEQ1X | Top | 37460.3878 | -3769.4878 | 0 | 52547.5374 | 519228.1599 | -1850802 |
| Story11 | PFEQ1X | Bottom | 39484.3828 | -3769.4878 | 0 | 52547.5374 | 548693.7836 | -1961067 |
| Story10 | PFEQ1X | Top | 48237.8356 | -4597.5529 | 0 | 63963.2195 | 667750.6902 | -2392397 |
| Story10 | PFEQ1X | Bottom | 50723.5246 | -4597.5529 | 0 | 63963.2195 | 703372.3265 | -2528166 |
| Story9 | PFEQ1X | Top | 61566.0541 | -5526.5135 | 0 | 76387.4462 | 846601.6862 | -2994173 |
| Story9 | PFEQ1X | Bottom | 65242.7791 | -5526.5135 | 0 | 76387.4462 | 896448.2785 | -3160861 |
| Story8 | PFEQ1X | Top | 76439.5963 | -6386.0384 | 0 | 87766.9977 | 1043633 | -3630061 |
| Story8 | PFEQ1X | Bottom | 79901.8933 | -6386.0384 | 0 | 87766.9977 | 1090067 | -3785824 |
| Story7 | PFEQ1X | Top | 91224.0808 | -7132.2681 | 0 | 97638.3535 | 1239097 | -4268152 |
| Story7 | PFEQ1X | Bottom | 94806.0298 | -7132.2681 | 0 | 97638.3535 | 1287067 | -4434923 |
| Story6 | PFEQ1X | Top | 108167.2661 | -7882.3745 | 0 | 107887.2924 | 1469134 | -5044163 |
| Story6 | PFEQ1X | Bottom | 113140.4741 | -7882.3745 | 0 | 107887.2924 | 1537937 | -5295185 |
| Story5 | PFEQ1X | Top | 126825.2823 | -8516.955 | 0 | 116381.3006 | 1719173 | -5892644 |
| Story5 | PFEQ1X | Bottom | 131593.8387 | -8516.955 | 0 | 116381.3006 | 1784308 | -6124361 |
| Story4 | PFEQ1X | Top | 145382.4135 | -9012.6772 | 0 | 122994.0814 | 1966582 | -6728649 |
| Story4 | PFEQ1X | Bottom | 150136.2387 | -9012.6772 | 0 | 122994.0814 | 2031520 | -6961288 |
| Story3 | PFEQ1X | Top | 164968.7901 | -9397.7437 | 0 | 128238.5119 | 2233042 | -7641249 |
| Story3 | PFEQ1X | Bottom | 170235.4251 | -9397.7437 | 0 | 128238.5119 | 2304787 | -7906581 |
| Story2 | PFEQ1X | Top | 186570.4118 | -9668.567 | 0 | 131955.0416 | 2524457 | -8547695 |
| Story2 | PFEQ1X | Bottom | 195783.9928 | -9668.567 | 0 | 131955.0416 | 2659187 | -9015120 |
| UPPER ROOF | PFEQ1XMAX | Top | 509.5177 | -98.9751 | 0 | 1405.3085 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1XMAX | Bottom | 1030.9957 | -98.9751 | 0 | 1405.3085 | 15518.3559 | -51695.9519 |
| PENTHOUSE | PFEQ1XMAX | Top | 5447.488 | -747.6332 | 0 | 9183.4877 | 78770.3233 | -275554 |
| PENTHOUSE | PFEQ1XMAX | Bottom | 7352.1016 | -747.6332 | 0 | 9183.4877 | 105947.7519 | -372236 |
| Story14 | PFEQ1XMAX | Top | 12653.0129 | -1525.0269 | 0 | 17970.0577 | 180011.9017 | -642111 |
| Story14 | PFEQ1XMAX | Bottom | 14537.1029 | -1525.0269 | 0 | 17970.0577 | 207664.9297 | -741079 |
| Story13 | PFEQ1XMAX | Top | 19702.4076 | -2216.5902 | 0 | 25683.731 | 278337.0332 | -1001834 |
| Story13 | PFEQ1XMAX | Bottom | 21486.9216 | -2216.5902 | 0 | 25683.731 | 304250.7536 | -1097170 |
| Story12 | PFEQ1XMAX | Top | 28267.7991 | -3005.3233 | 0 | 34166.4233 | 394048.662 | -1410047 |
| Story12 | PFEQ1XMAX | Bottom | 30232.3041 | -3005.3233 | 0 | 34166.4233 | 422659.4402 | -1513214 |
| Story11 | PFEQ1XMAX | Top | 37460.3878 | -3769.4878 | 0 | 42454.8892 | 519228.1599 | -1850802 |
| Story11 | PFEQ1XMAX | Bottom | 39484.3828 | -3769.4878 | 0 | 42454.8892 | 548693.7836 | -1961067 |
| Story10 | PFEQ1XMAX | Top | 48237.8356 | -4597.5529 | 0 | 51556.1292 | 667750.6902 | -2392397 |
| Story10 | PFEQ1XMAX | Bottom | 50723.5246 | -4597.5529 | 0 | 51556.1292 | 703372.3265 | -2528166 |
| Story9 | PFEQ1XMAX | Top | 61566.0541 | -5526.5135 | 0 | 61383.911 | 846601.6862 | -2994173 |
| Story9 | PFEQ1XMAX | Bottom | 65242.7791 | -5526.5135 | 0 | 61383.911 | 896448.2785 | -3160861 |
| Story8 | PFEQ1XMAX | Top | 76439.5963 | -6386.0384 | 0 | 70361.0905 | 1043633 | -3630061 |
| Story8 | PFEQ1XMAX | Bottom | 79901.8933 | -6386.0384 | 0 | 70361.0905 | 1090067 | -3785824 |
| Story7 | PFEQ1XMAX | Top | 91224.0808 | -7132.2681 | 0 | 78146.7342 | 1239097 | -4268152 |
| Story7 | PFEQ1XMAX | Bottom | 94806.0298 | -7132.2681 | 0 | 78146.7342 | 1287067 | -4434923 |
| Story6 | PFEQ1XMAX | Top | 108167.2661 | -7882.3745 | 0 | 86299.1257 | 1469134 | -5044163 |
| Story6 | PFEQ1XMAX | Bottom | 113140.4741 | -7882.3745 | 0 | 86299.1257 | 1537937 | -5295185 |
| Story5 | PFEQ1XMAX | Top | 126825.2823 | -8516.955 | 0 | 93019.4815 | 1719173 | -5892644 |
| Story5 | PFEQ1XMAX | Bottom | 131593.8387 | -8516.955 | 0 | 93019.4815 | 1784308 | -6124361 |
| Story4 | PFEQ1XMAX | Top | 145382.4135 | -9012.6772 | 0 | 98246.7188 | 1966582 | -6728649 |
| Story4 | PFEQ1XMAX | Bottom | 150136.2387 | -9012.6772 | 0 | 98246.7188 | 2031520 | -6961288 |
| Story3 | PFEQ1XMAX | Top | 164968.7901 | -9397.7437 | 0 | 102414.8884 | 2233042 | -7641249 |
| Story3 | PFEQ1XMAX | Bottom | 170235.4251 | -9397.7437 | 0 | 102414.8884 | 2304787 | -7906581 |
| Story2 | PFEQ1XMAX | Top | 186570.4118 | -9668.567 | 0 | 105375.4245 | 2524457 | -8547695 |
| Story2 | PFEQ1XMAX | Bottom | 195783.9928 | -9668.567 | 0 | 105375.4245 | 2659187 | -9015120 |
| UPPER ROOF | PFEQ1XMIN | Top | 509.5177 | -98.9751 | 0 | 1532.9864 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1XMIN | Bottom | 1030.9957 | -98.9751 | 0 | 1532.9864 | 15518.3559 | -51695.9519 |
| PENTHOUSE | PFEQ1XMIN | Top | 5447.488 | -747.6332 | 0 | 12476.6171 | 78770.3233 | -275554 |
| PENTHOUSE | PFEQ1XMIN | Bottom | 7352.1016 | -747.6332 | 0 | 12476.6171 | 105947.7519 | -372236 |
| Story14 | PFEQ1XMIN | Top | 12653.0129 | -1525.0269 | 0 | 25608.8179 | 180011.9017 | -642111 |
| Story14 | PFEQ1XMIN | Bottom | 14537.1029 | -1525.0269 | 0 | 25608.8179 | 207664.9297 | -741079 |
| Story13 | PFEQ1XMIN | Top | 19702.4076 | -2216.5902 | 0 | 37188.3299 | 278337.0332 | -1001834 |
| Story13 | PFEQ1XMIN | Bottom | 21486.9216 | -2216.5902 | 0 | 37188.3299 | 304250.7536 | -1097170 |
| Story12 | PFEQ1XMIN | Top | 28267.7991 | -3005.3233 | 0 | 50080.0405 | 394048.662 | -1410047 |
| Story12 | PFEQ1XMIN | Bottom | 30232.3041 | -3005.3233 | 0 | 50080.0405 | 422659.4402 | -1513214 |
| Story11 | PFEQ1XMIN | Top | 37460.3878 | -3769.4878 | 0 | 62640.1855 | 519228.1599 | -1850802 |
| Story11 | PFEQ1XMIN | Bottom | 39484.3828 | -3769.4878 | 0 | 62640.1855 | 548693.7836 | -1961067 |
| Story10 | PFEQ1XMIN | Top | 48237.8356 | -4597.5529 | 0 | 76370.3098 | 667750.6902 | -2392397 |
| Story10 | PFEQ1XMIN | Bottom | 50723.5246 | -4597.5529 | 0 | 76370.3098 | 703372.3265 | -2528166 |
| Story9 | PFEQ1XMIN | Top | 61566.0541 | -5526.5135 | 0 | 91390.9814 | 846601.6862 | -2994173 |
| Story9 | PFEQ1XMIN | Bottom | 65242.7791 | -5526.5135 | 0 | 91390.9814 | 896448.2785 | -3160861 |
| Story8 | PFEQ1XMIN | Top | 76439.5963 | -6386.0384 | 0 | 105172.9049 | 1043633 | -3630061 |
| Story8 | PFEQ1XMIN | Bottom | 79901.8933 | -6386.0384 | 0 | 105172.9049 | 1090067 | -3785824 |
| Story7 | PFEQ1XMIN | Top | 91224.0808 | -7132.2681 | 0 | 117129.9728 | 1239097 | -4268152 |
| Story7 | PFEQ1XMIN | Bottom | 94806.0298 | -7132.2681 | 0 | 117129.9728 | 1287067 | -4434923 |
| Story6 | PFEQ1XMIN | Top | 108167.2661 | -7882.3745 | 0 | 129475.4591 | 1469134 | -5044163 |
| Story6 | PFEQ1XMIN | Bottom | 113140.4741 | -7882.3745 | 0 | 129475.4591 | 1537937 | -5295185 |
| Story5 | PFEQ1XMIN | Top | 126825.2823 | -8516.955 | 0 | 139743.1198 | 1719173 | -5892644 |
| Story5 | PFEQ1XMIN | Bottom | 131593.8387 | -8516.955 | 0 | 139743.1198 | 1784308 | -6124361 |
| Story4 | PFEQ1XMIN | Top | 145382.4135 | -9012.6772 | 0 | 147741.444 | 1966582 | -6728649 |
| Story4 | PFEQ1XMIN | Bottom | 150136.2387 | -9012.6772 | 0 | 147741.444 | 2031520 | -6961288 |
| Story3 | PFEQ1XMIN | Top | 164968.7901 | -9397.7437 | 0 | 154062.1355 | 2233042 | -7641249 |
| Story3 | PFEQ1XMIN | Bottom | 170235.4251 | -9397.7437 | 0 | 154062.1355 | 2304787 | -7906581 |
| Story2 | PFEQ1XMIN | Top | 186570.4118 | -9668.567 | 0 | 158534.6586 | 2524457 | -8547695 |
| Story2 | PFEQ1XMIN | Bottom | 195783.9928 | -9668.567 | 0 | 158534.6586 | 2659187 | -9015120 |
| UPPER ROOF | PFEQ1Y | Top | 509.5177 | 0 | -111.1294 | -5513.9254 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1Y | Bottom | 1030.9957 | 0 | -111.1294 | -5513.9254 | 16001.7686 | -51265.4102 |
| PENTHOUSE | PFEQ1Y | Top | 5447.488 | 0 | -839.4434 | -42181.4795 | 79253.736 | -275123 |
| PENTHOUSE | PFEQ1Y | Bottom | 7352.1016 | 0 | -839.4434 | -42181.4795 | 109344.0331 | -369211 |
| Story14 | PFEQ1Y | Top | 12653.0129 | 0 | -1712.3018 | -86353.4477 | 183408.1829 | -639087 |
| Story14 | PFEQ1Y | Bottom | 14537.1029 | 0 | -1712.3018 | -86353.4477 | 216626.1919 | -733097 |
| Story13 | PFEQ1Y | Top | 19702.4076 | 0 | -2488.7898 | -125410 | 287298.2953 | -993853 |
| Story13 | PFEQ1Y | Bottom | 21486.9216 | 0 | -2488.7898 | -125410 | 320553.9457 | -1082649 |
| Story12 | PFEQ1Y | Top | 28267.7991 | 0 | -3374.3803 | -166767 | 410351.8542 | -1395527 |
| Story12 | PFEQ1Y | Bottom | 30232.3041 | 0 | -3374.3803 | -166767 | 449254.4922 | -1489528 |
| Story11 | PFEQ1Y | Top | 37460.3878 | 0 | -4232.3849 | -207132 | 545823.212 | -1827115 |
| Story11 | PFEQ1Y | Bottom | 39484.3828 | 0 | -4232.3849 | -207132 | 587774.3712 | -1926261 |
| Story10 | PFEQ1Y | Top | 48237.8356 | 0 | -5162.1374 | -252932 | 706831.2778 | -2357591 |
| Story10 | PFEQ1Y | Bottom | 50723.5246 | 0 | -5162.1374 | -252932 | 758197.4331 | -2479337 |
| Story9 | PFEQ1Y | Top | 61566.0541 | 0 | -6205.1754 | -298120 | 901426.7928 | -2945344 |
| Story9 | PFEQ1Y | Bottom | 65242.7791 | 0 | -6205.1754 | -298120 | 971440.205 | -3094071 |
| Story8 | PFEQ1Y | Top | 76439.5963 | 0 | -7170.2508 | -338159 | 1118625 | -3563271 |
| Story8 | PFEQ1Y | Bottom | 79901.8933 | 0 | -7170.2508 | -338159 | 1186211 | -3700195 |
| Story7 | PFEQ1Y | Top | 91224.0808 | 0 | -8008.1184 | -373375 | 1335241 | -4182523 |
| Story7 | PFEQ1Y | Bottom | 94806.0298 | 0 | -8008.1184 | -373375 | 1406835 | -4328254 |
| Story6 | PFEQ1Y | Top | 108167.2661 | 0 | -8850.3386 | -411345 | 1588902 | -4937494 |
| Story6 | PFEQ1Y | Bottom | 113140.4741 | 0 | -8850.3386 | -411345 | 1684699 | -5164475 |
| Story5 | PFEQ1Y | Top | 126825.2823 | 0 | -9562.8463 | -442659 | 1865934 | -5761934 |
| Story5 | PFEQ1Y | Bottom | 131593.8387 | 0 | -9562.8463 | -442659 | 1957750 | -5969889 |
| Story4 | PFEQ1Y | Top | 145382.4135 | 0 | -10119.4437 | -467034 | 2140024 | -6574176 |
| Story4 | PFEQ1Y | Bottom | 150136.2387 | 0 | -10119.4437 | -467034 | 2233195 | -6781670 |
| Story3 | PFEQ1Y | Top | 164968.7901 | 0 | -10551.7968 | -486778 | 2434717 | -7461631 |
| Story3 | PFEQ1Y | Bottom | 170235.4251 | 0 | -10551.7968 | -486778 | 2537590 | -7699240 |
| Story2 | PFEQ1Y | Top | 186570.4118 | 0 | -10855.8774 | -499324 | 2757261 | -8340354 |
| Story2 | PFEQ1Y | Bottom | 195783.9928 | 0 | -10855.8774 | -499324 | 2938128 | -8766687 |
| UPPER ROOF | PFEQ1YMAX | Top | 509.5177 | 0 | -111.1294 | -5370.0129 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1YMAX | Bottom | 1030.9957 | 0 | -111.1294 | -5370.0129 | 16001.7686 | -51265.4102 |
| PENTHOUSE | PFEQ1YMAX | Top | 5447.488 | 0 | -839.4434 | -39950.9474 | 79253.736 | -275123 |
| PENTHOUSE | PFEQ1YMAX | Bottom | 7352.1016 | 0 | -839.4434 | -39950.9474 | 109344.0331 | -369211 |
| Story14 | PFEQ1YMAX | Top | 12653.0129 | 0 | -1712.3018 | -81251.2111 | 183408.1829 | -639087 |
| Story14 | PFEQ1YMAX | Bottom | 14537.1029 | 0 | -1712.3018 | -81251.2111 | 216626.1919 | -733097 |
| Story13 | PFEQ1YMAX | Top | 19702.4076 | 0 | -2488.7898 | -117671 | 287298.2953 | -993853 |
| Story13 | PFEQ1YMAX | Bottom | 21486.9216 | 0 | -2488.7898 | -117671 | 320553.9457 | -1082649 |
| Story12 | PFEQ1YMAX | Top | 28267.7991 | 0 | -3374.3803 | -155291 | 410351.8542 | -1395527 |
| Story12 | PFEQ1YMAX | Bottom | 30232.3041 | 0 | -3374.3803 | -155291 | 449254.4922 | -1489528 |
| Story11 | PFEQ1YMAX | Top | 37460.3878 | 0 | -4232.3849 | -191890 | 545823.212 | -1827115 |
| Story11 | PFEQ1YMAX | Bottom | 39484.3828 | 0 | -4232.3849 | -191890 | 587774.3712 | -1926261 |
| Story10 | PFEQ1YMAX | Top | 48237.8356 | 0 | -5162.1374 | -233069 | 706831.2778 | -2357591 |
| Story10 | PFEQ1YMAX | Bottom | 50723.5246 | 0 | -5162.1374 | -233069 | 758197.4331 | -2479337 |
| Story9 | PFEQ1YMAX | Top | 61566.0541 | 0 | -6205.1754 | -271238 | 901426.7928 | -2945344 |
| Story9 | PFEQ1YMAX | Bottom | 65242.7791 | 0 | -6205.1754 | -271238 | 971440.205 | -3094071 |
| Story8 | PFEQ1YMAX | Top | 76439.5963 | 0 | -7170.2508 | -304782 | 1118625 | -3563271 |
| Story8 | PFEQ1YMAX | Bottom | 79901.8933 | 0 | -7170.2508 | -304782 | 1186211 | -3700195 |
| Story7 | PFEQ1YMAX | Top | 91224.0808 | 0 | -8008.1184 | -334216 | 1335241 | -4182523 |
| Story7 | PFEQ1YMAX | Bottom | 94806.0298 | 0 | -8008.1184 | -334216 | 1406835 | -4328254 |
| Story6 | PFEQ1YMAX | Top | 108167.2661 | 0 | -8850.3386 | -365524 | 1588902 | -4937494 |
| Story6 | PFEQ1YMAX | Bottom | 113140.4741 | 0 | -8850.3386 | -365524 | 1684699 | -5164475 |
| Story5 | PFEQ1YMAX | Top | 126825.2823 | 0 | -9562.8463 | -390881 | 1865934 | -5761934 |
| Story5 | PFEQ1YMAX | Bottom | 131593.8387 | 0 | -9562.8463 | -390881 | 1957750 | -5969889 |
| Story4 | PFEQ1YMAX | Top | 145382.4135 | 0 | -10119.4437 | -410603 | 2140024 | -6574176 |
| Story4 | PFEQ1YMAX | Bottom | 150136.2387 | 0 | -10119.4437 | -410603 | 2233195 | -6781670 |
| Story3 | PFEQ1YMAX | Top | 164968.7901 | 0 | -10551.7968 | -426733 | 2434717 | -7461631 |
| Story3 | PFEQ1YMAX | Bottom | 170235.4251 | 0 | -10551.7968 | -426733 | 2537590 | -7699240 |
| Story2 | PFEQ1YMAX | Top | 186570.4118 | 0 | -10855.8774 | -436740 | 2757261 | -8340354 |
| Story2 | PFEQ1YMAX | Bottom | 195783.9928 | 0 | -10855.8774 | -436740 | 2938128 | -8766687 |
| UPPER ROOF | PFEQ1YMIN | Top | 509.5177 | 0 | -111.1294 | -5657.8379 | 7273.3659 | -25131.963 |
| UPPER ROOF | PFEQ1YMIN | Bottom | 1030.9957 | 0 | -111.1294 | -5657.8379 | 16001.7686 | -51265.4102 |
| PENTHOUSE | PFEQ1YMIN | Top | 5447.488 | 0 | -839.4434 | -44412.0117 | 79253.736 | -275123 |
| PENTHOUSE | PFEQ1YMIN | Bottom | 7352.1016 | 0 | -839.4434 | -44412.0117 | 109344.0331 | -369211 |
| Story14 | PFEQ1YMIN | Top | 12653.0129 | 0 | -1712.3018 | -91455.6843 | 183408.1829 | -639087 |
| Story14 | PFEQ1YMIN | Bottom | 14537.1029 | 0 | -1712.3018 | -91455.6843 | 216626.1919 | -733097 |
| Story13 | PFEQ1YMIN | Top | 19702.4076 | 0 | -2488.7898 | -133148 | 287298.2953 | -993853 |
| Story13 | PFEQ1YMIN | Bottom | 21486.9216 | 0 | -2488.7898 | -133148 | 320553.9457 | -1082649 |
| Story12 | PFEQ1YMIN | Top | 28267.7991 | 0 | -3374.3803 | -178242 | 410351.8542 | -1395527 |
| Story12 | PFEQ1YMIN | Bottom | 30232.3041 | 0 | -3374.3803 | -178242 | 449254.4922 | -1489528 |
| Story11 | PFEQ1YMIN | Top | 37460.3878 | 0 | -4232.3849 | -222374 | 545823.212 | -1827115 |
| Story11 | PFEQ1YMIN | Bottom | 39484.3828 | 0 | -4232.3849 | -222374 | 587774.3712 | -1926261 |
| Story10 | PFEQ1YMIN | Top | 48237.8356 | 0 | -5162.1374 | -272795 | 706831.2778 | -2357591 |
| Story10 | PFEQ1YMIN | Bottom | 50723.5246 | 0 | -5162.1374 | -272795 | 758197.4331 | -2479337 |
| Story9 | PFEQ1YMIN | Top | 61566.0541 | 0 | -6205.1754 | -325003 | 901426.7928 | -2945344 |
| Story9 | PFEQ1YMIN | Bottom | 65242.7791 | 0 | -6205.1754 | -325003 | 971440.205 | -3094071 |
| Story8 | PFEQ1YMIN | Top | 76439.5963 | 0 | -7170.2508 | -371537 | 1118625 | -3563271 |
| Story8 | PFEQ1YMIN | Bottom | 79901.8933 | 0 | -7170.2508 | -371537 | 1186211 | -3700195 |
| Story7 | PFEQ1YMIN | Top | 91224.0808 | 0 | -8008.1184 | -412534 | 1335241 | -4182523 |
| Story7 | PFEQ1YMIN | Bottom | 94806.0298 | 0 | -8008.1184 | -412534 | 1406835 | -4328254 |
| Story6 | PFEQ1YMIN | Top | 108167.2661 | 0 | -8850.3386 | -457166 | 1588902 | -4937494 |
| Story6 | PFEQ1YMIN | Bottom | 113140.4741 | 0 | -8850.3386 | -457166 | 1684699 | -5164475 |
| Story5 | PFEQ1YMIN | Top | 126825.2823 | 0 | -9562.8463 | -494436 | 1865934 | -5761934 |
| Story5 | PFEQ1YMIN | Bottom | 131593.8387 | 0 | -9562.8463 | -494436 | 1957750 | -5969889 |
| Story4 | PFEQ1YMIN | Top | 145382.4135 | 0 | -10119.4437 | -523465 | 2140024 | -6574176 |
| Story4 | PFEQ1YMIN | Bottom | 150136.2387 | 0 | -10119.4437 | -523465 | 2233195 | -6781670 |
| Story3 | PFEQ1YMIN | Top | 164968.7901 | 0 | -10551.7968 | -546823 | 2434717 | -7461631 |
| Story3 | PFEQ1YMIN | Bottom | 170235.4251 | 0 | -10551.7968 | -546823 | 2537590 | -7699240 |
| Story2 | PFEQ1YMIN | Top | 186570.4118 | 0 | -10855.8774 | -561908 | 2757261 | -8340354 |
| Story2 | PFEQ1YMIN | Bottom | 195783.9928 | 0 | -10855.8774 | -561908 | 2938128 | -8766687 |
| UPPER ROOF | PFEQ2X | Top | 572.9986 | -98.9751 | 0 | 1469.1475 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2X | Bottom | 1094.4766 | -98.9751 | 0 | 1469.1475 | 16424.5457 | -54827.1473 |
| PENTHOUSE | PFEQ2X | Top | 6025.1032 | -747.6332 | 0 | 10830.0524 | 86862.8162 | -304835 |
| PENTHOUSE | PFEQ2X | Bottom | 7929.7168 | -747.6332 | 0 | 10830.0524 | 114040.2449 | -401517 |
| Story14 | PFEQ2X | Top | 13804.7036 | -1525.0269 | 0 | 21789.4378 | 196238.4765 | -700254 |
| Story14 | PFEQ2X | Bottom | 15688.7936 | -1525.0269 | 0 | 21789.4378 | 223891.5045 | -799221 |
| Story13 | PFEQ2X | Top | 21444.7684 | -2216.5902 | 0 | 31436.0305 | 302628.392 | -1089776 |
| Story13 | PFEQ2X | Bottom | 23229.2824 | -2216.5902 | 0 | 31436.0305 | 328542.1124 | -1185112 |
| Story12 | PFEQ2X | Top | 30722.7473 | -3005.3233 | 0 | 42123.2319 | 427786.189 | -1531330 |
| Story12 | PFEQ2X | Bottom | 32687.2523 | -3005.3233 | 0 | 42123.2319 | 456396.9672 | -1634497 |
| Story11 | PFEQ2X | Top | 40683.6409 | -3769.4878 | 0 | 52547.5374 | 563255.4315 | -2008503 |
| Story11 | PFEQ2X | Bottom | 42707.6359 | -3769.4878 | 0 | 52547.5374 | 592721.0552 | -2118768 |
| Story10 | PFEQ2X | Top | 52344.7996 | -4597.5529 | 0 | 63963.2195 | 723806.59 | -2593158 |
| Story10 | PFEQ2X | Bottom | 54830.4886 | -4597.5529 | 0 | 63963.2195 | 759428.2263 | -2728927 |
| Story9 | PFEQ2X | Top | 66846.9559 | -5526.5135 | 0 | 76387.4462 | 918113.897 | -3243936 |
| Story9 | PFEQ2X | Bottom | 70523.6809 | -5526.5135 | 0 | 76387.4462 | 967960.4893 | -3410625 |
| Story8 | PFEQ2X | Top | 82929.0368 | -6386.0384 | 0 | 87766.9977 | 1130982 | -3929373 |
| Story8 | PFEQ2X | Bottom | 86391.3338 | -6386.0384 | 0 | 87766.9977 | 1177416 | -4085136 |
| Story7 | PFEQ2X | Top | 98937.6799 | -7132.2681 | 0 | 97638.3535 | 1342513 | -4618649 |
| Story7 | PFEQ2X | Bottom | 102519.6289 | -7132.2681 | 0 | 97638.3535 | 1390482 | -4785419 |
| Story6 | PFEQ2X | Top | 117277.7699 | -7882.3745 | 0 | 107887.2924 | 1591104 | -5457968 |
| Story6 | PFEQ2X | Bottom | 122250.9779 | -7882.3745 | 0 | 107887.2924 | 1659907 | -5708990 |
| Story5 | PFEQ2X | Top | 137468.898 | -8516.955 | 0 | 116381.3006 | 1861502 | -6373224 |
| Story5 | PFEQ2X | Bottom | 142237.4544 | -8516.955 | 0 | 116381.3006 | 1926637 | -6604942 |
| Story4 | PFEQ2X | Top | 157565.8025 | -9012.6772 | 0 | 122994.0814 | 2129317 | -7276298 |
| Story4 | PFEQ2X | Bottom | 162319.6277 | -9012.6772 | 0 | 122994.0814 | 2194255 | -7508937 |
| Story3 | PFEQ2X | Top | 178666.3746 | -9397.7437 | 0 | 128238.5119 | 2416022 | -8254471 |
| Story3 | PFEQ2X | Bottom | 183933.0096 | -9397.7437 | 0 | 128238.5119 | 2487767 | -8519803 |
| Story2 | PFEQ2X | Top | 201872.0221 | -9668.567 | 0 | 131955.0416 | 2729149 | -9228606 |
| Story2 | PFEQ2X | Bottom | 211085.6031 | -9668.567 | 0 | 131955.0416 | 2863879 | -9696031 |
| UPPER ROOF | PFEQ2XMAX | Top | 572.9986 | -98.9751 | 0 | 1405.3085 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2XMAX | Bottom | 1094.4766 | -98.9751 | 0 | 1405.3085 | 16424.5457 | -54827.1473 |
| PENTHOUSE | PFEQ2XMAX | Top | 6025.1032 | -747.6332 | 0 | 9183.4877 | 86862.8162 | -304835 |
| PENTHOUSE | PFEQ2XMAX | Bottom | 7929.7168 | -747.6332 | 0 | 9183.4877 | 114040.2449 | -401517 |
| Story14 | PFEQ2XMAX | Top | 13804.7036 | -1525.0269 | 0 | 17970.0577 | 196238.4765 | -700254 |
| Story14 | PFEQ2XMAX | Bottom | 15688.7936 | -1525.0269 | 0 | 17970.0577 | 223891.5045 | -799221 |
| Story13 | PFEQ2XMAX | Top | 21444.7684 | -2216.5902 | 0 | 25683.731 | 302628.392 | -1089776 |
| Story13 | PFEQ2XMAX | Bottom | 23229.2824 | -2216.5902 | 0 | 25683.731 | 328542.1124 | -1185112 |
| Story12 | PFEQ2XMAX | Top | 30722.7473 | -3005.3233 | 0 | 34166.4233 | 427786.189 | -1531330 |
| Story12 | PFEQ2XMAX | Bottom | 32687.2523 | -3005.3233 | 0 | 34166.4233 | 456396.9672 | -1634497 |
| Story11 | PFEQ2XMAX | Top | 40683.6409 | -3769.4878 | 0 | 42454.8892 | 563255.4315 | -2008503 |
| Story11 | PFEQ2XMAX | Bottom | 42707.6359 | -3769.4878 | 0 | 42454.8892 | 592721.0552 | -2118768 |
| Story10 | PFEQ2XMAX | Top | 52344.7996 | -4597.5529 | 0 | 51556.1292 | 723806.59 | -2593158 |
| Story10 | PFEQ2XMAX | Bottom | 54830.4886 | -4597.5529 | 0 | 51556.1292 | 759428.2263 | -2728927 |
| Story9 | PFEQ2XMAX | Top | 66846.9559 | -5526.5135 | 0 | 61383.911 | 918113.897 | -3243936 |
| Story9 | PFEQ2XMAX | Bottom | 70523.6809 | -5526.5135 | 0 | 61383.911 | 967960.4893 | -3410625 |
| Story8 | PFEQ2XMAX | Top | 82929.0368 | -6386.0384 | 0 | 70361.0905 | 1130982 | -3929373 |
| Story8 | PFEQ2XMAX | Bottom | 86391.3338 | -6386.0384 | 0 | 70361.0905 | 1177416 | -4085136 |
| Story7 | PFEQ2XMAX | Top | 98937.6799 | -7132.2681 | 0 | 78146.7342 | 1342513 | -4618649 |
| Story7 | PFEQ2XMAX | Bottom | 102519.6289 | -7132.2681 | 0 | 78146.7342 | 1390482 | -4785419 |
| Story6 | PFEQ2XMAX | Top | 117277.7699 | -7882.3745 | 0 | 86299.1257 | 1591104 | -5457968 |
| Story6 | PFEQ2XMAX | Bottom | 122250.9779 | -7882.3745 | 0 | 86299.1257 | 1659907 | -5708990 |
| Story5 | PFEQ2XMAX | Top | 137468.898 | -8516.955 | 0 | 93019.4815 | 1861502 | -6373224 |
| Story5 | PFEQ2XMAX | Bottom | 142237.4544 | -8516.955 | 0 | 93019.4815 | 1926637 | -6604942 |
| Story4 | PFEQ2XMAX | Top | 157565.8025 | -9012.6772 | 0 | 98246.7188 | 2129317 | -7276298 |
| Story4 | PFEQ2XMAX | Bottom | 162319.6277 | -9012.6772 | 0 | 98246.7188 | 2194255 | -7508937 |
| Story3 | PFEQ2XMAX | Top | 178666.3746 | -9397.7437 | 0 | 102414.8884 | 2416022 | -8254471 |
| Story3 | PFEQ2XMAX | Bottom | 183933.0096 | -9397.7437 | 0 | 102414.8884 | 2487767 | -8519803 |
| Story2 | PFEQ2XMAX | Top | 201872.0221 | -9668.567 | 0 | 105375.4245 | 2729149 | -9228606 |
| Story2 | PFEQ2XMAX | Bottom | 211085.6031 | -9668.567 | 0 | 105375.4245 | 2863879 | -9696031 |
| UPPER ROOF | PFEQ2XMIN | Top | 572.9986 | -98.9751 | 0 | 1532.9864 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2XMIN | Bottom | 1094.4766 | -98.9751 | 0 | 1532.9864 | 16424.5457 | -54827.1473 |
| PENTHOUSE | PFEQ2XMIN | Top | 6025.1032 | -747.6332 | 0 | 12476.6171 | 86862.8162 | -304835 |
| PENTHOUSE | PFEQ2XMIN | Bottom | 7929.7168 | -747.6332 | 0 | 12476.6171 | 114040.2449 | -401517 |
| Story14 | PFEQ2XMIN | Top | 13804.7036 | -1525.0269 | 0 | 25608.8179 | 196238.4765 | -700254 |
| Story14 | PFEQ2XMIN | Bottom | 15688.7936 | -1525.0269 | 0 | 25608.8179 | 223891.5045 | -799221 |
| Story13 | PFEQ2XMIN | Top | 21444.7684 | -2216.5902 | 0 | 37188.3299 | 302628.392 | -1089776 |
| Story13 | PFEQ2XMIN | Bottom | 23229.2824 | -2216.5902 | 0 | 37188.3299 | 328542.1124 | -1185112 |
| Story12 | PFEQ2XMIN | Top | 30722.7473 | -3005.3233 | 0 | 50080.0405 | 427786.189 | -1531330 |
| Story12 | PFEQ2XMIN | Bottom | 32687.2523 | -3005.3233 | 0 | 50080.0405 | 456396.9672 | -1634497 |
| Story11 | PFEQ2XMIN | Top | 40683.6409 | -3769.4878 | 0 | 62640.1855 | 563255.4315 | -2008503 |
| Story11 | PFEQ2XMIN | Bottom | 42707.6359 | -3769.4878 | 0 | 62640.1855 | 592721.0552 | -2118768 |
| Story10 | PFEQ2XMIN | Top | 52344.7996 | -4597.5529 | 0 | 76370.3098 | 723806.59 | -2593158 |
| Story10 | PFEQ2XMIN | Bottom | 54830.4886 | -4597.5529 | 0 | 76370.3098 | 759428.2263 | -2728927 |
| Story9 | PFEQ2XMIN | Top | 66846.9559 | -5526.5135 | 0 | 91390.9814 | 918113.897 | -3243936 |
| Story9 | PFEQ2XMIN | Bottom | 70523.6809 | -5526.5135 | 0 | 91390.9814 | 967960.4893 | -3410625 |
| Story8 | PFEQ2XMIN | Top | 82929.0368 | -6386.0384 | 0 | 105172.9049 | 1130982 | -3929373 |
| Story8 | PFEQ2XMIN | Bottom | 86391.3338 | -6386.0384 | 0 | 105172.9049 | 1177416 | -4085136 |
| Story7 | PFEQ2XMIN | Top | 98937.6799 | -7132.2681 | 0 | 117129.9728 | 1342513 | -4618649 |
| Story7 | PFEQ2XMIN | Bottom | 102519.6289 | -7132.2681 | 0 | 117129.9728 | 1390482 | -4785419 |
| Story6 | PFEQ2XMIN | Top | 117277.7699 | -7882.3745 | 0 | 129475.4591 | 1591104 | -5457968 |
| Story6 | PFEQ2XMIN | Bottom | 122250.9779 | -7882.3745 | 0 | 129475.4591 | 1659907 | -5708990 |
| Story5 | PFEQ2XMIN | Top | 137468.898 | -8516.955 | 0 | 139743.1198 | 1861502 | -6373224 |
| Story5 | PFEQ2XMIN | Bottom | 142237.4544 | -8516.955 | 0 | 139743.1198 | 1926637 | -6604942 |
| Story4 | PFEQ2XMIN | Top | 157565.8025 | -9012.6772 | 0 | 147741.444 | 2129317 | -7276298 |
| Story4 | PFEQ2XMIN | Bottom | 162319.6277 | -9012.6772 | 0 | 147741.444 | 2194255 | -7508937 |
| Story3 | PFEQ2XMIN | Top | 178666.3746 | -9397.7437 | 0 | 154062.1355 | 2416022 | -8254471 |
| Story3 | PFEQ2XMIN | Bottom | 183933.0096 | -9397.7437 | 0 | 154062.1355 | 2487767 | -8519803 |
| Story2 | PFEQ2XMIN | Top | 201872.0221 | -9668.567 | 0 | 158534.6586 | 2729149 | -9228606 |
| Story2 | PFEQ2XMIN | Bottom | 211085.6031 | -9668.567 | 0 | 158534.6586 | 2863879 | -9696031 |
| UPPER ROOF | PFEQ2Y | Top | 572.9986 | 0 | -111.1294 | -5513.9254 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2Y | Bottom | 1094.4766 | 0 | -111.1294 | -5513.9254 | 16907.9584 | -54396.6056 |
| PENTHOUSE | PFEQ2Y | Top | 6025.1032 | 0 | -839.4434 | -42181.4795 | 87346.2289 | -304404 |
| PENTHOUSE | PFEQ2Y | Bottom | 7929.7168 | 0 | -839.4434 | -42181.4795 | 117436.526 | -398492 |
| Story14 | PFEQ2Y | Top | 13804.7036 | 0 | -1712.3018 | -86353.4477 | 199634.7577 | -697229 |
| Story14 | PFEQ2Y | Bottom | 15688.7936 | 0 | -1712.3018 | -86353.4477 | 232852.7667 | -791240 |
| Story13 | PFEQ2Y | Top | 21444.7684 | 0 | -2488.7898 | -125410 | 311589.6541 | -1081795 |
| Story13 | PFEQ2Y | Bottom | 23229.2824 | 0 | -2488.7898 | -125410 | 344845.3046 | -1170592 |
| Story12 | PFEQ2Y | Top | 30722.7473 | 0 | -3374.3803 | -166767 | 444089.3812 | -1516809 |
| Story12 | PFEQ2Y | Bottom | 32687.2523 | 0 | -3374.3803 | -166767 | 482992.0192 | -1610810 |
| Story11 | PFEQ2Y | Top | 40683.6409 | 0 | -4232.3849 | -207132 | 589850.4836 | -1984817 |
| Story11 | PFEQ2Y | Bottom | 42707.6359 | 0 | -4232.3849 | -207132 | 631801.6428 | -2083962 |
| Story10 | PFEQ2Y | Top | 52344.7996 | 0 | -5162.1374 | -252932 | 762887.1776 | -2558352 |
| Story10 | PFEQ2Y | Bottom | 54830.4886 | 0 | -5162.1374 | -252932 | 814253.3329 | -2680098 |
| Story9 | PFEQ2Y | Top | 66846.9559 | 0 | -6205.1754 | -298120 | 972939.0036 | -3195108 |
| Story9 | PFEQ2Y | Bottom | 70523.6809 | 0 | -6205.1754 | -298120 | 1042952 | -3343835 |
| Story8 | PFEQ2Y | Top | 82929.0368 | 0 | -7170.2508 | -338159 | 1205974 | -3862583 |
| Story8 | PFEQ2Y | Bottom | 86391.3338 | 0 | -7170.2508 | -338159 | 1273560 | -3999507 |
| Story7 | PFEQ2Y | Top | 98937.6799 | 0 | -8008.1184 | -373375 | 1438657 | -4533020 |
| Story7 | PFEQ2Y | Bottom | 102519.6289 | 0 | -8008.1184 | -373375 | 1510250 | -4678750 |
| Story6 | PFEQ2Y | Top | 117277.7699 | 0 | -8850.3386 | -411345 | 1710872 | -5351299 |
| Story6 | PFEQ2Y | Bottom | 122250.9779 | 0 | -8850.3386 | -411345 | 1806668 | -5578280 |
| Story5 | PFEQ2Y | Top | 137468.898 | 0 | -9562.8463 | -442659 | 2008263 | -6242514 |
| Story5 | PFEQ2Y | Bottom | 142237.4544 | 0 | -9562.8463 | -442659 | 2100079 | -6450469 |
| Story4 | PFEQ2Y | Top | 157565.8025 | 0 | -10119.4437 | -467034 | 2302759 | -7121825 |
| Story4 | PFEQ2Y | Bottom | 162319.6277 | 0 | -10119.4437 | -467034 | 2395930 | -7329319 |
| Story3 | PFEQ2Y | Top | 178666.3746 | 0 | -10551.7968 | -486778 | 2617698 | -8074853 |
| Story3 | PFEQ2Y | Bottom | 183933.0096 | 0 | -10551.7968 | -486778 | 2720570 | -8312462 |
| Story2 | PFEQ2Y | Top | 201872.0221 | 0 | -10855.8774 | -499324 | 2961952 | -9021264 |
| Story2 | PFEQ2Y | Bottom | 211085.6031 | 0 | -10855.8774 | -499324 | 3142819 | -9447598 |
| UPPER ROOF | PFEQ2YMAX | Top | 572.9986 | 0 | -111.1294 | -5370.0129 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2YMAX | Bottom | 1094.4766 | 0 | -111.1294 | -5370.0129 | 16907.9584 | -54396.6056 |
| PENTHOUSE | PFEQ2YMAX | Top | 6025.1032 | 0 | -839.4434 | -39950.9474 | 87346.2289 | -304404 |
| PENTHOUSE | PFEQ2YMAX | Bottom | 7929.7168 | 0 | -839.4434 | -39950.9474 | 117436.526 | -398492 |
| Story14 | PFEQ2YMAX | Top | 13804.7036 | 0 | -1712.3018 | -81251.2111 | 199634.7577 | -697229 |
| Story14 | PFEQ2YMAX | Bottom | 15688.7936 | 0 | -1712.3018 | -81251.2111 | 232852.7667 | -791240 |
| Story13 | PFEQ2YMAX | Top | 21444.7684 | 0 | -2488.7898 | -117671 | 311589.6541 | -1081795 |
| Story13 | PFEQ2YMAX | Bottom | 23229.2824 | 0 | -2488.7898 | -117671 | 344845.3046 | -1170592 |
| Story12 | PFEQ2YMAX | Top | 30722.7473 | 0 | -3374.3803 | -155291 | 444089.3812 | -1516809 |
| Story12 | PFEQ2YMAX | Bottom | 32687.2523 | 0 | -3374.3803 | -155291 | 482992.0192 | -1610810 |
| Story11 | PFEQ2YMAX | Top | 40683.6409 | 0 | -4232.3849 | -191890 | 589850.4836 | -1984817 |
| Story11 | PFEQ2YMAX | Bottom | 42707.6359 | 0 | -4232.3849 | -191890 | 631801.6428 | -2083962 |
| Story10 | PFEQ2YMAX | Top | 52344.7996 | 0 | -5162.1374 | -233069 | 762887.1776 | -2558352 |
| Story10 | PFEQ2YMAX | Bottom | 54830.4886 | 0 | -5162.1374 | -233069 | 814253.3329 | -2680098 |
| Story9 | PFEQ2YMAX | Top | 66846.9559 | 0 | -6205.1754 | -271238 | 972939.0036 | -3195108 |
| Story9 | PFEQ2YMAX | Bottom | 70523.6809 | 0 | -6205.1754 | -271238 | 1042952 | -3343835 |
| Story8 | PFEQ2YMAX | Top | 82929.0368 | 0 | -7170.2508 | -304782 | 1205974 | -3862583 |
| Story8 | PFEQ2YMAX | Bottom | 86391.3338 | 0 | -7170.2508 | -304782 | 1273560 | -3999507 |
| Story7 | PFEQ2YMAX | Top | 98937.6799 | 0 | -8008.1184 | -334216 | 1438657 | -4533020 |
| Story7 | PFEQ2YMAX | Bottom | 102519.6289 | 0 | -8008.1184 | -334216 | 1510250 | -4678750 |
| Story6 | PFEQ2YMAX | Top | 117277.7699 | 0 | -8850.3386 | -365524 | 1710872 | -5351299 |
| Story6 | PFEQ2YMAX | Bottom | 122250.9779 | 0 | -8850.3386 | -365524 | 1806668 | -5578280 |
| Story5 | PFEQ2YMAX | Top | 137468.898 | 0 | -9562.8463 | -390881 | 2008263 | -6242514 |
| Story5 | PFEQ2YMAX | Bottom | 142237.4544 | 0 | -9562.8463 | -390881 | 2100079 | -6450469 |
| Story4 | PFEQ2YMAX | Top | 157565.8025 | 0 | -10119.4437 | -410603 | 2302759 | -7121825 |
| Story4 | PFEQ2YMAX | Bottom | 162319.6277 | 0 | -10119.4437 | -410603 | 2395930 | -7329319 |
| Story3 | PFEQ2YMAX | Top | 178666.3746 | 0 | -10551.7968 | -426733 | 2617698 | -8074853 |
| Story3 | PFEQ2YMAX | Bottom | 183933.0096 | 0 | -10551.7968 | -426733 | 2720570 | -8312462 |
| Story2 | PFEQ2YMAX | Top | 201872.0221 | 0 | -10855.8774 | -436740 | 2961952 | -9021264 |
| Story2 | PFEQ2YMAX | Bottom | 211085.6031 | 0 | -10855.8774 | -436740 | 3142819 | -9447598 |
| UPPER ROOF | PFEQ2YMIN | Top | 572.9986 | 0 | -111.1294 | -5657.8379 | 8179.5557 | -28263.1584 |
| UPPER ROOF | PFEQ2YMIN | Bottom | 1094.4766 | 0 | -111.1294 | -5657.8379 | 16907.9584 | -54396.6056 |
| PENTHOUSE | PFEQ2YMIN | Top | 6025.1032 | 0 | -839.4434 | -44412.0117 | 87346.2289 | -304404 |
| PENTHOUSE | PFEQ2YMIN | Bottom | 7929.7168 | 0 | -839.4434 | -44412.0117 | 117436.526 | -398492 |
| Story14 | PFEQ2YMIN | Top | 13804.7036 | 0 | -1712.3018 | -91455.6843 | 199634.7577 | -697229 |
| Story14 | PFEQ2YMIN | Bottom | 15688.7936 | 0 | -1712.3018 | -91455.6843 | 232852.7667 | -791240 |
| Story13 | PFEQ2YMIN | Top | 21444.7684 | 0 | -2488.7898 | -133148 | 311589.6541 | -1081795 |
| Story13 | PFEQ2YMIN | Bottom | 23229.2824 | 0 | -2488.7898 | -133148 | 344845.3046 | -1170592 |
| Story12 | PFEQ2YMIN | Top | 30722.7473 | 0 | -3374.3803 | -178242 | 444089.3812 | -1516809 |
| Story12 | PFEQ2YMIN | Bottom | 32687.2523 | 0 | -3374.3803 | -178242 | 482992.0192 | -1610810 |
| Story11 | PFEQ2YMIN | Top | 40683.6409 | 0 | -4232.3849 | -222374 | 589850.4836 | -1984817 |
| Story11 | PFEQ2YMIN | Bottom | 42707.6359 | 0 | -4232.3849 | -222374 | 631801.6428 | -2083962 |
| Story10 | PFEQ2YMIN | Top | 52344.7996 | 0 | -5162.1374 | -272795 | 762887.1776 | -2558352 |
| Story10 | PFEQ2YMIN | Bottom | 54830.4886 | 0 | -5162.1374 | -272795 | 814253.3329 | -2680098 |
| Story9 | PFEQ2YMIN | Top | 66846.9559 | 0 | -6205.1754 | -325003 | 972939.0036 | -3195108 |
| Story9 | PFEQ2YMIN | Bottom | 70523.6809 | 0 | -6205.1754 | -325003 | 1042952 | -3343835 |
| Story8 | PFEQ2YMIN | Top | 82929.0368 | 0 | -7170.2508 | -371537 | 1205974 | -3862583 |
| Story8 | PFEQ2YMIN | Bottom | 86391.3338 | 0 | -7170.2508 | -371537 | 1273560 | -3999507 |
| Story7 | PFEQ2YMIN | Top | 98937.6799 | 0 | -8008.1184 | -412534 | 1438657 | -4533020 |
| Story7 | PFEQ2YMIN | Bottom | 102519.6289 | 0 | -8008.1184 | -412534 | 1510250 | -4678750 |
| Story6 | PFEQ2YMIN | Top | 117277.7699 | 0 | -8850.3386 | -457166 | 1710872 | -5351299 |
| Story6 | PFEQ2YMIN | Bottom | 122250.9779 | 0 | -8850.3386 | -457166 | 1806668 | -5578280 |
| Story5 | PFEQ2YMIN | Top | 137468.898 | 0 | -9562.8463 | -494436 | 2008263 | -6242514 |
| Story5 | PFEQ2YMIN | Bottom | 142237.4544 | 0 | -9562.8463 | -494436 | 2100079 | -6450469 |
| Story4 | PFEQ2YMIN | Top | 157565.8025 | 0 | -10119.4437 | -523465 | 2302759 | -7121825 |
| Story4 | PFEQ2YMIN | Bottom | 162319.6277 | 0 | -10119.4437 | -523465 | 2395930 | -7329319 |
| Story3 | PFEQ2YMIN | Top | 178666.3746 | 0 | -10551.7968 | -546823 | 2617698 | -8074853 |
| Story3 | PFEQ2YMIN | Bottom | 183933.0096 | 0 | -10551.7968 | -546823 | 2720570 | -8312462 |
| Story2 | PFEQ2YMIN | Top | 201872.0221 | 0 | -10855.8774 | -561908 | 2961952 | -9021264 |
| Story2 | PFEQ2YMIN | Bottom | 211085.6031 | 0 | -10855.8774 | -561908 | 3142819 | -9447598 |
| UPPER ROOF | WCC | Top | 0 | -19.7748 | -39.7029 | -1676.0593 | 0 | 0 |
| UPPER ROOF | WCC | Bottom | 0 | -19.7748 | -39.7029 | -1676.0593 | 172.7075 | -86.0203 |
| PENTHOUSE | WCC | Top | 0 | -153.2557 | -196.4335 | -7773.162 | 172.7075 | -86.0203 |
| PENTHOUSE | WCC | Bottom | 0 | -153.2557 | -196.4335 | -7773.162 | 854.3319 | -617.8176 |
| Story14 | WCC | Top | 0 | -283.1814 | -349.3694 | -13734.2371 | 854.3319 | -617.8176 |
| Story14 | WCC | Bottom | 0 | -283.1814 | -349.3694 | -13734.2371 | 1989.7823 | -1538.1573 |
| Story13 | WCC | Top | 0 | -401.7859 | -493.4345 | -19326.8189 | 1989.7823 | -1538.1573 |
| Story13 | WCC | Bottom | 0 | -401.7859 | -493.4345 | -19326.8189 | 3445.4141 | -2723.4256 |
| Story12 | WCC | Top | 0 | -515.3076 | -664.8341 | -25659.0113 | 3445.4141 | -2723.4256 |
| Story12 | WCC | Bottom | 0 | -515.3076 | -664.8341 | -25659.0113 | 5473.158 | -4295.1138 |
| Story11 | WCC | Top | 0 | -627.5227 | -841.0861 | -32383.4629 | 5473.158 | -4295.1138 |
| Story11 | WCC | Bottom | 0 | -627.5227 | -841.0861 | -32383.4629 | 7954.362 | -6146.3059 |
| Story10 | WCC | Top | 0 | -738.3097 | -1038.0847 | -40419.1965 | 7954.362 | -6146.3059 |
| Story10 | WCC | Bottom | 0 | -738.3097 | -1038.0847 | -40419.1965 | 11120.5202 | -8398.1504 |
| Story9 | WCC | Top | 0 | -852.9612 | -1314.1507 | -49818.1724 | 11120.5202 | -8398.1504 |
| Story9 | WCC | Bottom | 0 | -852.9612 | -1314.1507 | -49818.1724 | 15391.5099 | -11170.2742 |
| Story8 | WCC | Top | 0 | -963.9735 | -1581.4542 | -58918.8192 | 15391.5099 | -11170.2742 |
| Story8 | WCC | Bottom | 0 | -963.9735 | -1581.4542 | -58918.8192 | 20056.7998 | -14013.9961 |
| Story7 | WCC | Top | 0 | -1067.6974 | -1837.5166 | -67891.0177 | 20056.7998 | -14013.9961 |
| Story7 | WCC | Bottom | 0 | -1067.6974 | -1837.5166 | -67891.0177 | 25477.4736 | -17163.7033 |
| Story6 | WCC | Top | 0 | -1171.0046 | -2129.8815 | -79325.976 | 25477.4736 | -17163.7033 |
| Story6 | WCC | Bottom | 0 | -1171.0046 | -2129.8815 | -79325.976 | 31973.6123 | -20735.2672 |
| Story5 | WCC | Top | 0 | -1269.139 | -2423.407 | -90223.9113 | 31973.6123 | -20735.2672 |
| Story5 | WCC | Bottom | 0 | -1269.139 | -2423.407 | -90223.9113 | 38734.9177 | -24276.1649 |
| Story4 | WCC | Top | 0 | -1360.177 | -2695.7069 | -100334 | 38734.9177 | -24276.1649 |
| Story4 | WCC | Bottom | 0 | -1360.177 | -2695.7069 | -100334 | 46255.94 | -28071.0589 |
| Story3 | WCC | Top | 0 | -1450.4467 | -2965.7083 | -110358 | 46255.94 | -28071.0589 |
| Story3 | WCC | Bottom | 0 | -1450.4467 | -2965.7083 | -110358 | 55004.7795 | -32349.8765 |
| Story2 | WCC | Top | 0 | -1561.3297 | -3297.3655 | -122672 | 55004.7795 | -32349.8765 |
| Story2 | WCC | Bottom | 0 | -1561.3297 | -3297.3655 | -122672 | 69018.583 | -38985.5276 |
| UPPER ROOF | WCD1 | Top | 0 | -14.8311 | -29.7772 | -1317.2038 | 0 | 0 |
| UPPER ROOF | WCD1 | Bottom | 0 | -14.8311 | -29.7772 | -1317.2038 | 129.5306 | -64.5153 |
| PENTHOUSE | WCD1 | Top | 0 | -114.9418 | -147.3251 | -6616.3371 | 129.5306 | -64.5153 |
| PENTHOUSE | WCD1 | Bottom | 0 | -114.9418 | -147.3251 | -6616.3371 | 640.7489 | -463.3632 |
| Story14 | WCD1 | Top | 0 | -212.3861 | -262.027 | -11899.301 | 640.7489 | -463.3632 |
| Story14 | WCD1 | Bottom | 0 | -212.3861 | -262.027 | -11899.301 | 1492.3367 | -1153.6179 |
| Story13 | WCD1 | Top | 0 | -301.3394 | -370.0759 | -16863.0505 | 1492.3367 | -1153.6179 |
| Story13 | WCD1 | Bottom | 0 | -301.3394 | -370.0759 | -16863.0505 | 2584.0606 | -2042.5692 |
| Story12 | WCD1 | Top | 0 | -386.4807 | -498.6255 | -22587.7566 | 2584.0606 | -2042.5692 |
| Story12 | WCD1 | Bottom | 0 | -386.4807 | -498.6255 | -22587.7566 | 4104.8685 | -3221.3354 |
| Story11 | WCD1 | Top | 0 | -470.6421 | -630.8146 | -28650.5212 | 4104.8685 | -3221.3354 |
| Story11 | WCD1 | Bottom | 0 | -470.6421 | -630.8146 | -28650.5212 | 5965.7715 | -4609.7294 |
| Story10 | WCD1 | Top | 0 | -553.7323 | -778.5635 | -35885.508 | 5965.7715 | -4609.7294 |
| Story10 | WCD1 | Bottom | 0 | -553.7323 | -778.5635 | -35885.508 | 8340.3902 | -6298.6128 |
| Story9 | WCD1 | Top | 0 | -639.7209 | -985.613 | -44976.9667 | 8340.3902 | -6298.6128 |
| Story9 | WCD1 | Bottom | 0 | -639.7209 | -985.613 | -44976.9667 | 11543.6324 | -8377.7056 |
| Story8 | WCD1 | Top | 0 | -722.9801 | -1186.0906 | -53779.857 | 11543.6324 | -8377.7056 |
| Story8 | WCD1 | Bottom | 0 | -722.9801 | -1186.0906 | -53779.857 | 15042.5998 | -10510.4971 |
| Story7 | WCD1 | Top | 0 | -800.773 | -1378.1374 | -62437.1982 | 15042.5998 | -10510.4971 |
| Story7 | WCD1 | Bottom | 0 | -800.773 | -1378.1374 | -62437.1982 | 19108.1052 | -12872.7774 |
| Story6 | WCD1 | Top | 0 | -878.2534 | -1597.4111 | -73452.183 | 19108.1052 | -12872.7774 |
| Story6 | WCD1 | Bottom | 0 | -878.2534 | -1597.4111 | -73452.183 | 23980.2092 | -15551.4504 |
| Story5 | WCD1 | Top | 0 | -951.8542 | -1817.5552 | -84183.2829 | 23980.2092 | -15551.4504 |
| Story5 | WCD1 | Bottom | 0 | -951.8542 | -1817.5552 | -84183.2829 | 29051.1883 | -18207.1237 |
| Story4 | WCD1 | Top | 0 | -1020.1328 | -2021.7802 | -94138.3917 | 29051.1883 | -18207.1237 |
| Story4 | WCD1 | Bottom | 0 | -1020.1328 | -2021.7802 | -94138.3917 | 34691.955 | -21053.2942 |
| Story3 | WCD1 | Top | 0 | -1087.835 | -2224.2812 | -104009 | 34691.955 | -21053.2942 |
| Story3 | WCD1 | Bottom | 0 | -1087.835 | -2224.2812 | -104009 | 41253.5846 | -24262.4074 |
| Story2 | WCD1 | Top | 0 | -1170.9973 | -2473.0242 | -116135 | 41253.5846 | -24262.4074 |
| Story2 | WCD1 | Bottom | 0 | -1170.9973 | -2473.0242 | -116135 | 51763.9373 | -29239.1457 |
| UPPER ROOF | WCD2 | Top | 0 | -14.8311 | -29.7772 | -1196.8851 | 0 | 0 |
| UPPER ROOF | WCD2 | Bottom | 0 | -14.8311 | -29.7772 | -1196.8851 | 129.5306 | -64.5153 |
| PENTHOUSE | WCD2 | Top | 0 | -114.9418 | -147.3251 | -5043.4058 | 129.5306 | -64.5153 |
| PENTHOUSE | WCD2 | Bottom | 0 | -114.9418 | -147.3251 | -5043.4058 | 640.7489 | -463.3632 |
| Story14 | WCD2 | Top | 0 | -212.3861 | -262.027 | -8702.0547 | 640.7489 | -463.3632 |
| Story14 | WCD2 | Bottom | 0 | -212.3861 | -262.027 | -8702.0547 | 1492.3367 | -1153.6179 |
| Story13 | WCD2 | Top | 0 | -301.3394 | -370.0759 | -12127.178 | 1492.3367 | -1153.6179 |
| Story13 | WCD2 | Bottom | 0 | -301.3394 | -370.0759 | -12127.178 | 2584.0606 | -2042.5692 |
| Story12 | WCD2 | Top | 0 | -386.4807 | -498.6255 | -15900.7604 | 2584.0606 | -2042.5692 |
| Story12 | WCD2 | Bottom | 0 | -386.4807 | -498.6255 | -15900.7604 | 4104.8685 | -3221.3354 |
| Story11 | WCD2 | Top | 0 | -470.6421 | -630.8146 | -19924.6731 | 4104.8685 | -3221.3354 |
| Story11 | WCD2 | Bottom | 0 | -470.6421 | -630.8146 | -19924.6731 | 5965.7715 | -4609.7294 |
| Story10 | WCD2 | Top | 0 | -553.7323 | -778.5635 | -24743.2867 | 5965.7715 | -4609.7294 |
| Story10 | WCD2 | Bottom | 0 | -553.7323 | -778.5635 | -24743.2867 | 8340.3902 | -6298.6128 |
| Story9 | WCD2 | Top | 0 | -639.7209 | -985.613 | -29750.292 | 8340.3902 | -6298.6128 |
| Story9 | WCD2 | Bottom | 0 | -639.7209 | -985.613 | -29750.292 | 11543.6324 | -8377.7056 |
| Story8 | WCD2 | Top | 0 | -722.9801 | -1186.0906 | -34598.3719 | 11543.6324 | -8377.7056 |
| Story8 | WCD2 | Bottom | 0 | -722.9801 | -1186.0906 | -34598.3719 | 15042.5998 | -10510.4971 |
| Story7 | WCD2 | Top | 0 | -800.773 | -1378.1374 | -39399.3284 | 15042.5998 | -10510.4971 |
| Story7 | WCD2 | Bottom | 0 | -800.773 | -1378.1374 | -39399.3284 | 19108.1052 | -12872.7774 |
| Story6 | WCD2 | Top | 0 | -878.2534 | -1597.4111 | -45536.781 | 19108.1052 | -12872.7774 |
| Story6 | WCD2 | Bottom | 0 | -878.2534 | -1597.4111 | -45536.781 | 23980.2092 | -15551.4504 |
| Story5 | WCD2 | Top | 0 | -951.8542 | -1817.5552 | -51152.584 | 23980.2092 | -15551.4504 |
| Story5 | WCD2 | Bottom | 0 | -951.8542 | -1817.5552 | -51152.584 | 29051.1883 | -18207.1237 |
| Story4 | WCD2 | Top | 0 | -1020.1328 | -2021.7802 | -56362.295 | 29051.1883 | -18207.1237 |
| Story4 | WCD2 | Bottom | 0 | -1020.1328 | -2021.7802 | -56362.295 | 34691.955 | -21053.2942 |
| Story3 | WCD2 | Top | 0 | -1087.835 | -2224.2812 | -61528.0301 | 34691.955 | -21053.2942 |
| Story3 | WCD2 | Bottom | 0 | -1087.835 | -2224.2812 | -61528.0301 | 41253.5846 | -24262.4074 |
| Story2 | WCD2 | Top | 0 | -1170.9973 | -2473.0242 | -67873.3803 | 41253.5846 | -24262.4074 |
| Story2 | WCD2 | Bottom | 0 | -1170.9973 | -2473.0242 | -67873.3803 | 51763.9373 | -29239.1457 |
| UPPER ROOF | WCX | Top | 0 | -26.3664 | 0 | 376.3802 | 0 | 0 |
| UPPER ROOF | WCX | Bottom | 0 | -26.3664 | 0 | 376.3802 | 0 | -114.6938 |
| PENTHOUSE | WCX | Top | 0 | -204.3409 | 0 | 2868.0237 | 0 | -114.6938 |
| PENTHOUSE | WCX | Bottom | 0 | -204.3409 | 0 | 2868.0237 | 0 | -823.7568 |
| Story14 | WCX | Top | 0 | -377.5752 | 0 | 5288.9732 | 0 | -823.7568 |
| Story14 | WCX | Bottom | 0 | -377.5752 | 0 | 5288.9732 | 0 | -2050.8763 |
| Story13 | WCX | Top | 0 | -535.7145 | 0 | 7498.9695 | 0 | -2050.8763 |
| Story13 | WCX | Bottom | 0 | -535.7145 | 0 | 7498.9695 | 0 | -3631.2341 |
| Story12 | WCX | Top | 0 | -687.0768 | 0 | 9614.2578 | 0 | -3631.2341 |
| Story12 | WCX | Bottom | 0 | -687.0768 | 0 | 9614.2578 | 0 | -5726.8184 |
| Story11 | WCX | Top | 0 | -836.697 | 0 | 11705.1997 | 0 | -5726.8184 |
| Story11 | WCX | Bottom | 0 | -836.697 | 0 | 11705.1997 | 0 | -8195.0745 |
| Story10 | WCX | Top | 0 | -984.4129 | 0 | 13769.5295 | 0 | -8195.0745 |
| Story10 | WCX | Bottom | 0 | -984.4129 | 0 | 13769.5295 | 0 | -11197.5339 |
| Story9 | WCX | Top | 0 | -1137.2815 | 0 | 15905.8688 | 0 | -11197.5339 |
| Story9 | WCX | Bottom | 0 | -1137.2815 | 0 | 15905.8688 | 0 | -14893.6989 |
| Story8 | WCX | Top | 0 | -1285.298 | 0 | 17974.3994 | 0 | -14893.6989 |
| Story8 | WCX | Bottom | 0 | -1285.298 | 0 | 17974.3994 | 0 | -18685.3281 |
| Story7 | WCX | Top | 0 | -1423.5965 | 0 | 19907.1199 | 0 | -18685.3281 |
| Story7 | WCX | Bottom | 0 | -1423.5965 | 0 | 19907.1199 | 0 | -22884.9377 |
| Story6 | WCX | Top | 0 | -1561.3394 | 0 | 21832.0777 | 0 | -22884.9377 |
| Story6 | WCX | Bottom | 0 | -1561.3394 | 0 | 21832.0777 | 0 | -27647.0229 |
| Story5 | WCX | Top | 0 | -1692.1853 | 0 | 23660.6488 | 0 | -27647.0229 |
| Story5 | WCX | Bottom | 0 | -1692.1853 | 0 | 23660.6488 | 0 | -32368.2199 |
| Story4 | WCX | Top | 0 | -1813.5694 | 0 | 25356.9915 | 0 | -32368.2199 |
| Story4 | WCX | Bottom | 0 | -1813.5694 | 0 | 25356.9915 | 0 | -37428.0785 |
| Story3 | WCX | Top | 0 | -1933.9289 | 0 | 27039.0153 | 0 | -37428.0785 |
| Story3 | WCX | Bottom | 0 | -1933.9289 | 0 | 27039.0153 | 0 | -43133.1687 |
| Story2 | WCX | Top | 0 | -2081.7729 | 0 | 29105.1354 | 0 | -43133.1687 |
| Story2 | WCX | Bottom | 0 | -2081.7729 | 0 | 29105.1354 | 0 | -51980.7035 |
| UPPER ROOF | WCXB1 | Top | 0 | -19.7748 | 0 | 266.3417 | 0 | 0 |
| UPPER ROOF | WCXB1 | Bottom | 0 | -19.7748 | 0 | 266.3417 | 0 | -86.0203 |
| PENTHOUSE | WCXB1 | Top | 0 | -153.2557 | 0 | 1727.9576 | 0 | -86.0203 |
| PENTHOUSE | WCXB1 | Bottom | 0 | -153.2557 | 0 | 1727.9576 | 0 | -617.8176 |
| Story14 | WCXB1 | Top | 0 | -283.1814 | 0 | 3089.7417 | 0 | -617.8176 |
| Story14 | WCXB1 | Bottom | 0 | -283.1814 | 0 | 3089.7417 | 0 | -1538.1573 |
| Story13 | WCXB1 | Top | 0 | -401.7859 | 0 | 4332.8646 | 0 | -1538.1573 |
| Story13 | WCXB1 | Bottom | 0 | -401.7859 | 0 | 4332.8646 | 0 | -2723.4256 |
| Story12 | WCXB1 | Top | 0 | -515.3076 | 0 | 5522.7143 | 0 | -2723.4256 |
| Story12 | WCXB1 | Bottom | 0 | -515.3076 | 0 | 5522.7143 | 0 | -4295.1138 |
| Story11 | WCXB1 | Top | 0 | -627.5227 | 0 | 6698.8691 | 0 | -4295.1138 |
| Story11 | WCXB1 | Bottom | 0 | -627.5227 | 0 | 6698.8691 | 0 | -6146.3059 |
| Story10 | WCXB1 | Top | 0 | -738.3097 | 0 | 7860.0546 | 0 | -6146.3059 |
| Story10 | WCXB1 | Bottom | 0 | -738.3097 | 0 | 7860.0546 | 0 | -8398.1504 |
| Story9 | WCXB1 | Top | 0 | -852.9612 | 0 | 9061.7455 | 0 | -8398.1504 |
| Story9 | WCXB1 | Bottom | 0 | -852.9612 | 0 | 9061.7455 | 0 | -11170.2742 |
| Story8 | WCXB1 | Top | 0 | -963.9735 | 0 | 10225.294 | 0 | -11170.2742 |
| Story8 | WCXB1 | Bottom | 0 | -963.9735 | 0 | 10225.294 | 0 | -14013.9961 |
| Story7 | WCXB1 | Top | 0 | -1067.6974 | 0 | 11312.4492 | 0 | -14013.9961 |
| Story7 | WCXB1 | Bottom | 0 | -1067.6974 | 0 | 11312.4492 | 0 | -17163.7033 |
| Story6 | WCXB1 | Top | 0 | -1171.0046 | 0 | 12395.238 | 0 | -17163.7033 |
| Story6 | WCXB1 | Bottom | 0 | -1171.0046 | 0 | 12395.238 | 0 | -20735.2672 |
| Story5 | WCXB1 | Top | 0 | -1269.139 | 0 | 13423.8092 | 0 | -20735.2672 |
| Story5 | WCXB1 | Bottom | 0 | -1269.139 | 0 | 13423.8092 | 0 | -24276.1649 |
| Story4 | WCXB1 | Top | 0 | -1360.177 | 0 | 14378.002 | 0 | -24276.1649 |
| Story4 | WCXB1 | Bottom | 0 | -1360.177 | 0 | 14378.002 | 0 | -28071.0589 |
| Story3 | WCXB1 | Top | 0 | -1450.4467 | 0 | 15324.1404 | 0 | -28071.0589 |
| Story3 | WCXB1 | Bottom | 0 | -1450.4467 | 0 | 15324.1404 | 0 | -32349.8765 |
| Story2 | WCXB1 | Top | 0 | -1561.3297 | 0 | 16486.3329 | 0 | -32349.8765 |
| Story2 | WCXB1 | Bottom | 0 | -1561.3297 | 0 | 16486.3329 | 0 | -38985.5276 |
| UPPER ROOF | WCXB2 | Top | 0 | -19.7748 | 0 | 298.2286 | 0 | 0 |
| UPPER ROOF | WCXB2 | Bottom | 0 | -19.7748 | 0 | 298.2286 | 0 | -86.0203 |
| PENTHOUSE | WCXB2 | Top | 0 | -153.2557 | 0 | 2574.078 | 0 | -86.0203 |
| PENTHOUSE | WCXB2 | Bottom | 0 | -153.2557 | 0 | 2574.078 | 0 | -617.8176 |
| Story14 | WCXB2 | Top | 0 | -283.1814 | 0 | 4843.7181 | 0 | -617.8176 |
| Story14 | WCXB2 | Bottom | 0 | -283.1814 | 0 | 4843.7181 | 0 | -1538.1573 |
| Story13 | WCXB2 | Top | 0 | -401.7859 | 0 | 6915.5897 | 0 | -1538.1573 |
| Story13 | WCXB2 | Bottom | 0 | -401.7859 | 0 | 6915.5897 | 0 | -2723.4256 |
| Story12 | WCXB2 | Top | 0 | -515.3076 | 0 | 8898.6724 | 0 | -2723.4256 |
| Story12 | WCXB2 | Bottom | 0 | -515.3076 | 0 | 8898.6724 | 0 | -4295.1138 |
| Story11 | WCXB2 | Top | 0 | -627.5227 | 0 | 10858.9305 | 0 | -4295.1138 |
| Story11 | WCXB2 | Bottom | 0 | -627.5227 | 0 | 10858.9305 | 0 | -6146.3059 |
| Story10 | WCXB2 | Top | 0 | -738.3097 | 0 | 12794.2396 | 0 | -6146.3059 |
| Story10 | WCXB2 | Bottom | 0 | -738.3097 | 0 | 12794.2396 | 0 | -8398.1504 |
| Story9 | WCXB2 | Top | 0 | -852.9612 | 0 | 14797.0577 | 0 | -8398.1504 |
| Story9 | WCXB2 | Bottom | 0 | -852.9612 | 0 | 14797.0577 | 0 | -11170.2742 |
| Story8 | WCXB2 | Top | 0 | -963.9735 | 0 | 16736.3052 | 0 | -11170.2742 |
| Story8 | WCXB2 | Bottom | 0 | -963.9735 | 0 | 16736.3052 | 0 | -14013.9961 |
| Story7 | WCXB2 | Top | 0 | -1067.6974 | 0 | 18548.2307 | 0 | -14013.9961 |
| Story7 | WCXB2 | Bottom | 0 | -1067.6974 | 0 | 18548.2307 | 0 | -17163.7033 |
| Story6 | WCXB2 | Top | 0 | -1171.0046 | 0 | 20352.8786 | 0 | -17163.7033 |
| Story6 | WCXB2 | Bottom | 0 | -1171.0046 | 0 | 20352.8786 | 0 | -20735.2672 |
| Story5 | WCXB2 | Top | 0 | -1269.139 | 0 | 22067.164 | 0 | -20735.2672 |
| Story5 | WCXB2 | Bottom | 0 | -1269.139 | 0 | 22067.164 | 0 | -24276.1649 |
| Story4 | WCXB2 | Top | 0 | -1360.177 | 0 | 23657.4853 | 0 | -24276.1649 |
| Story4 | WCXB2 | Bottom | 0 | -1360.177 | 0 | 23657.4853 | 0 | -28071.0589 |
| Story3 | WCXB2 | Top | 0 | -1450.4467 | 0 | 25234.3825 | 0 | -28071.0589 |
| Story3 | WCXB2 | Bottom | 0 | -1450.4467 | 0 | 25234.3825 | 0 | -32349.8765 |
| Story2 | WCXB2 | Top | 0 | -1561.3297 | 0 | 27171.3702 | 0 | -32349.8765 |
| Story2 | WCXB2 | Bottom | 0 | -1561.3297 | 0 | 27171.3702 | 0 | -38985.5276 |
| UPPER ROOF | WCY | Top | 0 | 0 | -52.9372 | -2611.126 | 0 | 0 |
| UPPER ROOF | WCY | Bottom | 0 | 0 | -52.9372 | -2611.126 | 230.2767 | 0 |
| PENTHOUSE | WCY | Top | 0 | 0 | -261.9114 | -13232.2397 | 230.2767 | 0 |
| PENTHOUSE | WCY | Bottom | 0 | 0 | -261.9114 | -13232.2397 | 1139.1092 | 0 |
| Story14 | WCY | Top | 0 | 0 | -465.8258 | -23601.2894 | 1139.1092 | 0 |
| Story14 | WCY | Bottom | 0 | 0 | -465.8258 | -23601.2894 | 2653.0431 | 0 |
| Story13 | WCY | Top | 0 | 0 | -657.9127 | -33268.0615 | 2653.0431 | 0 |
| Story13 | WCY | Bottom | 0 | 0 | -657.9127 | -33268.0615 | 4593.8855 | 0 |
| Story12 | WCY | Top | 0 | 0 | -886.4454 | -43826.2729 | 4593.8855 | 0 |
| Story12 | WCY | Bottom | 0 | 0 | -886.4454 | -43826.2729 | 7297.544 | 0 |
| Story11 | WCY | Top | 0 | 0 | -1121.4481 | -54883.1502 | 7297.544 | 0 |
| Story11 | WCY | Bottom | 0 | 0 | -1121.4481 | -54883.1502 | 10605.816 | 0 |
| Story10 | WCY | Top | 0 | 0 | -1384.1129 | -67661.7914 | 10605.816 | 0 |
| Story10 | WCY | Bottom | 0 | 0 | -1384.1129 | -67661.7914 | 14827.3603 | 0 |
| Story9 | WCY | Top | 0 | 0 | -1752.2009 | -82330.0987 | 14827.3603 | 0 |
| Story9 | WCY | Bottom | 0 | 0 | -1752.2009 | -82330.0987 | 20522.0132 | 0 |
| Story8 | WCY | Top | 0 | 0 | -2108.6056 | -96532.8251 | 20522.0132 | 0 |
| Story8 | WCY | Bottom | 0 | 0 | -2108.6056 | -96532.8251 | 26742.3997 | 0 |
| Story7 | WCY | Top | 0 | 0 | -2450.0221 | -110428 | 26742.3997 | 0 |
| Story7 | WCY | Bottom | 0 | 0 | -2450.0221 | -110428 | 33969.9648 | 0 |
| Story6 | WCY | Top | 0 | 0 | -2839.842 | -127600 | 33969.9648 | 0 |
| Story6 | WCY | Bottom | 0 | 0 | -2839.842 | -127600 | 42631.483 | 0 |
| Story5 | WCY | Top | 0 | 0 | -3231.2093 | -143959 | 42631.483 | 0 |
| Story5 | WCY | Bottom | 0 | 0 | -3231.2093 | -143959 | 51646.557 | 0 |
| Story4 | WCY | Top | 0 | 0 | -3594.2759 | -159135 | 51646.557 | 0 |
| Story4 | WCY | Bottom | 0 | 0 | -3594.2759 | -159135 | 61674.5866 | 0 |
| Story3 | WCY | Top | 0 | 0 | -3954.2777 | -174183 | 61674.5866 | 0 |
| Story3 | WCY | Bottom | 0 | 0 | -3954.2777 | -174183 | 73339.706 | 0 |
| Story2 | WCY | Top | 0 | 0 | -4396.4874 | -192668 | 73339.706 | 0 |
| Story2 | WCY | Bottom | 0 | 0 | -4396.4874 | -192668 | 92024.7774 | 0 |
| UPPER ROOF | WCYB1 | Top | 0 | 0 | -39.7029 | -1894.0754 | 0 | 0 |
| UPPER ROOF | WCYB1 | Bottom | 0 | 0 | -39.7029 | -1894.0754 | 172.7075 | 0 |
| PENTHOUSE | WCYB1 | Top | 0 | 0 | -196.4335 | -9298.6191 | 172.7075 | 0 |
| PENTHOUSE | WCYB1 | Bottom | 0 | 0 | -196.4335 | -9298.6191 | 854.3319 | 0 |
| Story14 | WCYB1 | Top | 0 | 0 | -349.3694 | -16446.4577 | 854.3319 | 0 |
| Story14 | WCYB1 | Bottom | 0 | 0 | -349.3694 | -16446.4577 | 1989.7823 | 0 |
| Story13 | WCYB1 | Top | 0 | 0 | -493.4345 | -23085.1603 | 1989.7823 | 0 |
| Story13 | WCYB1 | Bottom | 0 | 0 | -493.4345 | -23085.1603 | 3445.4141 | 0 |
| Story12 | WCYB1 | Top | 0 | 0 | -664.8341 | -30099.6863 | 3445.4141 | 0 |
| Story12 | WCYB1 | Bottom | 0 | 0 | -664.8341 | -30099.6863 | 5473.158 | 0 |
| Story11 | WCYB1 | Top | 0 | 0 | -841.0861 | -37425.1613 | 5473.158 | 0 |
| Story11 | WCYB1 | Bottom | 0 | 0 | -841.0861 | -37425.1613 | 7954.362 | 0 |
| Story10 | WCYB1 | Top | 0 | 0 | -1038.0847 | -45785.2885 | 7954.362 | 0 |
| Story10 | WCYB1 | Bottom | 0 | 0 | -1038.0847 | -45785.2885 | 11120.5202 | 0 |
| Story9 | WCYB1 | Top | 0 | 0 | -1314.1507 | -54464.1137 | 11120.5202 | 0 |
| Story9 | WCYB1 | Bottom | 0 | 0 | -1314.1507 | -54464.1137 | 15391.5099 | 0 |
| Story8 | WCYB1 | Top | 0 | 0 | -1581.4542 | -62867.4677 | 15391.5099 | 0 |
| Story8 | WCYB1 | Bottom | 0 | 0 | -1581.4542 | -62867.4677 | 20056.7998 | 0 |
| Story7 | WCYB1 | Top | 0 | 0 | -1837.5166 | -71080.6685 | 20056.7998 | 0 |
| Story7 | WCYB1 | Bottom | 0 | 0 | -1837.5166 | -71080.6685 | 25477.4736 | 0 |
| Story6 | WCYB1 | Top | 0 | 0 | -2129.8815 | -81068.5866 | 25477.4736 | 0 |
| Story6 | WCYB1 | Bottom | 0 | 0 | -2129.8815 | -81068.5866 | 31973.6123 | 0 |
| Story5 | WCYB1 | Top | 0 | 0 | -2423.407 | -90270.6092 | 31973.6123 | 0 |
| Story5 | WCYB1 | Bottom | 0 | 0 | -2423.407 | -90270.6092 | 38734.9177 | 0 |
| Story4 | WCYB1 | Top | 0 | 0 | -2695.7069 | -98807.212 | 38734.9177 | 0 |
| Story4 | WCYB1 | Bottom | 0 | 0 | -2695.7069 | -98807.212 | 46255.94 | 0 |
| Story3 | WCYB1 | Top | 0 | 0 | -2965.7083 | -107272 | 46255.94 | 0 |
| Story3 | WCYB1 | Bottom | 0 | 0 | -2965.7083 | -107272 | 55004.7795 | 0 |
| Story2 | WCYB1 | Top | 0 | 0 | -3297.3655 | -117669 | 55004.7795 | 0 |
| Story2 | WCYB1 | Bottom | 0 | 0 | -3297.3655 | -117669 | 69018.5831 | 0 |
| UPPER ROOF | WCYB2 | Top | 0 | 0 | -39.7029 | -2022.6135 | 0 | 0 |
| UPPER ROOF | WCYB2 | Bottom | 0 | 0 | -39.7029 | -2022.6135 | 172.7075 | 0 |
| PENTHOUSE | WCYB2 | Top | 0 | 0 | -196.4335 | -10549.7404 | 172.7075 | 0 |
| PENTHOUSE | WCYB2 | Bottom | 0 | 0 | -196.4335 | -10549.7404 | 854.3319 | 0 |
| Story14 | WCYB2 | Top | 0 | 0 | -349.3694 | -18955.4763 | 854.3319 | 0 |
| Story14 | WCYB2 | Bottom | 0 | 0 | -349.3694 | -18955.4763 | 1989.7823 | 0 |
| Story13 | WCYB2 | Top | 0 | 0 | -493.4345 | -26816.9319 | 1989.7823 | 0 |
| Story13 | WCYB2 | Bottom | 0 | 0 | -493.4345 | -26816.9319 | 3445.4141 | 0 |
| Story12 | WCYB2 | Top | 0 | 0 | -664.8341 | -35639.723 | 3445.4141 | 0 |
| Story12 | WCYB2 | Bottom | 0 | 0 | -664.8341 | -35639.723 | 5473.158 | 0 |
| Story11 | WCYB2 | Top | 0 | 0 | -841.0861 | -44899.564 | 5473.158 | 0 |
| Story11 | WCYB2 | Bottom | 0 | 0 | -841.0861 | -44899.564 | 7954.362 | 0 |
| Story10 | WCYB2 | Top | 0 | 0 | -1038.0847 | -55707.3986 | 7954.362 | 0 |
| Story10 | WCYB2 | Bottom | 0 | 0 | -1038.0847 | -55707.3986 | 11120.5202 | 0 |
| Story9 | WCYB2 | Top | 0 | 0 | -1314.1507 | -69031.0344 | 11120.5202 | 0 |
| Story9 | WCYB2 | Bottom | 0 | 0 | -1314.1507 | -69031.0344 | 15391.5099 | 0 |
| Story8 | WCYB2 | Top | 0 | 0 | -1581.4542 | -81931.7699 | 15391.5099 | 0 |
| Story8 | WCYB2 | Bottom | 0 | 0 | -1581.4542 | -81931.7699 | 20056.7998 | 0 |
| Story7 | WCYB2 | Top | 0 | 0 | -1837.5166 | -94562.0468 | 20056.7998 | 0 |
| Story7 | WCYB2 | Bottom | 0 | 0 | -1837.5166 | -94562.0468 | 25477.4736 | 0 |
| Story6 | WCYB2 | Top | 0 | 0 | -2129.8815 | -110331 | 25477.4736 | 0 |
| Story6 | WCYB2 | Bottom | 0 | 0 | -2129.8815 | -110331 | 31973.6123 | 0 |
| Story5 | WCYB2 | Top | 0 | 0 | -2423.407 | -125668 | 31973.6123 | 0 |
| Story5 | WCYB2 | Bottom | 0 | 0 | -2423.407 | -125668 | 38734.9177 | 0 |
| Story4 | WCYB2 | Top | 0 | 0 | -2695.7069 | -139896 | 38734.9177 | 0 |
| Story4 | WCYB2 | Bottom | 0 | 0 | -2695.7069 | -139896 | 46255.94 | 0 |
| Story3 | WCYB2 | Top | 0 | 0 | -2965.7083 | -154003 | 46255.94 | 6.125E-07 |
| Story3 | WCYB2 | Bottom | 0 | 0 | -2965.7083 | -154003 | 55004.7795 | 5.799E-07 |
| Story2 | WCYB2 | Top | 0 | 0 | -3297.3655 | -171333 | 55004.7795 | 6.141E-07 |
| Story2 | WCYB2 | Bottom | 0 | 0 | -3297.3655 | -171333 | 69018.583 | 5.692E-07 |

## 3.3 Modal Results

Table 3.6 - Modal Periods and Frequencies

| Case | Mode | Period sec | Frequency cyc/sec | Circular Frequency rad/sec | Eigenvalue rad²/sec² |
| --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.661 | 1.512 | 9.5023 | 90.294 |
| Modal | 2 | 0.554 | 1.804 | 11.3348 | 128.4781 |
| Modal | 3 | 0.404 | 2.473 | 15.5401 | 241.4946 |

Table 3.7 - Modal Participating Mass Ratios (Part 1 of 2)

| Case | Mode | Period sec | UX | UY | UZ | Sum UX | Sum UY | Sum UZ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.661 | 0.5524 | 1.217E-06 | 0 | 0.5524 | 1.217E-06 | 0 |
| Modal | 2 | 0.554 | 0.0001 | 0.3356 | 0 | 0.5525 | 0.3356 | 0 |
| Modal | 3 | 0.404 | 4.653E-05 | 0.1589 | 0 | 0.5525 | 0.4945 | 0 |

Table 3.7 - Modal Participating Mass Ratios (Part 2 of 2)

| Case | Mode | RX | RY | RZ | Sum RX | Sum RY | Sum RZ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0 | 0.4846 | 2.664E-06 | 0 | 0.4846 | 2.664E-06 |
| Modal | 2 | 0.3968 | 5.98E-06 | 0.1317 | 0.3968 | 0.4846 | 0.1317 |
| Modal | 3 | 0.1152 | 0.0002 | 0.1309 | 0.512 | 0.4848 | 0.2626 |

Table 3.8 - Modal Load Participation Ratios

| Case | Item Type | Item | Static % | Dynamic % |
| --- | --- | --- | --- | --- |
| Modal | Acceleration | UX | 96.17 | 55.25 |
| Modal | Acceleration | UY | 93.19 | 49.45 |
| Modal | Acceleration | UZ | 0 | 0 |

Table 3.9 - Modal Direction Factors

| Case | Mode | Period sec | UX | UY | UZ | RZ |
| --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0.661 | 0.999 | 0 | 0 | 0.001 |
| Modal | 2 | 0.554 | 0 | 0.735 | 0 | 0.265 |
| Modal | 3 | 0.404 | 0.001 | 0.269 | 0 | 0.73 |